## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-04 00:00:00 | 3.9247 | 0.097558 | 7.5187 | 66.2166 | 7.263 | 18.9018 | 0.887 | 191.798 | 6.545 | 980.052 | 91.409 | 14.2843
2019-11-04 00:15:00 | 0.99933 | 9.9509 | 6.7517 | 73.7773 | 3.9393 | 12.7557 | 0.75133 | 184.262 | 6.391 | 980.201 | 91.2041 | 8.6829
2019-11-04 00:30:00 | 0 | 14.9263 | 5.4733 | 65.68 | 2.1497 | 23.7553 | 0 | 197.188 | 6.194 | 980.201 | 92.912 | 6.0004
2019-11-04 00:45:00 | 0 | 29.5844 | 3.428 | 54.973 | 4.7063 | 356.793 | 0 | 180.726 | 6.249 | 980.201 | 90.6234 | 5.3132
2019-11-04 01:00:00 | 0 | 17.9262 | 3.428 | 70.0945 | 2.4053 | 0.048779 | 0 | 191.115 | 6 | 980.201 | 92.2972 | 5.8933
2019-11-04 01:15:00 | 3.414 | 5.073 | 5.4733 | 67.0214 | 2.9167 | 10.1948 | 0 | 190.237 | 5.909 | 980.201 | 92.2972 | 6.5177
2019-11-04 01:30:00 | 0 | 6.2925 | 4.7063 | 64.9971 | 3.9393 | 16.3165 | 0 | 192.286 | 5.745 | 980.201 | 93.1853 | 5.5681
2019-11-04 01:45:00 | 0 | 17.0726 | 4.4507 | 67.558 | 2.4053 | 21.9017 | 0 | 197.408 | 5.873 | 980.201 | 91.6823 | 3.584
2019-11-04 02:00:00 | 0 | 1.7804 | 3.6837 | 64.1922 | 3.1723 | 15.5604 | 0 | 186.506 | 6.086 | 980.201 | 90.4526 | 3.0593
2019-11-04 02:15:00 | 0 | 22.5846 | 4.195 | 72.3871 | 3.428 | 22.0968 | 0 | 201.798 | 5.921 | 979.903 | 90.4184 | 2.8931
2019-11-04 02:30:00 | 0 | 0.97558 | 3.428 | 57.4608 | 1.6383 | 22.6334 | 0 | 192.14 | 5.942 | 979.903 | 90.2477 | 2.5901
2019-11-04 02:45:00 | 0 | 10.2923 | 1.894 | 52.8268 | 2.661 | 0.048779 | 0 | 190.798 | 5.961 | 979.903 | 90.7259 | 1.877
2019-11-04 03:00:00 | 0 | 0.87802 | 2.9167 | 56.1925 | 2.9167 | 356.817 | 0 | 184.896 | 5.775 | 979.903 | 91.5457 | 2.6566
2019-11-04 03:15:00 | 0 | 52.3641 | 2.661 | 57.1193 | 1.6383 | 351.647 | 0 | 182.774 | 5.511 | 979.903 | 93.5611 | 4.068
2019-11-04 03:30:00 | 0 | 11.902 | 3.1723 | 58.3388 | 2.661 | 23.5114 | 0 | 199.896 | 5.354 | 979.903 | 94.8249 | 3.4066
2019-11-04 03:45:00 | 0 | 30.2429 | 3.1723 | 84.972 | 1.3827 | 26.243 | 0 | 212.92 | 5.242 | 979.606 | 95.6106 | 1.6257
2019-11-04 04:00:00 | 0 | 23.4138 | 3.9393 | 78.5576 | 2.9167 | 20.5847 | 0 | 208.676 | 5.658 | 979.606 | 92.5021 | 0.77961
2019-11-04 04:15:00 | 0 | 1.9999 | 2.9167 | 54.8755 | 2.9167 | 15.1458 | 0 | 193.628 | 5.743 | 979.903 | 91.614 | 0.56531
2019-11-04 04:30:00 | 0 | 31.4136 | 3.6837 | 76.1918 | 2.9167 | 28.4868 | 0 | 209.92 | 5.563 | 979.606 | 92.0239 | 0.49141
2019-11-04 04:45:00 | 0 | 24.4382 | 3.9393 | 79.1673 | 2.661 | 18.5847 | 0 | 215.261 | 5.607 | 979.606 | 92.8779 | 0.2143
2019-11-04 05:00:00 | 0 | 25.0723 | 2.1497 | 64.9239 | 2.1497 | 17.2189 | 0 | 213.115 | 5.69 | 979.606 | 92.3655 | 0.0036948
2019-11-04 05:15:00 | 0 | 34.7793 | 2.661 | 71.2652 | 2.4053 | 22.926 | 0 | 219.261 | 5.428 | 979.755 | 93.6294 | 0.12562
2019-11-04 05:30:00 | 0 | 47.1203 | 3.1723 | 100.24 | 2.1497 | 32.9745 | 0 | 238.65 | 6.03 | 979.755 | 87.6516 | -0.10346
2019-11-04 05:45:00 | 0 | 52.5592 | 2.661 | 101.849 | 2.4053 | 48.8764 | 0 | 234.48 | 6.694 | 979.904 | 76.2425 | -0.218
2019-11-04 06:00:00 | 0 | 45.2667 | 3.6837 | 101.703 | 2.9167 | 34.3403 | 0 | 230.48 | 6.968 | 980.052 | 74.3979 | -0.25125
2019-11-04 06:15:00 | 0 | 30.7307 | 2.9167 | 78.8259 | 2.4053 | 24.5357 | 0 | 219.505 | 7.224 | 980.201 | 71.2553 | -0.25125
2019-11-04 06:30:00 | 0 | 38.6328 | 2.661 | 79.9478 | 1.6383 | 20.292 | 0 | 235.846 | 6.794 | 980.201 | 76.7891 | -0.25125
2019-11-04 06:45:00 | 0 | 80.168 | 1.6383 | 85.2647 | 1.894 | 43.657 | 0 | 254.479 | 7.328 | 980.201 | 62.9889 | -0.24016
2019-11-04 07:00:00 | 5.5953 | 87.4116 | 1.6383 | 145.019 | 1.894 | 47.6081 | 7.0073 | 267.259 | 7.459 | 980.498 | 63.7404 | -0.25125
2019-11-04 07:15:00 | 18.9893 | 109.216 | 1.894 | 171.92 | 1.6383 | 123.118 | 0.37567 | 291.746 | 8.68 | 980.944 | 57.2161 | -0.25125
2019-11-04 07:30:00 | 0 | 135.464 | 1.894 | 189.78 | 1.894 | 148.923 | 0 | 291.848 | 8.6 | 981.519 | 60.1004 | -0.25125
2019-11-04 07:45:00 | 0 | 143.628 | 0.75133 | 190.407 | 0 | 153.892 | 0 | 301.251 | 8.56 | 981.986 | 61.6011 | -0.26233
2019-11-04 08:00:00 | 0 | 186.797 | 0.75133 | 257.417 | 0.37567 | 179.242 | 0 | 356.777 | 9.1 | 981.741 | 62.9474 | -0.26233
2019-11-04 08:15:00 | 0 | 190.449 | 1.127 | 257.289 | 0.75133 | 172.998 | 0 | 356.793 | 9.49 | 981.978 | 66.496 | -0.26233
2019-11-04 08:30:00 | 0 | 190.415 | 0 | 257.264 | 0 | 123.889 | 0 | 356.803 | 9.75 | 982.571 | 64.1635 | -0.26233
2019-11-04 08:45:00 | 0 | 94.9274 | 1.127 | 224.068 | 0 | 42.2008 | 0 | 297.014 | 11.27 | 982.81 | 63.3363 | -0.26233
2019-11-04 09:00:00 | 0 | 78.8288 | 0.75133 | 166.378 | 1.3827 | 42.6299 | 0 | 296.753 | 10.34 | 982.865 | 65.9152 | -0.26972
2019-11-04 09:15:00 | 0 | 82.4214 | 0 | 113.886 | 0 | 39.725 | 0 | 313.513 | 10.02 | 983.013 | 57.104 | -0.26972
2019-11-04 09:30:00 | 0 | 190.368 | 1.894 | 228.335 | 0.75133 | 218.377 | 0 | 1.3396 | 12.17 | 983.082 | 63.0735 | -0.26972
2019-11-04 09:45:00 | 0 | 254.993 | 1.3827 | 328.418 | 2.4053 | 271.53 | 0 | 334.389 | 11.22 | 983.16 | 67.7769 | -0.25864
2019-11-04 10:00:00 | 0 | 278.709 | 2.1497 | 306.707 | 2.9167 | 267.702 | 0 | 339.516 | 10.74 | 983.157 | 73.1925 | -0.27711
2019-11-04 10:15:00 | 0 | 238.26 | 1.894 | 300.083 | 1.894 | 240.305 | 0 | 50.4817 | 10.48 | 983.306 | 74.1815 | -0.26972
2019-11-04 10:30:00 | 0 | 283.705 | 3.1723 | 326.778 | 2.1497 | 261.958 | 0 | 112.824 | 10.47 | 983.157 | 72.9207 | -0.24016
2019-11-04 10:45:00 | 0 | 192.714 | 0.37567 | 297.529 | 2.661 | 269.984 | 0 | 339.44 | 10.89 | 982.86 | 70.5041 | -0.24016
2019-11-04 11:00:00 | 0 | 312.747 | 3.428 | 1.5644 | 3.6837 | 263.892 | 0 | 117.285 | 11.17 | 982.86 | 68.9332 | -0.25125
2019-11-04 11:15:00 | 0 | 207.102 | 2.4053 | 301.004 | 0 | 301.544 | 0 | 35.556 | 11.71 | 982.564 | 65.4203 | -0.24016
2019-11-04 11:30:00 | 0 | 252.341 | 2.1497 | 308.809 | 2.661 | 268.513 | 0 | 67.2623 | 12.07 | 982.564 | 62.3481 | -0.24016
2019-11-04 11:45:00 | 0 | 290.982 | 3.6837 | 18.2467 | 2.661 | 290.422 | 0 | 123.465 | 12.21 | 982.564 | 61.5963 | -0.26972
2019-11-04 12:00:00 | 0 | 276.054 | 2.4053 | 317.226 | 2.4053 | 250.533 | 0 | 96.7261 | 12.85 | 982.712 | 58.9359 | -0.24016
2019-11-04 12:15:00 | 0 | 268.653 | 2.661 | 17.1264 | 3.1723 | 246.395 | 0 | 93.9993 | 12.47 | 981.97 | 56.9239 | -0.2882
2019-11-04 12:30:00 | 0 | 295.806 | 2.9167 | 325.708 | 3.428 | 267.307 | 0 | 101.628 | 12.75 | 981.97 | 57.3722 | -0.22169
2019-11-04 12:45:00 | 0 | 291.968 | 2.661 | 319.606 | 3.6837 | 254.902 | 0 | 123.286 | 12.84 | 981.97 | 54.7476 | -0.24016
2019-11-04 13:00:00 | 0 | 303.534 | 2.9167 | 15.056 | 2.4053 | 312.253 | 0 | 105.895 | 13.1 | 981.97 | 50.5516 | -0.19583
2019-11-04 13:15:00 | 0 | 301.808 | 2.9167 | 323.866 | 2.9167 | 280.694 | 0 | 111.148 | 13.32 | 981.97 | 48.0923 | -0.24016
2019-11-04 13:30:00 | 0 | 305.247 | 3.1723 | 12.9862 | 2.9167 | 320.931 | 0 | 123.131 | 13.46 | 981.97 | 50.4466 | -0.24016
2019-11-04 13:45:00 | 0 | 296.688 | 1.894 | 334.578 | 1.6383 | 287.36 | 0 | 129.177 | 13.3 | 981.97 | 52.2907 | -0.25125
2019-11-04 14:00:00 | 0 | 306.686 | 4.7063 | 13.2779 | 1.894 | 285.228 | 0 | 143.503 | 13.66 | 981.97 | 50.1439 | -0.24016
2019-11-04 14:15:00 | 0 | 318.26 | 2.9167 | 324.248 | 2.1497 | 260.219 | 0 | 123.022 | 13.47 | 981.97 | 52.4984 | -0.24016
2019-11-04 14:30:00 | 0 | 296.421 | 3.6837 | 35.407 | 2.1497 | 269.095 | 0 | 110.814 | 14.26 | 982.267 | 51.0972 | -0.24016
2019-11-04 14:45:00 | 0 | 309.734 | 3.1723 | 13.498 | 2.9167 | 268.214 | 0 | 128.141 | 14.3 | 982.119 | 50.9211 | -0.25125
2019-11-04 15:00:00 | 0 | 289.569 | 2.1497 | 3.5381 | 1.3827 | 330.651 | 0 | 125.948 | 14.39 | 982.267 | 49.9318 | -0.24016
2019-11-04 15:15:00 | 0 | 84.0631 | 0.37567 | 5.0826 | 0 | 335.424 | 0 | 208.794 | 14.22 | 982.119 | 52.2852 | -0.24016
2019-11-04 15:30:00 | 0 | 19.2624 | 1.3827 | 72.8298 | 0 | 7.89 | 0 | 200.368 | 13.64 | 981.673 | 52.558 | -0.24016
2019-11-04 15:45:00 | 0 | 342.305 | 1.894 | 28.1701 | 2.4053 | 321.727 | 0 | 209.727 | 13.79 | 981.377 | 51.0252 | -0.25864
2019-11-04 16:00:00 | 0 | 342.393 | 2.4053 | 19.7485 | 0 | 357.006 | 0 | 175.069 | 13.56 | 981.377 | 53.2142 | -0.24016
2019-11-04 16:15:00 | 0 | 340.547 | 2.1497 | 42.2786 | 1.6383 | 10.4244 | 0 | 164.039 | 13.08 | 981.109 | 53.8973 | -0.25864
2019-11-04 16:30:00 | 0 | 345.833 | 2.661 | 33.6809 | 2.4053 | 8.7682 | 0 | 166.401 | 12.97 | 980.636 | 54.1702 | -0.25864
2019-11-04 16:45:00 | 6.478 | 337.641 | 1.6383 | 20.969 | 1.6383 | 344.656 | 0 | 156.691 | 12.85 | 980.34 | 55.2304 | -0.24016
2019-11-04 17:00:00 | 2.3927 | 337.25 | 2.1497 | 16.7413 | 1.894 | 334.96 | 0 | 153.324 | 12.73 | 979.747 | 54.1883 | -0.24016
2019-11-04 17:15:00 | 9.0313 | 336.975 | 2.4053 | 17.5229 | 2.661 | 335.928 | 0.37567 | 159.911 | 12.48 | 979.703 | 53.5769 | -0.24016
2019-11-04 17:30:00 | 9.542 | 344.858 | 2.9167 | 39.7019 | 2.4053 | 356.993 | 0 | 165.752 | 12.45 | 979.75 | 54.1628 | -0.26233
2019-11-04 17:45:00 | 0 | 350.712 | 2.9167 | 35.6654 | 2.9167 | 355.391 | 0 | 177.671 | 12.44 | 979.601 | 52.5327 | -0.25125
2019-11-04 18:00:00 | 0 | 349.31 | 3.6837 | 39.0064 | 4.195 | 354.624 | 0 | 169.586 | 12.5 | 979.601 | 50.4864 | -0.051728
2019-11-04 18:15:00 | 0 | 350.115 | 3.6837 | 38.0072 | 3.428 | 355.988 | 0 | 172.778 | 12.44 | 979.601 | 51.0667 | 0.3584
2019-11-04 18:30:00 | 0 | 0.14624 | 3.1723 | 54.7756 | 2.1497 | 19.3032 | 0 | 179.92 | 12.29 | 979.601 | 52.637 | 0.19213
2019-11-04 18:45:00 | 0 | 6.5319 | 3.1723 | 60.2351 | 2.661 | 13.0638 | 0 | 197.541 | 12.11 | 979.601 | 51.2715 | 0.070202
2019-11-04 19:00:00 | 0 | 11.7964 | 3.6837 | 63.1111 | 2.9167 | 18.4258 | 0 | 195.811 | 12.1 | 979.47 | 52.2956 | 0.059118
2019-11-04 19:15:00 | 0 | 20.8631 | 3.428 | 70.1792 | 2.661 | 24.4702 | 0 | 204.292 | 12.11 | 979.313 | 52.3639 | -0.040643
2019-11-04 19:30:00 | 0.99933 | 22.2523 | 3.1723 | 70.4717 | 2.661 | 22.3742 | 0 | 210.191 | 12.16 | 979.341 | 52.1591 | -0.062812
2019-11-04 19:45:00 | 0.62733 | 19.6444 | 3.428 | 69.9599 | 2.9167 | 17.0609 | 0 | 204.292 | 12.18 | 979.091 | 52.2273 | -0.18474
2019-11-04 20:00:00 | 2.5313 | 9.6029 | 3.1723 | 59.4552 | 3.1723 | 15.3548 | 0 | 202.245 | 12.09 | 979.348 | 52.1249 | -0.16257
2019-11-04 20:15:00 | 0 | 22.5692 | 2.4053 | 64.9634 | 2.661 | 12.8688 | 0 | 222.816 | 12.01 | 979.344 | 53.9341 | -0.25125
2019-11-04 20:30:00 | 3.9247 | 7.5068 | 1.6383 | 64.5247 | 2.1497 | 8.3355 | 0 | 207.217 | 11.97 | 979.346 | 52.1591 | -0.22908
2019-11-04 20:45:00 | 1.6267 | 7.5068 | 1.3827 | 63.3061 | 1.3827 | 9.1885 | 0 | 207.217 | 12.11 | 979.715 | 49.633 | -0.25125
2019-11-04 21:00:00 | 3.414 | 7.5068 | 0.75133 | 63.3061 | 1.127 | 1.8523 | 0 | 207.217 | 12.17 | 979.509 | 49.3941 | -0.24016
2019-11-04 21:15:00 | 0 | 7.5068 | 1.127 | 63.5742 | 1.6383 | 5.2645 | 0 | 207.217 | 12.17 | 979.353 | 49.2234 | -0.25125
2019-11-04 21:30:00 | 0 | 7.4824 | 0.75133 | 63.5498 | 1.127 | 0.68244 | 0 | 205.389 | 12.17 | 979.335 | 49.2234 | -0.24016
2019-11-04 21:45:00 | 0 | 330.836 | 0 | 63.233 | 0.37567 | 339.537 | 0 | 120.036 | 12.18 | 979.483 | 50.1792 | -0.25125
2019-11-04 22:00:00 | 0 | 330.838 | 0 | 63.2334 | 0 | 23.2518 | 0 | 120.012 | 12.1 | 979.365 | 50.1453 | -0.24016
2019-11-04 22:15:00 | 0 | 294.38 | 0.75133 | 63.186 | 0 | 356.922 | 0 | 111.556 | 12.16 | 979.159 | 50.1803 | -0.24016
2019-11-04 22:30:00 | 0 | 281.919 | 1.3827 | 3.0839 | 1.6383 | 327.061 | 0 | 98.913 | 12.23 | 979.01 | 48.4082 | -0.24016
2019-11-04 22:45:00 | 6.9887 | 282.932 | 1.6383 | 15.7102 | 1.3827 | 328.195 | 0 | 100.055 | 12.36 | 979.035 | 47.7237 | -0.24016
2019-11-04 23:00:00 | 10.0527 | 292.504 | 1.6383 | 7.4234 | 1.3827 | 338.448 | 0.75133 | 103.489 | 12.23 | 979.062 | 48.8831 | -0.24016
2019-11-04 23:15:00 | 5.712 | 291.75 | 1.894 | 15.7103 | 1.3827 | 334.111 | 3.9393 | 103.392 | 12.15 | 979.067 | 50.8634 | -0.24016
2019-11-04 23:30:00 | 9.0313 | 290.574 | 2.1497 | 336.015 | 1.3827 | 308.463 | 0 | 103.365 | 12.3 | 978.745 | 41.4407 | -0.24016
2019-11-04 23:45:00 | 0 | 284.236 | 2.1497 | 335.014 | 1.3827 | 308.316 | 0 | 99.6359 | 12.37 | 978.743 | 41.5088 | -0.24016