## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-07 00:00:00 | 0 | 253.504 | 2.661 | 307.754 | 2.1497 | 237.396 | 0 | 78.1736 | 14.18 | 974.85 | 58.3953 | 0.040643
2019-11-07 00:15:00 | 0 | 264.544 | 2.661 | 304.15 | 0.75133 | 237.861 | 0 | 93.5262 | 13.99 | 974.701 | 59.0441 | 0.018474
2019-11-07 00:30:00 | 0 | 244.129 | 2.661 | 288.17 | 2.4053 | 231.7 | 0 | 72.2785 | 13.86 | 974.553 | 59.5232 | -0.12932
2019-11-07 00:45:00 | 4.18 | 245.505 | 2.4053 | 288.599 | 2.1497 | 235.659 | 1.127 | 76.766 | 13.84 | 974.85 | 59.7991 | -0.16627
2019-11-07 01:00:00 | 0 | 262.484 | 2.661 | 298.296 | 1.3827 | 236.748 | 0 | 90.1757 | 13.77 | 974.85 | 60.1444 | -0.092371
2019-11-07 01:15:00 | 1.138 | 269.608 | 2.1497 | 306.347 | 0.75133 | 236.949 | 0 | 95.0768 | 13.72 | 974.85 | 60.7604 | -0.16627
2019-11-07 01:30:00 | 0 | 270.976 | 2.1497 | 314.004 | 1.3827 | 236.976 | 0 | 95.7606 | 13.66 | 974.553 | 61.4781 | -0.29559
2019-11-07 01:45:00 | 0 | 281.018 | 1.894 | 319.805 | 0 | 236.952 | 0 | 107.63 | 13.59 | 974.85 | 61.5805 | -0.25864
2019-11-07 02:00:00 | 0 | 301.93 | 2.4053 | 15.8566 | 1.894 | 237.147 | 0 | 118.5 | 13.53 | 974.85 | 62.6728 | -0.20322
2019-11-07 02:15:00 | 0 | 314.555 | 2.1497 | 2.5448 | 1.6383 | 252.843 | 0 | 123.716 | 13.53 | 974.998 | 63.0824 | -0.25864
2019-11-07 02:30:00 | 0 | 333.761 | 2.661 | 34.79 | 2.4053 | 355.477 | 0 | 145.408 | 13.49 | 975.146 | 61.8877 | -0.25864
2019-11-07 02:45:00 | 0 | 343.437 | 2.9167 | 40.4201 | 1.6383 | 3.0222 | 0 | 153.987 | 13.46 | 975.146 | 62.0584 | -0.24016
2019-11-07 03:00:00 | 0 | 338.83 | 1.3827 | 47.0251 | 1.6383 | 1.1699 | 0 | 153.28 | 13.4 | 975.443 | 62.0584 | -0.24016
2019-11-07 03:15:00 | 0 | 353.259 | 2.1497 | 48.9018 | 2.1497 | 6.215 | 0 | 174.606 | 13.31 | 975.443 | 62.6728 | -0.25864
2019-11-07 03:30:00 | 0 | 2.0473 | 2.661 | 60.8688 | 1.6383 | 17.0609 | 0 | 185.696 | 13.2 | 975.443 | 64.0041 | -0.25864
2019-11-07 03:45:00 | 4.3187 | 3.5097 | 2.9167 | 58.1634 | 2.1497 | 16.281 | 0 | 187.037 | 13.12 | 975.443 | 64.3796 | -0.25864
2019-11-07 04:00:00 | 0 | 7.3118 | 3.6837 | 59.6989 | 2.1497 | 8.6767 | 0 | 187.816 | 13.1 | 975.592 | 64.5161 | -0.19583
2019-11-07 04:15:00 | 0 | 9.4566 | 3.9393 | 65.5484 | 2.661 | 14.3799 | 0 | 195.323 | 13.01 | 975.592 | 65.0623 | -0.1441
2019-11-07 04:30:00 | 0 | 15.9398 | 3.9393 | 65.524 | 3.1723 | 14.1606 | 0 | 203.951 | 12.96 | 975.74 | 64.7892 | 0.0036949
2019-11-07 04:45:00 | 0 | 11.6989 | 3.6837 | 59.6014 | 1.6383 | 20.4487 | 0 | 196.688 | 12.79 | 976.037 | 65.0623 | 0.62812
2019-11-07 05:00:00 | 0 | 15.5254 | 3.9393 | 63.6717 | 2.9167 | 15.1111 | 0 | 201.221 | 12.85 | 976.037 | 64.5161 | 0.25125
2019-11-07 05:15:00 | 0 | 31.2459 | 3.6837 | 76.9061 | 2.1497 | 18.4258 | 0 | 212.214 | 12.78 | 976.037 | 64.7892 | 1.0493
2019-11-07 05:30:00 | 0 | 23.9828 | 4.4507 | 76.1262 | 2.661 | 27.7849 | 0 | 208.119 | 12.78 | 976.037 | 63.5603 | 1.4336
2019-11-07 05:45:00 | 0 | 29.3448 | 4.4507 | 81.8538 | 3.428 | 30.7584 | 0 | 211.312 | 12.77 | 976.334 | 63.6286 | 1.5223
2019-11-07 06:00:00 | 0 | 28.6624 | 3.6837 | 75.0538 | 1.6383 | 21.6918 | 0 | 212.994 | 12.76 | 976.334 | 62.6045 | 0.28081
2019-11-07 06:15:00 | 0 | 26.8832 | 3.428 | 73.1039 | 2.4053 | 37.2416 | 0 | 208.265 | 12.78 | 976.483 | 62.6045 | 0.17366
2019-11-07 06:30:00 | 0 | 42.1649 | 1.894 | 93.6502 | 0 | 53.0351 | 0 | 215.309 | 12.53 | 976.631 | 64.243 | -0.25864
2019-11-07 06:45:00 | 0 | 33.7319 | 1.3827 | 93.6258 | 1.127 | 52.9376 | 0 | 213.871 | 12.42 | 976.634 | 64.243 | -0.25864
2019-11-07 07:00:00 | 0 | 20.4731 | 1.127 | 93.6258 | 0.75133 | 27.2975 | 0 | 214.432 | 12.44 | 977.077 | 64.4479 | -0.24016
2019-11-07 07:15:00 | 0 | 41.3362 | 1.127 | 92.2365 | 0.37567 | 27.005 | 0 | 226.325 | 12.07 | 977.228 | 66.6325 | -0.18474
2019-11-07 07:30:00 | 0 | 32.952 | 2.1497 | 84.6566 | 1.3827 | 26.7125 | 0 | 218.453 | 12.15 | 977.523 | 65.5402 | -0.15149
2019-11-07 07:45:00 | 0 | 29.6373 | 2.661 | 72.324 | 0 | 23.0566 | 0 | 226.13 | 12.3 | 978.116 | 66.1546 | 0.25125
2019-11-07 08:00:00 | 0 | 24.6652 | 2.1497 | 79.2946 | 1.894 | 16.9634 | 0 | 220.135 | 12.22 | 978.413 | 66.7691 | 0.5727
2019-11-07 08:15:00 | 0 | 3.4122 | 3.1723 | 55.0193 | 2.661 | 20.7168 | 0 | 191.277 | 11.62 | 978.71 | 71.9577 | 2.2871
2019-11-07 08:30:00 | 0 | 31.5627 | 3.428 | 76.7111 | 2.4053 | 19.4738 | 0 | 222.206 | 10.86 | 979.007 | 73.2548 | 0.83503
2019-11-07 08:45:00 | 0 | 21.6909 | 2.4053 | 71.1018 | 1.894 | 43.4793 | 0 | 203.919 | 11.14 | 979.304 | 73.3202 | 0.69833
2019-11-07 09:00:00 | 0 | 13.9385 | 3.1723 | 61.7788 | 3.1723 | 22.7109 | 0 | 203.57 | 10.87 | 979.601 | 75.1515 | 1.3228
2019-11-07 09:15:00 | 0 | 350.267 | 3.428 | 74.4751 | 2.9167 | 40.8897 | 0 | 195.603 | 10.37 | 979.601 | 79.5206 | 2.3425
2019-11-07 09:30:00 | 0 | 21.9316 | 3.428 | 71.3331 | 1.6383 | 39.6719 | 0 | 206.401 | 10.47 | 979.898 | 79.3853 | 0.75744
2019-11-07 09:45:00 | 0 | 7.7005 | 2.661 | 74.3793 | 2.4053 | 33.1899 | 0 | 194.339 | 10.89 | 980.195 | 77.6448 | 0.051728
2019-11-07 10:00:00 | 0 | 7.3829 | 2.661 | 44.8625 | 1.894 | 15.9842 | 0 | 203.286 | 11.69 | 980.633 | 73.5078 | 0.022169
2019-11-07 10:15:00 | 0 | 355.453 | 3.428 | 79.2608 | 1.894 | 351.019 | 0 | 173.036 | 12.12 | 980.53 | 72.6839 | 0.12562
2019-11-07 10:30:00 | 0 | 9.6727 | 2.661 | 53.2639 | 1.894 | 307.918 | 0 | 192.918 | 12.3 | 980.786 | 73.7076 | 0.7907
2019-11-07 10:45:00 | 0 | 0.14619 | 4.962 | 79.2108 | 2.661 | 353.914 | 0.887 | 164.75 | 12.55 | 981.38 | 73.9796 | 1.0235
2019-11-07 11:00:00 | 0 | 40.393 | 2.9167 | 90.8981 | 0 | 131.85 | 0 | 198.14 | 12.33 | 981.38 | 72.8145 | 0.88676
2019-11-07 11:15:00 | 0 | 46.5336 | 3.6837 | 61.6652 | 0 | 21.3908 | 0 | 228.867 | 13.01 | 981.677 | 72.134 | 1.8733
2019-11-07 11:30:00 | 0 | 36.9561 | 1.2627 | 93.5481 | 1.6383 | 303.981 | 0 | 183.928 | 12.76 | 981.38 | 73.084 | 4.0902
2019-11-07 11:45:00 | 0 | 337.152 | 3.6837 | 44.3215 | 1.894 | 19.0772 | 0.63133 | 156.175 | 12.66 | 981.231 | 68.9978 | 6.1556
2019-11-07 12:00:00 | 0 | 349.849 | 2.661 | 70.2459 | 3.9393 | 312.328 | 0 | 152.156 | 12.27 | 980.786 | 67.5653 | 5.6642
2019-11-07 12:15:00 | 0.372 | 31.7956 | 2.9167 | 75.1675 | 3.428 | 16.2754 | 5.9847 | 205.538 | 12.17 | 980.519 | 65.7226 | 9.4921
2019-11-07 12:30:00 | 0 | 352.114 | 4.962 | 33.4348 | 3.6837 | 8.0895 | 0.75133 | 170.173 | 11.67 | 980.606 | 63.7477 | 10.268
2019-11-07 12:45:00 | 0 | 340.523 | 3.6837 | 57.3452 | 5.4733 | 14.1336 | 0 | 161.416 | 11.54 | 980.195 | 62.8663 | 9.9798
2019-11-07 13:00:00 | 0.372 | 73.008 | 5.9847 | 43.0657 | 6.496 | 356.925 | 0 | 180.4 | 11.5 | 980.195 | 62.3205 | 8.7531
2019-11-07 13:15:00 | 0 | 26.7811 | 4.4507 | 76.6946 | 5.4733 | 23.2233 | 0.63133 | 168.046 | 11.59 | 979.898 | 62.116 | 12.0674
2019-11-07 13:30:00 | 0 | 15.6451 | 6.2403 | 77.4043 | 7.0073 | 26.3676 | 5.2177 | 166.906 | 11.68 | 979.898 | 61.7766 | 14.0737
2019-11-07 13:45:00 | 4.6907 | 356.567 | 5.729 | 43.8712 | 6.2403 | 4.2889 | 2.4053 | 172.338 | 11.86 | 979.898 | 61.6734 | 15.304
2019-11-07 14:00:00 | 0.744 | 343.153 | 6.496 | 18.4286 | 6.496 | 24.2707 | 0 | 166.873 | 11.76 | 980.195 | 61.8419 | 14.5577
2019-11-07 14:15:00 | 0 | 356.484 | 6.2403 | 54.8595 | 5.729 | 21.3954 | 0 | 174.428 | 11.69 | 980.195 | 61.1938 | 17.3842
2019-11-07 14:30:00 | 5.9673 | 0.097472 | 5.2177 | 58.4894 | 6.2403 | 15.8392 | 2.541 | 184.661 | 11.63 | 980.195 | 60.8177 | 14.1476
2019-11-07 14:45:00 | 0.88267 | 0.097473 | 5.9847 | 61.9991 | 4.7063 | 11.4531 | 2.0297 | 176.694 | 11.64 | 980.492 | 61.3984 | 18.186
2019-11-07 15:00:00 | 0 | 354.003 | 5.4733 | 54.3242 | 4.962 | 357 | 0 | 187.541 | 11.36 | 980.492 | 62.7986 | 17.75
2019-11-07 15:15:00 | 1.138 | 11.0145 | 5.729 | 65.655 | 4.4507 | 19.909 | 1.774 | 180.204 | 11.2 | 980.195 | 63.6855 | 14.4801
2019-11-07 15:30:00 | 0.62733 | 11.4044 | 5.2177 | 56.9068 | 5.729 | 12.3061 | 0.37567 | 196.458 | 11.16 | 980.195 | 63.003 | 13.3495
2019-11-07 15:45:00 | 2.0207 | 0.097474 | 6.2403 | 55.3233 | 5.4733 | 1.2915 | 0.63133 | 189.393 | 11.27 | 980.195 | 62.1843 | 13.6672
2019-11-07 16:00:00 | 0 | 1.9496 | 4.962 | 47.0897 | 4.962 | 356.967 | 0 | 196.224 | 11.21 | 980.195 | 62.9379 | 13.682
2019-11-07 16:15:00 | 0.99933 | 353.011 | 6.7517 | 57.8457 | 2.9167 | 21.3259 | 0.37567 | 192.006 | 11.12 | 979.898 | 63.3889 | 13.368
2019-11-07 16:30:00 | 1.2547 | 355.745 | 4.962 | 49.9498 | 3.9393 | 3.4122 | 2.4053 | 184.794 | 10.88 | 979.898 | 63.2872 | 11.7718
2019-11-07 16:45:00 | 0 | 9.3104 | 7.7743 | 65.0609 | 3.428 | 11.6502 | 2.541 | 187.987 | 10.6 | 979.75 | 65.8133 | 12.6068
2019-11-07 17:00:00 | 0 | 7.0681 | 5.2177 | 54.8731 | 3.1723 | 9.4566 | 2.661 | 196.298 | 10.38 | 979.641 | 66.1546 | 9.3849
2019-11-07 17:15:00 | 0 | 119.037 | 4.4507 | 48.7068 | 4.962 | 6.2394 | 0.37567 | 186.159 | 10.14 | 980.105 | 66.9739 | 8.2358
2019-11-07 17:30:00 | 0 | 13.0888 | 4.7063 | 62.5792 | 2.9167 | 3.3392 | 0 | 198.039 | 9.91 | 979.902 | 67.8649 | 7.4008
2019-11-07 17:45:00 | 0 | 9.9456 | 3.9393 | 64.2939 | 2.4053 | 7.6542 | 0 | 202.569 | 9.7 | 980.072 | 68.9985 | 7.9254
2019-11-07 18:00:00 | 0 | 7.8494 | 4.7063 | 57.6649 | 2.9167 | 339.863 | 0 | 192.626 | 9.72 | 980.039 | 68.0096 | 7.5633
2019-11-07 18:15:00 | 0 | 2.1698 | 4.7063 | 63.8912 | 2.1497 | 0.04876 | 0 | 191.382 | 9.56 | 980.198 | 68.9056 | 10.8407
2019-11-07 18:30:00 | 2.5313 | 18.7246 | 5.729 | 63.2368 | 4.962 | 17.3349 | 4.4507 | 205.849 | 9.17 | 979.901 | 69.9332 | 8.1102
2019-11-07 18:45:00 | 0 | 15.6527 | 5.2177 | 65.5776 | 3.6837 | 6.0465 | 0 | 200.851 | 9.2 | 979.901 | 68.7724 | 7.4229
2019-11-07 19:00:00 | 0 | 23.2595 | 4.7063 | 72.0142 | 4.195 | 15.7258 | 0 | 205.825 | 9.11 | 979.901 | 70.2066 | 7.0461
2019-11-07 19:15:00 | 0 | 24.1373 | 4.7063 | 74.306 | 2.9167 | 19.3098 | 0 | 208.556 | 8.94 | 979.901 | 70.8212 | 6.1408
2019-11-07 19:30:00 | 0 | 28.916 | 4.4507 | 78.6458 | 3.6837 | 22.8207 | 0 | 214.797 | 8.91 | 979.901 | 70.1724 | 3.7466
2019-11-07 19:45:00 | 0 | 36.3766 | 3.428 | 85.7163 | 2.661 | 19.895 | 0 | 224.72 | 9.05 | 979.949 | 67.8504 | 1.7772
2019-11-07 20:00:00 | 0 | 17.9445 | 1.894 | 100.199 | 2.661 | 40.7652 | 0 | 215.797 | 9.39 | 979.966 | 66.6553 | -0.062812
2019-11-07 20:15:00 | 0 | 56.3203 | 2.9167 | 104.685 | 2.4053 | 26.8192 | 0 | 237.399 | 9.45 | 980.182 | 66.4504 | -0.2143
2019-11-07 20:30:00 | 0 | 43.4471 | 3.9393 | 103.222 | 3.428 | 43.9835 | 0 | 221.429 | 9.79 | 980.232 | 62.2161 | -0.18844
2019-11-07 20:45:00 | 0 | 54.8574 | 2.9167 | 99.1016 | 2.4053 | 35.6451 | 0 | 238.106 | 10.02 | 980.497 | 62.3527 | -0.23278
2019-11-07 21:00:00 | 0 | 53.7847 | 2.9167 | 109.805 | 2.4053 | 59.1973 | 0 | 237.228 | 10.4 | 980.495 | 59.9283 | -0.2882
2019-11-07 21:15:00 | 0 | 59.8312 | 2.9167 | 108.927 | 2.4053 | 52.273 | 0 | 238.618 | 10.55 | 980.495 | 59.3478 | -0.26233
2019-11-07 21:30:00 | 0 | 46.9092 | 2.4053 | 86.1552 | 1.6383 | 10.6301 | 0 | 234.448 | 10.43 | 980.495 | 59.8941 | -0.26233
2019-11-07 21:45:00 | 0 | 44.081 | 2.9167 | 88.8371 | 2.1497 | 25.0881 | 0 | 228.378 | 10.15 | 980.198 | 57.9819 | -0.28081
2019-11-07 22:00:00 | 0 | 28.8672 | 2.9167 | 83.2782 | 2.4053 | 18.4565 | 0 | 215.87 | 10.53 | 980.347 | 59.0063 | -0.28081
2019-11-07 22:15:00 | 5.4567 | 26.4291 | 2.9167 | 81.474 | 2.4053 | 35.5964 | 0 | 215.87 | 9.9 | 980.198 | 58.0502 | -0.28081
2019-11-07 22:30:00 | 0 | 48.8109 | 1.127 | 126.457 | 0.75133 | 90.21 | 0 | 236.74 | 10.61 | 980.198 | 56.9575 | -0.28081
2019-11-07 22:45:00 | 0 | 177.153 | 1.894 | 224.152 | 0.75133 | 146.457 | 0 | 328.681 | 10.47 | 979.901 | 59.5527 | -0.28081
2019-11-07 23:00:00 | 0 | 177.153 | 1.6383 | 230.004 | 0.75133 | 166.23 | 0 | 328.998 | 10.06 | 979.901 | 63.7869 | -0.28081
2019-11-07 23:15:00 | 0 | 180.664 | 1.894 | 230.004 | 1.6383 | 169.692 | 0 | 21.3091 | 9.59 | 979.901 | 66.2455 | -0.28081
2019-11-07 23:30:00 | 0 | 186.223 | 2.1497 | 231.174 | 1.894 | 170.424 | 0 | 21.1628 | 9.71 | 979.752 | 64.1284 | -0.30667
2019-11-07 23:45:00 | 0 | 180.737 | 1.6383 | 218.008 | 0.75133 | 159.16 | 0 | 8.0945 | 9.81 | 979.455 | 63.1723 | 0.55053