## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-08 00:00:00 | 0 | 162.695 | 2.4053 | 217.764 | 1.3827 | 160.135 | 0 | 7.8995 | 9.9 | 979.455 | 65.6309 | 2.6714
2019-11-08 00:15:00 | 0 | 155.6 | 2.9167 | 196.553 | 1.6383 | 162.914 | 0 | 347.235 | 9.67 | 979.374 | 64.9138 | 2.3573
2019-11-08 00:30:00 | 0 | 167.157 | 2.661 | 196.845 | 2.4053 | 159.501 | 0 | 350.039 | 9.59 | 979.411 | 65.0162 | 1.9324
2019-11-08 00:45:00 | 0 | 180.176 | 1.894 | 215.204 | 2.4053 | 159.111 | 0 | 9.216 | 9.4 | 979.381 | 63.3089 | 2.0433
2019-11-08 01:00:00 | 0 | 175.202 | 3.428 | 204.842 | 2.661 | 158.672 | 0 | 356.793 | 9.28 | 979.449 | 64.9479 | 1.5112
2019-11-08 01:15:00 | 0 | 164.036 | 3.1723 | 206.89 | 2.4053 | 165.962 | 0 | 353.964 | 9.24 | 979.496 | 65.0845 | 1.7624
2019-11-08 01:30:00 | 0 | 159.818 | 3.1723 | 206.866 | 2.4053 | 155.064 | 0 | 356.622 | 9.3 | 979.432 | 64.8796 | 1.5038
2019-11-08 01:45:00 | 0 | 170.229 | 3.9393 | 216.838 | 2.661 | 167.498 | 0 | 0.87772 | 9.36 | 979.438 | 63.7186 | 0.43599
2019-11-08 02:00:00 | 0 | 171.618 | 3.1723 | 221.933 | 3.1723 | 170.594 | 0 | 63.4396 | 9.52 | 979.391 | 63.104 | 0.44338
2019-11-08 02:15:00 | 0 | 154.966 | 3.1723 | 204.233 | 1.127 | 182.419 | 0 | 355.866 | 9.66 | 979.379 | 63.0357 | 0.48033
2019-11-08 02:30:00 | 0 | 174.227 | 2.661 | 220.251 | 2.1497 | 167.498 | 0 | 4.7787 | 9.2 | 979.322 | 63.9918 | -0.0036948
2019-11-08 02:45:00 | 0 | 183.492 | 2.9167 | 230.54 | 2.4053 | 165.938 | 0 | 15.9452 | 9.42 | 979.409 | 63.7869 | -0.22539
2019-11-08 03:00:00 | 0 | 178.518 | 2.661 | 225.81 | 2.4053 | 160.574 | 0 | 15.1894 | 9.55 | 979.204 | 64.0601 | -0.31037
2019-11-08 03:15:00 | 0 | 184.028 | 2.1497 | 231.076 | 2.1497 | 161.744 | 0 | 18.1639 | 9.72 | 979.224 | 62.7625 | -0.30298
2019-11-08 03:30:00 | 0 | 183.711 | 2.1497 | 230.589 | 1.6383 | 172.374 | 0 | 26.1121 | 9.84 | 979.204 | 62.5576 | -0.28081
2019-11-08 03:45:00 | 0.99933 | 184.394 | 3.1723 | 234.295 | 2.1497 | 188.661 | 0 | 32.8413 | 9.79 | 979.16 | 62.8308 | -0.13671
2019-11-08 04:00:00 | 0 | 170.863 | 1.894 | 237.513 | 1.894 | 158.331 | 0 | 9.1673 | 9.55 | 979.01 | 63.8552 | 0.018474
2019-11-08 04:15:00 | 0 | 174.13 | 2.4053 | 229.345 | 1.894 | 163.012 | 0 | 356.793 | 9.31 | 978.713 | 64.8113 | 0.52097
2019-11-08 04:30:00 | 0 | 172.082 | 2.9167 | 215.18 | 2.1497 | 152.577 | 0 | 2.8282 | 9.02 | 978.74 | 65.0845 | 0.39904
2019-11-08 04:45:00 | 0 | 172.667 | 3.1723 | 215.448 | 2.4053 | 160.232 | 0 | 2.5356 | 9.03 | 978.872 | 64.4016 | 0.12932
2019-11-08 05:00:00 | 0 | 179.591 | 3.428 | 215.375 | 2.4053 | 166.328 | 0 | 7.6557 | 9.22 | 978.973 | 64.5381 | 0.12193
2019-11-08 05:15:00 | 0.62733 | 179.859 | 3.428 | 223.664 | 2.661 | 168.424 | 0 | 7.4119 | 9.02 | 978.922 | 64.8796 | 0.29189
2019-11-08 05:30:00 | 0 | 179.591 | 3.9393 | 219.276 | 3.1723 | 167.669 | 0 | 5.5345 | 9.01 | 978.981 | 64.8796 | 1.2267
2019-11-08 05:45:00 | 4.18 | 182.419 | 3.9393 | 224.25 | 2.661 | 168.181 | 0 | 7.2656 | 9.1 | 979.135 | 63.7869 | 1.0789
2019-11-08 06:00:00 | 0 | 185.808 | 2.9167 | 220.641 | 2.661 | 161.159 | 0 | 5.7052 | 9.37 | 979.285 | 63.5137 | 1.3449
2019-11-08 06:15:00 | 0 | 174.373 | 3.6837 | 214.643 | 2.4053 | 169.887 | 0 | 3.0476 | 9.5 | 979.519 | 62.8649 | 3.0187
2019-11-08 06:30:00 | 0 | 176.665 | 2.9167 | 214.497 | 2.4053 | 167.596 | 0 | 3.0232 | 9.52 | 979.418 | 61.7381 | 4.0865
2019-11-08 06:45:00 | 0 | 172.764 | 2.661 | 206.598 | 1.6383 | 152.284 | 0 | 0.29257 | 9.57 | 979.449 | 59.9624 | 6.1519
2019-11-08 07:00:00 | 0 | 154.674 | 3.1723 | 201.917 | 2.4053 | 163.304 | 0 | 354.94 | 9.41 | 979.633 | 63.6162 | 7.2308
2019-11-08 07:15:00 | 1.3933 | 148.822 | 3.1723 | 199.771 | 2.4053 | 151.967 | 0 | 335.752 | 9.12 | 979.762 | 64.4699 | 8.1841
2019-11-08 07:30:00 | 0 | 147.115 | 5.2177 | 201.429 | 4.195 | 159.867 | 0 | 334.728 | 8.6 | 979.901 | 66.9626 | 9.8431
2019-11-08 07:45:00 | 0 | 143.995 | 3.9393 | 189.19 | 3.6837 | 151.65 | 0 | 346.041 | 8.36 | 980.049 | 68.8407 | 9.2039
2019-11-08 08:00:00 | 0 | 157.453 | 4.195 | 200.454 | 3.1723 | 151.09 | 0.75133 | 340.701 | 8.51 | 980.198 | 67.6797 | 9.6768
2019-11-08 08:15:00 | 0 | 146.628 | 4.7063 | 199.381 | 3.428 | 168.278 | 0 | 329.047 | 8.5 | 980.198 | 66.8943 | 9.045
2019-11-08 08:30:00 | 0 | 146.872 | 5.2177 | 202.404 | 1.6383 | 167.791 | 0 | 328.218 | 8.85 | 980.495 | 64.4699 | 9.7729
2019-11-08 08:45:00 | 0.372 | 143.8 | 5.4733 | 200.125 | 4.962 | 141.339 | 0 | 339.11 | 9.03 | 980.792 | 64.8008 | 8.5388
2019-11-08 09:00:00 | 0 | 154.554 | 5.9847 | 213.525 | 5.9847 | 163.891 | 0 | 345.844 | 9.61 | 980.688 | 61.9586 | 8.1028
2019-11-08 09:15:00 | 0 | 154.036 | 4.7063 | 194.31 | 4.4507 | 145.603 | 0.887 | 332.981 | 10.16 | 980.843 | 61.1709 | 8.8972
2019-11-08 09:30:00 | 0 | 158.228 | 6.7517 | 196.162 | 5.729 | 161.445 | 4.962 | 337.295 | 10.06 | 980.938 | 61.3074 | 11.3653
2019-11-08 09:45:00 | 0 | 137.682 | 6.2403 | 183.171 | 6.496 | 137.999 | 0 | 328.447 | 10.14 | 980.938 | 60.4199 | 10.6042
2019-11-08 10:00:00 | 0 | 134.371 | 5.2177 | 186.017 | 4.7063 | 152.332 | 0 | 329.375 | 10.65 | 981.383 | 59.8648 | 9.7987
2019-11-08 10:15:00 | 0 | 152.984 | 6.2403 | 191.517 | 6.2403 | 143.553 | 0.63133 | 328.41 | 10.4 | 981.235 | 60.75 | 10.7187
2019-11-08 10:30:00 | 0 | 151.085 | 6.2403 | 204.605 | 5.9847 | 153.376 | 0 | 335.335 | 10.37 | 981.532 | 61.9794 | 9.8837
2019-11-08 10:45:00 | 0 | 147.257 | 6.7517 | 200.484 | 7.0073 | 151.862 | 5.9847 | 339.936 | 10.53 | 981.532 | 64.2312 | 11.0291
2019-11-08 11:00:00 | 0 | 152.145 | 5.9847 | 197.423 | 5.4733 | 155.508 | 2.541 | 334.334 | 10.46 | 981.532 | 65.3871 | 11.7311
2019-11-08 11:15:00 | 0 | 151.095 | 5.729 | 202.44 | 5.2177 | 158.429 | 2.4053 | 328.945 | 10.42 | 981.368 | 67.9458 | 10.8555
2019-11-08 11:30:00 | 0 | 144.249 | 6.496 | 202.417 | 6.7517 | 144.688 | 1.894 | 338.376 | 10.8 | 981.383 | 67.7071 | 9.4145
2019-11-08 11:45:00 | 0 | 148.189 | 5.729 | 198.75 | 6.2403 | 144.582 | 0.887 | 339.697 | 11.13 | 981.359 | 67.1918 | 8.1065
2019-11-08 12:00:00 | 0 | 147.697 | 6.2403 | 195.772 | 6.496 | 151.742 | 3.308 | 333.452 | 11.18 | 980.91 | 68.862 | 9.614
2019-11-08 12:15:00 | 0 | 152.668 | 5.729 | 201.083 | 6.2403 | 153.301 | 0 | 353.553 | 11.43 | 980.682 | 66.9169 | 11.2176
2019-11-08 12:30:00 | 0 | 152.278 | 6.2403 | 203.861 | 5.9847 | 166.214 | 0.37567 | 342.223 | 11.57 | 980.495 | 67.224 | 11.0476
2019-11-08 12:45:00 | 0 | 136.928 | 6.2403 | 192.336 | 5.9847 | 153.618 | 5.9847 | 322.293 | 11.72 | 980.529 | 64.8695 | 9.747
2019-11-08 13:00:00 | 0 | 153.204 | 7.0073 | 192.848 | 5.729 | 146.211 | 2.661 | 326.752 | 11.93 | 980.49 | 65.0401 | 7.2789
2019-11-08 13:15:00 | 0 | 145.626 | 5.9847 | 196.356 | 5.4733 | 150.402 | 0 | 324.145 | 12.25 | 980.49 | 64.733 | 6.1187
2019-11-08 13:30:00 | 0 | 151.547 | 5.2177 | 203.787 | 5.9847 | 149.573 | 4.4507 | 343.782 | 12.5 | 980.489 | 63.7434 | 6.9094
2019-11-08 13:45:00 | 0 | 134.272 | 5.4733 | 187.829 | 6.2403 | 140.022 | 4.7063 | 317.274 | 12.52 | 980.341 | 63.914 | 6.6544
2019-11-08 14:00:00 | 0 | 170.795 | 4.962 | 207.345 | 5.9847 | 158.783 | 5.9847 | 354.795 | 12.87 | 980.489 | 64.7671 | 6.2812
2019-11-08 14:15:00 | 0 | 165.581 | 5.9847 | 202.764 | 5.9847 | 147.965 | 5.729 | 351.214 | 12.82 | 980.341 | 64.3918 | 7.0719
2019-11-08 14:30:00 | 0 | 169.577 | 4.195 | 207.077 | 4.195 | 150.524 | 1.3983 | 351.433 | 13.02 | 980.489 | 65.6543 | 6.2923
2019-11-08 14:45:00 | 0.372 | 157.687 | 5.2177 | 204.884 | 4.7063 | 160.854 | 2.9167 | 352.48 | 12.87 | 980.192 | 66.1321 | 7.4082
2019-11-08 15:00:00 | 0 | 138.414 | 5.729 | 187.147 | 5.729 | 145.797 | 0 | 321.781 | 13.02 | 979.896 | 65.6885 | 5.1654
2019-11-08 15:15:00 | 0 | 150.572 | 5.729 | 194.334 | 4.7063 | 155.007 | 0.63133 | 327.58 | 13 | 980.044 | 66.2686 | 7.0645
2019-11-08 15:30:00 | 0 | 142.629 | 6.496 | 190.07 | 6.7517 | 145.212 | 1.2627 | 325.217 | 12.97 | 979.599 | 66.6439 | 6.7098
2019-11-08 15:45:00 | 0 | 142.093 | 6.2403 | 191.094 | 5.9847 | 142.776 | 0.75133 | 338.447 | 13.02 | 979.386 | 66.7463 | 7.689
2019-11-08 16:00:00 | 0 | 149.574 | 4.4507 | 199.28 | 4.195 | 142.849 | 0 | 323.024 | 12.97 | 979.518 | 66.9512 | 6.8244
2019-11-08 16:15:00 | 0.372 | 147.23 | 5.729 | 194.387 | 5.2177 | 142.746 | 5.729 | 330.743 | 12.96 | 979.6 | 67.3012 | 7.253
2019-11-08 16:30:00 | 0 | 147.113 | 4.962 | 205.385 | 3.9393 | 159.419 | 0 | 327.636 | 12.78 | 979.304 | 68.2594 | 8.2765
2019-11-08 16:45:00 | 0 | 158.004 | 4.962 | 207.454 | 4.962 | 159.223 | 0 | 336.819 | 12.66 | 979.156 | 69.6238 | 11.2988
2019-11-08 17:00:00 | 0 | 190.759 | 4.7063 | 224.127 | 3.1723 | 191.198 | 0 | 12.9642 | 12.42 | 978.71 | 69.4888 | 15.5294
2019-11-08 17:15:00 | 1.6487 | 134.365 | 7.0073 | 195.989 | 5.729 | 140.824 | 5.4733 | 333.318 | 12.42 | 978.71 | 70.5572 | 17.0591
2019-11-08 17:30:00 | 0 | 147.406 | 5.4733 | 193.895 | 4.4507 | 159.032 | 0 | 328.496 | 12.33 | 978.71 | 71.275 | 16.4014
2019-11-08 17:45:00 | 0 | 159.568 | 4.195 | 210.615 | 3.9393 | 164.516 | 0 | 346.678 | 12.14 | 978.413 | 71.9918 | 15.9396
2019-11-08 18:00:00 | 0 | 151.428 | 7.0073 | 190.751 | 5.2177 | 153.183 | 0 | 329.227 | 12.07 | 978.413 | 72.5721 | 19.3942
2019-11-08 18:15:00 | 0 | 141.581 | 6.2403 | 196.942 | 6.2403 | 142.776 | 0.887 | 321.355 | 12.08 | 978.413 | 71.8211 | 19.106
2019-11-08 18:30:00 | 1.882 | 157.96 | 5.9847 | 210.566 | 5.729 | 161.567 | 0 | 329.13 | 12.09 | 978.413 | 72.2308 | 18.8991
2019-11-08 18:45:00 | 0 | 153.743 | 7.0073 | 206.423 | 5.729 | 160.665 | 0 | 337.026 | 11.96 | 978.413 | 72.0942 | 19.0617
2019-11-08 19:00:00 | 0 | 147.236 | 5.2177 | 194.992 | 5.4733 | 156.863 | 1.007 | 330.836 | 11.86 | 978.562 | 73.0841 | 18.2599
2019-11-08 19:15:00 | 0 | 150.892 | 6.2403 | 201.256 | 5.4733 | 156.132 | 0 | 334.54 | 11.77 | 978.413 | 73.2548 | 20.8131
2019-11-08 19:30:00 | 0 | 156.034 | 6.2403 | 211.468 | 7.0073 | 149.356 | 0 | 339.854 | 11.68 | 978.421 | 74.0058 | 21.1345
2019-11-08 19:45:00 | 0 | 148.771 | 5.9847 | 191.556 | 5.9847 | 161.859 | 0 | 326.936 | 11.69 | 978.572 | 74.3472 | 17.8572
2019-11-08 20:00:00 | 0 | 151.745 | 4.195 | 204.376 | 3.9393 | 157.302 | 1.1427 | 336.783 | 11.63 | 978.446 | 74.6202 | 18.9509
2019-11-08 20:15:00 | 1.7653 | 151.428 | 4.962 | 207.105 | 4.4507 | 161.348 | 1.007 | 334.37 | 11.6 | 978.423 | 74.2106 | 19.1245
2019-11-08 20:30:00 | 4.4353 | 157.789 | 7.263 | 205.96 | 7.0073 | 162.834 | 5.9847 | 343.51 | 11.5 | 978.487 | 75.1664 | 21.3525
2019-11-08 20:45:00 | 2.9033 | 156.473 | 7.0073 | 208.958 | 6.2403 | 157.156 | 5.9847 | 343.144 | 11.58 | 978.454 | 75.0981 | 19.9004
2019-11-08 21:00:00 | 3.6693 | 156.619 | 6.496 | 210.81 | 5.9847 | 160.348 | 5.729 | 340.804 | 11.68 | 978.807 | 74.7226 | 19.6603
2019-11-08 21:15:00 | 1.6487 | 159.788 | 7.263 | 207.69 | 6.7517 | 153.89 | 0.37567 | 340.951 | 11.4 | 978.816 | 76.3953 | 20.4916
2019-11-08 21:30:00 | 8.2653 | 161.445 | 7.7743 | 206.496 | 7.5187 | 154.328 | 2.1497 | 337.026 | 11.35 | 978.467 | 76.3612 | 22.8822
2019-11-08 21:45:00 | 0 | 158.277 | 7.263 | 206.082 | 6.7517 | 145.7 | 0 | 343.51 | 11.37 | 978.536 | 76.8049 | 21.0458
2019-11-08 22:00:00 | 7.4993 | 154.986 | 8.03 | 204.181 | 6.7517 | 157.253 | 7.263 | 348.238 | 11.28 | 978.462 | 77.4876 | 23.9943
2019-11-08 22:15:00 | 4.4353 | 164.979 | 7.5187 | 209.372 | 7.263 | 156.546 | 1.774 | 349.359 | 11.23 | 978.438 | 77.3511 | 27.933
2019-11-08 22:30:00 | 10.0527 | 155.425 | 7.7743 | 205.424 | 7.5187 | 154.816 | 3.9393 | 342.632 | 11.35 | 978.446 | 77.6924 | 29.8248
2019-11-08 22:45:00 | 6.478 | 159.154 | 7.5187 | 209.616 | 7.0073 | 156.863 | 2.1497 | 345.557 | 11.06 | 978.445 | 78.7848 | 32.3373
2019-11-08 23:00:00 | 9.2867 | 156.912 | 7.5187 | 210.615 | 7.0073 | 161.421 | 1.3827 | 341.414 | 11.11 | 978.15 | 78.8189 | 32.9654
2019-11-08 23:15:00 | 9.542 | 154.206 | 7.5187 | 195.504 | 6.496 | 159.203 | 3.428 | 341.34 | 11.04 | 978.452 | 79.5699 | 30.6192
2019-11-08 23:30:00 | 15.4147 | 160.033 | 6.2403 | 215.321 | 7.5187 | 150.04 | 4.7063 | 338.98 | 10.89 | 978.158 | 80.902 | 26.4366
2019-11-08 23:45:00 | 1.138 | 148.534 | 6.496 | 197.268 | 5.729 | 144.195 | 5.9847 | 332.507 | 10.81 | 978.449 | 81.9968 | 22.5053