## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-09 00:00:00 | 0 | 149.439 | 6.7517 | 196.078 | 5.729 | 143.954 | 0 | 335.682 | 10.79 | 978.14 | 82.6131 | 19.3647
2019-11-09 00:15:00 | 4.18 | 145.697 | 6.2403 | 190.367 | 6.2403 | 141.675 | 0 | 332.565 | 10.79 | 978.2 | 82.8246 | 18.9028
2019-11-09 00:30:00 | 0.372 | 146.597 | 5.9847 | 203.064 | 5.2177 | 162.783 | 1.007 | 340.825 | 10.79 | 978.366 | 83.7113 | 17.5505
2019-11-09 00:45:00 | 2.5313 | 149.917 | 6.496 | 204.242 | 5.2177 | 145.676 | 3.308 | 343.444 | 10.68 | 978.214 | 84.6359 | 18.4003
2019-11-09 01:00:00 | 0 | 158.351 | 5.729 | 197.489 | 5.9847 | 155.621 | 2.541 | 341.689 | 10.8 | 978.229 | 84.7383 | 17.7057
2019-11-09 01:15:00 | 0 | 162.207 | 6.496 | 203.297 | 5.4733 | 155.65 | 1.2627 | 355.91 | 10.8 | 978.26 | 85.2185 | 19.4792
2019-11-09 01:30:00 | 5.2013 | 158.882 | 7.0073 | 205.331 | 7.263 | 157.444 | 0.37567 | 348.551 | 10.86 | 978.285 | 85.0768 | 22.8674
2019-11-09 01:45:00 | 4.18 | 167.106 | 6.2403 | 217.751 | 5.2177 | 156.746 | 4.7063 | 344.548 | 10.72 | 978.267 | 85.2863 | 19.3167
2019-11-09 02:00:00 | 0 | 153.893 | 5.2177 | 218.262 | 3.9393 | 144.873 | 1.774 | 345.18 | 10.76 | 978.278 | 86.4124 | 18.1971
2019-11-09 02:15:00 | 0 | 169.807 | 5.4733 | 207.507 | 5.9847 | 154.791 | 0 | 336.738 | 10.68 | 978.117 | 86.6495 | 19.7268
2019-11-09 02:30:00 | 3.414 | 164.037 | 6.496 | 212.172 | 5.9847 | 163.281 | 0 | 353.719 | 10.75 | 978.274 | 86.6191 | 20.2736
2019-11-09 02:45:00 | 0 | 157.287 | 5.4733 | 202.766 | 4.7063 | 156.092 | 0 | 348.069 | 10.61 | 977.942 | 88.2252 | 17.1071
2019-11-09 03:00:00 | 3.1587 | 165.818 | 4.195 | 210.224 | 3.428 | 145.097 | 0 | 332.854 | 10.49 | 978.057 | 88.0878 | 16.3903
2019-11-09 03:15:00 | 0 | 148.262 | 6.2403 | 188.474 | 4.195 | 153.186 | 0 | 339.209 | 10.6 | 978.081 | 87.2663 | 17.6429
2019-11-09 03:30:00 | 0 | 162.156 | 6.2403 | 211.582 | 3.428 | 175.49 | 0 | 350.981 | 10.58 | 977.896 | 86.7878 | 16.6231
2019-11-09 03:45:00 | 0 | 154.844 | 5.2177 | 210.95 | 3.428 | 164.205 | 0 | 331.286 | 10.58 | 978.026 | 87.3345 | 16.6416
2019-11-09 04:00:00 | 0 | 147.359 | 4.962 | 197.881 | 4.4507 | 160.79 | 0.37567 | 331.039 | 10.4 | 977.768 | 89.3138 | 18.5777
2019-11-09 04:15:00 | 4.18 | 167.396 | 6.496 | 205.145 | 7.263 | 155.013 | 5.2177 | 355.294 | 10.42 | 977.96 | 87.5726 | 24.8515
2019-11-09 04:30:00 | 6.2227 | 138.607 | 7.7743 | 193.591 | 7.263 | 146.14 | 7.7743 | 337.206 | 10.33 | 977.818 | 88.8017 | 23.78
2019-11-09 04:45:00 | 4.18 | 157.67 | 7.0073 | 195.053 | 6.496 | 153.233 | 0.37567 | 351.101 | 10.21 | 977.821 | 88.2213 | 22.1617
2019-11-09 05:00:00 | 4.6907 | 152.185 | 7.5187 | 197.686 | 7.0073 | 153.843 | 2.2853 | 333.55 | 10.05 | 977.97 | 89.0407 | 24.7407
2019-11-09 05:15:00 | 12.0953 | 159.304 | 8.03 | 200.393 | 7.263 | 148.213 | 5.729 | 342.157 | 10.11 | 977.821 | 88.8364 | 27.7889
2019-11-09 05:30:00 | 13.6273 | 139.168 | 7.7743 | 191.129 | 7.0073 | 153.721 | 5.2177 | 341.082 | 10.1 | 977.813 | 89.5869 | 27.3603
2019-11-09 05:45:00 | 0 | 147.946 | 7.5187 | 193.863 | 7.263 | 135.197 | 0 | 323.927 | 9.97 | 977.94 | 88.4277 | 26.5512
2019-11-09 06:00:00 | 1.6267 | 144.683 | 7.0073 | 191.381 | 5.729 | 143.659 | 2.1497 | 344.801 | 9.82 | 978.117 | 90.0001 | 27.5007
2019-11-09 06:15:00 | 3.1587 | 148.265 | 5.729 | 200.497 | 5.2177 | 156.724 | 3.6837 | 337.193 | 9.77 | 978.118 | 90.5117 | 30.8778
2019-11-09 06:30:00 | 2.648 | 151.466 | 7.5187 | 197.412 | 6.7517 | 151.759 | 4.962 | 336.551 | 9.79 | 977.821 | 89.3554 | 31.421
2019-11-09 06:45:00 | 3.808 | 150.221 | 7.0073 | 198.432 | 6.496 | 145.589 | 1.007 | 339.033 | 9.85 | 978.118 | 89.9344 | 33.0726
2019-11-09 07:00:00 | 9.2867 | 145.201 | 8.03 | 193.852 | 6.496 | 145.615 | 3.428 | 334.601 | 9.85 | 978.118 | 89.1846 | 32.4149
2019-11-09 07:15:00 | 3.6693 | 159.384 | 6.2403 | 214.664 | 5.729 | 147.195 | 1.6383 | 347.827 | 9.78 | 978.415 | 88.8744 | 32.0676
2019-11-09 07:30:00 | 7.7547 | 151.506 | 6.496 | 195.351 | 5.729 | 146.07 | 4.962 | 341.383 | 9.96 | 978.712 | 88.4965 | 32.4814
2019-11-09 07:45:00 | 8.776 | 162.594 | 5.9847 | 199.149 | 5.9847 | 143.117 | 5.4733 | 343.374 | 10.09 | 978.682 | 87.6752 | 31.65
2019-11-09 08:00:00 | 8.5207 | 148.556 | 7.263 | 198.154 | 7.5187 | 158.161 | 5.729 | 339.261 | 10.14 | 978.815 | 87.2672 | 33.0984
2019-11-09 08:15:00 | 13.1167 | 159.058 | 8.2857 | 202.696 | 7.7743 | 148.578 | 7.263 | 341.564 | 10.31 | 978.735 | 86.0225 | 32.1858
2019-11-09 08:30:00 | 0.99933 | 158.618 | 8.03 | 197.795 | 6.7517 | 155.328 | 5.729 | 340.975 | 10.55 | 979.029 | 84.9975 | 32.8287
2019-11-09 08:45:00 | 11.3293 | 148.942 | 8.03 | 197.844 | 7.0073 | 151.379 | 6.2403 | 339.001 | 10.66 | 979.009 | 84.3148 | 34.5505
2019-11-09 09:00:00 | 3.9247 | 153.037 | 7.7743 | 190.946 | 7.0073 | 144.287 | 2.7967 | 334.078 | 10.85 | 979.007 | 82.9493 | 31.033
2019-11-09 09:15:00 | 8.2653 | 151.499 | 8.03 | 201.13 | 7.0073 | 148.964 | 6.7517 | 335.997 | 10.92 | 979.007 | 81.9921 | 32.0639
2019-11-09 09:30:00 | 0.372 | 149.284 | 7.0073 | 197.687 | 8.2857 | 149.381 | 1.007 | 335.462 | 11.16 | 979.156 | 79.523 | 26.7026
2019-11-09 09:45:00 | 3.2973 | 152.937 | 8.03 | 192.128 | 7.7743 | 156.519 | 6.2403 | 339.478 | 11.46 | 979.156 | 78.9076 | 22.9421
2019-11-09 10:00:00 | 0.372 | 152.158 | 7.5187 | 205.336 | 6.2403 | 151.548 | 0 | 331.291 | 11.51 | 979.156 | 79.1809 | 28.4429
2019-11-09 10:15:00 | 3.808 | 152.315 | 5.729 | 216.38 | 8.797 | 152.973 | 1.9097 | 329.363 | 11.52 | 979.007 | 78.1846 | 27.4527
2019-11-09 10:30:00 | 8.2653 | 143.51 | 7.5187 | 190.416 | 8.03 | 155.449 | 6.7517 | 332.29 | 11.56 | 978.911 | 78.8279 | 24.6557
2019-11-09 10:45:00 | 9.0313 | 145.846 | 8.03 | 193.53 | 8.03 | 162.73 | 5.9847 | 331.137 | 11.94 | 978.929 | 77.7342 | 31.9198
2019-11-09 11:00:00 | 8.01 | 149.208 | 7.5187 | 203.471 | 7.263 | 164.07 | 5.2177 | 335.45 | 12.24 | 979.013 | 78.1096 | 22.9228
2019-11-09 11:15:00 | 9.2867 | 150.792 | 10.0753 | 194.456 | 9.564 | 146.942 | 4.7063 | 338.739 | 12.86 | 978.708 | 73.4687 | 19.0395
2019-11-09 11:30:00 | 0 | 185.727 | 9.564 | 202.541 | 8.2857 | 165.895 | 1.894 | 0.19491 | 13.14 | 978.708 | 73.2286 | 23.3145
2019-11-09 11:45:00 | 1.7653 | 143.141 | 6.7517 | 205.517 | 7.0073 | 187.046 | 0 | 331.04 | 13.29 | 978.56 | 72.9568 | 24.8109
2019-11-09 12:00:00 | 1.2547 | 143.044 | 8.5413 | 197.721 | 7.7743 | 146.893 | 0.37567 | 332.307 | 13.72 | 978.114 | 71.2165 | 19.7489
2019-11-09 12:15:00 | 0 | 134.443 | 3.6837 | 198.208 | 4.7063 | 180.248 | 0 | 339.64 | 13.3 | 978.263 | 71.0118 | 17.2882
2019-11-09 12:30:00 | 0 | 144.481 | 5.9847 | 192.872 | 4.7063 | 157.175 | 2.2853 | 336.156 | 13.49 | 977.669 | 69.8857 | 17.6318
2019-11-09 12:45:00 | 5.712 | 138.268 | 8.03 | 184.466 | 6.7517 | 142.118 | 3.1723 | 327.434 | 13.69 | 977.224 | 71.5236 | 20.8168
2019-11-09 13:00:00 | 1.7653 | 137.951 | 7.0073 | 187.585 | 6.496 | 144.14 | 0.37567 | 328.554 | 13.8 | 977.372 | 71.0459 | 23.4068
2019-11-09 13:15:00 | 7.4993 | 150.012 | 7.7743 | 194.407 | 7.263 | 159.441 | 6.2403 | 327.653 | 14.15 | 977.372 | 67.5994 | 26.1189
2019-11-09 13:30:00 | 2.3927 | 137.36 | 10.0753 | 179.353 | 8.03 | 136.239 | 0 | 16.7833 | 14.29 | 977.075 | 66.7652 | 27.6079
2019-11-09 13:45:00 | 6.9887 | 149.99 | 8.03 | 196.655 | 9.0527 | 152.767 | 0 | 332.229 | 14.85 | 976.63 | 66.3847 | 31.5577
2019-11-09 14:00:00 | 0.372 | 140.565 | 10.5867 | 190.835 | 9.0527 | 144.608 | 3.6837 | 321.855 | 14.62 | 976.481 | 65.4981 | 33.81
2019-11-09 14:15:00 | 4.6907 | 177.242 | 5.729 | 234.574 | 6.496 | 199.504 | 3.6837 | 339.968 | 14.7 | 976.778 | 65.1895 | 32.862
2019-11-09 14:30:00 | 3.6693 | 146.287 | 9.0527 | 188.055 | 8.5413 | 148.747 | 0.75133 | 336.903 | 14.86 | 976.333 | 65.4289 | 36.8413
2019-11-09 14:45:00 | 7.244 | 144.027 | 8.5413 | 218.267 | 8.797 | 171.819 | 5.2177 | 337.28 | 15.03 | 976.036 | 63.8621 | 40.1704
2019-11-09 15:00:00 | 1.7653 | 160.907 | 7.5187 | 205.074 | 8.03 | 163.124 | 0 | 335.358 | 15 | 976.036 | 63.1211 | 38.133
2019-11-09 15:15:00 | 1.2547 | 148.769 | 11.098 | 197.685 | 10.5867 | 155.346 | 1.1427 | 333.226 | 15.48 | 976.333 | 61.3445 | 44.3025
2019-11-09 15:30:00 | 0.744 | 150.027 | 8.2857 | 204.42 | 8.5413 | 176.116 | 0 | 336.301 | 15.34 | 975.591 | 61.887 | 43.1949
2019-11-09 15:45:00 | 1.51 | 152.51 | 8.5413 | 203.381 | 7.7743 | 138.77 | 0.63133 | 329.773 | 15.07 | 975.294 | 62.1691 | 43.8504
2019-11-09 16:00:00 | 3.6693 | 136.294 | 9.564 | 188.291 | 7.263 | 161.901 | 0.37567 | 309.866 | 15.08 | 974.7 | 60.7403 | 56.3944
2019-11-09 16:15:00 | 3.9247 | 160.708 | 12.632 | 199.377 | 13.6547 | 156.517 | 2.661 | 342.661 | 14.93 | 974.255 | 61.2182 | 62.0069
2019-11-09 16:30:00 | 0.99933 | 142.093 | 8.797 | 193.774 | 7.0073 | 149.866 | 1.894 | 325.217 | 14.64 | 973.958 | 63.2656 | 69.0308
2019-11-09 16:45:00 | 6.2227 | 131.227 | 8.5413 | 190.655 | 9.0527 | 159.124 | 1.774 | 310.671 | 14.62 | 973.672 | 63.4704 | 67.9002
2019-11-09 17:00:00 | 3.9247 | 144.339 | 10.5867 | 200.334 | 10.331 | 150.089 | 2.0297 | 328.296 | 14.55 | 974.167 | 65.0419 | 67.513
2019-11-09 17:15:00 | 5.712 | 149.38 | 8.2857 | 193.045 | 7.263 | 146.603 | 4.195 | 327.998 | 14.29 | 973.953 | 66.1329 | 66.3077
2019-11-09 17:30:00 | 3.6693 | 144.16 | 10.331 | 194.681 | 8.797 | 154.931 | 1.3827 | 327.187 | 14.34 | 973.662 | 65.2539 | 62.853
2019-11-09 17:45:00 | 3.1587 | 142.093 | 10.0753 | 200.024 | 10.5867 | 125.571 | 5.2177 | 322.737 | 14.33 | 973.662 | 65.802 | 64.2205
2019-11-09 18:00:00 | 3.9247 | 136.245 | 11.098 | 183.551 | 10.5867 | 140.046 | 4.4507 | 324.443 | 14.2 | 973.365 | 67.0989 | 62.596
2019-11-09 18:15:00 | 4.18 | 132.979 | 10.0753 | 198.781 | 9.8197 | 145.212 | 5.729 | 316.499 | 14.13 | 973.216 | 67.4403 | 68.6354
2019-11-09 18:30:00 | 0.99933 | 144.798 | 10.5867 | 185.281 | 9.3083 | 158.323 | 5.729 | 318.181 | 14.11 | 973.068 | 67.9181 | 69.6515
2019-11-09 18:45:00 | 2.9033 | 137 | 10.5867 | 182.43 | 9.8197 | 169.776 | 5.2177 | 321.397 | 14.13 | 973.068 | 67.645 | 69.0279
2019-11-09 19:00:00 | 3.9247 | 137.899 | 10.5867 | 194.634 | 11.098 | 138.459 | 5.2177 | 323.9 | 14.07 | 973.068 | 67.7118 | 70.604
2019-11-09 19:15:00 | 3.414 | 137.048 | 11.3537 | 197.927 | 9.8197 | 158.76 | 4.195 | 315.254 | 14.05 | 972.919 | 67.3033 | 74.0299
2019-11-09 19:30:00 | 2.648 | 141.045 | 12.8877 | 194.029 | 11.098 | 128.617 | 6.2403 | 326.685 | 14.13 | 972.474 | 67.9181 | 76.3762
2019-11-09 19:45:00 | 0.99933 | 123.232 | 8.5413 | 184.258 | 8.5413 | 147.869 | 3.9393 | 313.794 | 14.06 | 972.474 | 67.2696 | 75.6926
2019-11-09 20:00:00 | 3.1587 | 141.655 | 13.399 | 194.2 | 13.399 | 139.73 | 5.2177 | 326.832 | 14.07 | 972.177 | 67.099 | 75.6462
2019-11-09 20:15:00 | 3.1587 | 163.122 | 10.331 | 206.431 | 11.865 | 144.529 | 4.7063 | 333.384 | 13.91 | 971.88 | 67.9858 | 75.92
2019-11-09 20:30:00 | 3.414 | 147.38 | 8.2857 | 201.898 | 8.797 | 143.773 | 1.2627 | 329.826 | 13.75 | 972.177 | 68.6001 | 76.8565
2019-11-09 20:45:00 | 4.4353 | 144.676 | 9.564 | 200.73 | 8.5413 | 156.373 | 4.962 | 330.023 | 13.57 | 971.88 | 68.7712 | 74.9721
2019-11-09 21:00:00 | 4.18 | 155.129 | 10.0753 | 189.13 | 7.7743 | 153.984 | 4.4507 | 339.964 | 13.59 | 971.88 | 68.8733 | 76.6089
2019-11-09 21:15:00 | 3.9247 | 143.868 | 12.1207 | 198.702 | 9.3083 | 147.402 | 4.7063 | 326.531 | 13.47 | 971.88 | 68.1893 | 77.4355
2019-11-09 21:30:00 | 0.62733 | 186.41 | 15.4443 | 227.816 | 10.0753 | 142.256 | 4.7063 | 355.324 | 13.65 | 971.286 | 66.8566 | 80.8284
2019-11-09 21:45:00 | 0.744 | 160.392 | 12.632 | 203.408 | 13.9103 | 154.446 | 3.1723 | 335.794 | 13.66 | 971.286 | 67.4734 | 80.6585
2019-11-09 22:00:00 | 2.1373 | 150.426 | 11.3537 | 186.181 | 9.3083 | 141.117 | 3.9393 | 329.558 | 13.59 | 971.286 | 67.2349 | 78.5413
2019-11-09 22:15:00 | 3.9247 | 172.767 | 14.166 | 200.917 | 11.098 | 145.816 | 3.6837 | 355.573 | 13.46 | 970.692 | 68.1884 | 77.209
2019-11-09 22:30:00 | 5.712 | 151.642 | 10.0753 | 224.606 | 9.8197 | 164.874 | 1.5183 | 355.821 | 13.31 | 970.692 | 69.7593 | 72.9223
2019-11-09 22:45:00 | 7.7547 | 184.528 | 10.8423 | 239.904 | 11.6093 | 172.953 | 1.6383 | 355.361 | 12.85 | 970.098 | 73.1436 | 71.5499
2019-11-09 23:00:00 | 6.9887 | 191.033 | 13.6547 | 225.701 | 12.8877 | 185.574 | 0 | 12.0401 | 12.37 | 969.059 | 78.2044 | 79.0882
2019-11-09 23:15:00 | 4.6907 | 171.121 | 12.3763 | 210.908 | 10.331 | 160.763 | 0.75133 | 356.427 | 11.51 | 968.91 | 85.6119 | 78.46
2019-11-09 23:30:00 | 9.0313 | 168.952 | 10.5867 | 248.344 | 14.166 | 185.964 | 0.887 | 178.579 | 10.87 | 968.91 | 90.8005 | 74.3107
2019-11-09 23:45:00 | 4.946 | 158.301 | 13.6547 | 199.623 | 12.8877 | 149.039 | 1.3827 | 342.632 | 10.66 | 968.259 | 91.688 | 79.7913