## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-11 00:00:00 | 0 | 218.343 | 5.9847 | 239.087 | 5.2177 | 203.941 | 5.9847 | 50.4917 | 15.13 | 969.356 | 28.3959 | 10.486
2019-11-11 00:15:00 | 0.88267 | 232.964 | 5.729 | 253.075 | 5.4733 | 208.717 | 5.9847 | 61.5307 | 15.12 | 969.504 | 27.4403 | 10.0537
2019-11-11 00:30:00 | 0 | 216.905 | 4.962 | 269.791 | 4.962 | 191.44 | 0.63133 | 72.6672 | 15.27 | 969.504 | 26.7577 | 8.5942
2019-11-11 00:45:00 | 0 | 227.602 | 4.7063 | 239.379 | 4.4507 | 198.36 | 0 | 64.138 | 15.1 | 969.356 | 26.6894 | 5.7972
2019-11-11 01:00:00 | 0 | 241.566 | 3.9393 | 266.818 | 3.428 | 214.371 | 0 | 89.7008 | 14.99 | 969.503 | 27.2355 | 5.291
2019-11-11 01:15:00 | 0 | 262.84 | 4.195 | 298.181 | 2.9167 | 228.48 | 0 | 71.0588 | 14.97 | 969.504 | 27.2355 | 4.7257
2019-11-11 01:30:00 | 0 | 284.991 | 3.1723 | 316.116 | 0.75133 | 227.456 | 0 | 122.452 | 15.06 | 969.504 | 27.3038 | 3.6875
2019-11-11 01:45:00 | 0 | 267.324 | 2.1497 | 294.355 | 0 | 270.272 | 0 | 89.579 | 14.95 | 969.504 | 27.7474 | 0.53206
2019-11-11 02:00:00 | 0 | 259.573 | 3.428 | 302.493 | 2.4053 | 253.238 | 0 | 99.0093 | 14.85 | 969.504 | 29.1467 | 0.65768
2019-11-11 02:15:00 | 0 | 245.971 | 3.6837 | 287.573 | 1.3827 | 233.689 | 0 | 74.0787 | 14.27 | 969.504 | 30.2382 | 0.27711
2019-11-11 02:30:00 | 0 | 274.532 | 2.9167 | 306.68 | 0 | 248.946 | 0 | 110.729 | 14.19 | 969.504 | 30.9893 | 0.24016
2019-11-11 02:45:00 | 0 | 341.623 | 2.9167 | 15.7108 | 2.661 | 289.593 | 0 | 154.873 | 13.99 | 969.504 | 31.5381 | 0.070202
2019-11-11 03:00:00 | 0 | 316.636 | 1.127 | 3.7867 | 0.75133 | 317.782 | 0 | 158.294 | 13.89 | 969.356 | 31.8811 | 0.24016
2019-11-11 03:15:00 | 0.99933 | 340.39 | 3.1723 | 35.2287 | 3.1723 | 343.12 | 0 | 160.958 | 13.82 | 969.504 | 31.6095 | 0.75744
2019-11-11 03:30:00 | 0 | 346.751 | 4.195 | 23.871 | 4.195 | 352.625 | 5.2177 | 161.665 | 13.62 | 969.356 | 32.4287 | 1.7772
2019-11-11 03:45:00 | 2.0207 | 341.584 | 4.962 | 31.1097 | 3.9393 | 343.193 | 0.37567 | 173.778 | 13.8 | 969.504 | 32.3605 | 3.8131
2019-11-11 04:00:00 | 0 | 0.097491 | 3.9393 | 42.443 | 3.1723 | 4.4846 | 0 | 185.672 | 13.37 | 969.504 | 33.3163 | 3.9128
2019-11-11 04:15:00 | 0 | 0.24373 | 3.6837 | 41.0294 | 2.4053 | 356.963 | 0 | 180.139 | 13.53 | 969.504 | 32.9408 | 2.5347
2019-11-11 04:30:00 | 0 | 354.526 | 4.4507 | 41.0294 | 2.661 | 0.048745 | 0 | 174.143 | 13.49 | 969.504 | 32.4287 | 2.0433
2019-11-11 04:45:00 | 0 | 356.915 | 2.9167 | 46.9276 | 2.661 | 9.1642 | 0 | 176.849 | 13.18 | 969.504 | 34.1355 | 1.8326
2019-11-11 05:00:00 | 0 | 9.8953 | 2.661 | 48.7312 | 2.9167 | 3.9971 | 0 | 191.887 | 13.3 | 969.504 | 33.4528 | 1.1195
2019-11-11 05:15:00 | 0 | 15.2086 | 2.661 | 52.2409 | 1.894 | 7.4581 | 0 | 190.229 | 13.17 | 969.801 | 32.9066 | 0.25125
2019-11-11 05:30:00 | 0 | 2.5348 | 2.9167 | 57.3104 | 2.9167 | 9.3104 | 0 | 191.838 | 12.95 | 969.801 | 33.0432 | 0.8572
2019-11-11 05:45:00 | 0 | 13.6 | 3.6837 | 59.1627 | 3.1723 | 12.3326 | 0 | 190.839 | 12.82 | 969.653 | 33.5893 | 1.2636
2019-11-11 06:00:00 | 0 | 1.7061 | 3.428 | 52.3383 | 2.661 | 11.7964 | 0 | 186.452 | 12.61 | 969.801 | 34.3745 | 0.77222
2019-11-11 06:15:00 | 0 | 16.086 | 3.428 | 62.5262 | 2.661 | 28.3211 | 0 | 202.123 | 12.61 | 970.098 | 35.9788 | 0.41382
2019-11-11 06:30:00 | 0 | 23.8853 | 3.9393 | 69.4237 | 3.6837 | 37.6803 | 0 | 202.952 | 12.7 | 970.098 | 34.2038 | 1.0974
2019-11-11 06:45:00 | 0 | 12.2839 | 3.428 | 57.3348 | 3.1723 | 16.3785 | 0 | 193.105 | 12.67 | 970.129 | 32.7018 | 1.053
2019-11-11 07:00:00 | 0 | 14.0875 | 3.9393 | 60.4301 | 2.9167 | 25.4452 | 0 | 192.667 | 12.61 | 970.098 | 33.5211 | 0.82764
2019-11-11 07:15:00 | 0 | 14.7211 | 3.6837 | 59.8939 | 1.6383 | 23.5928 | 0 | 203.513 | 12.69 | 970.694 | 32.8384 | -0.11824
2019-11-11 07:30:00 | 0 | 20.6681 | 2.9167 | 63.1355 | 1.894 | 21.838 | 0 | 204.877 | 12.77 | 970.989 | 32.0874 | -0.24016
2019-11-11 07:45:00 | 0 | 23.4911 | 2.1497 | 71.3081 | 1.127 | 16.7167 | 0 | 212.272 | 13.02 | 971.286 | 31.4331 | -0.25864
2019-11-11 08:00:00 | 0 | 30.7997 | 2.1497 | 68.6466 | 1.6383 | 27.5346 | 0 | 224.882 | 13.21 | 971.85 | 31.1923 | -0.24016
2019-11-11 08:15:00 | 0 | 36.8391 | 2.4053 | 75.1919 | 1.6383 | 33.2331 | 0 | 220.523 | 13.03 | 971.885 | 31.3257 | -0.25864
2019-11-11 08:30:00 | 0 | 35.9302 | 2.661 | 78.4609 | 0 | 30.7903 | 0 | 220.234 | 13.49 | 972.177 | 32.0699 | -0.22169
2019-11-11 08:45:00 | 0 | 62.4979 | 1.127 | 105.678 | 0.75133 | 22.4077 | 0 | 253.426 | 14.34 | 972.919 | 30.7011 | -0.25864
2019-11-11 09:00:00 | 0 | 52.214 | 1.3827 | 80.6776 | 1.127 | 39.1605 | 0 | 239.615 | 14.7 | 973.079 | 31.4481 | -0.25864
2019-11-11 09:15:00 | 0 | 50.6466 | 1.127 | 86.9423 | 0 | 10.0319 | 0 | 278.605 | 14.97 | 973.15 | 29.533 | -0.24386
2019-11-11 09:30:00 | 0 | 265.072 | 1.894 | 259.559 | 0.37567 | 248.199 | 0 | 197.678 | 14.91 | 973.068 | 34.7822 | -0.24386
2019-11-11 09:45:00 | 0 | 68.3331 | 1.894 | 129.958 | 1.3827 | 95.1356 | 0 | 255.147 | 15.88 | 973.363 | 29.1853 | -0.25864
2019-11-11 10:00:00 | 0 | 99.8571 | 0 | 67.5879 | 0 | 106.722 | 0 | 274.278 | 17.27 | 974.105 | 27.9916 | -0.25864
2019-11-11 10:15:00 | 0 | 305.145 | 1.127 | 324.405 | 1.6383 | 288.059 | 0 | 170.572 | 16.95 | 974.105 | 31.1574 | -0.25864
2019-11-11 10:30:00 | 0 | 0.12169 | 1.3827 | 115.614 | 1.3827 | 51.4514 | 0 | 224.595 | 16.89 | 973.939 | 26.0087 | -0.26972
2019-11-11 10:45:00 | 0 | 19.7604 | 0.37567 | 82.1847 | 0 | 24.3355 | 0 | 214.834 | 17.04 | 974.307 | 24.6422 | -0.25125
2019-11-11 11:00:00 | 2.648 | 36.1137 | 1.3827 | 113.893 | 0 | 88.9701 | 0.37567 | 204.344 | 16.72 | 973.878 | 24.8807 | -0.26233
2019-11-11 11:15:00 | 0 | 249.696 | 0 | 40.9512 | 0.37567 | 354.559 | 0 | 57.3974 | 17.61 | 974.544 | 21.546 | -0.22908
2019-11-11 11:30:00 | 0.372 | 191.857 | 3.9393 | 235.655 | 4.4507 | 204.154 | 3.6837 | 11.7369 | 17.84 | 974.471 | 31.2394 | -0.29928
2019-11-11 11:45:00 | 0.372 | 191.857 | 3.9393 | 235.655 | 4.4507 | 204.154 | 3.6837 | 11.7369 | 17.84 | 974.471 | 31.2394 | -0.29928
2019-11-11 12:00:00 | 4.6907 | 193.103 | 3.428 | 229.855 | 0.75133 | 186.04 | 7.263 | 14.0541 | 17.46 | 973.763 | 29.7471 | 0.33623
2019-11-11 12:15:00 | 4.18 | 181.555 | 0 | 237.937 | 3.1723 | 214.12 | 0.75133 | 5.5533 | 18.01 | 973.51 | 28.6208 | -0.19952
2019-11-11 12:30:00 | 4.4353 | 197.675 | 4.962 | 225.924 | 0.63133 | 189.71 | 3.1723 | 169.787 | 17.62 | 973.363 | 28.8931 | -0.24016
2019-11-11 12:45:00 | 2.1373 | 188.395 | 2.4053 | 213.015 | 2.9167 | 224.076 | 0 | 241.15 | 18.22 | 973.513 | 29.3024 | -0.25864
2019-11-11 13:00:00 | 3.9247 | 307.829 | 2.4053 | 313.767 | 1.894 | 277.409 | 0 | 302.592 | 18.95 | 974.019 | 26.1634 | -0.24016
2019-11-11 13:15:00 | 0 | 286.227 | 2.1497 | 329.254 | 2.1497 | 260.705 | 2.1497 | 292.462 | 18.45 | 973.984 | 26.1954 | -0.22539
2019-11-11 13:30:00 | 3.1587 | 158.385 | 2.661 | 229.657 | 2.9677 | 173.873 | 2.9613 | 157.363 | 18.23 | 973.81 | 25.3752 | -0.22539
2019-11-11 13:45:00 | 4.4353 | 197.251 | 4.195 | 218.99 | 4.2393 | 179.279 | 3.98 | 208.502 | 18.01 | 973.661 | 25.7845 | -0.25864
2019-11-11 14:00:00 | 1.3713 | 184.372 | 1.127 | 252.857 | 2.9677 | 164.917 | 3.216 | 211.862 | 17.79 | 973.364 | 26.7363 | -0.24016
2019-11-11 14:15:00 | 0 | 247.716 | 0 | 267.647 | 0 | 148.352 | 0 | 222.711 | 17.81 | 973.524 | 27.2125 | -0.22539
2019-11-11 14:30:00 | 1.882 | 203.377 | 2.4053 | 213.934 | 2.9677 | 181.854 | 2.7067 | 216.817 | 17.82 | 973.814 | 27.0759 | -0.26972
2019-11-11 14:45:00 | 2.1373 | 286.793 | 2.1497 | 320.772 | 3.222 | 260.57 | 3.98 | 307.537 | 18.02 | 973.958 | 26.9054 | -0.27711
2019-11-11 15:00:00 | 2.648 | 286.574 | 3.1723 | 316 | 2.2047 | 272.452 | 1.9427 | 294.122 | 17.82 | 973.808 | 27.1441 | -0.26972
2019-11-11 15:15:00 | 0 | 293.197 | 1.127 | 305.092 | 1.696 | 0.048696 | 2.452 | 334.661 | 17.95 | 973.808 | 28.7468 | -0.22539
2019-11-11 15:30:00 | 0 | 18.1132 | 3.1723 | 61.8987 | 2.7133 | 307.631 | 2.7067 | 25.8064 | 17.74 | 973.66 | 32.1199 | -0.25864
2019-11-11 15:45:00 | 1.882 | 4.5767 | 2.9167 | 40.5693 | 2.459 | 10.736 | 1.9427 | 6.5243 | 16.56 | 973.215 | 33.8574 | -0.24016
2019-11-11 16:00:00 | 2.1373 | 349.804 | 2.4053 | 29.7668 | 2.2047 | 30.9703 | 2.1973 | 356.792 | 16.55 | 973.067 | 33.589 | -0.22539
2019-11-11 16:15:00 | 0 | 355.527 | 0 | 29.4261 | 0 | 22.8383 | 0 | 356.793 | 16.44 | 972.813 | 32.1228 | -0.24016
2019-11-11 16:30:00 | 0.372 | 355.581 | 0.37567 | 29.4336 | 0 | 22.8417 | 0 | 356.847 | 16.82 | 973.063 | 32.8098 | -0.22539
2019-11-11 16:45:00 | 0 | 70.8914 | 0 | 29.8992 | 0 | 22.8918 | 0 | 67.8473 | 16.17 | 972.622 | 34.1078 | -0.24016
2019-11-11 17:00:00 | 0 | 70.8763 | 0 | 29.9057 | 0 | 22.8947 | 0 | 146.843 | 15.95 | 972.282 | 34.1804 | -0.25864
2019-11-11 17:15:00 | 0 | 70.9298 | 0 | 2.2142 | 0 | 22.8963 | 0 | 159.349 | 15.68 | 972.177 | 34.5921 | -0.24016
2019-11-11 17:30:00 | 0 | 70.9488 | 0 | 2.2202 | 0 | 22.9512 | 0 | 159.343 | 15.53 | 972.177 | 35.2839 | -0.24016
2019-11-11 17:45:00 | 1.116 | 156.444 | 2.4053 | 183.005 | 2.459 | 61.8369 | 2.452 | 165.386 | 15.75 | 972.295 | 32.0764 | -0.25864
2019-11-11 18:00:00 | 0 | 165.455 | 1.3827 | 191.315 | 0.933 | 61.6984 | 1.1787 | 175.178 | 15.9 | 972.473 | 30.9883 | -0.24016
2019-11-11 18:15:00 | 0 | 167.557 | 1.3827 | 191.323 | 1.696 | 61.7009 | 1.688 | 175.745 | 15.91 | 972.622 | 30.3752 | -0.22539
2019-11-11 18:30:00 | 0 | 172.31 | 0.75133 | 192.835 | 1.696 | 61.7012 | 1.688 | 176.575 | 15.91 | 972.771 | 29.3515 | -0.24016
2019-11-11 18:45:00 | 0 | 172.26 | 0 | 192.833 | 0 | 61.7006 | 0 | 176.159 | 15.78 | 972.622 | 29.4877 | -0.22539
2019-11-11 19:00:00 | 1.6267 | 133.829 | 0.75133 | 162.54 | 0 | 61.4072 | 0 | 175.839 | 15.66 | 972.325 | 33.0366 | -0.24016
2019-11-11 19:15:00 | 1.6267 | 113.385 | 2.4053 | 134.981 | 2.459 | 61.5052 | 2.452 | 126.909 | 15.69 | 972.177 | 28.6684 | -0.24016
2019-11-11 19:30:00 | 2.648 | 138.803 | 3.428 | 173.778 | 3.7307 | 120.965 | 3.4707 | 145.431 | 16.34 | 972.474 | 27.2354 | -0.26972
2019-11-11 19:45:00 | 4.18 | 134.588 | 4.195 | 175.29 | 3.7307 | 130.859 | 3.98 | 140.728 | 16.16 | 972.474 | 27.645 | 0.43969
2019-11-11 20:00:00 | 3.1587 | 137.774 | 4.195 | 176.84 | 4.2393 | 137.847 | 3.98 | 142.671 | 15.92 | 972.474 | 27.9168 | 0.84612
2019-11-11 20:15:00 | 2.648 | 118.687 | 3.428 | 167.351 | 3.222 | 139.52 | 3.4707 | 144.71 | 16.01 | 972.474 | 27.9152 | 0.74636
2019-11-11 20:30:00 | 3.414 | 125.173 | 3.9393 | 163.118 | 3.4763 | 123.199 | 3.7253 | 123.906 | 16.07 | 972.474 | 26.3463 | 1.6553
2019-11-11 20:45:00 | 2.3927 | 128.621 | 4.195 | 184.932 | 3.985 | 141.267 | 3.7253 | 129.645 | 16.17 | 972.391 | 25.1838 | 2.2539
2019-11-11 21:00:00 | 3.6693 | 135.028 | 4.4507 | 183.346 | 4.748 | 136.538 | 3.98 | 133.712 | 16.23 | 972.404 | 25.5929 | 3.0298
2019-11-11 21:15:00 | 4.946 | 127.036 | 4.962 | 170.749 | 3.985 | 143.019 | 3.98 | 136.685 | 16.16 | 972.205 | 25.7977 | 5.3317
2019-11-11 21:30:00 | 3.9247 | 132.177 | 3.6837 | 177.693 | 4.748 | 145.894 | 4.9987 | 141.046 | 16.14 | 972.477 | 27.2991 | 5.2725
2019-11-11 21:45:00 | 5.712 | 129.18 | 5.729 | 161.15 | 6.5283 | 147.6 | 6.5267 | 136.417 | 15.93 | 972.622 | 28.4593 | 8.0326
2019-11-11 22:00:00 | 5.9673 | 136.319 | 5.2177 | 175.305 | 6.0197 | 128.79 | 5.7627 | 141.314 | 16.08 | 972.478 | 28.1522 | 7.0978
2019-11-11 22:15:00 | 5.2013 | 135.271 | 4.4507 | 166.875 | 3.7307 | 124.381 | 3.98 | 138.585 | 16.19 | 972.771 | 25.9 | 5.2652
2019-11-11 22:30:00 | 3.9247 | 121.725 | 4.7063 | 157.251 | 4.4937 | 139.194 | 4.4893 | 127.426 | 15.96 | 973.071 | 27.4697 | 4.977
2019-11-11 22:45:00 | 3.6693 | 129.692 | 4.4507 | 178.911 | 4.4937 | 136.051 | 4.744 | 132.177 | 15.92 | 973.095 | 27.0261 | 3.1591
2019-11-11 23:00:00 | 5.4567 | 126.549 | 5.729 | 154.791 | 5.2567 | 111.346 | 4.744 | 135.003 | 15.78 | 973.217 | 28.2546 | 4.2897
2019-11-11 23:15:00 | 5.2013 | 121.481 | 4.7063 | 156.326 | 5.0023 | 113.636 | 4.744 | 127.158 | 15.58 | 973.365 | 27.7768 | 7.9402
2019-11-11 23:30:00 | 3.9247 | 119.483 | 4.4507 | 160.248 | 4.2393 | 133.59 | 4.4893 | 128.181 | 15.42 | 973.402 | 28.3228 | 10.3825
2019-11-11 23:45:00 | 4.4353 | 110.615 | 3.6837 | 158.494 | 4.748 | 127.621 | 4.9987 | 119.678 | 15.45 | 973.434 | 28.4593 | 11.7311