## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-12 00:00:00 | 6.478 | 142.922 | 6.496 | 176.67 | 5.7653 | 127.377 | 5.7627 | 148.453 | 15.95 | 972.999 | 24.7739 | 13.7153
2019-11-12 00:15:00 | 5.9673 | 139.535 | 5.4733 | 176.816 | 5.511 | 139.706 | 5.508 | 145.748 | 15.86 | 973.13 | 27.3674 | 14.7498
2019-11-12 00:30:00 | 4.946 | 147.307 | 5.729 | 175.062 | 5.7653 | 138.731 | 5.508 | 151.425 | 15.83 | 973.08 | 25.5929 | 14.2732
2019-11-12 00:45:00 | 3.414 | 135.661 | 4.7063 | 180.398 | 5.2567 | 149.695 | 4.9987 | 146.869 | 15.58 | 973.383 | 27.0944 | 13.4234
2019-11-12 01:00:00 | 4.6907 | 138.512 | 4.4507 | 171.456 | 4.4937 | 137.489 | 4.744 | 145.894 | 15.11 | 973.389 | 31.5305 | 14.251
2019-11-12 01:15:00 | 5.4567 | 136.782 | 5.729 | 166.291 | 5.7653 | 136.343 | 4.9987 | 140.851 | 14.7 | 973.468 | 33.1684 | 22.7196
2019-11-12 01:30:00 | 4.6907 | 135.737 | 2.9167 | 173.944 | 2.7133 | 135.615 | 3.4707 | 139.586 | 14.38 | 973.628 | 34.2268 | 14.7831
2019-11-12 01:45:00 | 5.4567 | 151.493 | 5.729 | 168.946 | 7.037 | 133.875 | 7.2907 | 161.557 | 14.69 | 973.364 | 32.9678 | 32.5257
2019-11-12 02:00:00 | 9.2867 | 137.56 | 8.797 | 174.314 | 9.0717 | 140.655 | 9.328 | 150.451 | 14.72 | 972.622 | 32.3548 | 45.5537
2019-11-12 02:15:00 | 7.7547 | 136.074 | 8.03 | 169.977 | 8.563 | 143.994 | 8.564 | 139.949 | 14.59 | 972.622 | 34.1979 | 57.0004
2019-11-12 02:30:00 | 6.9887 | 128.86 | 7.263 | 178.578 | 7.8 | 148.964 | 7.8 | 130.81 | 14.84 | 972.622 | 34.812 | 56.5422
2019-11-12 02:45:00 | 9.0313 | 137.947 | 9.564 | 170.387 | 8.3087 | 137.558 | 8.564 | 146.233 | 14.45 | 972.474 | 36.9957 | 42.4466
2019-11-12 03:00:00 | 5.4567 | 156.69 | 5.4733 | 194.979 | 6.274 | 139.291 | 6.0173 | 156.056 | 14.28 | 973.068 | 36.9282 | 36.361
2019-11-12 03:15:00 | 3.6693 | 132.321 | 4.962 | 167.418 | 7.037 | 157.981 | 6.5267 | 135.684 | 14.34 | 972.771 | 36.3822 | 36.0321
2019-11-12 03:30:00 | 2.648 | 126.376 | 4.4507 | 165.201 | 5.7653 | 144.165 | 5.7627 | 126.01 | 14.42 | 972.771 | 36.4164 | 38.467
2019-11-12 03:45:00 | 6.2227 | 148.137 | 6.7517 | 175.29 | 6.0197 | 136.147 | 7.036 | 142.703 | 14.62 | 972.474 | 35.1536 | 42.439
2019-11-12 04:00:00 | 4.946 | 135.319 | 4.962 | 174.12 | 4.748 | 134.271 | 4.744 | 129.812 | 14.51 | 972.474 | 36.6553 | 33.4494
2019-11-12 04:15:00 | 6.478 | 137.73 | 5.2177 | 174.095 | 6.5283 | 155.325 | 7.036 | 145.602 | 14.83 | 973.216 | 34.8803 | 32.8767
2019-11-12 04:30:00 | 4.946 | 129.422 | 5.2177 | 181.869 | 8.8173 | 155.35 | 9.0733 | 155.374 | 14.75 | 972.474 | 36.7235 | 35.8104
2019-11-12 04:45:00 | 4.4353 | 146.478 | 5.9847 | 177.14 | 6.7827 | 131.15 | 6.5267 | 145.211 | 14.95 | 972.474 | 35.358 | 35.1343
2019-11-12 05:00:00 | 5.4567 | 136.018 | 5.2177 | 186.952 | 6.7827 | 146.959 | 7.036 | 140.283 | 15.36 | 972.474 | 33.7866 | 39.1764
2019-11-12 05:15:00 | 5.712 | 125.532 | 7.0073 | 157.309 | 5.0023 | 133.11 | 3.98 | 131.892 | 15.38 | 972.316 | 34.4669 | 49.1923
2019-11-12 05:30:00 | 10.5633 | 128.815 | 9.3083 | 162.197 | 11.1063 | 151.376 | 11.62 | 134.565 | 15.33 | 971.769 | 35.2841 | 62.3522
2019-11-12 05:45:00 | 10.0527 | 134.955 | 11.098 | 172.82 | 11.615 | 133.054 | 11.3653 | 147.99 | 15.21 | 971.801 | 34.2262 | 74.041
2019-11-12 06:00:00 | 10.5633 | 135.71 | 11.098 | 173.698 | 10.852 | 140.924 | 10.6013 | 141.631 | 15.03 | 971.645 | 35.5571 | 74.0484
2019-11-12 06:15:00 | 8.776 | 140.924 | 9.3083 | 183.516 | 11.3607 | 150.816 | 11.62 | 147.697 | 14.74 | 971.845 | 36.649 | 73.3796
2019-11-12 06:30:00 | 8.01 | 138.67 | 8.2857 | 183.753 | 11.615 | 139.645 | 11.8747 | 165.79 | 14.69 | 971.822 | 37.6077 | 73.9597
2019-11-12 06:45:00 | 6.7333 | 138.522 | 7.7743 | 181.849 | 8.0543 | 151.241 | 9.5827 | 140.203 | 14.84 | 971.868 | 36.3104 | 71.8943
2019-11-12 07:00:00 | 10.0527 | 147.323 | 11.6093 | 173.693 | 11.8693 | 136.699 | 11.62 | 150.807 | 14.96 | 972.016 | 37.0965 | 70.8967
2019-11-12 07:15:00 | 8.776 | 146.436 | 10.5867 | 178.627 | 10.5977 | 146.387 | 10.092 | 156.109 | 15.13 | 972.453 | 36.241 | 70.7156
2019-11-12 07:30:00 | 9.7973 | 139.148 | 10.5867 | 175.017 | 11.3607 | 157.519 | 11.3653 | 157.909 | 15.03 | 972.468 | 35.2848 | 72.0845
2019-11-12 07:45:00 | 11.3293 | 135.345 | 10.331 | 181.276 | 7.8 | 153.399 | 8.3093 | 142.265 | 15 | 972.696 | 36.7857 | 73.5348
2019-11-12 08:00:00 | 8.01 | 138.488 | 7.0073 | 185.027 | 11.3607 | 166.531 | 10.856 | 152.936 | 14.9 | 972.999 | 37.195 | 70.294
2019-11-12 08:15:00 | 11.3293 | 144.92 | 9.3083 | 176.231 | 11.1063 | 149.184 | 10.856 | 150.377 | 14.65 | 972.793 | 37.6728 | 70.058
2019-11-12 08:30:00 | 8.01 | 160.294 | 6.2403 | 198.354 | 10.5977 | 170.429 | 10.856 | 174.45 | 14.67 | 973.553 | 38.287 | 69.0603
2019-11-12 08:45:00 | 8.2653 | 154.617 | 8.797 | 200.596 | 9.5803 | 164.996 | 9.8373 | 156.152 | 14.65 | 973.366 | 38.833 | 68.6946
2019-11-12 09:00:00 | 7.244 | 142.045 | 7.7743 | 176.719 | 7.8 | 145.602 | 8.564 | 151.888 | 14.9 | 973.661 | 38.4235 | 67.2314
2019-11-12 09:15:00 | 8.01 | 159.416 | 5.729 | 204.459 | 10.3433 | 140.707 | 10.092 | 155.859 | 15.22 | 973.958 | 36.7798 | 56.7417
2019-11-12 09:30:00 | 7.4993 | 147.819 | 7.5187 | 176.995 | 7.5457 | 140.926 | 7.5453 | 149.476 | 15.25 | 973.958 | 37.5922 | 46.9652
2019-11-12 09:45:00 | 7.4993 | 138.026 | 8.5413 | 188.537 | 6.0197 | 159.557 | 6.7813 | 138.367 | 15.6 | 974.255 | 38.4104 | 42.013
2019-11-12 10:00:00 | 6.7333 | 144.456 | 7.263 | 185.517 | 7.8 | 164.964 | 7.5453 | 152.81 | 15.47 | 974.255 | 38.6151 | 40.8835
2019-11-12 10:15:00 | 10.0527 | 154.345 | 11.098 | 193.774 | 11.615 | 151.276 | 11.1107 | 166.596 | 15.92 | 973.888 | 37.9328 | 47.3864
2019-11-12 10:30:00 | 11.5847 | 150.497 | 11.3537 | 188.05 | 10.3433 | 155.684 | 10.3467 | 151.179 | 15.58 | 974.328 | 41.1394 | 36.8133
2019-11-12 10:45:00 | 8.776 | 150.277 | 9.3083 | 190.364 | 10.5977 | 155.197 | 10.092 | 159.63 | 15.56 | 974.299 | 44.0048 | 36.4977
2019-11-12 11:00:00 | 8.776 | 142.556 | 7.7743 | 184.129 | 7.5457 | 153.663 | 7.036 | 152.445 | 15.92 | 974.273 | 42.231 | 32.474
2019-11-12 11:15:00 | 9.0313 | 138.533 | 9.0527 | 181.199 | 8.563 | 157.213 | 8.564 | 163.96 | 16.26 | 973.958 | 40.4557 | 34.3288
2019-11-12 11:30:00 | 9.542 | 152.106 | 8.03 | 187.971 | 7.037 | 160.727 | 6.272 | 164.891 | 16.74 | 973.661 | 39.7009 | 23.7098
2019-11-12 11:45:00 | 4.946 | 136.59 | 6.7517 | 184.386 | 7.037 | 160.017 | 7.2907 | 145.187 | 17.21 | 974.106 | 38.4038 | 20.85
2019-11-12 12:00:00 | 7.4993 | 153.198 | 7.5187 | 182.195 | 6.5283 | 146.526 | 7.036 | 145.357 | 17.39 | 973.661 | 36.1528 | 17.4027
2019-11-12 12:15:00 | 4.946 | 157.363 | 5.4733 | 204.257 | 6.0197 | 197.957 | 6.5267 | 156.169 | 18.39 | 973.661 | 32.674 | 18.5001
2019-11-12 12:30:00 | 4.946 | 176.282 | 4.962 | 210.919 | 5.0023 | 198.585 | 4.4893 | 168.977 | 18.27 | 974.057 | 33.4874 | 19.3795
2019-11-12 12:45:00 | 5.712 | 174.939 | 7.0073 | 192.484 | 7.2913 | 142.824 | 7.2907 | 165.151 | 18.17 | 973.398 | 34.578 | 26.1706
2019-11-12 13:00:00 | 8.01 | 161.84 | 7.7743 | 195.624 | 6.7827 | 189.426 | 7.036 | 158.943 | 18.08 | 972.794 | 35.942 | 26.9908
2019-11-12 13:15:00 | 8.2653 | 153.885 | 8.797 | 182.826 | 7.5457 | 141.808 | 7.2907 | 166.449 | 18.4 | 973.058 | 36.2846 | 21.4818
2019-11-12 13:30:00 | 5.4567 | 134.723 | 5.729 | 182.827 | 5.511 | 177.675 | 4.2347 | 178.113 | 18.48 | 973.599 | 37.1715 | 20.536
2019-11-12 13:45:00 | 6.2227 | 158.396 | 5.9847 | 199.49 | 6.274 | 169.622 | 6.272 | 166.553 | 18.23 | 973.511 | 37.6503 | 15.2117
2019-11-12 14:00:00 | 7.244 | 164.936 | 7.0073 | 194.443 | 6.274 | 160.528 | 6.5267 | 161.551 | 18.21 | 973.067 | 35.0613 | 13.1315
2019-11-12 14:15:00 | 4.946 | 173.386 | 5.2177 | 204.623 | 3.7307 | 186.95 | 4.2347 | 167.956 | 18.41 | 973.215 | 33.5948 | 10.6079
2019-11-12 14:30:00 | 6.478 | 154.392 | 7.0073 | 201.457 | 6.0197 | 138.977 | 6.272 | 178.256 | 18.84 | 973.66 | 34.8226 | 11.8309
2019-11-12 14:45:00 | 4.946 | 185.367 | 4.195 | 227.579 | 4.2393 | 186.804 | 4.2347 | 174.63 | 18.7 | 973.364 | 34.9886 | 11.4208
2019-11-12 15:00:00 | 3.9247 | 165.138 | 4.195 | 203.479 | 5.2567 | 170.836 | 4.9987 | 155.179 | 18.68 | 973.057 | 35.3306 | 9.4994
2019-11-12 15:15:00 | 4.946 | 150.544 | 5.2177 | 188.258 | 4.2393 | 147.232 | 3.7253 | 158.897 | 18.63 | 973.512 | 36.221 | 5.4868
2019-11-12 15:30:00 | 4.4353 | 183.37 | 5.2177 | 192.447 | 4.2393 | 173.922 | 3.98 | 182.201 | 18.46 | 973.364 | 36.4256 | 5.5977
2019-11-12 15:45:00 | 4.18 | 145.235 | 5.2177 | 187.04 | 5.2567 | 149.545 | 5.2533 | 154.051 | 18.39 | 973.067 | 35.6071 | 7.0276
2019-11-12 16:00:00 | 3.6693 | 138.627 | 4.7063 | 185.992 | 5.2567 | 162.592 | 4.9987 | 145.641 | 18.19 | 972.919 | 36.4978 | 8.2654
2019-11-12 16:15:00 | 4.4353 | 145.479 | 3.9393 | 182.667 | 4.748 | 159.265 | 4.744 | 150.253 | 18.12 | 972.975 | 37.7281 | 7.8885
2019-11-12 16:30:00 | 3.414 | 147.744 | 4.7063 | 186.296 | 5.0023 | 154.174 | 4.9987 | 154.272 | 17.95 | 973.141 | 38.001 | 7.4082
2019-11-12 16:45:00 | 4.18 | 150.959 | 4.7063 | 186.443 | 5.2567 | 152.128 | 5.2533 | 157.657 | 18.02 | 973.067 | 36.9094 | 6.8392
2019-11-12 17:00:00 | 3.414 | 132.302 | 3.9393 | 174.143 | 4.748 | 148.524 | 4.744 | 145.211 | 17.93 | 973.067 | 35.5449 | 5.7676
2019-11-12 17:15:00 | 5.2013 | 120.587 | 5.4733 | 157.532 | 5.0023 | 115.448 | 4.744 | 129.867 | 18.08 | 972.77 | 34.044 | 11.3764
2019-11-12 17:30:00 | 5.712 | 129.356 | 5.9847 | 161.333 | 5.7653 | 125.8 | 6.0173 | 136.225 | 18.33 | 972.77 | 33.2256 | 14.2067
2019-11-12 17:45:00 | 4.6907 | 110.674 | 3.6837 | 156.338 | 4.748 | 132.96 | 4.9987 | 115.74 | 18.28 | 972.77 | 32.9524 | 20.6837
2019-11-12 18:00:00 | 6.2227 | 141.071 | 6.2403 | 175.823 | 5.2567 | 140.218 | 4.9987 | 149.352 | 18.48 | 973.067 | 33.3959 | 27.2421
2019-11-12 18:15:00 | 6.7333 | 138.343 | 6.496 | 179.672 | 7.037 | 130.768 | 6.5267 | 146.6 | 18.28 | 973.216 | 33.0548 | 26.5364
2019-11-12 18:30:00 | 5.4567 | 144.968 | 6.7517 | 184.543 | 6.7827 | 151.3 | 6.7813 | 148.061 | 18.04 | 973.364 | 34.658 | 22.0065
2019-11-12 18:45:00 | 4.6907 | 140.391 | 5.2177 | 181.233 | 6.0197 | 171.226 | 5.7627 | 149.5 | 18.27 | 973.809 | 34.4538 | 17.0222
2019-11-12 19:00:00 | 5.712 | 127.603 | 5.729 | 178.601 | 5.7653 | 155.003 | 6.5267 | 139.196 | 18.06 | 973.661 | 34.0442 | 17.6392
2019-11-12 19:15:00 | 4.946 | 141.584 | 4.962 | 168.884 | 5.511 | 182.527 | 5.508 | 151.083 | 18.33 | 974.552 | 34.0444 | 18.9398
2019-11-12 19:30:00 | 3.414 | 146.892 | 3.428 | 201.324 | 6.5283 | 152.957 | 6.5267 | 152.177 | 18.09 | 974.7 | 34.1122 | 13.2386
2019-11-12 19:45:00 | 4.6907 | 152.128 | 5.2177 | 190.875 | 5.511 | 162.504 | 5.508 | 154.661 | 18.01 | 973.958 | 33.8393 | 14.9567
2019-11-12 20:00:00 | 3.9247 | 151.983 | 4.7063 | 199.79 | 6.274 | 170.445 | 6.272 | 147.063 | 17.91 | 973.958 | 34.2488 | 18.4631
2019-11-12 20:15:00 | 5.712 | 146.015 | 5.9847 | 183.033 | 6.5283 | 136.005 | 6.7813 | 152.177 | 17.91 | 973.809 | 34.7945 | 21.7589
2019-11-12 20:30:00 | 6.478 | 151.034 | 6.7517 | 185.057 | 7.037 | 148.769 | 7.036 | 152.057 | 17.92 | 973.958 | 35.9547 | 19.3019
2019-11-12 20:45:00 | 4.6907 | 143.288 | 6.2403 | 194.92 | 6.274 | 167.474 | 6.0173 | 157.975 | 17.78 | 974.7 | 36.5686 | 17.2328
2019-11-12 21:00:00 | 5.2013 | 149.815 | 5.729 | 195.699 | 6.5283 | 162.724 | 6.272 | 154.005 | 17.7 | 974.7 | 38.0694 | 23.0854
2019-11-12 21:15:00 | 5.2013 | 149.718 | 6.496 | 191.145 | 6.5283 | 160.922 | 6.7813 | 161.921 | 17.52 | 974.849 | 39.093 | 33.1354
2019-11-12 21:30:00 | 7.244 | 153.74 | 7.263 | 185.791 | 7.5457 | 157.662 | 7.2907 | 154.909 | 17.13 | 974.552 | 43.3238 | 33.6711
2019-11-12 21:45:00 | 5.2013 | 147.317 | 5.4733 | 183.609 | 6.5283 | 163.491 | 6.5267 | 149.534 | 16.78 | 974.552 | 45.0317 | 18.7144
2019-11-12 22:00:00 | 4.18 | 157.989 | 4.962 | 207.373 | 5.511 | 179.258 | 5.508 | 159.037 | 16.79 | 974.552 | 44.0159 | 6.4882
2019-11-12 22:15:00 | 6.7333 | 287.841 | 7.0073 | 321.443 | 7.2913 | 293.957 | 7.2907 | 290.229 | 16.68 | 975.591 | 47.7051 | 2.5716
2019-11-12 22:30:00 | 1.882 | 299.142 | 2.4053 | 325.58 | 1.4417 | 294.367 | 1.1787 | 278.092 | 16.18 | 974.997 | 47.1585 | 0.1441
2019-11-12 22:45:00 | 1.882 | 229.586 | 1.894 | 236.874 | 2.459 | 188.191 | 2.1973 | 238.333 | 16.89 | 975.145 | 45.3847 | -0.35101
2019-11-12 23:00:00 | 1.3713 | 179.274 | 1.894 | 200.596 | 1.4417 | 160.805 | 1.4333 | 182.685 | 16.96 | 975.145 | 47.0227 | -0.24016
2019-11-12 23:15:00 | 2.3927 | 311.402 | 1.894 | 327.096 | 2.2047 | 309.721 | 2.1973 | 310.89 | 17.14 | 975.145 | 47.5004 | -0.26603
2019-11-12 23:30:00 | 3.6693 | 344.854 | 3.9393 | 23.6611 | 3.4763 | 355.087 | 3.7253 | 345.536 | 16.49 | 974.997 | 50.9128 | -0.2143
2019-11-12 23:45:00 | 3.1587 | 314.374 | 3.6837 | 7.5254 | 3.7307 | 345.78 | 3.7253 | 315.861 | 15.76 | 975.294 | 58.0788 | 0.218