## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-13 00:00:00 | 4.946 | 293.99 | 7.0073 | 332.954 | 8.0543 | 299.814 | 8.3093 | 288.216 | 14.21 | 976.163 | 76.6445 | 21.4124
2019-11-13 00:15:00 | 4.18 | 295.639 | 5.2177 | 334.026 | 6.0197 | 308.311 | 6.272 | 286.428 | 12.44 | 975.74 | 82.2524 | 17.7168
2019-11-13 00:30:00 | 3.1587 | 303.126 | 4.195 | 336.864 | 4.748 | 306.148 | 4.4893 | 304.149 | 12.19 | 975.74 | 83.7623 | 4.0089
2019-11-13 00:45:00 | 4.946 | 313.921 | 4.7063 | 0.37993 | 8.3087 | 327.18 | 8.8187 | 306.292 | 12.51 | 976.186 | 77.6242 | 9.5438
2019-11-13 01:00:00 | 2.3927 | 340.39 | 4.195 | 15.4867 | 3.4763 | 356.525 | 3.7253 | 334.565 | 12.54 | 975.443 | 78.5117 | 2.2243
2019-11-13 01:15:00 | 2.9033 | 335.905 | 3.6837 | 19.8538 | 1.696 | 0.048745 | 3.216 | 322.647 | 12.9 | 975.592 | 68.8855 | 8.2099
2019-11-13 01:30:00 | 3.414 | 324.158 | 3.1723 | 21.0194 | 3.4763 | 355.525 | 3.4707 | 334.516 | 13.15 | 975.447 | 65.3695 | 2.3093
2019-11-13 01:45:00 | 1.882 | 345.167 | 2.661 | 29.5254 | 2.9677 | 17.7434 | 3.216 | 332.274 | 13.24 | 976.041 | 60.1468 | 0.37318
2019-11-13 02:00:00 | 2.648 | 19.1082 | 3.1723 | 61.6975 | 3.4763 | 34.2681 | 3.4707 | 14.4287 | 13.78 | 976.038 | 58.0986 | -0.21061
2019-11-13 02:15:00 | 3.1587 | 19.0108 | 3.428 | 60.2351 | 3.7307 | 21.5455 | 3.7253 | 21.253 | 13.71 | 976.038 | 60.0785 | -0.11084
2019-11-13 02:30:00 | 2.3927 | 10.2366 | 2.9167 | 52.4358 | 2.9677 | 19.2545 | 3.216 | 0.19498 | 13.82 | 976.038 | 54.7534 | -0.18474
2019-11-13 02:45:00 | 1.3713 | 329.536 | 2.661 | 27.0871 | 3.4763 | 1.2674 | 3.4707 | 325.612 | 14.49 | 976.186 | 50.7242 | -0.25864
2019-11-13 03:00:00 | 2.9033 | 305.532 | 3.9393 | 333.051 | 3.985 | 308.505 | 4.4893 | 323.76 | 14.36 | 976.632 | 51.9451 | 0.78331
2019-11-13 03:15:00 | 2.3927 | 280.794 | 2.9167 | 308.823 | 3.985 | 268.975 | 3.98 | 286.593 | 14.36 | 976.632 | 54.4017 | 4.5853
2019-11-13 03:30:00 | 3.6693 | 279.23 | 5.4733 | 321.855 | 7.2913 | 279.449 | 7.2907 | 285.858 | 13.86 | 976.929 | 55.254 | 22.2324
2019-11-13 03:45:00 | 3.9247 | 289.928 | 6.2403 | 325.876 | 6.0197 | 293.534 | 6.0173 | 287.491 | 13.42 | 976.78 | 54.9469 | 29.2373
2019-11-13 04:00:00 | 4.18 | 299.511 | 5.4733 | 19.8538 | 5.7653 | 314.327 | 6.0173 | 292.566 | 13.09 | 976.632 | 57.3371 | 28.2286
2019-11-13 04:15:00 | 2.3927 | 314.403 | 3.9393 | 303.981 | 6.7827 | 292.104 | 6.7813 | 295.979 | 12.45 | 976.632 | 56.9326 | 34.4138
2019-11-13 04:30:00 | 5.4567 | 293.107 | 5.9847 | 321.121 | 7.5457 | 296.689 | 7.8 | 298.688 | 12.22 | 976.632 | 53.7293 | 38.6776
2019-11-13 04:45:00 | 4.18 | 289.402 | 5.9847 | 328.53 | 6.7827 | 314.433 | 7.036 | 285.21 | 12.33 | 976.335 | 49.6672 | 42.0421
2019-11-13 05:00:00 | 2.9033 | 294.301 | 5.2177 | 320.414 | 5.511 | 289.012 | 5.7627 | 291.693 | 12.13 | 977.077 | 48.9503 | 41.1384
2019-11-13 05:15:00 | 5.4567 | 303.27 | 5.729 | 324.509 | 9.5803 | 300.906 | 9.8373 | 289.719 | 11.81 | 976.929 | 45.8781 | 43.4625
2019-11-13 05:30:00 | 6.9887 | 297.494 | 8.5413 | 330.724 | 10.089 | 307.389 | 10.3467 | 298.956 | 11.58 | 977.229 | 41.7136 | 46.9763
2019-11-13 05:45:00 | 7.7547 | 276.46 | 7.7743 | 316.807 | 9.8347 | 275.924 | 10.3467 | 286.087 | 11.46 | 977.864 | 42.055 | 43.4552
2019-11-13 06:00:00 | 5.2013 | 294.715 | 6.2403 | 335.452 | 7.8 | 315.018 | 8.564 | 298.225 | 11.09 | 977.598 | 43.079 | 40.9278
2019-11-13 06:15:00 | 4.18 | 301.15 | 5.729 | 334.453 | 7.037 | 325.718 | 7.2907 | 296.007 | 10.92 | 977.881 | 43.0107 | 36.7415
2019-11-13 06:30:00 | 4.4353 | 297.036 | 6.2403 | 329.707 | 6.274 | 306.249 | 6.272 | 296.549 | 10.57 | 977.833 | 42.4995 | 40.8243
2019-11-13 06:45:00 | 8.2653 | 324.022 | 6.496 | 335.224 | 5.511 | 324.655 | 6.272 | 322.998 | 10.43 | 977.966 | 41.0042 | 35.4447
2019-11-13 07:00:00 | 5.4567 | 300.496 | 6.2403 | 326.788 | 5.7653 | 295.133 | 6.272 | 293.085 | 10.48 | 978.337 | 40.0821 | 31.5835
2019-11-13 07:15:00 | 2.648 | 302.957 | 7.5187 | 38.6753 | 7.8 | 297.106 | 7.2907 | 305.004 | 10.35 | 978.365 | 36.8727 | 28.5353
2019-11-13 07:30:00 | 3.414 | 288.424 | 4.195 | 321.37 | 4.4937 | 295.932 | 4.744 | 289.082 | 10.46 | 978.669 | 35.3017 | 11.3284
2019-11-13 07:45:00 | 3.9247 | 309.597 | 4.962 | 335.346 | 5.0023 | 307.549 | 4.9987 | 300.432 | 10.62 | 978.923 | 34.2736 | 21.9606
2019-11-13 08:00:00 | 6.7333 | 291.474 | 6.2403 | 332.016 | 8.0543 | 286.478 | 7.036 | 304.903 | 10.56 | 979.758 | 34.75 | 32.7722
2019-11-13 08:15:00 | 7.4993 | 295.642 | 9.564 | 19.8538 | 9.8347 | 320.843 | 10.092 | 292.693 | 10.61 | 979.601 | 31.5412 | 61.6316
2019-11-13 08:30:00 | 10.5633 | 324.264 | 9.8197 | 0.13865 | 11.615 | 315.198 | 12.1293 | 306.45 | 10.89 | 979.898 | 28.2607 | 72.4559
2019-11-13 08:45:00 | 5.9673 | 327.289 | 7.0073 | 0.066835 | 6.5283 | 352.656 | 6.5267 | 314.374 | 11.52 | 980.195 | 26.3477 | 79.7235
2019-11-13 09:00:00 | 7.244 | 330.611 | 7.5187 | 13.697 | 9.326 | 326.883 | 10.092 | 344.84 | 11.79 | 981.047 | 24.2628 | 81.0538
2019-11-13 09:15:00 | 8.01 | 309.77 | 6.496 | 7.9883 | 6.7827 | 330.211 | 7.5453 | 334.11 | 11.73 | 980.79 | 25.7977 | 69.8363
2019-11-13 09:30:00 | 9.2867 | 342.223 | 7.7743 | 7.2087 | 6.0197 | 321.927 | 6.7813 | 294.274 | 11.26 | 981.677 | 23.8185 | 76.0214
2019-11-13 09:45:00 | 8.776 | 296.223 | 14.6773 | 18.3189 | 14.1583 | 327.702 | 14.1667 | 308.381 | 11.24 | 980.786 | 23.2042 | 80.3212
2019-11-13 10:00:00 | 9.0313 | 309.331 | 8.2857 | 334.746 | 5.511 | 302.095 | 5.7627 | 316.884 | 11.09 | 981.083 | 23.409 | 69.7528
2019-11-13 10:15:00 | 8.5207 | 300.292 | 11.3537 | 332.797 | 10.5977 | 288.353 | 10.856 | 305.043 | 11.21 | 981.083 | 23.6137 | 80.2525
2019-11-13 10:30:00 | 10.8187 | 325.217 | 9.8197 | 12.8676 | 7.5457 | 352.919 | 7.5453 | 332.477 | 11.31 | 980.489 | 22.044 | 80.7936
2019-11-13 10:45:00 | 10.0527 | 292.252 | 11.3537 | 17.1981 | 12.8867 | 303.678 | 12.384 | 286.623 | 11.32 | 981.083 | 20.4061 | 85.4396
2019-11-13 11:00:00 | 10.0527 | 291.862 | 13.1433 | 325.707 | 11.3607 | 312.523 | 9.8373 | 295.419 | 11.15 | 981.083 | 20.6791 | 87.2078
2019-11-13 11:15:00 | 13.1167 | 309.307 | 14.6773 | 19.5127 | 14.667 | 317.712 | 14.9307 | 304.921 | 11.17 | 981.38 | 19.3482 | 78.5302
2019-11-13 11:30:00 | 8.776 | 331.698 | 9.564 | 12.179 | 11.615 | 319.662 | 11.8747 | 335.937 | 10.96 | 980.489 | 19.6212 | 80.0997
2019-11-13 11:45:00 | 2.1373 | 8.6494 | 5.2177 | 75.4112 | 6.0197 | 316.981 | 4.9987 | 329.992 | 10.82 | 980.489 | 19.5189 | 81.8798
2019-11-13 12:00:00 | 8.2653 | 308.649 | 8.797 | 10.6505 | 6.274 | 314.667 | 6.272 | 335.961 | 10.79 | 980.786 | 17.4714 | 75.4036
2019-11-13 12:15:00 | 5.2013 | 319.759 | 3.1723 | 10.9852 | 6.5283 | 336.692 | 7.036 | 311.329 | 10.61 | 980.786 | 17.2667 | 62.5441
2019-11-13 12:30:00 | 7.244 | 338.739 | 5.9847 | 36.2088 | 8.8173 | 315.276 | 8.564 | 326.069 | 10.53 | 980.638 | 17.1984 | 70.5162
2019-11-13 12:45:00 | 4.946 | 290.863 | 6.496 | 8.945 | 7.5457 | 14.6918 | 9.328 | 335.596 | 10.52 | 980.489 | 17.2667 | 65.2405
2019-11-13 13:00:00 | 6.478 | 345.001 | 5.9847 | 21.3221 | 8.8173 | 14.107 | 9.0733 | 344.733 | 10.43 | 980.489 | 15.97 | 62.7876
2019-11-13 13:15:00 | 8.01 | 7.7479 | 6.7517 | 54.7501 | 9.326 | 307.674 | 8.0547 | 22.9513 | 10.52 | 980.499 | 15.151 | 64.9258
2019-11-13 13:30:00 | 4.946 | 326.703 | 5.2177 | 45.0531 | 5.2567 | 333.208 | 6.0173 | 300.365 | 10.4 | 980.844 | 16.4477 | 62.9769
2019-11-13 13:45:00 | 3.414 | 19.6381 | 3.428 | 93.2969 | 4.748 | 338.794 | 4.4893 | 24.6573 | 10.47 | 980.743 | 16.2092 | 56.6974
2019-11-13 14:00:00 | 7.244 | 0.19492 | 9.3083 | 24.7106 | 10.3433 | 320.698 | 11.62 | 179.378 | 10.4 | 980.779 | 15.254 | 55.3207
2019-11-13 14:15:00 | 3.9247 | 356.886 | 2.1497 | 47.2543 | 6.7827 | 353.231 | 6.0173 | 338.196 | 10.47 | 980.788 | 18.122 | 36.4585
2019-11-13 14:30:00 | 0.372 | 31.3618 | 3.1723 | 0.71293 | 0.622 | 27.8528 | 2.9613 | 15.0595 | 10.03 | 981.383 | 25.4944 | 27.3925
2019-11-13 14:45:00 | 3.6693 | 11.769 | 9.0527 | 58.4357 | 7.037 | 59.6979 | 5.7627 | 356.823 | 9.77 | 980.789 | 25.049 | 19.6196
2019-11-13 15:00:00 | 4.946 | 38.8921 | 5.4733 | 70.1876 | 4.748 | 27.5607 | 3.98 | 32.1176 | 9.25 | 980.344 | 26.1432 | 17.9569
2019-11-13 15:15:00 | 1.6267 | 354.851 | 2.4053 | 331.634 | 3.7307 | 294.905 | 2.7067 | 44.9107 | 9.63 | 980.789 | 24.9143 | 14.9937
2019-11-13 15:30:00 | 3.1587 | 321.665 | 2.9167 | 23.571 | 3.4763 | 357 | 4.2347 | 309.993 | 9.81 | 980.789 | 23.2423 | 9.3258
2019-11-13 15:45:00 | 1.6267 | 5.1415 | 2.9167 | 41.2112 | 1.696 | 332.617 | 1.688 | 4.508 | 9.48 | 980.937 | 24.4358 | 6.8687
2019-11-13 16:00:00 | 2.9033 | 355.607 | 3.6837 | 34.8813 | 4.4937 | 12.2825 | 4.744 | 356.826 | 9.26 | 980.492 | 24.4383 | 5.2393
2019-11-13 16:15:00 | 3.9247 | 85.3777 | 4.7063 | 51.0221 | 5.7653 | 26.4444 | 6.272 | 0.19498 | 8.94 | 980.047 | 22.1881 | 4.8181
2019-11-13 16:30:00 | 4.4353 | 16.5247 | 5.2177 | 46.0989 | 4.4937 | 8.043 | 4.4893 | 2.0961 | 8.81 | 979.601 | 22.3929 | 4.8809
2019-11-13 16:45:00 | 3.9247 | 6.9221 | 4.7063 | 53.8759 | 4.2393 | 16.0865 | 3.98 | 8.6769 | 8.66 | 979.611 | 23.6224 | 6.0263
2019-11-13 17:00:00 | 3.1587 | 5.1192 | 5.2177 | 49.9617 | 5.511 | 15.6743 | 4.2347 | 9.2145 | 8.38 | 979.877 | 25.2646 | 7.0054
2019-11-13 17:15:00 | 3.1587 | 8.4846 | 4.962 | 47.2428 | 4.2393 | 16.6278 | 3.4707 | 2.5844 | 8.17 | 979.604 | 25.4737 | 8.306
2019-11-13 17:30:00 | 4.18 | 23.0645 | 3.9393 | 59.336 | 4.2393 | 30.6226 | 3.98 | 26.1609 | 7.958 | 979.677 | 24.4494 | 7.6927
2019-11-13 17:45:00 | 3.9247 | 16.9692 | 4.962 | 60.8964 | 5.511 | 17.5788 | 5.7627 | 20.9677 | 7.871 | 979.854 | 24.4494 | 9.3812
2019-11-13 18:00:00 | 3.9247 | 19.1148 | 6.2403 | 53.1432 | 6.274 | 22.3331 | 6.272 | 23.5034 | 7.783 | 979.903 | 23.1518 | 10.6559
2019-11-13 18:15:00 | 4.18 | 1.4629 | 4.962 | 53.3629 | 5.2567 | 22.8939 | 5.2533 | 27.5507 | 7.742 | 980.201 | 23.1519 | 10.0869
2019-11-13 18:30:00 | 4.946 | 20.7269 | 4.962 | 56.4458 | 6.0197 | 27.6034 | 6.0173 | 19.654 | 7.696 | 979.903 | 23.2235 | 10.3049
2019-11-13 18:45:00 | 5.2013 | 19.0958 | 5.2177 | 54.4323 | 6.274 | 23.6076 | 6.272 | 21.4127 | 7.428 | 980.052 | 22.5436 | 11.9159
2019-11-13 19:00:00 | 5.2013 | 29.7305 | 5.4733 | 68.728 | 5.7653 | 34.8766 | 5.7627 | 29.2915 | 7.65 | 979.903 | 21.5882 | 11.6166
2019-11-13 19:15:00 | 3.6693 | 10.2434 | 4.7063 | 55.8253 | 5.7653 | 25.0719 | 5.508 | 21.8525 | 7.567 | 979.903 | 22.3395 | 11.8457
2019-11-13 19:30:00 | 4.6907 | 28.5844 | 5.4733 | 64.6069 | 5.2567 | 25.6577 | 5.2533 | 38.4865 | 7.379 | 979.606 | 22.6815 | 10.9035
2019-11-13 19:45:00 | 4.6907 | 14.7312 | 5.4733 | 68.3628 | 5.0023 | 37.9499 | 5.2533 | 39.7547 | 7.212 | 979.606 | 22.4765 | 11.2693
2019-11-13 20:00:00 | 5.9673 | 27.8527 | 6.496 | 66.4117 | 6.5283 | 33.3159 | 6.0173 | 38.1694 | 7.302 | 979.458 | 22.2032 | 10.9478
2019-11-13 20:15:00 | 4.4353 | 31.5355 | 4.4507 | 66.4848 | 4.4937 | 25.8528 | 4.2347 | 40.901 | 6.497 | 979.903 | 23.3646 | 7.1828
2019-11-13 20:30:00 | 4.6907 | 43.5595 | 4.4507 | 87.8988 | 5.2567 | 55.4127 | 5.508 | 48.291 | 6.866 | 979.606 | 23.7746 | 3.8574
2019-11-13 20:45:00 | 3.9247 | 39.2182 | 4.195 | 78.6796 | 3.985 | 27.6088 | 4.2347 | 44.6326 | 6.925 | 979.606 | 23.2963 | 3.3549
2019-11-13 21:00:00 | 3.9247 | 49.73 | 4.195 | 87.7036 | 4.748 | 48.6325 | 5.508 | 48.852 | 6.695 | 979.606 | 24.6285 | 2.4017
2019-11-13 21:15:00 | 3.414 | 75.2901 | 2.661 | 97.8008 | 3.7307 | 45.8521 | 3.98 | 66.7538 | 6.49 | 979.606 | 24.1161 | 1.8622
2019-11-13 21:30:00 | 3.1587 | 66.3392 | 1.894 | 115.483 | 2.2047 | 68.6562 | 2.452 | 79.0949 | 6.987 | 979.606 | 22.7498 | 1.3966
2019-11-13 21:45:00 | 0 | 87.3629 | 1.3827 | 139.043 | 1.4417 | 134.093 | 1.4333 | 96.8991 | 6.951 | 979.606 | 22.0666 | 3.4805
2019-11-13 22:00:00 | 2.3927 | 106.874 | 2.4053 | 142.97 | 2.7133 | 98.8747 | 2.9613 | 117.728 | 7.001 | 979.309 | 20.9052 | 5.7048
2019-11-13 22:15:00 | 2.1373 | 129.898 | 3.428 | 172.603 | 3.985 | 151.605 | 3.7253 | 134.117 | 7.026 | 979.606 | 21.6567 | 8.5129
2019-11-13 22:30:00 | 4.946 | 126.605 | 5.4733 | 169.945 | 6.0197 | 131.361 | 6.0173 | 138.166 | 6.793 | 979.309 | 22.4082 | 15.208
2019-11-13 22:45:00 | 5.4567 | 130.581 | 8.03 | 166.335 | 7.037 | 139.264 | 7.036 | 134.8 | 7.23 | 979.309 | 23.5013 | 25.79
2019-11-13 23:00:00 | 8.01 | 133.191 | 7.5187 | 164.823 | 7.8 | 125.435 | 7.5453 | 138.581 | 6.792 | 979.012 | 26.1315 | 39.1099
2019-11-13 23:15:00 | 6.7333 | 129.703 | 10.331 | 164.408 | 8.563 | 135.434 | 8.3093 | 143.971 | 6.892 | 979.012 | 25.0043 | 45.4096
2019-11-13 23:30:00 | 7.7547 | 128.679 | 10.331 | 166.579 | 9.8347 | 148.532 | 9.8373 | 140.581 | 6.724 | 978.863 | 26.6781 | 48.5281
2019-11-13 23:45:00 | 8.5207 | 121.337 | 9.564 | 160.872 | 9.326 | 134.288 | 9.8373 | 131.995 | 6.411 | 978.715 | 24.5944 | 52.4631