## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-14 00:00:00 | 6.2227 | 120.045 | 7.0073 | 148.214 | 6.5283 | 108.118 | 6.5267 | 142.239 | 6.502 | 978.863 | 22.4082 | 55.3303
2019-11-14 00:15:00 | 8.5207 | 136.947 | 8.797 | 170.896 | 10.089 | 146.093 | 10.092 | 147.117 | 6.461 | 978.566 | 22.6131 | 58.7665
2019-11-14 00:30:00 | 7.7547 | 140.824 | 9.0527 | 177.383 | 8.8173 | 169.019 | 8.564 | 149.824 | 6.525 | 978.418 | 23.5013 | 59.9489
2019-11-14 00:45:00 | 8.776 | 130.776 | 8.2857 | 172.457 | 11.1063 | 151.409 | 10.856 | 144.166 | 6.416 | 978.12 | 24.3211 | 64.0945
2019-11-14 01:00:00 | 5.2013 | 151.434 | 4.962 | 199.432 | 5.7653 | 203.31 | 4.9987 | 145.019 | 6.242 | 978.12 | 25.4825 | 69.6996
2019-11-14 01:15:00 | 9.542 | 152.922 | 9.3083 | 193.407 | 9.326 | 143.044 | 9.0733 | 153.019 | 6.146 | 977.823 | 25.4825 | 74.9204
2019-11-14 01:30:00 | 7.244 | 156.848 | 10.331 | 170.067 | 10.3433 | 155.531 | 10.6013 | 153.336 | 6.103 | 977.526 | 27.0196 | 75.0017
2019-11-14 01:45:00 | 8.2653 | 133.849 | 8.797 | 172.311 | 9.5803 | 155.946 | 9.328 | 140.117 | 6.166 | 977.675 | 26.6439 | 74.6063
2019-11-14 02:00:00 | 10.0527 | 134.264 | 9.564 | 186.92 | 9.8347 | 146.215 | 9.8373 | 117.484 | 6.091 | 977.229 | 26.3706 | 70.3831
2019-11-14 02:15:00 | 7.7547 | 137.093 | 8.03 | 166.311 | 10.3433 | 145.19 | 10.3467 | 143.605 | 6.42 | 977.229 | 25.6874 | 72.6887
2019-11-14 02:30:00 | 12.0953 | 135.069 | 12.8877 | 168.798 | 11.615 | 135.215 | 11.8747 | 143.751 | 6.29 | 976.783 | 26.6781 | 72.3968
2019-11-14 02:45:00 | 8.776 | 134.971 | 8.5413 | 178.262 | 7.037 | 156.019 | 7.036 | 142.434 | 6.104 | 976.783 | 27.6003 | 79.1066
2019-11-14 03:00:00 | 7.7547 | 145.727 | 8.03 | 179.7 | 11.615 | 157.848 | 11.3653 | 138.483 | 6.181 | 976.635 | 27.2588 | 77.8171
2019-11-14 03:15:00 | 8.2653 | 149.312 | 10.0753 | 167.042 | 6.5283 | 141.581 | 7.8 | 147.458 | 6.337 | 976.635 | 26.7122 | 75.2197
2019-11-14 03:30:00 | 7.244 | 147.019 | 9.564 | 189.31 | 11.8693 | 159.214 | 11.1107 | 154.726 | 6.537 | 976.635 | 27.737 | 78.9847
2019-11-14 03:45:00 | 9.7973 | 146.361 | 7.7743 | 176.432 | 11.8693 | 171.287 | 11.1107 | 151.019 | 6.249 | 976.189 | 29.035 | 80.2003
2019-11-14 04:00:00 | 12.8613 | 147.41 | 11.3537 | 193.017 | 10.3433 | 142.215 | 9.5827 | 161.946 | 6.403 | 976.04 | 29.1716 | 82.1918
2019-11-14 04:15:00 | 9.542 | 143.02 | 10.331 | 178.237 | 10.089 | 159.409 | 9.8373 | 158.068 | 6.453 | 976.04 | 27.8053 | 80.8063
2019-11-14 04:30:00 | 9.2867 | 143.629 | 8.5413 | 180.481 | 12.1237 | 147.019 | 11.62 | 146.434 | 6.372 | 976.04 | 29.3766 | 84.6083
2019-11-14 04:45:00 | 11.3293 | 138.629 | 11.3537 | 176.749 | 13.6497 | 149.653 | 12.6387 | 151.117 | 6.357 | 975.446 | 29.5816 | 84.4716
2019-11-14 05:00:00 | 13.372 | 144.385 | 13.9103 | 172.603 | 13.141 | 139.8 | 13.148 | 156.531 | 6.468 | 975.446 | 29.9915 | 84.2388
2019-11-14 05:15:00 | 12.3507 | 142.312 | 12.8877 | 176.774 | 12.8867 | 144.751 | 12.8933 | 146.483 | 6.335 | 975.446 | 31.6311 | 85.8202
2019-11-14 05:30:00 | 12.8613 | 136.434 | 13.6547 | 163.872 | 14.9213 | 141.044 | 14.9307 | 146.019 | 6.122 | 975.149 | 32.8608 | 86.3227
2019-11-14 05:45:00 | 15.67 | 137.239 | 15.7 | 168.384 | 14.1583 | 142.654 | 14.1667 | 151.288 | 5.962 | 974.554 | 33.8856 | 85.1551
2019-11-14 06:00:00 | 11.5847 | 153.361 | 13.399 | 181.896 | 12.378 | 121.996 | 12.8933 | 155.482 | 5.925 | 974.852 | 34.5687 | 85.314
2019-11-14 06:15:00 | 15.4147 | 150.751 | 13.6547 | 175.53 | 13.3953 | 133.191 | 13.4027 | 146.678 | 5.646 | 974.406 | 35.7985 | 85.7389
2019-11-14 06:30:00 | 12.3507 | 149.361 | 12.1207 | 183.164 | 12.6323 | 150.312 | 12.6387 | 148.068 | 5.626 | 974.554 | 35.9351 | 83.1488
2019-11-14 06:45:00 | 13.8827 | 142.093 | 13.399 | 178.457 | 11.3607 | 144.678 | 12.1293 | 144.166 | 5.517 | 974.257 | 36.3792 | 84.6932
2019-11-14 07:00:00 | 9.7973 | 143.044 | 12.632 | 176.335 | 15.1757 | 149.019 | 14.9307 | 143.532 | 5.317 | 974.406 | 37.5064 | 87.1762
2019-11-14 07:15:00 | 13.8827 | 138.605 | 12.3763 | 176.335 | 12.8867 | 136.117 | 12.1293 | 149.092 | 5.289 | 974.257 | 38.4628 | 87.542
2019-11-14 07:30:00 | 12.3507 | 150.483 | 13.6547 | 181.969 | 12.378 | 139.166 | 11.8747 | 145.483 | 5.161 | 974.257 | 38.7361 | 87.6713
2019-11-14 07:45:00 | 13.6273 | 147.336 | 11.865 | 180.261 | 13.141 | 149.166 | 12.384 | 156.604 | 5.201 | 974.703 | 39.2143 | 84.5528
2019-11-14 08:00:00 | 10.0527 | 148.336 | 11.6093 | 183.505 | 12.8867 | 155.897 | 12.8933 | 155.653 | 5.263 | 975 | 39.1802 | 84.926
2019-11-14 08:15:00 | 11.074 | 151.117 | 11.3537 | 184.164 | 11.3607 | 148.995 | 11.3653 | 157.604 | 5.306 | 975.297 | 39.8292 | 84.4937
2019-11-14 08:30:00 | 11.84 | 142.775 | 10.331 | 191.382 | 12.1237 | 148.823 | 12.1293 | 156.311 | 5.417 | 975.149 | 39.9314 | 81.5637
2019-11-14 08:45:00 | 13.372 | 149.32 | 14.933 | 195.421 | 13.904 | 169.289 | 13.4027 | 157.415 | 5.748 | 974.703 | 39.5451 | 82.7756
2019-11-14 09:00:00 | 10.308 | 156.258 | 9.3083 | 192.164 | 10.852 | 152.943 | 10.856 | 151.553 | 5.891 | 975.146 | 40.5669 | 84.1242
2019-11-14 09:15:00 | 12.3507 | 156.844 | 13.399 | 189.409 | 13.3953 | 154.649 | 12.8933 | 154.43 | 6.092 | 974.882 | 40.9425 | 85.0775
2019-11-14 09:30:00 | 11.3293 | 144.994 | 11.865 | 178.877 | 13.141 | 165.694 | 13.4027 | 163.353 | 6.081 | 974.872 | 42.445 | 86.4852
2019-11-14 09:45:00 | 13.8827 | 157.599 | 14.6773 | 192.359 | 12.8867 | 150.797 | 12.6387 | 159.087 | 6.508 | 974.851 | 42.9572 | 89.8032
2019-11-14 10:00:00 | 13.8827 | 143.458 | 15.1887 | 180.096 | 14.667 | 161.11 | 14.9307 | 144.531 | 7.167 | 974.851 | 41.6596 | 86.6885
2019-11-14 10:15:00 | 9.542 | 143.146 | 10.5867 | 178.337 | 11.1063 | 137.588 | 9.8373 | 160.259 | 7.569 | 975.148 | 41.244 | 86.4779
2019-11-14 10:30:00 | 10.8187 | 154.061 | 12.3763 | 180.084 | 13.141 | 146.772 | 13.148 | 156.742 | 8.1 | 974.989 | 42.1301 | 87.0579
2019-11-14 10:45:00 | 10.8187 | 157.181 | 9.8197 | 192.922 | 11.1063 | 145.628 | 11.3653 | 160.032 | 8.61 | 974.722 | 41.509 | 86.1162
2019-11-14 11:00:00 | 11.3293 | 148.016 | 11.098 | 186.194 | 12.1237 | 158.326 | 11.8747 | 153.305 | 8.95 | 974.299 | 40.7237 | 83.0712
2019-11-14 11:15:00 | 13.1167 | 146.432 | 10.8423 | 192.214 | 9.326 | 159.837 | 8.8187 | 160.251 | 9.31 | 973.662 | 40.8944 | 79.805
2019-11-14 11:30:00 | 11.3293 | 148.479 | 11.6093 | 179.589 | 12.378 | 130.979 | 11.3653 | 138.218 | 9.67 | 973.662 | 39.9386 | 79.2507
2019-11-14 11:45:00 | 13.6273 | 157.96 | 14.4217 | 195.333 | 11.615 | 155.742 | 11.62 | 168.562 | 10.49 | 973.217 | 39.6655 | 73.4461
2019-11-14 12:00:00 | 11.84 | 140.749 | 11.3537 | 182.142 | 10.852 | 144.721 | 10.856 | 148.791 | 10.6 | 972.771 | 40.0739 | 77.1964
2019-11-14 12:15:00 | 8.776 | 142.946 | 13.6547 | 179.067 | 13.141 | 146.699 | 12.8933 | 155.106 | 11 | 972.771 | 39.6586 | 81.9791
2019-11-14 12:30:00 | 10.0527 | 151.715 | 11.3537 | 198.459 | 11.8693 | 168.334 | 11.8747 | 159.391 | 11.48 | 972.474 | 39.5213 | 81.7917
2019-11-14 12:45:00 | 8.01 | 143.773 | 10.0753 | 172.924 | 13.3953 | 145.723 | 12.384 | 149.914 | 11.79 | 972.623 | 38.0884 | 78.7318
2019-11-14 13:00:00 | 8.2653 | 128.057 | 7.0073 | 195.297 | 8.563 | 207.864 | 8.0547 | 151.597 | 12.21 | 972.177 | 38.1911 | 80.7435
2019-11-14 13:15:00 | 9.7973 | 150.251 | 10.8423 | 185.566 | 13.3953 | 166.943 | 13.148 | 156.879 | 12.43 | 972.029 | 36.9269 | 79.7754
2019-11-14 13:30:00 | 11.3293 | 163.83 | 11.3537 | 202.087 | 12.6323 | 164.951 | 12.384 | 156.74 | 13.05 | 971.643 | 34.7389 | 80.5033
2019-11-14 13:45:00 | 13.372 | 156.785 | 12.8877 | 184.296 | 14.9213 | 135.978 | 14.676 | 167.798 | 13.58 | 971.62 | 34.1239 | 78.4131
2019-11-14 14:00:00 | 9.7973 | 181.905 | 7.263 | 208.271 | 9.0717 | 170.551 | 8.564 | 175.765 | 13.78 | 971.583 | 33.3732 | 75.1458
2019-11-14 14:15:00 | 11.3293 | 153.91 | 7.5187 | 196.624 | 10.852 | 177.154 | 12.1293 | 151.644 | 14.41 | 971.138 | 31.7011 | 77.4661
2019-11-14 14:30:00 | 13.8827 | 165.191 | 13.9103 | 186.245 | 10.3433 | 154.909 | 9.5827 | 147.429 | 14.56 | 970.99 | 32.3153 | 73.1358
2019-11-14 14:45:00 | 10.308 | 156.951 | 9.8197 | 189.137 | 10.5977 | 174.517 | 11.1107 | 161.044 | 14.63 | 970.841 | 32.246 | 75.1679
2019-11-14 15:00:00 | 2.9033 | 161.499 | 4.4507 | 218.132 | 8.563 | 165.567 | 9.5827 | 148.053 | 14.86 | 970.99 | 32.3079 | 75.434
2019-11-14 15:15:00 | 9.7973 | 169.918 | 11.6093 | 178.586 | 8.8173 | 156.813 | 9.5827 | 161.636 | 15.01 | 970.99 | 31.8967 | 70.6936
2019-11-14 15:30:00 | 13.1167 | 149.798 | 10.331 | 181.168 | 7.5457 | 185.555 | 6.272 | 154.426 | 14.91 | 970.396 | 31.7602 | 78.4305
2019-11-14 15:45:00 | 9.2867 | 146.043 | 11.6093 | 173.514 | 10.089 | 171.69 | 9.328 | 160.023 | 14.94 | 970.099 | 32.305 | 80.8469
2019-11-14 16:00:00 | 11.5847 | 168.216 | 10.0753 | 205.36 | 10.089 | 161.737 | 9.5827 | 169.995 | 14.86 | 970.099 | 32.3409 | 78.2449
2019-11-14 16:15:00 | 11.84 | 156.516 | 12.632 | 188.404 | 13.6497 | 171.815 | 14.1667 | 156.541 | 14.69 | 969.654 | 33.163 | 78.4453
2019-11-14 16:30:00 | 9.7973 | 145.186 | 11.865 | 192.723 | 13.3953 | 159.902 | 12.8933 | 157.904 | 14.54 | 969.505 | 33.4069 | 81.2496
2019-11-14 16:45:00 | 9.2867 | 183.245 | 8.797 | 223.23 | 9.8347 | 162.024 | 9.5827 | 162.901 | 14.37 | 969.208 | 34.0556 | 79.332
2019-11-14 17:00:00 | 8.776 | 155.567 | 9.564 | 183.151 | 9.326 | 181.15 | 9.0733 | 156.273 | 14.18 | 969.041 | 34.2604 | 77.6213
2019-11-14 17:15:00 | 12.3507 | 155.489 | 9.8197 | 198.552 | 9.326 | 153.954 | 9.8373 | 159.851 | 13.92 | 969.199 | 35.425 | 75.1273
2019-11-14 17:30:00 | 9.7973 | 149.843 | 9.3083 | 176.508 | 9.326 | 158.103 | 9.8373 | 157.056 | 13.46 | 969.059 | 37.3379 | 79.0993
2019-11-14 17:45:00 | 9.7973 | 160.439 | 10.0753 | 175.017 | 10.089 | 138.654 | 9.328 | 171.039 | 13.55 | 968.91 | 36.6544 | 76.5092
2019-11-14 18:00:00 | 11.074 | 132.806 | 10.331 | 181.086 | 12.6323 | 130.174 | 11.8747 | 145.916 | 13.75 | 968.762 | 36.3133 | 79.6017
2019-11-14 18:15:00 | 10.0527 | 163.759 | 9.0527 | 167.738 | 10.089 | 144.507 | 10.092 | 140.218 | 13.53 | 968.91 | 36.1096 | 81.3995
2019-11-14 18:30:00 | 10.8187 | 152.184 | 10.331 | 201.391 | 8.0543 | 181.914 | 7.8 | 171.995 | 13.58 | 969.059 | 35.939 | 79.9121
2019-11-14 18:45:00 | 12.0953 | 153.017 | 12.632 | 195.672 | 13.141 | 143.099 | 13.148 | 153.31 | 13.55 | 968.762 | 35.9743 | 79.7015
2019-11-14 19:00:00 | 10.5633 | 153.262 | 10.331 | 178.76 | 12.378 | 123.433 | 12.8933 | 151.361 | 13.57 | 968.91 | 36.3158 | 81.8213
2019-11-14 19:15:00 | 12.8613 | 152.071 | 13.9103 | 184.491 | 14.1583 | 148.659 | 14.1667 | 154.532 | 13.45 | 968.91 | 36.453 | 82.7571
2019-11-14 19:30:00 | 14.3933 | 146.718 | 14.166 | 186.989 | 13.6497 | 150.812 | 13.4027 | 152.981 | 13.52 | 968.613 | 36.7283 | 80.6585
2019-11-14 19:45:00 | 11.5847 | 151.754 | 12.1207 | 185.198 | 12.8867 | 145.393 | 12.384 | 148.927 | 13.7 | 968.91 | 36.9308 | 78.632
2019-11-14 20:00:00 | 10.308 | 143.146 | 12.632 | 174.469 | 12.378 | 155.77 | 11.8747 | 152.724 | 13.78 | 968.91 | 36.8614 | 76.9341
2019-11-14 20:15:00 | 9.542 | 145.36 | 11.3537 | 184.357 | 13.6497 | 147.48 | 13.148 | 144.068 | 13.6 | 969.207 | 37.6795 | 75.652
2019-11-14 20:30:00 | 9.542 | 151.283 | 10.5867 | 184.894 | 12.1237 | 151.502 | 11.62 | 153.744 | 13.57 | 968.91 | 38.1576 | 77.7802
2019-11-14 20:45:00 | 11.074 | 147.803 | 11.3537 | 175.958 | 11.1063 | 150.021 | 11.3653 | 151.678 | 13.43 | 968.91 | 38.6368 | 80.2225
2019-11-14 21:00:00 | 10.8187 | 142.914 | 10.5867 | 180.577 | 10.3433 | 136.797 | 9.328 | 145.79 | 13.1 | 968.91 | 38.8782 | 79.683
2019-11-14 21:15:00 | 11.3293 | 146.041 | 10.5867 | 185.437 | 11.615 | 152.646 | 11.8747 | 154.449 | 13.14 | 968.91 | 39.3239 | 77.0154
2019-11-14 21:30:00 | 9.7973 | 150.185 | 7.7743 | 186.73 | 9.326 | 159.495 | 9.5827 | 155.498 | 13.03 | 968.91 | 39.5289 | 77.6213
2019-11-14 21:45:00 | 11.074 | 156.692 | 11.3537 | 186.51 | 12.6323 | 150.77 | 12.1293 | 156.766 | 13.05 | 968.762 | 39.7337 | 73.4757
2019-11-14 22:00:00 | 10.5633 | 152.89 | 12.1207 | 184.171 | 10.3433 | 153.963 | 9.8373 | 156.4 | 12.98 | 968.91 | 40.1434 | 73.424
2019-11-14 22:15:00 | 9.2867 | 156.79 | 10.331 | 197.503 | 12.1237 | 160.47 | 11.62 | 161.811 | 12.77 | 968.762 | 40.4165 | 72.068
2019-11-14 22:30:00 | 9.7973 | 155.035 | 12.8877 | 187.632 | 12.8867 | 165.028 | 12.6387 | 153.597 | 12.76 | 968.762 | 40.6895 | 66.9026
2019-11-14 22:45:00 | 10.8187 | 150.307 | 12.632 | 182.416 | 12.8867 | 157.911 | 12.6387 | 156.814 | 12.64 | 968.91 | 41.2357 | 63.5861
2019-11-14 23:00:00 | 10.308 | 150.502 | 12.3763 | 185.316 | 12.378 | 157.935 | 12.384 | 155.279 | 12.51 | 968.613 | 41.2357 | 60.5437
2019-11-14 23:15:00 | 9.2867 | 153.89 | 9.8197 | 190.434 | 10.852 | 149.332 | 10.856 | 164.565 | 12.34 | 968.91 | 42.1232 | 51.6724
2019-11-14 23:30:00 | 9.7973 | 150.502 | 10.0753 | 185.414 | 10.5977 | 147.723 | 10.6013 | 156.668 | 12.27 | 968.91 | 42.1915 | 47.6561
2019-11-14 23:45:00 | 10.8187 | 187.67 | 12.3763 | 205.887 | 11.1063 | 159.52 | 10.856 | 203.025 | 12.46 | 968.91 | 39.9386 | 36.8228