## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-16 00:00:00 | 1.3713 | 174.241 | 2.4053 | 206.033 | 2.7133 | 173.485 | 2.452 | 180.7 | 13.16 | 970.398 | 47.5166 | -0.25125
2019-11-16 00:15:00 | 1.6267 | 160.86 | 2.1497 | 185.852 | 2.459 | 165.735 | 2.452 | 166.149 | 13.37 | 970.725 | 47.4484 | -0.25125
2019-11-16 00:30:00 | 1.3713 | 153.548 | 2.1497 | 185.267 | 2.459 | 144.969 | 2.452 | 168.879 | 13.45 | 970.396 | 46.2878 | -0.25125
2019-11-16 00:45:00 | 1.3713 | 166.198 | 2.1497 | 186.486 | 2.2047 | 155.596 | 2.1973 | 174.168 | 13.35 | 970.544 | 46.7657 | -0.25125
2019-11-16 01:00:00 | 1.6267 | 154.28 | 2.4053 | 185.292 | 1.696 | 154.182 | 2.1973 | 168.513 | 13.43 | 970.425 | 46.2878 | -0.25125
2019-11-16 01:15:00 | 1.882 | 153.5 | 2.4053 | 185.267 | 2.459 | 149.892 | 2.1973 | 166.173 | 13.35 | 970.693 | 46.7657 | -0.25125
2019-11-16 01:30:00 | 0.744 | 147.065 | 1.6383 | 185.316 | 1.9503 | 158.228 | 1.9427 | 159.057 | 13.17 | 970.396 | 47.5849 | -0.25125
2019-11-16 01:45:00 | 1.116 | 153.207 | 2.1497 | 185.316 | 2.459 | 157.692 | 2.7067 | 159.081 | 13.15 | 970.399 | 47.7215 | -0.25125
2019-11-16 02:00:00 | 1.116 | 148.966 | 1.6383 | 185.267 | 1.696 | 142.483 | 1.4333 | 158.569 | 13.05 | 970.424 | 47.5849 | -0.25125
2019-11-16 02:15:00 | 0 | 142.702 | 1.3827 | 185.024 | 1.1873 | 142.337 | 1.1787 | 158.472 | 13 | 970.458 | 47.5849 | -0.26233
2019-11-16 02:30:00 | 1.116 | 142.727 | 0.75133 | 168.889 | 0 | 35.243 | 0 | 158.472 | 12.97 | 970.495 | 48.6772 | -0.25125
2019-11-16 02:45:00 | 1.882 | 9.2616 | 1.127 | 36.7398 | 0 | 1.0724 | 0 | 27.9556 | 12.64 | 970.482 | 49.0869 | -0.25125
2019-11-16 03:00:00 | 1.6267 | 37.8753 | 1.3827 | 37.1297 | 0.622 | 17.5971 | 0.616 | 28.8817 | 12.67 | 970.174 | 49.0186 | -0.25125
2019-11-16 03:15:00 | 0 | 61.9068 | 0 | 55.0681 | 0 | 21.9355 | 0 | 29.0767 | 12.75 | 970.192 | 49.7013 | -0.25125
2019-11-16 03:30:00 | 0 | 61.8093 | 0 | 54.995 | 0 | 21.9355 | 0 | 29.0523 | 12.49 | 970.116 | 50.1109 | -0.25125
2019-11-16 03:45:00 | 0 | 20.1319 | 0 | 54.9219 | 0 | 353.795 | 0 | 29.0523 | 12.47 | 970.306 | 50.0427 | -0.25125
2019-11-16 04:00:00 | 0 | 20.1319 | 0 | 54.9219 | 0 | 353.819 | 0 | 29.0523 | 12.45 | 970.12 | 49.7013 | -0.25125
2019-11-16 04:15:00 | 0 | 20.132 | 0 | 54.898 | 0 | 353.846 | 0 | 29.0525 | 12.59 | 970.412 | 49.1556 | -0.25125
2019-11-16 04:30:00 | 0 | 20.1081 | 0 | 54.924 | 0 | 353.854 | 0 | 29.0531 | 12.46 | 970.397 | 50.0441 | -0.25125
2019-11-16 04:45:00 | 1.6267 | 20.2787 | 0.75133 | 54.9241 | 0.622 | 4.3872 | 0.616 | 29.0776 | 12.27 | 970.184 | 50.3855 | -0.25125
2019-11-16 05:00:00 | 0 | 43.0969 | 0.37567 | 54.9808 | 0 | 4.4851 | 0.308 | 103.306 | 12.36 | 970.115 | 49.7763 | -0.25125
2019-11-16 05:15:00 | 0 | 138.087 | 0 | 169.324 | 0.622 | 103.937 | 0 | 104.254 | 12.55 | 970.176 | 49.1947 | -0.25125
2019-11-16 05:30:00 | 0 | 189.76 | 1.6383 | 207.127 | 1.1873 | 142.448 | 1.1787 | 106.007 | 12.14 | 970.843 | 51.2081 | -0.25125
2019-11-16 05:45:00 | 0.372 | 236.993 | 0.75133 | 207.437 | 0 | 174.295 | 0 | 204.352 | 11.87 | 970.855 | 51.6901 | -0.26233
2019-11-16 06:00:00 | 1.882 | 278.237 | 1.3827 | 336.584 | 1.1873 | 0.048754 | 1.4333 | 205.204 | 11.21 | 971.225 | 57.7669 | 0.12932
2019-11-16 06:15:00 | 3.414 | 345.958 | 2.4053 | 24.8536 | 0 | 32.4213 | 0 | 284.625 | 9.16 | 970.533 | 67.8731 | 0.26233
2019-11-16 06:30:00 | 0 | 230.682 | 0 | 26.5168 | 0 | 44.0788 | 0 | 284.416 | 9.45 | 970.394 | 58.3888 | -0.27342
2019-11-16 06:45:00 | 1.6267 | 230.694 | 0 | 26.2021 | 0 | 8.3627 | 0 | 284.43 | 10.37 | 970.989 | 57.1623 | -0.1404
2019-11-16 07:00:00 | 0 | 293.987 | 0 | 25.0562 | 0 | 2.8282 | 0 | 284.454 | 10.57 | 971.137 | 54.8404 | -0.218
2019-11-16 07:15:00 | 1.882 | 333.094 | 1.3827 | 24.9587 | 0.311 | 1.853 | 0.616 | 284.503 | 10.86 | 971.583 | 58.7331 | 0.014779
2019-11-16 07:30:00 | 3.1587 | 356.897 | 1.3827 | 26.3217 | 0 | 25.8426 | 0 | 284.513 | 9.89 | 971.583 | 64.1934 | 0.070202
2019-11-16 07:45:00 | 2.648 | 25.7426 | 1.3827 | 40.3098 | 0 | 18.9169 | 0 | 284.485 | 9.35 | 971.286 | 63.7774 | -0.24016
2019-11-16 08:00:00 | 3.1587 | 12.1882 | 2.4053 | 38.9914 | 2.2047 | 12.7733 | 2.452 | 20.5739 | 9.5 | 971.412 | 64.3898 | 0.99022
2019-11-16 08:15:00 | 3.414 | 14.9163 | 2.9167 | 46.4896 | 2.2047 | 14.6238 | 2.1973 | 15.1113 | 9.5 | 971.355 | 64.0389 | 1.3819
2019-11-16 08:30:00 | 3.6693 | 14.1362 | 3.428 | 52.0459 | 2.7133 | 14.0631 | 2.452 | 34.9993 | 9.53 | 971.45 | 63.3214 | 0.45816
2019-11-16 08:45:00 | 3.414 | 14.9161 | 4.195 | 52.1678 | 2.459 | 15.0136 | 2.7067 | 33.9269 | 9.77 | 971.88 | 63.3555 | 1.9176
2019-11-16 09:00:00 | 3.1587 | 54.985 | 3.1723 | 71.8366 | 2.2047 | 29.5885 | 2.1973 | 82.0631 | 9.97 | 971.583 | 61.9901 | 0.11454
2019-11-16 09:15:00 | 3.1587 | 52.6361 | 2.661 | 64.4858 | 1.9503 | 27.0004 | 2.1973 | 95.4516 | 10.12 | 971.88 | 60.2729 | -0.2143
2019-11-16 09:30:00 | 2.1373 | 5.9459 | 2.661 | 42.9684 | 1.9503 | 9.8449 | 1.688 | 44.9113 | 10.72 | 972.623 | 59.1468 | 0.073897
2019-11-16 09:45:00 | 2.648 | 56.3794 | 2.9167 | 54.9208 | 1.1873 | 17.1526 | 0.924 | 96.8245 | 9.95 | 972.304 | 63.4705 | 0.72049
2019-11-16 10:00:00 | 3.414 | 28.8475 | 2.661 | 49.4874 | 0 | 15.7882 | 0.616 | 89.5394 | 8.61 | 971.881 | 69.7151 | 0.95696
2019-11-16 10:15:00 | 3.414 | 7.3093 | 4.4507 | 49.1707 | 2.2047 | 26.0212 | 2.452 | 9.2585 | 8.92 | 971.88 | 70.3976 | 2.7268
2019-11-16 10:30:00 | 2.648 | 22.0986 | 3.1723 | 57.8688 | 1.1873 | 32.9407 | 0.924 | 47.9249 | 8.87 | 972.029 | 62.7197 | 0.51728
2019-11-16 10:45:00 | 2.9033 | 4.9703 | 2.9167 | 47.2459 | 0.933 | 20.2712 | 1.1787 | 20.393 | 10.16 | 972.177 | 65.4155 | 0.84981
2019-11-16 11:00:00 | 4.4353 | 26.7034 | 3.1723 | 57.8688 | 2.9677 | 31.6981 | 2.7067 | 19.2723 | 5.592 | 971.583 | 93.2606 | 3.3549
2019-11-16 11:15:00 | 2.9033 | 5.8475 | 2.661 | 56.212 | 0.933 | 25.7289 | 0.616 | 326.362 | 6.221 | 971.153 | 88.1761 | 1.4521
2019-11-16 11:30:00 | 3.1587 | 1.7543 | 3.6837 | 49.905 | 1.9503 | 19.9798 | 2.1973 | 6.0427 | 7.13 | 971.282 | 87.9074 | 2.1024
2019-11-16 11:45:00 | 4.4353 | 7.3104 | 4.195 | 53.4942 | 2.9677 | 24.2219 | 2.7067 | 2.9242 | 6.257 | 971.434 | 91.0561 | 2.2871
2019-11-16 12:00:00 | 3.9247 | 8.5777 | 3.9393 | 52.3747 | 2.7133 | 13.2078 | 3.4707 | 9.4306 | 7.731 | 970.989 | 81.0921 | 1.707
2019-11-16 12:15:00 | 1.882 | 6.482 | 3.428 | 44.9177 | 4.2393 | 6.2383 | 3.7253 | 13.159 | 8.97 | 971.137 | 73.0373 | 0.94588
2019-11-16 12:30:00 | 2.3927 | 0.097467 | 2.4053 | 42.0864 | 2.459 | 1.0234 | 2.1973 | 10.9163 | 9.99 | 971.286 | 71.189 | 0.90154
2019-11-16 12:45:00 | 2.648 | 15.3009 | 2.661 | 39.8878 | 2.459 | 355.77 | 2.7067 | 26.7034 | 9.44 | 971.301 | 82.5116 | 4.2712
2019-11-16 13:00:00 | 4.4353 | 5.5551 | 3.9393 | 51.266 | 3.222 | 18.8581 | 2.9613 | 6.1886 | 7.878 | 970.99 | 89.7458 | 4.6149
2019-11-16 13:15:00 | 3.1587 | 344.472 | 3.6837 | 25.3676 | 3.7307 | 0.04873 | 3.98 | 2.1441 | 7.173 | 970.951 | 92.9213 | 6.4918
2019-11-16 13:30:00 | 2.9033 | 344.986 | 5.2177 | 16.2848 | 5.0023 | 5.9947 | 4.2347 | 3.3141 | 7.19 | 970.989 | 94.3344 | 7.6372
2019-11-16 13:45:00 | 5.712 | 356.235 | 4.7063 | 30.7375 | 2.9677 | 11.0882 | 2.9613 | 60.7778 | 6.41 | 970.247 | 97.342 | 7.2012
2019-11-16 14:00:00 | 3.414 | 353.917 | 3.6837 | 49.3161 | 4.2393 | 27.7849 | 4.4893 | 344.484 | 6.258 | 970.098 | 98.6857 | 6.9204
2019-11-16 14:15:00 | 4.6907 | 4.3628 | 5.2177 | 47.2704 | 4.2393 | 10.1881 | 4.4893 | 10.0174 | 6.053 | 969.538 | 99.0295 | 9.0967
2019-11-16 14:30:00 | 4.6907 | 13.3592 | 5.4733 | 50.1116 | 3.7307 | 11.8478 | 3.7253 | 11.5553 | 6.002 | 969.792 | 99.732 | 8.6459
2019-11-16 14:45:00 | 5.712 | 11.9467 | 5.4733 | 48.8034 | 4.4937 | 10.874 | 4.9987 | 18.2614 | 6.156 | 969.8 | 99.9146 | 9.1928
2019-11-16 15:00:00 | 5.4567 | 6.1684 | 5.729 | 43.3908 | 4.748 | 11.4591 | 5.508 | 14.3605 | 6.336 | 970 | 99.9829 | 9.3147
2019-11-16 15:15:00 | 6.2227 | 17.4569 | 5.4733 | 56.3615 | 4.748 | 22.7963 | 6.0173 | 3.5109 | 6.533 | 969.799 | 99.9829 | 10.1756
2019-11-16 15:30:00 | 5.9673 | 8.9722 | 6.496 | 46.5603 | 4.748 | 18.5296 | 5.2533 | 14.653 | 6.659 | 970.097 | 99.9829 | 13.7116
2019-11-16 15:45:00 | 5.4567 | 17.8469 | 5.4733 | 54.8987 | 5.7653 | 14.2385 | 5.7627 | 27.1118 | 6.9 | 970.097 | 99.9829 | 8.4945
2019-11-16 16:00:00 | 6.2227 | 10.4595 | 6.496 | 48.6571 | 5.7653 | 8.2408 | 6.0173 | 19.7974 | 7.098 | 970.097 | 99.9829 | 11.188
2019-11-16 16:15:00 | 5.9673 | 45.6901 | 4.195 | 45 | 6.5283 | 16.0184 | 6.272 | 355.915 | 7.275 | 970.394 | 99.8463 | 16.2869
2019-11-16 16:30:00 | 7.244 | 9.5574 | 6.496 | 38.5146 | 5.7653 | 22.0161 | 5.7627 | 13.3608 | 7.292 | 970.097 | 99.3683 | 19.2501
2019-11-16 16:45:00 | 6.478 | 16.5791 | 8.03 | 51.5585 | 7.2913 | 5.2907 | 7.036 | 17.53 | 7.226 | 969.8 | 98.6853 | 19.2871
2019-11-16 17:00:00 | 6.9887 | 23.6984 | 7.7743 | 52.0705 | 7.037 | 23.1133 | 7.2907 | 23.3571 | 7.203 | 969.8 | 98.139 | 19.1615
2019-11-16 17:15:00 | 6.7333 | 21.5529 | 6.7517 | 54.3867 | 6.274 | 17.213 | 6.0173 | 27.8188 | 7.16 | 969.502 | 98.0024 | 16.734
2019-11-16 17:30:00 | 6.7333 | 20.3605 | 6.496 | 58.2234 | 6.5283 | 15.9958 | 6.7813 | 28.9924 | 7.101 | 969.502 | 98.2184 | 14.6094
2019-11-16 17:45:00 | 5.4567 | 23.1662 | 5.4733 | 57.7652 | 5.0023 | 20.6057 | 4.9987 | 35.6759 | 7.071 | 969.502 | 98.1565 | 10.9404
2019-11-16 18:00:00 | 3.9247 | 15.2425 | 5.4733 | 45.7012 | 5.0023 | 8.2919 | 4.744 | 21.0712 | 7.025 | 969.948 | 98.03 | 10.9737
2019-11-16 18:15:00 | 4.18 | 2.3657 | 4.962 | 29.0447 | 3.985 | 3.0485 | 3.7253 | 10.4382 | 6.997 | 970.097 | 97.8945 | 11.6351
2019-11-16 18:30:00 | 5.4567 | 8.292 | 4.7063 | 35.8979 | 5.511 | 0.17072 | 6.0173 | 8.4383 | 6.793 | 970.097 | 98.3729 | 16.1613
2019-11-16 18:45:00 | 5.712 | 1.6828 | 4.962 | 49.0199 | 5.2567 | 22.5107 | 4.744 | 5.4874 | 6.655 | 970.394 | 98.6477 | 13.852
2019-11-16 19:00:00 | 3.9247 | 356.961 | 4.7063 | 28.9249 | 3.985 | 1.2682 | 4.744 | 3.6584 | 6.512 | 970.691 | 98.9917 | 7.6335
2019-11-16 19:15:00 | 5.9673 | 30.1453 | 5.729 | 62.046 | 5.511 | 25.5601 | 5.508 | 19.8042 | 6.526 | 970.691 | 99.1289 | 8.1176
2019-11-16 19:30:00 | 5.4567 | 26.9259 | 5.9847 | 63.7045 | 7.5457 | 19.6823 | 7.5453 | 32.5355 | 6.45 | 969.8 | 99.4022 | 12.1597
2019-11-16 19:45:00 | 4.6907 | 31.4136 | 5.2177 | 61.8265 | 6.5283 | 21.3895 | 6.272 | 32.9257 | 6.849 | 970.245 | 99.4364 | 9.8505
2019-11-16 20:00:00 | 4.18 | 31.8029 | 5.4733 | 70.2383 | 6.0197 | 24.8765 | 6.272 | 31.998 | 7.919 | 970.691 | 88.4689 | 6.3219
2019-11-16 20:15:00 | 4.4353 | 19.2132 | 4.4507 | 50.1231 | 5.2567 | 19.6033 | 5.2533 | 25.455 | 8.36 | 970.988 | 91.2453 | 6.3441
2019-11-16 20:30:00 | 3.6693 | 2.4381 | 5.9847 | 48.267 | 6.0197 | 13.7266 | 5.508 | 356.305 | 6.801 | 970.84 | 96.2609 | 14.7461
2019-11-16 20:45:00 | 7.7547 | 22.5293 | 7.5187 | 57.1459 | 7.037 | 16.58 | 7.036 | 28.2348 | 6.477 | 970.097 | 97.9052 | 13.4234
2019-11-16 21:00:00 | 4.6907 | 15.315 | 4.195 | 54.4776 | 3.7307 | 0.097548 | 4.744 | 10.5351 | 6.441 | 970.691 | 98.7772 | 8.524
2019-11-16 21:15:00 | 5.712 | 22.9747 | 5.9847 | 57.0701 | 5.2567 | 18.2676 | 5.2533 | 27.3648 | 6.444 | 970.543 | 99.0942 | 10.2901
2019-11-16 21:30:00 | 5.9673 | 23.0967 | 6.2403 | 58.0216 | 6.0197 | 18.6335 | 6.0173 | 27.8527 | 6.395 | 970.245 | 99.3337 | 12.0156
2019-11-16 21:45:00 | 5.4567 | 8.6338 | 6.2403 | 49.0217 | 5.0023 | 10.3655 | 5.2533 | 10.3898 | 6.397 | 970.245 | 99.6067 | 14.1365
2019-11-16 22:00:00 | 6.9887 | 12.5849 | 7.263 | 51.5829 | 7.037 | 21.3895 | 6.7813 | 19.2189 | 6.537 | 970.394 | 99.6755 | 12.6327
2019-11-16 22:15:00 | 6.478 | 18.2677 | 6.7517 | 52.9731 | 6.274 | 16.1946 | 6.7813 | 20.8286 | 6.546 | 970.394 | 99.7438 | 13.6746
2019-11-16 22:30:00 | 6.478 | 16.8531 | 6.7517 | 56.2901 | 6.5283 | 21.4383 | 6.7813 | 18.2921 | 6.67 | 970.097 | 99.778 | 16.6527
2019-11-16 22:45:00 | 6.7333 | 9.1704 | 6.7517 | 45.2661 | 7.8 | 13.4142 | 7.2907 | 17.0726 | 6.703 | 970.097 | 99.9146 | 15.3779
2019-11-16 23:00:00 | 5.712 | 355.671 | 5.2177 | 45.4612 | 5.511 | 11.024 | 6.272 | 7.7802 | 6.932 | 970.245 | 99.778 | 17.9126
2019-11-16 23:15:00 | 5.4567 | 8.585 | 5.2177 | 43.973 | 5.2567 | 10.0484 | 5.2533 | 9.6825 | 6.868 | 970.394 | 99.8115 | 16.7598
2019-11-16 23:30:00 | 4.6907 | 317.816 | 5.2177 | 36.8268 | 7.2913 | 21.5357 | 7.036 | 356.716 | 7.005 | 970.691 | 99.8454 | 19.2871
2019-11-16 23:45:00 | 2.3927 | 337.982 | 3.6837 | 38.3383 | 6.274 | 8.2678 | 6.5267 | 344.616 | 7.07 | 971.434 | 99.7419 | 19.845