## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-17 00:00:00 | 3.6693 | 333.042 | 6.2403 | 24.7763 | 4.748 | 356.04 | 4.2347 | 325.921 | 7.049 | 971.731 | 99.6355 | 25.4649
2019-11-17 00:15:00 | 5.712 | 330.763 | 5.4733 | 5.8991 | 5.2567 | 353.979 | 5.508 | 325.397 | 6.92 | 971.88 | 99.5295 | 30.3399
2019-11-17 00:30:00 | 4.946 | 346.252 | 5.4733 | 32.3803 | 6.7827 | 0.87788 | 6.5267 | 338.302 | 6.931 | 971.88 | 99.5918 | 36.1034
2019-11-17 00:45:00 | 6.7333 | 330.785 | 4.7063 | 62.9644 | 5.2567 | 10.023 | 6.272 | 342.295 | 6.991 | 971.434 | 99.6996 | 51.617
2019-11-17 01:00:00 | 7.7547 | 165.685 | 6.2403 | 48.3811 | 6.7827 | 11.2424 | 6.5267 | 9.5109 | 6.73 | 971.137 | 99.8706 | 42.3444
2019-11-17 01:15:00 | 4.18 | 6.5362 | 4.4507 | 50.4348 | 6.274 | 16.8527 | 6.7813 | 349.15 | 6.936 | 971.88 | 99.9804 | 26.7692
2019-11-17 01:30:00 | 5.2013 | 339.12 | 4.4507 | 44.6778 | 6.274 | 28.388 | 6.5267 | 351.241 | 7.13 | 972.028 | 100 | 20.6468
2019-11-17 01:45:00 | 6.2227 | 18.5103 | 7.7743 | 59.5528 | 7.2913 | 12.2183 | 7.2907 | 22.9976 | 7.155 | 971.286 | 100 | 33.7118
2019-11-17 02:00:00 | 6.2227 | 9.7792 | 8.03 | 55.8678 | 9.0717 | 20.2412 | 7.8 | 7.5112 | 7.354 | 971.286 | 100 | 35.1528
2019-11-17 02:15:00 | 8.2653 | 2.0972 | 8.797 | 48.2793 | 8.3087 | 21.0934 | 8.0547 | 8.1204 | 7.435 | 970.988 | 99.9667 | 34.8793
2019-11-17 02:30:00 | 6.2227 | 20.0926 | 8.03 | 53.4453 | 7.8 | 19.5562 | 7.8 | 19.166 | 7.473 | 971.137 | 99.9958 | 25.3356
2019-11-17 02:45:00 | 5.9673 | 13.0688 | 6.496 | 49.8789 | 7.8 | 14.044 | 7.8 | 17.36 | 7.545 | 971.286 | 99.9868 | 19.1799
2019-11-17 03:00:00 | 5.2013 | 30.8181 | 6.2403 | 65.5789 | 7.5457 | 26.9659 | 7.036 | 32.3542 | 7.606 | 970.84 | 99.9844 | 20.8389
2019-11-17 03:15:00 | 5.712 | 40.5214 | 5.9847 | 66.0896 | 6.0197 | 41.4235 | 6.0173 | 36.3278 | 7.978 | 970.988 | 99.983 | 16.5012
2019-11-17 03:30:00 | 4.18 | 22.8207 | 6.2403 | 53.1433 | 8.563 | 19.2123 | 8.564 | 28.2577 | 8.39 | 970.84 | 99.983 | 19.1393
2019-11-17 03:45:00 | 3.9247 | 27.7213 | 7.0073 | 68.1376 | 7.2913 | 34.9381 | 7.5453 | 39.5217 | 8.5 | 970.642 | 99.983 | 17.2919
2019-11-17 04:00:00 | 4.946 | 43.886 | 5.729 | 87.3987 | 5.0023 | 36.4253 | 4.9987 | 39.7899 | 8.65 | 970.526 | 99.983 | 13.0576
2019-11-17 04:15:00 | 4.6907 | 31.4028 | 5.9847 | 62.0667 | 6.274 | 4.2179 | 6.272 | 41.2528 | 8.72 | 970.319 | 100 | 15.9359
2019-11-17 04:30:00 | 4.4353 | 31.5491 | 5.2177 | 79.1823 | 6.0197 | 33.1583 | 6.5267 | 44.8612 | 8.92 | 970.107 | 99.983 | 15.3262
2019-11-17 04:45:00 | 3.9247 | 41.0578 | 7.263 | 75.6714 | 6.0197 | 11.1909 | 6.0173 | 42.9107 | 9.23 | 970.246 | 100 | 9.2223
2019-11-17 05:00:00 | 4.4353 | 33.8166 | 4.962 | 66.6016 | 3.7307 | 0.048762 | 3.4707 | 52.4925 | 9.55 | 970.395 | 99.983 | 3.196
2019-11-17 05:15:00 | 2.3927 | 53.9307 | 3.1723 | 92.2743 | 4.4937 | 27.5749 | 4.4893 | 58.9044 | 9.51 | 970.098 | 99.0946 | 2.3684
2019-11-17 05:30:00 | 3.414 | 52.3688 | 3.9393 | 81.9095 | 3.7307 | 41.7634 | 3.98 | 54.3924 | 9.78 | 970.098 | 93.8333 | 1.5666
2019-11-17 05:45:00 | 2.648 | 79.0315 | 1.3827 | 91.941 | 3.222 | 63.5519 | 2.9613 | 85.6378 | 10.35 | 970.395 | 87.3353 | 0.47294
2019-11-17 06:00:00 | 1.6267 | 70.791 | 2.1497 | 116.512 | 1.696 | 29.6181 | 1.1787 | 93.2179 | 10.49 | 970.043 | 87.9486 | 0.37687
2019-11-17 06:15:00 | 3.1587 | 73.914 | 2.661 | 103.694 | 1.9503 | 60.7499 | 2.7067 | 89.199 | 10.46 | 970.182 | 86.8593 | 0.16257
2019-11-17 06:30:00 | 0 | 104.222 | 0 | 132.335 | 2.2047 | 91.2548 | 2.7067 | 106.488 | 11.05 | 970.151 | 81.9281 | 0.14779
2019-11-17 06:45:00 | 0 | 144.653 | 0.75133 | 167.524 | 0.933 | 114.552 | 0.616 | 130.906 | 11.41 | 970.455 | 80.2868 | 0.20322
2019-11-17 07:00:00 | 2.648 | 210.898 | 1.6383 | 299.454 | 1.4417 | 285.21 | 1.1787 | 185.842 | 10.79 | 970.742 | 91.1077 | -0.22908
2019-11-17 07:15:00 | 4.4353 | 268.247 | 4.195 | 329.7 | 1.1873 | 299.931 | 0 | 270.148 | 8.75 | 970.601 | 97.1497 | 0.29928
2019-11-17 07:30:00 | 2.9033 | 276.851 | 3.1723 | 332.054 | 2.2047 | 299.375 | 2.1973 | 284.871 | 8.2 | 970.902 | 99.4886 | 4.541
2019-11-17 07:45:00 | 3.414 | 333.639 | 3.6837 | 3.5005 | 4.2393 | 349.339 | 4.2347 | 331.64 | 8.13 | 971.284 | 99.3221 | 7.1458
2019-11-17 08:00:00 | 2.648 | 338.627 | 2.9167 | 6.7459 | 3.4763 | 2.1455 | 3.4707 | 351.403 | 7.994 | 971.583 | 99.7776 | 6.5657
2019-11-17 08:15:00 | 4.18 | 21.1628 | 4.962 | 60.2869 | 3.4763 | 26.039 | 3.216 | 15.994 | 7.94 | 970.989 | 99.9829 | 4.9991
2019-11-17 08:30:00 | 4.18 | 5.7052 | 4.962 | 44.0735 | 4.2393 | 10.045 | 4.2347 | 11.3128 | 7.875 | 970.989 | 99.9829 | 7.8479
2019-11-17 08:45:00 | 4.6907 | 1.1215 | 3.9393 | 47.7794 | 3.7307 | 22.4306 | 4.4893 | 356.72 | 7.95 | 971.614 | 99.9829 | 10.4934
2019-11-17 09:00:00 | 4.18 | 9.8499 | 4.962 | 49.803 | 5.2567 | 13.1902 | 4.744 | 19.3098 | 8.01 | 971.292 | 99.9829 | 8.5462
2019-11-17 09:15:00 | 4.946 | 353.696 | 3.9393 | 27.7381 | 5.511 | 10.0206 | 6.0173 | 349.332 | 8.01 | 971.623 | 99.9829 | 9.2297
2019-11-17 09:30:00 | 3.414 | 4.4861 | 3.9393 | 47.7794 | 4.2393 | 7.9238 | 4.9987 | 0.19505 | 8.08 | 971.688 | 100 | 10.353
2019-11-17 09:45:00 | 4.18 | 341.676 | 4.7063 | 15.6451 | 6.274 | 14.1166 | 6.0173 | 350.844 | 8.09 | 971.68 | 99.9829 | 12.7346
2019-11-17 10:00:00 | 2.3927 | 32.3049 | 2.1497 | 43.5858 | 3.985 | 41.3991 | 3.7253 | 346.845 | 8.17 | 971.934 | 99.9829 | 12.9763
2019-11-17 10:15:00 | 2.9033 | 348.137 | 3.6837 | 51.7779 | 5.2567 | 31.4272 | 5.508 | 345.455 | 8.2 | 972.437 | 99.9829 | 14.6057
2019-11-17 10:30:00 | 3.9247 | 326.194 | 4.4507 | 1.0165 | 4.2393 | 354.769 | 3.98 | 340.847 | 8.16 | 972.697 | 99.9829 | 17.048
2019-11-17 10:45:00 | 4.6907 | 343.773 | 4.7063 | 22.3256 | 4.748 | 0.99962 | 4.4893 | 349.21 | 8.14 | 972.529 | 99.9829 | 15.3964
2019-11-17 11:00:00 | 0.372 | 28.6965 | 3.1723 | 68.7471 | 4.2393 | 39.985 | 2.9613 | 0.24381 | 8.14 | 972.522 | 99.9829 | 15.4962
2019-11-17 11:15:00 | 2.3927 | 327.292 | 3.6837 | 18.4884 | 1.9503 | 14.5555 | 3.216 | 335.532 | 8.04 | 972.787 | 99.9829 | 21.2649
2019-11-17 11:30:00 | 3.6693 | 310.761 | 4.7063 | 10.1988 | 4.2393 | 301.74 | 3.98 | 313.346 | 7.927 | 972.477 | 99.9829 | 28.9396
2019-11-17 11:45:00 | 3.414 | 351.112 | 4.7063 | 3.5765 | 3.7307 | 161.403 | 3.4707 | 311.98 | 7.887 | 972.502 | 99.9829 | 32.7696
2019-11-17 12:00:00 | 5.4567 | 337.58 | 7.7743 | 19.8387 | 7.5457 | 350.21 | 7.036 | 346.528 | 7.877 | 972.069 | 99.9829 | 34.702
2019-11-17 12:15:00 | 6.478 | 288.16 | 3.428 | 9.2723 | 7.2913 | 300.96 | 7.036 | 322.513 | 7.851 | 972.261 | 99.9829 | 30.633
2019-11-17 12:30:00 | 8.01 | 337.434 | 7.263 | 35.9546 | 7.2913 | 9.216 | 8.3093 | 314.004 | 7.75 | 972.768 | 99.9829 | 42.7631
2019-11-17 12:45:00 | 4.6907 | 2.5356 | 4.7063 | 64.3585 | 3.985 | 8.7284 | 2.9613 | 13.0439 | 7.806 | 972.89 | 99.9829 | 34.8413
2019-11-17 13:00:00 | 4.6907 | 20.3094 | 3.9393 | 43.1714 | 7.037 | 340.677 | 7.5453 | 331.875 | 7.874 | 972.964 | 99.9829 | 52.5468
2019-11-17 13:15:00 | 6.2227 | 321.123 | 6.2403 | 16.3672 | 8.0543 | 317.027 | 7.8 | 310.249 | 7.894 | 973.587 | 99.9829 | 55.1714
2019-11-17 13:30:00 | 3.414 | 319.319 | 4.7063 | 334.769 | 6.0197 | 356.89 | 6.272 | 325.634 | 7.711 | 973.388 | 99.9829 | 54.3322
2019-11-17 13:45:00 | 5.9673 | 321.513 | 3.9393 | 20.1069 | 4.2393 | 1.7798 | 3.98 | 334.874 | 7.517 | 973.575 | 99.9829 | 60.3377
2019-11-17 14:00:00 | 9.2867 | 4.1204 | 8.03 | 52.4362 | 10.089 | 355.769 | 10.3467 | 349.917 | 7.203 | 973.043 | 99.9829 | 72.9297
2019-11-17 14:15:00 | 5.2013 | 340.36 | 6.2403 | 4.698 | 6.5283 | 322.074 | 6.7813 | 326.243 | 7.085 | 973.366 | 99.9829 | 54.0962
2019-11-17 14:30:00 | 3.6693 | 285.697 | 4.195 | 157.031 | 6.0197 | 39.7168 | 6.272 | 5.2663 | 6.925 | 973.663 | 99.9829 | 42.9747
2019-11-17 14:45:00 | 2.648 | 349.966 | 2.661 | 26.5679 | 5.7653 | 11.1665 | 6.0173 | 346.041 | 6.979 | 974.406 | 99.9829 | 38.8624
2019-11-17 15:00:00 | 6.9887 | 339.434 | 5.2177 | 5.844 | 3.985 | 339.531 | 5.2533 | 338.166 | 6.921 | 975 | 99.9831 | 41.7738
2019-11-17 15:15:00 | 7.244 | 339.876 | 4.962 | 23.984 | 6.7827 | 342.29 | 6.272 | 338.804 | 6.975 | 975.297 | 99.9841 | 38.0443
2019-11-17 15:30:00 | 5.2013 | 316.726 | 4.4507 | 6.6873 | 3.4763 | 322.431 | 3.7253 | 342.205 | 6.921 | 975.446 | 99.9879 | 39.5829
2019-11-17 15:45:00 | 3.6693 | 343.909 | 3.9393 | 5.3086 | 3.985 | 6.8026 | 3.98 | 352.784 | 6.853 | 975.892 | 99.987 | 32.6994
2019-11-17 16:00:00 | 5.712 | 324.379 | 3.9393 | 11.8076 | 3.985 | 332.791 | 4.2347 | 322.673 | 6.785 | 976.635 | 99.9871 | 30.7728
2019-11-17 16:15:00 | 5.2013 | 331.263 | 4.7063 | 11.8925 | 6.5283 | 319.608 | 6.5267 | 308.733 | 6.922 | 977.526 | 99.9895 | 39.9315
2019-11-17 16:30:00 | 4.4353 | 331.403 | 3.9393 | 18.0118 | 3.985 | 347.617 | 3.98 | 331.598 | 7.504 | 977.823 | 82.6399 | 33.8881
2019-11-17 16:45:00 | 5.9673 | 290.355 | 6.2403 | 325.237 | 5.511 | 270.972 | 6.0173 | 297.498 | 7.249 | 978.418 | 93.3585 | 35.6283
2019-11-17 17:00:00 | 8.2653 | 312.448 | 7.5187 | 13.5633 | 9.326 | 318.08 | 9.328 | 307.523 | 7.748 | 978.418 | 62.1488 | 50.1734
2019-11-17 17:15:00 | 2.3927 | 324.174 | 2.4053 | 8.3457 | 5.7653 | 356.894 | 4.4893 | 338.754 | 8.84 | 977.675 | 68.6366 | 31.1692
2019-11-17 17:30:00 | 3.414 | 347.626 | 4.962 | 30.1763 | 5.2567 | 11.4103 | 5.508 | 348.357 | 9.05 | 977.219 | 64.3333 | 12.8084
2019-11-17 17:45:00 | 3.414 | 287.575 | 2.4053 | 0.031889 | 5.511 | 318.393 | 5.2533 | 306.446 | 9.31 | 977.692 | 60.099 | 13.5859
2019-11-17 18:00:00 | 2.9033 | 310.566 | 5.2177 | 17.4887 | 5.0023 | 317.003 | 5.508 | 316.296 | 9.26 | 977.745 | 61.7723 | 14.1586
2019-11-17 18:15:00 | 2.9033 | 291.647 | 3.9393 | 329.674 | 4.4937 | 286.185 | 4.744 | 287.989 | 9.06 | 977.554 | 64.4016 | 9.5179
2019-11-17 18:30:00 | 2.9033 | 290.696 | 3.9393 | 312.509 | 4.748 | 276.872 | 4.9987 | 282.382 | 8.97 | 977.524 | 66.0407 | 8.657
2019-11-17 18:45:00 | 4.18 | 276.238 | 4.7063 | 309.803 | 5.2567 | 270.85 | 5.2533 | 273.166 | 9.06 | 977.534 | 66.1772 | 16.6785
2019-11-17 19:00:00 | 5.4567 | 276.043 | 6.2403 | 302.172 | 7.037 | 259.073 | 7.036 | 278.286 | 9.12 | 977.525 | 65.1528 | 17.399
2019-11-17 19:15:00 | 4.6907 | 272.654 | 6.496 | 316.776 | 7.2913 | 274.824 | 8.0547 | 285.966 | 9.26 | 977.845 | 61.8405 | 17.7057
2019-11-17 19:30:00 | 4.18 | 285.088 | 4.4507 | 312.631 | 6.7827 | 289.306 | 7.2907 | 285.259 | 9.38 | 978.119 | 59.0063 | 17.7574
2019-11-17 19:45:00 | 1.882 | 279.968 | 3.6837 | 322.944 | 6.274 | 315.564 | 6.272 | 293.938 | 9.34 | 978.416 | 61.26 | 20.7096
2019-11-17 20:00:00 | 4.18 | 270.63 | 4.7063 | 304.561 | 8.3087 | 272.727 | 8.564 | 287.794 | 9.48 | 978.713 | 60.2356 | 33.2979
2019-11-17 20:15:00 | 8.01 | 281.065 | 8.5413 | 327.869 | 7.5457 | 284.381 | 7.8 | 286.039 | 9.23 | 978.861 | 59.2112 | 49.3484
2019-11-17 20:30:00 | 8.5207 | 299.229 | 8.797 | 328.162 | 9.0717 | 316.759 | 9.5827 | 296.937 | 8.69 | 979.307 | 53.7818 | 64.3312
2019-11-17 20:45:00 | 6.478 | 296.498 | 8.2857 | 325.797 | 9.5803 | 290.159 | 10.092 | 297.23 | 8.23 | 979.027 | 50.5378 | 69.1002
2019-11-17 21:00:00 | 9.7973 | 309.445 | 10.8423 | 14.5143 | 12.6323 | 319.1 | 12.1293 | 309.25 | 7.739 | 979.384 | 45.2109 | 68.2639
2019-11-17 21:15:00 | 4.4353 | 349.088 | 5.4733 | 14.865 | 5.2567 | 331.144 | 5.7627 | 329.754 | 7.541 | 979.011 | 39.7473 | 65.3818
2019-11-17 21:30:00 | 10.0527 | 331.968 | 10.0753 | 19.4021 | 9.326 | 349.645 | 9.8373 | 332.187 | 7.263 | 979.012 | 30.5294 | 63.3748
2019-11-17 21:45:00 | 9.0313 | 343.544 | 8.03 | 15.2884 | 5.511 | 348.811 | 6.0173 | 331.399 | 7.042 | 979.012 | 26.2659 | 61.0076
2019-11-17 22:00:00 | 3.414 | 277.014 | 5.729 | 20 | 5.2567 | 344.743 | 5.2533 | 310.11 | 6.52 | 979.012 | 23.9794 | 71.662
2019-11-17 22:15:00 | 7.244 | 316.526 | 6.2403 | 3.1212 | 6.0197 | 356.476 | 5.508 | 311.428 | 6.14 | 979.012 | 21.2468 | 73.2746
2019-11-17 22:30:00 | 5.2013 | 298.039 | 4.962 | 14.8037 | 7.037 | 18.414 | 7.2907 | 326.306 | 5.942 | 979.012 | 21.8617 | 78.2473
2019-11-17 22:45:00 | 6.7333 | 338.769 | 6.7517 | 13.4623 | 5.0023 | 348.037 | 5.7627 | 330.55 | 5.502 | 979.309 | 22.7498 | 74.5494
2019-11-17 23:00:00 | 6.7333 | 299.112 | 9.3083 | 9.0722 | 9.0717 | 342.354 | 9.8373 | 341.062 | 5.007 | 979.458 | 20.9735 | 68.9528
2019-11-17 23:15:00 | 5.712 | 340.574 | 8.03 | 9.3174 | 5.2567 | 326.842 | 4.744 | 325.477 | 4.734 | 979.606 | 22.3399 | 60.7913
2019-11-17 23:30:00 | 7.4993 | 333.696 | 6.496 | 0.31638 | 4.4937 | 333.623 | 4.9987 | 297.478 | 4.406 | 979.276 | 24.3894 | 63.1006
2019-11-17 23:45:00 | 6.9887 | 331.296 | 8.03 | 5.2704 | 4.748 | 345.248 | 4.744 | 319.807 | 4.03 | 979.558 | 25.6905 | 59.1434