## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-18 00:00:00 | 5.712 | 316.902 | 5.729 | 16.2186 | 7.8 | 16.1744 | 6.7813 | 344.615 | 3.628 | 979.311 | 26.2409 | 65.3027
2019-11-18 00:15:00 | 7.244 | 345.832 | 7.263 | 3.1271 | 6.0197 | 328.438 | 6.272 | 316.85 | 3.302 | 979.312 | 27.6757 | 69.5555
2019-11-18 00:30:00 | 6.2227 | 341.12 | 6.7517 | 12.275 | 6.274 | 1.976 | 6.272 | 334.289 | 2.958 | 979.251 | 29.6571 | 64.4714
2019-11-18 00:45:00 | 6.478 | 293.743 | 5.9847 | 2.6407 | 7.8 | 12.1498 | 10.092 | 335.17 | 2.713 | 979.218 | 30.0011 | 65.5909
2019-11-18 01:00:00 | 7.7547 | 345.569 | 8.2857 | 42.6777 | 6.7827 | 11.0522 | 6.5267 | 330.37 | 2.553 | 979.312 | 28.9082 | 63.6553
2019-11-18 01:15:00 | 6.7333 | 329.516 | 5.4733 | 23.7695 | 7.8 | 6.685 | 7.8 | 322.392 | 2.297 | 979.312 | 29.865 | 71.2366
2019-11-18 01:30:00 | 6.9887 | 335.225 | 5.729 | 54.9255 | 10.3433 | 349.449 | 11.1107 | 340.178 | 2.028 | 979.312 | 30.4117 | 70.3066
2019-11-18 01:45:00 | 4.6907 | 334.273 | 5.2177 | 3.2388 | 9.326 | 9.6127 | 8.0547 | 329.223 | 1.75 | 979.163 | 32.1886 | 68.4744
2019-11-18 02:00:00 | 8.01 | 328.498 | 10.0753 | 327.797 | 13.141 | 356.922 | 12.6387 | 340.648 | 1.493 | 978.866 | 34.9571 | 65.6907
2019-11-18 02:15:00 | 5.9673 | 335.788 | 4.962 | 38.9008 | 7.5457 | 41.943 | 7.8 | 348.159 | 1.396 | 979.163 | 38.1373 | 57.0262
2019-11-18 02:30:00 | 6.2227 | 350.049 | 7.5187 | 41.5179 | 11.1063 | 27.55 | 10.856 | 356.589 | 1.241 | 979.342 | 38.2096 | 58.7407
2019-11-18 02:45:00 | 5.9673 | 352.467 | 9.564 | 52.2847 | 12.378 | 5.1248 | 12.1293 | 356.006 | 1.133 | 979.342 | 40.1948 | 62.7976
2019-11-18 03:00:00 | 7.4993 | 347.142 | 8.5413 | 20.3908 | 12.378 | 31.2876 | 12.384 | 345.36 | 0.952 | 979.437 | 34.728 | 65.976
2019-11-18 03:15:00 | 11.074 | 84.225 | 10.331 | 44.505 | 9.0717 | 24.2595 | 9.5827 | 0.3905 | 0.669 | 978.341 | 34.1137 | 68.0952
2019-11-18 03:30:00 | 10.5633 | 352.839 | 7.7743 | 51.0949 | 9.8347 | 25.602 | 10.092 | 340.855 | 0.4 | 979.016 | 28.3712 | 69.2158
2019-11-18 03:45:00 | 6.9887 | 349.666 | 9.3083 | 43.8463 | 10.5977 | 14.9853 | 10.856 | 350.447 | 0.273 | 979.017 | 23.7224 | 62.8789
2019-11-18 04:00:00 | 4.18 | 9.9574 | 4.7063 | 5.4303 | 7.2913 | 322.76 | 7.036 | 11.2509 | 0.055 | 978.719 | 29.9427 | 56.883
2019-11-18 04:15:00 | 5.712 | 336.336 | 4.7063 | 21.7095 | 5.0023 | 46.5663 | 6.5267 | 337.557 | -0.18 | 979.017 | 34.0451 | 45.3527
2019-11-18 04:30:00 | 5.9673 | 338.756 | 5.4733 | 64.7867 | 8.3087 | 16.8646 | 7.8 | 351.35 | -0.358 | 979.165 | 38.0106 | 35.3566
2019-11-18 04:45:00 | 6.7333 | 86.544 | 7.5187 | 22.8571 | 8.8173 | 17.0354 | 10.092 | 0.19525 | -0.618 | 978.719 | 40.1299 | 39.5301
2019-11-18 05:00:00 | 6.7333 | 25.4555 | 7.0073 | 42.9189 | 6.5283 | 16.2056 | 6.7813 | 6.2724 | -0.864 | 979.017 | 41.7706 | 35.0973
2019-11-18 05:15:00 | 9.7973 | 4.3199 | 10.5867 | 42.2355 | 8.3087 | 3.0263 | 7.8 | 13.6674 | -1.094 | 978.719 | 39.4462 | 39.2061
2019-11-18 05:30:00 | 8.2653 | 0.097624 | 9.3083 | 42.1867 | 8.563 | 18.0605 | 7.2907 | 5.467 | -1.46 | 979.017 | 36.8484 | 28.8309
2019-11-18 05:45:00 | 4.6907 | 5.8579 | 6.7517 | 51.198 | 5.511 | 23.4316 | 6.272 | 8.0058 | -1.558 | 979.165 | 36.5094 | 20.6985
2019-11-18 06:00:00 | 7.4993 | 7.9577 | 8.797 | 49.1783 | 7.8 | 32.319 | 7.2907 | 12.0342 | -1.773 | 979.017 | 32.9913 | 22.9819
2019-11-18 06:15:00 | 8.2653 | 11.5949 | 8.797 | 48.4708 | 8.3087 | 20.6755 | 7.036 | 11.0334 | -1.817 | 979.611 | 33.2308 | 20.196
2019-11-18 06:30:00 | 5.4567 | 86.217 | 7.5187 | 44.5895 | 5.511 | 353.192 | 6.0173 | 3.393 | -1.865 | 979.611 | 29.5385 | 21.7922
2019-11-18 06:45:00 | 6.9887 | 8.5924 | 8.2857 | 50.2039 | 8.0543 | 14.6217 | 6.5267 | 19.7235 | -1.987 | 979.314 | 31.3504 | 22.8526
2019-11-18 07:00:00 | 5.2013 | 15.3785 | 4.962 | 40.6351 | 6.0197 | 11.1555 | 6.5267 | 276.348 | -2.043 | 979.611 | 26.5983 | 17.0369
2019-11-18 07:15:00 | 6.478 | 10.9846 | 7.0073 | 49.8621 | 6.274 | 13.6209 | 6.7813 | 15.2076 | -2.026 | 979.76 | 25.5043 | 12.9985
2019-11-18 07:30:00 | 4.4353 | 10.6429 | 6.496 | 43.7596 | 5.7653 | 89.2927 | 4.2347 | 14.4753 | -1.742 | 979.909 | 27.5556 | 10.8702
2019-11-18 07:45:00 | 4.18 | 2.7095 | 4.7063 | 39.0728 | 3.7307 | 9.3247 | 4.744 | 10.7161 | -1.751 | 980.504 | 26.3248 | 5.5312
2019-11-18 08:00:00 | 2.648 | 11.6916 | 5.4733 | 52.2001 | 5.511 | 31.5845 | 5.508 | 13.1805 | -1.658 | 980.801 | 28.7841 | 5.5016
2019-11-18 08:15:00 | 5.2013 | 49.1295 | 5.2177 | 39.014 | 5.7653 | 9.5916 | 6.0173 | 4.2955 | -1.385 | 980.801 | 24.7821 | 5.2984
2019-11-18 08:30:00 | 6.7333 | 7.2486 | 5.9847 | 55.7565 | 5.511 | 18.2802 | 4.9987 | 15.327 | -1.33 | 980.801 | 24.8163 | 6.2997
2019-11-18 08:45:00 | 4.4353 | 9.8112 | 3.6837 | 72.6943 | 3.7307 | 49.642 | 3.4707 | 354.742 | -1.264 | 981.247 | 28.0978 | 2.7711
2019-11-18 09:00:00 | 4.4353 | 4.2955 | 4.7063 | 62.4437 | 4.4937 | 11.6661 | 4.9987 | 7.9076 | -1.192 | 981.693 | 26.2519 | 2.3758
2019-11-18 09:15:00 | 4.18 | 3.6852 | 5.4733 | 74.8383 | 4.4937 | 20.7688 | 4.9987 | 345.601 | -0.762 | 981.482 | 24.4735 | 1.8659
2019-11-18 09:30:00 | 1.3713 | 29.4238 | 3.428 | 59.0979 | 5.0023 | 0.048796 | 5.2533 | 37.4507 | -0.82 | 981.691 | 24.8079 | 1.8659
2019-11-18 09:45:00 | 5.2013 | 18.2983 | 4.7063 | 78.1765 | 4.748 | 41.7445 | 6.272 | 334.884 | -0.479 | 982.136 | 25.9013 | 3.8205
2019-11-18 10:00:00 | 5.4567 | 15.6135 | 4.195 | 45.0889 | 3.985 | 299.194 | 4.9987 | 9.4413 | 0.091 | 982.285 | 22.2094 | 10.4342
2019-11-18 10:15:00 | 1.3713 | 5.195 | 2.9167 | 55.0224 | 4.4937 | 28.7797 | 4.9987 | 2.878 | 0.543 | 982.47 | 23.1599 | 9.1891
2019-11-18 10:30:00 | 2.3927 | 57.559 | 3.1723 | 18.8049 | 5.511 | 273.698 | 5.7627 | 35.6329 | 0.686 | 982.875 | 23.2622 | 6.1852
2019-11-18 10:45:00 | 3.6693 | 27.5597 | 2.661 | 326.618 | 4.748 | 312.131 | 4.2347 | 22.9257 | 0.923 | 982.727 | 22.9203 | 5.8785
2019-11-18 11:00:00 | 3.9247 | 343.239 | 2.4053 | 14.6458 | 3.4763 | 311.3 | 3.216 | 0 | 1.365 | 982.578 | 23.1178 | 8.4981
2019-11-18 11:15:00 | 4.18 | 20.602 | 3.428 | 10.2476 | 2.9677 | 318.466 | 2.9613 | 25.844 | 1.286 | 982.301 | 23.2542 | 8.6533
2019-11-18 11:30:00 | 5.2013 | 317.954 | 5.729 | 333.916 | 5.511 | 288.355 | 5.508 | 311.59 | 1.354 | 982.278 | 20.9322 | 10.5266
2019-11-18 11:45:00 | 3.6693 | 26.356 | 3.428 | 84.1072 | 4.2393 | 320.611 | 3.4707 | 346.553 | 1.501 | 981.98 | 21.5127 | 9.5623
2019-11-18 12:00:00 | 5.9673 | 302.862 | 6.496 | 336.866 | 6.5283 | 293.695 | 6.5267 | 303.447 | 1.513 | 982.129 | 22.3664 | 8.8565
2019-11-18 12:15:00 | 3.9247 | 348.162 | 5.4733 | 9.8087 | 3.222 | 282.918 | 1.9427 | 350.405 | 1.011 | 981.386 | 22.8786 | 4.5373
2019-11-18 12:30:00 | 6.478 | 296.596 | 7.0073 | 326.333 | 8.8173 | 277.432 | 8.3093 | 319.88 | 1.228 | 981.746 | 21.5469 | 4.1161
2019-11-18 12:45:00 | 2.3927 | 302.618 | 3.428 | 313.094 | 1.4417 | 270.581 | 1.1787 | 306.568 | 1.364 | 981.612 | 23.2884 | 3.6542
2019-11-18 13:00:00 | 4.4353 | 292.061 | 3.6837 | 315.289 | 3.222 | 283.747 | 3.216 | 282.552 | 1.925 | 981.954 | 25.2006 | 2.9152
2019-11-18 13:15:00 | 3.414 | 303.837 | 3.1723 | 17.6594 | 3.4763 | 304.837 | 2.7067 | 297.498 | 1.921 | 981.76 | 24.5177 | 4.068
2019-11-18 13:30:00 | 3.9247 | 305.788 | 4.4507 | 17.0255 | 4.748 | 333.192 | 4.744 | 311.322 | 2.29 | 981.724 | 23.7664 | 3.6911
2019-11-18 13:45:00 | 2.9033 | 286.868 | 2.4053 | 14.7337 | 2.9677 | 305.763 | 2.452 | 292.549 | 2.613 | 981.782 | 25.1323 | 2.3536
2019-11-18 14:00:00 | 4.6907 | 333.363 | 5.729 | 5.015 | 3.7307 | 308.177 | 4.2347 | 4.2911 | 2.373 | 981.908 | 23.9713 | 0.81287
2019-11-18 14:15:00 | 2.9033 | 306.763 | 3.6837 | 7.4437 | 1.9503 | 305.154 | 2.1973 | 303.252 | 2.046 | 981.535 | 23.9372 | 0.92371
2019-11-18 14:30:00 | 2.1373 | 319.831 | 2.661 | 330.259 | 2.7133 | 285.795 | 3.216 | 320.416 | 2.27 | 981.389 | 24.9274 | 0.051728
2019-11-18 14:45:00 | 2.3927 | 261.317 | 2.1497 | 312.314 | 3.222 | 268.436 | 3.4707 | 289.989 | 2.631 | 981.656 | 23.9372 | 0.20322
2019-11-18 15:00:00 | 1.3713 | 261.804 | 1.127 | 309.535 | 1.9503 | 262.682 | 1.688 | 267.899 | 3.032 | 981.965 | 24.1079 | -0.25125
2019-11-18 15:15:00 | 2.1373 | 254.392 | 1.894 | 299.246 | 1.1873 | 269.899 | 1.4333 | 259.366 | 2.66 | 981.635 | 24.7226 | -0.25125
2019-11-18 15:30:00 | 1.2547 | 227.573 | 2.661 | 272.866 | 1.9503 | 225.037 | 1.688 | 217.869 | 2.611 | 981.364 | 24.825 | -0.20691
2019-11-18 15:45:00 | 1.3713 | 242.823 | 1.894 | 274.001 | 2.2047 | 236.264 | 2.1973 | 247.187 | 2.439 | 981.389 | 25.0652 | -0.24016
2019-11-18 16:00:00 | 2.648 | 266.262 | 2.4053 | 296.866 | 1.1873 | 252.41 | 1.4333 | 242.216 | 2.503 | 980.795 | 25.822 | -0.24016
2019-11-18 16:15:00 | 1.882 | 198.383 | 1.894 | 223.357 | 1.9503 | 186.579 | 1.9427 | 204.554 | 2.524 | 980.201 | 25.6874 | -0.24016
2019-11-18 16:30:00 | 0 | 200.53 | 0 | 222.992 | 0 | 186.872 | 0 | 205.456 | 2.624 | 979.606 | 24.5944 | -0.24016
2019-11-18 16:45:00 | 0.744 | 178.189 | 0.75133 | 222.87 | 0 | 158.873 | 0 | 194.701 | 2.333 | 979.324 | 26.1998 | -0.25125
2019-11-18 17:00:00 | 0 | 178.184 | 0.75133 | 222.856 | 0 | 158.911 | 0 | 194.773 | 1.789 | 979.309 | 26.5137 | -0.24016
2019-11-18 17:15:00 | 0.744 | 212.796 | 1.6383 | 227.246 | 1.696 | 184.983 | 1.688 | 217.871 | 1.818 | 978.864 | 25.9012 | -0.25864
2019-11-18 17:30:00 | 0.744 | 204.868 | 1.127 | 227.222 | 1.4417 | 176.64 | 1.688 | 205.283 | 1.759 | 979.014 | 24.6028 | -0.25125
2019-11-18 17:45:00 | 2.1373 | 193.71 | 1.894 | 227.201 | 2.2047 | 180.24 | 1.9427 | 197.736 | 1.767 | 978.717 | 25.0864 | -0.26972
2019-11-18 18:00:00 | 2.3927 | 192.075 | 3.1723 | 227.525 | 3.222 | 179.188 | 3.216 | 199.811 | 1.828 | 978.977 | 24.9528 | -0.25864
2019-11-18 18:15:00 | 2.648 | 187.097 | 3.428 | 221.669 | 3.4763 | 176.456 | 3.7253 | 196.542 | 1.746 | 979.242 | 25.705 | -0.27342
2019-11-18 18:30:00 | 2.9033 | 175.48 | 2.661 | 199.508 | 3.4763 | 161.422 | 3.4707 | 184.754 | 1.598 | 979.529 | 27.0381 | -0.11454
2019-11-18 18:45:00 | 2.1373 | 170.476 | 3.6837 | 202.73 | 4.2393 | 172.649 | 4.4893 | 176.31 | 1.48 | 979.299 | 27.0381 | 0.27342
2019-11-18 19:00:00 | 2.648 | 166.401 | 3.6837 | 201.192 | 3.985 | 155.955 | 3.98 | 184.51 | 1.509 | 979.017 | 26.2177 | 2.4275
2019-11-18 19:15:00 | 4.4353 | 164.399 | 5.2177 | 194.334 | 5.0023 | 153.929 | 5.2533 | 168.841 | 1.392 | 979.017 | 26.6279 | 4.0422
2019-11-18 19:30:00 | 4.946 | 161.349 | 6.2403 | 190.82 | 6.0197 | 160.86 | 6.0173 | 173.015 | 1.302 | 979.017 | 28.5079 | 4.286
2019-11-18 19:45:00 | 4.6907 | 160.543 | 5.4733 | 191.308 | 4.748 | 144.679 | 4.744 | 168.988 | 1.314 | 979.017 | 27.0723 | 4.7331
2019-11-18 20:00:00 | 3.1587 | 160.858 | 4.4507 | 187.595 | 5.0023 | 160.37 | 4.9987 | 175.819 | 1.292 | 979.314 | 27.8922 | 5.5755
2019-11-18 20:15:00 | 3.6693 | 170.79 | 3.9393 | 192.671 | 4.4937 | 154.585 | 4.744 | 188.363 | 1.589 | 979.017 | 25.4311 | 3.5692
2019-11-18 20:30:00 | 4.4353 | 185.144 | 4.7063 | 209.368 | 4.748 | 160.25 | 4.4893 | 190.709 | 1.771 | 979.017 | 23.0387 | 3.7318
2019-11-18 20:45:00 | 2.1373 | 169.5 | 4.195 | 202.29 | 5.0023 | 179.97 | 4.9987 | 181.434 | 2.318 | 979.017 | 22.4234 | 4.7109
2019-11-18 21:00:00 | 1.6267 | 152.245 | 2.9167 | 194.969 | 4.748 | 176.31 | 5.2533 | 161.959 | 2.321 | 979.314 | 23.2439 | 8.1804
2019-11-18 21:15:00 | 3.414 | 154.295 | 4.7063 | 188.306 | 5.0023 | 162.471 | 5.2533 | 164.717 | 2.261 | 979.314 | 22.7653 | 11.539
2019-11-18 21:30:00 | 4.4353 | 150.927 | 4.7063 | 188.965 | 5.2567 | 154.149 | 5.2533 | 159.372 | 2.067 | 979.013 | 23.1072 | 15.5812
2019-11-18 21:45:00 | 4.946 | 169.207 | 5.9847 | 202.901 | 6.5283 | 155.467 | 6.7813 | 174.064 | 2.496 | 978.944 | 21.945 | 19.6307
2019-11-18 22:00:00 | 5.712 | 154.699 | 6.2403 | 207.521 | 7.8 | 156.822 | 7.8 | 160.263 | 2.402 | 978.945 | 23.4473 | 24.6853
2019-11-18 22:15:00 | 5.9673 | 159.791 | 6.7517 | 183.009 | 5.7653 | 154.032 | 6.5267 | 162.085 | 2.201 | 978.793 | 22.8309 | 26.5549
2019-11-18 22:30:00 | 6.9887 | 145.169 | 7.7743 | 182.295 | 7.037 | 147.121 | 7.2907 | 160.445 | 2.247 | 978.727 | 22.0099 | 36.0174
2019-11-18 22:45:00 | 8.01 | 157.907 | 8.03 | 186.199 | 8.0543 | 148.048 | 8.0547 | 166.35 | 2.073 | 978.607 | 23.7871 | 36.9817
2019-11-18 23:00:00 | 6.7333 | 152.662 | 7.263 | 188.714 | 8.8173 | 166.034 | 8.8187 | 163.008 | 1.924 | 978.444 | 24.2658 | 40.4622
2019-11-18 23:15:00 | 5.9673 | 139.761 | 5.9847 | 184.943 | 7.037 | 159.552 | 6.7813 | 155.745 | 1.852 | 978.151 | 24.1988 | 41.6889
2019-11-18 23:30:00 | 7.4993 | 151.811 | 8.5413 | 184.741 | 8.8173 | 155.716 | 8.0547 | 158.254 | 1.775 | 978.146 | 22.8992 | 50.4531
2019-11-18 23:45:00 | 9.0313 | 153.16 | 8.797 | 185.482 | 10.852 | 146.669 | 10.3467 | 165.509 | 1.814 | 977.844 | 21.6697 | 57.61