## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-19 00:00:00 | 8.2653 | 140.784 | 9.3083 | 185.6 | 9.0717 | 154.377 | 9.5827 | 153.401 | 1.842 | 977.899 | 21.7377 | 54.935
2019-11-19 00:15:00 | 8.2653 | 157.383 | 9.564 | 175.966 | 10.089 | 151.111 | 10.092 | 160.263 | 2.063 | 977.849 | 22.3535 | 54.2403
2019-11-19 00:30:00 | 9.7973 | 152.598 | 10.331 | 189.849 | 11.1063 | 169.29 | 11.1107 | 162.091 | 2.025 | 977.532 | 22.3531 | 56.5459
2019-11-19 00:45:00 | 9.0313 | 140.41 | 9.0527 | 180.439 | 9.5803 | 152.098 | 11.1107 | 147.926 | 2.214 | 977.677 | 21.5996 | 55.2897
2019-11-19 01:00:00 | 8.5207 | 149.438 | 8.5413 | 191.37 | 10.5977 | 159.467 | 10.3467 | 155.929 | 2.188 | 977.826 | 21.8387 | 53.6676
2019-11-19 01:15:00 | 9.2867 | 158.171 | 9.3083 | 193.416 | 8.563 | 162.075 | 8.8187 | 158.561 | 2.006 | 977.826 | 22.8978 | 55.9732
2019-11-19 01:30:00 | 8.5207 | 145.362 | 7.7743 | 182.414 | 8.8173 | 157.588 | 8.564 | 147.119 | 1.944 | 978.123 | 23.65 | 59.2173
2019-11-19 01:45:00 | 8.776 | 145.678 | 9.0527 | 188.537 | 9.8347 | 169.225 | 9.8373 | 155.048 | 1.759 | 977.974 | 24.9485 | 61.3139
2019-11-19 02:00:00 | 9.0313 | 147.198 | 9.3083 | 190.206 | 10.089 | 156.227 | 10.3467 | 159.595 | 1.655 | 978.131 | 25.5649 | 62.1695
2019-11-19 02:15:00 | 7.7547 | 151.841 | 9.0527 | 178.525 | 10.089 | 167.288 | 9.8373 | 158.576 | 1.643 | 977.99 | 27.9585 | 65.7461
2019-11-19 02:30:00 | 9.542 | 148.11 | 9.3083 | 193.782 | 10.852 | 186.84 | 10.856 | 160.605 | 1.688 | 977.89 | 30.6935 | 64.4603
2019-11-19 02:45:00 | 10.0527 | 155.524 | 10.0753 | 186.6 | 10.5977 | 162.186 | 10.092 | 150.277 | 1.635 | 977.902 | 31.4443 | 70.5346
2019-11-19 03:00:00 | 8.5207 | 156.581 | 7.263 | 201.497 | 7.8 | 157.996 | 7.036 | 147.575 | 1.632 | 977.735 | 32.1295 | 64.1647
2019-11-19 03:15:00 | 9.542 | 154.264 | 9.3083 | 192.299 | 9.5803 | 163.05 | 9.5827 | 152.8 | 1.588 | 977.932 | 32.54 | 64.4418
2019-11-19 03:30:00 | 9.7973 | 152.554 | 10.5867 | 181.216 | 11.8693 | 151.406 | 12.1293 | 161.12 | 1.607 | 977.63 | 35.855 | 65.0182
2019-11-19 03:45:00 | 10.8187 | 148.697 | 11.3537 | 186.341 | 11.3607 | 140.546 | 11.1107 | 155.653 | 1.873 | 977.617 | 36.5728 | 64.7817
2019-11-19 04:00:00 | 10.308 | 142.179 | 8.2857 | 202.787 | 9.5803 | 146.499 | 9.8373 | 153.283 | 1.678 | 977.735 | 36.914 | 61.3455
2019-11-19 04:15:00 | 9.542 | 151.48 | 9.3083 | 185 | 10.852 | 145.037 | 10.6013 | 150.236 | 1.591 | 977.731 | 38.282 | 60.6406
2019-11-19 04:30:00 | 7.7547 | 148.281 | 7.5187 | 187.437 | 9.0717 | 163.168 | 9.5827 | 150.648 | 1.808 | 977.798 | 38.8282 | 58.6113
2019-11-19 04:45:00 | 10.0527 | 153.48 | 9.0527 | 196.736 | 9.0717 | 151.942 | 10.092 | 163.681 | 1.908 | 977.668 | 38.2132 | 55.6871
2019-11-19 05:00:00 | 8.5207 | 155.944 | 9.564 | 186.778 | 9.0717 | 156.041 | 8.8187 | 162.045 | 1.717 | 977.723 | 37.5293 | 53.4681
2019-11-19 05:15:00 | 8.2653 | 154.966 | 8.2857 | 184.262 | 8.3087 | 150.695 | 8.8187 | 159.896 | 1.927 | 977.862 | 39.1012 | 52.7993
2019-11-19 05:30:00 | 7.7547 | 160.329 | 7.7743 | 189.135 | 9.326 | 150.811 | 9.328 | 166.673 | 1.768 | 977.844 | 38.3478 | 46.555
2019-11-19 05:45:00 | 9.7973 | 160.401 | 11.865 | 189.939 | 10.089 | 153.495 | 10.092 | 170.943 | 1.881 | 977.568 | 38.2109 | 55.7794
2019-11-19 06:00:00 | 7.4993 | 138.776 | 7.263 | 191.788 | 7.8 | 154.759 | 8.0547 | 142.753 | 2.589 | 978.144 | 37.7996 | 51.3657
2019-11-19 06:15:00 | 8.2653 | 153.339 | 9.8197 | 195.294 | 9.0717 | 166.906 | 9.328 | 161.465 | 1.666 | 978.123 | 39.7806 | 51.8867
2019-11-19 06:30:00 | 8.01 | 162.077 | 7.263 | 191.93 | 7.2913 | 154.488 | 7.2907 | 167.934 | 1.509 | 978.123 | 39.7129 | 50.394
2019-11-19 06:45:00 | 9.7973 | 153.421 | 9.3083 | 183.105 | 8.3087 | 148.296 | 8.564 | 165.915 | 1.776 | 978.145 | 38.5524 | 51.4655
2019-11-19 07:00:00 | 6.478 | 149.787 | 8.5413 | 201.898 | 10.852 | 156.449 | 10.856 | 160.183 | 2.045 | 978.212 | 38.0744 | 53.4496
2019-11-19 07:15:00 | 9.542 | 142.389 | 9.564 | 193.84 | 10.089 | 162.23 | 10.092 | 153.347 | 1.865 | 978.167 | 38.0736 | 52.755
2019-11-19 07:30:00 | 10.0527 | 151.298 | 9.564 | 184.537 | 8.8173 | 146.615 | 8.8187 | 161.401 | 2.262 | 978.718 | 37.0427 | 50.091
2019-11-19 07:45:00 | 7.4993 | 149.729 | 8.03 | 193.578 | 8.0543 | 158.122 | 8.0547 | 169.15 | 2.532 | 979.312 | 35.8107 | 49.9617
2019-11-19 08:00:00 | 10.0527 | 154.901 | 11.865 | 187.21 | 12.378 | 150.827 | 12.1293 | 161.538 | 2.381 | 979.312 | 37.2459 | 51.6983
2019-11-19 08:15:00 | 9.0313 | 146.077 | 9.564 | 184.43 | 10.089 | 154.64 | 10.6013 | 157.714 | 2.565 | 979.884 | 37.925 | 45.6831
2019-11-19 08:30:00 | 8.01 | 148.936 | 7.5187 | 190.633 | 7.037 | 159.939 | 6.7813 | 157.67 | 2.758 | 980.798 | 37.5162 | 40.1554
2019-11-19 08:45:00 | 7.4993 | 148.924 | 7.7743 | 173.923 | 9.326 | 139.754 | 8.8187 | 153.461 | 2.969 | 980.932 | 36.4821 | 34.7833
2019-11-19 09:00:00 | 6.7333 | 146.093 | 7.5187 | 178.53 | 9.326 | 165.946 | 9.0733 | 150.97 | 3.135 | 981.093 | 36.2084 | 30.2757
2019-11-19 09:15:00 | 7.4993 | 144.02 | 7.263 | 184.895 | 8.8173 | 143.995 | 8.564 | 143.751 | 3.166 | 981.241 | 36.6866 | 22.5275
2019-11-19 09:30:00 | 8.01 | 158.117 | 7.0073 | 199.383 | 7.037 | 167.433 | 7.036 | 168.214 | 3.565 | 981.39 | 36.6183 | 23.0558
2019-11-19 09:45:00 | 8.5207 | 164.848 | 8.2857 | 199.7 | 8.0543 | 169.287 | 7.5453 | 160.312 | 3.595 | 981.538 | 36.4133 | 23.1076
2019-11-19 10:00:00 | 9.7973 | 159.564 | 9.8197 | 195.19 | 8.3087 | 155.637 | 8.564 | 159.71 | 3.468 | 981.538 | 36.8878 | 22.4388
2019-11-19 10:15:00 | 6.2227 | 158.388 | 7.0073 | 195.15 | 7.037 | 164.654 | 7.036 | 170.238 | 3.648 | 981.984 | 36.8126 | 18.2525
2019-11-19 10:30:00 | 6.9887 | 144.604 | 7.263 | 181.144 | 6.274 | 146.116 | 5.7627 | 147.628 | 3.931 | 981.687 | 37.2546 | 16.5086
2019-11-19 10:45:00 | 6.9887 | 151.748 | 6.2403 | 187.483 | 6.0197 | 163.183 | 6.0173 | 150.578 | 4.016 | 981.56 | 37.8351 | 11.6055
2019-11-19 11:00:00 | 5.712 | 143.019 | 6.7517 | 193.627 | 5.2567 | 142.995 | 5.2533 | 150.285 | 4.749 | 981.693 | 37.0838 | 9.7692
2019-11-19 11:15:00 | 5.2013 | 139.215 | 4.962 | 168.269 | 4.748 | 129.121 | 4.9987 | 153.624 | 4.731 | 981.683 | 36.4347 | 6.6544
2019-11-19 11:30:00 | 7.244 | 147.422 | 5.729 | 182.811 | 5.0023 | 145.347 | 4.744 | 155.561 | 5.362 | 981.683 | 35.0324 | 4.4523
2019-11-19 11:45:00 | 4.6907 | 149.27 | 4.4507 | 198.09 | 2.9677 | 162.58 | 2.9613 | 158.924 | 5.936 | 981.494 | 33.9387 | 2.9891
2019-11-19 12:00:00 | 3.1587 | 154.573 | 3.1723 | 193.896 | 2.9677 | 172.706 | 2.9613 | 152.111 | 6.621 | 981.822 | 31.951 | 3.1665
2019-11-19 12:15:00 | 4.6907 | 159.495 | 3.428 | 204.449 | 2.459 | 163.346 | 2.1973 | 153.548 | 6.828 | 981.554 | 31.9509 | 2.095
2019-11-19 12:30:00 | 3.414 | 136.219 | 3.9393 | 172.691 | 3.222 | 162.566 | 3.216 | 147.796 | 7.416 | 981.68 | 32.0191 | 2.9596
2019-11-19 12:45:00 | 2.648 | 139.607 | 2.4053 | 195.114 | 2.7133 | 166.71 | 2.452 | 150.502 | 7.772 | 981.68 | 30.0051 | 2.5125
2019-11-19 13:00:00 | 4.6907 | 163.028 | 3.6837 | 203.765 | 2.9677 | 183.55 | 2.7067 | 156.277 | 8.13 | 982.125 | 29.2198 | 2.4682
2019-11-19 13:15:00 | 3.1587 | 153.531 | 3.428 | 204.642 | 3.222 | 168.275 | 3.216 | 177.511 | 8.75 | 981.977 | 27.3053 | 2.3684
2019-11-19 13:30:00 | 4.6907 | 138.197 | 3.9393 | 196.251 | 2.7133 | 165.417 | 2.9613 | 143.071 | 8.17 | 981.977 | 29.4545 | 2.7379
2019-11-19 13:45:00 | 5.2013 | 143.174 | 4.195 | 164.213 | 3.985 | 156.748 | 3.7253 | 143.004 | 7.823 | 981.977 | 32.4252 | 3.9941
2019-11-19 14:00:00 | 4.4353 | 150.672 | 4.195 | 187.85 | 3.7307 | 128.785 | 3.98 | 151.257 | 7.713 | 981.977 | 32.2921 | 3.6764
2019-11-19 14:15:00 | 4.4353 | 137.292 | 4.4507 | 200.427 | 4.4937 | 168.27 | 4.4893 | 148.479 | 7.776 | 981.977 | 32.4287 | 3.8833
2019-11-19 14:30:00 | 5.4567 | 150.477 | 5.2177 | 179.808 | 3.985 | 140.582 | 3.98 | 162.371 | 8.05 | 981.977 | 34.4769 | 3.2552
2019-11-19 14:45:00 | 4.946 | 167.806 | 4.4507 | 192.677 | 3.985 | 157.74 | 3.4707 | 164.053 | 8.07 | 981.977 | 34.0672 | 3.8426
2019-11-19 15:00:00 | 4.18 | 155.059 | 4.4507 | 189.557 | 4.2393 | 170.341 | 4.2347 | 165.418 | 8.02 | 981.383 | 34.8524 | 3.3956
2019-11-19 15:15:00 | 4.18 | 149.234 | 3.6837 | 186.096 | 3.4763 | 157.692 | 3.4707 | 146.383 | 8.13 | 981.383 | 34.6134 | 3.3956
2019-11-19 15:30:00 | 5.2013 | 155.937 | 4.962 | 188.485 | 3.7307 | 151.794 | 3.4707 | 153.085 | 8.41 | 981.383 | 34.3403 | 3.1332
2019-11-19 15:45:00 | 4.18 | 136.756 | 4.962 | 185.73 | 3.4763 | 178.823 | 3.4707 | 143.312 | 8.15 | 981.383 | 35.2961 | 3.4547
2019-11-19 16:00:00 | 2.9033 | 112.651 | 2.9167 | 167.183 | 3.222 | 134.05 | 3.216 | 131.93 | 8.06 | 981.295 | 34.75 | 4.5151
2019-11-19 16:15:00 | 3.6693 | 134.513 | 3.6837 | 180.1 | 4.2393 | 152.232 | 3.7253 | 139.656 | 7.945 | 980.977 | 36.6615 | 5.0582
2019-11-19 16:30:00 | 3.6693 | 141.911 | 3.6837 | 182.848 | 3.222 | 153.026 | 2.452 | 134.671 | 7.571 | 980.509 | 37.5183 | 5.3538
2019-11-19 16:45:00 | 4.4353 | 133.74 | 4.4507 | 167.373 | 4.2393 | 142.565 | 4.2347 | 135.959 | 7.451 | 980.487 | 38.1725 | 4.1752
2019-11-19 17:00:00 | 3.6693 | 134.852 | 4.195 | 173.537 | 4.4937 | 144.775 | 4.4893 | 139.728 | 7.388 | 980.198 | 38.3131 | 5.5607
2019-11-19 17:15:00 | 4.18 | 139.777 | 4.195 | 172.757 | 5.511 | 132.731 | 5.2533 | 146.92 | 7.189 | 980.162 | 39.0644 | 8.5979
2019-11-19 17:30:00 | 4.6907 | 137.179 | 5.2177 | 168.408 | 5.0023 | 154.954 | 4.9987 | 142.592 | 7.128 | 980.201 | 39.2041 | 9.9059
2019-11-19 17:45:00 | 4.4353 | 145.771 | 4.962 | 181.499 | 6.0197 | 143.893 | 6.0173 | 147.356 | 6.91 | 980.201 | 40.3746 | 13.3421
2019-11-19 18:00:00 | 4.946 | 130.483 | 4.962 | 180.53 | 6.5283 | 129.996 | 6.5267 | 140.678 | 6.936 | 980.201 | 40.0342 | 15.389
2019-11-19 18:15:00 | 5.712 | 135.044 | 5.729 | 171.359 | 5.511 | 140.873 | 5.508 | 135.898 | 7.028 | 980.201 | 39.0094 | 14.8274
2019-11-19 18:30:00 | 5.2013 | 137.971 | 5.4733 | 178.871 | 5.511 | 145.532 | 5.2533 | 139.068 | 7.273 | 980.201 | 38.2921 | 15.7068
2019-11-19 18:45:00 | 5.712 | 137.922 | 6.496 | 181.92 | 5.7653 | 148.361 | 6.272 | 135.654 | 7.341 | 980.201 | 38.8044 | 18.0308
2019-11-19 19:00:00 | 5.2013 | 135.556 | 5.4733 | 173.408 | 5.7653 | 150.141 | 6.272 | 139.434 | 7.287 | 980.201 | 38.6678 | 23.2369
2019-11-19 19:15:00 | 6.2227 | 119.801 | 6.496 | 189.456 | 6.0197 | 122.971 | 6.0173 | 125.703 | 7.186 | 980.201 | 38.8386 | 30.6229
2019-11-19 19:30:00 | 4.18 | 133.069 | 5.729 | 182.456 | 7.5457 | 137.459 | 7.8 | 140.605 | 7.065 | 980.201 | 39.0777 | 33.2906
2019-11-19 19:45:00 | 6.7333 | 137.483 | 6.7517 | 174.506 | 6.7827 | 139.142 | 7.036 | 134.093 | 7.224 | 980.201 | 38.1213 | 33.9113
2019-11-19 20:00:00 | 5.2013 | 124.313 | 6.496 | 161.043 | 7.037 | 142.385 | 7.2907 | 137.8 | 7.304 | 980.498 | 38.5995 | 38.4929
2019-11-19 20:15:00 | 5.9673 | 132.093 | 6.2403 | 174.457 | 6.7827 | 143.849 | 7.2907 | 134.142 | 7.202 | 980.201 | 39.351 | 40.9019
2019-11-19 20:30:00 | 4.6907 | 130.044 | 7.7743 | 167.506 | 8.563 | 152.995 | 8.8187 | 137.532 | 7.204 | 980.349 | 40.3074 | 41.2456
2019-11-19 20:45:00 | 5.2013 | 149.556 | 5.9847 | 160.823 | 7.037 | 143.263 | 6.5267 | 152.312 | 7.114 | 980.795 | 41.4688 | 44.9552
2019-11-19 21:00:00 | 6.2227 | 151.824 | 6.2403 | 181.139 | 8.8173 | 140.312 | 8.564 | 149.361 | 6.95 | 980.646 | 42.2203 | 45.3616
2019-11-19 21:15:00 | 5.2013 | 140.946 | 6.2403 | 174.237 | 7.037 | 145.897 | 8.0547 | 147.019 | 6.861 | 980.795 | 42.6985 | 47.2275
2019-11-19 21:30:00 | 8.2653 | 135.995 | 8.2857 | 185.237 | 7.8 | 152.824 | 7.8 | 137.386 | 6.794 | 980.498 | 42.6985 | 49.4518
2019-11-19 21:45:00 | 5.2013 | 135.483 | 7.7743 | 186.432 | 9.8347 | 167.775 | 9.5827 | 137.703 | 6.631 | 980.498 | 43.1426 | 48.4357
2019-11-19 22:00:00 | 5.4567 | 124.337 | 8.797 | 190.481 | 9.326 | 159.141 | 9.5827 | 138.825 | 6.659 | 980.498 | 43.655 | 48.6147
2019-11-19 22:15:00 | 8.5207 | 133.508 | 9.3083 | 171.237 | 8.8173 | 136.142 | 8.564 | 149.166 | 6.683 | 980.498 | 43.9283 | 48.2177
2019-11-19 22:30:00 | 6.478 | 124.069 | 5.9847 | 164.994 | 9.0717 | 152.702 | 8.8187 | 154.678 | 6.573 | 980.795 | 43.7916 | 51.7943
2019-11-19 22:45:00 | 7.7547 | 139.117 | 7.5187 | 191.212 | 8.3087 | 147.019 | 8.564 | 128.581 | 6.497 | 980.646 | 44.8847 | 52.1121
2019-11-19 23:00:00 | 6.7333 | 156.995 | 7.5187 | 181.578 | 7.2913 | 147.166 | 7.2907 | 161.458 | 6.225 | 980.498 | 44.953 | 46.1486
2019-11-19 23:15:00 | 4.4353 | 138.776 | 5.4733 | 199.212 | 9.5803 | 160.824 | 9.328 | 152.556 | 6.14 | 980.795 | 45.2605 | 46.6881
2019-11-19 23:30:00 | 5.9673 | 163.921 | 8.03 | 191.846 | 7.8 | 164.555 | 8.3093 | 157.531 | 6.14 | 980.795 | 44.3382 | 52.6295
2019-11-19 23:45:00 | 7.244 | 135.654 | 8.03 | 187.676 | 7.8 | 171.384 | 7.036 | 144.385 | 6.238 | 980.498 | 43.3817 | 59.0252