## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-20 00:00:00 | 7.4993 | 151.897 | 8.797 | 190.651 | 8.3087 | 152.751 | 8.564 | 156.141 | 6.111 | 980.498 | 44.0649 | 58.2271
2019-11-20 00:15:00 | 8.5207 | 158.775 | 9.3083 | 199.261 | 9.326 | 137.873 | 9.328 | 157.897 | 5.956 | 980.201 | 44.1674 | 58.5633
2019-11-20 00:30:00 | 5.712 | 158.165 | 8.03 | 191.432 | 9.326 | 150.531 | 9.0733 | 164.238 | 5.854 | 980.498 | 44.953 | 61.9441
2019-11-20 00:45:00 | 6.478 | 153.653 | 5.2177 | 177.603 | 8.8173 | 134.703 | 8.8187 | 156.726 | 5.542 | 980.498 | 44.8847 | 58.6631
2019-11-20 01:00:00 | 5.2013 | 139.215 | 5.729 | 195.724 | 6.7827 | 179.701 | 7.036 | 146.727 | 5.508 | 980.349 | 44.8847 | 53.5124
2019-11-20 01:15:00 | 7.4993 | 153.8 | 7.5187 | 182.432 | 8.0543 | 150.702 | 8.3093 | 158.068 | 5.576 | 980.201 | 44.5431 | 54.196
2019-11-20 01:30:00 | 5.712 | 170.701 | 7.5187 | 193.31 | 9.8347 | 156.287 | 9.8373 | 161.994 | 5.494 | 980.201 | 43.9283 | 53.0543
2019-11-20 01:45:00 | 5.2013 | 157.165 | 3.9393 | 208.895 | 4.748 | 139.556 | 4.9987 | 153.165 | 5.391 | 980.201 | 43.5184 | 52.5001
2019-11-20 02:00:00 | 5.712 | 137.068 | 5.9847 | 165.408 | 8.8173 | 151.263 | 9.328 | 153.97 | 5.307 | 980.205 | 42.7327 | 49.1377
2019-11-20 02:15:00 | 6.2227 | 155.653 | 6.496 | 189.944 | 5.511 | 161.043 | 5.7627 | 153.97 | 5.37 | 980.237 | 42.6302 | 47.1019
2019-11-20 02:30:00 | 5.4567 | 142.507 | 4.7063 | 186.286 | 8.0543 | 132.02 | 7.8 | 151.97 | 5.237 | 980.25 | 43.5867 | 52.9878
2019-11-20 02:45:00 | 8.2653 | 153.312 | 7.0073 | 177.579 | 7.8 | 163.751 | 8.0547 | 159.604 | 5.159 | 980.271 | 43.3134 | 54.0999
2019-11-20 03:00:00 | 6.9887 | 164.336 | 6.496 | 191.92 | 7.2913 | 154.873 | 7.2907 | 165.19 | 5.087 | 980.328 | 43.3818 | 52.7883
2019-11-20 03:15:00 | 6.9887 | 166.776 | 7.0073 | 176.995 | 9.0717 | 153.289 | 9.5827 | 169.313 | 5.07 | 980.022 | 43.1771 | 61.4638
2019-11-20 03:30:00 | 5.9673 | 145.122 | 4.962 | 189 | 5.0023 | 145.683 | 4.4893 | 145.317 | 4.902 | 980.069 | 43.2466 | 61.7113
2019-11-20 03:45:00 | 7.244 | 138.181 | 8.797 | 180.283 | 8.563 | 157.743 | 8.8187 | 147.498 | 4.584 | 979.855 | 44.4795 | 59.6754
2019-11-20 04:00:00 | 8.01 | 154.026 | 8.797 | 187.303 | 10.089 | 155.026 | 10.092 | 150.001 | 4.535 | 979.604 | 41.8189 | 57.3366
2019-11-20 04:15:00 | 8.5207 | 147.323 | 7.263 | 187.409 | 10.3433 | 170.62 | 9.8373 | 152.056 | 4.625 | 979.751 | 42.0596 | 64.8187
2019-11-20 04:30:00 | 4.6907 | 138.668 | 7.7743 | 178.39 | 9.326 | 169.334 | 9.328 | 147.744 | 4.83 | 979.757 | 40.4554 | 62.0139
2019-11-20 04:45:00 | 5.2013 | 148.128 | 6.2403 | 190.945 | 6.274 | 162.569 | 6.7813 | 171.083 | 4.814 | 979.906 | 40.112 | 68.9754
2019-11-20 05:00:00 | 6.478 | 143.762 | 7.263 | 197.51 | 8.8173 | 161.839 | 8.8187 | 154.594 | 4.624 | 979.609 | 39.224 | 64.9886
2019-11-20 05:15:00 | 6.9887 | 137.665 | 7.5187 | 172.14 | 7.5457 | 150.619 | 8.564 | 157.791 | 4.677 | 979.608 | 38.8144 | 59.4242
2019-11-20 05:30:00 | 7.7547 | 144.886 | 7.0073 | 156.673 | 6.274 | 146.057 | 6.5267 | 162.914 | 4.738 | 979.733 | 36.6276 | 62.4133
2019-11-20 05:45:00 | 6.9887 | 142.597 | 8.2857 | 187.076 | 9.0717 | 150.037 | 9.0733 | 149.647 | 4.867 | 980.203 | 37.2095 | 59.7198
2019-11-20 06:00:00 | 8.2653 | 140.006 | 8.5413 | 164.284 | 7.2913 | 161.084 | 7.5453 | 150.179 | 4.658 | 980.203 | 36.6958 | 57.6137
2019-11-20 06:15:00 | 10.8187 | 153.122 | 9.8197 | 180.593 | 9.5803 | 146.682 | 9.5827 | 157.855 | 4.7 | 979.906 | 36.1471 | 63.8358
2019-11-20 06:30:00 | 9.0313 | 155.147 | 9.564 | 177.642 | 11.1063 | 157.953 | 10.856 | 151.83 | 4.862 | 979.886 | 36.2839 | 69.1823
2019-11-20 06:45:00 | 6.9887 | 135.56 | 7.263 | 186.841 | 8.0543 | 166.297 | 9.0733 | 141.488 | 4.563 | 980.197 | 37.9242 | 66.9173
2019-11-20 07:00:00 | 6.9887 | 153.264 | 9.0527 | 195.517 | 9.0717 | 147.02 | 9.5827 | 150.557 | 4.65 | 980.324 | 37.786 | 71.0408
2019-11-20 07:15:00 | 7.7547 | 135.87 | 8.5413 | 170.413 | 10.5977 | 168.825 | 10.3467 | 146.847 | 4.552 | 980.491 | 39.7328 | 64.5266
2019-11-20 07:30:00 | 7.244 | 149.417 | 7.7743 | 169.539 | 6.5283 | 128.416 | 6.272 | 152.295 | 4.292 | 980.633 | 41.2659 | 66.3964
2019-11-20 07:45:00 | 6.2227 | 154.804 | 7.5187 | 180.048 | 9.0717 | 169.877 | 9.8373 | 155.072 | 4.272 | 980.881 | 41.0601 | 61.4416
2019-11-20 08:00:00 | 9.2867 | 146.003 | 9.564 | 178.297 | 10.3433 | 170.126 | 10.6013 | 150.296 | 4.336 | 980.418 | 40.7538 | 62.9047
2019-11-20 08:15:00 | 9.0313 | 139.312 | 6.7517 | 199.261 | 7.037 | 164.507 | 6.7813 | 170.726 | 4.494 | 980.775 | 39.8976 | 61.8776
2019-11-20 08:30:00 | 6.478 | 183.286 | 8.03 | 207.187 | 9.326 | 153.458 | 9.8373 | 156.507 | 4.726 | 981.115 | 39.8292 | 63.1535
2019-11-20 08:45:00 | 5.9673 | 151.092 | 8.03 | 202.724 | 9.8347 | 149.995 | 9.8373 | 142.288 | 4.887 | 981.687 | 39.4876 | 56.3205
2019-11-20 09:00:00 | 6.9887 | 153.58 | 9.3083 | 191.359 | 9.5803 | 163.775 | 9.5827 | 154.873 | 5.082 | 981.984 | 39.4193 | 57.7853
2019-11-20 09:15:00 | 7.4993 | 145.605 | 9.0527 | 179.14 | 9.5803 | 154.531 | 9.8373 | 146.166 | 5.079 | 981.835 | 40.1025 | 56.4646
2019-11-20 09:30:00 | 5.4567 | 145.605 | 6.7517 | 177.92 | 8.563 | 125.288 | 9.0733 | 147.702 | 4.988 | 981.687 | 40.5807 | 54.8389
2019-11-20 09:45:00 | 9.0313 | 162.897 | 8.03 | 186.773 | 7.8 | 184.091 | 8.3093 | 162.775 | 5.547 | 982.132 | 38.7361 | 55.1419
2019-11-20 10:00:00 | 8.776 | 130.105 | 9.3083 | 190.875 | 8.3087 | 164.101 | 8.0547 | 131.666 | 5.795 | 982.281 | 39.7572 | 63.5292
2019-11-20 10:15:00 | 10.8187 | 174.471 | 8.03 | 206.671 | 8.8173 | 180.542 | 8.8187 | 160.501 | 5.905 | 981.835 | 40.4987 | 58.4746
2019-11-20 10:30:00 | 7.7547 | 169.058 | 7.5187 | 199.576 | 6.274 | 162.793 | 6.7813 | 164.45 | 6.32 | 982.33 | 40.9083 | 49.8529
2019-11-20 10:45:00 | 4.6907 | 125.88 | 3.9393 | 207.695 | 6.5283 | 197.511 | 6.272 | 152.967 | 7.008 | 981.991 | 39.0985 | 47.3835
2019-11-20 11:00:00 | 11.074 | 152.748 | 8.2857 | 188.556 | 5.7653 | 150.943 | 6.0173 | 165.401 | 7.536 | 981.683 | 37.7668 | 44.7815
2019-11-20 11:15:00 | 5.712 | 149.299 | 6.496 | 188.785 | 6.274 | 165.95 | 4.9987 | 167.511 | 7.721 | 981.98 | 37.9349 | 47.8889
2019-11-20 11:30:00 | 6.478 | 156.132 | 6.7517 | 205.728 | 7.2913 | 167.467 | 7.2907 | 157.741 | 7.761 | 981.51 | 39.2621 | 46.2521
2019-11-20 11:45:00 | 8.2653 | 161.884 | 8.5413 | 210.055 | 8.0543 | 162.908 | 8.564 | 159.569 | 7.941 | 980.86 | 38.3002 | 44.5044
2019-11-20 12:00:00 | 8.01 | 131.345 | 10.5867 | 183.805 | 10.5977 | 166.734 | 9.8373 | 158.764 | 7.794 | 980.808 | 39.3241 | 42.4336
2019-11-20 12:15:00 | 6.478 | 145.481 | 6.2403 | 192.384 | 6.0197 | 157.741 | 6.5267 | 164.102 | 7.729 | 980.863 | 39.1876 | 35.7772
2019-11-20 12:30:00 | 8.01 | 141.386 | 9.8197 | 180.222 | 9.5803 | 148.333 | 9.5827 | 143.361 | 8.42 | 980.854 | 37.6856 | 43.4688
2019-11-20 12:45:00 | 6.9887 | 151.257 | 7.0073 | 186.827 | 9.8347 | 159.032 | 11.1107 | 142.044 | 8.84 | 980.843 | 38.5049 | 52.1247
2019-11-20 13:00:00 | 10.0527 | 145.14 | 10.0753 | 183.269 | 10.852 | 147.187 | 10.3467 | 150.965 | 9.24 | 980.646 | 37.2077 | 50.0224
2019-11-20 13:15:00 | 11.84 | 147.601 | 11.3537 | 184.073 | 10.5977 | 150.088 | 10.3467 | 152.257 | 9.08 | 979.925 | 37.9587 | 44.9228
2019-11-20 13:30:00 | 9.0313 | 144.872 | 9.0527 | 178.297 | 10.3433 | 145.091 | 10.092 | 157.326 | 9.14 | 979.974 | 36.525 | 43.9724
2019-11-20 13:45:00 | 7.7547 | 149.844 | 8.797 | 175.323 | 7.5457 | 149.429 | 6.7813 | 150.892 | 9.38 | 980.255 | 35.774 | 44.78
2019-11-20 14:00:00 | 8.01 | 141.021 | 8.5413 | 178.711 | 9.326 | 155.06 | 9.328 | 142.703 | 9.54 | 980.243 | 35.0231 | 42.6902
2019-11-20 14:15:00 | 11.074 | 143.409 | 10.8423 | 177.322 | 9.0717 | 142.654 | 8.8187 | 150.307 | 9.75 | 979.656 | 34.6134 | 40.3329
2019-11-20 14:30:00 | 9.2867 | 147.455 | 9.8197 | 184.488 | 8.563 | 147.748 | 8.8187 | 156.79 | 9.78 | 979.544 | 34.2721 | 38.4523
2019-11-20 14:45:00 | 8.01 | 142.142 | 8.5413 | 172.594 | 9.0717 | 144.457 | 9.328 | 152.232 | 10.05 | 979.646 | 33.248 | 38.9843
2019-11-20 15:00:00 | 2.3927 | 122.254 | 5.2177 | 207.52 | 8.8173 | 165.077 | 8.8187 | 135.732 | 10.2 | 979.629 | 32.497 | 42.8196
2019-11-20 15:15:00 | 8.776 | 150.259 | 9.564 | 186.829 | 9.8347 | 169.172 | 9.328 | 157.912 | 10.25 | 979.609 | 33.453 | 46.8617
2019-11-20 15:30:00 | 8.2653 | 172.413 | 9.0527 | 198.868 | 8.0543 | 157.668 | 7.8 | 137.341 | 10.16 | 979.676 | 33.1115 | 41.0423
2019-11-20 15:45:00 | 8.01 | 137.026 | 9.3083 | 186.976 | 7.8 | 137.196 | 7.8 | 144.191 | 10.06 | 979.624 | 33.3167 | 46.3888
2019-11-20 16:00:00 | 8.776 | 164.303 | 7.5187 | 219.204 | 7.2913 | 136.81 | 7.8 | 151.02 | 10.04 | 979.703 | 32.2935 | 52.9603
2019-11-20 16:15:00 | 6.478 | 158.834 | 5.2177 | 192.193 | 5.7653 | 129.973 | 6.7813 | 143.087 | 9.99 | 979.687 | 32.5696 | 56.6005
2019-11-20 16:30:00 | 5.9673 | 136.659 | 7.7743 | 189.912 | 7.5457 | 166.472 | 7.2907 | 142.314 | 9.86 | 979.64 | 32.6395 | 55.0401
2019-11-20 16:45:00 | 8.5207 | 149.14 | 7.5187 | 190.327 | 7.2913 | 158.988 | 7.8 | 160.792 | 9.86 | 979.244 | 31.8201 | 60.1262
2019-11-20 17:00:00 | 6.9887 | 136.414 | 9.3083 | 177.917 | 9.326 | 154.111 | 8.8187 | 131.416 | 9.98 | 979.428 | 31.8881 | 60.625
2019-11-20 17:15:00 | 12.8613 | 149.162 | 12.1207 | 180.086 | 12.1237 | 148.334 | 11.8747 | 146.359 | 10.04 | 979.289 | 31.2052 | 60.1521
2019-11-20 17:30:00 | 8.2653 | 145.14 | 9.3083 | 181.012 | 9.8347 | 166.299 | 10.3467 | 144.141 | 9.92 | 979.585 | 31.888 | 63.621
2019-11-20 17:45:00 | 11.074 | 154.525 | 9.3083 | 194.444 | 9.0717 | 192.456 | 9.8373 | 167.226 | 9.84 | 979.556 | 33.1854 | 62.4783
2019-11-20 18:00:00 | 5.9673 | 196.502 | 5.2177 | 199.636 | 5.2567 | 151.673 | 6.272 | 198.16 | 9.79 | 979.881 | 34.0731 | 53.5014
2019-11-20 18:15:00 | 9.542 | 168.518 | 9.3083 | 204 | 8.8173 | 142.727 | 8.3093 | 174.539 | 9.78 | 979.892 | 35.0291 | 45.6647
2019-11-20 18:30:00 | 11.5847 | 148.87 | 10.8423 | 184.45 | 11.615 | 149.358 | 11.62 | 153.16 | 9.7 | 979.752 | 35.507 | 58.1051
2019-11-20 18:45:00 | 7.4993 | 138.928 | 7.7743 | 172.633 | 7.5457 | 169.303 | 6.272 | 147.266 | 9.78 | 979.901 | 35.5764 | 70.0173
2019-11-20 19:00:00 | 9.542 | 150.024 | 5.9847 | 217.64 | 8.3087 | 167.601 | 9.328 | 149.366 | 9.75 | 979.898 | 36.6699 | 79.3357
2019-11-20 19:15:00 | 13.8827 | 153.014 | 13.6547 | 194.664 | 12.378 | 168.64 | 12.6387 | 154.428 | 9.67 | 978.86 | 37.5556 | 86.8289
2019-11-20 19:30:00 | 13.6273 | 143.512 | 13.399 | 181.971 | 12.1237 | 153.776 | 11.62 | 146.243 | 9.51 | 979.158 | 37.7618 | 84.7384
2019-11-20 19:45:00 | 10.308 | 158.149 | 12.1207 | 177.473 | 11.1063 | 147.642 | 10.856 | 153.2 | 9.54 | 979.604 | 38.652 | 79.7474
2019-11-20 20:00:00 | 11.074 | 142.131 | 11.3537 | 178.496 | 11.8693 | 141.156 | 11.62 | 148.08 | 9.45 | 979.604 | 40.0175 | 74.0521
2019-11-20 20:15:00 | 10.0527 | 149.594 | 10.0753 | 192.031 | 13.3953 | 146.937 | 12.8933 | 150.131 | 9.58 | 979.596 | 37.4233 | 77.0523
2019-11-20 20:30:00 | 9.7973 | 146.422 | 12.1207 | 176.131 | 12.1237 | 154.321 | 12.1293 | 150.907 | 9.64 | 979.901 | 38.2419 | 80.8748
2019-11-20 20:45:00 | 8.01 | 138.204 | 8.5413 | 187.148 | 10.5977 | 156.659 | 12.6387 | 156.439 | 9.35 | 980.198 | 38.9926 | 73.5459
2019-11-20 21:00:00 | 11.5847 | 155.059 | 9.3083 | 177.31 | 7.2913 | 129.021 | 7.036 | 166.299 | 9.34 | 980.198 | 38.7218 | 61.6965
2019-11-20 21:15:00 | 13.6273 | 171.614 | 10.8423 | 205.738 | 11.1063 | 146.794 | 10.3467 | 166.25 | 9.46 | 980.495 | 38.7218 | 54.946
2019-11-20 21:30:00 | 8.776 | 148.936 | 8.5413 | 187.252 | 9.8347 | 149.253 | 9.8373 | 151.301 | 9.5 | 980.792 | 39.472 | 45.8863
2019-11-20 21:45:00 | 9.542 | 142.503 | 8.797 | 171.434 | 9.8347 | 133.068 | 9.5827 | 144.405 | 9.34 | 980.495 | 38.4144 | 42.9784
2019-11-20 22:00:00 | 11.3293 | 149.694 | 10.8423 | 186.597 | 10.5977 | 143.94 | 10.3467 | 151.985 | 9.58 | 980.495 | 39.7456 | 37.1294
2019-11-20 22:15:00 | 6.7333 | 138.994 | 7.0073 | 172.9 | 7.037 | 142.456 | 7.2907 | 148.161 | 9.22 | 980.792 | 40.771 | 31.0847
2019-11-20 22:30:00 | 5.2013 | 158.94 | 7.0073 | 180.632 | 7.037 | 128.805 | 7.036 | 160.013 | 9.47 | 980.792 | 39.4058 | 27.5525
2019-11-20 22:45:00 | 6.9887 | 157.306 | 7.263 | 191.48 | 7.037 | 152.99 | 7.5453 | 149.211 | 9.51 | 980.643 | 39.7469 | 30.113
2019-11-20 23:00:00 | 6.478 | 139.142 | 7.0073 | 188.895 | 9.8347 | 147.041 | 9.8373 | 150.917 | 9.31 | 980.792 | 40.8055 | 48.5983
2019-11-20 23:15:00 | 8.2653 | 171.374 | 8.5413 | 174.243 | 8.563 | 157.062 | 8.564 | 156.355 | 9.11 | 980.643 | 41.8643 | 54.4103
2019-11-20 23:30:00 | 6.478 | 148.188 | 8.797 | 178.364 | 7.5457 | 145.019 | 8.3093 | 148.115 | 8.84 | 980.495 | 42.4108 | 50.8559
2019-11-20 23:45:00 | 7.7547 | 133.072 | 8.03 | 168.758 | 8.563 | 137.119 | 8.564 | 134.657 | 8.99 | 980.198 | 41.7278 | 48.9382