## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-21 00:00:00 | 8.2653 | 146.969 | 8.797 | 180.607 | 9.5803 | 150.334 | 9.8373 | 146.945 | 9.04 | 980.198 | 40.9766 | 50.8485
2019-11-21 00:15:00 | 4.18 | 139.411 | 9.0527 | 180.022 | 8.563 | 150.504 | 8.3093 | 143.921 | 8.97 | 980.792 | 42.2742 | 48.8819
2019-11-21 00:30:00 | 8.776 | 147.627 | 9.3083 | 184.679 | 9.5803 | 162.037 | 9.0733 | 148.286 | 8.8 | 980.792 | 42.7523 | 47.7854
2019-11-21 00:45:00 | 6.7333 | 155.868 | 8.03 | 166.076 | 8.3087 | 145.921 | 8.0547 | 153.625 | 8.46 | 980.792 | 44.084 | 60.6361
2019-11-21 01:00:00 | 8.5207 | 139.972 | 8.03 | 176.341 | 6.7827 | 132.755 | 6.7813 | 146.262 | 9.14 | 980.198 | 42.684 | 48.5153
2019-11-21 01:15:00 | 8.2653 | 139.728 | 10.8423 | 167.198 | 10.5977 | 137.826 | 10.856 | 141.02 | 9.53 | 980.495 | 42.2742 | 72.3746
2019-11-21 01:30:00 | 11.3293 | 133.243 | 11.098 | 168.271 | 10.852 | 130.878 | 10.6013 | 137.948 | 9.46 | 980.198 | 37.4936 | 66.0195
2019-11-21 01:45:00 | 10.0527 | 137.899 | 9.8197 | 175.024 | 10.3433 | 130.877 | 9.8373 | 144.165 | 9.41 | 980.198 | 37.152 | 67.4494
2019-11-21 02:00:00 | 9.542 | 136.776 | 9.3083 | 170.267 | 8.8173 | 137.361 | 8.8187 | 144.651 | 9.45 | 980.198 | 36.9467 | 62.9047
2019-11-21 02:15:00 | 6.9887 | 140.532 | 7.263 | 168.88 | 7.5457 | 146.018 | 7.036 | 151.455 | 9.26 | 980.198 | 38.5179 | 76.9119
2019-11-21 02:30:00 | 10.5633 | 123.295 | 12.3763 | 187.044 | 8.563 | 143.214 | 8.564 | 131.39 | 9.07 | 979.901 | 36.3667 | 74.0307
2019-11-21 02:45:00 | 9.0313 | 113.177 | 9.3083 | 169.368 | 10.852 | 133.901 | 10.856 | 134.364 | 9.35 | 979.901 | 36.1277 | 69.2968
2019-11-21 03:00:00 | 7.244 | 137.973 | 10.0753 | 182.972 | 6.0197 | 139.387 | 6.272 | 125.099 | 9.28 | 979.752 | 35.7862 | 69.7661
2019-11-21 03:15:00 | 6.2227 | 117.492 | 6.7517 | 129.456 | 8.0543 | 123.124 | 8.3093 | 117.663 | 9.05 | 979.01 | 38.0399 | 57.9647
2019-11-21 03:30:00 | 7.4993 | 135.071 | 6.2403 | 171.27 | 9.5803 | 151.211 | 9.328 | 154.942 | 8.79 | 979.307 | 37.4936 | 63.555
2019-11-21 03:45:00 | 8.01 | 107.326 | 8.797 | 139.403 | 7.037 | 111.031 | 7.2907 | 137.412 | 8.96 | 978.713 | 38.3814 | 73.6507
2019-11-21 04:00:00 | 9.0313 | 127.806 | 13.399 | 158.567 | 9.5803 | 139.606 | 9.5827 | 148.31 | 9.07 | 978.267 | 39.201 | 85.665
2019-11-21 04:15:00 | 10.5633 | 130.024 | 11.3537 | 150.253 | 10.852 | 123.661 | 10.856 | 132.901 | 8.82 | 978.416 | 39.0644 | 83.0823
2019-11-21 04:30:00 | 9.2867 | 122.929 | 9.0527 | 166.905 | 8.0543 | 129.464 | 8.564 | 136.802 | 8.86 | 978.564 | 38.6546 | 81.0427
2019-11-21 04:45:00 | 12.0953 | 127.611 | 11.3537 | 169.026 | 11.615 | 128.366 | 11.3653 | 129.268 | 8.85 | 978.267 | 39.3717 | 86.9101
2019-11-21 05:00:00 | 14.3933 | 125.733 | 13.6547 | 157.982 | 13.904 | 123.295 | 14.1667 | 131.219 | 9.03 | 977.821 | 43.7084 | 84.2757
2019-11-21 05:15:00 | 11.3293 | 132.243 | 11.098 | 149.424 | 9.5803 | 104.497 | 9.8373 | 142.995 | 8.74 | 977.821 | 44.8694 | 83.3742
2019-11-21 05:30:00 | 8.2653 | 120.321 | 13.1433 | 151.131 | 12.6323 | 122.369 | 12.6387 | 126.294 | 8.73 | 977.97 | 48.1475 | 91.9277
2019-11-21 05:45:00 | 10.308 | 118.395 | 12.3763 | 168.539 | 11.3607 | 129.634 | 11.62 | 130.049 | 8.41 | 977.821 | 48.6939 | 90.1062
2019-11-21 06:00:00 | 8.5207 | 124.051 | 9.3083 | 171.27 | 14.1583 | 136.29 | 14.676 | 133.218 | 8.39 | 977.888 | 50.128 | 84.1427
2019-11-21 06:15:00 | 12.0953 | 113.567 | 13.1433 | 157.543 | 15.43 | 146.335 | 15.1853 | 118.443 | 8.22 | 977.662 | 48.4207 | 88.0075
2019-11-21 06:30:00 | 10.8187 | 114.762 | 12.632 | 137.355 | 10.852 | 118.175 | 10.6013 | 138.558 | 8.23 | 977.983 | 50.0597 | 84.8226
2019-11-21 06:45:00 | 10.0527 | 118.273 | 11.6093 | 162.98 | 10.852 | 136.51 | 11.1107 | 101.377 | 8.19 | 977.984 | 50.8793 | 75.8882
2019-11-21 07:00:00 | 8.2653 | 110.349 | 9.8197 | 141.013 | 12.6323 | 116.59 | 13.4027 | 117.59 | 7.912 | 977.746 | 53.133 | 72.5668
2019-11-21 07:15:00 | 11.3293 | 136.193 | 10.8423 | 179.949 | 9.326 | 154.064 | 10.092 | 135.388 | 8.07 | 977.652 | 55.1818 | 84.2545
2019-11-21 07:30:00 | 11.074 | 135.486 | 10.5867 | 174.902 | 11.8693 | 154.479 | 11.3653 | 126.733 | 8.05 | 977.817 | 56.0697 | 77.6361
2019-11-21 07:45:00 | 11.074 | 119.687 | 13.9103 | 165.296 | 13.3953 | 131.219 | 13.912 | 132.901 | 8.02 | 978.233 | 56.4111 | 61.2038
2019-11-21 08:00:00 | 12.606 | 133.145 | 14.6773 | 169.148 | 14.9213 | 133.218 | 15.1853 | 139.289 | 8.05 | 978.091 | 58.4941 | 56.3264
2019-11-21 08:15:00 | 6.9887 | 134.023 | 7.7743 | 192.115 | 9.8347 | 135.851 | 10.3467 | 149.237 | 7.861 | 978.979 | 59.9283 | 47.6155
2019-11-21 08:30:00 | 12.606 | 136.412 | 11.865 | 177.633 | 13.3953 | 130.512 | 13.148 | 148.895 | 7.716 | 978.711 | 61.3966 | 59.7144
2019-11-21 08:45:00 | 9.0313 | 129.927 | 11.098 | 186.02 | 13.141 | 146.238 | 12.6387 | 131.024 | 7.689 | 979.007 | 62.8991 | 63.5144
2019-11-21 09:00:00 | 8.2653 | 135.266 | 10.331 | 178.389 | 10.5977 | 141.532 | 10.856 | 144.043 | 7.745 | 979.009 | 63.8552 | 54.3438
2019-11-21 09:15:00 | 8.2653 | 127.732 | 9.8197 | 164.126 | 11.615 | 143.605 | 11.3653 | 134.949 | 7.827 | 979.16 | 64.1284 | 40.5435
2019-11-21 09:30:00 | 7.4993 | 136.607 | 9.0527 | 165.345 | 8.3087 | 122.515 | 8.3093 | 137.68 | 7.911 | 979.543 | 63.9918 | 36.5679
2019-11-21 09:45:00 | 6.9887 | 120.15 | 7.5187 | 159.615 | 5.7653 | 163.207 | 5.508 | 120.272 | 8.14 | 979.4 | 64.3333 | 32.5296
2019-11-21 10:00:00 | 4.946 | 128.708 | 5.2177 | 168.173 | 6.5283 | 120.54 | 6.272 | 134.193 | 8.3 | 979.766 | 64.3333 | 32.8418
2019-11-21 10:15:00 | 8.776 | 153.016 | 5.9847 | 198.503 | 5.0023 | 157.941 | 5.7627 | 135.9 | 8.63 | 980.198 | 63.7186 | 31.0145
2019-11-21 10:30:00 | 7.244 | 110.528 | 5.4733 | 156.202 | 7.2913 | 139.66 | 5.508 | 145.315 | 8.9 | 980.347 | 63.5731 | 35.7439
2019-11-21 10:45:00 | 7.4993 | 134.526 | 8.03 | 161.082 | 8.8173 | 109.005 | 8.8187 | 139.401 | 9.32 | 979.947 | 61.7911 | 36.8635
2019-11-21 11:00:00 | 6.478 | 118.89 | 7.7743 | 153.022 | 8.8173 | 148.966 | 8.8187 | 139.193 | 9.77 | 979.947 | 61.7853 | 41.417
2019-11-21 11:15:00 | 5.712 | 150.916 | 6.7517 | 166.598 | 6.5283 | 147.894 | 7.2907 | 134.245 | 9.95 | 980.082 | 61.2391 | 39.1875
2019-11-21 11:30:00 | 9.0313 | 148.089 | 9.564 | 181.148 | 8.563 | 134.879 | 8.3093 | 147.309 | 9.82 | 979.601 | 62.5363 | 42.7689
2019-11-21 11:45:00 | 8.2653 | 134.391 | 7.5187 | 170.522 | 6.274 | 135.976 | 6.0173 | 136.341 | 9.82 | 979.304 | 61.2391 | 43.7074
2019-11-21 12:00:00 | 10.0527 | 150.331 | 9.564 | 181.465 | 8.8173 | 147.748 | 8.3093 | 157.643 | 10.35 | 979.007 | 60.7271 | 46.6101
2019-11-21 12:15:00 | 11.074 | 148.186 | 10.5867 | 180.393 | 11.3607 | 147.114 | 11.3653 | 146.188 | 10.72 | 978.413 | 61.1026 | 46.1819
2019-11-21 12:30:00 | 6.2227 | 146.09 | 6.7517 | 186.462 | 7.037 | 144.043 | 7.2907 | 139.802 | 10.34 | 978.71 | 61.9901 | 43.1299
2019-11-21 12:45:00 | 9.0313 | 145.92 | 8.03 | 182.221 | 7.8 | 149.819 | 7.8 | 147.382 | 10.32 | 978.413 | 62.8094 | 40.2221
2019-11-21 13:00:00 | 5.9673 | 142.386 | 7.0073 | 172.74 | 4.748 | 124.106 | 5.508 | 149.356 | 10.31 | 978.413 | 62.1949 | 39.8909
2019-11-21 13:15:00 | 6.9887 | 143.58 | 7.0073 | 190.142 | 6.5283 | 155.035 | 6.5267 | 139.266 | 10.95 | 978.413 | 60.6588 | 40.2649
2019-11-21 13:30:00 | 8.5207 | 163.972 | 9.3083 | 198.175 | 9.0717 | 167.092 | 9.328 | 157.879 | 11.1 | 978.265 | 61.2363 | 33.7118
2019-11-21 13:45:00 | 8.5207 | 165.264 | 8.797 | 191.887 | 6.0197 | 157.416 | 6.272 | 160.268 | 10.99 | 977.819 | 62.192 | 39.5387
2019-11-21 14:00:00 | 7.244 | 138.876 | 8.797 | 171.009 | 8.8173 | 126.568 | 8.8187 | 140.265 | 10.87 | 977.819 | 63.0483 | 36.3019
2019-11-21 14:15:00 | 8.5207 | 137.56 | 10.5867 | 181.782 | 9.326 | 149.308 | 9.0733 | 137.511 | 10.69 | 977.523 | 63.6969 | 29.8654
2019-11-21 14:30:00 | 8.01 | 139.12 | 8.5413 | 174.397 | 7.8 | 144.287 | 7.2907 | 139.095 | 10.73 | 977.523 | 64.3113 | 27.6596
2019-11-21 14:45:00 | 6.478 | 136.682 | 6.7517 | 167.5 | 7.2913 | 142.337 | 7.2907 | 140.338 | 10.59 | 977.523 | 64.5844 | 20.3069
2019-11-21 15:00:00 | 5.4567 | 118.866 | 6.2403 | 156.702 | 4.748 | 123.619 | 4.4893 | 146.261 | 10.59 | 977.226 | 64.4479 | 23.5288
2019-11-21 15:15:00 | 4.946 | 128.493 | 6.2403 | 167.914 | 6.7827 | 140.826 | 7.036 | 132.734 | 10.65 | 977.374 | 64.1065 | 23.8465
2019-11-21 15:30:00 | 5.2013 | 119.158 | 5.9847 | 152.998 | 5.0023 | 145.457 | 4.9987 | 122.497 | 10.62 | 977.226 | 63.8334 | 20.3475
2019-11-21 15:45:00 | 5.712 | 135.464 | 5.729 | 178.248 | 5.511 | 128.566 | 5.508 | 133.977 | 10.74 | 977.374 | 64.1065 | 14.2088
2019-11-21 16:00:00 | 5.4567 | 151.818 | 7.263 | 193.14 | 7.5457 | 136.487 | 7.2907 | 156.473 | 10.75 | 977.227 | 64.6185 | 17.521
2019-11-21 16:15:00 | 5.2013 | 115.186 | 5.4733 | 157.482 | 6.5283 | 115.332 | 6.7813 | 116.209 | 10.74 | 977.28 | 64.6527 | 26.4625
2019-11-21 16:30:00 | 7.244 | 138.827 | 7.7743 | 170.522 | 6.274 | 128.054 | 6.0173 | 147.285 | 10.69 | 976.97 | 64.994 | 33.5677
2019-11-21 16:45:00 | 6.7333 | 121.059 | 6.7517 | 163.283 | 7.8 | 128.371 | 7.8 | 127.518 | 10.66 | 976.623 | 65.4036 | 30.2091
2019-11-21 17:00:00 | 6.7333 | 128.396 | 6.496 | 173.788 | 7.037 | 130.492 | 6.7813 | 138.778 | 10.57 | 976.681 | 66.2229 | 29.6881
2019-11-21 17:15:00 | 5.712 | 138.122 | 6.7517 | 180.59 | 8.3087 | 146.579 | 8.3093 | 138.488 | 10.38 | 976.639 | 67.5208 | 22.9967
2019-11-21 17:30:00 | 5.4567 | 123.828 | 5.2177 | 145.364 | 4.748 | 145.108 | 4.9987 | 144.645 | 10.27 | 976.673 | 68.5522 | 22.7085
2019-11-21 17:45:00 | 3.414 | 121.426 | 5.4733 | 166.149 | 4.748 | 116.794 | 5.2533 | 112.162 | 10.17 | 976.903 | 68.8997 | 26.3369
2019-11-21 18:00:00 | 6.9887 | 146.314 | 9.8197 | 184.625 | 5.7653 | 126.495 | 5.7627 | 149.824 | 10.26 | 976.867 | 68.8307 | 33.2832
2019-11-21 18:15:00 | 6.2227 | 130.907 | 8.2857 | 167.511 | 7.5457 | 131.614 | 7.5453 | 134.466 | 10.19 | 977.171 | 69.3083 | 33.5566
2019-11-21 18:30:00 | 6.478 | 145.924 | 6.496 | 167.732 | 6.0197 | 137.319 | 6.0173 | 158.381 | 10.24 | 977.119 | 69.2406 | 27.1756
2019-11-21 18:45:00 | 6.9887 | 160.519 | 5.2177 | 203.46 | 5.2567 | 164.883 | 5.2533 | 176.535 | 10.16 | 977.145 | 69.8521 | 26.7174
2019-11-21 19:00:00 | 7.7547 | 147.018 | 6.496 | 174.358 | 6.7827 | 132.806 | 6.272 | 141.387 | 10.14 | 976.877 | 69.2732 | 32.7918
2019-11-21 19:15:00 | 8.5207 | 128.101 | 9.564 | 171.432 | 8.8173 | 136.145 | 8.564 | 144.994 | 10.26 | 976.921 | 69.0338 | 34.4766
2019-11-21 19:30:00 | 5.4567 | 144.409 | 6.496 | 179.452 | 7.8 | 128.808 | 7.2907 | 132.952 | 10.29 | 977.215 | 69.1022 | 33.9593
2019-11-21 19:45:00 | 7.244 | 126.151 | 8.03 | 164.68 | 9.0717 | 143.336 | 8.8187 | 132.708 | 10.33 | 977.214 | 68.9655 | 33.66
2019-11-21 20:00:00 | 8.2653 | 115.352 | 9.8197 | 154.417 | 9.8347 | 144.482 | 9.8373 | 122.372 | 10.33 | 977.505 | 69.1021 | 41.8184
2019-11-21 20:15:00 | 9.2867 | 121.788 | 9.564 | 161.317 | 10.089 | 136.853 | 10.6013 | 127.126 | 10.35 | 977.204 | 69.3073 | 50.3423
2019-11-21 20:30:00 | 6.7333 | 135.566 | 8.5413 | 183.946 | 10.089 | 137.784 | 9.8373 | 150.607 | 10.33 | 977.163 | 69.9246 | 54.6209
2019-11-21 20:45:00 | 9.7973 | 120.156 | 10.5867 | 167.413 | 8.3087 | 131.735 | 8.8187 | 129.005 | 10.26 | 976.913 | 70.4007 | 51.2512
2019-11-21 21:00:00 | 10.5633 | 136.974 | 8.2857 | 173.407 | 8.563 | 130.904 | 8.0547 | 136.023 | 10.31 | 977.2 | 70.4678 | 50.5455
2019-11-21 21:15:00 | 9.7973 | 127.687 | 10.5867 | 164.607 | 9.0717 | 120.544 | 9.328 | 129.832 | 10.26 | 977.162 | 70.7411 | 52.0271
2019-11-21 21:30:00 | 10.308 | 134.024 | 10.8423 | 177.234 | 10.089 | 139.753 | 9.8373 | 135.146 | 10.29 | 977.211 | 70.536 | 51.4692
2019-11-21 21:45:00 | 8.01 | 133.635 | 8.03 | 164.73 | 7.8 | 144.971 | 8.0547 | 137.487 | 10.28 | 977.215 | 71.4242 | 51.5653
2019-11-21 22:00:00 | 9.0313 | 140.899 | 10.0753 | 178.964 | 9.326 | 141.874 | 8.8187 | 148.139 | 10.28 | 977.219 | 71.4237 | 50.1871
2019-11-21 22:15:00 | 4.946 | 129.978 | 5.9847 | 183.425 | 9.0717 | 146.067 | 9.0733 | 139.802 | 10.07 | 977.206 | 72.1748 | 46.0082
2019-11-21 22:30:00 | 9.2867 | 135.049 | 9.8197 | 163.95 | 7.8 | 136.926 | 6.5267 | 147.628 | 10.24 | 977.048 | 72.3802 | 47.5527
2019-11-21 22:45:00 | 8.01 | 128.661 | 8.2857 | 166.776 | 8.3087 | 155.598 | 8.0547 | 134.146 | 10.27 | 977.214 | 72.5162 | 51.3731
2019-11-21 23:00:00 | 9.2867 | 126.468 | 9.8197 | 161.706 | 9.5803 | 130.904 | 9.5827 | 129.905 | 10.29 | 976.924 | 72.7213 | 55.5372
2019-11-21 23:15:00 | 9.0313 | 130.953 | 9.564 | 172.163 | 10.5977 | 141.094 | 10.6013 | 133.829 | 10.23 | 976.633 | 73.0284 | 58.2012
2019-11-21 23:30:00 | 10.5633 | 135.17 | 10.8423 | 171.92 | 11.3607 | 127.735 | 11.1107 | 137.9 | 10.1 | 976.608 | 74.0868 | 55.4781
2019-11-21 23:45:00 | 5.9673 | 128.247 | 6.2403 | 174.674 | 7.2913 | 139.826 | 7.036 | 136.925 | 10.09 | 976.78 | 74.2234 | 55.2971