## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-22 00:00:00 | 8.01 | 147.919 | 8.797 | 179.988 | 9.5803 | 137.34 | 9.5827 | 146.408 | 10.05 | 976.633 | 73.8819 | 53.8265
2019-11-22 00:15:00 | 6.9887 | 128.76 | 7.263 | 166.461 | 9.0717 | 124.909 | 9.328 | 148.164 | 10.09 | 976.484 | 74.224 | 56.3242
2019-11-22 00:30:00 | 8.776 | 141.488 | 9.564 | 165.806 | 9.8347 | 137.027 | 10.092 | 151.483 | 10.05 | 976.336 | 74.6011 | 56.4277
2019-11-22 00:45:00 | 8.5207 | 140.486 | 8.797 | 180.893 | 8.0543 | 129.541 | 9.328 | 151.115 | 10.19 | 976.336 | 74.0196 | 50.8337
2019-11-22 01:00:00 | 5.2013 | 132.077 | 6.7517 | 161.563 | 7.8 | 154.65 | 7.5453 | 130.346 | 9.96 | 976.632 | 75.1123 | 45.6683
2019-11-22 01:15:00 | 5.712 | 138.584 | 7.0073 | 191.398 | 5.7653 | 148.846 | 6.0173 | 149.285 | 9.82 | 976.335 | 75.6577 | 40.0226
2019-11-22 01:30:00 | 4.18 | 129.549 | 6.2403 | 179.444 | 6.274 | 159.828 | 6.5267 | 137.253 | 9.78 | 976.484 | 75.5951 | 33.7561
2019-11-22 01:45:00 | 9.0313 | 132.399 | 8.5413 | 168.445 | 9.326 | 132.179 | 9.328 | 147.757 | 9.82 | 976.336 | 75.7982 | 33.0467
2019-11-22 02:00:00 | 5.9673 | 132.336 | 7.0073 | 175.237 | 7.2913 | 133.409 | 8.0547 | 124.51 | 9.67 | 976.336 | 75.5311 | 26.5659
2019-11-22 02:15:00 | 7.7547 | 139.527 | 7.7743 | 179.209 | 7.8 | 155.13 | 8.3093 | 141.721 | 9.67 | 976.336 | 76.5205 | 31.0958
2019-11-22 02:30:00 | 6.2227 | 154.526 | 6.7517 | 169.488 | 9.8347 | 137.655 | 9.8373 | 143.823 | 9.68 | 976.336 | 77.3087 | 33.213
2019-11-22 02:45:00 | 6.9887 | 134.291 | 8.5413 | 167.002 | 8.3087 | 135.436 | 8.0547 | 140.873 | 9.62 | 976.039 | 78.6407 | 31.1328
2019-11-22 03:00:00 | 5.2013 | 130.414 | 5.9847 | 157.592 | 7.8 | 122.637 | 8.0547 | 137.997 | 9.43 | 976.039 | 79.2214 | 30.4086
2019-11-22 03:15:00 | 6.9887 | 133.218 | 7.0073 | 171.806 | 10.3433 | 137.095 | 9.0733 | 146.14 | 9.5 | 975.742 | 80.3141 | 28.2693
2019-11-22 03:30:00 | 9.2867 | 135.047 | 9.564 | 169.49 | 9.326 | 140.996 | 9.328 | 140.533 | 9.35 | 975.593 | 80.9971 | 26.1299
2019-11-22 03:45:00 | 7.7547 | 133.169 | 7.7743 | 180.534 | 7.037 | 145.043 | 7.8 | 142.532 | 9.41 | 975.742 | 81.5776 | 24.8922
2019-11-22 04:00:00 | 4.4353 | 144.921 | 4.7063 | 187.19 | 6.0197 | 146.433 | 6.272 | 146.725 | 9.31 | 975.742 | 82.2947 | 21.2675
2019-11-22 04:15:00 | 6.9887 | 137.265 | 7.7743 | 171.782 | 7.8 | 131.999 | 8.0547 | 140.386 | 9.22 | 975.445 | 82.9093 | 25.1656
2019-11-22 04:30:00 | 5.9673 | 137.07 | 5.9847 | 181.753 | 5.511 | 145.214 | 6.272 | 138.875 | 9.24 | 975.742 | 83.6606 | 21.3082
2019-11-22 04:45:00 | 4.4353 | 129.683 | 5.2177 | 159.835 | 4.748 | 134.291 | 5.2533 | 136.753 | 9.04 | 975.742 | 84.0703 | 19.8228
2019-11-22 05:00:00 | 4.6907 | 138.801 | 5.4733 | 169.465 | 5.7653 | 133.096 | 5.7627 | 138.46 | 8.93 | 975.742 | 84.446 | 21.1197
2019-11-22 05:15:00 | 6.478 | 139.533 | 5.729 | 177.145 | 5.7653 | 135.534 | 5.2533 | 146.116 | 8.96 | 975.75 | 85.0606 | 26.3516
2019-11-22 05:30:00 | 5.712 | 129.049 | 5.9847 | 163.394 | 6.0197 | 134.047 | 6.0173 | 132.121 | 8.81 | 975.464 | 86.4948 | 30.1832
2019-11-22 05:45:00 | 6.478 | 135.705 | 5.4733 | 174.171 | 6.7827 | 126.83 | 5.7627 | 136.193 | 8.66 | 975.229 | 87.6216 | 30.9665
2019-11-22 06:00:00 | 7.244 | 138.801 | 6.7517 | 174 | 6.7827 | 119.492 | 7.5453 | 139.46 | 8.53 | 975.366 | 87.2802 | 29.5292
2019-11-22 06:15:00 | 9.0313 | 133.267 | 8.03 | 167.954 | 8.0543 | 137.363 | 8.3093 | 143.019 | 8.59 | 975.364 | 88.3046 | 29.0304
2019-11-22 06:30:00 | 8.2653 | 114.932 | 7.7743 | 152.301 | 7.8 | 138.875 | 7.8 | 134.047 | 8.49 | 975.362 | 88.5778 | 32.1561
2019-11-22 06:45:00 | 6.9887 | 132.633 | 7.5187 | 167.564 | 7.8 | 143.58 | 7.5453 | 138.997 | 8.5 | 975.408 | 89.1241 | 32.3373
2019-11-22 07:00:00 | 8.776 | 139.338 | 8.797 | 178.121 | 8.3087 | 135.729 | 8.564 | 147.798 | 8.58 | 975.369 | 89.1241 | 35.0271
2019-11-22 07:15:00 | 8.2653 | 137.022 | 7.0073 | 175.341 | 8.0543 | 111.787 | 7.5453 | 138.289 | 8.51 | 975.823 | 89.6022 | 31.3323
2019-11-22 07:30:00 | 6.7333 | 133.194 | 4.7063 | 161.005 | 6.5283 | 120.833 | 6.7813 | 137.631 | 8.66 | 976.042 | 89.6705 | 26.7248
2019-11-22 07:45:00 | 5.4567 | 137.997 | 7.7743 | 168.246 | 6.7827 | 150.553 | 6.7813 | 142.166 | 8.74 | 976.393 | 89.2607 | 29.8839
2019-11-22 08:00:00 | 6.478 | 137.436 | 7.263 | 180.242 | 7.2913 | 141.386 | 7.8 | 147.481 | 8.82 | 976.039 | 89.1924 | 36.5531
2019-11-22 08:15:00 | 5.9673 | 142.597 | 7.7743 | 188.373 | 8.0543 | 148.424 | 7.8 | 142.524 | 8.9 | 976.336 | 89.2215 | 37.0371
2019-11-22 08:30:00 | 8.2653 | 146.165 | 8.2857 | 169.361 | 9.326 | 122.373 | 8.564 | 134.464 | 8.96 | 976.107 | 89.0412 | 41.6446
2019-11-22 08:45:00 | 5.2013 | 136.48 | 5.2177 | 169.352 | 5.2567 | 155.664 | 5.508 | 123.122 | 8.97 | 976.147 | 89.4464 | 38.0273
2019-11-22 09:00:00 | 9.542 | 111.603 | 7.263 | 151.975 | 7.5457 | 140.778 | 7.8 | 116.039 | 9.01 | 976.393 | 88.6161 | 32.4814
2019-11-22 09:15:00 | 9.2867 | 134.27 | 9.8197 | 186.072 | 7.037 | 153.817 | 7.036 | 143.872 | 9.33 | 976.526 | 86.636 | 33.2276
2019-11-22 09:30:00 | 10.8187 | 116.063 | 9.0527 | 170.693 | 8.0543 | 136.39 | 7.8 | 126.275 | 9.5 | 976.632 | 86.7384 | 41.7481
2019-11-22 09:45:00 | 8.2653 | 134.538 | 7.7743 | 178.516 | 7.037 | 141.118 | 7.8 | 130.151 | 9.54 | 976.929 | 86.397 | 39.8403
2019-11-22 10:00:00 | 8.01 | 117.672 | 8.797 | 151.804 | 7.2913 | 115.771 | 7.036 | 116.77 | 9.63 | 976.78 | 85.5436 | 43.7079
2019-11-22 10:15:00 | 8.2653 | 127.293 | 7.7743 | 183.235 | 8.563 | 157.757 | 7.8 | 145.742 | 9.87 | 976.929 | 84.5155 | 43.5955
2019-11-22 10:30:00 | 10.8187 | 135.561 | 9.8197 | 177.773 | 8.3087 | 138.851 | 7.5453 | 122.426 | 9.89 | 976.632 | 83.685 | 41.9845
2019-11-22 10:45:00 | 8.5207 | 134.193 | 5.4733 | 182.423 | 6.5283 | 162.07 | 6.272 | 124.032 | 10.54 | 976.632 | 79.656 | 36.5235
2019-11-22 11:00:00 | 10.5633 | 118.163 | 10.0753 | 161.863 | 9.326 | 139.218 | 10.092 | 131.639 | 11.07 | 976.335 | 75.9727 | 45.1251
2019-11-22 11:15:00 | 8.01 | 134.627 | 10.0753 | 159.195 | 9.326 | 128.341 | 9.328 | 145.227 | 11.26 | 976.038 | 70.8826 | 51.0754
2019-11-22 11:30:00 | 12.3507 | 129.595 | 10.331 | 185.003 | 9.5803 | 127.232 | 9.328 | 130.984 | 11.89 | 975.912 | 69.3058 | 51.745
2019-11-22 11:45:00 | 9.0313 | 144.506 | 9.3083 | 168.288 | 8.563 | 135.856 | 8.3093 | 149.646 | 12.16 | 975.47 | 64.7671 | 54.6578
2019-11-22 12:00:00 | 8.776 | 137.976 | 10.0753 | 174.404 | 10.089 | 150.718 | 11.1107 | 144.774 | 12.49 | 975.294 | 63.1292 | 54.64
2019-11-22 12:15:00 | 8.01 | 128.985 | 7.7743 | 169.677 | 7.8 | 132.323 | 7.5453 | 145.358 | 12.52 | 975.146 | 63.5387 | 49.9891
2019-11-22 12:30:00 | 8.5207 | 129.838 | 8.03 | 163.342 | 7.5457 | 152.327 | 7.8 | 146.942 | 13.02 | 975.146 | 60.9452 | 48.4526
2019-11-22 12:45:00 | 9.7973 | 161.999 | 9.0527 | 202.009 | 9.0717 | 169.065 | 8.8187 | 166.263 | 12.62 | 974.849 | 61.2182 | 41.9713
2019-11-22 13:00:00 | 8.5207 | 155.494 | 8.797 | 203.349 | 7.8 | 172.939 | 7.8 | 162.072 | 12.51 | 974.552 | 63.2657 | 33.3569
2019-11-22 13:15:00 | 7.7547 | 149.135 | 7.7743 | 188.608 | 7.037 | 156.347 | 6.5267 | 156.079 | 13.26 | 975.461 | 59.8874 | 32.8871
2019-11-22 13:30:00 | 6.7333 | 150.962 | 8.03 | 178.059 | 9.326 | 144.895 | 8.8187 | 153.74 | 13.26 | 974.849 | 61.8325 | 27.848
2019-11-22 13:45:00 | 5.2013 | 149.988 | 5.9847 | 170.14 | 6.0197 | 151.06 | 6.0173 | 148.574 | 13.34 | 974.552 | 59.2049 | 27.9848
2019-11-22 14:00:00 | 7.244 | 157.273 | 8.03 | 181.055 | 9.0717 | 146.723 | 8.564 | 163.096 | 13.42 | 974.271 | 59.3073 | 32.2598
2019-11-22 14:15:00 | 5.4567 | 178.348 | 4.962 | 222.329 | 6.0197 | 176.399 | 6.0173 | 168.992 | 13.35 | 974.374 | 60.3651 | 30.3199
2019-11-22 14:30:00 | 7.4993 | 140.511 | 6.496 | 178.572 | 6.7827 | 155.909 | 6.7813 | 146.675 | 13.3 | 974.274 | 60.2632 | 28.0439
2019-11-22 14:45:00 | 9.2867 | 138.148 | 9.564 | 172.944 | 9.0717 | 149.77 | 9.0733 | 146.627 | 13.79 | 974.37 | 59.5127 | 36.6344
2019-11-22 15:00:00 | 6.2227 | 143.75 | 7.5187 | 172.845 | 7.5457 | 150.183 | 7.036 | 147.478 | 13.56 | 974.029 | 59.1709 | 37.7392
2019-11-22 15:15:00 | 7.244 | 160.489 | 7.0073 | 183.102 | 6.5283 | 164.777 | 6.7813 | 134.711 | 13.78 | 973.832 | 59.4439 | 36.5383
2019-11-22 15:30:00 | 7.7547 | 148.355 | 7.7743 | 179.788 | 8.3087 | 151.62 | 7.2907 | 157.638 | 13.78 | 973.571 | 56.5091 | 39.9154
2019-11-22 15:45:00 | 9.7973 | 135.638 | 9.8197 | 176.427 | 9.5803 | 147.26 | 11.1107 | 141.217 | 13.98 | 973.659 | 53.916 | 38.153
2019-11-22 16:00:00 | 8.2653 | 136.308 | 7.5187 | 165.359 | 6.5283 | 134.481 | 5.7627 | 133.238 | 13.98 | 973.809 | 55.0131 | 34.0517
2019-11-22 16:15:00 | 9.2867 | 157.317 | 7.263 | 180.569 | 8.563 | 139.431 | 8.8187 | 137.896 | 14.06 | 973.365 | 53.5812 | 37.3881
2019-11-22 16:30:00 | 8.01 | 139.338 | 7.263 | 167.88 | 6.7827 | 133.612 | 6.5267 | 137.754 | 14.07 | 973.365 | 53.3101 | 35.3354
2019-11-22 16:45:00 | 7.4993 | 143.312 | 7.7743 | 177.8 | 5.0023 | 155.788 | 5.508 | 126.765 | 13.93 | 973.068 | 53.4471 | 35.5185
2019-11-22 17:00:00 | 12.0953 | 142.897 | 11.3537 | 173.828 | 10.089 | 139.851 | 10.6013 | 142.629 | 14.04 | 972.771 | 51.7406 | 44.1349
2019-11-22 17:15:00 | 6.7333 | 145.236 | 8.03 | 188.667 | 7.037 | 151.377 | 7.2907 | 154.788 | 13.96 | 972.919 | 53.8563 | 42.9711
2019-11-22 17:30:00 | 6.7333 | 153.789 | 8.2857 | 180.454 | 8.563 | 131.102 | 8.564 | 147.599 | 13.93 | 973.068 | 54.3339 | 50.3644
2019-11-22 17:45:00 | 11.074 | 154.642 | 12.1207 | 193.809 | 11.1063 | 172.334 | 11.1107 | 157.03 | 13.98 | 972.771 | 55.2898 | 49.7659
2019-11-22 18:00:00 | 6.7333 | 142.457 | 5.9847 | 171.462 | 5.7653 | 146.6 | 5.7627 | 153.35 | 13.9 | 973.513 | 56.3135 | 43.8837
2019-11-22 18:15:00 | 7.4993 | 145.846 | 7.263 | 167.102 | 7.8 | 136.098 | 7.5453 | 133.198 | 13.9 | 973.662 | 57.2012 | 38.9052
2019-11-22 18:30:00 | 6.478 | 131.102 | 6.496 | 173.949 | 7.037 | 136.805 | 6.7813 | 147.868 | 13.79 | 973.513 | 57.6789 | 40.4503
2019-11-22 18:45:00 | 5.2013 | 129.223 | 5.729 | 160.542 | 7.2913 | 133.147 | 8.0547 | 134.341 | 13.81 | 973.662 | 58.4968 | 42.4832
2019-11-22 19:00:00 | 9.7973 | 137.752 | 9.3083 | 180.256 | 9.8347 | 145.257 | 9.0733 | 142.869 | 13.93 | 973.216 | 59.6572 | 50.8432
2019-11-22 19:15:00 | 9.2867 | 159.102 | 9.564 | 189.74 | 9.0717 | 150.403 | 8.564 | 133.321 | 13.92 | 973.068 | 61.5016 | 59.5441
2019-11-22 19:30:00 | 9.2867 | 137.853 | 8.03 | 184.111 | 7.2913 | 160.077 | 8.0547 | 145.456 | 13.89 | 973.365 | 62.9352 | 57.4712
2019-11-22 19:45:00 | 9.542 | 136.415 | 8.2857 | 180.407 | 8.3087 | 129.495 | 8.3093 | 145.042 | 13.81 | 973.662 | 63.5494 | 54.3179
2019-11-22 20:00:00 | 8.5207 | 134.198 | 8.5413 | 171.147 | 9.5803 | 118.87 | 9.5827 | 135.368 | 13.79 | 973.365 | 64.0956 | 62.5205
2019-11-22 20:15:00 | 9.7973 | 145.94 | 8.5413 | 175.626 | 7.037 | 135.657 | 7.8 | 149.254 | 13.87 | 973.365 | 63.4797 | 52.7513
2019-11-22 20:30:00 | 8.2653 | 124.401 | 10.5867 | 163.349 | 8.563 | 130.762 | 8.8187 | 136.951 | 13.79 | 973.216 | 64.7098 | 49.7833
2019-11-22 20:45:00 | 8.5207 | 138.146 | 11.3537 | 160.62 | 8.0543 | 136.123 | 7.8 | 138.609 | 13.78 | 973.513 | 65.0512 | 49.5109
2019-11-22 21:00:00 | 8.01 | 134.439 | 8.03 | 174.263 | 8.3087 | 168.287 | 7.8 | 142.14 | 13.69 | 973.662 | 65.2207 | 51.8883
2019-11-22 21:15:00 | 12.3507 | 136.096 | 12.1207 | 175.311 | 11.8693 | 135.901 | 11.8747 | 143.09 | 13.61 | 973.216 | 66.9612 | 55.7905
2019-11-22 21:30:00 | 11.3293 | 146.745 | 11.098 | 167.952 | 9.326 | 134.805 | 8.8187 | 147.33 | 13.55 | 973.068 | 67.678 | 66.9395
2019-11-22 21:45:00 | 8.776 | 139.191 | 7.263 | 165.466 | 9.326 | 152.423 | 8.8187 | 139.02 | 13.54 | 973.513 | 68.9406 | 64.2571
2019-11-22 22:00:00 | 9.2867 | 154.664 | 9.8197 | 181.524 | 10.3433 | 137.509 | 10.092 | 154.03 | 13.48 | 973.662 | 69.5889 | 55.855
2019-11-22 22:15:00 | 9.0313 | 138.094 | 9.564 | 174.311 | 10.3433 | 140.921 | 10.3467 | 146.964 | 13.49 | 973.513 | 69.9644 | 58.9032
2019-11-22 22:30:00 | 10.0527 | 123.91 | 9.564 | 176.794 | 9.5803 | 142.77 | 9.8373 | 147.205 | 13.44 | 973.662 | 70.5093 | 47.7743
2019-11-22 22:45:00 | 12.606 | 144.554 | 11.6093 | 190.129 | 11.8693 | 159.687 | 12.1293 | 146.406 | 13.47 | 973.81 | 70.4432 | 41.8183
2019-11-22 23:00:00 | 10.308 | 140.404 | 10.331 | 179.081 | 11.1063 | 141.501 | 11.3653 | 149.104 | 13.56 | 973.81 | 70.8154 | 38.6702
2019-11-22 23:15:00 | 9.542 | 150.718 | 8.03 | 175.409 | 8.563 | 131.345 | 8.3093 | 152.643 | 13.51 | 973.662 | 71.1936 | 44.2474
2019-11-22 23:30:00 | 6.9887 | 130.757 | 8.03 | 169.263 | 8.3087 | 126.907 | 8.564 | 143.062 | 13.44 | 973.959 | 71.806 | 42.4242
2019-11-22 23:45:00 | 9.542 | 139.726 | 9.0527 | 171.508 | 11.615 | 138.094 | 11.8747 | 147.475 | 13.4 | 973.662 | 72.5581 | 41.6963