## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-24 00:00:00 | 1.882 | 3.5592 | 2.661 | 38.2147 | 4.748 | 0.048756 | 5.2533 | 342.852 | 8.56 | 975.742 | 99.9703 | 20.233
2019-11-24 00:15:00 | 3.414 | 347.457 | 2.9167 | 45.7515 | 4.2393 | 355.99 | 4.2347 | 325.271 | 8.51 | 975.742 | 99.9765 | 15.1784
2019-11-24 00:30:00 | 0.372 | 334.129 | 1.894 | 68.5973 | 3.985 | 354.023 | 5.2533 | 340.492 | 8.49 | 975.742 | 99.9789 | 13.5047
2019-11-24 00:45:00 | 2.3927 | 24.8686 | 5.4733 | 60.4085 | 5.0023 | 345.893 | 5.2533 | 348.941 | 8.51 | 975.445 | 97.9337 | 14.9678
2019-11-24 01:00:00 | 3.1587 | 316.344 | 3.1723 | 6.8098 | 3.985 | 321.245 | 3.4707 | 324.171 | 8.56 | 976.336 | 96.1242 | 25.9009
2019-11-24 01:15:00 | 3.9247 | 331.9 | 4.962 | 21.2528 | 4.2393 | 334.85 | 3.4707 | 331.826 | 8.36 | 976.039 | 96.1926 | 18.1823
2019-11-24 01:30:00 | 2.648 | 330.51 | 4.7063 | 11.2078 | 5.0023 | 350.966 | 5.2533 | 340.482 | 8.26 | 975.742 | 96.7731 | 16.0393
2019-11-24 01:45:00 | 3.9247 | 351.965 | 4.195 | 43.7565 | 5.2567 | 52.1999 | 5.2533 | 0.24381 | 8.16 | 976.039 | 97.5243 | 23.913
2019-11-24 02:00:00 | 3.6693 | 341.871 | 4.7063 | 36.369 | 6.0197 | 3.389 | 5.508 | 327.852 | 8.01 | 976.336 | 98.0024 | 19.6223
2019-11-24 02:15:00 | 5.712 | 339.531 | 5.729 | 14.8649 | 5.0023 | 344.358 | 4.9987 | 346.382 | 7.922 | 976.514 | 98.378 | 22.0313
2019-11-24 02:30:00 | 2.648 | 354.891 | 4.962 | 24.8612 | 7.037 | 0.43886 | 7.036 | 19.3098 | 7.735 | 976.375 | 98.8219 | 24.642
2019-11-24 02:45:00 | 4.6907 | 334.46 | 3.428 | 16.5229 | 3.222 | 3.901 | 3.98 | 327.389 | 7.476 | 976.485 | 99.3341 | 23.3551
2019-11-24 03:00:00 | 3.1587 | 6.3635 | 4.7063 | 64.8705 | 4.748 | 345.236 | 5.508 | 319.709 | 7.393 | 976.598 | 99.6414 | 25.3171
2019-11-24 03:15:00 | 4.4353 | 15.0675 | 5.2177 | 52.5093 | 5.2567 | 328.34 | 6.0173 | 348.601 | 7.419 | 976.466 | 99.778 | 28.2951
2019-11-24 03:30:00 | 5.712 | 352.185 | 5.2177 | 25.7389 | 9.0717 | 18.1883 | 9.0733 | 349.21 | 7.33 | 976.04 | 99.9829 | 33.7007
2019-11-24 03:45:00 | 5.9673 | 0 | 5.9847 | 44.8537 | 7.8 | 19.7487 | 7.5453 | 7.4606 | 7.369 | 976.039 | 99.9829 | 29.9578
2019-11-24 04:00:00 | 5.2013 | 352.41 | 4.4507 | 48.0244 | 6.0197 | 353.337 | 6.272 | 346.924 | 7.385 | 976.04 | 99.9846 | 36.2317
2019-11-24 04:15:00 | 2.648 | 10.1182 | 4.962 | 42.3424 | 6.5283 | 12.5075 | 6.7813 | 2.9989 | 7.469 | 976.04 | 99.983 | 40.131
2019-11-24 04:30:00 | 9.0313 | 0 | 7.0073 | 37.8813 | 9.326 | 41.5702 | 10.6013 | 283.677 | 7.331 | 975.743 | 99.984 | 43.379
2019-11-24 04:45:00 | 5.4567 | 324.488 | 2.661 | 67.1624 | 7.037 | 38.5465 | 7.8 | 338.507 | 7.365 | 976.619 | 99.983 | 40.003
2019-11-24 05:00:00 | 7.7547 | 347.601 | 8.03 | 37.0762 | 10.852 | 16.2622 | 10.6013 | 355.598 | 7.589 | 976.635 | 99.983 | 35.3966
2019-11-24 05:15:00 | 5.2013 | 340.677 | 7.5187 | 49.9737 | 7.2913 | 341.018 | 8.3093 | 346.48 | 7.652 | 977.229 | 99.983 | 37.4192
2019-11-24 05:30:00 | 4.18 | 13.117 | 3.6837 | 13.344 | 6.0197 | 351.331 | 6.272 | 305.714 | 7.916 | 977.823 | 99.983 | 45.7485
2019-11-24 05:45:00 | 6.478 | 351.234 | 7.5187 | 36.5885 | 5.511 | 341.652 | 9.0733 | 346.114 | 8.08 | 978.096 | 99.983 | 57.3957
2019-11-24 06:00:00 | 6.7333 | 3.3158 | 8.797 | 42.0011 | 10.852 | 31.1834 | 11.1107 | 342.091 | 8.45 | 977.811 | 99.983 | 70.1533
2019-11-24 06:15:00 | 8.2653 | 1.1215 | 9.0527 | 22.3256 | 14.667 | 20.9921 | 15.6947 | 356.695 | 8.76 | 978.155 | 99.983 | 79.768
2019-11-24 06:30:00 | 9.542 | 356.403 | 13.399 | 49.9981 | 12.8867 | 37.0836 | 12.8933 | 342.262 | 8.59 | 978.176 | 99.983 | 85.3805
2019-11-24 06:45:00 | 9.0313 | 293.987 | 10.0753 | 15.5476 | 15.43 | 8.1433 | 15.44 | 2.3162 | 8.22 | 978.436 | 99.983 | 80.023
2019-11-24 07:00:00 | 9.7973 | 345.773 | 13.1433 | 55.2888 | 16.4473 | 3.5353 | 16.4587 | 353.94 | 7.938 | 978.853 | 99.983 | 83.2707
2019-11-24 07:15:00 | 12.3507 | 91.8923 | 12.8877 | 25.0319 | 14.4127 | 27.9163 | 15.44 | 355.744 | 7.805 | 979.249 | 99.983 | 84.9186
2019-11-24 07:30:00 | 12.606 | 8.9479 | 10.5867 | 50.6564 | 11.1063 | 15.3357 | 12.6387 | 12.5563 | 7.417 | 979.008 | 99.983 | 87.6491
2019-11-24 07:45:00 | 13.8827 | 11.7761 | 18.768 | 51.1684 | 15.1757 | 21.8942 | 12.1293 | 9.3136 | 7.139 | 978.418 | 99.983 | 82.4112
2019-11-24 08:00:00 | 13.8827 | 0.09753 | 16.2113 | 55.5615 | 13.904 | 17.9456 | 12.8933 | 8.1925 | 6.986 | 978.566 | 99.9889 | 65.8681
2019-11-24 08:15:00 | 11.84 | 349.499 | 19.0237 | 35.7179 | 14.9213 | 12.4116 | 14.1667 | 7.4372 | 6.886 | 979.606 | 99.9957 | 66.1008
2019-11-24 08:30:00 | 10.308 | 15.1445 | 14.6773 | 45.9918 | 12.8867 | 178.71 | 12.6387 | 15.4859 | 6.728 | 979.903 | 100 | 66.134
2019-11-24 08:45:00 | 5.4567 | 18.0462 | 13.399 | 53.8677 | 13.141 | 7.438 | 12.8933 | 22.2652 | 6.805 | 980.646 | 100 | 60.7506
2019-11-24 09:00:00 | 9.0313 | 30.6777 | 12.1207 | 60.084 | 11.8693 | 53.1617 | 11.8747 | 30.0193 | 7.208 | 981.092 | 95.4269 | 54.084
2019-11-24 09:15:00 | 3.414 | 16.9465 | 10.5867 | 42.3971 | 9.0717 | 25.6757 | 8.8187 | 11.9722 | 7.585 | 981.984 | 91.8646 | 45.387
2019-11-24 09:30:00 | 7.7547 | 17.0185 | 8.5413 | 62.3617 | 9.8347 | 4.3887 | 10.3467 | 166.893 | 7.559 | 982.429 | 93.2245 | 49.0341
2019-11-24 09:45:00 | 9.2867 | 3.3159 | 11.098 | 43.3188 | 11.615 | 4.0961 | 9.8373 | 1.1703 | 7.332 | 983.024 | 90.0477 | 59.4864
2019-11-24 10:00:00 | 7.7547 | 8.8994 | 11.6093 | 47.2944 | 10.5977 | 31.5016 | 8.0547 | 16.8724 | 7.217 | 983.172 | 91.7912 | 61.0499
2019-11-24 10:15:00 | 11.074 | 1.3411 | 12.3763 | 37.9346 | 12.8867 | 8.0952 | 11.8747 | 7.7051 | 6.993 | 982.875 | 91.3518 | 62.9749
2019-11-24 10:30:00 | 8.5207 | 1.7801 | 9.8197 | 55.3246 | 14.4127 | 355.335 | 16.204 | 1.8532 | 6.937 | 983.172 | 90.5038 | 62.4761
2019-11-24 10:45:00 | 13.6273 | 103.91 | 11.3537 | 48.0375 | 16.193 | 12.3638 | 14.9307 | 1.8777 | 6.658 | 982.578 | 85.2492 | 65.5576
2019-11-24 11:00:00 | 13.1167 | 2.0242 | 14.933 | 43.7491 | 12.6323 | 95.5504 | 11.8747 | 13.3888 | 6.645 | 982.281 | 75.861 | 67.3977
2019-11-24 11:15:00 | 11.3293 | 5.7315 | 16.9783 | 56.3142 | 10.852 | 6.2193 | 10.856 | 8.8289 | 6.67 | 982.578 | 73.9878 | 68.9326
2019-11-24 11:30:00 | 9.0313 | 20.5603 | 10.8423 | 58.2412 | 12.8867 | 134.8 | 11.8747 | 23.9992 | 6.512 | 983.172 | 77.8138 | 73.3049
2019-11-24 11:45:00 | 13.6273 | 5.9754 | 13.6547 | 61.8019 | 13.6497 | 178.725 | 13.912 | 4.512 | 6.469 | 983.172 | 77.4038 | 74.2384
2019-11-24 12:00:00 | 14.6487 | 351.256 | 13.9103 | 31.9981 | 16.4473 | 20.292 | 16.4587 | 356.475 | 6.389 | 982.875 | 76.5157 | 73.8629
2019-11-24 12:15:00 | 9.2867 | 24.6089 | 11.6093 | 61.7045 | 17.2103 | 19.853 | 17.2227 | 347.305 | 6.389 | 983.172 | 67.7028 | 81.5305
2019-11-24 12:30:00 | 6.9887 | 336.379 | 8.03 | 36.8761 | 8.8173 | 2.3414 | 9.5827 | 340.11 | 6.189 | 983.767 | 68.3177 | 80.252
2019-11-24 12:45:00 | 10.5633 | 352.134 | 13.1433 | 55.9486 | 12.378 | 24.2187 | 13.148 | 356.817 | 5.843 | 983.321 | 67.8394 | 78.8369
2019-11-24 13:00:00 | 7.244 | 356.134 | 10.0753 | 52.7536 | 11.615 | 7.4144 | 11.62 | 342.72 | 5.898 | 983.767 | 61.0418 | 79.5205
2019-11-24 13:15:00 | 5.712 | 350.134 | 11.865 | 45.2661 | 8.8173 | 21.1456 | 8.3093 | 7.1705 | 5.852 | 983.618 | 50.1452 | 79.1604
2019-11-24 13:30:00 | 9.0313 | 83.4606 | 16.467 | 54.4365 | 9.0717 | 313.965 | 9.328 | 351.183 | 5.908 | 983.767 | 40.5124 | 79.1267
2019-11-24 13:45:00 | 14.3933 | 5.9022 | 13.399 | 41.2418 | 12.6323 | 16.975 | 11.8747 | 14.8775 | 5.98 | 983.767 | 29.0692 | 87.1856
2019-11-24 14:00:00 | 14.904 | 19.9505 | 17.234 | 49.4123 | 14.4127 | 12.902 | 12.8933 | 13.2435 | 5.789 | 983.767 | 30.1964 | 83.4259
2019-11-24 14:15:00 | 10.8187 | 23.5602 | 11.3537 | 68.558 | 15.43 | 24.048 | 17.4773 | 92.9968 | 5.759 | 983.767 | 30.6405 | 83.6143
2019-11-24 14:30:00 | 10.8187 | 355.744 | 15.4443 | 46.1929 | 15.6843 | 34.95 | 17.2227 | 2.7804 | 4.956 | 984.064 | 27.1904 | 81.5711
2019-11-24 14:45:00 | 12.8613 | 1.9999 | 14.6773 | 50.3391 | 12.378 | 17.7799 | 13.4027 | 14.2922 | 4.517 | 983.172 | 22.5448 | 85.059
2019-11-24 15:00:00 | 12.0953 | 5.1706 | 13.1433 | 35.6566 | 12.8867 | 28.2673 | 10.6013 | 8.2192 | 4.33 | 984.361 | 24.3894 | 79.7126
2019-11-24 15:15:00 | 11.3293 | 132.581 | 14.933 | 44.8027 | 13.3953 | 14.8532 | 11.1107 | 3.634 | 4.066 | 983.767 | 24.7993 | 86.7402
2019-11-24 15:30:00 | 16.6913 | 3.2438 | 16.467 | 46.827 | 13.141 | 18.7798 | 12.1293 | 8.0485 | 3.926 | 983.842 | 26.6439 | 82.8443
2019-11-24 15:45:00 | 10.308 | 355.037 | 11.6093 | 67.1495 | 11.3607 | 0.75613 | 11.62 | 355.94 | 3.632 | 984.453 | 24.7327 | 80.2853
2019-11-24 16:00:00 | 10.5633 | 1.3417 | 12.632 | 40.2064 | 12.378 | 1.6588 | 14.9307 | 87.675 | 3.405 | 984.63 | 24.5998 | 79.0069
2019-11-24 16:15:00 | 13.8827 | 9.7582 | 13.9103 | 46.3066 | 11.3607 | 22.3706 | 14.676 | 14.4908 | 3.173 | 984.514 | 23.3704 | 81.7705
2019-11-24 16:30:00 | 8.01 | 12.4172 | 11.6093 | 50.3314 | 9.8347 | 16.0521 | 10.6013 | 11.2706 | 2.87 | 984.942 | 24.8052 | 79.0512
2019-11-24 16:45:00 | 11.3293 | 0 | 9.0527 | 30.3775 | 10.3433 | 6.4161 | 10.856 | 17.3211 | 2.594 | 984.958 | 24.1226 | 76.2431
2019-11-24 17:00:00 | 8.776 | 86.6605 | 10.8423 | 26.9899 | 10.089 | 334.199 | 8.8187 | 18.9082 | 2.416 | 985.257 | 25.5595 | 76.9149
2019-11-24 17:15:00 | 7.4993 | 355.231 | 11.865 | 49.4604 | 14.667 | 35.1083 | 15.44 | 0.19518 | 2.278 | 985.554 | 25.1495 | 83.0806
2019-11-24 17:30:00 | 9.0313 | 0.75633 | 11.098 | 45.7763 | 12.378 | 10.4666 | 12.6387 | 2.9765 | 1.989 | 985.406 | 23.3726 | 80.8063
2019-11-24 17:45:00 | 11.074 | 175.151 | 10.331 | 47.2646 | 12.6323 | 21.6408 | 12.8933 | 348.644 | 1.864 | 985.703 | 21.7324 | 79.3911
2019-11-24 18:00:00 | 10.5633 | 8.1 | 13.9103 | 43.6293 | 12.378 | 0.048795 | 12.6387 | 16.0049 | 1.753 | 985.851 | 23.0993 | 82.8865
2019-11-24 18:15:00 | 13.1167 | 15.1266 | 14.933 | 59.0487 | 13.141 | 26.5203 | 11.8747 | 4.782 | 1.606 | 985.851 | 22.7576 | 79.8325
2019-11-24 18:30:00 | 9.7973 | 2.3179 | 8.797 | 41.3136 | 11.1063 | 16.957 | 11.8747 | 9.2471 | 1.554 | 986.446 | 22.3483 | 81.1134
2019-11-24 18:45:00 | 9.2867 | 32.3796 | 14.4217 | 49.2245 | 13.141 | 264.015 | 12.384 | 10.6387 | 1.451 | 986.446 | 22.0084 | 78.4944
2019-11-24 19:00:00 | 12.8613 | 85.0399 | 15.7 | 62.9169 | 13.6497 | 20.0582 | 11.1107 | 13.8846 | 1.24 | 986.595 | 19.5486 | 82.4777
2019-11-24 19:15:00 | 8.2653 | 83.6754 | 14.933 | 48.9852 | 13.3953 | 347.513 | 13.148 | 16.74 | 1.091 | 986.936 | 19.8909 | 76.848
2019-11-24 19:30:00 | 12.0953 | 81.1968 | 15.9557 | 55.071 | 10.852 | 5.662 | 9.0733 | 17.0106 | 0.984 | 986.515 | 20.0302 | 79.4392
2019-11-24 19:45:00 | 7.244 | 83.6388 | 13.9103 | 48.4339 | 14.1583 | 311.833 | 12.384 | 20.3056 | 0.813 | 986.929 | 19.7571 | 80.0562
2019-11-24 20:00:00 | 6.478 | 84.1766 | 13.6547 | 58.2947 | 10.852 | 18.2557 | 10.092 | 13.1305 | 0.744 | 987.618 | 18.3217 | 82.0662
2019-11-24 20:15:00 | 14.904 | 72.6325 | 19.0237 | 50.9485 | 17.4647 | 19.4028 | 16.4587 | 19.1832 | 0.568 | 986.748 | 18.7318 | 77.2851
2019-11-24 20:30:00 | 11.3293 | 88.9602 | 13.399 | 47.312 | 12.6323 | 0.26847 | 12.8933 | 18.451 | 0.489 | 987.046 | 19.3813 | 75.2555
2019-11-24 20:45:00 | 12.0953 | 88.228 | 15.1887 | 68.5209 | 16.7017 | 12.5935 | 16.968 | 22.8685 | 0.473 | 986.897 | 18.2533 | 74.2037
2019-11-24 21:00:00 | 16.9467 | 90.0583 | 19.535 | 54.3652 | 17.719 | 3.0752 | 16.7133 | 17.5723 | 0.449 | 987.194 | 18.5951 | 71.2062
2019-11-24 21:15:00 | 9.0313 | 79.3161 | 13.399 | 40.3534 | 13.6497 | 7.3703 | 13.912 | 25.0395 | 0.474 | 987.343 | 17.7739 | 71.7787
2019-11-24 21:30:00 | 3.1587 | 88.2033 | 16.467 | 51.412 | 14.9213 | 272.371 | 15.9493 | 24.6013 | 0.473 | 987.641 | 18.0481 | 83.0736
2019-11-24 21:45:00 | 9.2867 | 86.2495 | 17.234 | 60.0993 | 16.956 | 9.0301 | 16.7133 | 22.1603 | 0.63 | 986.748 | 16.6122 | 82.6389
2019-11-24 22:00:00 | 12.3507 | 83.5664 | 13.1433 | 54.7802 | 14.9213 | 8.8106 | 15.1853 | 22.1363 | 0.515 | 987.046 | 17.2962 | 82.8828
2019-11-24 22:15:00 | 14.138 | 89.1025 | 16.2113 | 42.6231 | 12.8867 | 21.1835 | 12.1293 | 14.5698 | 0.265 | 987.343 | 17.3637 | 81.9015
2019-11-24 22:30:00 | 8.5207 | 86.2266 | 14.6773 | 58.0262 | 13.141 | 100.87 | 13.148 | 28.7748 | 0.256 | 987.492 | 16.886 | 78.2273
2019-11-24 22:45:00 | 8.01 | 78.1483 | 15.4443 | 47.6537 | 11.8693 | 28.2378 | 12.1293 | 10.2506 | 0.204 | 987.938 | 16.6125 | 78.2457
2019-11-24 23:00:00 | 9.0313 | 84.0057 | 13.9103 | 56.0738 | 15.43 | 17.792 | 14.4213 | 17.9873 | 0.227 | 987.938 | 16.7493 | 74.9758
2019-11-24 23:15:00 | 9.7973 | 118.028 | 14.933 | 44.0171 | 12.1237 | 1.2935 | 11.62 | 8.4445 | 0.188 | 987.938 | 17.8431 | 69.7292
2019-11-24 23:30:00 | 10.0527 | 83.9323 | 8.5413 | 35.3528 | 11.615 | 21.941 | 11.3653 | 7.7123 | 0.064 | 987.938 | 18.2532 | 68.33
2019-11-24 23:45:00 | 4.18 | 84.7379 | 10.5867 | 42.5284 | 13.6497 | 7.5659 | 12.6387 | 15.4002 | -0.007 | 988.83 | 18.5267 | 67.5196