## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-25 00:00:00 | 4.4353 | 80.1496 | 8.797 | 41.0884 | 9.326 | 39.4646 | 9.328 | 25.5044 | -0.112 | 988.83 | 19.9966 | 57.7186
2019-11-25 00:15:00 | 5.4567 | 84.0057 | 7.263 | 52.8033 | 8.3087 | 41.3439 | 7.2907 | 20.8184 | -0.286 | 989.127 | 21.5006 | 39.0574
2019-11-25 00:30:00 | 5.9673 | 86.0558 | 8.2857 | 44.1148 | 6.274 | 10.7875 | 5.508 | 13.9359 | -0.394 | 989.127 | 22.4919 | 29.6364
2019-11-25 00:45:00 | 4.6907 | 85.8362 | 8.2857 | 57.831 | 8.8173 | 27.5301 | 8.3093 | 15.7663 | -0.533 | 989.127 | 23.5173 | 29.1117
2019-11-25 01:00:00 | 4.946 | 10.6899 | 6.496 | 48.2394 | 7.5457 | 35.3644 | 6.272 | 2.9531 | -0.734 | 989.127 | 24.4744 | 30.9739
2019-11-25 01:15:00 | 3.414 | 33.3143 | 8.5413 | 46.8727 | 7.8 | 1.7572 | 7.5453 | 14.1799 | -0.847 | 989.127 | 25.9785 | 32.8139
2019-11-25 01:30:00 | 7.244 | 20.5011 | 9.8197 | 64.4694 | 9.8347 | 11.7637 | 9.328 | 31.2642 | -0.907 | 988.979 | 27.0723 | 35.4779
2019-11-25 01:45:00 | 9.0313 | 19.9886 | 11.865 | 55.4636 | 9.8347 | 13.5698 | 10.092 | 29.7266 | -0.766 | 988.533 | 24.2694 | 29.544
2019-11-25 02:00:00 | 4.4353 | 87.9595 | 9.0527 | 58.8316 | 9.5803 | 37.3901 | 9.328 | 24.284 | -0.756 | 988.83 | 23.3806 | 22.9154
2019-11-25 02:15:00 | 4.6907 | 84.9823 | 7.0073 | 51.5833 | 6.5283 | 341.418 | 6.5267 | 12.3495 | -0.818 | 989.127 | 22.7654 | 18.4003
2019-11-25 02:30:00 | 4.18 | 85.0796 | 7.263 | 43.0897 | 6.7827 | 3.246 | 6.272 | 9.7624 | -0.892 | 988.83 | 24.4061 | 18.8178
2019-11-25 02:45:00 | 4.946 | 87.0105 | 8.03 | 51.1705 | 9.0717 | 25.0171 | 9.328 | 20.5994 | -1.072 | 988.533 | 24.2702 | 19.0137
2019-11-25 03:00:00 | 4.4353 | 85.9612 | 8.2857 | 61.0066 | 10.5977 | 27.1893 | 7.8 | 16.4503 | -1.211 | 988.533 | 25.2273 | 19.5125
2019-11-25 03:15:00 | 3.6693 | 52.4539 | 7.5187 | 49.7595 | 5.2567 | 349.847 | 4.4893 | 11.8137 | -1.293 | 988.384 | 24.4769 | 18.4964
2019-11-25 03:30:00 | 5.4567 | 72.5949 | 8.03 | 51.5209 | 8.0543 | 24.9957 | 7.8 | 26.143 | -1.503 | 987.938 | 24.2731 | 15.4371
2019-11-25 03:45:00 | 5.2013 | 87.0957 | 7.0073 | 55.1591 | 6.274 | 13.2792 | 6.5267 | 26.6072 | -1.572 | 988.235 | 26.1196 | 13.15
2019-11-25 04:00:00 | 4.6907 | 86.3879 | 5.4733 | 47.3235 | 5.2567 | 350.36 | 5.508 | 14.1824 | -1.779 | 987.938 | 26.9402 | 12.4886
2019-11-25 04:15:00 | 1.6267 | 18.6494 | 6.2403 | 49.618 | 5.7653 | 333.322 | 6.0173 | 28.023 | -2.003 | 987.938 | 29.265 | 10.6929
2019-11-25 04:30:00 | 3.6693 | 86.5832 | 5.9847 | 45.6148 | 6.0197 | 0.92759 | 4.2347 | 18.3321 | -2.06 | 987.938 | 28.4786 | 9.0635
2019-11-25 04:45:00 | 2.1373 | 86.4367 | 3.9393 | 64.6548 | 4.4937 | 31.3916 | 4.744 | 35.4925 | -2.14 | 987.938 | 29.1624 | 7.0572
2019-11-25 05:00:00 | 0.99933 | 35.2728 | 3.6837 | 68.0722 | 4.4937 | 355.413 | 4.4893 | 23.3362 | -2.16 | 987.938 | 28.2393 | 2.7748
2019-11-25 05:15:00 | 3.414 | 86.8517 | 3.9393 | 44.5895 | 3.222 | 7.2987 | 3.4707 | 1.4646 | -2.276 | 987.969 | 28.3761 | 4.5151
2019-11-25 05:30:00 | 3.6693 | 86.6808 | 3.1723 | 44.0037 | 3.7307 | 0.048821 | 3.216 | 7.6404 | -2.26 | 987.641 | 29.4017 | 6.0448
2019-11-25 05:45:00 | 2.1373 | 86.3881 | 3.428 | 50.6678 | 4.2393 | 356.952 | 4.2347 | 28.023 | -2.622 | 987.946 | 31.4531 | 6.6101
2019-11-25 06:00:00 | 2.9033 | 86.6831 | 3.428 | 33.704 | 2.9677 | 2.8072 | 3.4707 | 13.0354 | -2.879 | 987.79 | 32.9581 | 5.6568
2019-11-25 06:15:00 | 1.882 | 86.4738 | 3.9393 | 43.0365 | 4.2393 | 19.7264 | 2.9613 | 13.7206 | -3.077 | 987.344 | 35.424 | 5.4203
2019-11-25 06:30:00 | 1.882 | 17.3587 | 4.4507 | 67.2571 | 3.7307 | 33.5454 | 3.98 | 21.0941 | -3.337 | 987.478 | 37.0662 | 6.5436
2019-11-25 06:45:00 | 2.3927 | 86.4301 | 3.9393 | 43.7239 | 3.7307 | 15.0398 | 3.7253 | 2.9298 | -3.354 | 987.829 | 38.3669 | 7.1348
2019-11-25 07:00:00 | 2.1373 | 87.0462 | 3.9393 | 49.0998 | 3.4763 | 29.0561 | 3.7253 | 18.2638 | -3.636 | 987.924 | 39.7373 | 7.7296
2019-11-25 07:15:00 | 3.414 | 86.4156 | 3.1723 | 45.7823 | 3.985 | 35.7481 | 4.2347 | 18.6798 | -3.711 | 988.029 | 40.047 | 8.4243
2019-11-25 07:30:00 | 3.1587 | 86.7324 | 4.4507 | 44.6586 | 3.7307 | 0.048836 | 3.7253 | 14.6019 | -3.624 | 988.202 | 39.4654 | 8.1693
2019-11-25 07:45:00 | 2.3927 | 86.7475 | 3.428 | 61.4982 | 3.222 | 20.6065 | 3.4707 | 33.7663 | -3.416 | 988.246 | 38.1617 | 7.1126
2019-11-25 08:00:00 | 2.1373 | 86.5493 | 4.195 | 65.3286 | 4.4937 | 27.9302 | 4.744 | 34.7174 | -3.253 | 988.674 | 38.3314 | 7.2419
2019-11-25 08:15:00 | 3.9247 | 86.6356 | 4.962 | 62.6077 | 5.0023 | 22.7025 | 4.9987 | 28.0485 | -2.877 | 988.534 | 38.3606 | 5.9487
2019-11-25 08:30:00 | 3.6693 | 87.2423 | 4.7063 | 58.4546 | 4.748 | 19.2841 | 4.744 | 24.8985 | -2.746 | 988.687 | 38.8376 | 5.0102
2019-11-25 08:45:00 | 1.882 | 23.8 | 4.4507 | 66.6076 | 3.7307 | 25.0937 | 3.98 | 32.5633 | -2.565 | 988.831 | 39.1795 | 3.0556
2019-11-25 09:00:00 | 2.9033 | 25.8716 | 3.1723 | 61.4223 | 2.9677 | 27.1408 | 2.9613 | 46.3492 | -2.455 | 989.128 | 39.8924 | 1.1232
2019-11-25 09:15:00 | 2.3927 | 62.9921 | 3.1723 | 55.1708 | 2.7133 | 18.8171 | 2.7067 | 21.1357 | -1.837 | 989.128 | 39.8564 | 0.70941
2019-11-25 09:30:00 | 0 | 19.5737 | 1.894 | 47.3608 | 1.696 | 13.1549 | 2.1973 | 27.1396 | -1.37 | 989.59 | 39.207 | 0.22169
2019-11-25 09:45:00 | 0.744 | 24.1538 | 1.894 | 49.0458 | 1.9503 | 12.3941 | 2.1973 | 51.1622 | -1.053 | 990.014 | 39.2962 | -0.24386
2019-11-25 10:00:00 | 2.1373 | 27.4149 | 2.661 | 69.8058 | 1.9503 | 46.3907 | 1.9427 | 26.732 | -0.121 | 990.248 | 37.0298 | -0.26972
2019-11-25 10:15:00 | 1.6267 | 25.5845 | 1.894 | 71.0701 | 1.4417 | 38.8767 | 1.4333 | 35.9988 | 0.426 | 990.305 | 36.6183 | -0.24755
2019-11-25 10:30:00 | 1.6267 | 20.9922 | 2.1497 | 49.3401 | 1.696 | 323.88 | 1.4333 | 7.802 | 0.697 | 990.074 | 35.6498 | -0.26603
2019-11-25 10:45:00 | 2.648 | 24.7439 | 2.4053 | 35.0947 | 1.696 | 7.0209 | 1.688 | 44.4902 | 1.622 | 990.298 | 32.2311 | -0.28081
2019-11-25 11:00:00 | 3.1587 | 318.752 | 3.9393 | 7.5697 | 1.1873 | 309.71 | 1.1787 | 340.249 | 2.661 | 990.063 | 33.9995 | -0.23647
2019-11-25 11:15:00 | 3.1587 | 309.68 | 3.428 | 19.61 | 2.9677 | 294.179 | 2.9613 | 311.07 | 1.592 | 989.711 | 35.8082 | -0.2845
2019-11-25 11:30:00 | 2.1373 | 303.148 | 3.1723 | 309.495 | 3.985 | 266.394 | 3.7253 | 284.211 | 1.471 | 989.287 | 35.0913 | -0.2845
2019-11-25 11:45:00 | 4.6907 | 310.356 | 4.7063 | 330.354 | 4.2393 | 292.758 | 3.98 | 305.164 | 1.888 | 988.993 | 35.4347 | -0.29928
2019-11-25 12:00:00 | 3.1587 | 297.734 | 2.4053 | 19.5125 | 2.9677 | 260.804 | 2.9613 | 328.644 | 1.922 | 988.432 | 33.8676 | -0.25125
2019-11-25 12:15:00 | 2.648 | 312.762 | 2.661 | 12.5893 | 2.459 | 291.359 | 2.1973 | 302.036 | 1.93 | 988.378 | 33.1519 | -0.23647
2019-11-25 12:30:00 | 2.9033 | 261.735 | 3.1723 | 293.146 | 3.985 | 248.889 | 3.7253 | 258.542 | 2.716 | 988.498 | 32.0929 | -0.21061
2019-11-25 12:45:00 | 3.1587 | 307.725 | 4.7063 | 2.594 | 4.2393 | 273.864 | 4.2347 | 318.573 | 2.288 | 988.663 | 30.9336 | -0.27711
2019-11-25 13:00:00 | 2.3927 | 316.271 | 2.4053 | 2.982 | 3.985 | 345.601 | 3.7253 | 319.928 | 2.345 | 988.219 | 30.3568 | -0.24386
2019-11-25 13:15:00 | 3.414 | 284.088 | 3.1723 | 318.336 | 3.4763 | 280.334 | 3.216 | 296.376 | 2.825 | 988.664 | 28.9568 | -0.31037
2019-11-25 13:30:00 | 2.3927 | 268.436 | 1.894 | 317.458 | 0 | 276.043 | 0.308 | 266.973 | 2.544 | 988.367 | 30.2202 | -0.28081
2019-11-25 13:45:00 | 0 | 40.8627 | 1.127 | 68.5033 | 1.4417 | 0.87772 | 1.9427 | 23.6009 | 3.519 | 988.813 | 29.0934 | -0.28081
2019-11-25 14:00:00 | 0 | 332.091 | 1.127 | 52.3135 | 0.933 | 64.9017 | 1.1787 | 343.258 | 2.491 | 988.219 | 30.7321 | -0.24755
2019-11-25 14:15:00 | 2.1373 | 322.074 | 1.894 | 19.8537 | 2.2047 | 296.474 | 2.452 | 337.995 | 2.893 | 988.516 | 29.8446 | -0.2845
2019-11-25 14:30:00 | 2.3927 | 250.199 | 3.1723 | 277.108 | 2.2047 | 236.448 | 2.7067 | 250.979 | 2.466 | 988.219 | 31.0739 | -0.26233
2019-11-25 14:45:00 | 1.6267 | 285.429 | 1.894 | 334.598 | 1.696 | 294.987 | 1.9427 | 297.474 | 3.14 | 988.312 | 29.3666 | -0.29928
2019-11-25 15:00:00 | 2.3927 | 171.399 | 2.9167 | 203.818 | 1.9503 | 185.638 | 2.7067 | 193.147 | 2.979 | 988.466 | 29.5032 | -0.29928
2019-11-25 15:15:00 | 3.414 | 249.809 | 2.9167 | 275.767 | 1.9503 | 249.711 | 2.1973 | 256.05 | 2.584 | 988.204 | 30.2885 | -0.26233
2019-11-25 15:30:00 | 1.882 | 288.335 | 2.4053 | 305.346 | 3.222 | 305.523 | 3.4707 | 292.455 | 2.803 | 987.927 | 30.2548 | -0.26233
2019-11-25 15:45:00 | 2.9033 | 303.053 | 2.4053 | 335.188 | 2.2047 | 331.925 | 2.452 | 306.028 | 2.552 | 987.036 | 30.2589 | -0.29928
2019-11-25 16:00:00 | 0.744 | 315.924 | 1.894 | 3.416 | 1.4417 | 339.581 | 1.1787 | 301.194 | 2.328 | 987.036 | 31.083 | -0.24755
2019-11-25 16:15:00 | 2.9033 | 306.428 | 3.428 | 19.8537 | 2.9677 | 312.721 | 2.7067 | 304.087 | 2.323 | 986.441 | 31.5628 | -0.24755
2019-11-25 16:30:00 | 2.3927 | 314.404 | 3.428 | 14.927 | 2.459 | 306.99 | 2.9613 | 318.355 | 1.96 | 985.698 | 32.1776 | -0.26233
2019-11-25 16:45:00 | 2.1373 | 325.989 | 3.428 | 3.8542 | 2.2047 | 325.55 | 2.452 | 328.599 | 1.507 | 984.955 | 32.3826 | -0.26233
2019-11-25 17:00:00 | 2.3927 | 336.278 | 2.661 | 6.9315 | 2.2047 | 345.621 | 2.1973 | 341.181 | 1.279 | 984.809 | 32.1843 | -0.2845
2019-11-25 17:15:00 | 3.1587 | 356.475 | 3.428 | 29.6737 | 2.2047 | 353.425 | 2.1973 | 89.6372 | 1.212 | 984.365 | 32.7353 | -0.2845
2019-11-25 17:30:00 | 2.3927 | 352.909 | 3.6837 | 29.4814 | 2.459 | 356.959 | 2.9613 | 356.325 | 1.049 | 984.514 | 34.6509 | -0.29928
2019-11-25 17:45:00 | 2.3927 | 86.1268 | 3.428 | 33.0086 | 2.7133 | 343.482 | 2.9613 | 1.806 | 0.812 | 984.551 | 35.8903 | -0.29928
2019-11-25 18:00:00 | 3.1587 | 3.5145 | 2.9167 | 43.0653 | 2.2047 | 17.4748 | 1.9427 | 8.6886 | 0.823 | 984.955 | 36.7458 | -0.13671
2019-11-25 18:15:00 | 2.3927 | 6.9313 | 2.9167 | 45.8719 | 2.7133 | 15.4978 | 2.9613 | 13.2281 | 0.806 | 984.964 | 37.4636 | -0.13671
2019-11-25 18:30:00 | 2.3927 | 23.5272 | 3.428 | 62.2965 | 3.4763 | 31.9961 | 3.216 | 27.1393 | 0.713 | 984.964 | 37.805 | -0.14779
2019-11-25 18:45:00 | 2.3927 | 27.6277 | 2.661 | 69.0578 | 2.459 | 35.8769 | 2.452 | 33.4363 | 0.684 | 984.964 | 36.9168 | -0.29928
2019-11-25 19:00:00 | 2.1373 | 24.3085 | 2.661 | 62.1997 | 2.459 | 26.8467 | 2.452 | 32.3137 | 0.724 | 984.964 | 36.5749 | -0.26603
2019-11-25 19:15:00 | 2.1373 | 25.5776 | 2.661 | 62.3461 | 2.2047 | 24.7478 | 2.1973 | 33.0458 | 0.683 | 984.667 | 36.5066 | -0.2845
2019-11-25 19:30:00 | 2.648 | 31.8743 | 2.661 | 69.4727 | 1.696 | 31.8743 | 1.688 | 47.8115 | 0.754 | 984.518 | 36.028 | -0.28081
2019-11-25 19:45:00 | 1.6267 | 40.6117 | 1.894 | 68.7405 | 0 | 25.9681 | 0.924 | 100.114 | 0.795 | 984.369 | 35.8571 | -0.26972
2019-11-25 20:00:00 | 0 | 112.536 | 0 | 94.611 | 1.1873 | 42.0761 | 1.688 | 121.811 | 0.746 | 984.369 | 36.4382 | -0.26972
2019-11-25 20:15:00 | 0 | 131.646 | 0.75133 | 154.699 | 1.4417 | 93.28 | 1.688 | 141.897 | 0.787 | 984.072 | 36.3015 | -0.2845
2019-11-25 20:30:00 | 0 | 142.971 | 1.127 | 160.995 | 1.696 | 97.8196 | 1.9427 | 149.707 | 0.667 | 983.775 | 36.4382 | -0.29928
2019-11-25 20:45:00 | 0 | 154.393 | 1.3827 | 160.971 | 1.4417 | 97.8196 | 1.688 | 169.378 | 0.587 | 983.775 | 36.5066 | -0.30298
2019-11-25 21:00:00 | 0 | 154.897 | 1.127 | 169.338 | 2.459 | 121.408 | 2.1973 | 169.054 | 0.759 | 983.626 | 36.7838 | -0.29928
2019-11-25 21:15:00 | 1.6267 | 167.991 | 2.661 | 199.252 | 2.9677 | 150.318 | 2.9613 | 175.533 | 0.774 | 983.477 | 37.2648 | -0.33623
2019-11-25 21:30:00 | 1.3713 | 179.023 | 3.1723 | 211.749 | 3.985 | 154.808 | 4.2347 | 182.196 | 0.788 | 983.477 | 38.0509 | -0.31776
2019-11-25 21:45:00 | 1.116 | 166.189 | 2.661 | 193.564 | 3.222 | 158.013 | 3.216 | 186.228 | 0.625 | 983.477 | 38.9013 | -0.15149
2019-11-25 22:00:00 | 3.1587 | 169.63 | 4.4507 | 198.444 | 2.9677 | 163.186 | 3.216 | 184.64 | 0.596 | 983.329 | 38.901 | -0.16996
2019-11-25 22:15:00 | 2.3927 | 160.787 | 3.6837 | 197.165 | 3.7307 | 153.221 | 3.98 | 184.12 | 0.519 | 983.477 | 38.8994 | 0.10715
2019-11-25 22:30:00 | 4.18 | 177.823 | 4.195 | 200.485 | 3.7307 | 162.008 | 4.2347 | 177.872 | 0.592 | 983.18 | 39.0361 | 0.70202
2019-11-25 22:45:00 | 3.6693 | 179.873 | 3.428 | 207.562 | 4.2393 | 164.741 | 4.2347 | 187.976 | 0.609 | 983.329 | 39.7197 | 0.97174
2019-11-25 23:00:00 | 2.9033 | 182.46 | 4.195 | 204.268 | 5.511 | 174.796 | 5.508 | 185.047 | 0.629 | 983.18 | 39.7197 | 1.2193
2019-11-25 23:15:00 | 3.9247 | 179.58 | 4.962 | 204.194 | 3.4763 | 164.302 | 4.2347 | 193.223 | 0.655 | 983.18 | 39.207 | 1.7883
2019-11-25 23:30:00 | 4.946 | 167.328 | 3.9393 | 205.805 | 5.0023 | 157.322 | 5.508 | 184.779 | 0.621 | 983.18 | 39.9248 | 3.1074
2019-11-25 23:45:00 | 4.6907 | 169.037 | 4.4507 | 202.608 | 5.2567 | 155.418 | 5.2533 | 183.192 | 0.691 | 982.883 | 40.1299 | 2.8192