## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-26 00:00:00 | 3.9247 | 179.678 | 4.962 | 204.585 | 5.0023 | 154.124 | 5.508 | 184.51 | 0.682 | 982.585 | 40.4034 | 2.7822
2019-11-26 00:15:00 | 5.9673 | 181.557 | 5.4733 | 214.25 | 5.7653 | 166.352 | 5.7627 | 185.267 | 0.741 | 982.585 | 41.087 | 3.6838
2019-11-26 00:30:00 | 5.4567 | 184.559 | 4.4507 | 213.762 | 5.511 | 168.182 | 5.7627 | 190.026 | 0.68 | 982.585 | 41.6339 | 3.7392
2019-11-26 00:45:00 | 3.9247 | 177.798 | 5.4733 | 204.292 | 5.511 | 176.09 | 5.2533 | 185.291 | 0.59 | 982.585 | 41.9757 | 3.6949
2019-11-26 01:00:00 | 5.9673 | 181.337 | 4.7063 | 221.962 | 5.511 | 171.916 | 6.0173 | 184.974 | 0.558 | 982.585 | 41.7707 | 4.2417
2019-11-26 01:15:00 | 5.2013 | 171.184 | 5.4733 | 205.415 | 5.511 | 155.808 | 5.508 | 173.356 | 0.496 | 982.585 | 42.9328 | 4.4079
2019-11-26 01:30:00 | 4.4353 | 169.818 | 5.2177 | 198.581 | 4.4937 | 157.273 | 4.4893 | 173.137 | 0.427 | 982.585 | 43.0696 | 4.7405
2019-11-26 01:45:00 | 4.6907 | 164.155 | 4.7063 | 202.144 | 4.748 | 163.13 | 4.9987 | 171.843 | 0.404 | 982.288 | 41.3946 | 4.9289
2019-11-26 02:00:00 | 4.946 | 177.823 | 5.2177 | 194.139 | 4.2393 | 159.152 | 4.744 | 174.455 | 0.319 | 982.288 | 40.8819 | 5.5164
2019-11-26 02:15:00 | 4.6907 | 152.684 | 5.2177 | 195.408 | 5.2567 | 158.054 | 5.508 | 167.011 | 0.171 | 982.288 | 40.3692 | 7.4858
2019-11-26 02:30:00 | 5.2013 | 178.213 | 5.2177 | 202.315 | 5.2567 | 153.124 | 5.508 | 177.945 | 0.078 | 982.288 | 40.1983 | 8.4279
2019-11-26 02:45:00 | 4.946 | 166.742 | 5.729 | 200.387 | 6.274 | 156.931 | 6.272 | 176.944 | 0.079 | 982.288 | 41.6339 | 7.3453
2019-11-26 03:00:00 | 5.2013 | 171.672 | 5.4733 | 197.922 | 5.7653 | 155.955 | 6.0173 | 175.504 | 0.208 | 981.99 | 41.0186 | 7.6225
2019-11-26 03:15:00 | 5.2013 | 161.397 | 5.4733 | 204.585 | 5.0023 | 156.37 | 4.9987 | 167.084 | 0.161 | 981.99 | 43.8558 | 7.7592
2019-11-26 03:30:00 | 4.6907 | 159.445 | 4.7063 | 190.136 | 5.511 | 147.169 | 5.508 | 167.231 | -0.004 | 981.99 | 46.2143 | 7.5042
2019-11-26 03:45:00 | 4.18 | 159.713 | 5.2177 | 204.634 | 5.2567 | 159.469 | 4.9987 | 166.157 | -0.007 | 981.396 | 46.4194 | 8.9748
2019-11-26 04:00:00 | 5.4567 | 170.086 | 5.2177 | 206.537 | 5.0023 | 166.425 | 5.2533 | 156.834 | 0.188 | 981.396 | 51.8886 | 9.8874
2019-11-26 04:15:00 | 5.4567 | 171.087 | 6.7517 | 199.972 | 5.7653 | 159.054 | 6.0173 | 179.97 | 0.308 | 981.396 | 51.7519 | 11.1289
2019-11-26 04:30:00 | 5.712 | 163.374 | 5.9847 | 198.679 | 6.5283 | 157.859 | 6.5267 | 169.061 | 0.35 | 981.098 | 51.8886 | 14.724
2019-11-26 04:45:00 | 5.2013 | 136.918 | 5.4733 | 188.086 | 6.274 | 161.837 | 6.272 | 149.853 | -0.28 | 980.801 | 50.1795 | 16.2906
2019-11-26 05:00:00 | 5.4567 | 137.65 | 6.496 | 176.274 | 6.7827 | 136.137 | 6.7813 | 145.045 | -0.554 | 980.504 | 51.6151 | 20.0852
2019-11-26 05:15:00 | 4.946 | 137.577 | 5.729 | 174.028 | 7.2913 | 164.643 | 6.7813 | 147.632 | -0.824 | 980.206 | 54.2813 | 19.3019
2019-11-26 05:30:00 | 5.4567 | 141.611 | 5.729 | 193.32 | 7.5457 | 154.644 | 7.8 | 147.981 | -0.927 | 980.206 | 55.583 | 23.7837
2019-11-26 05:45:00 | 4.946 | 151.097 | 5.4733 | 182.675 | 6.274 | 196.011 | 6.7813 | 153.88 | -1.001 | 980.057 | 56.4436 | 23.1186
2019-11-26 06:00:00 | 4.18 | 148.755 | 6.2403 | 190.537 | 7.5457 | 154.711 | 7.8 | 154.028 | -0.841 | 980.206 | 57.5724 | 30.5601
2019-11-26 06:15:00 | 5.2013 | 147.438 | 5.729 | 209.945 | 8.8173 | 149.049 | 8.564 | 153.687 | -0.997 | 980.206 | 59.2137 | 36.4829
2019-11-26 06:30:00 | 6.478 | 139.309 | 6.2403 | 179.066 | 8.8173 | 167.82 | 9.5827 | 150.904 | -0.879 | 980.355 | 61.6068 | 36.3942
2019-11-26 06:45:00 | 4.4353 | 135.282 | 5.2177 | 172.792 | 8.0543 | 162.279 | 8.3093 | 149.732 | -1.294 | 980.504 | 63.453 | 37.7761
2019-11-26 07:00:00 | 6.478 | 155.982 | 5.2177 | 188.122 | 7.8 | 159.472 | 8.564 | 161.254 | -1.35 | 980.504 | 65.2991 | 45.3321
2019-11-26 07:15:00 | 6.9887 | 153.052 | 8.03 | 193.272 | 9.0717 | 167.113 | 9.328 | 158.52 | -1.254 | 980.504 | 66.1196 | 51.3288
2019-11-26 07:30:00 | 5.712 | 140.896 | 8.03 | 196.055 | 9.0717 | 181.197 | 9.328 | 137.576 | -1.297 | 980.801 | 66.8376 | 48.2325
2019-11-26 07:45:00 | 6.9887 | 159.358 | 5.729 | 207.285 | 6.0197 | 175.907 | 6.0173 | 137.074 | -1.233 | 980.801 | 67.8222 | 44.9219
2019-11-26 08:00:00 | 4.946 | 163.789 | 5.9847 | 192.919 | 6.7827 | 146.998 | 7.8 | 164.155 | -1.064 | 981.396 | 67.7492 | 38.249
2019-11-26 08:15:00 | 6.478 | 144.362 | 6.496 | 187.623 | 8.563 | 155.467 | 8.564 | 146.754 | -0.793 | 981.99 | 66.2451 | 44.3012
2019-11-26 08:30:00 | 6.478 | 155.857 | 6.7517 | 197.751 | 6.5283 | 159.323 | 7.5453 | 160.812 | -0.608 | 982.585 | 65.4931 | 39.6531
2019-11-26 08:45:00 | 6.478 | 148.275 | 6.496 | 198.605 | 7.5457 | 173.215 | 7.2907 | 150.227 | -0.484 | 982.651 | 64.1186 | 33.2351
2019-11-26 09:00:00 | 5.9673 | 140.606 | 6.7517 | 173.769 | 6.7827 | 154.659 | 6.5267 | 149.95 | -0.249 | 982.88 | 63.6261 | 32.9543
2019-11-26 09:15:00 | 7.4993 | 153.535 | 8.5413 | 184.014 | 7.8 | 156.024 | 8.0547 | 166.417 | 0.012 | 982.879 | 64.0356 | 33.8448
2019-11-26 09:30:00 | 6.9887 | 141.605 | 7.0073 | 177.402 | 6.0197 | 152.096 | 6.0173 | 147.192 | 0.263 | 983.325 | 63.2838 | 32.6661
2019-11-26 09:45:00 | 6.7333 | 154.932 | 6.2403 | 192.064 | 6.5283 | 171.447 | 6.272 | 163.641 | 0.365 | 983.473 | 61.8413 | 25.6016
2019-11-26 10:00:00 | 5.9673 | 147.033 | 6.2403 | 189.316 | 7.2913 | 172.6 | 8.0547 | 151.669 | 0.6 | 983.473 | 61.8778 | 23.1925
2019-11-26 10:15:00 | 8.5207 | 142.01 | 9.3083 | 179.511 | 8.0543 | 132.032 | 8.0547 | 153.085 | 0.864 | 983.325 | 59.8627 | 26.5031
2019-11-26 10:30:00 | 7.7547 | 139.946 | 7.5187 | 333.853 | 6.7827 | 145.849 | 6.7813 | 133.823 | 1.188 | 983.466 | 61.018 | 22.9007
2019-11-26 10:45:00 | 6.7333 | 148.63 | 7.5187 | 128.215 | 6.274 | 154.045 | 6.0173 | 146.094 | 1.109 | 983.345 | 61.7254 | 19.7637
2019-11-26 11:00:00 | 8.2653 | 139.898 | 8.03 | 116.142 | 5.2567 | 141.434 | 5.508 | 144.532 | 1.465 | 983.238 | 57.6601 | 15.5738
2019-11-26 11:15:00 | 4.946 | 148.751 | 4.195 | 121.117 | 3.985 | 152.97 | 4.2347 | 159.36 | 2.114 | 983.173 | 57.7968 | 11.2988
2019-11-26 11:30:00 | 4.4353 | 153.434 | 5.2177 | 136.336 | 5.7653 | 173.701 | 6.0173 | 149.336 | 2.182 | 982.875 | 58.3433 | 10.1645
2019-11-26 11:45:00 | 6.2227 | 133.361 | 6.7517 | 113.02 | 5.511 | 150.946 | 5.2533 | 143.215 | 2.218 | 982.875 | 58.8215 | 8.8085
2019-11-26 12:00:00 | 6.7333 | 146.19 | 5.9847 | 123.459 | 4.748 | 153.19 | 4.4893 | 151.922 | 2.269 | 982.727 | 57.7285 | 9.0339
2019-11-26 12:15:00 | 4.946 | 159.751 | 4.962 | 74.8748 | 5.2567 | 160.775 | 6.272 | 171.409 | 2.299 | 982.578 | 58.5141 | 8.8011
2019-11-26 12:30:00 | 4.4353 | 140.044 | 4.4507 | 143.458 | 4.4937 | 158.141 | 4.4893 | 155.458 | 2.587 | 982.59 | 56.9086 | 7.5227
2019-11-26 12:45:00 | 5.2013 | 149.019 | 5.2177 | 137.629 | 3.985 | 130.459 | 4.4893 | 154.166 | 2.493 | 982.311 | 55.474 | 4.8218
2019-11-26 13:00:00 | 6.2227 | 133.117 | 5.9847 | 139.482 | 5.511 | 152.166 | 5.2533 | 150.312 | 2.636 | 982.026 | 53.6294 | 5.6162
2019-11-26 13:15:00 | 5.2013 | 139.898 | 5.2177 | 137.263 | 4.2393 | 144.385 | 4.4893 | 145.776 | 2.727 | 982.009 | 56.6354 | 5.3538
2019-11-26 13:30:00 | 6.9887 | 156.922 | 5.729 | 153.799 | 5.0023 | 164.653 | 4.9987 | 159.19 | 2.782 | 981.728 | 56.5671 | 7.5486
2019-11-26 13:45:00 | 4.6907 | 167.555 | 3.9393 | 152.433 | 2.9677 | 152.409 | 3.216 | 167.214 | 2.835 | 981.401 | 57.4552 | 7.3638
2019-11-26 14:00:00 | 6.9887 | 140.119 | 6.2403 | 147.996 | 6.0197 | 158.362 | 6.272 | 164.533 | 2.985 | 981.474 | 57.1825 | 8.6866
2019-11-26 14:15:00 | 5.712 | 156.729 | 5.2177 | 149.704 | 4.2393 | 153.095 | 4.4893 | 158.387 | 3.145 | 981.215 | 57.9343 | 7.0645
2019-11-26 14:30:00 | 5.2013 | 137.318 | 4.195 | 136.586 | 4.4937 | 132.757 | 4.2347 | 143.659 | 3.155 | 981.208 | 57.3208 | 5.7122
2019-11-26 14:45:00 | 4.946 | 154.95 | 4.962 | 149.609 | 4.2393 | 147.072 | 4.2347 | 153.072 | 3.191 | 981.253 | 57.3885 | 4.6518
2019-11-26 15:00:00 | 2.3927 | 142.706 | 2.9167 | 130.779 | 3.222 | 131.95 | 3.4707 | 149.51 | 3.143 | 981.097 | 58.6862 | 2.8044
2019-11-26 15:15:00 | 4.4353 | 187.051 | 4.4507 | 194.197 | 2.9677 | 194.807 | 3.216 | 190.173 | 3.196 | 981.278 | 58.6874 | 3.2773
2019-11-26 15:30:00 | 5.9673 | 149.516 | 5.2177 | 141.613 | 4.2393 | 158.15 | 4.4893 | 153.028 | 3.234 | 980.979 | 59.8497 | 3.451
2019-11-26 15:45:00 | 2.9033 | 150.798 | 4.195 | 141.946 | 3.4763 | 145.407 | 3.216 | 155.433 | 3.23 | 981.681 | 60.197 | 2.8635
2019-11-26 16:00:00 | 3.9247 | 147.742 | 3.9393 | 134.427 | 4.2393 | 144.619 | 4.744 | 153.743 | 3.182 | 981.369 | 61.1608 | 3.0963
2019-11-26 16:15:00 | 4.6907 | 149.647 | 4.195 | 145.7 | 4.4937 | 150.525 | 4.2347 | 153.453 | 3.118 | 981.065 | 61.845 | 1.8105
2019-11-26 16:30:00 | 4.4353 | 140.863 | 4.4507 | 147.04 | 3.7307 | 154.867 | 3.7253 | 146.718 | 3.057 | 980.798 | 62.3229 | 2.0063
2019-11-26 16:45:00 | 2.648 | 134.441 | 3.1723 | 131.59 | 2.459 | 146.662 | 2.7067 | 131.586 | 3.074 | 981.095 | 62.5932 | 1.3043
2019-11-26 17:00:00 | 2.9033 | 133.929 | 3.428 | 135.397 | 2.7133 | 144.468 | 2.7067 | 116.95 | 3.107 | 980.798 | 62.8328 | 1.1454
2019-11-26 17:15:00 | 1.6267 | 131.983 | 2.4053 | 131.695 | 2.459 | 140.911 | 2.7067 | 149.011 | 3.136 | 981.058 | 62.6985 | -0.24386
2019-11-26 17:30:00 | 1.6267 | 111.978 | 2.661 | 109.007 | 2.7133 | 109.295 | 2.452 | 118.273 | 3.197 | 981.059 | 62.6647 | -0.17366
2019-11-26 17:45:00 | 1.882 | 118.622 | 1.894 | 108.771 | 1.4417 | 110.424 | 2.1973 | 117.914 | 3.197 | 981.085 | 62.7712 | -0.20691
2019-11-26 18:00:00 | 2.1373 | 87.8319 | 2.1497 | 90.6682 | 2.7133 | 98.5669 | 2.9613 | 110.497 | 3.11 | 981.094 | 63.4546 | -0.24016
2019-11-26 18:15:00 | 1.6267 | 113.742 | 1.894 | 92.132 | 2.2047 | 77.6092 | 2.452 | 122.403 | 3.14 | 981.095 | 62.8396 | -0.26233
2019-11-26 18:30:00 | 0 | 91.9551 | 1.127 | 112.285 | 1.1873 | 71.1438 | 1.4333 | 138.823 | 3.228 | 981.541 | 62.0536 | -0.24016
2019-11-26 18:45:00 | 1.3713 | 60.799 | 1.894 | 111.699 | 0.933 | 39.0362 | 1.4333 | 80.3415 | 3.146 | 981.541 | 62.7368 | -0.26233
2019-11-26 19:00:00 | 1.3713 | 66.4838 | 1.3827 | 64.1234 | 0.622 | 58.6522 | 1.1787 | 83.3671 | 3.072 | 981.69 | 62.2587 | -0.26233
2019-11-26 19:15:00 | 1.882 | 64.7028 | 2.1497 | 55.9502 | 1.1873 | 51.3572 | 1.688 | 66.5082 | 3.246 | 981.688 | 61.3702 | -0.25125
2019-11-26 19:30:00 | 1.6267 | 54.016 | 1.894 | 51.4358 | 0 | 45.1109 | 0 | 49.3317 | 3.256 | 981.987 | 61.0279 | -0.24016
2019-11-26 19:45:00 | 1.3713 | 59.4329 | 2.661 | 56.5113 | 1.1873 | 50.9425 | 1.4333 | 59.2865 | 3.261 | 981.987 | 60.8918 | -0.26233
2019-11-26 20:00:00 | 1.3713 | 66.6541 | 1.894 | 57.2914 | 0 | 60.3839 | 0.616 | 53.211 | 3.236 | 982.278 | 60.618 | -0.24016
2019-11-26 20:15:00 | 1.6267 | 31.1803 | 2.1497 | 48.2405 | 0.622 | 51.2353 | 1.1787 | 38.7192 | 3.378 | 982.284 | 60.4818 | -0.26233
2019-11-26 20:30:00 | 1.3713 | 29.7164 | 1.894 | 41.9703 | 1.696 | 32.7906 | 1.9427 | 34.8644 | 3.263 | 982.582 | 60.4818 | -0.26233
2019-11-26 20:45:00 | 1.116 | 28.3499 | 2.1497 | 39.3347 | 1.4417 | 33.2782 | 1.9427 | 29.155 | 3.211 | 982.582 | 60.6179 | -0.28081
2019-11-26 21:00:00 | 1.6267 | 30.692 | 1.6383 | 39.7739 | 0.933 | 47.2336 | 1.4333 | 29.3746 | 3.238 | 982.7 | 59.5928 | -0.26233
2019-11-26 21:15:00 | 1.116 | 15.614 | 1.6383 | 15.8146 | 1.696 | 27.1049 | 1.9427 | 16.3947 | 3.332 | 982.829 | 59.5912 | -0.24016
2019-11-26 21:30:00 | 1.882 | 11.6129 | 2.9167 | 15.3026 | 2.2047 | 16.9316 | 2.452 | 14.0527 | 3.328 | 983.024 | 59.6601 | -0.25125
2019-11-26 21:45:00 | 2.1373 | 17.1757 | 2.661 | 15.669 | 2.9677 | 23.0799 | 3.216 | 20.0303 | 3.267 | 982.986 | 59.5242 | -0.26233
2019-11-26 22:00:00 | 1.882 | 17.2245 | 3.428 | 15.3761 | 3.7307 | 17.6149 | 3.7253 | 22.3967 | 3.268 | 982.874 | 59.729 | -0.25864
2019-11-26 22:15:00 | 1.3713 | 14.2479 | 2.1497 | 16.1076 | 2.9677 | 20.8351 | 3.216 | 17.7123 | 3.261 | 983.168 | 58.9766 | -0.17735
2019-11-26 22:30:00 | 2.648 | 14.6142 | 3.6837 | 14.7422 | 3.7307 | 15.3705 | 2.1973 | 12.6868 | 3.251 | 983.325 | 59.5247 | -0.096066
2019-11-26 22:45:00 | 1.6267 | 2.6349 | 2.661 | 0.49375 | 2.9677 | 8.9294 | 2.9613 | 7.1728 | 3.198 | 983.471 | 59.4557 | 0.11084
2019-11-26 23:00:00 | 2.9033 | 8.783 | 3.428 | 0.78652 | 2.7133 | 356.982 | 3.216 | 6.7337 | 3.2 | 983.432 | 59.4215 | 0.1441
2019-11-26 23:15:00 | 0 | 18.4933 | 2.4053 | 6.0077 | 2.7133 | 25.7149 | 2.9613 | 15.4192 | 3.053 | 983.464 | 59.6952 | -0.18105
2019-11-26 23:30:00 | 1.882 | 17.5653 | 2.661 | 9.5683 | 2.459 | 20.688 | 2.9613 | 21.3955 | 3.053 | 983.471 | 58.3938 | -0.28081
2019-11-26 23:45:00 | 1.3713 | 11.9059 | 2.4053 | 8.9841 | 2.9677 | 26.7395 | 2.452 | 14.1505 | 3.051 | 983.466 | 58.9091 | -0.25125