## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-27 00:00:00 | 1.3713 | 6.2946 | 2.9167 | 1.2626 | 2.459 | 10.491 | 1.9427 | 12.394 | 3.217 | 983.473 | 58.1238 | -0.23647
2019-11-27 00:15:00 | 2.9033 | 4.3915 | 3.6837 | 2.3478 | 3.985 | 344.39 | 3.4707 | 4.7818 | 3.224 | 983.771 | 57.8834 | 0.15888
2019-11-27 00:30:00 | 3.414 | 356.938 | 4.962 | 11.1193 | 5.0023 | 9.9055 | 5.2533 | 0.53675 | 3.126 | 983.77 | 58.2947 | 3.0963
2019-11-27 00:45:00 | 3.1587 | 14.1502 | 3.428 | 0.68856 | 3.4763 | 1.6102 | 3.7253 | 4.1963 | 2.98 | 983.467 | 60.1721 | 7.6816
2019-11-27 01:00:00 | 5.2013 | 13.2722 | 7.263 | 10.0577 | 5.511 | 0.34157 | 5.508 | 8.6367 | 2.714 | 983.473 | 61.2329 | 12.9283
2019-11-27 01:15:00 | 5.9673 | 10.5398 | 5.4733 | 0.83565 | 4.748 | 3.1229 | 5.508 | 17.176 | 2.62 | 983.597 | 62.1903 | 14.0145
2019-11-27 01:30:00 | 4.4353 | 12.3209 | 6.496 | 0.4941 | 6.274 | 13.5895 | 4.9987 | 19.0302 | 2.577 | 983.771 | 62.4637 | 12.4184
2019-11-27 01:45:00 | 3.1587 | 21.9824 | 4.962 | 1.104 | 5.2567 | 356.841 | 4.4893 | 7.0997 | 2.557 | 983.771 | 62.8054 | 10.2052
2019-11-27 02:00:00 | 3.414 | 0.097591 | 5.4733 | 7.2523 | 5.0023 | 6.2214 | 4.9987 | 11.6865 | 2.613 | 983.919 | 62.1561 | 10.8185
2019-11-27 02:15:00 | 4.946 | 12.7356 | 6.2403 | 8.0574 | 6.0197 | 14.9802 | 6.0173 | 20.2501 | 2.607 | 984.068 | 62.4637 | 9.2999
2019-11-27 02:30:00 | 4.6907 | 11.0278 | 6.496 | 9.5213 | 6.0197 | 0.48796 | 6.0173 | 17.7616 | 2.579 | 984.217 | 62.5662 | 8.7014
2019-11-27 02:45:00 | 5.4567 | 8.954 | 5.4733 | 8.0818 | 5.2567 | 1.6102 | 6.5267 | 13.5651 | 2.572 | 984.365 | 62.2587 | 11.5168
2019-11-27 03:00:00 | 2.648 | 0.097591 | 7.263 | 25.331 | 3.7307 | 21.958 | 4.744 | 8.7832 | 2.516 | 984.365 | 62.6004 | 13.3901
2019-11-27 03:15:00 | 5.4567 | 9.9055 | 7.0073 | 4.8857 | 5.511 | 13.4432 | 5.508 | 11.9061 | 2.443 | 984.365 | 62.4637 | 16.1206
2019-11-27 03:30:00 | 4.4353 | 7.0997 | 6.496 | 3.5559 | 7.2913 | 356.988 | 6.5267 | 18.2495 | 2.306 | 984.217 | 62.122 | 16.3201
2019-11-27 03:45:00 | 4.6907 | 4.7576 | 8.797 | 9.3505 | 7.5457 | 16.3709 | 7.036 | 15.2974 | 2.308 | 984.068 | 60.6185 | 17.6466
2019-11-27 04:00:00 | 6.2227 | 11.5157 | 8.5413 | 4.9589 | 7.5457 | 18.2007 | 6.272 | 11.6377 | 2.26 | 984.068 | 60.9602 | 19.3684
2019-11-27 04:15:00 | 5.9673 | 8.4904 | 7.5187 | 4.4709 | 8.3087 | 18.5667 | 7.8 | 12.1745 | 2.237 | 983.771 | 59.3883 | 17.6761
2019-11-27 04:30:00 | 5.9673 | 9.4907 | 8.03 | 9.3505 | 7.5457 | 27.545 | 7.8 | 16.1025 | 2.269 | 983.622 | 59.7984 | 16.9335
2019-11-27 04:45:00 | 4.18 | 11.5889 | 7.5187 | 15.5719 | 8.0543 | 16.6881 | 8.0547 | 21.0309 | 2.236 | 983.622 | 60.0034 | 14.5281
2019-11-27 05:00:00 | 5.2013 | 15.3462 | 8.2857 | 9.9604 | 8.3087 | 9.4663 | 8.3093 | 31.4487 | 2.206 | 983.771 | 58.8416 | 12.4036
2019-11-27 05:15:00 | 3.9247 | 8.954 | 6.7517 | 2.4947 | 7.5457 | 3.4889 | 5.7627 | 13.0772 | 2.16 | 984.068 | 58.4999 | 11.321
2019-11-27 05:30:00 | 5.9673 | 3.3669 | 6.7517 | 4.8857 | 5.511 | 0.048795 | 3.98 | 12.882 | 2.086 | 983.771 | 58.0899 | 10.353
2019-11-27 05:45:00 | 4.18 | 10.1251 | 6.2403 | 3.8122 | 4.748 | 352.645 | 4.744 | 13.0772 | 2.03 | 984.068 | 57.9532 | 7.2456
2019-11-27 06:00:00 | 5.2013 | 85.5385 | 7.0073 | 5.8372 | 5.7653 | 0.43916 | 5.508 | 4.6356 | 2.008 | 984.068 | 57.9532 | 6.8429
2019-11-27 06:15:00 | 6.7333 | 5.0259 | 6.496 | 2.4824 | 6.7827 | 267.448 | 6.272 | 13.5407 | 1.863 | 984.068 | 58.91 | 9.5549
2019-11-27 06:30:00 | 4.946 | 1.7322 | 6.2403 | 12.7418 | 7.2913 | 2.4398 | 7.036 | 3.5865 | 1.777 | 984.217 | 60.4818 | 7.9144
2019-11-27 06:45:00 | 4.4353 | 6.7582 | 7.263 | 5.2761 | 5.7653 | 45.0382 | 5.508 | 16.3465 | 1.73 | 984.514 | 60.1401 | 8.0954
2019-11-27 07:00:00 | 6.2227 | 10.735 | 7.263 | 12.5466 | 7.2913 | 7.051 | 6.0173 | 13.8579 | 1.489 | 984.365 | 59.9009 | 10.5044
2019-11-27 07:15:00 | 7.4993 | 2.9765 | 5.9847 | 9.5578 | 6.7827 | 29.7897 | 7.5453 | 3.9036 | 1.534 | 984.96 | 62.4637 | 10.1941
2019-11-27 07:30:00 | 3.9247 | 353.34 | 5.729 | 9.411 | 5.511 | 4.8065 | 5.2533 | 14.8831 | 1.267 | 985.257 | 60.8256 | 14.0848
2019-11-27 07:45:00 | 7.244 | 2.562 | 7.0073 | 11.5577 | 6.5283 | 258.565 | 7.5453 | 2.6352 | 1.168 | 985.257 | 65.4078 | 14.9604
2019-11-27 08:00:00 | 7.244 | 0.14641 | 5.9847 | 16.8766 | 6.0197 | 355.262 | 4.744 | 11.908 | 0.623 | 985.406 | 67.1895 | 19.4866
2019-11-27 08:15:00 | 6.9887 | 356.511 | 7.5187 | 16.7299 | 9.326 | 350.849 | 9.5827 | 0.31725 | 0.432 | 985.595 | 68.3572 | 27.6079
2019-11-27 08:30:00 | 7.4993 | 355.535 | 6.2403 | 10.8969 | 8.0543 | 33.5083 | 9.328 | 225.528 | 0.089 | 985.864 | 65.6957 | 29.867
2019-11-27 08:45:00 | 5.712 | 84.8111 | 6.7517 | 5.0879 | 6.5283 | 2.1233 | 6.5267 | 14.3508 | -0.027 | 986.144 | 62.2116 | 23.3773
2019-11-27 09:00:00 | 4.946 | 1.6352 | 4.195 | 2.2324 | 5.2567 | 356.012 | 4.744 | 11.422 | 0.001 | 986.745 | 62.1432 | 18.5038
2019-11-27 09:15:00 | 3.6693 | 356.988 | 4.4507 | 1.4285 | 4.4937 | 6.4188 | 4.2347 | 9.3231 | 0.029 | 986.748 | 63.4763 | 15.0085
2019-11-27 09:30:00 | 3.6693 | 3.8806 | 5.2177 | 15.8998 | 5.0023 | 356.963 | 4.4893 | 11.178 | 0.202 | 986.729 | 62.8952 | 14.326
2019-11-27 09:45:00 | 5.4567 | 10.2261 | 5.729 | 8.0182 | 5.511 | 354.498 | 5.508 | 7.3706 | 0.388 | 986.639 | 61.9381 | 15.559
2019-11-27 10:00:00 | 2.9033 | 17.4257 | 5.9847 | 7.4077 | 6.7827 | 353.078 | 7.036 | 29.4334 | 0.719 | 986.807 | 59.4079 | 13.1204
2019-11-27 10:15:00 | 4.6907 | 16.2744 | 4.7063 | 2.1152 | 6.0197 | 1.5372 | 5.2533 | 12.8585 | 1.313 | 987.041 | 58.7773 | 15.123
2019-11-27 10:30:00 | 4.6907 | 355.841 | 5.2177 | 18.9265 | 5.511 | 14.5899 | 6.272 | 345.253 | 1.852 | 987.636 | 57.6115 | 13.8741
2019-11-27 10:45:00 | 4.4353 | 9.6608 | 4.4507 | 2.4443 | 5.0023 | 19.4192 | 5.2533 | 88.0695 | 2.602 | 988.23 | 56.5139 | 14.203
2019-11-27 11:00:00 | 3.9247 | 43.8289 | 5.4733 | 12.5854 | 5.0023 | 0 | 5.508 | 21.3657 | 3.811 | 988.006 | 54.6898 | 14.3212
2019-11-27 11:15:00 | 3.414 | 34.194 | 7.263 | 24.7058 | 7.2913 | 1.8536 | 6.5267 | 31.2672 | 3.473 | 987.927 | 54.3126 | 13.8594
2019-11-27 11:30:00 | 5.4567 | 16.9735 | 6.2403 | 6.143 | 5.511 | 26.6796 | 5.508 | 14.8274 | 4.142 | 987.927 | 51.9167 | 14.0589
2019-11-27 11:45:00 | 3.9247 | 12.1906 | 9.0527 | 7.5263 | 9.0717 | 9.1673 | 6.5267 | 16.3841 | 4.671 | 987.897 | 51.7672 | 16.0837
2019-11-27 12:00:00 | 5.9673 | 19.5049 | 5.729 | 12.9632 | 5.511 | 17.7007 | 5.7627 | 23.5034 | 4.38 | 987.487 | 52.0745 | 16.5344
2019-11-27 12:15:00 | 6.478 | 27.4043 | 6.2403 | 18.4246 | 5.7653 | 20.5776 | 5.508 | 35.377 | 4.619 | 987.328 | 52.5525 | 18.0235
2019-11-27 12:30:00 | 6.7333 | 21.0409 | 7.5187 | 11.5004 | 7.037 | 23.8447 | 7.036 | 18.6272 | 4.781 | 987.625 | 54.3623 | 24.1052
2019-11-27 12:45:00 | 6.7333 | 229.109 | 6.496 | 32.8094 | 5.0023 | 40.1069 | 5.7627 | 356.573 | 4.382 | 987.179 | 56.8892 | 29.3186
2019-11-27 13:00:00 | 4.946 | 23.162 | 8.5413 | 15.6451 | 8.3087 | 57.7832 | 8.8187 | 30.2813 | 4.33 | 987.715 | 54.0208 | 32.1858
2019-11-27 13:15:00 | 2.648 | 11.898 | 4.7063 | 9.5986 | 8.3087 | 0.073143 | 7.8 | 25.3807 | 4.299 | 987.894 | 56.9916 | 36.2427
2019-11-27 13:30:00 | 7.4993 | 7.7044 | 7.5187 | 4.5761 | 7.2913 | 12.2881 | 7.5453 | 13.4827 | 4.122 | 987.778 | 58.9039 | 36.4523
2019-11-27 13:45:00 | 4.946 | 19.1396 | 9.0527 | 11.4523 | 8.3087 | 0.048763 | 6.7813 | 18.0424 | 3.84 | 987.778 | 59.4515 | 30.4118
2019-11-27 14:00:00 | 7.4993 | 28.6043 | 7.5187 | 22.7968 | 6.274 | 12.4854 | 4.9987 | 24.4588 | 3.804 | 987.333 | 60.7933 | 25.694
2019-11-27 14:15:00 | 4.18 | 14.999 | 8.03 | 7.8031 | 7.2913 | 77.6291 | 7.2907 | 19.2914 | 3.957 | 987.481 | 58.2049 | 22.8378
2019-11-27 14:30:00 | 2.648 | 11.4629 | 5.9847 | 20.1932 | 5.511 | 310.839 | 4.9987 | 21.8282 | 3.765 | 987.927 | 57.4543 | 25.6599
2019-11-27 14:45:00 | 4.18 | 4.5607 | 7.263 | 23.5585 | 6.274 | 7.4142 | 5.2533 | 353.882 | 3.516 | 987.778 | 57.2489 | 28.3669
2019-11-27 15:00:00 | 5.2013 | 13.0971 | 9.0527 | 16.9012 | 7.037 | 25.3894 | 6.5267 | 8.39 | 3.583 | 987.63 | 57.3185 | 26.7137
2019-11-27 15:15:00 | 6.9887 | 338.94 | 7.7743 | 330.11 | 9.8347 | 27.5356 | 9.8373 | 351.988 | 3.381 | 987.63 | 58.07 | 40.4327
2019-11-27 15:30:00 | 9.7973 | 86.2166 | 7.263 | 1.0237 | 6.5283 | 25.8772 | 6.7813 | 16.6824 | 3.237 | 987.333 | 57.6601 | 42.5979
2019-11-27 15:45:00 | 2.9033 | 15.1702 | 9.564 | 15.9988 | 8.0543 | 23.2919 | 8.8187 | 354.939 | 2.969 | 987.036 | 57.8651 | 38.6318
2019-11-27 16:00:00 | 4.946 | 12.2923 | 8.2857 | 7.0722 | 8.3087 | 4.9267 | 7.8 | 12.6337 | 2.717 | 987.096 | 57.3185 | 33.2167
2019-11-27 16:15:00 | 5.9673 | 22.2979 | 7.263 | 9.0312 | 7.8 | 356.328 | 7.8 | 21.3709 | 2.572 | 987.034 | 58.0857 | 30.9813
2019-11-27 16:30:00 | 7.244 | 28.0057 | 9.0527 | 17.6174 | 8.8173 | 355.023 | 8.564 | 30.1768 | 2.484 | 987.01 | 57.8446 | 26.5438
2019-11-27 16:45:00 | 3.414 | 16.4439 | 6.7517 | 10.4481 | 6.0197 | 10.8813 | 6.0173 | 21.2503 | 2.259 | 987.009 | 58.7386 | 22.5201
2019-11-27 17:00:00 | 5.9673 | 15.273 | 7.5187 | 10.302 | 7.037 | 13.4432 | 6.5267 | 17.4688 | 2.044 | 986.446 | 59.4567 | 18.2415
2019-11-27 17:15:00 | 6.7333 | 28.9845 | 6.2403 | 19.9391 | 6.7827 | 61.3359 | 7.036 | 25.2273 | 1.907 | 987.041 | 59.73 | 15.8139
2019-11-27 17:30:00 | 2.1373 | 21.6408 | 6.496 | 16.499 | 6.5283 | 34.1568 | 6.272 | 26.3984 | 1.689 | 987.338 | 60.3451 | 13.1721
2019-11-27 17:45:00 | 4.4353 | 19.6646 | 6.496 | 7.4231 | 6.274 | 18.2251 | 5.2533 | 20.8113 | 1.573 | 987.338 | 61.0969 | 10.8259
2019-11-27 18:00:00 | 3.1587 | 14.1995 | 5.9847 | 11.9122 | 5.0023 | 12.3209 | 4.4893 | 14.7362 | 1.362 | 987.338 | 61.4386 | 8.4058
2019-11-27 18:15:00 | 0 | 21.571 | 5.2177 | 11.5757 | 4.748 | 2.733 | 4.744 | 27.5982 | 1.254 | 987.635 | 61.7901 | 7.5855
2019-11-27 18:30:00 | 2.3927 | 10.1029 | 4.7063 | 6.0626 | 4.2393 | 11.1279 | 3.216 | 13.6658 | 1.015 | 987.635 | 62.4093 | 6.6064
2019-11-27 18:45:00 | 3.414 | 6.5407 | 4.962 | 7.969 | 3.985 | 354.957 | 3.216 | 16.7911 | 0.972 | 987.742 | 62.4842 | 5.8157
2019-11-27 19:00:00 | 1.882 | 10.7387 | 3.428 | 4.6501 | 3.222 | 353.424 | 2.452 | 15.4002 | 0.953 | 988.217 | 61.2545 | 4.4486
2019-11-27 19:15:00 | 2.648 | 0.12203 | 4.195 | 5.7728 | 3.985 | 30.3856 | 3.4707 | 17.3771 | 0.737 | 987.938 | 63.1687 | 4.5521
2019-11-27 19:30:00 | 1.6267 | 8.9814 | 3.1723 | 2.6488 | 3.985 | 31.5327 | 3.98 | 14.9853 | 0.613 | 988.235 | 62.8269 | 4.3747
2019-11-27 19:45:00 | 2.9033 | 25.8701 | 2.4053 | 16.2181 | 2.7133 | 29.6286 | 2.9613 | 25.8701 | 0.525 | 988.235 | 63.3046 | 3.7207
2019-11-27 20:00:00 | 1.116 | 28.9453 | 2.4053 | 16.9016 | 2.459 | 8.5908 | 2.7067 | 37.6093 | 0.34 | 988.235 | 64.0567 | 2.4903
2019-11-27 20:15:00 | 1.116 | 30.9465 | 1.894 | 16.926 | 2.2047 | 36.9016 | 2.7067 | 34.0705 | 0.277 | 988.235 | 64.3301 | 1.1639
2019-11-27 20:30:00 | 0.744 | 27.6277 | 1.894 | 16.1698 | 2.9677 | 6.492 | 2.9613 | 29.629 | 0.273 | 988.533 | 63.9549 | 0.72419
2019-11-27 20:45:00 | 1.3713 | 39.0009 | 1.894 | 16.4139 | 2.459 | 28.9212 | 2.7067 | 32.3869 | 0.233 | 988.533 | 63.9207 | 0.50619
2019-11-27 21:00:00 | 0.372 | 30.6052 | 1.6383 | 16.6091 | 1.9503 | 25.2847 | 2.1973 | 33.2899 | 0.204 | 988.681 | 63.8523 | 0.055423
2019-11-27 21:15:00 | 1.6267 | 26.1633 | 2.9167 | 16.4627 | 2.459 | 22.8441 | 2.7067 | 31.0445 | 0.145 | 988.533 | 63.6472 | 0.45447
2019-11-27 21:30:00 | 1.882 | 30.0195 | 3.1723 | 16.8044 | 2.9677 | 23.8203 | 3.4707 | 33.5095 | 0.145 | 988.533 | 64.5702 | 0.95327
2019-11-27 21:45:00 | 0 | 24.0644 | 2.9167 | 16.902 | 3.4763 | 0.048812 | 3.98 | 26.7491 | -0.181 | 988.384 | 66.7578 | 1.6294
2019-11-27 22:00:00 | 2.1373 | 25.5288 | 3.428 | 16.6579 | 3.222 | 23.1858 | 3.4707 | 31.5083 | -0.302 | 988.533 | 66.3818 | 1.7588
2019-11-27 22:15:00 | 2.648 | 23.8203 | 3.1723 | 16.121 | 3.222 | 16.5473 | 3.216 | 30.9469 | -0.483 | 988.533 | 66.3134 | 0.46186
2019-11-27 22:30:00 | 0 | 39.7332 | 1.894 | 16.7068 | 1.4417 | 20.1106 | 2.452 | 47.8848 | -0.546 | 988.533 | 66.4502 | -0.11454
2019-11-27 22:45:00 | 1.6267 | 51.4748 | 2.1497 | 17.0257 | 1.9503 | 53.6958 | 2.452 | 47.5696 | -0.487 | 988.235 | 64.0603 | -0.33623
2019-11-27 23:00:00 | 0.372 | 39.0554 | 2.4053 | 32.0414 | 1.9503 | 25.0931 | 2.452 | 35.5893 | -0.445 | 988.384 | 64.9556 | -0.29928
2019-11-27 23:15:00 | 0 | 33.1491 | 1.127 | 31.7986 | 1.1873 | 316.259 | 1.688 | 24.2394 | -0.701 | 988.235 | 66.1196 | -0.29928
2019-11-27 23:30:00 | 0 | 16.6478 | 1.3827 | 31.7986 | 0.311 | 356.976 | 0.924 | 24.215 | -0.753 | 988.235 | 66.2564 | -0.2882
2019-11-27 23:45:00 | 0 | 14.0603 | 1.3827 | 31.5545 | 1.1873 | 356.976 | 1.4333 | 23.3362 | -0.817 | 988.235 | 65.094 | -0.28081