## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-28 00:00:00 | 0.372 | 16.8919 | 1.894 | 31.2615 | 1.4417 | 8.2995 | 1.4333 | 23.3362 | -0.809 | 988.235 | 65.5726 | -0.29928
2019-11-28 00:15:00 | 1.116 | 1.7575 | 1.6383 | 31.1151 | 1.4417 | 8.983 | 1.4333 | 7.7136 | -0.888 | 988.235 | 65.8461 | -0.29928
2019-11-28 00:30:00 | 0.744 | 0.14646 | 1.127 | 30.9198 | 0.933 | 3.9545 | 0.616 | 7.4451 | -1.013 | 988.235 | 66.3932 | -0.12193
2019-11-28 00:45:00 | 0.372 | 11.2775 | 1.6383 | 30.9198 | 1.1873 | 5.175 | 1.688 | 8.2995 | -1.139 | 987.938 | 67.3504 | -0.044338
2019-11-28 01:00:00 | 0.744 | 24.2638 | 1.6383 | 30.9198 | 0.622 | 5.4679 | 1.1787 | 8.2995 | -1.278 | 987.938 | 67.6239 | 0.099761
2019-11-28 01:15:00 | 0.744 | 8.983 | 1.6383 | 30.8954 | 1.1873 | 17.673 | 1.9427 | 8.2995 | -1.442 | 987.94 | 68.8547 | 0.12562
2019-11-28 01:30:00 | 1.882 | 2.0505 | 2.4053 | 30.2363 | 1.1873 | 354.266 | 1.4333 | 15.8178 | -1.743 | 987.969 | 69.1624 | 0.38057
2019-11-28 01:45:00 | 1.882 | 5.2726 | 2.9167 | 29.8946 | 1.4417 | 0.048821 | 2.1973 | 9.7641 | -1.844 | 987.939 | 67.7607 | 0.062812
2019-11-28 02:00:00 | 2.9033 | 10.4232 | 1.894 | 0.40697 | 2.2047 | 0.73231 | 2.452 | 9.9594 | -1.993 | 987.795 | 68.5128 | 0.15518
2019-11-28 02:15:00 | 1.882 | 3.0757 | 2.1497 | 2.2782 | 2.459 | 356.146 | 1.4333 | 9.8617 | -2.091 | 987.794 | 68.0342 | 0.12562
2019-11-28 02:30:00 | 1.6267 | 4.6868 | 2.9167 | 9.0482 | 3.222 | 355.487 | 2.1973 | 8.2507 | -2.233 | 987.641 | 68.5813 | 0.11454
2019-11-28 02:45:00 | 1.3713 | 5.3705 | 2.661 | 2.6046 | 2.459 | 6.3957 | 2.9613 | 17.6736 | -2.398 | 987.641 | 69.6774 | 0.16996
2019-11-28 03:00:00 | 1.6267 | 5.9079 | 2.661 | 2.5574 | 3.222 | 2.6366 | 3.4707 | 15.0383 | -2.389 | 987.492 | 67.9045 | 0.24016
2019-11-28 03:15:00 | 2.3927 | 10.7419 | 3.428 | 0.7134 | 3.222 | 9.6189 | 3.4707 | 23.2904 | -2.492 | 987.247 | 68.1798 | 0.84242
2019-11-28 03:30:00 | 1.882 | 4.8829 | 2.9167 | 0.81034 | 2.7133 | 9.8634 | 3.216 | 20.6545 | -2.605 | 986.906 | 68.4217 | 0.55423
2019-11-28 03:45:00 | 2.648 | 0.6836 | 3.6837 | 3.5935 | 2.9677 | 356.939 | 2.452 | 9.5949 | -2.758 | 986.987 | 66.7464 | 1.0493
2019-11-28 04:00:00 | 0 | 2.295 | 2.1497 | 3.3005 | 3.4763 | 3.3692 | 2.9613 | 8.2033 | -2.833 | 986.846 | 67.3619 | 1.2636
2019-11-28 04:15:00 | 2.1373 | 9.2287 | 3.428 | 1.738 | 3.985 | 17.1389 | 3.7253 | 15.1369 | -3.183 | 986.759 | 71.8755 | 1.5592
2019-11-28 04:30:00 | 1.6267 | 4.004 | 3.1723 | 2.7143 | 3.985 | 9.2532 | 3.98 | 18.5553 | -3.071 | 986.88 | 69.996 | 2.0506
2019-11-28 04:45:00 | 3.1587 | 7.7156 | 3.6837 | 4.0747 | 4.2393 | 12.8919 | 4.4893 | 20.6075 | -3.091 | 986.738 | 66.752 | 2.1763
2019-11-28 05:00:00 | 2.648 | 12.965 | 4.195 | 3.9278 | 5.0023 | 14.6009 | 4.9987 | 25.4661 | -3.066 | 986.611 | 65.0756 | 2.5901
2019-11-28 05:15:00 | 2.3927 | 23.3426 | 3.428 | 2.2195 | 3.7307 | 21.9265 | 4.2347 | 37.7731 | -3.272 | 986.771 | 67.9162 | 1.2526
2019-11-28 05:30:00 | 1.6267 | 48.788 | 3.428 | 37.9205 | 4.2393 | 31.8905 | 4.4893 | 49.9112 | -3.339 | 986.546 | 63.3032 | 1.1639
2019-11-28 05:45:00 | 3.6693 | 50.986 | 4.4507 | 44.6604 | 4.2393 | 45.0767 | 4.2347 | 55.3813 | -2.584 | 986.667 | 49.1108 | 2.1172
2019-11-28 06:00:00 | 1.882 | 46.5401 | 3.6837 | 36.2583 | 5.7653 | 26.9815 | 5.508 | 57.6013 | -2.11 | 986.499 | 49.8613 | 1.8881
2019-11-28 06:15:00 | 2.3927 | 53.6147 | 4.195 | 35.7876 | 2.7133 | 24.0485 | 3.216 | 76.3937 | -2.249 | 986.659 | 49.1372 | 0.4286
2019-11-28 06:30:00 | 2.9033 | 48.2918 | 4.195 | 34.8348 | 4.4937 | 28.3208 | 3.98 | 56.0556 | -2.306 | 986.241 | 50.5044 | 0.55053
2019-11-28 06:45:00 | 2.3927 | 52.4911 | 2.9167 | 44.21 | 1.4417 | 33.9605 | 2.1973 | 55.9823 | -2.515 | 986.57 | 51.1541 | 0.15149
2019-11-28 07:00:00 | 2.9033 | 59.6689 | 4.195 | 41.7197 | 2.459 | 21.2406 | 2.9613 | 61.207 | -2.569 | 986.267 | 51.7696 | 0.20322
2019-11-28 07:15:00 | 2.1373 | 70.7518 | 3.1723 | 43.5741 | 1.4417 | 42.0409 | 1.688 | 71.6307 | -2.355 | 986.486 | 50.5377 | 0.051728
2019-11-28 07:30:00 | 1.882 | 45.8919 | 2.4053 | 46.592 | 2.7133 | 21.286 | 2.7067 | 63.4431 | -2.249 | 986.754 | 48.8553 | -0.25494
2019-11-28 07:45:00 | 1.6267 | 51.0663 | 2.661 | 46.1274 | 1.9503 | 54.9963 | 2.1973 | 66.8841 | -2.065 | 987.195 | 48.9573 | -0.16257
2019-11-28 08:00:00 | 0 | 59.7966 | 1.127 | 57.7112 | 0 | 79.9322 | 0.924 | 61.6271 | -1.13 | 987.938 | 44.4381 | -0.31776
2019-11-28 08:15:00 | 0 | 75.8052 | 1.6383 | 56.7083 | 1.1873 | 40.8069 | 1.4333 | 88.1059 | -0.348 | 988.509 | 44.5052 | -0.29928
2019-11-28 08:30:00 | 1.116 | 57.7741 | 1.3827 | 56.414 | 1.4417 | 39.0853 | 1.9427 | 67.826 | -1.087 | 988.826 | 47.0188 | -0.26972
2019-11-28 08:45:00 | 0 | 39.0811 | 0.75133 | 56.3082 | 0.311 | 51.3275 | 0.924 | 59.134 | -0.774 | 988.974 | 46.057 | -0.2882
2019-11-28 09:00:00 | 1.116 | 114.875 | 0.75133 | 25.3158 | 0 | 38.2917 | 0.924 | 153.508 | -0.011 | 988.984 | 43.0404 | -0.29928
2019-11-28 09:15:00 | 1.116 | 182.853 | 0 | 127.102 | 0 | 180.073 | 0 | 244.064 | 2.344 | 989.265 | 35.9314 | -0.29928
2019-11-28 09:30:00 | 2.1373 | 261.292 | 3.428 | 244.633 | 1.696 | 275.068 | 1.688 | 248.151 | 0.475 | 989.147 | 42.1718 | -0.28081
2019-11-28 09:45:00 | 2.648 | 250.004 | 3.428 | 189.336 | 4.2393 | 190.124 | 3.98 | 275.384 | 0.351 | 989.11 | 41.8986 | -0.29928
2019-11-28 10:00:00 | 0 | 286.502 | 1.127 | 257.603 | 0.933 | 276.433 | 1.4333 | 251.393 | 0.537 | 989.11 | 45.2792 | -0.29928
2019-11-28 10:15:00 | 2.3927 | 295.499 | 2.4053 | 290.079 | 2.459 | 314.37 | 2.1973 | 302.642 | 0.257 | 988.964 | 46.2353 | -0.29928
2019-11-28 10:30:00 | 2.3927 | 298.741 | 3.1723 | 282.472 | 2.459 | 306.178 | 2.452 | 300.253 | 0.674 | 988.813 | 46.7133 | -0.28081
2019-11-28 10:45:00 | 1.116 | 280.999 | 2.9167 | 279.064 | 1.696 | 299.333 | 2.1973 | 310.377 | 0.553 | 988.962 | 47.3251 | -0.28081
2019-11-28 11:00:00 | 2.3927 | 245.955 | 2.661 | 251.431 | 3.4763 | 256.852 | 3.216 | 250.441 | 0.834 | 989.11 | 45.1379 | -0.29928
2019-11-28 11:15:00 | 2.648 | 294.212 | 3.6837 | 304.882 | 3.4763 | 317.812 | 2.7067 | 318.665 | 0.802 | 988.813 | 44.5934 | -0.31037
2019-11-28 11:30:00 | 5.712 | 245.55 | 4.195 | 254.952 | 4.2393 | 252.254 | 4.4893 | 248.622 | 1.135 | 989.11 | 44.8323 | -0.29189
2019-11-28 11:45:00 | 4.18 | 277.747 | 4.7063 | 259.356 | 4.4937 | 263.875 | 4.744 | 281.868 | 0.88 | 988.813 | 44.6983 | -0.12193
2019-11-28 12:00:00 | 4.18 | 300.009 | 4.7063 | 288.811 | 3.4763 | 292.232 | 3.7253 | 297.498 | 0.937 | 988.219 | 41.6937 | -0.040643
2019-11-28 12:15:00 | 1.3713 | 302.033 | 4.195 | 295.467 | 3.4763 | 271.825 | 4.2347 | 297.083 | 1.224 | 988.311 | 39.918 | -0.025864
2019-11-28 12:30:00 | 2.648 | 296.815 | 2.9167 | 292.931 | 3.222 | 301.594 | 2.9613 | 299.692 | 1.258 | 988.291 | 40.3278 | -0.20691
2019-11-28 12:45:00 | 3.6693 | 303.886 | 2.9167 | 283.057 | 3.222 | 284.137 | 3.216 | 304.227 | 1.836 | 988.092 | 40.2254 | -0.13301
2019-11-28 13:00:00 | 3.6693 | 288.891 | 2.9167 | 274.67 | 2.459 | 278.408 | 2.452 | 298.571 | 1.911 | 987.922 | 39.4741 | -0.29928
2019-11-28 13:15:00 | 3.1587 | 265.047 | 2.4053 | 250.776 | 2.459 | 256.44 | 2.452 | 260.341 | 2.327 | 988.219 | 39.3717 | -0.23647
2019-11-28 13:30:00 | 0 | 286.673 | 0 | 262.382 | 0 | 71.4853 | 0.616 | 300.18 | 2.462 | 987.922 | 38.2448 | -0.28081
2019-11-28 13:45:00 | 0 | 304.398 | 1.3827 | 252.337 | 2.2047 | 255.075 | 2.1973 | 337.385 | 2.672 | 987.947 | 37.6985 | -0.29928
2019-11-28 14:00:00 | 0.744 | 43.1057 | 0.75133 | 9.9643 | 0.622 | 27.4043 | 1.1787 | 21.3334 | 3.37 | 988.219 | 38.0399 | -0.26233
2019-11-28 14:15:00 | 3.1587 | 59.0997 | 3.1723 | 46.0727 | 2.459 | 61.5622 | 2.452 | 60.4651 | 2.759 | 988.07 | 38.8595 | -0.26972
2019-11-28 14:30:00 | 0 | 20.5284 | 0.75133 | 64.0641 | 0 | 7.4604 | 0.616 | 333.892 | 2.76 | 987.922 | 37.9025 | -0.25125
2019-11-28 14:45:00 | 0.744 | 20.282 | 1.3827 | 11.9831 | 1.1873 | 31.1055 | 1.688 | 1.1457 | 3.571 | 988.219 | 38.0342 | -0.26972
2019-11-28 15:00:00 | 0.372 | 86.0264 | 0 | 328.152 | 0 | 340.278 | 0.924 | 25.2789 | 3.5 | 988.168 | 37.2483 | -0.25125
2019-11-28 15:15:00 | 1.6267 | 291.221 | 1.894 | 285.823 | 1.9503 | 282.079 | 2.1973 | 302.557 | 3.429 | 988.106 | 38.1036 | -0.24016
2019-11-28 15:30:00 | 0 | 256.792 | 1.3827 | 282.987 | 0.933 | 265.568 | 1.1787 | 263.228 | 3.215 | 987.614 | 38.922 | -0.25125
2019-11-28 15:45:00 | 1.3713 | 241.81 | 2.4053 | 281.105 | 1.4417 | 229.035 | 1.688 | 241.055 | 3.025 | 987.03 | 38.791 | -0.25864
2019-11-28 16:00:00 | 1.3713 | 237.423 | 1.3827 | 280.692 | 0.622 | 242.494 | 1.1787 | 235.18 | 2.608 | 986.359 | 39.2692 | -0.25864
2019-11-28 16:15:00 | 0 | 206.184 | 1.127 | 280.765 | 0.311 | 211.062 | 0.616 | 213.013 | 2.321 | 985.995 | 38.9403 | -0.24016
2019-11-28 16:30:00 | 0.372 | 223.236 | 1.3827 | 280.721 | 0 | 237.602 | 0.924 | 212.017 | 2.317 | 985.55 | 40.205 | -0.24016
2019-11-28 16:45:00 | 0.744 | 209.901 | 1.6383 | 280.751 | 1.1873 | 224.172 | 1.688 | 204.753 | 2.03 | 985.544 | 40.0445 | -0.26972
2019-11-28 17:00:00 | 1.116 | 235.752 | 1.6383 | 280.722 | 0.933 | 263.93 | 1.1787 | 206.597 | 1.959 | 985.554 | 43.1567 | -0.26972
2019-11-28 17:15:00 | 1.3713 | 247.442 | 1.127 | 281.068 | 0 | 301.312 | 0.616 | 206.6 | 1.758 | 985.554 | 44.0458 | -0.2882
2019-11-28 17:30:00 | 1.116 | 272.035 | 1.3827 | 281.264 | 0 | 301.362 | 0 | 206.601 | 1.663 | 985.703 | 45.7202 | -0.25125
2019-11-28 17:45:00 | 0.744 | 341.62 | 1.3827 | 282.676 | 0 | 356.993 | 0 | 297.283 | 1.574 | 985.554 | 46.5473 | -0.25864
2019-11-28 18:00:00 | 0.744 | 0.14642 | 1.127 | 283.339 | 0.622 | 1.5618 | 0.924 | 352.366 | 1.627 | 985.438 | 46.8935 | -0.2882
2019-11-28 18:15:00 | 1.3713 | 0.14642 | 1.6383 | 283.356 | 0 | 2.3673 | 0.616 | 352.386 | 1.653 | 985.614 | 46.5544 | -0.25125
2019-11-28 18:30:00 | 1.882 | 18.0355 | 1.894 | 283.626 | 0.622 | 15.8146 | 0.924 | 4.1002 | 1.636 | 985.431 | 46.5545 | -0.29928
2019-11-28 18:45:00 | 2.1373 | 22.3559 | 2.4053 | 285.417 | 1.4417 | 24.8454 | 1.688 | 35.6573 | 1.555 | 985.438 | 46.8296 | -0.29928
2019-11-28 19:00:00 | 2.1373 | 40.1716 | 2.4053 | 285.753 | 1.696 | 28.5057 | 1.688 | 51.5202 | 1.571 | 984.764 | 46.6236 | -0.29928
2019-11-28 19:15:00 | 2.1373 | 46.9573 | 2.4053 | 9.7266 | 0.933 | 28.6039 | 1.1787 | 54.7184 | 1.621 | 984.593 | 46.351 | -0.25125
2019-11-28 19:30:00 | 1.882 | 42.7106 | 2.1497 | 11.2398 | 1.1873 | 41.2951 | 1.4333 | 69.6794 | 1.704 | 984.59 | 43.6848 | -0.29928
2019-11-28 19:45:00 | 0 | 129.499 | 1.3827 | 29.4467 | 1.1873 | 53.1564 | 1.4333 | 125.496 | 1.813 | 984.597 | 41.4288 | -0.29928
2019-11-28 20:00:00 | 1.3713 | 141.604 | 1.6383 | 30.1057 | 0.933 | 124.569 | 1.4333 | 136.747 | 2.008 | 984.574 | 41.6339 | -0.26972
2019-11-28 20:15:00 | 1.3713 | 141.946 | 1.6383 | 122.971 | 1.696 | 138.431 | 1.688 | 147.193 | 1.96 | 984.704 | 42.1466 | -0.28081
2019-11-28 20:30:00 | 1.6267 | 151.755 | 2.4053 | 136.051 | 1.9503 | 155.074 | 1.9427 | 153.61 | 1.906 | 984.803 | 41.7018 | -0.2882
2019-11-28 20:45:00 | 1.3713 | 151.755 | 2.1497 | 136.05 | 1.696 | 141.065 | 1.9427 | 155.074 | 1.772 | 985.117 | 42.6587 | -0.31776
2019-11-28 21:00:00 | 0 | 151.749 | 1.3827 | 136.069 | 0.933 | 141.743 | 1.1787 | 155.068 | 1.814 | 985.061 | 40.9482 | -0.28081
2019-11-28 21:15:00 | 0 | 151.753 | 0 | 136.049 | 0 | 141.698 | 0 | 152.29 | 1.969 | 985.163 | 41.4278 | -0.26972
2019-11-28 21:30:00 | 0 | 151.755 | 0 | 136.05 | 0 | 141.7 | 0 | 152.267 | 1.937 | 985.303 | 41.2231 | -0.2882
2019-11-28 21:45:00 | 0 | 151.757 | 0 | 136.052 | 0 | 103.091 | 0 | 152.27 | 1.98 | 985.247 | 40.4033 | -0.26972
2019-11-28 22:00:00 | 0.744 | 151.757 | 0 | 135.955 | 0 | 66.8239 | 0 | 152.27 | 1.966 | 985.113 | 39.3779 | -0.29928
2019-11-28 22:15:00 | 0 | 151.757 | 0 | 135.906 | 0 | 66.775 | 0 | 152.27 | 1.992 | 984.964 | 39.5146 | -0.2882
2019-11-28 22:30:00 | 1.116 | 95.4766 | 1.3827 | 135.101 | 0 | 64.7249 | 0 | 152.27 | 1.994 | 984.964 | 41.9757 | -0.29928
2019-11-28 22:45:00 | 1.3713 | 81.5642 | 1.6383 | 135.099 | 1.9503 | 63.5039 | 2.1973 | 95.0851 | 1.806 | 984.805 | 42.112 | -0.29928
2019-11-28 23:00:00 | 0 | 107.85 | 1.127 | 112.745 | 1.696 | 63.5534 | 2.1973 | 113.781 | 2.075 | 984.64 | 37.2586 | -0.31776
2019-11-28 23:15:00 | 0.744 | 148.926 | 1.894 | 113.697 | 1.696 | 134.282 | 1.9427 | 146.485 | 2.158 | 984.918 | 40.6768 | -0.31776
2019-11-28 23:30:00 | 1.3713 | 180.654 | 2.1497 | 174.614 | 2.7133 | 205.035 | 2.7067 | 183.143 | 1.84 | 985.176 | 40.4717 | -0.33623
2019-11-28 23:45:00 | 1.3713 | 174.208 | 1.6383 | 168.168 | 1.9503 | 204.081 | 2.452 | 176.16 | 1.622 | 984.88 | 40.5395 | -0.15888