## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-29 00:00:00 | 1.6267 | 190.413 | 2.1497 | 168.07 | 2.2047 | 192.267 | 2.452 | 193 | 1.534 | 984.874 | 40.0608 | -0.28081
2019-11-29 00:15:00 | 1.882 | 177.042 | 1.894 | 178.129 | 2.459 | 198.519 | 2.7067 | 188.561 | 1.55 | 984.914 | 42.5226 | -0.31776
2019-11-29 00:30:00 | 1.882 | 183.949 | 2.1497 | 176.762 | 2.459 | 205.084 | 2.7067 | 193.735 | 1.248 | 984.792 | 43.3088 | -0.29928
2019-11-29 00:45:00 | 1.3713 | 193.443 | 2.1497 | 177.64 | 2.2047 | 196.664 | 2.7067 | 197.445 | 1.224 | 984.627 | 43.4114 | -0.28081
2019-11-29 01:00:00 | 1.116 | 209.062 | 2.1497 | 178.202 | 1.9503 | 201.936 | 2.1973 | 219.289 | 1.314 | 984.794 | 42.4543 | -0.31776
2019-11-29 01:15:00 | 2.3927 | 214.92 | 2.9167 | 179.105 | 2.459 | 208.086 | 2.7067 | 223.657 | 1.296 | 984.949 | 42.8644 | -0.29928
2019-11-29 01:30:00 | 0.744 | 211.137 | 1.6383 | 179.495 | 1.1873 | 203.693 | 1.4333 | 224.194 | 1.282 | 984.954 | 44.9154 | -0.31776
2019-11-29 01:45:00 | 0 | 219.899 | 1.894 | 212.395 | 1.9503 | 203.156 | 1.9427 | 230.979 | 1.293 | 985.113 | 44.2318 | -0.29928
2019-11-29 02:00:00 | 1.3713 | 243.426 | 1.894 | 223.109 | 1.1873 | 224.487 | 1.4333 | 251.553 | 1.368 | 985.113 | 42.4543 | -0.33623
2019-11-29 02:15:00 | 0 | 243.451 | 0.75133 | 222.963 | 0 | 244.891 | 0 | 250.431 | 1.498 | 984.815 | 41.9074 | -0.29928
2019-11-29 02:30:00 | 1.116 | 86.2511 | 1.894 | 225.647 | 1.1873 | 314.497 | 1.4333 | 346.469 | 1.511 | 984.667 | 43.0012 | -0.29928
2019-11-29 02:45:00 | 1.3713 | 15.7175 | 1.6383 | 225.574 | 0.933 | 314.546 | 1.1787 | 356.134 | 1.437 | 984.667 | 42.1808 | -0.31776
2019-11-29 03:00:00 | 1.3713 | 34.1685 | 1.6383 | 223.768 | 1.4417 | 49.4467 | 1.4333 | 44.7119 | 1.513 | 984.369 | 43.4797 | -0.29928
2019-11-29 03:15:00 | 1.116 | 62.2355 | 1.3827 | 117.65 | 0 | 79.6614 | 0.924 | 73.2427 | 1.564 | 984.369 | 47.2056 | -0.33993
2019-11-29 03:30:00 | 1.882 | 62.1867 | 2.4053 | 64.8844 | 1.4417 | 55.2554 | 1.688 | 65.7256 | 1.564 | 984.221 | 41.0186 | -0.29928
2019-11-29 03:45:00 | 0.744 | 46.0543 | 1.3827 | 49.0204 | 0.933 | 58.1353 | 1.1787 | 51.57 | 1.463 | 984.062 | 42.8303 | -0.29928
2019-11-29 04:00:00 | 0.744 | 46.0787 | 1.3827 | 49.118 | 0 | 60.4295 | 0.616 | 52.0338 | 1.565 | 984.072 | 42.7961 | -0.29928
2019-11-29 04:15:00 | 0.372 | 48.9098 | 2.1497 | 50.3871 | 1.696 | 56.8174 | 1.688 | 56.4757 | 1.512 | 983.774 | 43.0012 | -0.16627
2019-11-29 04:30:00 | 2.1373 | 69.8746 | 2.1497 | 54.8779 | 1.4417 | 62.3819 | 1.688 | 77.4405 | 1.433 | 983.915 | 43.0696 | 0.28081
2019-11-29 04:45:00 | 2.1373 | 82.2485 | 2.661 | 74.3051 | 2.2047 | 72.364 | 2.1973 | 95.2081 | 1.499 | 983.748 | 43.6165 | 1.5112
2019-11-29 05:00:00 | 3.1587 | 112.756 | 3.428 | 113.55 | 3.7307 | 128.132 | 3.98 | 114.269 | 1.552 | 983.775 | 44.7445 | 2.0137
2019-11-29 05:15:00 | 2.3927 | 114.318 | 2.4053 | 112.427 | 2.2047 | 128.669 | 2.1973 | 110.926 | 1.305 | 983.775 | 46.7612 | 2.6825
2019-11-29 05:30:00 | 2.9033 | 118.565 | 3.1723 | 110.231 | 3.985 | 113.732 | 3.7253 | 118.101 | 0.914 | 983.626 | 50.658 | 4.8994
2019-11-29 05:45:00 | 2.3927 | 133.697 | 3.428 | 125.045 | 3.7307 | 133.282 | 3.98 | 127.058 | 1.051 | 983.775 | 49.4958 | 6.9574
2019-11-29 06:00:00 | 5.2013 | 123.739 | 4.962 | 131.171 | 4.748 | 146.949 | 5.2533 | 125.765 | 0.92 | 983.626 | 49.3591 | 12.5551
2019-11-29 06:15:00 | 6.2227 | 123.567 | 7.263 | 117.649 | 6.7827 | 130.034 | 7.036 | 134.061 | 1.16 | 983.775 | 49.6321 | 23.477
2019-11-29 06:30:00 | 5.2013 | 107.385 | 5.4733 | 113.645 | 5.7653 | 128.74 | 6.0173 | 114.609 | 0.991 | 983.775 | 49.8368 | 20.7946
2019-11-29 06:45:00 | 5.712 | 119.102 | 5.9847 | 124.02 | 6.5283 | 143.801 | 6.7813 | 131.402 | 0.949 | 984.072 | 52.0937 | 22.7935
2019-11-29 07:00:00 | 4.18 | 131.158 | 6.2403 | 127.559 | 6.0197 | 132.574 | 5.7627 | 135.039 | 0.788 | 984.072 | 53.3242 | 22.2984
2019-11-29 07:15:00 | 4.946 | 130.816 | 5.4733 | 126.07 | 5.511 | 130.035 | 6.0173 | 141.848 | 0.648 | 984.369 | 54.2127 | 22.5275
2019-11-29 07:30:00 | 4.6907 | 136.747 | 6.2403 | 127.071 | 5.511 | 132.574 | 5.508 | 134.038 | 0.487 | 984.518 | 54.8965 | 21.3451
2019-11-29 07:45:00 | 2.648 | 111.389 | 4.4507 | 121.848 | 4.748 | 125.935 | 4.4893 | 139.359 | 0.582 | 984.667 | 55.1017 | 17.9126
2019-11-29 08:00:00 | 5.4567 | 129.206 | 5.729 | 122.458 | 5.2567 | 125.276 | 4.9987 | 143.435 | 0.678 | 985.177 | 54.4522 | 16.2869
2019-11-29 08:15:00 | 4.18 | 121.069 | 4.7063 | 118.247 | 4.4937 | 139.198 | 4.744 | 115.116 | 0.936 | 985.41 | 53.6512 | 13.3421
2019-11-29 08:30:00 | 3.414 | 138.604 | 3.6837 | 121.287 | 4.4937 | 157.951 | 4.9987 | 129.65 | 1.131 | 985.555 | 52.896 | 12.9246
2019-11-29 08:45:00 | 4.4353 | 148.742 | 4.195 | 153.259 | 4.748 | 152.011 | 4.2347 | 151.084 | 1.437 | 986.435 | 52.0718 | 10.6227
2019-11-29 09:00:00 | 4.18 | 147.127 | 4.7063 | 137.348 | 4.748 | 147.493 | 4.744 | 146.785 | 1.547 | 986.595 | 51.1819 | 8.4612
2019-11-29 09:15:00 | 5.2013 | 157.118 | 3.6837 | 152.044 | 3.7307 | 150.484 | 3.7253 | 139.264 | 1.943 | 986.645 | 50.2138 | 6.3884
2019-11-29 09:30:00 | 5.712 | 149.995 | 4.7063 | 164.286 | 4.2393 | 156.507 | 4.744 | 135.239 | 2.448 | 986.887 | 51.2383 | 6.5325
2019-11-29 09:45:00 | 5.4567 | 142.093 | 5.729 | 140.287 | 3.985 | 137.825 | 3.7253 | 157.019 | 2.137 | 987.036 | 51.0333 | 5.8748
2019-11-29 10:00:00 | 4.6907 | 151.068 | 4.962 | 146.848 | 4.4937 | 155.409 | 4.2347 | 149.605 | 2.345 | 987.036 | 50.3843 | 4.0126
2019-11-29 10:15:00 | 3.6693 | 156.189 | 4.7063 | 151.115 | 3.985 | 152.969 | 3.98 | 159.993 | 2.392 | 987.333 | 48.5052 | 4.105
2019-11-29 10:30:00 | 5.712 | 139.939 | 5.2177 | 147.469 | 3.985 | 167.323 | 4.2347 | 151.132 | 2.756 | 986.887 | 49.5192 | 4.6259
2019-11-29 10:45:00 | 4.946 | 152.227 | 4.962 | 148.128 | 4.748 | 162.665 | 4.744 | 157.837 | 2.442 | 986.887 | 51.6443 | 3.0519
2019-11-29 11:00:00 | 3.414 | 145.506 | 3.428 | 136.75 | 3.222 | 147.409 | 3.4707 | 156.506 | 2.404 | 987.036 | 51.1012 | 2.0063
2019-11-29 11:15:00 | 4.4353 | 149.261 | 3.6837 | 132.919 | 3.4763 | 131.627 | 3.4707 | 146.919 | 2.961 | 987.036 | 49.4612 | 1.7144
2019-11-29 11:30:00 | 4.4353 | 135.937 | 4.195 | 132.765 | 2.9677 | 141.278 | 2.9613 | 144.059 | 2.915 | 986.739 | 50.0735 | 1.6811
2019-11-29 11:45:00 | 3.6693 | 136.572 | 3.1723 | 131.546 | 2.459 | 145.132 | 2.452 | 130.67 | 3.094 | 986.441 | 48.81 | 1.2673
2019-11-29 12:00:00 | 3.9247 | 155.311 | 3.1723 | 141.311 | 1.9503 | 163.555 | 2.452 | 160.872 | 2.921 | 985.996 | 49.1203 | 0.46555
2019-11-29 12:15:00 | 4.18 | 131.508 | 2.9167 | 145.994 | 2.9677 | 159.165 | 3.216 | 133.898 | 2.926 | 985.55 | 50.2818 | 0.66877
2019-11-29 12:30:00 | 3.414 | 137.02 | 3.1723 | 144.336 | 2.9677 | 164.531 | 3.216 | 149.166 | 3.212 | 985.55 | 48.9838 | 0.31776
2019-11-29 12:45:00 | 4.4353 | 145.605 | 3.9393 | 151.165 | 3.222 | 161.238 | 3.216 | 150.19 | 3.116 | 984.956 | 48.8471 | 0.099761
2019-11-29 13:00:00 | 2.648 | 142.873 | 3.428 | 145.043 | 3.222 | 147.117 | 2.9613 | 152.897 | 3.099 | 984.956 | 48.9496 | 7.4506e-09
2019-11-29 13:15:00 | 4.18 | 143.946 | 4.4507 | 136.97 | 3.4763 | 149.361 | 3.4707 | 152.8 | 3.24 | 984.807 | 49.1204 | -0.055423
2019-11-29 13:30:00 | 3.414 | 148.092 | 3.428 | 144.531 | 3.4763 | 146.971 | 3.216 | 145.434 | 3.346 | 984.361 | 49.3254 | -0.23278
2019-11-29 13:45:00 | 2.9033 | 124.288 | 3.1723 | 131.044 | 3.222 | 143.654 | 3.216 | 135.483 | 3.394 | 984.064 | 48.9838 | -0.22169
2019-11-29 14:00:00 | 3.6693 | 148.434 | 3.6837 | 147.848 | 2.9677 | 161.214 | 2.9613 | 148.458 | 3.472 | 984.064 | 49.3254 | 0.059118
2019-11-29 14:15:00 | 4.4353 | 152.726 | 4.195 | 143.141 | 3.985 | 147.214 | 3.98 | 152.141 | 3.537 | 983.767 | 50.0769 | 0.10715
2019-11-29 14:30:00 | 4.4353 | 142.532 | 4.4507 | 143.165 | 4.2393 | 139.215 | 4.4893 | 148.336 | 3.46 | 983.767 | 48.9155 | 0.59487
2019-11-29 14:45:00 | 3.9247 | 143.068 | 3.428 | 136.117 | 3.985 | 140.507 | 3.7253 | 132.117 | 3.505 | 983.772 | 47.0026 | 0.73897
2019-11-29 15:00:00 | 4.18 | 144.044 | 3.6837 | 142.531 | 3.222 | 150.19 | 2.9613 | 149.995 | 3.702 | 983.776 | 47.0709 | 1.5814
2019-11-29 15:15:00 | 3.6693 | 144.312 | 4.4507 | 144.433 | 4.2393 | 144.751 | 4.744 | 149.044 | 3.664 | 983.769 | 47.9248 | 1.1565
2019-11-29 15:30:00 | 3.9247 | 140.727 | 4.7063 | 150.141 | 3.985 | 165.141 | 4.2347 | 157.068 | 3.606 | 983.239 | 47.2075 | 3.451
2019-11-29 15:45:00 | 3.9247 | 139.533 | 4.7063 | 133.899 | 5.2567 | 150.191 | 5.2533 | 139.801 | 3.486 | 983.38 | 47.2763 | 3.8833
2019-11-29 16:00:00 | 3.1587 | 137.285 | 3.9393 | 146.996 | 3.7307 | 155.653 | 3.7253 | 157.531 | 3.481 | 983.377 | 48.0347 | 3.3623
2019-11-29 16:15:00 | 3.6693 | 143.348 | 3.9393 | 130.423 | 4.2393 | 145.348 | 3.98 | 141.152 | 3.355 | 983.169 | 48.9277 | 3.4916
2019-11-29 16:30:00 | 3.1587 | 130.789 | 3.428 | 130.233 | 3.4763 | 143.793 | 3.7253 | 132.595 | 3.314 | 983.003 | 49.3396 | 3.7281
2019-11-29 16:45:00 | 2.9033 | 118.739 | 3.9393 | 116.426 | 3.7307 | 132.523 | 3.7253 | 128.449 | 3.248 | 983.026 | 50.0235 | 1.5666
2019-11-29 17:00:00 | 2.1373 | 147.985 | 2.4053 | 139.402 | 1.4417 | 158.061 | 1.4333 | 131.567 | 3.195 | 983.176 | 50.7051 | 0.26603
2019-11-29 17:15:00 | 2.1373 | 131.785 | 2.1497 | 138.62 | 1.696 | 133.59 | 1.688 | 126.979 | 3.188 | 983.162 | 51.2512 | 0.5025
2019-11-29 17:30:00 | 0 | 140.297 | 1.6383 | 107.49 | 1.4417 | 134.028 | 1.4333 | 136.662 | 3.169 | 983.17 | 51.6264 | 0.036949
2019-11-29 17:45:00 | 1.116 | 144.379 | 1.3827 | 123.428 | 1.1873 | 131.498 | 1.4333 | 138.499 | 3.141 | 982.878 | 52.0734 | -0.10346
2019-11-29 18:00:00 | 1.3713 | 125.051 | 1.894 | 124.812 | 1.1873 | 140.616 | 1.9427 | 136.444 | 3.169 | 982.866 | 52.1052 | -0.26603
2019-11-29 18:15:00 | 0 | 158.899 | 1.6383 | 138.094 | 1.4417 | 136.576 | 1.4333 | 154.923 | 3.111 | 982.879 | 52.0748 | -0.26233
2019-11-29 18:30:00 | 2.1373 | 146.751 | 2.4053 | 136.876 | 1.9503 | 126.135 | 1.9427 | 157.852 | 3.11 | 982.879 | 52.1436 | -0.28081
2019-11-29 18:45:00 | 1.3713 | 135.088 | 1.894 | 137.558 | 2.459 | 148.604 | 2.7067 | 144.651 | 3.103 | 982.855 | 51.9723 | -0.29928
2019-11-29 19:00:00 | 2.1373 | 123.404 | 3.6837 | 121.848 | 2.7133 | 124.209 | 2.9613 | 121.744 | 3.153 | 982.875 | 50.2989 | -0.26233
2019-11-29 19:15:00 | 1.882 | 125.842 | 2.4053 | 114.04 | 1.9503 | 123.256 | 2.452 | 136.674 | 3.195 | 982.86 | 50.5717 | -0.18474
2019-11-29 19:30:00 | 2.1373 | 112.667 | 2.1497 | 113.259 | 2.459 | 118.669 | 2.7067 | 120.255 | 3.255 | 983.015 | 50.23 | -0.081287
2019-11-29 19:45:00 | 1.116 | 38.0603 | 1.894 | 75.4434 | 0.933 | 91.0031 | 1.1787 | 63.8241 | 3.259 | 982.876 | 51.3921 | -0.23278
2019-11-29 20:00:00 | 1.882 | 56.9419 | 2.661 | 56.3129 | 2.459 | 46.7929 | 2.1973 | 73.3121 | 3.059 | 982.878 | 51.937 | -0.24386
2019-11-29 20:15:00 | 0 | 4.4403 | 1.127 | 55.3876 | 0.87633 | 355.42 | 1.688 | 33.8147 | 3.044 | 982.871 | 52.5191 | -0.28081
2019-11-29 20:30:00 | 1.6267 | 3.6597 | 2.9167 | 5.8006 | 1.9503 | 2.2202 | 1.4333 | 9.2711 | 2.941 | 982.879 | 54.4676 | -0.25125
2019-11-29 20:45:00 | 0 | 4.9771 | 1.6383 | 2.4824 | 1.1873 | 349.18 | 0.924 | 9.8079 | 2.784 | 982.857 | 54.3311 | -0.26972
2019-11-29 21:00:00 | 1.882 | 351.913 | 1.894 | 14.1445 | 1.1873 | 340.739 | 1.1787 | 0.24398 | 2.822 | 982.879 | 53.511 | -0.26233
2019-11-29 21:15:00 | 1.882 | 15.6877 | 2.4053 | 10.2409 | 2.2047 | 21.3724 | 2.1973 | 17.7616 | 2.851 | 982.582 | 54.7411 | -0.27711
2019-11-29 21:30:00 | 0 | 20.7869 | 1.894 | 9.9481 | 1.4417 | 98.8108 | 1.9427 | 20.9821 | 2.596 | 982.284 | 56.1763 | -0.26233
2019-11-29 21:45:00 | 0 | 26.3496 | 1.6383 | 9.9481 | 1.1873 | 65.9715 | 1.1787 | 21.0796 | 2.654 | 982.136 | 54.3994 | -0.28081
2019-11-29 22:00:00 | 1.6267 | 29.6189 | 2.661 | 9.8505 | 1.1873 | 39.5243 | 1.4333 | 29.3261 | 2.782 | 982.136 | 54.4678 | -0.25125
2019-11-29 22:15:00 | 1.116 | 43.3304 | 1.6383 | 9.1674 | 1.696 | 25.9348 | 1.9427 | 74.4863 | 2.711 | 981.987 | 53.9211 | -0.26233
2019-11-29 22:30:00 | 0 | 48.7955 | 0.75133 | 9.6066 | 0 | 25.9104 | 0 | 73.3152 | 2.848 | 982.136 | 52.3492 | -0.26233
2019-11-29 22:45:00 | 0 | 48.7955 | 0.75133 | 9.6066 | 0 | 25.8616 | 0 | 74.2911 | 2.972 | 981.987 | 52.6909 | -0.28081
2019-11-29 23:00:00 | 0.372 | 49.7714 | 0 | 9.753 | 0 | 22.4947 | 0 | 74.6327 | 2.85 | 982.136 | 53.0326 | -0.26972
2019-11-29 23:15:00 | 1.116 | 16.6881 | 1.6383 | 10.1677 | 1.1873 | 355.524 | 1.4333 | 72.3637 | 2.879 | 982.136 | 53.716 | -0.26233
2019-11-29 23:30:00 | 0.744 | 3.3425 | 1.6383 | 10.0457 | 1.1873 | 7.4657 | 1.4333 | 72.2173 | 2.716 | 981.838 | 54.8778 | -0.28081
2019-11-29 23:45:00 | 1.116 | 356.012 | 1.6383 | 10.1433 | 1.4417 | 7.4657 | 1.688 | 7.1973 | 2.709 | 981.987 | 54.8437 | -0.26233