## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-30 00:00:00 | 0 | 355.865 | 2.1497 | 10.3385 | 1.1873 | 7.4657 | 1.688 | 0.19518 | 2.658 | 981.69 | 54.9462 | -0.25125
2019-11-30 00:15:00 | 0.744 | 12.1989 | 1.894 | 10.2409 | 0 | 4.0988 | 0 | 0.19518 | 2.739 | 981.69 | 53.4427 | -0.28081
2019-11-30 00:30:00 | 1.6267 | 71.2414 | 1.6383 | 26.4533 | 0 | 42.0617 | 0.616 | 70.3631 | 2.806 | 981.541 | 53.6135 | -0.26233
2019-11-30 00:45:00 | 0.744 | 114.816 | 2.1497 | 65.5385 | 2.459 | 74.1691 | 2.7067 | 123.697 | 2.81 | 981.392 | 51.4608 | -0.26233
2019-11-30 01:00:00 | 2.9033 | 118.061 | 3.428 | 103.55 | 3.222 | 110.034 | 3.216 | 123.013 | 3.054 | 981.095 | 49.6839 | -0.25125
2019-11-30 01:15:00 | 3.1587 | 115.645 | 4.195 | 111.87 | 3.985 | 109.155 | 3.7253 | 120.696 | 3.267 | 981.095 | 48.7613 | -0.29559
2019-11-30 01:30:00 | 2.9033 | 129.942 | 2.9167 | 126.045 | 1.9503 | 134.139 | 1.9427 | 116.768 | 3.329 | 981.076 | 48.7271 | 0.0073897
2019-11-30 01:45:00 | 2.648 | 99.393 | 3.1723 | 136.091 | 1.9503 | 130.816 | 2.1973 | 129.133 | 3.307 | 980.793 | 49.5114 | 0.51358
2019-11-30 02:00:00 | 3.1587 | 134.259 | 4.195 | 128.581 | 3.985 | 129.111 | 4.2347 | 140.676 | 3.306 | 980.781 | 49.82 | 0.49511
2019-11-30 02:15:00 | 3.414 | 130.816 | 3.428 | 123.844 | 3.4763 | 121.447 | 3.98 | 130.889 | 3.325 | 980.499 | 49.6821 | 1.4816
2019-11-30 02:30:00 | 3.9247 | 125.737 | 4.7063 | 136.915 | 3.4763 | 144.375 | 3.216 | 128.103 | 3.407 | 980.457 | 50.0903 | 2.6418
2019-11-30 02:45:00 | 3.9247 | 131.519 | 4.4507 | 122.619 | 3.985 | 123.737 | 3.7253 | 141.351 | 3.431 | 980.491 | 50.6372 | 3.0039
2019-11-30 03:00:00 | 2.1373 | 133.832 | 2.4053 | 141.399 | 2.459 | 141.444 | 2.452 | 134.662 | 3.444 | 980.342 | 50.8405 | 1.7403
2019-11-30 03:15:00 | 2.3927 | 141.565 | 2.9167 | 125.444 | 1.9503 | 146.907 | 2.1973 | 137.345 | 3.419 | 979.902 | 50.8403 | 3.6283
2019-11-30 03:30:00 | 2.1373 | 132.911 | 2.4053 | 142.43 | 2.2047 | 146.841 | 2.452 | 134.082 | 3.354 | 979.877 | 51.5602 | 1.8991
2019-11-30 03:45:00 | 1.6267 | 140.765 | 2.661 | 141.795 | 1.9503 | 154.037 | 1.9427 | 147.474 | 3.326 | 979.893 | 51.594 | 1.84
2019-11-30 04:00:00 | 3.9247 | 141.05 | 3.6837 | 143.298 | 4.748 | 145.441 | 4.744 | 143.587 | 3.279 | 979.609 | 51.8642 | 4.4412
2019-11-30 04:15:00 | 5.4567 | 138.735 | 4.7063 | 139.935 | 4.748 | 128.806 | 4.744 | 142.565 | 3.451 | 979.266 | 53.0954 | 7.6409
2019-11-30 04:30:00 | 5.9673 | 146.567 | 5.4733 | 156.524 | 4.748 | 167.303 | 4.744 | 152.69 | 3.481 | 979.305 | 53.5056 | 7.9846
2019-11-30 04:45:00 | 4.946 | 141.619 | 4.962 | 128.669 | 4.4937 | 135.446 | 4.744 | 137.032 | 3.353 | 979.307 | 54.4297 | 5.328
2019-11-30 05:00:00 | 2.648 | 155.886 | 2.4053 | 147.01 | 2.7133 | 155.105 | 2.7067 | 129.539 | 3.366 | 979.297 | 55.0772 | 4.9585
2019-11-30 05:15:00 | 3.1587 | 152.058 | 3.6837 | 127.545 | 3.7307 | 162.597 | 3.98 | 148.033 | 3.284 | 979.296 | 56.9915 | 8.875
2019-11-30 05:30:00 | 3.9247 | 140.102 | 4.7063 | 131.202 | 5.0023 | 142.127 | 4.9987 | 155.105 | 3.31 | 979.305 | 57.8791 | 9.1965
2019-11-30 05:45:00 | 4.18 | 138.222 | 4.195 | 142.568 | 5.0023 | 151.444 | 4.744 | 147.419 | 3.121 | 979.281 | 59.2451 | 7.5929
2019-11-30 06:00:00 | 5.2013 | 156.621 | 5.729 | 151.307 | 5.7653 | 170.82 | 6.272 | 141.642 | 2.981 | 979.294 | 59.5887 | 6.8835
2019-11-30 06:15:00 | 4.18 | 148.381 | 4.4507 | 141.458 | 5.2567 | 139.183 | 5.2533 | 160.677 | 2.523 | 979.283 | 65.3655 | 4.3193
2019-11-30 06:30:00 | 3.1587 | 143.02 | 3.9393 | 142.245 | 5.0023 | 159.61 | 4.9987 | 161.074 | 2.303 | 979.312 | 67.5209 | 3.7429
2019-11-30 06:45:00 | 3.1587 | 143.898 | 4.195 | 145.075 | 5.0023 | 149.509 | 5.2533 | 153.145 | 2.351 | 979.312 | 66.0174 | 5.9228
2019-11-30 07:00:00 | 5.4567 | 145.557 | 5.729 | 142.367 | 5.2567 | 146.826 | 5.508 | 154.657 | 2.308 | 979.312 | 68.7852 | 7.2715
2019-11-30 07:15:00 | 5.4567 | 151.071 | 5.2177 | 144.587 | 5.2567 | 145.801 | 4.9987 | 156.438 | 1.909 | 979.312 | 76.4736 | 6.6507
2019-11-30 07:30:00 | 3.414 | 154.535 | 3.9393 | 146.637 | 4.748 | 153.218 | 4.9987 | 158.634 | 2.045 | 979.46 | 75.7218 | 5.5053
2019-11-30 07:45:00 | 4.4353 | 150.656 | 4.7063 | 141.928 | 5.0023 | 145.801 | 4.744 | 152.413 | 2.2 | 979.609 | 75.7902 | 6.3293
2019-11-30 08:00:00 | 4.946 | 136.555 | 5.729 | 134.536 | 6.0197 | 132.725 | 5.7627 | 144.753 | 2.279 | 979.609 | 77.1234 | 8.2432
2019-11-30 08:15:00 | 3.9247 | 141.361 | 3.9393 | 148.541 | 5.0023 | 152.292 | 4.9987 | 142.02 | 2.294 | 979.757 | 80.7795 | 8.4058
2019-11-30 08:30:00 | 4.18 | 150.827 | 5.2177 | 141.099 | 5.511 | 150.827 | 5.508 | 149.363 | 2.089 | 979.609 | 86.5883 | 7.3453
2019-11-30 08:45:00 | 4.18 | 143.996 | 4.4507 | 140.293 | 4.748 | 156.829 | 4.744 | 145.655 | 2.023 | 979.609 | 86.9981 | 5.0545
2019-11-30 09:00:00 | 2.648 | 134.627 | 4.195 | 133.169 | 4.748 | 148.29 | 4.744 | 144.142 | 2.024 | 979.609 | 88.8434 | 3.4731
2019-11-30 09:15:00 | 2.3927 | 147.997 | 4.4507 | 144.88 | 3.985 | 146.752 | 3.98 | 151.803 | 2.126 | 979.609 | 88.0233 | 2.3647
2019-11-30 09:30:00 | 2.648 | 138.433 | 2.661 | 152.785 | 3.985 | 163.319 | 4.2347 | 148.094 | 2.079 | 979.757 | 88.57 | 2.1098
2019-11-30 09:45:00 | 4.18 | 157.927 | 4.962 | 147.027 | 4.4937 | 165.002 | 4.2347 | 166.49 | 2.184 | 979.46 | 89.8001 | 3.0889
2019-11-30 10:00:00 | 3.1587 | 161.562 | 3.6837 | 154.444 | 3.985 | 156.609 | 3.7253 | 157.268 | 2.183 | 979.609 | 90.3469 | 2.095
2019-11-30 10:15:00 | 3.1587 | 156.17 | 3.6837 | 146.051 | 3.222 | 155.243 | 3.4707 | 165.002 | 2.267 | 979.757 | 89.6634 | 2.0728
2019-11-30 10:30:00 | 3.414 | 164.49 | 4.7063 | 156.274 | 4.2393 | 157.268 | 3.98 | 170.296 | 2.304 | 979.609 | 90.6886 | 1.3708
2019-11-30 10:45:00 | 3.9247 | 159.293 | 3.9393 | 147.417 | 3.7307 | 143.41 | 2.9613 | 162.928 | 2.44 | 979.46 | 89.6293 | 1.8216
2019-11-30 11:00:00 | 2.648 | 168.393 | 2.9167 | 150.784 | 2.9677 | 154.34 | 3.4707 | 170.735 | 2.593 | 979.312 | 88.6383 | 0.8572
2019-11-30 11:15:00 | 3.1587 | 176.445 | 2.9167 | 157.006 | 3.7307 | 151.12 | 3.4707 | 181.763 | 2.678 | 979.163 | 88.2966 | 1.5962
2019-11-30 11:30:00 | 4.18 | 160.781 | 3.6837 | 147.027 | 4.2393 | 148.704 | 4.4893 | 170.15 | 2.802 | 978.715 | 88.4333 | 2.7157
2019-11-30 11:45:00 | 3.6693 | 146.533 | 3.1723 | 152.785 | 3.4763 | 169.564 | 4.2347 | 159.024 | 2.847 | 978.711 | 91.0302 | 1.4558
2019-11-30 12:00:00 | 2.648 | 203.883 | 3.428 | 166.927 | 2.459 | 156.285 | 2.9613 | 197.759 | 2.987 | 978.858 | 90.5477 | 0.13671
2019-11-30 12:15:00 | 2.3927 | 199.094 | 1.6383 | 181.558 | 1.4417 | 176.967 | 2.1973 | 202.095 | 3.214 | 978.417 | 88.9047 | -0.29559
2019-11-30 12:30:00 | 1.882 | 201.266 | 2.1497 | 202.515 | 2.459 | 178.553 | 2.452 | 202.217 | 3.119 | 978.122 | 89.9982 | -0.31776
2019-11-30 12:45:00 | 2.1373 | 208.573 | 1.3827 | 203.99 | 0 | 167.346 | 1.4333 | 222.112 | 3.06 | 978.121 | 90.1639 | -0.28081
2019-11-30 13:00:00 | 1.882 | 230.331 | 1.6383 | 204.574 | 0.622 | 165.662 | 1.1787 | 245.066 | 3.118 | 978.121 | 90.8126 | -0.28081
2019-11-30 13:15:00 | 0 | 278.738 | 0 | 204.581 | 0 | 166.618 | 0 | 252.098 | 3.188 | 978.102 | 91.5669 | -0.29928
2019-11-30 13:30:00 | 0 | 231.712 | 0.75133 | 203.954 | 0 | 166.721 | 0 | 243.52 | 3.194 | 978.118 | 91.6383 | -0.26233
2019-11-30 13:45:00 | 0 | 212.679 | 0 | 203.974 | 0 | 166.718 | 1.1787 | 243.417 | 3.157 | 978.122 | 91.4657 | -0.25125
2019-11-30 14:00:00 | 0 | 198.343 | 0 | 203.715 | 0 | 140.67 | 0 | 243.598 | 3.147 | 978.122 | 91.0935 | -0.24016
2019-11-30 14:15:00 | 0.372 | 198.024 | 0 | 203.615 | 0 | 141.01 | 0 | 243.815 | 3.294 | 978.122 | 90.3068 | -0.26233
2019-11-30 14:30:00 | 0 | 227.486 | 0 | 204.071 | 0 | 141.233 | 0 | 244.414 | 3.725 | 978.39 | 87.1166 | -0.26233
2019-11-30 14:45:00 | 1.3713 | 305.697 | 1.127 | 204.92 | 0.933 | 149.581 | 1.688 | 306.868 | 3.957 | 978.034 | 83.2111 | -0.25125
2019-11-30 15:00:00 | 0 | 283.064 | 0 | 205.09 | 0 | 149.214 | 0.616 | 306.819 | 3.793 | 977.824 | 85.807 | -0.25125
2019-11-30 15:15:00 | 0.744 | 318.379 | 0 | 286.965 | 0 | 150.092 | 0 | 319.843 | 3.665 | 977.824 | 89.1204 | -0.26233
2019-11-30 15:30:00 | 0 | 327.404 | 0 | 288.038 | 0 | 151.312 | 0 | 329.306 | 3.589 | 977.867 | 89.2229 | -0.24016
2019-11-30 15:45:00 | 0 | 17.7071 | 0 | 288.678 | 0 | 149.803 | 0 | 329.702 | 3.717 | 977.885 | 89.3612 | -0.25125
2019-11-30 16:00:00 | 0 | 316.92 | 0 | 288.627 | 0 | 147.558 | 0 | 328.968 | 3.794 | 977.987 | 88.4041 | -0.25125
2019-11-30 16:15:00 | 0 | 37.0245 | 0 | 288.879 | 0 | 147.586 | 0 | 334.148 | 3.603 | 977.984 | 90.3194 | -0.26233
2019-11-30 16:30:00 | 0 | 6.3418 | 0.75133 | 288.894 | 0 | 146.495 | 0.616 | 334.163 | 3.511 | 977.756 | 89.1621 | -0.24016
2019-11-30 16:45:00 | 0 | 6.3426 | 1.6383 | 290.936 | 1.1873 | 38.7389 | 0.924 | 335.843 | 3.451 | 977.819 | 89.7209 | -0.26233
2019-11-30 17:00:00 | 1.6267 | 19.3707 | 1.6383 | 291.102 | 2.2047 | 38.8389 | 1.9427 | 20.6393 | 3.393 | 977.825 | 89.6582 | -0.26233
2019-11-30 17:15:00 | 1.6267 | 27.8115 | 1.894 | 292.001 | 2.2047 | 44.3032 | 1.9427 | 31.3001 | 3.34 | 977.825 | 90.4771 | -0.26233
2019-11-30 17:30:00 | 0.372 | 23.7119 | 0.37567 | 299.769 | 1.1873 | 42.3496 | 1.4333 | 32.8843 | 3.299 | 978.122 | 90.6439 | -0.26233
2019-11-30 17:45:00 | 0.744 | 16.7838 | 0.75133 | 299.771 | 1.696 | 42.3499 | 1.688 | 32.5431 | 3.327 | 978.104 | 91.0887 | -0.28081
2019-11-30 18:00:00 | 0.372 | 12.8807 | 1.127 | 299.774 | 1.9503 | 41.9843 | 1.688 | 32.3482 | 3.256 | 978.122 | 91.7728 | -0.28081
2019-11-30 18:15:00 | 0.744 | 10.588 | 1.3827 | 299.787 | 1.696 | 41.9616 | 1.688 | 11.3199 | 3.255 | 978.41 | 92.4599 | -0.26972
2019-11-30 18:30:00 | 0 | 12.6858 | 1.894 | 299.829 | 2.459 | 41.9607 | 1.688 | 11.3196 | 3.19 | 978.327 | 92.4921 | -0.26233
2019-11-30 18:45:00 | 0.744 | 24.9824 | 2.1497 | 301.111 | 2.7133 | 39.962 | 2.9613 | 14.3941 | 3.194 | 978.562 | 91.0952 | -0.28081
2019-11-30 19:00:00 | 0.744 | 22.6159 | 2.661 | 301.161 | 3.222 | 40.4013 | 3.216 | 23.8846 | 3.241 | 978.688 | 92.8722 | -0.29928
2019-11-30 19:15:00 | 2.3927 | 23.1045 | 2.661 | 302.584 | 3.985 | 18.0054 | 3.7253 | 28.2523 | 3.157 | 978.71 | 91.6445 | -0.22539
2019-11-30 19:30:00 | 1.3713 | 21.6649 | 3.428 | 302.998 | 3.985 | 21.8601 | 3.98 | 26.398 | 3.065 | 978.682 | 90.3457 | -0.092371
2019-11-30 19:45:00 | 1.882 | 10.0516 | 3.6837 | 12.3993 | 4.748 | 20.4447 | 4.2347 | 18.4442 | 2.887 | 978.39 | 91.5743 | 0.6466
2019-11-30 20:00:00 | 2.3927 | 15.1266 | 3.428 | 17.8165 | 4.2393 | 7.7341 | 4.744 | 20.9821 | 2.783 | 978.549 | 90.2101 | 1.3117
2019-11-30 20:15:00 | 3.1587 | 4.4648 | 3.6837 | 6.0201 | 4.4937 | 356.939 | 3.7253 | 1.8542 | 2.669 | 978.568 | 90.0734 | 1.2045
2019-11-30 20:30:00 | 3.414 | 352.791 | 3.1723 | 7.0448 | 3.7307 | 9.0516 | 3.98 | 87.0267 | 2.705 | 978.717 | 92.3287 | 8.4427
2019-11-30 20:45:00 | 6.2227 | 350.425 | 6.2403 | 15.9256 | 6.0197 | 21.9336 | 5.7627 | 356.305 | 2.214 | 978.717 | 97.0442 | 16.5197
2019-11-30 21:00:00 | 6.2227 | 352.499 | 5.2177 | 336.89 | 6.0197 | 14.3947 | 6.5267 | 355.28 | 1.771 | 978.42 | 97.796 | 25.7752
2019-11-30 21:15:00 | 4.4353 | 354.426 | 6.7517 | 7.3255 | 9.0717 | 32.1318 | 8.8187 | 354.938 | 1.444 | 978.42 | 98.5477 | 24.131
2019-11-30 21:30:00 | 4.6907 | 13.8823 | 7.5187 | 11.5951 | 4.748 | 34.1568 | 4.2347 | 12.9796 | 1.187 | 978.42 | 99.0945 | 22.5016
2019-11-30 21:45:00 | 5.9673 | 14.1268 | 5.2177 | 9.5711 | 4.4937 | 30.1323 | 4.2347 | 203.997 | 1.051 | 978.122 | 99.474 | 15.8287
2019-11-30 22:00:00 | 3.9247 | 17.7886 | 5.9847 | 8.9889 | 5.2567 | 17.3738 | 5.508 | 19.0819 | 1.013 | 978.42 | 99.793 | 13.6044
2019-11-30 22:15:00 | 4.946 | 3.4409 | 6.2403 | 6.4532 | 5.2567 | 11.5916 | 5.2533 | 14.764 | 1.031 | 978.717 | 99.9376 | 13.0206
2019-11-30 22:30:00 | 3.414 | 14.7391 | 5.2177 | 11.2107 | 5.2567 | 4.6365 | 5.2533 | 20.8885 | 1.061 | 978.718 | 99.8313 | 11.2139
2019-11-30 22:45:00 | 1.6267 | 37.8011 | 4.195 | 25.0001 | 5.0023 | 346.042 | 4.9987 | 41.9497 | 1.169 | 978.754 | 99.5965 | 8.7161
2019-11-30 23:00:00 | 3.414 | 9.1267 | 5.2177 | 8.1367 | 4.748 | 4.0509 | 4.9987 | 22.5485 | 1.417 | 978.727 | 98.3643 | 6.5547
2019-11-30 23:15:00 | 3.414 | 14.2511 | 4.4507 | 2.1575 | 5.0023 | 10.0782 | 4.4893 | 16.0568 | 1.685 | 978.591 | 95.4226 | 5.6235
2019-11-30 23:30:00 | 2.648 | 4.612 | 3.9393 | 0.0096989 | 4.748 | 354.416 | 4.744 | 7.9063 | 1.711 | 978.57 | 94.8742 | 5.1432
2019-11-30 23:45:00 | 2.9033 | 6.9301 | 4.195 | 1.5034 | 5.7653 | 2.6842 | 5.2533 | 15.8124 | 1.59 | 978.718 | 95.4885 | 6.7653