## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-01 00:00:00 | 3.414 | 1.0737 | 5.9847 | 7.97 | 4.4937 | 4.1483 | 4.744 | 11.6152 | 1.483 | 978.569 | 96.6498 | 10.3234
2019-12-01 00:15:00 | 6.2227 | 5.8317 | 4.962 | 7.8486 | 5.7653 | 42.5056 | 6.272 | 7.9058 | 1.355 | 978.42 | 96.44 | 11.4208
2019-12-01 00:30:00 | 6.478 | 353.288 | 6.496 | 1.3271 | 5.0023 | 190.748 | 4.9987 | 11.0296 | 1.226 | 978.272 | 96.9233 | 13.7929
2019-12-01 00:45:00 | 6.7333 | 354.851 | 7.5187 | 0.59514 | 6.274 | 17.7645 | 6.0173 | 1.1225 | 1.094 | 978.139 | 98.2224 | 16.479
2019-12-01 01:00:00 | 6.9887 | 31.6264 | 6.2403 | 4.26 | 6.7827 | 19.8641 | 7.2907 | 10.6397 | 0.964 | 978.133 | 99.1503 | 17.314
2019-12-01 01:15:00 | 7.244 | 356.375 | 4.7063 | 4.1602 | 6.0197 | 26.0637 | 5.7627 | 1.4399 | 0.878 | 978.276 | 99.5992 | 18.2784
2019-12-01 01:30:00 | 6.478 | 0.8786 | 6.7517 | 4.0639 | 6.7827 | 0.097623 | 7.036 | 13.5451 | 0.815 | 978.308 | 99.8101 | 18.3856
2019-12-01 01:45:00 | 7.7547 | 0.097624 | 5.9847 | 8.067 | 7.2913 | 22.478 | 6.0173 | 13.765 | 0.762 | 978.326 | 99.8802 | 17.0332
2019-12-01 02:00:00 | 5.9673 | 352.619 | 6.7517 | 13.9 | 6.7827 | 20.6475 | 6.7813 | 12.3495 | 0.785 | 978.113 | 99.2651 | 18.4484
2019-12-01 02:15:00 | 5.4567 | 356.768 | 6.496 | 12.6309 | 8.563 | 15.0586 | 7.5453 | 9.1767 | 0.814 | 978.418 | 97.7611 | 18.138
2019-12-01 02:30:00 | 5.9673 | 0.65896 | 5.9847 | 2.8913 | 7.037 | 20.0618 | 8.564 | 356.719 | 0.692 | 978.265 | 98.1029 | 19.8118
2019-12-01 02:45:00 | 6.9887 | 299.316 | 6.7517 | 3.2346 | 8.563 | 12.9352 | 8.564 | 0.85421 | 0.549 | 978.109 | 98.2396 | 23.732
2019-12-01 03:00:00 | 7.244 | 3.2216 | 7.0073 | 5.3808 | 7.037 | 1.7084 | 8.0547 | 2.343 | 0.449 | 978.125 | 98.7182 | 22.9856
2019-12-01 03:15:00 | 6.9887 | 354.938 | 5.729 | 13.5812 | 6.7827 | 21.9655 | 6.272 | 2.8799 | 0.284 | 978.125 | 96.3596 | 21.2971
2019-12-01 03:30:00 | 5.4567 | 5.0765 | 7.0073 | 3.2346 | 6.5283 | 2.7579 | 6.272 | 10.4458 | 0.278 | 977.678 | 91.8134 | 18.4594
2019-12-01 03:45:00 | 6.478 | 7.4927 | 5.729 | 0.84278 | 6.0197 | 0.63456 | 5.7627 | 12.8864 | 0.267 | 977.827 | 87.9165 | 19.5125
2019-12-01 04:00:00 | 7.244 | 2.709 | 7.5187 | 0.81723 | 5.511 | 20.8915 | 5.508 | 5.7598 | 0.216 | 977.678 | 85.1802 | 20.9646
2019-12-01 04:15:00 | 4.946 | 1.5132 | 5.2177 | 5.2846 | 4.748 | 12.4959 | 4.744 | 10.641 | 0.061 | 977.827 | 86.7542 | 18.5075
2019-12-01 04:30:00 | 5.4567 | 331.068 | 4.4507 | 2.0631 | 7.037 | 17.4259 | 6.5267 | 4.9788 | -0.095 | 977.53 | 90.0359 | 16.3201
2019-12-01 04:45:00 | 4.4353 | 356.914 | 6.2403 | 7.6764 | 6.274 | 2.7335 | 7.5453 | 0.19525 | -0.194 | 977.827 | 90.6851 | 18.6479
2019-12-01 05:00:00 | 4.946 | 356.573 | 5.2177 | 5.3823 | 7.037 | 16.5229 | 7.036 | 355.011 | -0.288 | 977.827 | 87.5064 | 17.314
2019-12-01 05:15:00 | 3.6693 | 8.0784 | 4.195 | 5.0406 | 7.037 | 23.8203 | 7.036 | 59.5997 | -0.461 | 977.678 | 81.9005 | 18.7883
2019-12-01 05:30:00 | 4.4353 | 356.134 | 5.2177 | 8.97 | 4.4937 | 23.6251 | 4.2347 | 8.8594 | -0.686 | 977.53 | 75.3717 | 16.9667
2019-12-01 05:45:00 | 5.2013 | 6.9313 | 6.7517 | 4.4549 | 5.2567 | 14.6925 | 5.2533 | 12.5935 | -0.853 | 977.53 | 70.0735 | 15.7918
2019-12-01 06:00:00 | 4.4353 | 0.97624 | 4.7063 | 5.8445 | 3.985 | 5.8087 | 3.4707 | 2.7335 | -1.039 | 977.53 | 69.7317 | 15.4999
2019-12-01 06:15:00 | 5.2013 | 80.1008 | 4.7063 | 11.7507 | 5.2567 | 14.9853 | 6.272 | 0.97624 | -1.229 | 977.678 | 66.4502 | 16.83
2019-12-01 06:30:00 | 4.946 | 0.097624 | 4.4507 | 3.7715 | 4.748 | 6.7361 | 6.0173 | 0.34169 | -1.31 | 977.678 | 65.9716 | 12.7657
2019-12-01 06:45:00 | 4.946 | 83.6402 | 4.7063 | 6.2837 | 5.7653 | 4.6372 | 5.2533 | 10.8852 | -1.441 | 977.53 | 65.1517 | 14.5577
2019-12-01 07:00:00 | 4.6907 | 0.097637 | 3.9393 | 1.0164 | 4.2393 | 31.9997 | 3.7253 | 7.0785 | -1.529 | 977.678 | 65.0913 | 11.4097
2019-12-01 07:15:00 | 2.9033 | 7.616 | 5.9847 | 6.0945 | 6.274 | 5.7608 | 5.508 | 16.306 | -1.637 | 977.678 | 65.846 | 8.4649
2019-12-01 07:30:00 | 3.1587 | 10.6917 | 4.7063 | 7.73 | 4.748 | 5.3458 | 3.4707 | 14.402 | -1.535 | 978.125 | 64.8204 | 6.2406
2019-12-01 07:45:00 | 3.6693 | 20.8219 | 3.6837 | 1.1553 | 4.4937 | 355.462 | 4.4893 | 15.6225 | -1.396 | 978.125 | 65.6409 | 6.6249
2019-12-01 08:00:00 | 3.6693 | 343.953 | 3.428 | 334.692 | 3.7307 | 19.1356 | 4.2347 | 355.083 | -1.38 | 978.422 | 65.8391 | 2.8561
2019-12-01 08:15:00 | 3.9247 | 84.6404 | 3.1723 | 12.4829 | 4.4937 | 13.765 | 4.2347 | 6.5408 | -1.363 | 978.422 | 65.9717 | 4.5557
2019-12-01 08:30:00 | 3.6693 | 352.448 | 3.9393 | 14.7283 | 4.748 | 1.8549 | 4.4893 | 356.622 | -1.402 | 978.719 | 66.9629 | 4.504
2019-12-01 08:45:00 | 2.648 | 339.733 | 3.1723 | 2.0143 | 4.2393 | 348.031 | 3.98 | 344.028 | -1.303 | 979.017 | 66.8604 | 4.6481
2019-12-01 09:00:00 | 1.6267 | 1.4888 | 1.894 | 12.5086 | 3.222 | 10.6898 | 2.9613 | 350.982 | -0.948 | 979.314 | 65.4243 | 2.494
2019-12-01 09:15:00 | 2.1373 | 337.55 | 2.4053 | 5.2592 | 3.7307 | 19.1338 | 3.4707 | 341.87 | -1.083 | 979.165 | 67.0635 | 2.5384
2019-12-01 09:30:00 | 3.6693 | 353.399 | 3.428 | 1.305 | 3.4763 | 11.0803 | 3.98 | 345.785 | -0.959 | 979.017 | 65.2879 | 3.5471
2019-12-01 09:45:00 | 4.4353 | 353.471 | 3.1723 | 15.9743 | 3.7307 | 12.0077 | 3.98 | 349.835 | -1.129 | 979.314 | 66.3131 | 3.2995
2019-12-01 10:00:00 | 4.18 | 354.57 | 2.9167 | 14.5819 | 3.985 | 13.3745 | 3.98 | 355.107 | -1.035 | 979.314 | 65.2193 | 4.3008
2019-12-01 10:15:00 | 3.6693 | 12.0566 | 4.962 | 11.6791 | 2.459 | 10.1773 | 2.452 | 13.9359 | -0.76 | 980.027 | 63.9891 | 3.7577
2019-12-01 10:30:00 | 3.9247 | 351.943 | 4.195 | 1.4304 | 2.2047 | 30.0383 | 2.9613 | 355.14 | -0.757 | 979.618 | 64.0455 | 2.4866
2019-12-01 10:45:00 | 3.9247 | 355.134 | 3.428 | 4.6294 | 3.222 | 30.8876 | 3.4707 | 0.19518 | -0.346 | 979.758 | 60.1401 | 2.6788
2019-12-01 11:00:00 | 2.648 | 18.5893 | 4.962 | 28.1564 | 3.7307 | 33.7632 | 3.4707 | 30.543 | 0.165 | 979.886 | 59.6558 | 2.2021
2019-12-01 11:15:00 | 2.3927 | 0.97562 | 3.1723 | 20.6831 | 2.7133 | 20.0977 | 2.9613 | 352.685 | 0.941 | 979.677 | 57.2525 | 1.5371
2019-12-01 11:30:00 | 2.648 | 21.0481 | 2.4053 | 15.9012 | 3.7307 | 52.3885 | 3.4707 | 12.463 | 1.672 | 979.607 | 52.2972 | 3.3586
2019-12-01 11:45:00 | 2.648 | 9.2658 | 2.9167 | 10.8318 | 2.9677 | 330.031 | 2.7067 | 18.3364 | 1.806 | 979.607 | 54.9142 | 3.2958
2019-12-01 12:00:00 | 1.116 | 36.1815 | 3.428 | 36.2228 | 3.222 | 71.5341 | 3.7253 | 25.4539 | 2.615 | 979.572 | 47.3963 | 3.536
2019-12-01 12:15:00 | 3.1587 | 15.2138 | 3.1723 | 2.2993 | 2.9677 | 28.1845 | 2.7067 | 14.6287 | 2.727 | 979.456 | 40.1229 | 1.8253
2019-12-01 12:30:00 | 1.882 | 28.4758 | 4.195 | 1.7638 | 5.2567 | 17.3585 | 4.744 | 38.1059 | 2.98 | 979.455 | 41.1796 | 1.1417
2019-12-01 12:45:00 | 1.3713 | 34.6185 | 2.9167 | 15.2523 | 1.4417 | 59.924 | 1.688 | 5.0709 | 2.58 | 979.01 | 39.7784 | 0.76483
2019-12-01 13:00:00 | 2.1373 | 48.3184 | 2.9167 | 50.6005 | 3.4763 | 106.315 | 3.4707 | 38.4207 | 2.972 | 979.307 | 37.5581 | 0.2143
2019-12-01 13:15:00 | 1.116 | 282.236 | 3.428 | 278.715 | 3.222 | 316.072 | 3.98 | 297.301 | 4.259 | 979.882 | 36.3264 | 0.32145
2019-12-01 13:30:00 | 2.1373 | 332.851 | 3.1723 | 299.321 | 0.933 | 301.038 | 0.924 | 356.838 | 3.976 | 979.453 | 35.9176 | -0.15518
2019-12-01 13:45:00 | 2.9033 | 355.375 | 2.4053 | 316.727 | 2.459 | 283.807 | 2.1973 | 22.4257 | 4.234 | 979.399 | 33.0814 | 0.088676
2019-12-01 14:00:00 | 1.6267 | 20.2304 | 1.3827 | 332.399 | 3.7307 | 267.139 | 4.744 | 57.5227 | 4.674 | 979.32 | 32.089 | -0.11824
2019-12-01 14:15:00 | 2.9033 | 312.194 | 2.9167 | 299.458 | 2.7133 | 264.956 | 2.452 | 352.632 | 4.341 | 979.085 | 33.251 | 0.084981
2019-12-01 14:30:00 | 2.3927 | 290.671 | 3.1723 | 278.057 | 2.7133 | 286.478 | 2.7067 | 296.984 | 4.013 | 979.099 | 31.8198 | -0.15149
2019-12-01 14:45:00 | 2.9033 | 298.52 | 3.1723 | 271.499 | 3.222 | 260.833 | 2.9613 | 292.572 | 3.848 | 979.443 | 31.0686 | 0.26603
2019-12-01 15:00:00 | 1.3713 | 295.916 | 2.1497 | 300.002 | 1.696 | 294.404 | 1.9427 | 299.231 | 3.729 | 979.306 | 31.8911 | -0.23647
2019-12-01 15:15:00 | 1.882 | 281.301 | 2.4053 | 270.664 | 2.459 | 281.448 | 2.452 | 271.208 | 3.975 | 979.307 | 30.7316 | -0.2882
2019-12-01 15:30:00 | 1.3713 | 297.595 | 1.894 | 273.109 | 1.4417 | 275.945 | 1.688 | 297.79 | 3.436 | 979.455 | 31.0056 | -0.29928
2019-12-01 15:45:00 | 1.882 | 286.258 | 3.1723 | 275.133 | 2.7133 | 284.332 | 2.7067 | 281.211 | 3.673 | 979.336 | 32.5764 | -0.28081
2019-12-01 16:00:00 | 1.882 | 290.866 | 2.9167 | 281.496 | 2.459 | 307.153 | 2.7067 | 288.355 | 3.575 | 979.135 | 32.3715 | -0.26233
2019-12-01 16:15:00 | 1.116 | 282.805 | 2.1497 | 277.947 | 0.933 | 277.172 | 0.616 | 268.101 | 3.555 | 979.012 | 32.8534 | -0.2882
2019-12-01 16:30:00 | 0.744 | 282.062 | 1.3827 | 277.989 | 0.933 | 296.135 | 1.1787 | 268.234 | 3.371 | 978.418 | 34.1587 | -0.25125
2019-12-01 16:45:00 | 0 | 282.039 | 0 | 278.185 | 0 | 296.209 | 0 | 268.235 | 3.044 | 977.823 | 33.8172 | -0.25125
2019-12-01 17:00:00 | 0.744 | 282.005 | 0.37567 | 278.249 | 0 | 324.201 | 0 | 268.224 | 2.829 | 977.678 | 34.7072 | -0.26972
2019-12-01 17:15:00 | 0 | 281.959 | 0 | 278.255 | 0 | 324.749 | 0 | 267.615 | 2.72 | 977.67 | 34.3036 | -0.25125
2019-12-01 17:30:00 | 0 | 281.989 | 0 | 278.238 | 0 | 324.733 | 0 | 266.96 | 2.38 | 977.378 | 35.0589 | -0.25125
2019-12-01 17:45:00 | 0 | 277.309 | 0.75133 | 278.169 | 1.4417 | 324.69 | 1.9427 | 231.391 | 2.521 | 977.231 | 34.581 | -0.26972
2019-12-01 18:00:00 | 1.882 | 206.801 | 2.4053 | 200.15 | 2.9677 | 251.412 | 2.9613 | 227.056 | 2.516 | 977.547 | 34.5213 | -0.26972
2019-12-01 18:15:00 | 2.648 | 206.715 | 3.1723 | 200.528 | 2.9677 | 212.962 | 3.216 | 218.332 | 2.737 | 977.917 | 34.2498 | -0.28081
2019-12-01 18:30:00 | 2.9033 | 208.445 | 3.428 | 201.232 | 3.4763 | 212.154 | 3.4707 | 218.84 | 2.865 | 978.179 | 34.4504 | -0.2143
2019-12-01 18:45:00 | 3.414 | 208.44 | 4.4507 | 202.105 | 4.4937 | 202.242 | 4.744 | 216.249 | 2.91 | 978.421 | 34.723 | 0.59857
2019-12-01 19:00:00 | 3.6693 | 209.393 | 3.6837 | 205.594 | 3.7307 | 214.077 | 3.98 | 225.35 | 2.77 | 978.718 | 35.8126 | 0.59487
2019-12-01 19:15:00 | 3.9247 | 228.705 | 3.9393 | 209.584 | 3.985 | 217.092 | 3.98 | 234.341 | 2.932 | 978.718 | 35.1958 | 0.31776
2019-12-01 19:30:00 | 3.414 | 233.95 | 3.6837 | 208.997 | 3.222 | 226.655 | 3.216 | 242.611 | 2.997 | 979.015 | 34.1363 | -0.12193
2019-12-01 19:45:00 | 3.1587 | 239.44 | 3.1723 | 209.046 | 3.4763 | 232.315 | 3.216 | 246.368 | 3.191 | 978.718 | 34.2389 | -0.048033
2019-12-01 20:00:00 | 3.1587 | 245.295 | 3.6837 | 209.754 | 3.985 | 233.779 | 3.98 | 249.199 | 3.262 | 978.718 | 33.6238 | 0.33254
2019-12-01 20:15:00 | 2.3927 | 260.422 | 3.6837 | 210.461 | 3.985 | 250.175 | 4.2347 | 254.737 | 3.208 | 978.718 | 34.3755 | 0.93849
2019-12-01 20:30:00 | 1.3713 | 269.888 | 3.1723 | 210.559 | 3.222 | 255.64 | 3.4707 | 267.887 | 3.046 | 979.015 | 34.0338 | 0.34731
2019-12-01 20:45:00 | 2.3927 | 284.087 | 3.1723 | 210.461 | 3.4763 | 273.206 | 3.7253 | 282.697 | 3.105 | 979.015 | 34.0338 | 0.52836
2019-12-01 21:00:00 | 2.1373 | 283.795 | 3.1723 | 210.461 | 3.985 | 275.89 | 3.7253 | 276.89 | 3.058 | 979.312 | 33.6238 | 0.96435
2019-12-01 21:15:00 | 2.9033 | 281.557 | 3.6837 | 210.613 | 4.2393 | 278.873 | 4.4893 | 280.361 | 3.057 | 979.312 | 33.2829 | 1.9693
2019-12-01 21:30:00 | 3.1587 | 284.949 | 4.4507 | 211.541 | 4.4937 | 289.17 | 4.4893 | 282.168 | 3.234 | 979.312 | 33.5564 | 2.2243
2019-12-01 21:45:00 | 2.3927 | 284.532 | 3.9393 | 211.637 | 4.4937 | 300.195 | 4.9987 | 284.385 | 3.236 | 979.312 | 33.6244 | 2.4275
2019-12-01 22:00:00 | 2.1373 | 287.949 | 3.6837 | 211.638 | 4.4937 | 306.834 | 4.744 | 290.194 | 3.186 | 979.312 | 33.4196 | 2.01
2019-12-01 22:15:00 | 2.9033 | 299.268 | 3.6837 | 211.636 | 4.748 | 315.712 | 4.9987 | 299.219 | 3.057 | 979.312 | 33.8294 | 2.3093
2019-12-01 22:30:00 | 2.648 | 303.071 | 4.195 | 212.512 | 5.0023 | 330.397 | 5.2533 | 302.827 | 3.057 | 979.461 | 33.8291 | 1.877
2019-12-01 22:45:00 | 3.414 | 308.974 | 4.195 | 307.517 | 4.748 | 324.906 | 4.9987 | 311.268 | 3.001 | 979.609 | 34.1706 | 2.446
2019-12-01 23:00:00 | 3.1587 | 315.536 | 4.7063 | 314.493 | 4.748 | 347.009 | 4.744 | 305.899 | 2.808 | 979.609 | 34.4439 | 3.3217
2019-12-01 23:15:00 | 3.6693 | 310.15 | 5.2177 | 312.353 | 5.2567 | 329.84 | 5.7627 | 309.199 | 2.767 | 979.609 | 34.1028 | 4.504
2019-12-01 23:30:00 | 3.6693 | 310.612 | 4.4507 | 314.156 | 5.7653 | 323.934 | 6.272 | 312.735 | 2.645 | 979.758 | 35.0594 | 7.1274
2019-12-01 23:45:00 | 3.6693 | 317.214 | 4.4507 | 305.436 | 5.2567 | 323.191 | 5.508 | 308.771 | 2.58 | 979.758 | 34.6509 | 7.785