## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-02 00:00:00 | 4.4353 | 325.047 | 4.962 | 305.828 | 5.7653 | 308.041 | 6.272 | 317.215 | 2.523 | 979.907 | 34.9245 | 10.2532
2019-12-02 00:15:00 | 4.6907 | 325.22 | 4.4507 | 311.808 | 5.2567 | 317.143 | 5.7627 | 332.955 | 2.38 | 979.907 | 36.2259 | 14.5429
2019-12-02 00:30:00 | 3.9247 | 334.479 | 4.962 | 326.191 | 4.2393 | 325.817 | 3.7253 | 325.988 | 2.129 | 979.758 | 36.0878 | 20.2625
2019-12-02 00:45:00 | 2.9033 | 342.211 | 3.428 | 335.827 | 3.222 | 0.58564 | 2.7067 | 337.819 | 1.922 | 979.476 | 37.5255 | 22.5312
2019-12-02 01:00:00 | 6.2227 | 318.659 | 6.2403 | 323.014 | 7.8 | 345.21 | 7.2907 | 347.431 | 1.492 | 979.461 | 38.6899 | 29.278
2019-12-02 01:15:00 | 5.4567 | 16.3029 | 3.9393 | 3.3066 | 7.037 | 350.464 | 7.036 | 355.028 | 1.13 | 979.422 | 40.4709 | 28.918
2019-12-02 01:30:00 | 3.9247 | 3.1728 | 4.195 | 2.7465 | 7.037 | 40.4653 | 7.2907 | 351.057 | 0.532 | 979.285 | 43.5481 | 24.5079
2019-12-02 01:45:00 | 3.6693 | 356.911 | 6.496 | 16.7308 | 3.985 | 8.2492 | 3.216 | 349.247 | 0.045 | 979.165 | 46.3847 | 28.1843
2019-12-02 02:00:00 | 5.712 | 22.1119 | 7.0073 | 9.0188 | 5.2567 | 10.7387 | 6.7813 | 4.9056 | -0.341 | 979.017 | 48.7438 | 24.2049
2019-12-02 02:15:00 | 6.9887 | 0.097624 | 6.496 | 10.7517 | 5.2567 | 14.1799 | 5.2533 | 356.817 | -0.86 | 979.017 | 50.9315 | 32.1525
2019-12-02 02:30:00 | 4.6907 | 6.1747 | 7.0073 | 14.681 | 7.037 | 13.2281 | 8.3093 | 10.9827 | -1.092 | 979.017 | 52.5722 | 34.3103
2019-12-02 02:45:00 | 8.01 | 350.946 | 8.03 | 13.5566 | 9.326 | 18.9397 | 10.856 | 353.216 | -1.484 | 978.571 | 53.8045 | 48.0182
2019-12-02 03:00:00 | 7.4993 | 7.3473 | 8.797 | 9.3893 | 6.7827 | 16.3057 | 7.036 | 356.821 | -1.638 | 978.571 | 54.8021 | 46.214
2019-12-02 03:15:00 | 7.244 | 353.119 | 10.8423 | 18.9832 | 6.7827 | 23.5803 | 6.7813 | 7.616 | -1.981 | 978.422 | 56.9573 | 44.3012
2019-12-02 03:30:00 | 4.18 | 6.8837 | 9.3083 | 0.39857 | 9.326 | 8.2507 | 8.564 | 7.4695 | -2.296 | 978.719 | 56.9573 | 46.9135
2019-12-02 03:45:00 | 8.5207 | 17.551 | 11.865 | 10.1711 | 9.0717 | 12.3028 | 7.036 | 15.3296 | -2.205 | 978.422 | 51.3504 | 56.8821
2019-12-02 04:00:00 | 6.7333 | 25.0205 | 13.399 | 22.425 | 13.141 | 21.7495 | 13.4027 | 30.7569 | -2.164 | 978.273 | 44.6496 | 57.3551
2019-12-02 04:15:00 | 12.0953 | 20.1385 | 15.1887 | 16.298 | 14.4127 | 45.4275 | 13.912 | 23.6291 | -2.192 | 977.828 | 38.9744 | 50.7033
2019-12-02 04:30:00 | 8.776 | 16.0375 | 11.6093 | 9.7561 | 11.8693 | 4.882 | 10.092 | 18.5518 | -2.079 | 977.976 | 39.1795 | 55.9564
2019-12-02 04:45:00 | 7.4993 | 12.5957 | 10.0753 | 4.6544 | 9.5803 | 30.0002 | 8.564 | 14.5973 | -2.332 | 978.422 | 38.2222 | 46.8733
2019-12-02 05:00:00 | 7.4993 | 5.1261 | 11.6093 | 1.896 | 10.852 | 33.3444 | 10.3467 | 29.7561 | -2.415 | 978.422 | 40.9573 | 36.2241
2019-12-02 05:15:00 | 4.946 | 19.162 | 9.3083 | 7.9253 | 9.0717 | 30.7569 | 8.8187 | 23.2142 | -2.525 | 978.422 | 39.453 | 29.6474
2019-12-02 05:30:00 | 5.2013 | 25.167 | 8.2857 | 20.8139 | 7.8 | 6.2979 | 8.0547 | 15.2076 | -2.52 | 978.422 | 38.359 | 22.1802
2019-12-02 05:45:00 | 6.478 | 16.648 | 7.263 | 15.8347 | 7.037 | 21.701 | 6.7813 | 21.1883 | -2.447 | 978.423 | 36.65 | 18.053
2019-12-02 06:00:00 | 5.9673 | 28.6585 | 6.496 | 16.7629 | 7.8 | 19.3335 | 7.2907 | 31.4413 | -2.411 | 978.721 | 36.3771 | 12.6696
2019-12-02 06:15:00 | 4.6907 | 23.6537 | 5.9847 | 8.5357 | 6.0197 | 20.0653 | 4.9987 | 9.813 | -2.403 | 979.017 | 37.4019 | 7.3269
2019-12-02 06:30:00 | 4.18 | 15.0128 | 5.729 | 12.7595 | 5.7653 | 46.3321 | 5.508 | 24.5575 | -2.347 | 979.17 | 35.625 | 6.6581
2019-12-02 06:45:00 | 3.6693 | 31.5888 | 4.4507 | 26.895 | 5.0023 | 20.8965 | 5.2533 | 31.2715 | -2.237 | 979.315 | 33.1303 | 4.7959
2019-12-02 07:00:00 | 3.1587 | 31.955 | 4.7063 | 29.1164 | 5.511 | 36.3735 | 5.7627 | 33.8102 | -2.183 | 979.642 | 31.66 | 3.536
2019-12-02 07:15:00 | 3.1587 | 28.8058 | 3.9393 | 21.0117 | 3.985 | 26.4623 | 3.98 | 33.2487 | -2.07 | 979.612 | 29.8821 | 3.1074
2019-12-02 07:30:00 | 2.1373 | 35.8343 | 4.195 | 26.6724 | 4.4937 | 36.5422 | 4.4893 | 45.3299 | -1.991 | 979.958 | 29.1966 | 1.6885
2019-12-02 07:45:00 | 2.1373 | 33.6862 | 2.9167 | 38.6334 | 3.7307 | 39.7399 | 3.7253 | 36.0051 | -1.722 | 980.355 | 26.7351 | 1.4299
2019-12-02 08:00:00 | 2.3927 | 30.3617 | 2.9167 | 38.8686 | 2.9677 | 39.8315 | 3.216 | 31.2892 | -1.221 | 981.099 | 24.68 | 0.52097
2019-12-02 08:15:00 | 1.3713 | 50.4718 | 1.6383 | 54.6826 | 2.7133 | 48.5681 | 2.7067 | 53.4981 | -0.917 | 981.694 | 25.0214 | 0.073897
2019-12-02 08:30:00 | 0 | 42.8927 | 1.894 | 54.3425 | 2.2047 | 47.7725 | 2.7067 | 56.678 | -0.501 | 981.697 | 24.2961 | -0.18844
2019-12-02 08:45:00 | 0.744 | 50.9641 | 1.894 | 42.406 | 2.7133 | 108.71 | 2.9613 | 51.6472 | -0.135 | 982.265 | 23.918 | -0.29928
2019-12-02 09:00:00 | 1.116 | 68.681 | 1.3827 | 48.5835 | 1.4417 | 28.7797 | 1.688 | 62.2178 | 0.436 | 982.599 | 22.4767 | -0.29928
2019-12-02 09:15:00 | 0.372 | 35.4128 | 1.6383 | 33.8509 | 0 | 41.2174 | 0.924 | 25.2914 | 0.969 | 983.024 | 23.7058 | -0.28081
2019-12-02 09:30:00 | 0 | 44.6663 | 1.894 | 34.1262 | 1.4417 | 44.4225 | 1.4333 | 40.6678 | 0.647 | 983.099 | 26.191 | -0.29928
2019-12-02 09:45:00 | 2.1373 | 87.65 | 1.894 | 57.1418 | 0.622 | 65.8777 | 0.616 | 71.2659 | 0.494 | 982.873 | 24.1762 | -0.26972
2019-12-02 10:00:00 | 1.882 | 21.6016 | 2.1497 | 19.6437 | 1.4417 | 15.3113 | 1.688 | 31.5004 | 0.845 | 983.169 | 23.8689 | -0.25125
2019-12-02 10:15:00 | 1.116 | 36.5918 | 3.9393 | 86.3624 | 2.9677 | 195.002 | 3.216 | 40.0779 | 0.918 | 983.317 | 23.6271 | -0.26972
2019-12-02 10:30:00 | 2.1373 | 40.5632 | 3.428 | 40.6742 | 2.2047 | 332.916 | 2.1973 | 1.8526 | 1.168 | 983.241 | 22.5333 | -0.25125
2019-12-02 10:45:00 | 0 | 30.518 | 2.1497 | 7.4955 | 3.222 | 2.4375 | 3.216 | 34.6131 | 0.807 | 982.591 | 24.0682 | -0.15888
2019-12-02 11:00:00 | 2.3927 | 347.021 | 2.661 | 335.113 | 2.2047 | 326.938 | 2.452 | 336.078 | 2.216 | 982.664 | 22.5295 | -0.29189
2019-12-02 11:15:00 | 2.3927 | 33.3663 | 4.195 | 49.1699 | 3.4763 | 100.123 | 3.4707 | 56.7398 | 2.122 | 982.283 | 22.1881 | -0.26972
2019-12-02 11:30:00 | 3.1587 | 293.302 | 3.6837 | 297.528 | 5.0023 | 301.54 | 4.9987 | 297.494 | 1.736 | 982.13 | 21.915 | 0.53945
2019-12-02 11:45:00 | 5.2013 | 286.721 | 6.2403 | 299.015 | 5.2567 | 315.335 | 4.9987 | 309.656 | 1.591 | 982.057 | 21.4712 | 0.21061
2019-12-02 12:00:00 | 4.946 | 276.142 | 4.962 | 270.694 | 3.222 | 266.124 | 2.9613 | 275.337 | 1.885 | 981.737 | 22.9068 | 1.0974
2019-12-02 12:15:00 | 2.648 | 280.287 | 3.428 | 287.102 | 3.4763 | 299.74 | 3.216 | 282.189 | 1.309 | 981.739 | 22.5334 | 0.65399
2019-12-02 12:30:00 | 1.3713 | 278.61 | 2.1497 | 273.017 | 1.9503 | 280.877 | 2.1973 | 274.856 | 1.821 | 981.683 | 21.8168 | -0.0073897
2019-12-02 12:45:00 | 3.1587 | 292.66 | 3.6837 | 298.406 | 3.4763 | 298.804 | 3.4707 | 300.535 | 1.843 | 981.683 | 22.1266 | -0.070202
2019-12-02 13:00:00 | 2.9033 | 310.712 | 3.1723 | 304.219 | 3.222 | 315.734 | 3.216 | 318.831 | 2.096 | 981.683 | 22.2639 | 0.092371
2019-12-02 13:15:00 | 4.946 | 271.995 | 4.4507 | 262.016 | 4.748 | 259.098 | 4.744 | 270.118 | 1.968 | 981.237 | 23.0152 | 0.95696
2019-12-02 13:30:00 | 6.2227 | 284.917 | 6.496 | 279.838 | 6.0197 | 284.405 | 4.9987 | 284.064 | 2.016 | 981.122 | 23.2542 | 2.712
2019-12-02 13:45:00 | 4.946 | 286.502 | 6.7517 | 277.595 | 7.037 | 282.674 | 7.2907 | 279.383 | 1.893 | 981.384 | 22.7762 | 3.4584
2019-12-02 14:00:00 | 3.414 | 298.305 | 4.7063 | 287.254 | 4.748 | 294.891 | 4.9987 | 301.694 | 1.841 | 981.241 | 23.5295 | 6.4992
2019-12-02 14:15:00 | 4.6907 | 290.903 | 5.9847 | 283.536 | 5.0023 | 278.489 | 5.2533 | 285.416 | 2.253 | 981.241 | 23.3635 | 5.945
2019-12-02 14:30:00 | 3.9247 | 243.644 | 3.9393 | 235.619 | 3.985 | 246.376 | 4.2347 | 249.473 | 2.177 | 981.092 | 23.4324 | 2.9522
2019-12-02 14:45:00 | 4.18 | 239.211 | 5.2177 | 244.528 | 3.7307 | 228.578 | 3.7253 | 250.26 | 2.489 | 981.092 | 24.1845 | 2.7157
2019-12-02 15:00:00 | 1.882 | 259.942 | 2.1497 | 255.259 | 3.222 | 237.089 | 2.7067 | 261.942 | 2.003 | 980.943 | 25.0043 | 1.2932
2019-12-02 15:15:00 | 2.9033 | 247.065 | 3.428 | 236.308 | 2.7133 | 244.138 | 2.7067 | 248.772 | 2.032 | 981.092 | 24.7993 | 0.32145
2019-12-02 15:30:00 | 3.1587 | 204.432 | 3.6837 | 199.358 | 3.4763 | 205.7 | 3.216 | 212.042 | 2.216 | 980.795 | 24.0478 | 1.0974
2019-12-02 15:45:00 | 3.6693 | 231.895 | 4.4507 | 237.308 | 4.4937 | 239.675 | 4.4893 | 231.602 | 2.77 | 980.646 | 23.228 | 1.3338
2019-12-02 16:00:00 | 3.9247 | 253.601 | 3.9393 | 249.674 | 3.4763 | 255.357 | 3.98 | 256.528 | 2.322 | 980.498 | 23.4671 | 0.74636
2019-12-02 16:15:00 | 4.4353 | 222.139 | 4.195 | 214.919 | 3.4763 | 211.749 | 3.4707 | 249.967 | 2.226 | 979.903 | 23.228 | 0.9348
2019-12-02 16:30:00 | 3.9247 | 224.626 | 3.9393 | 218.187 | 3.4763 | 218.529 | 3.216 | 229.773 | 2.224 | 979.606 | 23.3646 | 2.0839
2019-12-02 16:45:00 | 4.18 | 228.798 | 4.195 | 218.727 | 3.7307 | 228.627 | 3.7253 | 231.603 | 2.025 | 979.438 | 23.1647 | 1.6885
2019-12-02 17:00:00 | 4.4353 | 213.952 | 4.195 | 208.883 | 4.2393 | 229.956 | 4.2347 | 222.808 | 1.96 | 979.269 | 23.5076 | 1.2082
2019-12-02 17:15:00 | 3.414 | 214.041 | 3.9393 | 204.044 | 5.0023 | 213.285 | 5.2533 | 219.14 | 1.779 | 979.312 | 24.9103 | 2.6751
2019-12-02 17:30:00 | 4.4353 | 204.697 | 4.962 | 194.944 | 4.748 | 199.72 | 4.9987 | 209.406 | 1.502 | 979.312 | 25.2862 | 4.5114
2019-12-02 17:45:00 | 2.3927 | 203.155 | 4.4507 | 194.575 | 5.2567 | 207.743 | 5.2533 | 210.939 | 1.628 | 979.312 | 25.3571 | 4.9806
2019-12-02 18:00:00 | 4.4353 | 205.924 | 5.2177 | 194.221 | 5.2567 | 198.895 | 5.508 | 209.243 | 1.491 | 979.33 | 25.6349 | 6.381
2019-12-02 18:15:00 | 3.1587 | 190.709 | 4.7063 | 182.814 | 5.2567 | 183.289 | 5.7627 | 197.835 | 1.57 | 979.3 | 26.0468 | 6.4734
2019-12-02 18:30:00 | 2.9033 | 184.974 | 4.7063 | 176.567 | 5.2567 | 186.902 | 5.508 | 194.858 | 1.287 | 979.189 | 26.5254 | 6.0928
2019-12-02 18:45:00 | 5.2013 | 179.36 | 5.2177 | 168.146 | 5.511 | 168.304 | 5.508 | 185.974 | 1.262 | 979.016 | 26.7988 | 10.8739
2019-12-02 19:00:00 | 6.2227 | 176.456 | 7.0073 | 166.877 | 7.037 | 170.794 | 7.2907 | 184.73 | 1.351 | 979.314 | 27.5167 | 13.3753
2019-12-02 19:15:00 | 8.5207 | 178.921 | 8.03 | 168.854 | 7.2913 | 171.062 | 7.2907 | 184.022 | 1.634 | 979.017 | 27.6876 | 18.3892
2019-12-02 19:30:00 | 5.4567 | 177.066 | 7.263 | 171.392 | 6.7827 | 174.821 | 6.7813 | 184.925 | 1.764 | 979.299 | 28.6447 | 15.1969
2019-12-02 19:45:00 | 6.2227 | 169.427 | 7.263 | 162.704 | 7.2913 | 161.983 | 7.2907 | 180.8 | 1.514 | 978.949 | 30.1487 | 18.1786
2019-12-02 20:00:00 | 7.7547 | 186.926 | 8.797 | 169.782 | 8.3087 | 175.724 | 8.564 | 187.634 | 1.608 | 978.82 | 31.1742 | 21.7072
2019-12-02 20:15:00 | 7.4993 | 180.215 | 6.496 | 164.022 | 9.0717 | 168.988 | 9.328 | 179.311 | 1.813 | 978.83 | 31.9945 | 26.2445
2019-12-02 20:30:00 | 7.244 | 175.26 | 7.5187 | 160.629 | 8.3087 | 159.957 | 8.8187 | 171.453 | 1.777 | 978.704 | 32.1996 | 26.3664
2019-12-02 20:45:00 | 5.4567 | 166.058 | 7.7743 | 151.183 | 8.0543 | 172.94 | 7.8 | 182.41 | 1.112 | 978.307 | 31.8575 | 32.9432
2019-12-02 21:00:00 | 6.9887 | 166.157 | 7.263 | 156.944 | 7.2913 | 157.883 | 6.7813 | 170.623 | 1.42 | 978.273 | 32.1313 | 35.4336
2019-12-02 21:15:00 | 6.2227 | 147.828 | 6.496 | 156.09 | 6.274 | 161.593 | 6.7813 | 162.178 | 1.365 | 978.124 | 32.1313 | 35.8141
2019-12-02 21:30:00 | 6.9887 | 154.149 | 9.0527 | 152.258 | 8.563 | 149.658 | 8.8187 | 160.933 | 1.007 | 978.125 | 31.9945 | 37.1701
2019-12-02 21:45:00 | 5.712 | 145.582 | 7.0073 | 151.77 | 8.8173 | 148.218 | 8.8187 | 164.131 | 1.256 | 978.125 | 32.0629 | 36.1541
2019-12-02 22:00:00 | 6.2227 | 151.269 | 8.03 | 154.87 | 7.8 | 157.273 | 7.8 | 165.766 | 1.38 | 978.125 | 33.3618 | 36.2132
2019-12-02 22:15:00 | 6.478 | 155.369 | 8.2857 | 152.16 | 7.8 | 162.496 | 7.5453 | 164.985 | 1.093 | 978.125 | 32.6098 | 42.3836
2019-12-02 22:30:00 | 6.7333 | 152.928 | 7.5187 | 147.889 | 7.037 | 153.465 | 6.7813 | 160.226 | 1.296 | 978.125 | 32.9516 | 44.7224
2019-12-02 22:45:00 | 7.4993 | 148.438 | 8.797 | 143.423 | 9.326 | 140.75 | 9.8373 | 151.367 | 1.327 | 977.827 | 33.8404 | 44.7224
2019-12-02 23:00:00 | 7.7547 | 156.833 | 9.0527 | 149.988 | 9.5803 | 148.511 | 9.328 | 163.081 | 1.503 | 977.827 | 34.3189 | 51.9791
2019-12-02 23:15:00 | 7.4993 | 156.101 | 9.0527 | 147.67 | 9.5803 | 149.097 | 9.5827 | 164.106 | 1.284 | 977.827 | 35.3102 | 59.8934
2019-12-02 23:30:00 | 9.2867 | 145.973 | 9.0527 | 145.083 | 10.089 | 148.853 | 10.3467 | 156.492 | 0.967 | 977.53 | 35.0026 | 59.925
2019-12-02 23:45:00 | 6.9887 | 151.025 | 8.03 | 148.841 | 10.3433 | 157.566 | 10.6013 | 163.179 | 1.128 | 977.678 | 35.5837 | 58.2086