## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-03 00:00:00 | 8.776 | 161.397 | 9.0527 | 151.355 | 10.5977 | 161.617 | 9.8373 | 161.226 | 1.05 | 977.232 | 35.9596 | 54.8056
2019-12-03 00:15:00 | 8.5207 | 159.421 | 9.8197 | 162.118 | 10.3433 | 149.414 | 10.092 | 162.74 | 1.004 | 977.232 | 36.5066 | 56.5718
2019-12-03 00:30:00 | 5.9673 | 164.229 | 6.496 | 152.234 | 7.2913 | 165.132 | 8.3093 | 162.813 | 0.95 | 977.232 | 36.7117 | 51.0812
2019-12-03 00:45:00 | 6.9887 | 154.343 | 7.0073 | 141.763 | 7.2913 | 153.172 | 7.8 | 170.769 | 0.89 | 977.232 | 37.1217 | 47.4492
2019-12-03 01:00:00 | 5.4567 | 142.822 | 7.263 | 138.783 | 7.037 | 152.633 | 7.036 | 149.143 | 1.193 | 977.232 | 37.5313 | 43.9132
2019-12-03 01:15:00 | 7.4993 | 155.173 | 8.2857 | 140.03 | 9.0717 | 153.562 | 8.564 | 164.203 | 1.473 | 976.935 | 38.318 | 39.7011
2019-12-03 01:30:00 | 8.776 | 149.266 | 9.8197 | 158.797 | 8.0543 | 159.931 | 8.564 | 166.448 | 1.073 | 977.084 | 36.7113 | 34.6503
2019-12-03 01:45:00 | 5.2013 | 153.343 | 5.2177 | 150.037 | 6.0197 | 161.324 | 6.0173 | 169.866 | 1.212 | 977.232 | 38.4891 | 25.609
2019-12-03 02:00:00 | 4.6907 | 173.623 | 6.2403 | 164.264 | 6.274 | 177.406 | 6.272 | 182.726 | 0.61 | 977.084 | 39.7876 | 22.8933
2019-12-03 02:15:00 | 4.4353 | 156.246 | 5.4733 | 160.432 | 6.274 | 175.795 | 6.272 | 173.525 | 1.011 | 977.084 | 38.2152 | 15.2412
2019-12-03 02:30:00 | 4.4353 | 157.639 | 6.2403 | 154.991 | 5.7653 | 170.745 | 5.508 | 171.355 | 1.114 | 976.935 | 37.7371 | 12.3777
2019-12-03 02:45:00 | 4.946 | 174.647 | 5.9847 | 165.703 | 5.7653 | 163.811 | 6.0173 | 179.821 | 0.906 | 976.935 | 38.01 | 12.9652
2019-12-03 03:00:00 | 3.9247 | 155.148 | 5.2177 | 146.741 | 3.7307 | 189.048 | 3.216 | 167.62 | 0.894 | 976.786 | 38.8991 | 8.912
2019-12-03 03:15:00 | 3.9247 | 168.01 | 4.195 | 160.945 | 3.985 | 169.279 | 3.98 | 189.219 | 0.729 | 976.786 | 38.899 | 8.7605
2019-12-03 03:30:00 | 3.414 | 160.616 | 3.9393 | 164.607 | 2.7133 | 179.677 | 2.9613 | 187.438 | 0.673 | 976.638 | 38.3524 | 5.2725
2019-12-03 03:45:00 | 3.414 | 189.831 | 3.428 | 177.762 | 3.4763 | 174.601 | 3.4707 | 204.45 | 0.734 | 976.489 | 37.6688 | 2.4275
2019-12-03 04:00:00 | 3.414 | 182.289 | 3.1723 | 163.485 | 2.7133 | 163.374 | 2.9613 | 208.184 | 0.994 | 976.34 | 37.3953 | 2.8598
2019-12-03 04:15:00 | 3.9247 | 190.123 | 3.6837 | 170.123 | 3.7307 | 165.693 | 3.4707 | 209.526 | 1.106 | 976.489 | 38.0106 | 3.8537
2019-12-03 04:30:00 | 3.1587 | 165.156 | 3.428 | 159.58 | 2.7133 | 165.327 | 2.9613 | 190.123 | 0.973 | 976.34 | 37.2586 | 6.6544
2019-12-03 04:45:00 | 2.1373 | 184.046 | 2.661 | 157.139 | 1.4417 | 172.453 | 1.1787 | 181.044 | 1.084 | 976.34 | 35.8229 | 6.1187
2019-12-03 05:00:00 | 0.744 | 159.03 | 2.1497 | 150.013 | 0 | 149.316 | 0 | 184.266 | 1.172 | 976.34 | 38.7626 | 6.8502
2019-12-03 05:15:00 | 2.1373 | 159.909 | 2.661 | 150.208 | 1.4417 | 152.245 | 1.688 | 182.021 | 0.811 | 976.34 | 40.6768 | 5.8453
2019-12-03 05:30:00 | 2.1373 | 161.031 | 3.6837 | 148.792 | 1.696 | 163.57 | 1.4333 | 179.385 | 0.369 | 976.34 | 40.7452 | 5.9339
2019-12-03 05:45:00 | 0.372 | 167.67 | 1.127 | 146.889 | 0 | 150 | 0.308 | 177.457 | 0.535 | 976.34 | 36.4382 | 4.9363
2019-12-03 06:00:00 | 3.1587 | 157.761 | 3.1723 | 150.867 | 1.4417 | 161.519 | 1.4333 | 151.489 | 0.948 | 976.34 | 40.1983 | 6.8872
2019-12-03 06:15:00 | 0.372 | 138.871 | 1.127 | 141.031 | 0 | 140.579 | 0.616 | 165.205 | 1.253 | 976.638 | 32.268 | 6.7653
2019-12-03 06:30:00 | 0 | 96.2088 | 1.127 | 141.031 | 0.311 | 150.732 | 0.924 | 80.0031 | 1.435 | 976.638 | 32.6782 | 5.897
2019-12-03 06:45:00 | 2.1373 | 148.535 | 2.661 | 142.203 | 0.622 | 152.172 | 0 | 126.57 | 1.098 | 976.935 | 38.4208 | 6.5399
2019-12-03 07:00:00 | 0 | 129.108 | 0.75133 | 141.495 | 0 | 160.543 | 0 | 127.449 | 1.212 | 976.935 | 33.0884 | 6.0669
2019-12-03 07:15:00 | 0 | 89.5947 | 0.75133 | 141.3 | 0 | 160.543 | 0.308 | 84.1766 | 2.351 | 977.232 | 27.6876 | 6.987
2019-12-03 07:30:00 | 0 | 106.215 | 1.127 | 140.738 | 0 | 162.105 | 0 | 84.5915 | 2.032 | 977.827 | 29.465 | 7.5301
2019-12-03 07:45:00 | 0 | 109.576 | 0.37567 | 141.313 | 0 | 173.613 | 0 | 84.9516 | 2.638 | 978.253 | 30.7618 | 6.8539
2019-12-03 08:00:00 | 0 | 109.571 | 0.75133 | 141.221 | 0 | 160.269 | 0 | 84.9043 | 2.96 | 978.718 | 23.0993 | 7.9993
2019-12-03 08:15:00 | 1.882 | 145.348 | 2.4053 | 144.666 | 0 | 153.226 | 0 | 148.348 | 3.408 | 979.487 | 35.323 | 9.2593
2019-12-03 08:30:00 | 2.9033 | 154.19 | 3.1723 | 150.677 | 0.622 | 155.824 | 0 | 157.507 | 2.457 | 979.458 | 37.7797 | 9.0154
2019-12-03 08:45:00 | 3.1587 | 165.994 | 3.1723 | 151.897 | 1.1873 | 155.361 | 0 | 158.434 | 1.477 | 979.607 | 39.556 | 7.2899
2019-12-03 09:00:00 | 2.1373 | 150.276 | 1.894 | 151.737 | 0 | 161.885 | 0 | 181.443 | 2.079 | 980.052 | 37.4352 | 7.6262
2019-12-03 09:15:00 | 2.9033 | 152.236 | 2.9167 | 151.985 | 0 | 175.52 | 0 | 161.257 | 2.504 | 980.201 | 35.6498 | 6.769
2019-12-03 09:30:00 | 1.116 | 149.042 | 1.6383 | 151.984 | 0 | 147.603 | 0 | 303.642 | 2.866 | 980.512 | 32.2349 | 3.5766
2019-12-03 09:45:00 | 1.6267 | 58.119 | 0.75133 | 119.154 | 0.933 | 149.247 | 1.1787 | 18.7229 | 4.242 | 980.792 | 28.8175 | 2.5716
2019-12-03 10:00:00 | 1.882 | 165.2 | 1.6383 | 153.877 | 0.87633 | 182.505 | 0 | 148.041 | 6.535 | 980.834 | 28.7765 | 2.9522
2019-12-03 10:15:00 | 2.9033 | 121.644 | 1.3827 | 138.813 | 0 | 186.817 | 0 | 111.31 | 5.996 | 980.789 | 30.2441 | 3.3365
2019-12-03 10:30:00 | 2.9033 | 166.318 | 3.6837 | 178.119 | 0.933 | 211.766 | 1.1787 | 216.737 | 6.032 | 980.789 | 30.3075 | 5.0767
2019-12-03 10:45:00 | 2.9033 | 187.49 | 2.661 | 159.108 | 1.1873 | 152.522 | 1.4333 | 232.036 | 5.175 | 980.789 | 32.1499 | 3.0926
2019-12-03 11:00:00 | 3.1587 | 162.106 | 2.1497 | 135.526 | 0.622 | 152.261 | 0.924 | 150.165 | 5.89 | 980.789 | 31.8442 | 4.153
2019-12-03 11:15:00 | 5.2013 | 182.032 | 4.195 | 171.195 | 2.9677 | 184.226 | 2.9613 | 193.242 | 5.851 | 980.195 | 32.423 | 5.0361
2019-12-03 11:30:00 | 5.4567 | 182.917 | 3.9393 | 154.191 | 2.7133 | 161.932 | 2.452 | 178.944 | 4.921 | 979.898 | 35.057 | 5.0952
2019-12-03 11:45:00 | 5.2013 | 161.25 | 4.4507 | 136.376 | 3.985 | 155.23 | 3.7253 | 170.463 | 4.355 | 979.601 | 37.276 | 2.0248
2019-12-03 12:00:00 | 2.3927 | 155.888 | 2.661 | 163.186 | 2.459 | 203.586 | 2.1973 | 147.723 | 4.889 | 979.601 | 32.4287 | 0.92371
2019-12-03 12:15:00 | 4.18 | 173.778 | 4.4507 | 222.119 | 4.4937 | 209.801 | 3.98 | 195.689 | 6.283 | 979.605 | 32.9408 | 0.37687
2019-12-03 12:30:00 | 4.946 | 207.656 | 3.6837 | 190.069 | 3.222 | 209.021 | 3.216 | 212.774 | 5.766 | 979.601 | 32.3263 | -0.18474
2019-12-03 12:45:00 | 2.3927 | 194.202 | 3.428 | 183.415 | 2.459 | 195.421 | 2.1973 | 170.292 | 6.302 | 979.601 | 29.8686 | -0.23278
2019-12-03 13:00:00 | 3.1587 | 182.698 | 4.195 | 170.059 | 2.459 | 195.372 | 2.7067 | 171.219 | 6.562 | 979.633 | 28.5714 | -0.22169
2019-12-03 13:15:00 | 2.648 | 198.053 | 2.9167 | 174.738 | 0.933 | 189.864 | 0.924 | 188.109 | 6.702 | 979.603 | 27.0353 | -0.30298
2019-12-03 13:30:00 | 2.1373 | 197.687 | 1.894 | 197.844 | 0.933 | 193.373 | 1.1787 | 180.87 | 7.088 | 979.601 | 22.7343 | -0.29928
2019-12-03 13:45:00 | 4.4353 | 192.935 | 2.661 | 177.761 | 1.696 | 183.771 | 0.924 | 194.811 | 7.811 | 979.898 | 20.8909 | -0.28081
2019-12-03 14:00:00 | 1.882 | 243.776 | 1.3827 | 218.024 | 3.222 | 212.482 | 2.9613 | 256.938 | 8.22 | 980.047 | 20.0034 | -0.30667
2019-12-03 14:15:00 | 2.1373 | 241.729 | 2.4053 | 260.092 | 2.9677 | 250.211 | 2.7067 | 246.652 | 7.535 | 980.344 | 22.666 | -0.29928
2019-12-03 14:30:00 | 2.648 | 171.414 | 2.661 | 176.054 | 2.2047 | 175.435 | 2.1973 | 197.663 | 7.459 | 979.898 | 21.9833 | -0.29928
2019-12-03 14:45:00 | 2.648 | 236.075 | 2.9167 | 242.397 | 2.459 | 206.047 | 2.1973 | 244.776 | 7.34 | 979.898 | 19.2524 | 0.073897
2019-12-03 15:00:00 | 4.18 | 223.279 | 4.4507 | 202.913 | 2.7133 | 193.178 | 1.9427 | 229.908 | 7.507 | 979.601 | 20.413 | 0.19952
2019-12-03 15:15:00 | 3.1587 | 243.533 | 4.962 | 244.054 | 4.2393 | 242.216 | 4.2347 | 256.011 | 7.292 | 979.601 | 18.0236 | 0.44708
2019-12-03 15:30:00 | 3.9247 | 249.626 | 3.6837 | 242.202 | 3.7307 | 248.066 | 3.7253 | 253.525 | 7.014 | 979.924 | 17.2043 | 0.18105
2019-12-03 15:45:00 | 3.414 | 187.963 | 2.9167 | 208.543 | 2.459 | 207.022 | 2.9613 | 211.946 | 6.986 | 979.656 | 18.638 | -0.077592
2019-12-03 16:00:00 | 4.946 | 168.678 | 4.195 | 166.667 | 3.985 | 175.454 | 4.2347 | 175.991 | 6.874 | 979.053 | 25.6727 | 0.022169
2019-12-03 16:15:00 | 4.4353 | 163.228 | 3.6837 | 161.218 | 4.2393 | 178.756 | 4.2347 | 173.466 | 6.505 | 979.148 | 26.6303 | 0.56901
2019-12-03 16:30:00 | 5.2013 | 168.57 | 4.962 | 165.929 | 3.985 | 167.449 | 4.4893 | 173.788 | 6.307 | 978.712 | 28.1372 | 2.5421
2019-12-03 16:45:00 | 4.946 | 167.181 | 5.4733 | 165.491 | 4.748 | 167.791 | 4.9987 | 173.081 | 6.007 | 978.607 | 29.708 | 4.5927
2019-12-03 17:00:00 | 4.946 | 173.681 | 5.4733 | 165.704 | 5.7653 | 174.413 | 5.508 | 178.071 | 5.844 | 978.417 | 30.6028 | 6.3071
2019-12-03 17:15:00 | 5.2013 | 170.384 | 5.4733 | 163.262 | 5.7653 | 166.775 | 6.272 | 178.433 | 5.693 | 978.418 | 32.6558 | 7.3084
2019-12-03 17:30:00 | 5.712 | 181.799 | 6.2403 | 171.75 | 6.0197 | 176.652 | 6.272 | 184.164 | 5.635 | 978.418 | 29.5132 | 7.5227
2019-12-03 17:45:00 | 3.6693 | 179.75 | 4.962 | 170.335 | 4.4937 | 176.677 | 4.4893 | 191.676 | 5.449 | 978.418 | 28.9667 | 4.4708
2019-12-03 18:00:00 | 2.9033 | 183.018 | 4.4507 | 180.725 | 4.748 | 193.262 | 4.744 | 193.189 | 5.39 | 978.715 | 29.035 | 2.7785
2019-12-03 18:15:00 | 3.414 | 187.994 | 4.7063 | 165.799 | 3.7307 | 171.897 | 3.7253 | 196.969 | 5.237 | 978.715 | 28.9667 | 1.2119
2019-12-03 18:30:00 | 2.9033 | 184.289 | 4.7063 | 167.752 | 3.7307 | 172.801 | 3.98 | 197.215 | 5.127 | 979.061 | 28.7621 | 1.7329
2019-12-03 18:45:00 | 3.9247 | 176.1 | 4.962 | 167.222 | 5.0023 | 177.93 | 4.9987 | 190.832 | 5.256 | 979.216 | 29.1048 | 5.4277
2019-12-03 19:00:00 | 4.946 | 178.898 | 5.729 | 172.265 | 5.2567 | 187.631 | 4.9987 | 183.85 | 5.106 | 979.423 | 28.6976 | 8.2432
2019-12-03 19:15:00 | 4.4353 | 174.129 | 5.2177 | 163.497 | 5.0023 | 163.932 | 4.9987 | 178.788 | 4.783 | 979.55 | 29.5879 | 8.258
2019-12-03 19:30:00 | 3.9247 | 175.017 | 5.9847 | 167.776 | 5.7653 | 180.213 | 6.0173 | 181.725 | 4.901 | 979.458 | 28.7011 | 10.9072
2019-12-03 19:45:00 | 4.946 | 175.143 | 5.9847 | 167.391 | 6.0197 | 183.78 | 6.0173 | 182.072 | 5.184 | 979.609 | 27.6427 | 12.5736
2019-12-03 20:00:00 | 5.2013 | 171.82 | 5.2177 | 164.726 | 5.7653 | 179.505 | 6.0173 | 185.677 | 5.502 | 979.757 | 26.9927 | 11.4836
2019-12-03 20:15:00 | 3.1587 | 176.47 | 4.4507 | 165.569 | 5.0023 | 171.786 | 4.9987 | 181.373 | 5.337 | 979.607 | 27.7428 | 9.3295
2019-12-03 20:30:00 | 3.9247 | 170.007 | 4.4507 | 164.961 | 4.748 | 173.837 | 4.9987 | 185.571 | 5.196 | 979.608 | 27.4698 | 8.3504
2019-12-03 20:45:00 | 3.1587 | 177.681 | 5.4733 | 163.122 | 6.0197 | 161.213 | 5.508 | 190.05 | 5.235 | 979.605 | 27.1302 | 8.7346
2019-12-03 21:00:00 | 3.1587 | 173.571 | 4.4507 | 168.72 | 5.7653 | 168.814 | 6.0173 | 183.987 | 5.344 | 979.891 | 27.1967 | 10.4823
2019-12-03 21:15:00 | 3.9247 | 164.282 | 5.9847 | 150.528 | 5.7653 | 180.579 | 5.7627 | 181.36 | 5.331 | 979.906 | 27.6761 | 11.8568
2019-12-03 21:30:00 | 4.946 | 158.083 | 5.729 | 151.159 | 6.7827 | 156.57 | 7.036 | 167.938 | 4.635 | 979.752 | 28.4955 | 12.9209
2019-12-03 21:45:00 | 3.1587 | 165.792 | 4.7063 | 148.963 | 5.511 | 165.548 | 5.508 | 170.037 | 4.672 | 979.906 | 28.564 | 10.8998
2019-12-03 22:00:00 | 4.6907 | 158.775 | 5.4733 | 149.558 | 6.0197 | 163.508 | 6.5267 | 162.239 | 4.731 | 979.906 | 28.9072 | 13.767
2019-12-03 22:15:00 | 5.4567 | 153.547 | 6.496 | 148.087 | 7.037 | 152.303 | 7.036 | 162.915 | 4.807 | 979.609 | 28.9059 | 18.6183
2019-12-03 22:30:00 | 5.9673 | 153.765 | 6.2403 | 147.792 | 6.7827 | 157.375 | 7.036 | 163.474 | 4.638 | 979.906 | 28.4955 | 19.5494
2019-12-03 22:45:00 | 5.712 | 159.476 | 6.496 | 152.283 | 6.5283 | 159.085 | 6.5267 | 164.574 | 4.751 | 979.906 | 28.4618 | 24.567
2019-12-03 23:00:00 | 5.2013 | 157.321 | 5.9847 | 150.08 | 6.5283 | 154.613 | 6.5267 | 167.713 | 4.449 | 979.894 | 28.4946 | 23.7579
2019-12-03 23:15:00 | 5.2013 | 162.864 | 7.0073 | 155.476 | 6.7827 | 160.863 | 7.036 | 173.134 | 4.66 | 979.898 | 27.8463 | 21.2491
2019-12-03 23:30:00 | 4.946 | 151.934 | 5.9847 | 150.499 | 6.5283 | 164.473 | 6.7813 | 164.473 | 4.802 | 979.906 | 27.2654 | 20.536
2019-12-03 23:45:00 | 3.414 | 156.602 | 6.496 | 155.607 | 5.2567 | 149.771 | 4.744 | 166.166 | 4.759 | 980.055 | 26.5152 | 18.5814