## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-04 00:00:00 | 4.946 | 160.284 | 6.496 | 151.335 | 6.7827 | 157.088 | 6.5267 | 165.798 | 4.958 | 979.906 | 26.3781 | 19.3905
2019-12-04 00:15:00 | 5.2013 | 153.187 | 6.496 | 152.021 | 6.0197 | 155.358 | 6.0173 | 159.945 | 4.671 | 979.906 | 26.9936 | 17.7537
2019-12-04 00:30:00 | 5.712 | 157.865 | 6.496 | 160.187 | 7.037 | 171.283 | 7.036 | 175.186 | 4.797 | 979.906 | 25.6258 | 18.3375
2019-12-04 00:45:00 | 6.2227 | 163.897 | 5.4733 | 158.242 | 6.0197 | 162.994 | 6.0173 | 170.728 | 4.937 | 979.906 | 25.6267 | 17.7648
2019-12-04 01:00:00 | 3.6693 | 157.943 | 5.4733 | 147.092 | 6.0197 | 167.189 | 5.7627 | 162.042 | 4.765 | 979.906 | 25.8316 | 17.1884
2019-12-04 01:15:00 | 3.6693 | 152.28 | 5.9847 | 152.431 | 5.0023 | 175.383 | 5.2533 | 161.453 | 4.681 | 979.757 | 25.5577 | 19.8894
2019-12-04 01:30:00 | 4.946 | 155.744 | 7.5187 | 152.967 | 5.511 | 159.598 | 5.508 | 170.333 | 4.756 | 979.906 | 25.421 | 19.4127
2019-12-04 01:45:00 | 3.6693 | 167.087 | 6.2403 | 166.921 | 5.7653 | 161.622 | 5.508 | 170.649 | 4.891 | 980.04 | 24.8742 | 19.7009
2019-12-04 02:00:00 | 5.2013 | 159.861 | 6.496 | 162.866 | 7.8 | 169.522 | 7.8 | 165.423 | 4.732 | 980.052 | 26.6501 | 23.8502
2019-12-04 02:15:00 | 3.414 | 157.555 | 7.263 | 151.852 | 6.7827 | 163.118 | 6.5267 | 172.73 | 4.59 | 980.203 | 27.4722 | 23.902
2019-12-04 02:30:00 | 5.4567 | 161.628 | 7.0073 | 154.827 | 6.0197 | 161.262 | 5.7627 | 173.046 | 4.473 | 980.203 | 27.8136 | 22.1543
2019-12-04 02:45:00 | 5.4567 | 157.988 | 6.2403 | 153.163 | 6.0197 | 158.208 | 5.2533 | 168.235 | 4.226 | 980.203 | 28.2228 | 23.1556
2019-12-04 03:00:00 | 4.6907 | 166.571 | 4.7063 | 159.281 | 6.274 | 173.597 | 6.5267 | 174.011 | 4.239 | 980.203 | 28.0853 | 18.5112
2019-12-04 03:15:00 | 4.946 | 170.064 | 5.729 | 160.578 | 5.2567 | 170.186 | 5.508 | 179.163 | 4.339 | 979.891 | 28.1202 | 18.8215
2019-12-04 03:30:00 | 5.4567 | 165.058 | 6.2403 | 161.842 | 5.7653 | 172.23 | 6.0173 | 175.694 | 4.811 | 979.891 | 27.6411 | 17.1478
2019-12-04 03:45:00 | 5.9673 | 179.983 | 5.729 | 167.692 | 5.0023 | 173.226 | 5.508 | 186.13 | 4.357 | 979.874 | 29.3145 | 13.3199
2019-12-04 04:00:00 | 4.6907 | 187.254 | 5.4733 | 168.278 | 6.0197 | 172.422 | 6.272 | 197.841 | 4.676 | 979.891 | 28.0846 | 11.5168
2019-12-04 04:15:00 | 4.6907 | 196.338 | 6.2403 | 185.462 | 5.7653 | 198.924 | 6.0173 | 218.148 | 4.956 | 979.906 | 27.1977 | 11.2139
2019-12-04 04:30:00 | 4.4353 | 195.7 | 5.729 | 183.897 | 5.511 | 170.865 | 5.2533 | 206.239 | 5.03 | 980.055 | 27.8804 | 11.3247
2019-12-04 04:45:00 | 4.18 | 193.023 | 4.962 | 182.904 | 5.0023 | 190.193 | 5.508 | 206.417 | 4.789 | 979.906 | 27.4714 | 11.624
2019-12-04 05:00:00 | 3.6693 | 190.782 | 4.7063 | 177.32 | 5.7653 | 169.239 | 5.7627 | 194.344 | 4.985 | 980.203 | 28.8386 | 13.8889
2019-12-04 05:15:00 | 5.4567 | 186.631 | 5.4733 | 185.221 | 5.0023 | 164.308 | 4.9987 | 197.755 | 4.413 | 980.203 | 30.6831 | 13.1056
2019-12-04 05:30:00 | 4.6907 | 189.971 | 5.2177 | 173.948 | 5.511 | 163.745 | 5.2533 | 203.584 | 4.055 | 980.203 | 30.8878 | 13.6192
2019-12-04 05:45:00 | 5.9673 | 155.574 | 6.2403 | 149.309 | 4.4937 | 167.992 | 4.744 | 191.9 | 4.148 | 980.197 | 32.5282 | 14.8865
2019-12-04 06:00:00 | 5.2013 | 184.596 | 5.2177 | 164.816 | 4.748 | 157.25 | 4.9987 | 192.085 | 3.423 | 980.181 | 33.9615 | 12.5662
2019-12-04 06:15:00 | 4.6907 | 166.121 | 4.962 | 158.735 | 5.0023 | 165.585 | 4.744 | 173.88 | 3.716 | 980.347 | 34.1699 | 15.9322
2019-12-04 06:30:00 | 4.946 | 184.471 | 4.7063 | 166.252 | 4.4937 | 165.563 | 4.4893 | 184.252 | 3.442 | 980.501 | 33.7604 | 12.1597
2019-12-04 06:45:00 | 4.6907 | 179.958 | 4.7063 | 162.324 | 3.7307 | 156.585 | 4.2347 | 198.11 | 3.645 | 980.501 | 33.5896 | 9.6288
2019-12-04 07:00:00 | 3.9247 | 183.227 | 4.4507 | 161.958 | 3.7307 | 166.661 | 2.9613 | 186.155 | 3.512 | 980.501 | 33.9655 | 8.136
2019-12-04 07:15:00 | 4.18 | 182.398 | 4.962 | 160.446 | 3.4763 | 169.369 | 3.7253 | 185.667 | 3.285 | 980.798 | 34.068 | 7.0276
2019-12-04 07:30:00 | 3.9247 | 192.498 | 4.195 | 158.835 | 3.7307 | 158.073 | 3.98 | 196.963 | 3.598 | 981.095 | 34.2388 | 5.7085
2019-12-04 07:45:00 | 3.9247 | 181.068 | 4.195 | 164.874 | 3.222 | 171.944 | 3.4707 | 197.73 | 3.587 | 981.69 | 34.4757 | 5.1174
2019-12-04 08:00:00 | 3.1587 | 203.705 | 3.6837 | 176.679 | 3.985 | 170.917 | 4.2347 | 207.023 | 4.284 | 981.986 | 33.4161 | 2.7711
2019-12-04 08:15:00 | 2.9033 | 236.774 | 2.661 | 207.262 | 4.4937 | 176.751 | 4.2347 | 249.774 | 4.494 | 982.005 | 32.0412 | 0.7907
2019-12-04 08:30:00 | 0 | 243.553 | 1.3827 | 245.089 | 2.2047 | 188.067 | 1.9427 | 263.918 | 5.215 | 982.578 | 30.1281 | -0.16257
2019-12-04 08:45:00 | 1.6267 | 237.345 | 3.1723 | 199.324 | 2.2047 | 174.259 | 2.1973 | 255.317 | 5.606 | 983.47 | 31.4212 | -0.2143
2019-12-04 09:00:00 | 0 | 246.786 | 1.894 | 274.816 | 2.9677 | 293.061 | 2.9613 | 255.465 | 6.053 | 983.559 | 27.6592 | -0.23278
2019-12-04 09:15:00 | 2.9033 | 320.074 | 3.1723 | 285.497 | 3.7307 | 300.158 | 3.4707 | 298.159 | 5.849 | 983.763 | 27.9281 | -0.20322
2019-12-04 09:30:00 | 2.3927 | 338.246 | 2.1497 | 300.649 | 2.459 | 282.554 | 2.9613 | 308.584 | 5.94 | 983.662 | 27.7523 | -0.25125
2019-12-04 09:45:00 | 2.3927 | 307.536 | 2.9167 | 297.675 | 3.222 | 293.765 | 3.216 | 307.097 | 6.136 | 984.056 | 29.9369 | -0.23278
2019-12-04 10:00:00 | 2.1373 | 323.094 | 2.1497 | 291.104 | 2.7133 | 294.46 | 2.7067 | 335.669 | 5.934 | 984.056 | 28.1242 | -0.25125
2019-12-04 10:15:00 | 0 | 38.1612 | 1.6383 | 22.3039 | 2.2047 | 340.258 | 1.9427 | 31.7279 | 6.485 | 984.353 | 26.2116 | -0.25125
2019-12-04 10:30:00 | 0 | 13.206 | 1.6383 | 5.0476 | 0 | 341.14 | 0.616 | 20.7349 | 7.572 | 984.54 | 25.9351 | -0.26972
2019-12-04 10:45:00 | 1.882 | 37.2289 | 1.894 | 300.393 | 2.7133 | 316.64 | 2.9613 | 46.463 | 7.64 | 984.646 | 24.7739 | -0.25125
2019-12-04 11:00:00 | 1.882 | 356.845 | 2.661 | 16.0523 | 2.7133 | 354.238 | 2.9613 | 6.431 | 8.11 | 984.645 | 22.6538 | -0.26233
2019-12-04 11:15:00 | 1.116 | 307.43 | 0 | 19.2142 | 1.1873 | 36.7299 | 1.688 | 338.022 | 8.2 | 984.645 | 22.651 | -0.24016
2019-12-04 11:30:00 | 3.1587 | 3.3125 | 2.4053 | 19.8539 | 3.222 | 30.2017 | 2.7067 | 10.2783 | 8.07 | 984.645 | 21.559 | -0.26233
2019-12-04 11:45:00 | 1.882 | 38.7263 | 2.661 | 2.7559 | 1.696 | 12.7626 | 2.1973 | 117.421 | 9.04 | 984.645 | 23.1963 | -0.20691
2019-12-04 12:00:00 | 1.116 | 43.3052 | 2.4053 | 30.3685 | 3.4763 | 0.7794 | 3.4707 | 35.7548 | 9.26 | 984.349 | 21.4225 | -0.011085
2019-12-04 12:15:00 | 0.744 | 10.0834 | 2.4053 | 9.5756 | 2.9677 | 8.7682 | 2.7067 | 9.9373 | 9.34 | 984.497 | 20.1944 | 0.66877
2019-12-04 12:30:00 | 0 | 85.8067 | 2.4053 | 19.4569 | 2.459 | 11.5935 | 2.452 | 5.9185 | 8.64 | 984.052 | 21.2178 | 1.5371
2019-12-04 12:45:00 | 0 | 15.3694 | 3.9393 | 27.4965 | 3.4763 | 35.3666 | 3.4707 | 18.2679 | 8.37 | 984.052 | 20.8093 | 1.9841
2019-12-04 13:00:00 | 2.1373 | 21.9754 | 3.9393 | 14.4492 | 4.4937 | 21.5369 | 3.7253 | 21.5612 | 8.8 | 984.2 | 22.0768 | 3.8611
2019-12-04 13:15:00 | 0.99933 | 18.2002 | 3.1723 | 16.589 | 3.7307 | 41.7119 | 4.4893 | 25.8507 | 8.82 | 984.052 | 20.0648 | 3.3586
2019-12-04 13:30:00 | 3.6693 | 339.811 | 4.962 | 332.456 | 0 | 289.425 | 1.9427 | 21.4163 | 9.42 | 984.349 | 18.9729 | 1.8253
2019-12-04 13:45:00 | 3.1587 | 345.658 | 3.1723 | 324.732 | 2.7133 | 324.973 | 2.1973 | 5.8718 | 9.4 | 984.349 | 20.3378 | 1.5999
2019-12-04 14:00:00 | 2.1373 | 24.3644 | 3.6837 | 300.368 | 3.4763 | 306.261 | 2.7067 | 2.875 | 9.52 | 984.361 | 20.6791 | 1.2489
2019-12-04 14:15:00 | 0.99933 | 0.097458 | 2.9167 | 18.8305 | 2.9677 | 331.99 | 2.9613 | 336.107 | 9.15 | 984.201 | 22.044 | 0.8609
2019-12-04 14:30:00 | 3.1587 | 289.696 | 3.6837 | 274.74 | 4.4937 | 297.006 | 4.744 | 293.911 | 8.41 | 984.551 | 22.9656 | 1.2784
2019-12-04 14:45:00 | 2.1373 | 348.371 | 2.9167 | 10.3501 | 2.459 | 346.177 | 2.7067 | 348.712 | 8.55 | 984.649 | 22.7643 | 1.755
2019-12-04 15:00:00 | 4.4353 | 299.685 | 4.4507 | 295.744 | 3.7307 | 302.268 | 3.7253 | 296.712 | 8.31 | 984.353 | 22.7986 | 1.489
2019-12-04 15:15:00 | 3.414 | 301.047 | 3.428 | 286.701 | 3.4763 | 282.722 | 3.7253 | 295.418 | 8.42 | 984.353 | 22.3548 | 0.92371
2019-12-04 15:30:00 | 1.116 | 297.735 | 1.3827 | 315.875 | 1.4417 | 328.174 | 1.9427 | 334.34 | 8.19 | 984.353 | 23.4831 | 0.62812
2019-12-04 15:45:00 | 1.3713 | 326.644 | 1.894 | 319.805 | 2.459 | 323.329 | 2.452 | 327.302 | 7.932 | 984.353 | 24.8507 | 0.48402
2019-12-04 16:00:00 | 1.6267 | 332.469 | 2.661 | 319.561 | 2.459 | 356.963 | 2.7067 | 333.566 | 7.723 | 983.759 | 25.6016 | 0.62812
2019-12-04 16:15:00 | 1.3713 | 331.518 | 2.1497 | 336.866 | 2.7133 | 335.125 | 2.7067 | 336.685 | 7.555 | 983.481 | 26.2161 | 0.50619
2019-12-04 16:30:00 | 2.9033 | 350.762 | 3.428 | 10.6399 | 2.9677 | 356.953 | 2.9613 | 350.713 | 7.209 | 983.089 | 26.4237 | 0.72419
2019-12-04 16:45:00 | 3.1587 | 353.029 | 3.6837 | 10.5892 | 3.4763 | 356.174 | 3.216 | 355.906 | 7.15 | 983.166 | 26.4976 | 1.0604
2019-12-04 17:00:00 | 3.9247 | 353.184 | 4.195 | 10.8083 | 3.985 | 7.4119 | 3.98 | 354.988 | 7.076 | 982.972 | 26.3616 | 1.489
2019-12-04 17:15:00 | 3.1587 | 350.68 | 4.195 | 10.9782 | 3.4763 | 356.946 | 3.4707 | 353.752 | 7.056 | 983.171 | 26.5688 | 1.09
2019-12-04 17:30:00 | 1.882 | 355.516 | 3.1723 | 10.3908 | 2.7133 | 4.39 | 3.4707 | 356.809 | 7.014 | 983.321 | 27.2581 | 0.97174
2019-12-04 17:45:00 | 2.648 | 1.4634 | 3.6837 | 8.976 | 2.459 | 13.6581 | 2.1973 | 5.5852 | 6.77 | 983.321 | 27.8736 | 0.18105
2019-12-04 18:00:00 | 2.648 | 7.5363 | 3.1723 | 7.7077 | 3.222 | 24.4382 | 2.9613 | 13.0239 | 6.682 | 983.469 | 27.9419 | -0.29928
2019-12-04 18:15:00 | 2.648 | 6.9266 | 3.1723 | 7.5126 | 2.459 | 16.2677 | 2.452 | 11.3167 | 6.635 | 983.767 | 27.2588 | -0.1404
2019-12-04 18:30:00 | 1.882 | 1.2683 | 2.4053 | 7.5614 | 2.7133 | 4.0974 | 2.452 | 3.6096 | 6.79 | 983.767 | 26.6439 | -0.15149
2019-12-04 18:45:00 | 2.1373 | 0.87802 | 2.1497 | 7.6102 | 2.2047 | 4.3901 | 2.7067 | 356.817 | 6.701 | 983.767 | 25.6874 | -0.23278
2019-12-04 19:00:00 | 1.882 | 351.354 | 2.4053 | 10.0491 | 2.7133 | 0.53657 | 2.452 | 355.061 | 6.935 | 984.064 | 24.2528 | -0.26972
2019-12-04 19:15:00 | 1.116 | 356.915 | 1.6383 | 9.7564 | 1.696 | 8.9753 | 2.1973 | 356.817 | 6.924 | 984.064 | 24.2528 | -0.29928
2019-12-04 19:30:00 | 1.882 | 86.241 | 2.661 | 9.4638 | 2.2047 | 7.9997 | 2.1973 | 356.817 | 6.813 | 984.064 | 24.3894 | -0.28081
2019-12-04 19:45:00 | 1.882 | 340.232 | 2.1497 | 19.9024 | 1.9503 | 351.744 | 1.9427 | 340.062 | 6.844 | 984.361 | 23.3646 | -0.29928
2019-12-04 20:00:00 | 2.648 | 351.549 | 2.9167 | 19.8781 | 2.7133 | 354.866 | 2.7067 | 355.012 | 6.886 | 984.361 | 22.9547 | -0.28081
2019-12-04 20:15:00 | 1.882 | 356.915 | 1.894 | 19.6585 | 2.2047 | 0.78046 | 2.452 | 1.756 | 6.935 | 984.361 | 22.5448 | -0.28081
2019-12-04 20:30:00 | 1.6267 | 2.3414 | 2.1497 | 6.0005 | 1.9503 | 11.1216 | 1.9427 | 2.5853 | 6.919 | 984.361 | 23.433 | -0.25125
2019-12-04 20:45:00 | 2.3927 | 13.1703 | 2.9167 | 0.87733 | 2.459 | 24.0967 | 2.452 | 20.6822 | 6.876 | 984.658 | 23.7062 | -0.25125
2019-12-04 21:00:00 | 2.1373 | 21.3651 | 2.9167 | 7.9015 | 2.2047 | 25.7552 | 2.452 | 22.7065 | 6.745 | 984.361 | 23.9112 | -0.26972
2019-12-04 21:15:00 | 1.882 | 21.2676 | 2.4053 | 9.0722 | 2.459 | 22.9748 | 2.452 | 22.2431 | 6.774 | 984.658 | 23.433 | -0.28081
2019-12-04 21:30:00 | 2.1373 | 16.3165 | 2.661 | 8.9746 | 1.696 | 22.2431 | 1.688 | 20.9993 | 6.739 | 984.658 | 24.0478 | -0.26972
2019-12-04 21:45:00 | 2.3927 | 20.1944 | 2.661 | 9.0722 | 1.9503 | 28.1942 | 1.688 | 30.6331 | 6.734 | 984.658 | 23.6379 | -0.26972
2019-12-04 22:00:00 | 2.1373 | 34.3403 | 2.1497 | 20.0474 | 1.9503 | 50.169 | 2.1973 | 36.389 | 6.735 | 984.658 | 23.3646 | -0.28081
2019-12-04 22:15:00 | 2.9033 | 44.5838 | 2.4053 | 27.7057 | 1.4417 | 55.3396 | 1.688 | 44.3156 | 6.685 | 984.361 | 24.0478 | -0.2882
2019-12-04 22:30:00 | 1.6267 | 34.8037 | 1.894 | 49.2171 | 1.1873 | 59.2663 | 0.924 | 45.6814 | 6.765 | 984.361 | 23.433 | -0.26972
2019-12-04 22:45:00 | 1.116 | 35.9988 | 1.3827 | 49.461 | 0 | 59.0712 | 0 | 45.4619 | 6.928 | 984.659 | 23.228 | -0.26972
2019-12-04 23:00:00 | 1.116 | 25.0723 | 1.6383 | 30.5836 | 0.622 | 40.4864 | 1.1787 | 24.6821 | 6.934 | 984.658 | 23.2963 | -0.25125
2019-12-04 23:15:00 | 1.6267 | 26.5357 | 1.894 | 30.1446 | 0.933 | 42.7302 | 1.1787 | 11.2191 | 6.864 | 984.828 | 23.3988 | -0.25125
2019-12-04 23:30:00 | 2.3927 | 27.3893 | 2.1497 | 31.2178 | 1.4417 | 53.925 | 1.688 | 12.9752 | 6.89 | 984.808 | 23.3646 | -0.25864
2019-12-04 23:45:00 | 1.882 | 15.6092 | 2.1497 | 35.5103 | 1.4417 | 30.9014 | 1.688 | 9.4631 | 6.941 | 984.659 | 23.1597 | -0.26972