## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-05 00:00:00 | 1.116 | 17.5116 | 1.6383 | 37.2907 | 0.933 | 24.6821 | 1.4333 | 20.6822 | 6.91 | 984.658 | 23.5696 | -0.25864
2019-12-05 00:15:00 | 0.744 | 2.7072 | 2.4053 | 19.5596 | 1.696 | 11.8045 | 1.9427 | 342.379 | 6.973 | 984.659 | 23.5013 | -0.25864
2019-12-05 00:30:00 | 1.116 | 17.1458 | 2.1497 | 19.3157 | 1.696 | 15.7068 | 1.1787 | 0.97558 | 7.002 | 984.658 | 23.8429 | -0.2882
2019-12-05 00:45:00 | 1.6267 | 5.4632 | 2.4053 | 19.1206 | 2.2047 | 8.2924 | 2.1973 | 356.793 | 7.013 | 984.658 | 23.8429 | -0.26972
2019-12-05 01:00:00 | 1.6267 | 347.549 | 2.1497 | 17.8524 | 2.2047 | 8.0973 | 1.9427 | 351.208 | 7.115 | 984.956 | 23.5013 | -0.26972
2019-12-05 01:15:00 | 2.1373 | 353.695 | 2.4053 | 17.4621 | 3.222 | 6.6339 | 2.9613 | 355.012 | 7.144 | 984.956 | 23.0914 | -0.26972
2019-12-05 01:30:00 | 1.3713 | 86.4117 | 2.4053 | 17.2182 | 1.9503 | 11.6337 | 2.7067 | 356.817 | 7.07 | 984.956 | 23.433 | -0.26972
2019-12-05 01:45:00 | 1.3713 | 0.78046 | 1.894 | 17.5597 | 1.696 | 15.5604 | 1.9427 | 356.817 | 7.209 | 985.104 | 22.9547 | -0.26972
2019-12-05 02:00:00 | 0 | 0.78046 | 1.3827 | 17.5597 | 1.696 | 11.6094 | 1.9427 | 356.817 | 7.238 | 985.253 | 22.8864 | -0.025864
2019-12-05 02:15:00 | 0 | 0.78046 | 0 | 17.5597 | 0 | 11.6094 | 0 | 356.793 | 7.182 | 985.401 | 23.7746 | 2.0248
2019-12-05 02:30:00 | 0 | 227.261 | 0 | 18.0475 | 0.311 | 46.9252 | 0 | 356.768 | 6.35 | 985.104 | 24.936 | 1.4151
2019-12-05 02:45:00 | 0 | 274.204 | 0 | 18.05 | 0 | 46.8793 | 0 | 356.79 | 6.052 | 985.2 | 25.6891 | 0.59118
2019-12-05 03:00:00 | 0 | 350.619 | 0.75133 | 18.0089 | 0.622 | 46.8151 | 0.924 | 356.858 | 6.847 | 985.245 | 23.576 | 0.018474
2019-12-05 03:15:00 | 0 | 355.299 | 1.127 | 18.0085 | 0.933 | 46.8154 | 0.616 | 356.861 | 6.955 | 985.552 | 22.824 | 0.040643
2019-12-05 03:30:00 | 0.744 | 0.43912 | 1.894 | 18.0326 | 1.4417 | 46.7906 | 1.4333 | 356.858 | 6.935 | 985.215 | 22.4822 | -0.029559
2019-12-05 03:45:00 | 1.6267 | 12.5874 | 2.4053 | 18.0304 | 2.2047 | 46.7391 | 2.452 | 12.2946 | 6.929 | 985.257 | 22.2758 | -0.29189
2019-12-05 04:00:00 | 2.648 | 26.539 | 2.661 | 18.223 | 2.9677 | 35.8086 | 2.9613 | 34.345 | 6.879 | 985.239 | 22.0011 | -0.28081
2019-12-05 04:15:00 | 2.648 | 25.1705 | 3.1723 | 18.1948 | 2.9677 | 25.5606 | 2.9613 | 30.4386 | 6.923 | 985.254 | 21.6573 | -0.25125
2019-12-05 04:30:00 | 2.648 | 22.2431 | 3.428 | 18.1694 | 3.222 | 25.243 | 3.216 | 26.8284 | 6.879 | 985.255 | 22.2716 | -0.28081
2019-12-05 04:45:00 | 2.3927 | 22.1456 | 3.6837 | 18.1451 | 3.4763 | 30.7307 | 3.216 | 27.0966 | 6.783 | 985.253 | 22.2716 | -0.2882
2019-12-05 05:00:00 | 2.9033 | 23.8041 | 4.195 | 18.3402 | 3.985 | 27.8039 | 3.98 | 28.6332 | 6.671 | 985.401 | 22.2716 | -0.19213
2019-12-05 05:15:00 | 2.3927 | 24.3162 | 3.428 | 18.9255 | 3.7307 | 22.1944 | 3.7253 | 27.3649 | 6.766 | 985.55 | 22.0666 | -0.070202
2019-12-05 05:30:00 | 1.882 | 24.1455 | 2.9167 | 18.4377 | 2.9677 | 28.7795 | 2.9613 | 27.121 | 6.736 | 985.847 | 21.9983 | -0.18474
2019-12-05 05:45:00 | 1.116 | 14.2434 | 2.1497 | 17.9012 | 1.9503 | 11.1216 | 2.1973 | 11.8289 | 6.848 | 985.847 | 22.2033 | -0.24016
2019-12-05 06:00:00 | 1.3713 | 86.3629 | 2.1497 | 17.5597 | 2.459 | 0.048779 | 2.9613 | 2.3658 | 6.668 | 985.847 | 22.374 | -0.24016
2019-12-05 06:15:00 | 1.882 | 0.097558 | 2.1497 | 17.3646 | 2.7133 | 2.1463 | 2.452 | 1.6585 | 6.715 | 986.164 | 22.6132 | -0.25864
2019-12-05 06:30:00 | 2.648 | 0.12195 | 2.9167 | 17.0231 | 2.9677 | 0.95119 | 2.7067 | 1.4634 | 6.556 | 986.144 | 22.8181 | -0.24016
2019-12-05 06:45:00 | 1.882 | 86.0215 | 2.4053 | 17.0719 | 2.7133 | 356.183 | 2.7067 | 1.4146 | 6.526 | 986.442 | 23.1597 | -0.24016
2019-12-05 07:00:00 | 0 | 355.305 | 2.1497 | 17.1695 | 2.459 | 344.964 | 2.452 | 356.768 | 6.088 | 986.441 | 23.7746 | -0.2882
2019-12-05 07:15:00 | 0.744 | 302.185 | 2.661 | 300.282 | 2.459 | 320.184 | 2.452 | 343.305 | 5.251 | 986.618 | 32.3143 | -0.081287
2019-12-05 07:30:00 | 3.1587 | 334.695 | 5.4733 | 335.041 | 5.511 | 9.7579 | 6.0173 | 337.184 | 2.045 | 986.718 | 38.9154 | 1.6405
2019-12-05 07:45:00 | 3.9247 | 288.846 | 3.9393 | 316.173 | 1.9503 | 326.366 | 1.9427 | 280.551 | 2.086 | 986.892 | 33.211 | 0.13671
2019-12-05 08:00:00 | 2.9033 | 298.357 | 3.6837 | 303.094 | 3.7307 | 320.971 | 3.7253 | 312.14 | 2.323 | 987.041 | 35.8757 | 2.3167
2019-12-05 08:15:00 | 0.744 | 323.034 | 2.1497 | 325.256 | 2.7133 | 346.817 | 2.9613 | 298.227 | 3.571 | 987.571 | 31.9088 | 1.9657
2019-12-05 08:30:00 | 2.648 | 348.427 | 2.9167 | 6.9747 | 3.7307 | 40.7303 | 3.98 | 349.11 | 4.489 | 988.226 | 28.7618 | 1.3671
2019-12-05 08:45:00 | 2.9033 | 353.056 | 3.6837 | 335.983 | 4.4937 | 3.4389 | 4.4893 | 355.203 | 5.129 | 988.522 | 28.8297 | 1.489
2019-12-05 09:00:00 | 3.414 | 86.3342 | 2.661 | 1.9432 | 3.4763 | 15.4334 | 3.98 | 0.29258 | 5.016 | 989.092 | 29.7083 | 0.46186
2019-12-05 09:15:00 | 3.1587 | 334.655 | 4.195 | 4.2011 | 2.9677 | 17.4081 | 2.9613 | 18.2127 | 5.132 | 989.564 | 28.6153 | -0.066507
2019-12-05 09:30:00 | 2.9033 | 356.903 | 3.428 | 18.2771 | 2.7133 | 39.301 | 2.7067 | 9.4596 | 5.381 | 989.853 | 28.2388 | -0.25494
2019-12-05 09:45:00 | 1.882 | 10.604 | 3.1723 | 10.13 | 2.9677 | 27.4241 | 2.452 | 13.2123 | 5.465 | 990.057 | 28.1325 | -0.24016
2019-12-05 10:00:00 | 0 | 356.867 | 1.3827 | 24.1148 | 1.9503 | 59.5672 | 1.688 | 16.2811 | 5.991 | 990.317 | 30.4831 | -0.22539
2019-12-05 10:15:00 | 0 | 337.855 | 1.127 | 23.676 | 1.1873 | 0.048745 | 0.924 | 20.2781 | 5.85 | 990.292 | 36.0471 | -0.22539
2019-12-05 10:30:00 | 2.3927 | 39.1851 | 2.4053 | 41.1169 | 1.4417 | 30.0223 | 1.4333 | 20.1774 | 4.979 | 990.441 | 46.1778 | -0.26972
2019-12-05 10:45:00 | 0.99933 | 30.8258 | 2.661 | 29.8087 | 1.4417 | 12.2816 | 1.4333 | 18.7148 | 3.637 | 990.292 | 47.1324 | -0.31037
2019-12-05 11:00:00 | 1.882 | 8.9919 | 3.1723 | 9.9241 | 3.4763 | 16.546 | 3.216 | 17.6913 | 4.397 | 989.995 | 46.8252 | 0.17366
2019-12-05 11:15:00 | 2.9033 | 6.5553 | 3.9393 | 4.6616 | 3.985 | 28.0732 | 4.2347 | 350.623 | 4.263 | 989.698 | 47.0317 | 2.3906
2019-12-05 11:30:00 | 3.6693 | 34.7555 | 4.195 | 27.9655 | 1.4417 | 47.8436 | 2.1973 | 328.934 | 4.224 | 989.698 | 48.6088 | 6.3293
2019-12-05 11:45:00 | 2.648 | 19.7419 | 3.6837 | 5.2057 | 3.985 | 55.8136 | 4.4893 | 327.253 | 4.458 | 989.698 | 53.4562 | 10.3049
2019-12-05 12:00:00 | 5.4567 | 15.6961 | 6.496 | 30.0616 | 2.9677 | 16.8903 | 3.7253 | 3.0222 | 4.672 | 989.401 | 59.8054 | 22.993
2019-12-05 12:15:00 | 6.9887 | 4.631 | 7.263 | 6.7621 | 8.3087 | 14.3316 | 7.036 | 0.73121 | 4.595 | 989.272 | 57.9639 | 33.0419
2019-12-05 12:30:00 | 5.2013 | 356.543 | 5.4733 | 11.3217 | 7.5457 | 45.9269 | 7.8 | 333.214 | 4.378 | 989.35 | 57.7681 | 34.8202
2019-12-05 12:45:00 | 5.712 | 11.7024 | 5.729 | 4.2018 | 6.0197 | 13.8966 | 6.5267 | 10.3371 | 4.272 | 989.407 | 57.8425 | 41.1864
2019-12-05 13:00:00 | 6.7333 | 227.963 | 7.263 | 9.6137 | 7.2913 | 5.7052 | 7.8 | 0.48762 | 4.081 | 989.407 | 59.4502 | 44.2938
2019-12-05 13:15:00 | 6.7333 | 5.4857 | 8.2857 | 12.6463 | 6.274 | 352.112 | 6.272 | 6.3391 | 3.902 | 989.461 | 60.099 | 46.5707
2019-12-05 13:30:00 | 8.776 | 18.7247 | 9.3083 | 14.8893 | 5.2567 | 19.3098 | 6.0173 | 346.479 | 3.917 | 989.317 | 58.9039 | 47.8741
2019-12-05 13:45:00 | 5.9673 | 15.3113 | 9.0527 | 14.4748 | 8.8173 | 25.8439 | 8.564 | 19.6024 | 3.856 | 989.71 | 55.8989 | 46.7828
2019-12-05 14:00:00 | 9.0313 | 0.097531 | 8.2857 | 1.7617 | 9.8347 | 0.12191 | 8.8187 | 356.817 | 3.827 | 989.264 | 58.2591 | 53.1747
2019-12-05 14:15:00 | 7.244 | 7.8525 | 9.3083 | 2.4845 | 7.2913 | 5.9503 | 8.0547 | 9.023 | 3.589 | 989.413 | 57.8585 | 53.0706
2019-12-05 14:30:00 | 4.946 | 84.2405 | 7.5187 | 8.7549 | 7.2913 | 24.6819 | 9.328 | 133.507 | 3.599 | 989.71 | 58.138 | 53.3462
2019-12-05 14:45:00 | 8.2653 | 338.184 | 7.0073 | 13.7549 | 9.8347 | 33.8037 | 10.092 | 0.19512 | 3.517 | 989.71 | 59.3681 | 47.7828
2019-12-05 15:00:00 | 6.2227 | 14.5605 | 10.0753 | 18.2182 | 8.563 | 19.4871 | 7.2907 | 346.744 | 3.252 | 989.561 | 62.0324 | 51.5083
2019-12-05 15:15:00 | 7.244 | 4.9754 | 8.2857 | 6.8284 | 7.5457 | 16.1458 | 7.2907 | 8.2192 | 2.939 | 989.71 | 63.7404 | 54.3733
2019-12-05 15:30:00 | 3.9247 | 15.9507 | 9.0527 | 14.3403 | 6.7827 | 29.4624 | 6.7813 | 0.31706 | 2.694 | 989.71 | 65.1409 | 49.6513
2019-12-05 15:45:00 | 7.244 | 47.9496 | 8.03 | 7.0004 | 6.274 | 4.5608 | 5.508 | 0.58535 | 2.409 | 989.592 | 66.4731 | 43.5448
2019-12-05 16:00:00 | 5.712 | 7.8301 | 6.7517 | 16.8777 | 6.7827 | 9.9035 | 7.5453 | 11.9038 | 2.188 | 989.532 | 69.6259 | 40.5074
2019-12-05 16:15:00 | 6.7333 | 0.097581 | 5.729 | 12.8278 | 6.7827 | 10.3436 | 6.272 | 356.855 | 1.752 | 989.567 | 71.8193 | 39.6966
2019-12-05 16:30:00 | 7.244 | 13.5159 | 8.03 | 5.2752 | 7.037 | 8.0266 | 7.5453 | 13.1987 | 1.452 | 989.404 | 74.1474 | 40.9093
2019-12-05 16:45:00 | 5.9673 | 5.0015 | 7.7743 | 4.9101 | 7.8 | 3.0985 | 7.8 | 16.2733 | 1.177 | 989.419 | 74.4917 | 36.2021
2019-12-05 17:00:00 | 6.478 | 8.7344 | 7.7743 | 17.0602 | 7.2913 | 11.9549 | 7.8 | 18.5911 | 0.925 | 989.419 | 75.6535 | 33.0947
2019-12-05 17:15:00 | 6.2227 | 9.517 | 7.7743 | 4.5979 | 7.037 | 12.0061 | 4.9987 | 13.6899 | 0.658 | 989.419 | 75.7371 | 27.6707
2019-12-05 17:30:00 | 5.9673 | 6.8337 | 7.0073 | 2.9416 | 6.0197 | 342.66 | 6.0173 | 14.9365 | 0.45 | 989.56 | 76.0892 | 28.018
2019-12-05 17:45:00 | 6.478 | 9.3474 | 7.5187 | 4.6497 | 6.274 | 8.2491 | 3.98 | 15.3024 | 0.208 | 989.721 | 76.6352 | 26.2223
2019-12-05 18:00:00 | 3.1587 | 6.492 | 5.9847 | 8.6527 | 5.7653 | 17.792 | 3.98 | 14.6925 | -0.058 | 990.168 | 76.7732 | 21.3673
2019-12-05 18:15:00 | 4.4353 | 15.449 | 5.4733 | 5.6751 | 5.511 | 34.1928 | 5.508 | 23.6983 | -0.331 | 990.02 | 77.7301 | 16.516
2019-12-05 18:30:00 | 3.414 | 19.8177 | 5.2177 | 11.7523 | 5.2567 | 15.327 | 5.2533 | 29.3849 | -0.56 | 989.871 | 77.867 | 13.501
2019-12-05 18:45:00 | 1.6267 | 20.4523 | 4.195 | 9.5069 | 4.2393 | 19.5249 | 4.4893 | 30.4588 | -0.68 | 989.722 | 78.4823 | 7.8183
2019-12-05 19:00:00 | 2.9033 | 27.0419 | 3.9393 | 12.0208 | 3.7307 | 15.7175 | 3.7253 | 38.7325 | -0.825 | 989.722 | 78.619 | 4.5262
2019-12-05 19:15:00 | 3.414 | 45.1032 | 3.6837 | 32.7424 | 4.4937 | 26.1638 | 4.744 | 49.3988 | -0.826 | 989.871 | 77.6633 | 2.5568
2019-12-05 19:30:00 | 3.6693 | 30.9751 | 4.195 | 25.0591 | 4.2393 | 21.4312 | 4.2347 | 38.908 | -0.488 | 989.871 | 73.8425 | 1.8807
2019-12-05 19:45:00 | 2.648 | 34.1978 | 3.428 | 33.2617 | 3.4763 | 27.4852 | 3.4707 | 46.1097 | -0.631 | 990.02 | 75.0749 | 1.1011
2019-12-05 20:00:00 | 3.6693 | 41.5942 | 3.6837 | 26.5738 | 3.7307 | 32.5138 | 3.7253 | 50.9919 | -0.615 | 990.02 | 72.819 | 0.72419
2019-12-05 20:15:00 | 3.1587 | 46.7684 | 3.428 | 29.5999 | 3.4763 | 31.9275 | 3.4707 | 56.6298 | -0.609 | 989.871 | 73.912 | 0.58748
2019-12-05 20:30:00 | 2.9033 | 64.0281 | 2.4053 | 41.6358 | 3.222 | 28.4135 | 2.7067 | 78.723 | -0.644 | 989.871 | 72.9572 | -0.088676
2019-12-05 20:45:00 | 3.1587 | 53.019 | 3.1723 | 32.1403 | 2.459 | 34.3696 | 2.452 | 65.1021 | -0.531 | 989.722 | 72.6837 | -0.11454
2019-12-05 21:00:00 | 3.1587 | 19.6258 | 3.1723 | 24.4754 | 2.7133 | 17.136 | 2.9613 | 41.4729 | -0.734 | 989.722 | 74.1879 | -0.0036949
2019-12-05 21:15:00 | 2.3927 | 39.8375 | 2.1497 | 25.0125 | 0 | 17.8683 | 0 | 38.8611 | -0.833 | 989.722 | 72.8205 | -0.11454
2019-12-05 21:30:00 | 1.882 | 32.0263 | 1.894 | 25.0613 | 1.1873 | 19.04 | 0.308 | 83.4831 | -0.8 | 989.722 | 72.6837 | -0.22539
2019-12-05 21:45:00 | 2.1373 | 83.3854 | 1.3827 | 25.7936 | 0 | 19.7235 | 0 | 102.816 | -0.921 | 989.722 | 73.5726 | -0.16996
2019-12-05 22:00:00 | 1.116 | 83.3854 | 0.37567 | 25.8913 | 0 | 25.1914 | 0 | 102.816 | -0.883 | 989.722 | 73.094 | -0.20322
2019-12-05 22:15:00 | 0 | 83.3854 | 0 | 25.8913 | 0 | 50.3095 | 0 | 102.84 | -0.595 | 989.722 | 71.5897 | -0.23278
2019-12-05 22:30:00 | 0 | 83.3854 | 0.75133 | 25.8913 | 0 | 46.3795 | 0 | 102.816 | -0.769 | 989.722 | 72.2735 | -0.24755
2019-12-05 22:45:00 | 0 | 180.587 | 1.127 | 25.8913 | 0.933 | 54.9719 | 0.924 | 104.305 | -0.733 | 989.722 | 72.8205 | -0.29928
2019-12-05 23:00:00 | 0 | 180.587 | 1.127 | 25.8913 | 0 | 132.45 | 0 | 104.329 | -0.592 | 989.729 | 73.2308 | -0.28081
2019-12-05 23:15:00 | 0 | 180.587 | 0.75133 | 25.8913 | 0 | 133.915 | 0 | 104.305 | -0.921 | 989.574 | 74.9402 | -0.29928
2019-12-05 23:30:00 | 0 | 180.587 | 0.75133 | 26.0377 | 0 | 133.89 | 0 | 104.305 | -1.098 | 989.425 | 75.282 | -0.29928
2019-12-05 23:45:00 | 0 | 180.538 | 0 | 26.0133 | 0 | 133.866 | 0 | 104.061 | -1.097 | 989.147 | 75.282 | -0.31776