## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-06 00:00:00 | 0 | 180.587 | 0.75133 | 25.9889 | 0.933 | 52.9458 | 0.924 | 103.182 | -1.049 | 989.141 | 74.9402 | -0.28081
2019-12-06 00:15:00 | 0 | 338.927 | 0.75133 | 25.7956 | 0.933 | 10.2283 | 0.616 | 103.065 | -1.058 | 989.128 | 74.875 | -0.29928
2019-12-06 00:30:00 | 1.116 | 353.469 | 1.3827 | 6.574 | 1.1873 | 326.812 | 1.4333 | 8.3973 | -1.236 | 989.128 | 76.3437 | -0.31776
2019-12-06 00:45:00 | 1.3713 | 318.849 | 1.6383 | 6.5742 | 1.4417 | 325.342 | 1.688 | 341.575 | -1.436 | 989.128 | 76.6159 | -0.31776
2019-12-06 01:00:00 | 0 | 296.44 | 1.127 | 327.214 | 0.933 | 308.157 | 0.924 | 320.753 | -1.289 | 989.128 | 76.445 | -0.2882
2019-12-06 01:15:00 | 0.744 | 261.534 | 1.6383 | 327.215 | 1.4417 | 302.544 | 1.4333 | 320.071 | -1.437 | 988.843 | 77.3342 | -0.29928
2019-12-06 01:30:00 | 0 | 273.119 | 0 | 327.184 | 0.622 | 302.071 | 0.924 | 319.989 | -1.626 | 988.851 | 78.1586 | -0.31776
2019-12-06 01:45:00 | 0.744 | 297.797 | 1.127 | 327.234 | 1.696 | 310.785 | 1.688 | 320.013 | -1.752 | 988.831 | 78.5748 | -0.31776
2019-12-06 02:00:00 | 0 | 297.365 | 1.6383 | 280.197 | 1.696 | 267.824 | 1.688 | 336.379 | -1.498 | 988.837 | 77.6195 | -0.29928
2019-12-06 02:15:00 | 0 | 257.759 | 1.127 | 280.19 | 1.1873 | 214.694 | 1.1787 | 286.763 | -1.642 | 988.833 | 79.1563 | -0.31776
2019-12-06 02:30:00 | 0 | 258.349 | 1.127 | 280.195 | 0.622 | 214.697 | 0.308 | 293.261 | -1.816 | 988.833 | 78.371 | -0.31037
2019-12-06 02:45:00 | 1.116 | 200.833 | 1.3827 | 279.809 | 0 | 189.7 | 0.924 | 234.208 | -1.786 | 988.611 | 79.9453 | -0.31776
2019-12-06 03:00:00 | 0 | 264.604 | 0 | 279.809 | 0 | 189.7 | 0 | 322.661 | -2.109 | 988.268 | 79.4666 | -0.31776
2019-12-06 03:15:00 | 0 | 350.054 | 1.3827 | 280.395 | 1.4417 | 346.099 | 1.688 | 340.435 | -2.008 | 988.046 | 73.8588 | -0.32884
2019-12-06 03:30:00 | 1.3713 | 356.891 | 2.1497 | 280.884 | 1.696 | 0.53712 | 1.688 | 0.87892 | -1.756 | 988.117 | 75.8421 | -0.29928
2019-12-06 03:45:00 | 0.372 | 342.29 | 1.127 | 332.447 | 2.2047 | 12.9152 | 2.452 | 5.5665 | -1.814 | 988.012 | 78.2356 | -0.33623
2019-12-06 04:00:00 | 1.116 | 5.2735 | 2.1497 | 8.1346 | 2.7133 | 5.0782 | 2.7067 | 14.5022 | -2.062 | 987.608 | 78.0305 | -0.31776
2019-12-06 04:15:00 | 0 | 6.0792 | 0.75133 | 8.0858 | 0.622 | 8.1056 | 0.924 | 20.8988 | -1.959 | 987.68 | 75.295 | -0.32884
2019-12-06 04:30:00 | 0 | 6.1036 | 0 | 8.0858 | 0.933 | 345.708 | 1.1787 | 20.8988 | -2.002 | 987.365 | 70.5762 | -0.33993
2019-12-06 04:45:00 | 0 | 6.1036 | 0 | 8.0858 | 0.311 | 345.708 | 0 | 20.8988 | -2.093 | 987.188 | 78.8511 | -0.3547
2019-12-06 05:00:00 | 0 | 6.1038 | 0 | 8.0608 | 0 | 345.724 | 0.616 | 20.8997 | -2.44 | 987.053 | 75.572 | -0.3584
2019-12-06 05:15:00 | 0 | 6.1535 | 0 | 8.0349 | 0.622 | 347.817 | 0.616 | 20.9022 | -2.344 | 987.109 | 75.0339 | -0.30667
2019-12-06 05:30:00 | 0 | 6.1535 | 0 | 8.0349 | 0.311 | 347.819 | 0.308 | 20.9023 | -2.23 | 987.313 | 75.8208 | -0.30667
2019-12-06 05:45:00 | 0 | 6.1535 | 0 | 8.0593 | 0 | 347.819 | 0 | 20.9023 | -2.539 | 987.35 | 78.5568 | -0.32884
2019-12-06 06:00:00 | 0.744 | 70.936 | 0.75133 | 8.0593 | 0.311 | 154.179 | 0 | 20.9023 | -2.584 | 987.354 | 78.6594 | -0.16257
2019-12-06 06:15:00 | 1.116 | 162.774 | 2.661 | 135.327 | 1.4417 | 160.821 | 1.4333 | 148.514 | -2.914 | 987.354 | 78.933 | 1.0419
2019-12-06 06:30:00 | 2.1373 | 148.514 | 2.4053 | 139.551 | 2.9677 | 160.821 | 2.7067 | 159.649 | -2.862 | 987.354 | 72.9822 | 3.1369
2019-12-06 06:45:00 | 2.648 | 148.026 | 3.1723 | 141.602 | 3.4763 | 144.119 | 2.9613 | 148.563 | -2.78 | 987.354 | 75.513 | 4.1013
2019-12-06 07:00:00 | 2.1373 | 147.733 | 4.4507 | 145.216 | 4.748 | 151.591 | 4.4893 | 158.794 | -3.079 | 987.469 | 78.2148 | 4.2306
2019-12-06 07:15:00 | 3.9247 | 145.974 | 5.2177 | 142.213 | 5.0023 | 146.927 | 4.4893 | 153.349 | -3.271 | 987.264 | 77.0178 | 4.3562
2019-12-06 07:30:00 | 4.18 | 146.951 | 3.6837 | 152.053 | 4.4937 | 158.525 | 4.2347 | 156.914 | -3.363 | 987.131 | 78.7276 | 5.5792
2019-12-06 07:45:00 | 5.2013 | 149.795 | 5.4733 | 145.788 | 5.0023 | 149.576 | 4.744 | 153.507 | -3.525 | 987.105 | 79.4734 | 10.5451
2019-12-06 08:00:00 | 4.946 | 153.103 | 5.4733 | 150.657 | 6.5283 | 158.767 | 6.5267 | 157.962 | -3.512 | 987.05 | 79.33 | 10.9959
2019-12-06 08:15:00 | 5.4567 | 155.225 | 6.2403 | 141.182 | 5.0023 | 160.449 | 4.9987 | 157.91 | -3.556 | 987.203 | 77.9266 | 13.9296
2019-12-06 08:30:00 | 0.372 | 164.843 | 3.1723 | 129.342 | 3.7307 | 187.935 | 3.7253 | 148.463 | -3.343 | 987.641 | 75.7266 | 12.4738
2019-12-06 08:45:00 | 2.1373 | 163.695 | 2.4053 | 151.653 | 2.7133 | 160.082 | 2.7067 | 165.502 | -2.666 | 987.938 | 72.6838 | 12.2521
2019-12-06 09:00:00 | 3.414 | 139.262 | 3.6837 | 143.351 | 3.4763 | 159.934 | 3.98 | 152.319 | -2.37 | 988.236 | 71.1678 | 12.0858
2019-12-06 09:15:00 | 6.2227 | 139.92 | 5.2177 | 139.958 | 5.2567 | 141.458 | 4.9987 | 148.828 | -1.777 | 988.533 | 67.6124 | 12.2891
2019-12-06 09:30:00 | 4.6907 | 156.441 | 5.2177 | 150.596 | 5.511 | 157.32 | 5.508 | 154.977 | -1.53 | 988.37 | 63.6464 | 12.5625
2019-12-06 09:45:00 | 4.6907 | 159.909 | 4.7063 | 153.013 | 4.4937 | 178.064 | 4.9987 | 168.889 | -1.452 | 988.231 | 67.8754 | 12.8063
2019-12-06 10:00:00 | 3.6693 | 155.511 | 5.4733 | 144.783 | 5.511 | 154.608 | 5.508 | 161.977 | -1.747 | 988.825 | 68.4198 | 11.709
2019-12-06 10:15:00 | 4.946 | 153.632 | 5.2177 | 152.323 | 5.511 | 161.172 | 5.7627 | 161.001 | -1.493 | 988.528 | 64.0454 | 10.8333
2019-12-06 10:30:00 | 4.6907 | 165.55 | 4.7063 | 156.629 | 6.0197 | 159.596 | 6.0173 | 167.844 | -1.201 | 988.233 | 63.7761 | 11.8568
2019-12-06 10:45:00 | 4.946 | 157.077 | 5.4733 | 152.184 | 4.4937 | 162.886 | 4.9987 | 169.67 | -1.394 | 987.962 | 65.0143 | 12.7768
2019-12-06 11:00:00 | 5.712 | 164.131 | 5.729 | 161.435 | 6.274 | 167.938 | 5.508 | 176.505 | -0.997 | 987.884 | 64.7752 | 12.8655
2019-12-06 11:15:00 | 4.18 | 165.376 | 4.7063 | 148.451 | 5.511 | 149.316 | 6.272 | 171.087 | -0.837 | 987.789 | 65.288 | 14.0035
2019-12-06 11:30:00 | 4.6907 | 151.22 | 4.7063 | 145.034 | 3.4763 | 165.717 | 3.4707 | 149.243 | -0.724 | 987.342 | 64.5702 | 17.532
2019-12-06 11:45:00 | 7.244 | 188.122 | 8.5413 | 179.691 | 6.5283 | 174.015 | 7.2907 | 197.348 | -0.699 | 987.037 | 63.7156 | 18.4853
2019-12-06 12:00:00 | 7.4993 | 153.27 | 7.5187 | 144.277 | 6.5283 | 146.314 | 6.272 | 162.178 | -0.367 | 986.647 | 64.6727 | 21.5964
2019-12-06 12:15:00 | 6.2227 | 153.343 | 5.9847 | 155.358 | 5.511 | 162.203 | 5.508 | 152.806 | -1.053 | 986.431 | 66.3818 | 20.68
2019-12-06 12:30:00 | 5.712 | 170.891 | 6.2403 | 148.768 | 7.037 | 164.814 | 6.7813 | 174.211 | -0.607 | 986.13 | 66.1767 | 18.9509
2019-12-06 12:45:00 | 6.7333 | 148.316 | 6.7517 | 131.293 | 6.274 | 141.018 | 6.272 | 160.909 | -0.351 | 985.856 | 65.5273 | 17.2586
2019-12-06 13:00:00 | 6.2227 | 154.1 | 6.2403 | 157.627 | 5.2567 | 169.159 | 5.2533 | 156.492 | -0.089 | 985.708 | 65.7665 | 17.0961
2019-12-06 13:15:00 | 6.2227 | 157.59 | 5.4733 | 147.377 | 6.5283 | 158.444 | 7.036 | 160.348 | -0.222 | 985.559 | 67.8175 | 20.6985
2019-12-06 13:30:00 | 6.7333 | 154.539 | 7.0073 | 151.331 | 8.3087 | 156.541 | 8.3093 | 155.711 | -0.163 | 985.536 | 68.2276 | 21.4892
2019-12-06 13:45:00 | 6.9887 | 151.049 | 7.5187 | 141.69 | 7.037 | 151.074 | 7.2907 | 154.051 | -0.004 | 985.261 | 68.9797 | 23.4253
2019-12-06 14:00:00 | 7.4993 | 150.683 | 7.7743 | 142.203 | 7.037 | 150.634 | 7.2907 | 167.548 | -0.071 | 985.058 | 69.5607 | 25.9452
2019-12-06 14:15:00 | 8.01 | 149.314 | 7.263 | 145.178 | 7.037 | 170.01 | 7.036 | 150.754 | -0.042 | 984.871 | 71.1661 | 25.6718
2019-12-06 14:30:00 | 8.01 | 145.207 | 8.5413 | 138.678 | 8.0543 | 144.426 | 7.8 | 153.187 | -0.056 | 984.432 | 71.7095 | 27.1608
2019-12-06 14:45:00 | 7.244 | 142.126 | 9.0527 | 132.303 | 7.8 | 146.495 | 8.564 | 163.309 | 0.311 | 984.709 | 73.5525 | 30.161
2019-12-06 15:00:00 | 8.01 | 150.068 | 7.7743 | 152.444 | 7.5457 | 160.78 | 7.5453 | 153.338 | 0.147 | 984.663 | 74.0241 | 31.1734
2019-12-06 15:15:00 | 7.244 | 158.111 | 6.7517 | 150.946 | 7.2913 | 163.309 | 8.0547 | 165.724 | 0.115 | 984.217 | 74.7034 | 35.4947
2019-12-06 15:30:00 | 6.2227 | 137.332 | 6.496 | 145.565 | 5.2567 | 162.295 | 5.7627 | 167.956 | 0.074 | 984.068 | 74.982 | 30.2756
2019-12-06 15:45:00 | 6.9887 | 142.854 | 6.7517 | 140.815 | 5.7653 | 148.491 | 6.272 | 151.42 | 0.133 | 984.088 | 76.2161 | 23.0115
2019-12-06 16:00:00 | 5.9673 | 144.162 | 6.7517 | 154.498 | 8.3087 | 170.911 | 8.0547 | 143.87 | -0.007 | 983.43 | 76.9076 | 21.4523
2019-12-06 16:15:00 | 5.9673 | 143.337 | 7.5187 | 149.232 | 8.0543 | 152.733 | 7.8 | 150.366 | -0.051 | 983.167 | 77.5251 | 30.6968
2019-12-06 16:30:00 | 9.0313 | 146.973 | 8.03 | 142.252 | 8.0543 | 147.047 | 8.0547 | 152.05 | -0.073 | 982.734 | 78.2772 | 35.1158
2019-12-06 16:45:00 | 6.7333 | 151.36 | 7.0073 | 151.958 | 7.8 | 149.554 | 7.5453 | 156.876 | -0.225 | 982.585 | 78.9575 | 32.4001
2019-12-06 17:00:00 | 6.9887 | 152.44 | 7.7743 | 144.008 | 8.0543 | 152.44 | 8.0547 | 159.396 | -0.09 | 982.585 | 78.7556 | 34.4877
2019-12-06 17:15:00 | 8.01 | 163.326 | 8.03 | 158.238 | 7.8 | 152.904 | 8.0547 | 160.104 | -0.105 | 982.288 | 78.619 | 35.6257
2019-12-06 17:30:00 | 6.478 | 165.351 | 5.4733 | 140.494 | 6.0197 | 150.415 | 6.7813 | 185.12 | -0.18 | 982.288 | 79.0292 | 36.4127
2019-12-06 17:45:00 | 6.478 | 156.833 | 7.263 | 160.849 | 7.5457 | 154.613 | 7.5453 | 163.277 | -0.29 | 981.99 | 79.6445 | 33.9815
2019-12-06 18:00:00 | 7.7547 | 148.95 | 7.263 | 141.495 | 8.563 | 179.263 | 9.0733 | 156.443 | -0.409 | 981.99 | 80.1572 | 35.1934
2019-12-06 18:15:00 | 7.244 | 156.321 | 7.263 | 161.459 | 7.037 | 161.178 | 7.8 | 163.252 | -0.278 | 981.99 | 79.6445 | 37.0022
2019-12-06 18:30:00 | 7.244 | 150.634 | 7.0073 | 152.112 | 9.326 | 183.997 | 9.328 | 158.713 | -0.271 | 981.99 | 80.67 | 42.2912
2019-12-06 18:45:00 | 6.7333 | 171.062 | 9.564 | 145.01 | 7.8 | 139.603 | 7.2907 | 172.819 | -0.283 | 981.693 | 79.6445 | 44.1423
2019-12-06 19:00:00 | 8.776 | 150.976 | 9.0527 | 152.258 | 9.8347 | 163.96 | 9.8373 | 156.638 | -0.273 | 981.99 | 79.4736 | 43.444
2019-12-06 19:15:00 | 10.308 | 169.11 | 8.797 | 148.085 | 9.0717 | 143.435 | 8.8187 | 162.398 | -0.061 | 981.99 | 78.4823 | 45.2803
2019-12-06 19:30:00 | 4.946 | 159.884 | 6.2403 | 147.621 | 9.8347 | 161.568 | 9.5827 | 156.272 | -0.108 | 981.99 | 78.8241 | 46.8728
2019-12-06 19:45:00 | 10.5633 | 158.078 | 10.5867 | 146.694 | 10.5977 | 156.833 | 10.3467 | 162.13 | -0.068 | 981.693 | 78.0721 | 51.9569
2019-12-06 20:00:00 | 8.776 | 151.513 | 10.0753 | 146.083 | 10.5977 | 162.3 | 10.092 | 159.225 | -0.005 | 981.99 | 77.867 | 49.9748
2019-12-06 20:15:00 | 7.4993 | 145.411 | 7.0073 | 143.472 | 8.0543 | 174.357 | 8.8187 | 150.683 | 0.161 | 981.99 | 77.6961 | 44.2753
2019-12-06 20:30:00 | 10.5633 | 157.078 | 9.0527 | 162.826 | 8.0543 | 164.375 | 8.564 | 168.89 | 0.175 | 981.99 | 78.2772 | 49.7807
2019-12-06 20:45:00 | 8.776 | 168.109 | 8.2857 | 163.265 | 7.037 | 163.374 | 7.5453 | 169.476 | 0.053 | 981.99 | 79.0976 | 54.7096
2019-12-06 21:00:00 | 9.0313 | 149.097 | 7.263 | 162.704 | 8.8173 | 151.098 | 9.5827 | 153.832 | 0.004 | 981.99 | 79.5078 | 61.5118
2019-12-06 21:15:00 | 8.5207 | 138.651 | 8.5413 | 145.595 | 10.852 | 164.033 | 10.6013 | 148.145 | 0.014 | 981.842 | 78.9609 | 63.2631
2019-12-06 21:30:00 | 7.7547 | 151.513 | 10.331 | 148.353 | 10.3433 | 133.257 | 10.092 | 152.855 | 0.005 | 981.99 | 78.619 | 62.0697
2019-12-06 21:45:00 | 9.2867 | 138.114 | 9.564 | 143.13 | 9.8347 | 159.86 | 10.092 | 144.191 | 0.192 | 981.693 | 78.0038 | 62.8826
2019-12-06 22:00:00 | 11.5847 | 151.586 | 10.331 | 156.31 | 10.3433 | 168.231 | 10.3467 | 155.271 | 0.098 | 981.396 | 78.2088 | 58.1458
2019-12-06 22:15:00 | 11.3293 | 149.219 | 10.5867 | 148.939 | 11.1063 | 157.663 | 10.856 | 156.614 | 0.13 | 981.247 | 77.9354 | 58.4894
2019-12-06 22:30:00 | 10.308 | 161.031 | 10.8423 | 150.599 | 11.1063 | 157.346 | 11.1107 | 162.862 | 0 | 981.396 | 78.2088 | 55.9252
2019-12-06 22:45:00 | 8.5207 | 152.416 | 9.8197 | 145.18 | 10.089 | 158.347 | 10.092 | 155.467 | 0.004 | 981.396 | 78.0379 | 54.9941
2019-12-06 23:00:00 | 9.2867 | 162.691 | 11.3537 | 156.456 | 10.5977 | 159.103 | 10.092 | 168.597 | 0.042 | 981.396 | 78.5507 | 60.3886
2019-12-06 23:15:00 | 9.542 | 151.903 | 9.8197 | 151.624 | 10.5977 | 163.277 | 10.6013 | 157.395 | -0.06 | 981.098 | 79.1659 | 54.1036
2019-12-06 23:30:00 | 8.5207 | 164.155 | 8.797 | 162.24 | 10.852 | 158.029 | 11.1107 | 165.205 | -0.005 | 981.247 | 79.371 | 51.7574
2019-12-06 23:45:00 | 10.308 | 150.781 | 10.331 | 154.577 | 9.8347 | 150.512 | 10.092 | 163.618 | -0.11 | 980.801 | 80.1914 | 45.7163