## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-07 00:00:00 | 11.074 | 158.298 | 12.1207 | 151.184 | 10.852 | 160.836 | 11.1107 | 164.741 | -0.069 | 980.801 | 80.8751 | 53.7452
2019-12-07 00:15:00 | 8.776 | 155.857 | 10.331 | 146.84 | 10.5977 | 162.813 | 10.3467 | 162.13 | -0.188 | 980.801 | 81.6954 | 54.9091
2019-12-07 00:30:00 | 8.01 | 151.293 | 8.797 | 156.383 | 10.5977 | 164.912 | 10.3467 | 154.905 | -0.283 | 980.801 | 83.0627 | 52.3412
2019-12-07 00:45:00 | 9.2867 | 151.074 | 10.8423 | 158.018 | 10.089 | 161.153 | 10.092 | 159.079 | -0.293 | 980.801 | 84.3958 | 51.4655
2019-12-07 01:00:00 | 7.7547 | 151.757 | 10.5867 | 142.203 | 10.5977 | 152.489 | 10.856 | 162.056 | -0.448 | 980.801 | 84.4984 | 49.4149
2019-12-07 01:15:00 | 7.7547 | 160.153 | 8.797 | 158.36 | 9.8347 | 161.617 | 10.092 | 157.688 | -0.412 | 980.801 | 84.6351 | 49.3336
2019-12-07 01:30:00 | 10.308 | 152.465 | 9.8197 | 146.694 | 10.5977 | 152.318 | 10.092 | 159.543 | -0.342 | 980.801 | 85.6947 | 47.076
2019-12-07 01:45:00 | 8.01 | 150.512 | 9.564 | 148.866 | 10.3433 | 156.345 | 10.856 | 152.343 | -0.322 | 980.801 | 85.4213 | 48.432
2019-12-07 02:00:00 | 9.0313 | 159.176 | 9.8197 | 142.911 | 10.5977 | 159.811 | 10.3467 | 164.131 | -0.329 | 980.801 | 86.686 | 48.7867
2019-12-07 02:15:00 | 10.0527 | 172.6 | 10.5867 | 163.241 | 10.089 | 162.886 | 9.8373 | 173.454 | -0.402 | 980.801 | 87.7799 | 46.6807
2019-12-07 02:30:00 | 8.2653 | 166.425 | 9.0527 | 141.373 | 10.852 | 152.489 | 10.856 | 167.597 | -0.42 | 980.801 | 87.2671 | 44.4822
2019-12-07 02:45:00 | 9.2867 | 152.806 | 9.0527 | 153.112 | 9.0717 | 163.203 | 9.0733 | 165.4 | -0.485 | 980.504 | 87.9849 | 42.6237
2019-12-07 03:00:00 | 6.2227 | 158.078 | 7.5187 | 152.331 | 8.0543 | 157.492 | 7.8 | 159.445 | -0.413 | 980.652 | 88.5319 | 47.161
2019-12-07 03:15:00 | 7.244 | 148.975 | 8.797 | 145.913 | 8.563 | 166.84 | 8.3093 | 152.977 | -0.311 | 980.504 | 88.7028 | 46.4405
2019-12-07 03:30:00 | 8.01 | 165.864 | 8.2857 | 155.358 | 8.3087 | 170.525 | 8.0547 | 160.812 | -0.186 | 980.504 | 88.737 | 42.2506
2019-12-07 03:45:00 | 8.776 | 154.515 | 8.797 | 147.694 | 8.3087 | 153.954 | 8.8187 | 166.376 | -0.314 | 980.355 | 89.0104 | 38.5409
2019-12-07 04:00:00 | 8.01 | 172.405 | 9.564 | 152.551 | 8.0543 | 168.353 | 8.0547 | 162.691 | -0.133 | 980.206 | 87.5406 | 40.8133
2019-12-07 04:15:00 | 8.776 | 156.297 | 10.0753 | 156.31 | 9.8347 | 169.5 | 10.6013 | 185.364 | -0.027 | 980.057 | 85.6606 | 33.7265
2019-12-07 04:30:00 | 7.244 | 166.596 | 9.564 | 160.141 | 9.5803 | 166.449 | 10.092 | 168.622 | -0.04 | 980.206 | 87.3013 | 30.8261
2019-12-07 04:45:00 | 8.2653 | 159.054 | 7.7743 | 153.918 | 8.563 | 170.989 | 9.0733 | 167.572 | 0.166 | 980.206 | 87.7799 | 32.1747
2019-12-07 05:00:00 | 9.2867 | 156.126 | 9.0527 | 161.728 | 9.326 | 168.304 | 9.8373 | 164.082 | 0.28 | 980.206 | 87.0278 | 31.1143
2019-12-07 05:15:00 | 10.5633 | 170.135 | 10.5867 | 162.118 | 10.5977 | 161.715 | 10.3467 | 169.5 | 0.244 | 980.206 | 87.9166 | 35.7714
2019-12-07 05:30:00 | 9.542 | 153.856 | 10.331 | 156.456 | 10.089 | 160.616 | 9.8373 | 165.327 | 0.397 | 980.504 | 88.8737 | 36.1541
2019-12-07 05:45:00 | 8.01 | 155.662 | 7.5187 | 149.134 | 9.326 | 156.223 | 9.328 | 162.13 | 0.286 | 980.801 | 89.2155 | 35.5296
2019-12-07 06:00:00 | 9.7973 | 158.493 | 9.564 | 152.649 | 9.326 | 157.59 | 9.5827 | 158.786 | 0.491 | 980.801 | 89.0104 | 39.7713
2019-12-07 06:15:00 | 8.5207 | 156.197 | 8.5413 | 158.357 | 8.8173 | 178.113 | 8.8187 | 153.195 | 0.691 | 980.801 | 89.351 | 40.4733
2019-12-07 06:30:00 | 10.5633 | 157.538 | 10.0753 | 149.375 | 9.326 | 153.414 | 9.328 | 163.2 | 0.747 | 981.098 | 89.419 | 43.5548
2019-12-07 06:45:00 | 10.308 | 153.196 | 9.8197 | 151.329 | 9.0717 | 161.811 | 9.328 | 160.493 | 0.777 | 981.098 | 89.4199 | 45.757
2019-12-07 07:00:00 | 9.7973 | 156.028 | 9.564 | 152.356 | 9.0717 | 155.76 | 8.8187 | 156.37 | 0.747 | 981.396 | 89.4889 | 45.3616
2019-12-07 07:15:00 | 8.5207 | 158.419 | 9.3083 | 154.868 | 8.8173 | 165.911 | 8.8187 | 165.716 | 0.747 | 981.396 | 89.9669 | 38.1973
2019-12-07 07:30:00 | 7.244 | 166.376 | 7.5187 | 160.678 | 7.8 | 132.915 | 8.3093 | 167.694 | 0.73 | 981.693 | 90.4458 | 34.3842
2019-12-07 07:45:00 | 6.9887 | 156.174 | 8.03 | 150.989 | 7.8 | 162.569 | 8.0547 | 156.003 | 0.716 | 981.693 | 90.1725 | 32.5848
2019-12-07 08:00:00 | 6.2227 | 146.632 | 6.7517 | 148.646 | 6.7827 | 147.169 | 6.7813 | 152.587 | 0.809 | 981.99 | 90.241 | 35.0863
2019-12-07 08:15:00 | 7.244 | 149.414 | 7.0073 | 146.889 | 6.5283 | 149.146 | 7.2907 | 153.929 | 0.853 | 982.139 | 90.1726 | 36.2206
2019-12-07 08:30:00 | 6.7333 | 148.731 | 8.2857 | 138.371 | 8.563 | 133.721 | 8.564 | 159.054 | 0.95 | 982.434 | 89.6941 | 35.0567
2019-12-07 08:45:00 | 6.9887 | 147.948 | 7.7743 | 136.734 | 7.2913 | 151.096 | 7.2907 | 162.127 | 1.02 | 982.6 | 89.3168 | 32.862
2019-12-07 09:00:00 | 6.7333 | 141.243 | 8.5413 | 133.152 | 8.0543 | 144.586 | 7.8 | 150.565 | 1.137 | 982.588 | 88.93 | 35.3745
2019-12-07 09:15:00 | 5.4567 | 151.05 | 8.03 | 140.98 | 8.0543 | 164.908 | 8.564 | 151.196 | 1.213 | 982.879 | 89.1869 | 32.8546
2019-12-07 09:30:00 | 7.7547 | 151.217 | 8.03 | 143.441 | 7.8 | 148.826 | 7.2907 | 157.268 | 1.256 | 983.177 | 87.9549 | 31.9974
2019-12-07 09:45:00 | 8.2653 | 141.409 | 8.797 | 140.513 | 9.0717 | 156.609 | 9.0733 | 153.071 | 1.409 | 983.177 | 87.6816 | 29.6807
2019-12-07 10:00:00 | 8.2653 | 149.527 | 7.5187 | 155.485 | 7.5457 | 165.58 | 7.2907 | 157.773 | 1.484 | 983.471 | 87.2677 | 27.7224
2019-12-07 10:15:00 | 8.5207 | 146.567 | 9.0527 | 146.132 | 8.563 | 158.179 | 8.564 | 155.13 | 1.514 | 984.068 | 86.7844 | 29.943
2019-12-07 10:30:00 | 9.2867 | 148.402 | 8.797 | 138.526 | 7.8 | 142.547 | 7.8 | 154.696 | 1.545 | 984.068 | 86.9242 | 31.3249
2019-12-07 10:45:00 | 5.9673 | 158.938 | 6.2403 | 156.623 | 6.5283 | 146.425 | 7.036 | 160.06 | 1.768 | 984.15 | 85.8845 | 29.1449
2019-12-07 11:00:00 | 8.776 | 151.532 | 7.263 | 143.848 | 8.3087 | 141.922 | 8.564 | 159.531 | 2.182 | 983.776 | 83.0061 | 29.2521
2019-12-07 11:15:00 | 6.7333 | 160.702 | 7.0073 | 152.165 | 5.0023 | 162.36 | 5.2533 | 157.8 | 2.209 | 983.618 | 83.0743 | 27.9367
2019-12-07 11:30:00 | 6.7333 | 145.751 | 6.496 | 147.775 | 5.511 | 171.384 | 5.508 | 154.434 | 2.491 | 983.767 | 78.8386 | 23.8613
2019-12-07 11:45:00 | 7.244 | 132.02 | 6.7517 | 147.58 | 5.511 | 163.116 | 4.9987 | 129.776 | 2.994 | 983.767 | 78.1213 | 16.5344
2019-12-07 12:00:00 | 6.478 | 151.385 | 6.7517 | 133.117 | 6.7827 | 158.848 | 6.7813 | 157.995 | 3.015 | 983.767 | 80.5807 | 14.3323
2019-12-07 12:15:00 | 6.9887 | 153.652 | 7.0073 | 148.578 | 7.2913 | 165.578 | 6.7813 | 155.09 | 3.101 | 983.47 | 78.7011 | 15.1193
2019-12-07 12:30:00 | 6.478 | 141.375 | 6.496 | 140.325 | 5.511 | 146.692 | 5.2533 | 145.399 | 3.119 | 983.767 | 78.2523 | 12.0563
2019-12-07 12:45:00 | 4.6907 | 147.586 | 4.195 | 147.436 | 4.748 | 155.828 | 4.4893 | 151.926 | 3.274 | 983.618 | 76.7108 | 8.9415
2019-12-07 13:00:00 | 4.4353 | 152.576 | 3.6837 | 137.746 | 3.4763 | 140.993 | 3.7253 | 158.77 | 3.771 | 983.618 | 74.7256 | 7.4636
2019-12-07 13:15:00 | 5.4567 | 150.827 | 4.7063 | 139.409 | 4.4937 | 151.948 | 4.4893 | 159.678 | 3.551 | 983.618 | 75.1607 | 6.514
2019-12-07 13:30:00 | 4.946 | 152.869 | 3.9393 | 145.743 | 4.2393 | 136.339 | 4.2347 | 153.796 | 4.082 | 983.321 | 71.2311 | 6.8059
2019-12-07 13:45:00 | 5.712 | 154.942 | 5.2177 | 140.404 | 5.0023 | 138.729 | 4.9987 | 153.748 | 3.907 | 983.173 | 73.0069 | 6.8465
2019-12-07 14:00:00 | 5.9673 | 146.872 | 5.4733 | 137.794 | 5.0023 | 145.921 | 4.9987 | 152.869 | 4.038 | 983.173 | 73.7579 | 6.3588
2019-12-07 14:15:00 | 5.712 | 157.477 | 5.2177 | 155.422 | 4.4937 | 163.695 | 4.4893 | 150.724 | 3.94 | 983.321 | 74.6116 | 7.2936
2019-12-07 14:30:00 | 5.2013 | 142.344 | 5.729 | 138.144 | 4.748 | 147.61 | 4.744 | 153.17 | 4.052 | 983.173 | 74.8202 | 7.2086
2019-12-07 14:45:00 | 4.18 | 164.717 | 4.962 | 154.934 | 4.4937 | 148.769 | 4.4893 | 162.4 | 4.054 | 983.173 | 73.6998 | 5.9487
2019-12-07 15:00:00 | 4.6907 | 161.021 | 4.195 | 152.702 | 4.4937 | 160.558 | 4.2347 | 162.143 | 3.996 | 983.173 | 74.7977 | 4.5964
2019-12-07 15:15:00 | 3.9247 | 173.838 | 3.9393 | 160.496 | 2.2047 | 176.814 | 1.9427 | 173.399 | 4 | 983.173 | 74.5988 | 4.0348
2019-12-07 15:30:00 | 4.946 | 154.531 | 5.4733 | 159.944 | 3.7307 | 161.701 | 3.7253 | 157.921 | 4.066 | 982.578 | 76.0373 | 4.4116
2019-12-07 15:45:00 | 4.6907 | 157.068 | 4.7063 | 153.14 | 4.2393 | 160.921 | 4.2347 | 161.263 | 3.74 | 982.578 | 78.0188 | 5.461
2019-12-07 16:00:00 | 4.18 | 165.604 | 4.195 | 160.238 | 3.4763 | 172.677 | 3.4707 | 188.042 | 3.52 | 982.43 | 79.2485 | 5.4573
2019-12-07 16:15:00 | 3.6693 | 145.312 | 4.4507 | 137.214 | 4.2393 | 147.629 | 3.98 | 151.58 | 3.321 | 982.281 | 80.2049 | 7.0313
2019-12-07 16:30:00 | 3.414 | 168.653 | 3.1723 | 165.603 | 2.2047 | 171.848 | 2.1973 | 158.653 | 3.068 | 982.015 | 81.4347 | 6.5916
2019-12-07 16:45:00 | 2.3927 | 150.153 | 3.428 | 144.253 | 4.748 | 165.4 | 4.4893 | 161.96 | 2.783 | 981.659 | 83.0942 | 8.0104
2019-12-07 17:00:00 | 2.648 | 159.6 | 2.9167 | 151.798 | 2.7133 | 164.382 | 2.452 | 168.407 | 2.551 | 981.68 | 84.4643 | 7.737
2019-12-07 17:15:00 | 2.648 | 161.171 | 2.1497 | 142.928 | 2.459 | 152.583 | 2.7067 | 165.953 | 2.51 | 981.69 | 85.0843 | 5.5127
2019-12-07 17:30:00 | 2.3927 | 166.685 | 3.1723 | 149.784 | 2.9677 | 158.293 | 2.9613 | 172.785 | 2.318 | 981.69 | 86.0413 | 4.0089
2019-12-07 17:45:00 | 2.3927 | 148.485 | 2.4053 | 141.074 | 2.459 | 146.338 | 2.452 | 158.683 | 2.443 | 981.69 | 85.9046 | 2.7009
2019-12-07 18:00:00 | 2.648 | 155.856 | 3.1723 | 144.518 | 3.7307 | 140.412 | 3.7253 | 151.025 | 2.463 | 981.69 | 86.2824 | 1.489
2019-12-07 18:15:00 | 2.3927 | 148.969 | 2.9167 | 145.391 | 3.4763 | 142.063 | 3.98 | 154.313 | 2.445 | 981.392 | 86.4292 | 1.2193
2019-12-07 18:30:00 | 2.3927 | 144.875 | 2.9167 | 145.007 | 3.985 | 143.094 | 3.98 | 150.049 | 2.553 | 981.244 | 86.6719 | 1.0382
2019-12-07 18:45:00 | 2.1373 | 145.194 | 2.661 | 142.666 | 4.4937 | 159.494 | 4.4893 | 151.051 | 2.559 | 981.434 | 86.331 | 1.5075
2019-12-07 19:00:00 | 3.1587 | 148.516 | 4.195 | 137.594 | 5.7653 | 138.316 | 5.7627 | 157.594 | 2.468 | 981.102 | 85.8545 | 2.7896
2019-12-07 19:15:00 | 3.6693 | 132.703 | 4.4507 | 134.178 | 5.7653 | 151.176 | 5.7627 | 149.59 | 2.738 | 981.099 | 84.8293 | 2.5494
2019-12-07 19:30:00 | 3.414 | 134.676 | 3.9393 | 139.932 | 3.7307 | 151.733 | 4.2347 | 149.292 | 2.829 | 981.102 | 83.2203 | 1.9398
2019-12-07 19:45:00 | 1.6267 | 136.641 | 2.9167 | 139.431 | 2.9677 | 154.941 | 3.216 | 130.956 | 2.885 | 981.245 | 82.8377 | 1.0826
2019-12-07 20:00:00 | 2.1373 | 134.541 | 2.661 | 132.28 | 2.9677 | 155.33 | 3.7253 | 145.374 | 2.749 | 981.096 | 83.9984 | 0.84612
2019-12-07 20:15:00 | 2.9033 | 143.889 | 3.9393 | 142.946 | 5.2567 | 149.477 | 5.2533 | 148.257 | 2.7 | 981.096 | 83.1799 | 1.4373
2019-12-07 20:30:00 | 1.6267 | 161.165 | 3.1723 | 148.51 | 4.2393 | 160.653 | 4.2347 | 159.384 | 2.704 | 981.096 | 83.4539 | 1.9213
2019-12-07 20:45:00 | 2.648 | 148.969 | 2.1497 | 152.906 | 4.2393 | 159.827 | 3.98 | 148.115 | 2.77 | 981.393 | 83.2507 | 1.4595
2019-12-07 21:00:00 | 2.648 | 125.401 | 2.9167 | 125.41 | 3.7307 | 126.06 | 4.4893 | 141.042 | 2.526 | 981.096 | 84.3469 | 1.3338
2019-12-07 21:15:00 | 3.6693 | 124.277 | 4.7063 | 126.263 | 5.0023 | 128.889 | 4.744 | 132.525 | 2.375 | 981.096 | 84.6196 | 2.4756
2019-12-07 21:30:00 | 6.9887 | 142.192 | 5.729 | 141.347 | 6.7827 | 134.48 | 6.5267 | 148.073 | 2.899 | 981.096 | 81.7508 | 5.6938
2019-12-07 21:45:00 | 4.4353 | 146.789 | 4.962 | 139.916 | 5.2567 | 157.232 | 6.272 | 155.084 | 3.019 | 981.244 | 81.8449 | 8.2875
2019-12-07 22:00:00 | 5.712 | 146.439 | 7.0073 | 140.858 | 7.2913 | 155.979 | 7.036 | 153.173 | 2.619 | 981.096 | 83.4464 | 11.0808
2019-12-07 22:15:00 | 4.6907 | 144.631 | 5.9847 | 141.954 | 7.2913 | 148.73 | 7.036 | 151.609 | 2.514 | 981.096 | 84.0945 | 12.5588
2019-12-07 22:30:00 | 5.712 | 148.439 | 6.7517 | 140.687 | 7.8 | 160.028 | 8.0547 | 158.052 | 2.519 | 980.798 | 84.1636 | 17.7057
2019-12-07 22:45:00 | 4.946 | 146.582 | 6.496 | 136.585 | 7.5457 | 160.83 | 7.5453 | 152.901 | 2.473 | 980.501 | 84.0255 | 18.8548
2019-12-07 23:00:00 | 4.4353 | 148.096 | 6.2403 | 142.833 | 6.274 | 141.875 | 6.7813 | 153.415 | 2.406 | 980.798 | 84.8124 | 15.1082
2019-12-07 23:15:00 | 5.712 | 150.831 | 5.9847 | 144.494 | 7.2913 | 154.442 | 7.2907 | 160.883 | 2.447 | 980.501 | 84.1984 | 13.6635
2019-12-07 23:30:00 | 5.2013 | 144.88 | 6.496 | 144.204 | 7.8 | 153.664 | 7.5453 | 162.154 | 2.346 | 980.501 | 84.6098 | 15.7363
2019-12-07 23:45:00 | 6.478 | 158.986 | 7.0073 | 145.964 | 8.0543 | 149.519 | 8.0547 | 163.817 | 2.259 | 980.204 | 85.6369 | 19.3056