## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-08 00:00:00 | 6.2227 | 151.918 | 6.7517 | 140.507 | 7.8 | 156.774 | 7.8 | 158.36 | 2.301 | 980.204 | 85.7098 | 23.03
2019-12-08 00:15:00 | 6.478 | 153.677 | 7.7743 | 148.537 | 9.0717 | 168 | 9.328 | 156.605 | 2.221 | 979.907 | 86.7361 | 29.7583
2019-12-08 00:30:00 | 6.7333 | 154.315 | 8.03 | 146.369 | 8.8173 | 159.439 | 8.8187 | 160.854 | 2.188 | 979.907 | 87.7291 | 27.5857
2019-12-08 00:45:00 | 6.2227 | 150.65 | 6.7517 | 155.416 | 8.563 | 167.096 | 8.8187 | 159.043 | 2.051 | 979.758 | 87.1109 | 25.5462
2019-12-08 01:00:00 | 5.712 | 141.526 | 5.9847 | 148.904 | 7.2913 | 186.009 | 8.0547 | 152.897 | 2.064 | 979.609 | 86.9414 | 23.4401
2019-12-08 01:15:00 | 6.2227 | 144.044 | 6.7517 | 155.84 | 8.3087 | 155.83 | 8.3093 | 159.271 | 2.143 | 979.926 | 85.6458 | 22.9339
2019-12-08 01:30:00 | 5.9673 | 150.073 | 5.9847 | 140.224 | 8.0543 | 151.683 | 8.3093 | 155.197 | 2.161 | 979.313 | 84.5528 | 27.3529
2019-12-08 01:45:00 | 5.712 | 157.003 | 7.5187 | 158.891 | 8.3087 | 152.464 | 8.3093 | 156.344 | 2.342 | 979.312 | 84.3135 | 30.6709
2019-12-08 02:00:00 | 5.2013 | 151.168 | 7.5187 | 150.421 | 8.3087 | 165.346 | 8.564 | 152.827 | 2.277 | 979.312 | 83.8678 | 37.584
2019-12-08 02:15:00 | 6.9887 | 147.113 | 7.0073 | 144.657 | 9.326 | 142.306 | 9.0733 | 154.165 | 2.249 | 978.866 | 84.9589 | 42.2801
2019-12-08 02:30:00 | 7.4993 | 150.801 | 7.7743 | 146.173 | 9.326 | 148.043 | 9.0733 | 153.289 | 2.083 | 978.718 | 85.234 | 44.1017
2019-12-08 02:45:00 | 7.7547 | 145.287 | 8.797 | 139.708 | 8.8173 | 144.579 | 9.0733 | 150.851 | 2.003 | 978.718 | 84.4829 | 47.8039
2019-12-08 03:00:00 | 5.4567 | 140.555 | 5.9847 | 141.541 | 6.7827 | 170.887 | 7.8 | 150.145 | 2.045 | 978.718 | 84.279 | 49.1636
2019-12-08 03:15:00 | 6.478 | 154.684 | 7.0073 | 166.796 | 8.563 | 169.056 | 8.564 | 152.878 | 1.97 | 978.423 | 84.2788 | 56.3944
2019-12-08 03:30:00 | 8.01 | 146.779 | 7.263 | 149.986 | 9.8347 | 143.9 | 9.328 | 153.417 | 1.935 | 978.134 | 84.4849 | 58.4894
2019-12-08 03:45:00 | 6.9887 | 158.685 | 7.0073 | 162.964 | 9.5803 | 168.567 | 9.5827 | 156.635 | 1.878 | 977.826 | 85.1669 | 56.509
2019-12-08 04:00:00 | 7.7547 | 147.511 | 9.0527 | 150.571 | 8.8173 | 155.198 | 9.0733 | 153.612 | 1.884 | 977.85 | 85.5103 | 57.1814
2019-12-08 04:15:00 | 6.478 | 144.71 | 6.496 | 145.599 | 6.274 | 161.157 | 6.7813 | 167.673 | 1.823 | 977.579 | 84.351 | 58.397
2019-12-08 04:30:00 | 6.7333 | 171.823 | 7.5187 | 160.535 | 10.3433 | 167.626 | 10.3467 | 159.719 | 1.808 | 977.256 | 85.1721 | 63.1338
2019-12-08 04:45:00 | 8.5207 | 152.015 | 7.263 | 162.959 | 8.8173 | 181.69 | 9.5827 | 154.968 | 1.784 | 976.981 | 83.1935 | 69.225
2019-12-08 05:00:00 | 7.7547 | 147.398 | 9.8197 | 144.675 | 10.3433 | 166.969 | 10.6013 | 153.621 | 1.827 | 977.044 | 82.1656 | 69.31
2019-12-08 05:15:00 | 8.776 | 164.525 | 8.797 | 162.193 | 10.3433 | 179.338 | 9.8373 | 157.326 | 1.976 | 976.987 | 82.1978 | 69.452
2019-12-08 05:30:00 | 10.0527 | 150.397 | 9.3083 | 146.235 | 10.089 | 161.134 | 10.092 | 158.645 | 1.832 | 976.654 | 83.4972 | 69.8289
2019-12-08 05:45:00 | 5.4567 | 155.572 | 4.4507 | 150.922 | 9.8347 | 182.416 | 9.8373 | 152.278 | 1.704 | 976.979 | 82.9856 | 72.3562
2019-12-08 06:00:00 | 7.7547 | 148.592 | 11.098 | 141.917 | 12.1237 | 133.975 | 11.8747 | 152.009 | 1.749 | 977.033 | 83.0536 | 78.5192
2019-12-08 06:15:00 | 8.5207 | 157.576 | 9.0527 | 161.712 | 7.2913 | 169.803 | 7.8 | 147.717 | 1.76 | 976.747 | 83.3972 | 78.1682
2019-12-08 06:30:00 | 11.84 | 142.811 | 12.1207 | 141.992 | 11.3607 | 150.23 | 11.62 | 152.792 | 1.692 | 976.465 | 83.1573 | 83.4
2019-12-08 06:45:00 | 11.5847 | 149.013 | 12.1207 | 142.192 | 11.8693 | 136.884 | 11.62 | 154.382 | 1.725 | 976.599 | 82.5442 | 82.8754
2019-12-08 07:00:00 | 14.3933 | 153.211 | 13.399 | 146.194 | 12.6323 | 152.382 | 12.1293 | 154.309 | 1.792 | 976.071 | 80.9381 | 86.1047
2019-12-08 07:15:00 | 13.8827 | 148.491 | 14.933 | 141.669 | 13.904 | 143.513 | 13.4027 | 153.786 | 1.835 | 976.094 | 80.7958 | 86.9804
2019-12-08 07:30:00 | 9.7973 | 157.225 | 10.0753 | 142.642 | 13.3953 | 161.398 | 13.4027 | 152.174 | 1.809 | 976.342 | 80.9314 | 87.4237
2019-12-08 07:45:00 | 13.6273 | 145.848 | 14.6773 | 150.469 | 13.904 | 156.756 | 13.4027 | 157.097 | 1.727 | 976.053 | 80.5866 | 86.4409
2019-12-08 08:00:00 | 14.138 | 167.923 | 12.1207 | 143.946 | 13.3953 | 129.981 | 13.6573 | 150.282 | 1.798 | 976.042 | 79.4209 | 87.4163
2019-12-08 08:15:00 | 11.074 | 142.581 | 10.0753 | 128.852 | 11.3607 | 129.626 | 11.3653 | 152.902 | 1.776 | 976.339 | 79.1052 | 81.8667
2019-12-08 08:30:00 | 8.01 | 150.583 | 10.8423 | 119.653 | 12.1237 | 149.631 | 12.8933 | 145.752 | 1.86 | 976.934 | 78.2163 | 81.452
2019-12-08 08:45:00 | 12.606 | 148.631 | 12.8877 | 140.708 | 12.8867 | 134.139 | 13.148 | 149.949 | 1.916 | 976.637 | 78.3872 | 81.8815
2019-12-08 09:00:00 | 9.7973 | 154.609 | 12.1207 | 149.272 | 10.5977 | 149.314 | 10.6013 | 155.072 | 1.913 | 977.37 | 78.1138 | 82.4357
2019-12-08 09:15:00 | 11.074 | 153.996 | 13.399 | 145.366 | 11.3607 | 151.508 | 11.3653 | 159.974 | 2 | 977.231 | 79.8896 | 81.1314
2019-12-08 09:30:00 | 10.0527 | 144.689 | 9.8197 | 136.96 | 11.1063 | 141.054 | 11.1107 | 160.277 | 2 | 977.526 | 78.7894 | 79.2433
2019-12-08 09:45:00 | 12.0953 | 159.358 | 11.865 | 151.557 | 12.378 | 156.87 | 11.8747 | 159.09 | 2.15 | 977.229 | 78.8617 | 84.2314
2019-12-08 10:00:00 | 12.8613 | 154.594 | 11.865 | 144.864 | 10.3433 | 169.865 | 10.856 | 157.936 | 2.361 | 977.082 | 77.9696 | 80.0024
2019-12-08 10:15:00 | 13.1167 | 151.024 | 12.1207 | 143.025 | 12.378 | 151.243 | 12.384 | 152.585 | 2.623 | 977.228 | 77.9653 | 78.4194
2019-12-08 10:30:00 | 9.542 | 141.168 | 9.564 | 145.167 | 10.852 | 152.363 | 11.1107 | 151.826 | 2.934 | 977.223 | 77.3024 | 75.524
2019-12-08 10:45:00 | 11.5847 | 151.849 | 10.5867 | 162.36 | 10.852 | 151.434 | 10.6013 | 153.946 | 3.213 | 977.082 | 75.4911 | 69.2894
2019-12-08 11:00:00 | 8.776 | 138.8 | 11.865 | 116.532 | 12.6323 | 170.067 | 11.62 | 134.752 | 3.529 | 976.635 | 74.6371 | 71.1738
2019-12-08 11:15:00 | 13.6273 | 163.019 | 9.564 | 154.579 | 9.5803 | 147.288 | 9.8373 | 152.361 | 3.894 | 976.635 | 74.5346 | 69.7402
2019-12-08 11:30:00 | 13.372 | 163.677 | 11.865 | 155.677 | 11.615 | 163.531 | 11.8747 | 167.238 | 4.493 | 976.338 | 72.5534 | 74.3144
2019-12-08 11:45:00 | 12.3507 | 150.97 | 13.1433 | 142.97 | 11.615 | 150.361 | 11.3653 | 162.068 | 4.792 | 976.041 | 72.9633 | 74.7372
2019-12-08 12:00:00 | 11.074 | 163.968 | 10.5867 | 166.943 | 12.1237 | 168.822 | 12.6387 | 159.7 | 4.565 | 975.446 | 74.3972 | 75.2234
2019-12-08 12:15:00 | 10.0527 | 173.104 | 9.8197 | 128.155 | 10.089 | 160.788 | 10.092 | 170.348 | 4.448 | 975.595 | 74.6317 | 69.438
2019-12-08 12:30:00 | 11.3293 | 169.001 | 8.03 | 186.678 | 5.511 | 193.046 | 7.036 | 171.098 | 4.993 | 975.446 | 73.7752 | 60.6139
2019-12-08 12:45:00 | 11.074 | 156.253 | 11.3537 | 159.418 | 10.5977 | 168.616 | 10.6013 | 156.765 | 5.044 | 975.297 | 72.9131 | 60.3553
2019-12-08 13:00:00 | 9.2867 | 147.534 | 9.8197 | 159.036 | 8.563 | 190.641 | 8.3093 | 188.813 | 5.458 | 975.149 | 71.3697 | 64.6804
2019-12-08 13:15:00 | 10.308 | 153.674 | 11.3537 | 151.375 | 10.852 | 160.111 | 11.62 | 157.209 | 5.745 | 975.278 | 71.0944 | 66.1858
2019-12-08 13:30:00 | 9.542 | 159.379 | 7.7743 | 156.885 | 8.563 | 182.59 | 8.0547 | 146.457 | 5.868 | 975.297 | 68.7724 | 57.5103
2019-12-08 13:45:00 | 11.074 | 162.012 | 9.564 | 147.888 | 9.0717 | 174.422 | 9.0733 | 151.114 | 6.465 | 975.104 | 68.2944 | 61.9429
2019-12-08 14:00:00 | 9.7973 | 184.784 | 8.2857 | 157.616 | 7.8 | 191.879 | 7.2907 | 153.747 | 6.353 | 974.619 | 68.0212 | 60.4941
2019-12-08 14:15:00 | 8.776 | 161.403 | 9.0527 | 151.545 | 7.5457 | 176.031 | 9.5827 | 167.693 | 6.16 | 974.775 | 68.9432 | 61.2009
2019-12-08 14:30:00 | 13.372 | 158.136 | 11.098 | 148.79 | 9.326 | 153.65 | 9.5827 | 151.382 | 6.211 | 974.191 | 69.0115 | 54.6735
2019-12-08 14:45:00 | 8.5207 | 154.43 | 9.0527 | 146.913 | 9.326 | 159.794 | 8.8187 | 161.89 | 6.252 | 974.812 | 68.7724 | 56.2688
2019-12-08 15:00:00 | 9.2867 | 143.678 | 11.3537 | 143.231 | 9.5803 | 150.114 | 9.328 | 147.091 | 6.478 | 974.255 | 68.6358 | 58.1643
2019-12-08 15:15:00 | 8.776 | 150.578 | 11.098 | 153.057 | 11.615 | 161.086 | 11.3653 | 165.353 | 6.34 | 974.109 | 68.2944 | 54.3575
2019-12-08 15:30:00 | 8.2653 | 140.143 | 8.797 | 145.84 | 7.037 | 163.085 | 7.036 | 144.409 | 6.376 | 974.257 | 67.9529 | 44.426
2019-12-08 15:45:00 | 6.2227 | 154.626 | 5.9847 | 156.911 | 8.563 | 154.065 | 8.3093 | 154.87 | 6.376 | 973.96 | 68.0901 | 49.3557
2019-12-08 16:00:00 | 11.84 | 159.515 | 9.8197 | 152.731 | 9.0717 | 150.103 | 9.5827 | 155.175 | 6.313 | 973.366 | 68.3003 | 49.5035
2019-12-08 16:15:00 | 6.2227 | 141.765 | 7.5187 | 145.958 | 9.0717 | 164.714 | 9.328 | 147.106 | 6.301 | 973.663 | 68.2443 | 51.9754
2019-12-08 16:30:00 | 8.776 | 156.823 | 8.5413 | 156.139 | 8.3087 | 163.945 | 8.3093 | 148.897 | 6.203 | 973.514 | 67.9757 | 49.1267
2019-12-08 16:45:00 | 8.5207 | 151.8 | 7.5187 | 152.092 | 7.8 | 181.238 | 7.5453 | 165.848 | 6.282 | 973.366 | 68.1127 | 46.9652
2019-12-08 17:00:00 | 5.2013 | 140.8 | 7.263 | 140.726 | 8.8173 | 161.799 | 8.564 | 148.166 | 6.217 | 973.366 | 68.1469 | 50.9963
2019-12-08 17:15:00 | 8.01 | 133.605 | 8.797 | 139.775 | 8.563 | 134.971 | 8.564 | 143.605 | 6.316 | 973.366 | 68.7959 | 56.8509
2019-12-08 17:30:00 | 8.5207 | 152.653 | 7.263 | 140.141 | 6.7827 | 142.337 | 7.5453 | 145.068 | 6.105 | 973.366 | 67.9761 | 42.5129
2019-12-08 17:45:00 | 8.2653 | 142.824 | 5.4733 | 152.092 | 8.0543 | 125.118 | 8.0547 | 145.288 | 6.152 | 973.217 | 68.5909 | 44.9589
2019-12-08 18:00:00 | 8.776 | 151.336 | 9.3083 | 132.361 | 8.8173 | 153.312 | 9.0733 | 146.751 | 6.092 | 972.92 | 68.5226 | 48.8939
2019-12-08 18:15:00 | 6.478 | 160.287 | 5.4733 | 155.36 | 6.5283 | 158.848 | 6.5267 | 160.873 | 5.971 | 973.068 | 68.3177 | 45.6424
2019-12-08 18:30:00 | 6.9887 | 154.678 | 7.263 | 138.678 | 9.0717 | 163.214 | 8.8187 | 159.043 | 6.108 | 973.068 | 68.1127 | 47.6783
2019-12-08 18:45:00 | 5.712 | 172.726 | 4.7063 | 143.653 | 5.7653 | 192.091 | 6.272 | 184.75 | 6.116 | 972.92 | 68.386 | 58.6852
2019-12-08 19:00:00 | 6.478 | 160.238 | 8.797 | 145.043 | 6.7827 | 159.629 | 7.2907 | 188.433 | 5.981 | 972.623 | 68.2494 | 54.7576
2019-12-08 19:15:00 | 7.7547 | 146.361 | 9.564 | 142.287 | 11.3607 | 162.019 | 10.6013 | 152.922 | 6.141 | 972.771 | 68.8642 | 53.9874
2019-12-08 19:30:00 | 6.7333 | 137.068 | 7.7743 | 147.994 | 9.0717 | 161.629 | 8.0547 | 169.141 | 6.027 | 973.068 | 69.0692 | 53.4698
2019-12-08 19:45:00 | 10.308 | 200.725 | 8.2857 | 184.188 | 6.274 | 209.822 | 6.0173 | 190.457 | 5.965 | 972.92 | 69.6157 | 45.4762
2019-12-08 20:00:00 | 8.01 | 159.019 | 9.3083 | 159.555 | 8.3087 | 152.263 | 8.3093 | 165.36 | 6.05 | 973.068 | 69.6157 | 47.8261
2019-12-08 20:15:00 | 7.7547 | 161.629 | 8.2857 | 159.628 | 7.2913 | 164.019 | 7.2907 | 168.141 | 5.797 | 973.366 | 71.187 | 38.7495
2019-12-08 20:30:00 | 9.542 | 159.921 | 8.5413 | 162.189 | 8.3087 | 157.068 | 8.3093 | 163.409 | 5.696 | 973.068 | 72.4167 | 37.8796
2019-12-08 20:45:00 | 8.01 | 163.702 | 8.797 | 154.653 | 9.8347 | 169.189 | 9.5827 | 170.994 | 5.488 | 973.217 | 72.7583 | 34.3768
2019-12-08 21:00:00 | 6.9887 | 194.481 | 8.03 | 184.237 | 7.5457 | 173.36 | 7.5453 | 195.213 | 5.613 | 973.39 | 73.5781 | 35.0899
2019-12-08 21:15:00 | 6.478 | 178.555 | 8.5413 | 168.116 | 5.511 | 171.579 | 7.8 | 182.945 | 5.367 | 973.088 | 74.193 | 37.3844
2019-12-08 21:30:00 | 7.4993 | 159.385 | 8.03 | 148.775 | 8.0543 | 153.995 | 7.5453 | 166.75 | 5.328 | 973.069 | 75.9693 | 36.6935
2019-12-08 21:45:00 | 8.5207 | 156.263 | 9.0527 | 149.897 | 8.3087 | 151.166 | 8.3093 | 165.848 | 5.174 | 972.959 | 77.4722 | 32.644
2019-12-08 22:00:00 | 5.712 | 170.458 | 9.3083 | 149.141 | 7.037 | 162.482 | 7.2907 | 159.336 | 5.041 | 973.146 | 77.4039 | 24.1458
2019-12-08 22:15:00 | 5.712 | 159.434 | 6.7517 | 151.165 | 7.2913 | 150.385 | 7.2907 | 166.312 | 5.182 | 972.857 | 78.0872 | 23.3773
2019-12-08 22:30:00 | 5.9673 | 161.292 | 6.2403 | 151.219 | 7.5457 | 160.292 | 7.2907 | 163.463 | 4.914 | 972.834 | 79.4559 | 21.3303
2019-12-08 22:45:00 | 8.776 | 158.594 | 8.797 | 161.181 | 8.8173 | 157.863 | 8.8187 | 166.79 | 4.713 | 972.539 | 79.6316 | 28.3395
2019-12-08 23:00:00 | 8.5207 | 162.88 | 8.5413 | 159.37 | 8.563 | 161.099 | 8.3093 | 168.198 | 4.619 | 972.744 | 79.3323 | 28.8494
2019-12-08 23:15:00 | 6.9887 | 157.587 | 7.0073 | 146.906 | 8.3087 | 162.929 | 8.564 | 162.905 | 4.87 | 972.73 | 81.041 | 29.7324
2019-12-08 23:30:00 | 6.478 | 159.694 | 7.7743 | 155.722 | 8.563 | 156.205 | 8.564 | 161.328 | 4.391 | 972.474 | 80.5671 | 26.2001
2019-12-08 23:45:00 | 6.478 | 142.033 | 7.263 | 134.792 | 7.2913 | 153.596 | 7.036 | 152.45 | 4.824 | 972.613 | 78.3811 | 22.1395