## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-09 00:00:00 | 3.9247 | 138.398 | 4.7063 | 147.21 | 7.037 | 156.207 | 6.5267 | 147.547 | 4.854 | 972.474 | 79.4064 | 15.4186
2019-12-09 00:15:00 | 3.9247 | 154.035 | 3.428 | 148.77 | 4.4937 | 159.598 | 4.4893 | 156.085 | 4.572 | 972.172 | 81.7295 | 10.486
2019-12-09 00:30:00 | 4.4353 | 159.307 | 5.2177 | 158.433 | 4.2393 | 166.236 | 4.4893 | 161.869 | 4.269 | 972.177 | 82.7213 | 11.8974
2019-12-09 00:45:00 | 5.9673 | 153.33 | 6.7517 | 156.677 | 6.0197 | 152.062 | 6.0173 | 158.429 | 4.299 | 971.88 | 83.5756 | 13.4788
2019-12-09 01:00:00 | 3.6693 | 161.621 | 4.195 | 160.577 | 5.2567 | 173.62 | 5.508 | 164.497 | 4.214 | 971.88 | 83.8132 | 13.7892
2019-12-09 01:15:00 | 4.6907 | 164.864 | 2.9167 | 143.669 | 2.7133 | 137.541 | 3.7253 | 172.037 | 3.856 | 971.57 | 84.9398 | 11.938
2019-12-09 01:30:00 | 5.4567 | 158.813 | 5.4733 | 151.986 | 5.2567 | 166.79 | 4.744 | 184.745 | 4.014 | 971.426 | 84.4265 | 11.1954
2019-12-09 01:45:00 | 3.6693 | 155.012 | 5.2177 | 148.917 | 4.2393 | 171.065 | 3.98 | 167.259 | 4.068 | 971.583 | 83.404 | 8.5942
2019-12-09 02:00:00 | 4.6907 | 166.934 | 4.7063 | 156.57 | 3.7307 | 162.91 | 4.2347 | 182.622 | 4.049 | 971.416 | 79.6077 | 9.5031
2019-12-09 02:15:00 | 4.18 | 174.526 | 4.4507 | 157.453 | 4.2393 | 165.841 | 4.4893 | 189.066 | 4.327 | 971.583 | 82.0703 | 7.035
2019-12-09 02:30:00 | 2.9033 | 181.722 | 3.9393 | 162.234 | 2.9677 | 169.842 | 3.216 | 192.993 | 4.248 | 971.281 | 82.3434 | 5.5497
2019-12-09 02:45:00 | 3.9247 | 176.385 | 3.9393 | 165.168 | 3.985 | 169.038 | 3.98 | 189.946 | 3.962 | 970.98 | 83.7129 | 6.2554
2019-12-09 03:00:00 | 3.6693 | 167.312 | 3.9393 | 158.827 | 2.9677 | 172.875 | 3.216 | 201.126 | 4.027 | 970.988 | 82.8939 | 6.1963
2019-12-09 03:15:00 | 2.1373 | 177.166 | 3.1723 | 159.216 | 3.222 | 153.16 | 3.4707 | 224.52 | 4.224 | 970.984 | 82.2096 | 6.1224
2019-12-09 03:30:00 | 2.648 | 166.919 | 2.4053 | 159.508 | 2.7133 | 168.554 | 2.7067 | 196.292 | 4.133 | 970.813 | 79.6467 | 4.9104
2019-12-09 03:45:00 | 2.648 | 171.171 | 3.428 | 150.439 | 2.459 | 163.217 | 2.1973 | 210.499 | 3.765 | 970.691 | 83.2376 | 4.94
2019-12-09 04:00:00 | 2.648 | 158.438 | 3.6837 | 143.904 | 1.4417 | 167.612 | 1.4333 | 181.958 | 4.157 | 970.393 | 80.8472 | 6.0928
2019-12-09 04:15:00 | 2.648 | 172.053 | 3.1723 | 156.981 | 2.2047 | 164.88 | 2.452 | 211.406 | 3.997 | 970.54 | 83.6494 | 5.0361
2019-12-09 04:30:00 | 2.9033 | 178.445 | 2.9167 | 157.933 | 2.2047 | 159.073 | 2.452 | 208.04 | 3.94 | 970.393 | 84.5378 | 4.4523
2019-12-09 04:45:00 | 2.1373 | 205.868 | 2.661 | 159.616 | 2.2047 | 168.442 | 2.452 | 240.489 | 4.035 | 970.393 | 80.7791 | 3.5397
2019-12-09 05:00:00 | 2.1373 | 160.098 | 3.6837 | 159.031 | 2.7133 | 173.566 | 2.9613 | 193.474 | 4.008 | 970.393 | 84.1961 | 5.5386
2019-12-09 05:15:00 | 2.9033 | 162.074 | 3.428 | 151.126 | 1.9503 | 171.76 | 2.452 | 173.712 | 3.285 | 970.393 | 85.8021 | 6.5177
2019-12-09 05:30:00 | 2.9033 | 160.025 | 3.428 | 161.104 | 2.459 | 169.589 | 2.452 | 161.171 | 3.465 | 970.393 | 87.0323 | 3.2219
2019-12-09 05:45:00 | 1.116 | 136.579 | 1.3827 | 139.415 | 0 | 130.04 | 0 | 176.591 | 3.523 | 970.393 | 80.2665 | 2.7231
2019-12-09 06:00:00 | 2.1373 | 157.268 | 2.4053 | 140.488 | 0 | 155.902 | 0 | 176.591 | 4.215 | 970.393 | 85.8705 | 2.0617
2019-12-09 06:15:00 | 0.744 | 164.929 | 1.6383 | 140.806 | 0 | 144.776 | 0 | 176.493 | 2.88 | 970.542 | 90.6885 | 0.61334
2019-12-09 06:30:00 | 1.3713 | 120.476 | 1.127 | 139.464 | 1.1873 | 123.892 | 1.4333 | 143.727 | 2.609 | 970.393 | 91.577 | 0.72419
2019-12-09 06:45:00 | 2.3927 | 147.143 | 2.661 | 139.927 | 2.7133 | 137.652 | 2.7067 | 152.071 | 2.838 | 970.542 | 84.7429 | -0.022169
2019-12-09 07:00:00 | 2.3927 | 148.192 | 2.9167 | 140.293 | 2.7133 | 147.997 | 2.7067 | 161.952 | 4.661 | 970.988 | 79.1389 | -0.23647
2019-12-09 07:15:00 | 2.648 | 161.513 | 3.1723 | 140.732 | 3.7307 | 148.387 | 3.7253 | 167.1 | 4.65 | 970.988 | 79.3439 | -0.033254
2019-12-09 07:30:00 | 1.6267 | 167.344 | 2.661 | 140.684 | 1.4417 | 156.78 | 1.4333 | 156.243 | 4.385 | 971.285 | 76.6786 | -0.14779
2019-12-09 07:45:00 | 2.9033 | 155.8 | 3.1723 | 140.484 | 1.9503 | 144.968 | 1.9427 | 166.73 | 4.847 | 971.417 | 70.5603 | 0.49141
2019-12-09 08:00:00 | 2.648 | 146.448 | 3.6837 | 141.256 | 2.459 | 149.741 | 2.1973 | 169.551 | 5.829 | 972.177 | 66.8322 | 1.4779
2019-12-09 08:15:00 | 1.6267 | 139.85 | 2.9167 | 140.922 | 1.1873 | 145.898 | 1.1787 | 158.215 | 5.69 | 972.194 | 64.868 | 2.3573
2019-12-09 08:30:00 | 2.648 | 165.555 | 3.1723 | 141.214 | 2.2047 | 152.873 | 1.9427 | 168.336 | 6.648 | 972.474 | 60.9735 | 3.4547
2019-12-09 08:45:00 | 3.414 | 168.89 | 4.195 | 141.941 | 2.2047 | 155.065 | 2.452 | 181.3 | 6.205 | 973.002 | 67.6804 | 6.6618
2019-12-09 09:00:00 | 2.3927 | 144.58 | 2.9167 | 132.967 | 1.696 | 127.708 | 2.452 | 163.841 | 6.199 | 972.773 | 51.494 | 7.7038
2019-12-09 09:15:00 | 2.1373 | 167.063 | 2.661 | 138.288 | 1.1873 | 151.902 | 1.4333 | 163.748 | 8.38 | 973.327 | 45.4034 | 7.5818
2019-12-09 09:30:00 | 1.3713 | 156.327 | 2.661 | 138.521 | 1.9503 | 159.593 | 1.9427 | 166.71 | 8.24 | 973.814 | 54.0707 | 5.8933
2019-12-09 09:45:00 | 2.3927 | 152.695 | 3.428 | 138.47 | 2.7133 | 162.613 | 2.7067 | 159.152 | 8.64 | 974.404 | 52.2188 | 4.4412
2019-12-09 10:00:00 | 2.9033 | 157.273 | 2.661 | 138.419 | 2.2047 | 148.915 | 2.452 | 158.687 | 8.63 | 974.701 | 54.4021 | 2.4238
2019-12-09 10:15:00 | 2.3927 | 174.401 | 2.4053 | 138.491 | 2.459 | 170.259 | 2.452 | 176.302 | 8.76 | 974.601 | 47.9783 | 1.1676
2019-12-09 10:30:00 | 2.648 | 178.884 | 2.4053 | 162.246 | 1.696 | 187.899 | 1.9427 | 179.006 | 9.68 | 974.552 | 55.6219 | 2.1134
2019-12-09 10:45:00 | 4.18 | 161.439 | 4.195 | 163.562 | 3.4763 | 175.765 | 3.7253 | 172.963 | 9.26 | 974.403 | 61.7642 | 2.8672
2019-12-09 11:00:00 | 3.1587 | 160.732 | 2.4053 | 186.805 | 1.4417 | 195.939 | 1.688 | 171.136 | 8.43 | 973.958 | 61.4912 | 1.4225
2019-12-09 11:15:00 | 5.2013 | 208.121 | 4.4507 | 198.111 | 0.933 | 217.623 | 1.1787 | 227.101 | 7.972 | 973.662 | 66.9169 | 0.82764
2019-12-09 11:30:00 | 6.478 | 171.674 | 4.962 | 188.148 | 5.2567 | 211.657 | 4.9987 | 178.35 | 6.803 | 973.007 | 70.2279 | 2.5679
2019-12-09 11:45:00 | 5.2013 | 172.797 | 3.6837 | 164.591 | 3.985 | 183.592 | 4.2347 | 171.164 | 6.797 | 973.068 | 67.1327 | 2.058
2019-12-09 12:00:00 | 5.712 | 154.178 | 4.4507 | 170.907 | 2.9677 | 182.645 | 2.452 | 161.782 | 7.295 | 973.068 | 66.1529 | 2.1061
2019-12-09 12:15:00 | 6.2227 | 176.459 | 4.962 | 173.544 | 3.4763 | 186.281 | 3.7253 | 170.439 | 7.414 | 972.771 | 66.8032 | 4.5151
2019-12-09 12:30:00 | 5.2013 | 164.809 | 3.428 | 178.833 | 3.222 | 177.068 | 3.4707 | 164.492 | 7.056 | 972.474 | 67.3494 | 3.6801
2019-12-09 12:45:00 | 4.18 | 171.584 | 3.6837 | 173.788 | 2.459 | 198.711 | 2.1973 | 164.248 | 7.541 | 972.622 | 66.7008 | 2.6049
2019-12-09 13:00:00 | 4.946 | 187.134 | 4.7063 | 196.649 | 3.7307 | 214.578 | 3.4707 | 176.215 | 7.67 | 972.622 | 66.9739 | 2.3906
2019-12-09 13:15:00 | 3.1587 | 182.893 | 3.1723 | 184.999 | 3.7307 | 194.397 | 3.7253 | 161.396 | 7.589 | 972.622 | 64.6527 | 2.0654
2019-12-09 13:30:00 | 2.648 | 150.477 | 3.1723 | 153.534 | 3.7307 | 147.991 | 3.7253 | 154.718 | 7.415 | 972.474 | 65.4378 | 0.77222
2019-12-09 13:45:00 | 3.6693 | 176.751 | 3.1723 | 197.941 | 1.9503 | 197.468 | 1.688 | 184.331 | 7.64 | 972.771 | 63.6286 | 0.39535
2019-12-09 14:00:00 | 2.9033 | 168.026 | 2.9167 | 156.459 | 1.696 | 179.164 | 1.9427 | 157.472 | 8.25 | 972.919 | 60.7612 | -0.096066
2019-12-09 14:15:00 | 2.9033 | 163.2 | 3.1723 | 158.994 | 1.696 | 170.219 | 2.1973 | 165.418 | 8.64 | 973.068 | 58.9862 | 0.10715
2019-12-09 14:30:00 | 3.9247 | 165.685 | 3.428 | 186.266 | 1.1873 | 199.247 | 1.688 | 179.724 | 8.85 | 973.068 | 55.0945 | 0.014779
2019-12-09 14:45:00 | 2.9033 | 168.659 | 2.661 | 184.512 | 1.4417 | 204.195 | 1.9427 | 186.744 | 9.02 | 972.771 | 52.637 | -0.29189
2019-12-09 15:00:00 | 2.3927 | 185.268 | 1.3827 | 193.538 | 0.622 | 190.922 | 0.616 | 201.012 | 9.85 | 973.365 | 47.5131 | -0.26972
2019-12-09 15:15:00 | 2.648 | 183.813 | 1.6383 | 192.836 | 0.933 | 164.708 | 1.4333 | 200.481 | 9.93 | 973.365 | 49.0786 | -0.25125
2019-12-09 15:30:00 | 1.6267 | 200.379 | 1.3827 | 193.514 | 0.933 | 188.025 | 1.1787 | 200.842 | 9.68 | 973.365 | 47.7807 | -0.25125
2019-12-09 15:45:00 | 2.1373 | 199.309 | 1.3827 | 193.516 | 0.933 | 193.534 | 1.1787 | 200.722 | 9.34 | 973.068 | 49.7607 | -0.25125
2019-12-09 16:00:00 | 1.116 | 169.383 | 1.127 | 192.862 | 0 | 135.702 | 0 | 199.238 | 9.03 | 973.068 | 48.5386 | -0.25125
2019-12-09 16:15:00 | 1.116 | 141.996 | 1.127 | 192.725 | 0 | 129.029 | 0 | 198.906 | 8.83 | 972.771 | 46.6291 | -0.26972
2019-12-09 16:30:00 | 1.3713 | 63.0767 | 1.6383 | 192.433 | 0.933 | 71.9484 | 0.924 | 197.468 | 8.97 | 972.325 | 40.6895 | -0.26972
2019-12-09 16:45:00 | 1.6267 | 81.6975 | 0.75133 | 86.8014 | 0 | 78.6753 | 0.308 | 83.9885 | 9.37 | 971.951 | 34.5451 | -0.218
2019-12-09 17:00:00 | 1.6267 | 54.8968 | 2.1497 | 72.6323 | 1.696 | 56.9445 | 1.688 | 56.1644 | 9.71 | 971.846 | 31.9563 | -0.19213
2019-12-09 17:15:00 | 2.1373 | 40.9351 | 3.428 | 56.1164 | 2.9677 | 40.4231 | 2.9613 | 43.3244 | 9.74 | 971.582 | 38.5856 | -0.084981
2019-12-09 17:30:00 | 1.3713 | 74.8011 | 1.894 | 62.8957 | 0.933 | 88.7959 | 1.1787 | 81.0915 | 9.58 | 971.583 | 27.7958 | 1.5001
2019-12-09 17:45:00 | 3.6693 | 138.143 | 3.428 | 141.403 | 1.696 | 145.75 | 1.9427 | 137.144 | 9.45 | 971.583 | 40.0888 | 2.3462
2019-12-09 18:00:00 | 2.648 | 137.363 | 2.9167 | 129.09 | 3.985 | 163.841 | 3.98 | 135.315 | 8.27 | 971.826 | 42.8205 | 2.9854
2019-12-09 18:15:00 | 1.882 | 127.222 | 3.9393 | 135.211 | 2.9677 | 163.013 | 3.216 | 120.517 | 8.27 | 971.879 | 41.1819 | 1.5518
2019-12-09 18:30:00 | 1.116 | 119.407 | 1.894 | 122.352 | 2.9677 | 122.503 | 3.216 | 116.554 | 8.45 | 971.731 | 30.3258 | 0.9348
2019-12-09 18:45:00 | 1.3713 | 129.296 | 3.1723 | 139.779 | 4.2393 | 147.878 | 4.4893 | 125.711 | 9.02 | 971.434 | 35.9987 | 2.1172
2019-12-09 19:00:00 | 3.6693 | 146.72 | 4.195 | 143.646 | 3.7307 | 184.23 | 4.2347 | 141.696 | 8.38 | 971.583 | 55.7448 | 7.1237
2019-12-09 19:15:00 | 4.4353 | 132.161 | 4.962 | 128.233 | 6.274 | 143.892 | 6.272 | 138.892 | 7.929 | 971.583 | 57.3163 | 13.0945
2019-12-09 19:30:00 | 8.2653 | 135.134 | 8.2857 | 132.328 | 7.5457 | 151.182 | 7.2907 | 140.329 | 8.06 | 971.286 | 51.6453 | 14.9457
2019-12-09 19:45:00 | 8.5207 | 141.892 | 7.7743 | 139.549 | 8.3087 | 134.819 | 8.3093 | 142.477 | 8.21 | 971.286 | 57.726 | 18.537
2019-12-09 20:00:00 | 5.2013 | 142.958 | 5.2177 | 139.785 | 8.563 | 153.127 | 8.8187 | 146.201 | 7.174 | 971.286 | 67.0135 | 24.2419
2019-12-09 20:15:00 | 6.478 | 142.58 | 7.263 | 140.823 | 8.3087 | 143.922 | 8.564 | 155.238 | 6.596 | 971.137 | 63.6719 | 25.609
2019-12-09 20:30:00 | 6.478 | 144.629 | 8.797 | 139.556 | 8.3087 | 150.556 | 8.3093 | 154.361 | 6.947 | 970.988 | 64.6968 | 23.2886
2019-12-09 20:45:00 | 6.478 | 152.019 | 7.0073 | 152.043 | 8.8173 | 148.434 | 8.564 | 157.409 | 7.642 | 971.286 | 52.0239 | 21.419
2019-12-09 21:00:00 | 9.542 | 150.092 | 9.8197 | 145.677 | 9.326 | 148.605 | 9.0733 | 159.409 | 8.32 | 971.286 | 44.0649 | 25.8935
2019-12-09 21:15:00 | 9.7973 | 148.288 | 9.564 | 142.677 | 9.326 | 147.093 | 9.0733 | 155.019 | 8.35 | 971.286 | 46.3877 | 28.9269
2019-12-09 21:30:00 | 6.2227 | 147.692 | 8.03 | 156.664 | 9.5803 | 141.253 | 9.328 | 149.301 | 7.828 | 971.583 | 43.3103 | 35.0271
2019-12-09 21:45:00 | 8.5207 | 152.118 | 7.7743 | 144.213 | 9.326 | 147.29 | 9.0733 | 152.459 | 7.839 | 971.583 | 45.1511 | 35.6368
2019-12-09 22:00:00 | 7.7547 | 149.199 | 9.3083 | 139.466 | 9.5803 | 151.833 | 9.5827 | 154.979 | 8.05 | 971.434 | 51.0963 | 40.041
2019-12-09 22:15:00 | 7.7547 | 139.438 | 8.797 | 134.703 | 8.8173 | 143.12 | 8.8187 | 150.046 | 8.16 | 971.434 | 53.5531 | 35.1971
2019-12-09 22:30:00 | 8.01 | 146.48 | 7.263 | 151.791 | 8.3087 | 178.57 | 8.3093 | 141.091 | 8.1 | 971.286 | 53.8926 | 49.1119
2019-12-09 22:45:00 | 8.5207 | 148.915 | 8.797 | 139.596 | 7.037 | 148.842 | 6.272 | 149.671 | 7.866 | 971.286 | 56.1456 | 53.6307
2019-12-09 23:00:00 | 8.2653 | 144.732 | 8.03 | 145.484 | 8.3087 | 153.096 | 8.8187 | 151.316 | 7.697 | 971.286 | 56.901 | 56.6531
2019-12-09 23:15:00 | 6.7333 | 169.73 | 7.0073 | 148.705 | 8.563 | 171.071 | 8.564 | 156.293 | 7.688 | 971.137 | 55.1598 | 52.9841
2019-12-09 23:30:00 | 6.9887 | 147.89 | 7.7743 | 143.303 | 8.8173 | 166.913 | 8.564 | 152.036 | 7.855 | 970.691 | 51.8504 | 52.3892
2019-12-09 23:45:00 | 7.7547 | 140.128 | 8.797 | 144.003 | 8.3087 | 137.543 | 8.564 | 150.224 | 7.875 | 970.691 | 51.0968 | 52.4557