## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-10 00:00:00 | 6.2227 | 130.541 | 8.03 | 120.393 | 7.5457 | 165.951 | 7.5453 | 145.417 | 7.952 | 970.691 | 51.7104 | 56.5348
2019-12-10 00:15:00 | 6.478 | 136.589 | 7.263 | 128.709 | 9.0717 | 148.197 | 9.0733 | 147.319 | 7.975 | 970.691 | 53.2814 | 57.5177
2019-12-10 00:30:00 | 6.7333 | 141.41 | 9.564 | 141.26 | 9.8347 | 153.237 | 9.5827 | 149.238 | 7.974 | 970.394 | 54.1326 | 66.7252
2019-12-10 00:45:00 | 9.0313 | 143.829 | 9.564 | 136.998 | 9.326 | 134.563 | 9.328 | 150.048 | 8.09 | 970.245 | 54.5101 | 68.4359
2019-12-10 01:00:00 | 8.776 | 141.873 | 9.0527 | 132.407 | 9.5803 | 141.312 | 9.5827 | 151.285 | 8.08 | 970.097 | 54.7811 | 69.5111
2019-12-10 01:15:00 | 6.478 | 131.675 | 7.5187 | 134.231 | 9.326 | 145.477 | 9.5827 | 141.161 | 7.943 | 970.097 | 54.3012 | 66.9691
2019-12-10 01:30:00 | 8.2653 | 157.235 | 7.7743 | 133.651 | 8.563 | 135.728 | 8.564 | 150.359 | 7.961 | 969.948 | 54.2348 | 62.3949
2019-12-10 01:45:00 | 5.9673 | 140.026 | 5.9847 | 160.799 | 6.7827 | 166.558 | 7.2907 | 138.27 | 7.968 | 969.948 | 53.0417 | 60.4403
2019-12-10 02:00:00 | 7.7547 | 144.35 | 9.3083 | 133.422 | 8.8173 | 163.567 | 8.8187 | 150.203 | 7.912 | 969.8 | 52.6688 | 66.9802
2019-12-10 02:15:00 | 6.2227 | 148.194 | 7.0073 | 153.678 | 7.037 | 158.875 | 8.564 | 146.316 | 7.939 | 969.8 | 54.3051 | 64.0132
2019-12-10 02:30:00 | 8.5207 | 135.375 | 8.5413 | 140.128 | 7.5457 | 148.617 | 7.5453 | 155.324 | 7.668 | 969.8 | 53.9667 | 49.3853
2019-12-10 02:45:00 | 5.712 | 148.962 | 6.7517 | 120.743 | 9.8347 | 166.399 | 8.8187 | 148.693 | 7.517 | 969.651 | 56.9736 | 58.1384
2019-12-10 03:00:00 | 10.0527 | 129.479 | 8.797 | 146.793 | 8.0543 | 147.112 | 8.0547 | 158.062 | 7.458 | 969.205 | 52.8761 | 62.1879
2019-12-10 03:15:00 | 8.5207 | 133.088 | 8.5413 | 122.649 | 10.852 | 163.208 | 9.5827 | 140.673 | 7.865 | 969.057 | 51.7146 | 67.9186
2019-12-10 03:30:00 | 7.4993 | 147.107 | 6.7517 | 150.032 | 10.3433 | 139.23 | 10.092 | 148.79 | 7.814 | 968.908 | 52.6012 | 69.3596
2019-12-10 03:45:00 | 8.01 | 135.641 | 9.564 | 138.394 | 10.089 | 161.125 | 10.3467 | 146.396 | 7.921 | 968.611 | 52.7362 | 69.7513
2019-12-10 04:00:00 | 10.308 | 143.126 | 10.5867 | 134.076 | 8.0543 | 133.03 | 7.5453 | 156.271 | 7.938 | 968.314 | 53.0773 | 72.7146
2019-12-10 04:15:00 | 8.01 | 133.733 | 9.564 | 157.36 | 10.5977 | 165.679 | 10.6013 | 138.269 | 7.949 | 968.462 | 53.5536 | 73.4129
2019-12-10 04:30:00 | 5.9673 | 139.198 | 7.0073 | 135.634 | 10.3433 | 147.075 | 10.092 | 130.614 | 7.712 | 968.314 | 54.5109 | 77.0412
2019-12-10 04:45:00 | 11.84 | 145.27 | 9.8197 | 140.511 | 9.326 | 132.54 | 9.5827 | 150.318 | 7.96 | 967.719 | 53.4519 | 78.4859
2019-12-10 05:00:00 | 9.2867 | 143.364 | 9.3083 | 130.728 | 9.5803 | 146.704 | 8.564 | 159.483 | 8.07 | 967.719 | 53.7579 | 77.7469
2019-12-10 05:15:00 | 8.2653 | 140.407 | 8.797 | 128.868 | 9.5803 | 155.062 | 9.328 | 141.358 | 7.93 | 968.017 | 54.7117 | 80.3777
2019-12-10 05:30:00 | 8.5207 | 137.605 | 9.8197 | 145.184 | 10.089 | 141.482 | 10.3467 | 153.797 | 7.769 | 967.868 | 55.5324 | 85.4248
2019-12-10 05:45:00 | 6.7333 | 147.162 | 6.2403 | 136.404 | 8.3087 | 136.384 | 9.328 | 163.207 | 7.731 | 967.719 | 56.8296 | 83.0306
2019-12-10 06:00:00 | 9.0313 | 139.176 | 9.564 | 146.514 | 11.8693 | 154.613 | 11.8747 | 143.736 | 7.496 | 967.571 | 57.1077 | 83.4481
2019-12-10 06:15:00 | 8.01 | 151.593 | 8.03 | 148.225 | 8.0543 | 169.298 | 9.328 | 158.543 | 7.745 | 967.719 | 56.4944 | 83.3372
2019-12-10 06:30:00 | 9.0313 | 150.464 | 10.331 | 136.609 | 12.8867 | 138.612 | 12.8933 | 153.976 | 7.902 | 967.719 | 56.0135 | 82.8163
2019-12-10 06:45:00 | 10.5633 | 145.446 | 11.3537 | 140.372 | 11.8693 | 159.908 | 11.62 | 150.568 | 7.732 | 967.719 | 56.6307 | 83.6217
2019-12-10 07:00:00 | 9.0313 | 150.982 | 9.0527 | 138.493 | 10.3433 | 160.981 | 10.3467 | 149.86 | 7.385 | 967.719 | 57.8602 | 79.7717
2019-12-10 07:15:00 | 10.5633 | 150.75 | 11.3537 | 149.018 | 11.3607 | 162.384 | 11.3653 | 153.238 | 7.079 | 967.422 | 59.0944 | 80.3481
2019-12-10 07:30:00 | 8.776 | 136.581 | 9.564 | 140.555 | 10.089 | 155.775 | 9.8373 | 149.043 | 6.945 | 967.719 | 59.2996 | 71.3992
2019-12-10 07:45:00 | 9.2867 | 148.702 | 10.331 | 134.409 | 10.5977 | 136.141 | 10.856 | 147.995 | 6.826 | 967.719 | 60.0511 | 65.9271
2019-12-10 08:00:00 | 11.074 | 167.744 | 10.331 | 133.721 | 8.563 | 138.673 | 7.8 | 169.085 | 7.052 | 968.165 | 60.3222 | 57.7098
2019-12-10 08:15:00 | 8.5207 | 141.491 | 8.5413 | 141.631 | 8.8173 | 159.363 | 8.564 | 148.781 | 6.823 | 968.611 | 59.2144 | 40.0632
2019-12-10 08:30:00 | 7.244 | 152.528 | 7.0073 | 140.671 | 6.7827 | 152.577 | 6.5267 | 158.331 | 6.865 | 968.908 | 59.9966 | 35.8917
2019-12-10 08:45:00 | 6.2227 | 139.606 | 8.03 | 144.182 | 6.0197 | 167.571 | 6.272 | 156.136 | 7.22 | 969.266 | 56.6843 | 30.9739
2019-12-10 09:00:00 | 7.7547 | 141.215 | 8.03 | 136.892 | 7.037 | 149.042 | 7.036 | 153.26 | 7.523 | 969.207 | 55.3184 | 33.3977
2019-12-10 09:15:00 | 9.2867 | 158.329 | 9.3083 | 137.72 | 7.037 | 163.156 | 7.036 | 156.989 | 7.276 | 969.504 | 55.0363 | 42.4316
2019-12-10 09:30:00 | 5.2013 | 155.084 | 6.496 | 151.636 | 7.037 | 164.201 | 6.7813 | 165.468 | 7.98 | 969.716 | 55.1717 | 32.862
2019-12-10 09:45:00 | 5.2013 | 174.168 | 5.2177 | 160.749 | 4.4937 | 143.532 | 4.2347 | 182.26 | 8.47 | 970.176 | 50.3159 | 17.7796
2019-12-10 10:00:00 | 3.9247 | 165.881 | 3.6837 | 154.022 | 2.459 | 165.515 | 2.452 | 173.9 | 8.89 | 970.844 | 47.9946 | 8.1619
2019-12-10 10:15:00 | 0.744 | 173.717 | 1.894 | 175.87 | 0.622 | 162.214 | 0.616 | 223.824 | 9.09 | 970.989 | 48.9811 | 3.9276
2019-12-10 10:30:00 | 4.18 | 177.988 | 4.7063 | 189.325 | 2.9677 | 186.687 | 2.9613 | 204.354 | 10.02 | 970.841 | 52.5937 | 1.0382
2019-12-10 10:45:00 | 3.9247 | 191.243 | 4.195 | 192.931 | 3.7307 | 185.346 | 3.7253 | 206.449 | 8.78 | 970.989 | 54.9825 | -0.27711
2019-12-10 11:00:00 | 3.414 | 167.607 | 1.6383 | 168.052 | 1.696 | 164.926 | 1.1787 | 246.366 | 8.64 | 970.841 | 53.3105 | -0.24016
2019-12-10 11:15:00 | 0 | 255.527 | 1.3827 | 220.808 | 0 | 214.685 | 0 | 215.977 | 9.5 | 970.692 | 53.1736 | -0.24016
2019-12-10 11:30:00 | 1.3713 | 201.642 | 1.894 | 188.074 | 0 | 191.604 | 0 | 169.578 | 9.33 | 970.872 | 53.029 | -0.26972
2019-12-10 11:45:00 | 0 | 294.079 | 0.75133 | 268.914 | 0.622 | 277.998 | 1.1787 | 253.78 | 9.83 | 970.846 | 53.6427 | -0.30298
2019-12-10 12:00:00 | 1.882 | 315.788 | 2.661 | 335.477 | 2.2047 | 317.128 | 2.1973 | 318.59 | 8.96 | 970.693 | 61.0476 | -0.13301
2019-12-10 12:15:00 | 2.1373 | 295.678 | 2.1497 | 286.203 | 0 | 288.125 | 1.688 | 317.216 | 7.618 | 970.396 | 65.1064 | 1.9398
2019-12-10 12:30:00 | 1.882 | 305.796 | 2.661 | 311.793 | 2.2047 | 324.776 | 2.7067 | 305.114 | 7.836 | 970.396 | 59.5799 | 2.4275
2019-12-10 12:45:00 | 2.648 | 338.641 | 3.1723 | 335.623 | 3.222 | 344.196 | 3.216 | 343.051 | 7.914 | 970.099 | 56.9869 | 2.7379
2019-12-10 13:00:00 | 2.648 | 0.097458 | 3.9393 | 2.1165 | 1.9503 | 334.816 | 1.4333 | 24.8761 | 7.85 | 970.247 | 61.2182 | 7.7666
2019-12-10 13:15:00 | 3.6693 | 34.9386 | 3.1723 | 14.7373 | 5.2567 | 355.648 | 5.2533 | 39.2024 | 7.621 | 970.408 | 58.5565 | 10.6559
2019-12-10 13:30:00 | 2.9033 | 48.4638 | 3.9393 | 38.8681 | 1.9503 | 32.4798 | 2.452 | 353.062 | 7.555 | 970.52 | 58.9697 | 14.7757
2019-12-10 13:45:00 | 4.6907 | 354.607 | 4.195 | 15.1146 | 4.4937 | 341.35 | 2.9613 | 349.977 | 7.038 | 970.098 | 61.023 | 20.1886
2019-12-10 14:00:00 | 3.6693 | 23.1509 | 2.9167 | 1.6986 | 3.4763 | 309.028 | 3.216 | 2.8268 | 6.142 | 970.395 | 63.4491 | 18.0715
2019-12-10 14:15:00 | 2.1373 | 345.313 | 4.4507 | 0.83869 | 3.985 | 344.631 | 5.2533 | 356.598 | 6.076 | 970.544 | 62.7069 | 18.101
2019-12-10 14:30:00 | 7.4993 | 2.3642 | 5.729 | 2.7154 | 5.511 | 20.6925 | 5.508 | 0.19498 | 5.418 | 970.247 | 68.0662 | 28.0476
2019-12-10 14:45:00 | 6.9887 | 339.147 | 5.9847 | 4.9333 | 7.037 | 7.5556 | 6.272 | 346.02 | 4.515 | 970.274 | 66.3253 | 31.166
2019-12-10 15:00:00 | 7.4993 | 175.246 | 7.7743 | 10.7611 | 9.8347 | 17.5758 | 9.8373 | 354.417 | 3.844 | 970.071 | 71.6628 | 32.7881
2019-12-10 15:15:00 | 5.2013 | 10.1425 | 8.2857 | 21.7647 | 6.5283 | 18.8953 | 7.8 | 345.796 | 3.239 | 969.681 | 74.1334 | 29.9209
2019-12-10 15:30:00 | 5.9673 | 2.4381 | 6.496 | 7.5754 | 8.8173 | 36.5965 | 9.0733 | 351.385 | 3.048 | 969.795 | 77.1054 | 28.4023
2019-12-10 15:45:00 | 7.244 | 356.859 | 4.962 | 0.78151 | 7.037 | 26.5596 | 8.3093 | 354.225 | 2.974 | 969.8 | 70.5025 | 25.173
2019-12-10 16:00:00 | 7.7547 | 356.598 | 5.729 | 8.7809 | 8.0543 | 6.39 | 8.3093 | 1.3414 | 3.131 | 969.502 | 70.2989 | 23.7579
2019-12-10 16:15:00 | 5.712 | 355.793 | 6.2403 | 1.2445 | 7.8 | 19.1945 | 9.328 | 356.085 | 2.723 | 969.354 | 75.3544 | 27.7113
2019-12-10 16:30:00 | 5.2013 | 12.4877 | 8.797 | 6.8778 | 7.037 | 1.9512 | 5.508 | 11.4145 | 2.474 | 969.301 | 76.0394 | 27.9921
2019-12-10 16:45:00 | 8.01 | 60.9403 | 8.5413 | 19.8381 | 6.0197 | 14.1983 | 6.272 | 2.0004 | 2.185 | 969.649 | 77.4237 | 26.6472
2019-12-10 17:00:00 | 6.2227 | 12.0522 | 8.03 | 8.5448 | 7.037 | 15.1263 | 7.2907 | 12.6622 | 1.944 | 969.775 | 83.0326 | 26.8061
2019-12-10 17:15:00 | 5.4567 | 11.3693 | 7.5187 | 11.3267 | 8.0543 | 18.8351 | 7.5453 | 16.4441 | 1.546 | 969.799 | 84.2986 | 24.9624
2019-12-10 17:30:00 | 5.2013 | 21.2016 | 6.7517 | 21.403 | 8.0543 | 22.4459 | 8.3093 | 26.5203 | 1.714 | 970.096 | 80.5741 | 30.0095
2019-12-10 17:45:00 | 5.9673 | 39.5246 | 8.5413 | 26.356 | 9.5803 | 28.7651 | 9.5827 | 34.8158 | 2.533 | 969.948 | 60.4821 | 42.2506
2019-12-10 18:00:00 | 4.4353 | 42.4521 | 7.0073 | 38.7498 | 7.8 | 31.6195 | 8.0547 | 43.6232 | 3.875 | 970.393 | 54.2628 | 37.7502
2019-12-10 18:15:00 | 2.648 | 31.9123 | 7.7743 | 26.063 | 7.5457 | 338.421 | 7.8 | 35.4499 | 4.512 | 970.988 | 46.5402 | 32.1045
2019-12-10 18:30:00 | 5.4567 | 34.9376 | 5.729 | 31.6988 | 5.511 | 46.1605 | 4.9987 | 38.0361 | 4.778 | 970.988 | 43.7724 | 36.3388
2019-12-10 18:45:00 | 2.9033 | 49.2071 | 7.0073 | 54.3108 | 6.7827 | 42.6933 | 7.5453 | 52.3298 | 5.303 | 970.943 | 38.3369 | 28.7422
2019-12-10 19:00:00 | 6.2227 | 41.0321 | 8.2857 | 51.2085 | 6.5283 | 45.9598 | 6.272 | 44.2278 | 5.619 | 970.988 | 36.5581 | 18.6701
2019-12-10 19:15:00 | 6.478 | 54.1347 | 7.5187 | 50.0652 | 7.5457 | 58.1112 | 7.2907 | 45.5473 | 5.699 | 971.098 | 35.7056 | 13.7522
2019-12-10 19:30:00 | 6.9887 | 42.0753 | 7.7743 | 37.3444 | 6.5283 | 40.4655 | 6.5267 | 38.5142 | 5.69 | 971.19 | 35.5282 | 7.7518
2019-12-10 19:45:00 | 5.2013 | 51.0718 | 7.5187 | 52.3884 | 7.037 | 26.292 | 7.2907 | 47.389 | 5.78 | 971.417 | 34.0908 | 8.8565
2019-12-10 20:00:00 | 4.946 | 55.291 | 6.7517 | 57.0464 | 7.037 | 50.7058 | 6.5267 | 50.9741 | 5.655 | 971.375 | 32.3144 | 6.9094
2019-12-10 20:15:00 | 3.414 | 41.7547 | 5.2177 | 40.6321 | 6.0197 | 12.4874 | 6.272 | 48.4618 | 5.894 | 971.502 | 32.6559 | 5.7861
2019-12-10 20:30:00 | 3.9247 | 36.1695 | 5.2177 | 39.2175 | 5.511 | 60.2175 | 5.7627 | 37.8036 | 5.916 | 971.649 | 30.1281 | 4.5225
2019-12-10 20:45:00 | 2.9033 | 49.5105 | 5.2177 | 50.4854 | 5.2567 | 18.853 | 4.9987 | 41.584 | 6.079 | 971.464 | 31.5628 | 6.333
2019-12-10 21:00:00 | 3.414 | 42.3649 | 4.4507 | 38.8279 | 5.0023 | 45.316 | 5.2533 | 41.6576 | 5.8 | 971.612 | 28.6254 | 3.7466
2019-12-10 21:15:00 | 2.3927 | 28.7307 | 4.4507 | 20.584 | 5.0023 | 20.8286 | 4.744 | 22.3895 | 6.477 | 971.758 | 28.1469 | 2.5716
2019-12-10 21:30:00 | 3.6693 | 6.829 | 3.9393 | 13.3647 | 3.7307 | 12.5849 | 3.7253 | 15.7068 | 6.177 | 971.585 | 32.246 | 1.1676
2019-12-10 21:45:00 | 2.3927 | 346.379 | 3.6837 | 8.098 | 3.222 | 0.048779 | 3.7253 | 356.768 | 5.358 | 971.777 | 31.6311 | 0.073897
2019-12-10 22:00:00 | 3.414 | 354.329 | 3.1723 | 320.037 | 2.2047 | 300.039 | 2.1973 | 6.951 | 5.698 | 971.924 | 38.5312 | 0.066507
2019-12-10 22:15:00 | 3.414 | 330.242 | 4.4507 | 292.753 | 2.459 | 299.338 | 2.7067 | 327.169 | 3.831 | 971.805 | 51.141 | 1.1195
2019-12-10 22:30:00 | 2.1373 | 308.615 | 3.428 | 296.276 | 2.2047 | 285.195 | 2.1973 | 319.886 | 3.662 | 971.88 | 49.9546 | 1.6516
2019-12-10 22:45:00 | 3.1587 | 322.508 | 3.1723 | 313.339 | 3.4763 | 331.095 | 3.7253 | 329.973 | 4.024 | 971.995 | 37.994 | 2.5162
2019-12-10 23:00:00 | 2.1373 | 327.108 | 3.1723 | 311.792 | 3.4763 | 297.905 | 3.4707 | 323.449 | 4.399 | 972.177 | 42.5743 | 3.5138
2019-12-10 23:15:00 | 3.1587 | 335.907 | 4.4507 | 335.401 | 2.459 | 339.957 | 2.452 | 344.324 | 3.699 | 972.174 | 40.1161 | 4.3451
2019-12-10 23:30:00 | 3.1587 | 350.4 | 4.4507 | 336.89 | 5.7653 | 342.983 | 5.508 | 353.572 | 4.112 | 972.623 | 39.7061 | 3.9609
2019-12-10 23:45:00 | 3.414 | 351.547 | 3.1723 | 16.2915 | 3.222 | 347.277 | 3.4707 | 1.0735 | 4.069 | 972.623 | 41.0729 | 3.8981