## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-11 00:00:00 | 2.648 | 9.3687 | 3.9393 | 5.4225 | 4.4937 | 17.5664 | 4.2347 | 4.782 | 3.501 | 972.474 | 46.5402 | 3.8759
2019-12-11 00:15:00 | 2.9033 | 5.1723 | 4.4507 | 6.5447 | 4.748 | 16.2245 | 6.272 | 10.8326 | 3.088 | 972.326 | 46.6427 | 8.4279
2019-12-11 00:30:00 | 4.18 | 4.4892 | 5.2177 | 9.0821 | 4.4937 | 16.1025 | 5.2533 | 12.6868 | 3.02 | 972.326 | 47.4287 | 8.8565
2019-12-11 00:45:00 | 2.9033 | 12.7356 | 4.195 | 4.0074 | 4.748 | 17.7616 | 5.508 | 11.7597 | 2.748 | 972.474 | 48.4538 | 8.5388
2019-12-11 01:00:00 | 2.3927 | 0.097591 | 3.9393 | 6.1421 | 5.2567 | 11.0766 | 4.4893 | 8.9784 | 2.502 | 972.177 | 50.3673 | 9.3738
2019-12-11 01:15:00 | 3.9247 | 10.3446 | 5.2177 | 8.9845 | 6.5283 | 17.9567 | 6.5267 | 18.4935 | 2.101 | 972.177 | 55.2537 | 9.9022
2019-12-11 01:30:00 | 2.648 | 14.2496 | 4.7063 | 8.0113 | 5.7653 | 15.4208 | 5.7627 | 19.276 | 1.694 | 972.177 | 59.2231 | 5.3982
2019-12-11 01:45:00 | 3.1587 | 28.991 | 3.6837 | 9.1374 | 4.4937 | 25.5746 | 4.744 | 28.0881 | 2.275 | 972.623 | 48.2254 | 4.7774
2019-12-11 02:00:00 | 2.9033 | 34.3115 | 4.4507 | 9.6016 | 4.2393 | 16.204 | 4.2347 | 31.383 | 2.536 | 972.664 | 52.977 | 5.4647
2019-12-11 02:15:00 | 3.1587 | 20.4987 | 4.7063 | 10.1623 | 5.0023 | 12.3724 | 5.2533 | 25.1841 | 2.04 | 972.668 | 53.4545 | 6.9537
2019-12-11 02:30:00 | 3.6693 | 32.9949 | 5.2177 | 11.4818 | 5.2567 | 22.1105 | 4.9987 | 31.0181 | 1.463 | 972.378 | 52.979 | 9.0228
2019-12-11 02:45:00 | 4.18 | 33.3611 | 5.9847 | 11.9212 | 6.0197 | 20.9391 | 6.272 | 35.6795 | 2.585 | 972.616 | 46.0064 | 10.0426
2019-12-11 03:00:00 | 4.4353 | 32.0163 | 7.0073 | 26.9995 | 6.7827 | 34.9202 | 7.036 | 39.3859 | 2.727 | 972.522 | 38.4837 | 8.3947
2019-12-11 03:15:00 | 3.9247 | 22.8881 | 5.4733 | 22.165 | 5.0023 | 28.2808 | 5.2533 | 33.7954 | 3.297 | 972.624 | 36.499 | 6.5768
2019-12-11 03:30:00 | 4.6907 | 34.5474 | 5.2177 | 24.4042 | 5.511 | 20.8358 | 5.508 | 36.6945 | 3.358 | 972.772 | 37.1778 | 7.12
2019-12-11 03:45:00 | 4.946 | 23.9098 | 5.4733 | 16.3526 | 5.511 | 13.2724 | 5.7627 | 29.6677 | 3.196 | 972.475 | 36.9042 | 6.4808
2019-12-11 04:00:00 | 4.4353 | 26.13 | 5.9847 | 16.0355 | 5.511 | 16.0293 | 5.7627 | 37.4993 | 3.077 | 972.475 | 38.7494 | 7.0276
2019-12-11 04:15:00 | 2.9033 | 40.1099 | 5.4733 | 31.5768 | 6.0197 | 31.7171 | 6.0173 | 46.3069 | 2.687 | 972.475 | 41.483 | 4.504
2019-12-11 04:30:00 | 4.6907 | 42.4521 | 5.2177 | 30.2106 | 5.0023 | 32.7906 | 5.2533 | 49.3078 | 2.978 | 972.475 | 37.9976 | 3.063
2019-12-11 04:45:00 | 2.648 | 51.2597 | 4.4507 | 29.5274 | 5.0023 | 30.2532 | 4.9987 | 57.5055 | 2.97 | 972.475 | 35.7424 | 2.8894
2019-12-11 05:00:00 | 3.9247 | 62.5314 | 4.7063 | 41.8483 | 3.7307 | 34.0105 | 3.7253 | 50.8937 | 2.98 | 972.475 | 34.4439 | 3.3217
2019-12-11 05:15:00 | 4.946 | 64.0685 | 4.7063 | 66.368 | 3.222 | 61.6287 | 3.216 | 70.8999 | 3.254 | 972.475 | 30.2751 | 2.6344
2019-12-11 05:30:00 | 3.1587 | 57.8227 | 3.1723 | 41.5311 | 1.9503 | 30.058 | 2.7067 | 74.0472 | 3.239 | 972.475 | 30.1384 | 1.6036
2019-12-11 05:45:00 | 2.9033 | 107.228 | 2.1497 | 66.8804 | 3.4763 | 45.7702 | 3.4707 | 102.812 | 3.294 | 972.624 | 28.7032 | 1.3338
2019-12-11 06:00:00 | 2.3927 | 70.6559 | 1.6383 | 80.4699 | 3.222 | 63.4341 | 3.216 | 102.519 | 4.089 | 973.069 | 28.5666 | 0.43969
2019-12-11 06:15:00 | 1.6267 | 82.1716 | 1.6383 | 65.0993 | 1.9503 | 52.7967 | 1.688 | 98.1521 | 3.944 | 973.069 | 29.5233 | 0.39535
2019-12-11 06:30:00 | 0 | 123.989 | 1.127 | 80.9579 | 1.696 | 95.0048 | 1.688 | 130.967 | 3.875 | 973.367 | 29.865 | 0.66138
2019-12-11 06:45:00 | 1.3713 | 106.008 | 1.6383 | 121.068 | 2.9677 | 122.818 | 2.9613 | 119.232 | 3.903 | 973.367 | 31.1635 | 0.63551
2019-12-11 07:00:00 | 4.6907 | 136.31 | 4.195 | 125.167 | 5.2567 | 124.648 | 4.9987 | 145.655 | 3.703 | 973.367 | 31.6419 | 1.5297
2019-12-11 07:15:00 | 4.6907 | 140.385 | 5.2177 | 129.363 | 5.511 | 136.457 | 5.2533 | 145.386 | 3.972 | 973.664 | 31.3685 | 4.4412
2019-12-11 07:30:00 | 4.6907 | 131.797 | 5.9847 | 127.021 | 5.511 | 129.406 | 5.2533 | 138.335 | 3.834 | 973.961 | 31.8469 | 6.2812
2019-12-11 07:45:00 | 1.3713 | 21.47 | 1.894 | 82.4218 | 1.1873 | 97.3958 | 0.87067 | 51.894 | 3.952 | 974.507 | 30.2751 | 4.977
2019-12-11 08:00:00 | 2.648 | 139.884 | 3.1723 | 124.861 | 4.4937 | 174.428 | 4.9987 | 142.348 | 4.483 | 975.001 | 29.6573 | 6.5214
2019-12-11 08:15:00 | 3.6693 | 156.094 | 3.9393 | 153.801 | 4.2393 | 159.752 | 4.4893 | 146.948 | 4.239 | 974.876 | 31.0849 | 7.5264
2019-12-11 08:30:00 | 2.648 | 134.386 | 3.6837 | 136.165 | 4.4937 | 155.458 | 4.4893 | 145.312 | 4.419 | 975.446 | 28.9667 | 7.3934
2019-12-11 08:45:00 | 3.414 | 145.771 | 4.195 | 140.331 | 4.4937 | 142.649 | 4.9987 | 151.649 | 5.091 | 976.041 | 27.7361 | 8.1213
2019-12-11 09:00:00 | 5.2013 | 138.461 | 5.2177 | 133.894 | 4.748 | 143.312 | 5.508 | 157.527 | 5.529 | 976.306 | 26.9081 | 7.8774
2019-12-11 09:15:00 | 4.4353 | 157.429 | 4.195 | 156.324 | 2.9677 | 174.032 | 3.4707 | 160.354 | 6.057 | 976.635 | 26.2933 | 8.9896
2019-12-11 09:30:00 | 4.18 | 150.091 | 4.4507 | 141.646 | 3.985 | 174.103 | 3.7253 | 151.822 | 6.004 | 977.227 | 26.0845 | 7.4303
2019-12-11 09:45:00 | 4.6907 | 156.159 | 4.4507 | 157.806 | 4.4937 | 168.445 | 4.4893 | 161.79 | 5.956 | 977.496 | 25.5378 | 6.2295
2019-12-11 10:00:00 | 4.18 | 157.186 | 4.7063 | 136.187 | 3.7307 | 150.678 | 3.4707 | 161.452 | 6.3 | 977.262 | 23.9982 | 5.4536
2019-12-11 10:15:00 | 3.9247 | 152.062 | 4.962 | 148.221 | 3.985 | 156.327 | 3.4707 | 185.599 | 6.609 | 977.47 | 25.0555 | 3.4805
2019-12-11 10:30:00 | 3.414 | 175.825 | 3.428 | 167.987 | 2.9677 | 157.156 | 2.9613 | 201.636 | 7.002 | 977.527 | 24.0314 | 0.79809
2019-12-11 10:45:00 | 3.9247 | 224.766 | 3.6837 | 205.838 | 2.7133 | 200.758 | 2.452 | 228.3 | 7.577 | 977.819 | 23.7583 | 0.73158
2019-12-11 11:00:00 | 5.712 | 190.741 | 3.9393 | 175.177 | 3.985 | 191.351 | 4.2347 | 197.614 | 7.655 | 977.523 | 23.6901 | 0.40274
2019-12-11 11:15:00 | 2.3927 | 180.406 | 4.195 | 159.529 | 3.222 | 195.639 | 3.216 | 189.717 | 7.705 | 977.819 | 24.8164 | -0.2143
2019-12-11 11:30:00 | 2.648 | 249.68 | 3.1723 | 237.113 | 3.222 | 238.274 | 2.7067 | 235.496 | 8.03 | 977.819 | 24.3026 | -0.19213
2019-12-11 11:45:00 | 3.9247 | 266.443 | 3.6837 | 255.021 | 3.985 | 246.461 | 3.7253 | 265.736 | 7.96 | 977.819 | 25.7676 | 0.025864
2019-12-11 12:00:00 | 5.4567 | 271.73 | 4.7063 | 253.022 | 4.4937 | 258.474 | 4.4893 | 267.344 | 7.571 | 977.819 | 26.1088 | 1.7994
2019-12-11 12:15:00 | 6.9887 | 306.916 | 8.2857 | 294.592 | 7.037 | 300.483 | 7.036 | 296.609 | 7.953 | 977.819 | 23.5149 | 14.9124
2019-12-11 12:30:00 | 3.6693 | 324.98 | 3.1723 | 323.402 | 3.4763 | 354.856 | 4.744 | 317.255 | 8.02 | 977.523 | 24.8123 | 18.2156
2019-12-11 12:45:00 | 5.2013 | 327.974 | 4.195 | 296.643 | 3.4763 | 295.71 | 3.7253 | 319.226 | 7.651 | 977.671 | 27.6448 | 16.8459
2019-12-11 13:00:00 | 6.2227 | 291.593 | 6.7517 | 279.391 | 6.0197 | 289.473 | 6.5267 | 299.342 | 7.457 | 977.819 | 27.6107 | 16.5418
2019-12-11 13:15:00 | 4.4353 | 296.776 | 5.4733 | 281.723 | 5.511 | 293.34 | 6.0173 | 311.129 | 7.586 | 977.819 | 27.0982 | 16.7155
2019-12-11 13:30:00 | 6.2227 | 307.54 | 7.5187 | 299.286 | 6.0197 | 298.62 | 5.508 | 295.55 | 7.893 | 977.819 | 26.929 | 23.6766
2019-12-11 13:45:00 | 3.9247 | 314.276 | 4.7063 | 322.133 | 2.459 | 317.225 | 1.9427 | 329.849 | 7.605 | 977.523 | 28.9801 | 26.4255
2019-12-11 14:00:00 | 5.2013 | 340.585 | 4.4507 | 295.383 | 5.0023 | 337.075 | 4.4893 | 18.2796 | 7.539 | 977.819 | 31.4729 | 29.0621
2019-12-11 14:15:00 | 5.2013 | 329.276 | 5.9847 | 335.55 | 3.7307 | 319.356 | 3.98 | 296.056 | 7.164 | 977.671 | 30.0734 | 30.4714
2019-12-11 14:30:00 | 4.18 | 68.7068 | 5.2177 | 16.6122 | 7.5457 | 178.53 | 7.5453 | 344.606 | 6.811 | 977.819 | 31.6095 | 30.9887
2019-12-11 14:45:00 | 3.6693 | 320.794 | 3.6837 | 8.9348 | 4.2393 | 332.81 | 4.2347 | 313.092 | 6.573 | 977.819 | 31.0292 | 29.7878
2019-12-11 15:00:00 | 1.882 | 24.5677 | 6.7517 | 36.9348 | 4.748 | 1.8523 | 4.4893 | 23.1054 | 6.56 | 977.822 | 31.0633 | 30.7717
2019-12-11 15:15:00 | 3.414 | 337.27 | 4.962 | 19.8538 | 6.7827 | 330.836 | 6.272 | 330.982 | 6.177 | 978.127 | 32.8384 | 30.113
2019-12-11 15:30:00 | 2.1373 | 85.0377 | 8.5413 | 30.3548 | 4.4937 | 58.3492 | 5.2533 | 344.635 | 5.897 | 977.693 | 33.7946 | 27.5429
2019-12-11 15:45:00 | 5.2013 | 330.167 | 5.2177 | 0.30636 | 7.037 | 11.1405 | 6.7813 | 352.887 | 5.68 | 977.906 | 33.9371 | 26.1041
2019-12-11 16:00:00 | 5.4567 | 86.089 | 5.729 | 2.8846 | 6.7827 | 350.939 | 7.8 | 3.4865 | 5.429 | 977.524 | 35.3079 | 21.685
2019-12-11 16:15:00 | 6.2227 | 353.014 | 5.4733 | 7.4043 | 5.0023 | 25.1613 | 5.2533 | 11.6542 | 5.324 | 977.496 | 34.7618 | 17.9496
2019-12-11 16:30:00 | 6.2227 | 0.097527 | 7.5187 | 4.8207 | 5.0023 | 16.5796 | 4.9987 | 10.2404 | 5.14 | 977.514 | 34.7629 | 15.1932
2019-12-11 16:45:00 | 4.4353 | 12.2678 | 4.4507 | 9.5614 | 5.0023 | 11.3898 | 5.508 | 2.9511 | 5.021 | 977.377 | 35.525 | 14.4136
2019-12-11 17:00:00 | 4.18 | 14.4385 | 5.9847 | 12.1696 | 5.7653 | 0.097558 | 4.4893 | 13.463 | 4.759 | 977.229 | 35.4569 | 17.085
2019-12-11 17:15:00 | 3.6693 | 11.4142 | 5.729 | 11.5111 | 5.7653 | 22.0724 | 3.7253 | 13.1703 | 4.596 | 977.377 | 36.55 | 16.9556
2019-12-11 17:30:00 | 3.9247 | 15.3655 | 6.7517 | 10.1457 | 7.5457 | 36.2675 | 6.272 | 20.9752 | 4.378 | 977.306 | 35.0474 | 16.6416
2019-12-11 17:45:00 | 5.2013 | 14.8069 | 7.7743 | 6.4182 | 8.563 | 45.5915 | 8.3093 | 16.7828 | 4.33 | 977.649 | 34.1646 | 14.4062
2019-12-11 18:00:00 | 3.414 | 12.0028 | 4.4507 | 1.6635 | 5.0023 | 20.1022 | 4.9987 | 21.2488 | 4.298 | 978.122 | 33.1428 | 11.4725
2019-12-11 18:15:00 | 3.414 | 20.0047 | 4.962 | 7.7138 | 6.0197 | 55.696 | 5.7627 | 21.8588 | 4.268 | 977.974 | 32.8355 | 11.2028
2019-12-11 18:30:00 | 3.414 | 14.7346 | 4.7063 | 11.3233 | 5.2567 | 28.7374 | 5.508 | 23.6632 | 4.016 | 978.113 | 33.4835 | 8.1582
2019-12-11 18:45:00 | 1.3713 | 11.0266 | 4.962 | 10.1524 | 5.7653 | 26.4443 | 3.98 | 16.6375 | 3.877 | 978.107 | 33.0052 | 7.87
2019-12-11 19:00:00 | 2.9033 | 5.0744 | 5.2177 | 9.9588 | 4.4937 | 2.3664 | 3.4707 | 8.7827 | 3.745 | 978.084 | 33.5536 | 9.6657
2019-12-11 19:15:00 | 1.6267 | 17.176 | 5.729 | 2.4703 | 6.0197 | 20.8112 | 6.5267 | 19.8109 | 3.332 | 978.119 | 35.5373 | 12.1487
2019-12-11 19:30:00 | 3.1587 | 12.3453 | 6.2403 | 5.2273 | 5.7653 | 356.963 | 5.508 | 23.7146 | 3.057 | 978.11 | 36.7675 | 11.8457
2019-12-11 19:45:00 | 3.414 | 19.0546 | 6.496 | 12.8882 | 6.274 | 6.9778 | 6.5267 | 25.5688 | 2.879 | 978.122 | 37.1092 | 12.0046
2019-12-11 20:00:00 | 3.9247 | 22.8119 | 5.729 | 19.5243 | 7.037 | 26.252 | 7.036 | 33.7665 | 2.711 | 978.122 | 37.8609 | 9.4551
2019-12-11 20:15:00 | 1.3713 | 37.1578 | 3.6837 | 34.6509 | 4.2393 | 36.7918 | 4.4893 | 49.259 | 2.635 | 978.42 | 37.7242 | 3.7687
2019-12-11 20:30:00 | 1.116 | 3.4157 | 2.9167 | 1.8481 | 3.222 | 3.9524 | 3.4707 | 17.176 | 2.798 | 978.42 | 38.5443 | 4.0606
2019-12-11 20:45:00 | 1.882 | 7.2949 | 3.9393 | 13.2785 | 3.7307 | 20.0061 | 2.9613 | 20.2257 | 2.172 | 978.271 | 42.1664 | 4.7442
2019-12-11 21:00:00 | 2.648 | 24.7423 | 4.4507 | 16.8939 | 3.985 | 14.25 | 3.98 | 36.2351 | 1.755 | 978.122 | 43.4019 | 5.7012
2019-12-11 21:15:00 | 2.1373 | 34.0656 | 3.9393 | 24.9002 | 4.4937 | 34.0656 | 4.2347 | 37.0183 | 1.771 | 978.192 | 43.1996 | 4.2712
2019-12-11 21:30:00 | 2.1373 | 40.4642 | 2.4053 | 31.9347 | 1.9503 | 38.6582 | 2.452 | 58.5486 | 1.491 | 978.436 | 44.2989 | 1.6811
2019-12-11 21:45:00 | 3.1587 | 33.6072 | 2.661 | 60.3448 | 3.4763 | 53.1564 | 3.4707 | 51.3992 | 1.575 | 978.526 | 43.6165 | 1.2193
2019-12-11 22:00:00 | 3.1587 | 50.667 | 4.4507 | 47.0679 | 4.4937 | 42.5154 | 4.4893 | 49.764 | 1.634 | 978.719 | 43.4114 | 2.1061
2019-12-11 22:15:00 | 3.414 | 43.8333 | 3.9393 | 38.477 | 4.2393 | 31.972 | 4.4893 | 46.0299 | 1.38 | 978.868 | 43.343 | 3.6949
2019-12-11 22:30:00 | 0.372 | 32.5576 | 3.428 | 31.8383 | 3.222 | 20.8183 | 3.7253 | 27.1151 | 1.285 | 979.017 | 44.7785 | 4.4486
2019-12-11 22:45:00 | 2.9033 | 12.7886 | 4.4507 | 9.6774 | 4.4937 | 9.8599 | 4.9987 | 23.4295 | 0.921 | 979.017 | 43.8551 | 6.0965
2019-12-11 23:00:00 | 2.648 | 20.5987 | 4.7063 | 7.3836 | 4.4937 | 10.5678 | 4.744 | 28.848 | 0.778 | 979.017 | 42.1808 | 5.3797
2019-12-11 23:15:00 | 3.1587 | 9.4695 | 4.4507 | 5.1868 | 4.748 | 341.414 | 4.744 | 26.5292 | 0.539 | 979.017 | 40.7448 | 5.7861
2019-12-11 23:30:00 | 2.9033 | 18.0605 | 3.9393 | 13.6804 | 4.748 | 15.8395 | 4.9987 | 25.846 | 0.364 | 979.017 | 39.4462 | 6.3773
2019-12-11 23:45:00 | 3.414 | 12.984 | 3.6837 | 3.5275 | 4.748 | 24.0156 | 4.9987 | 24.0156 | 0.201 | 978.868 | 39.9932 | 7.12