## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-12 00:00:00 | 3.1587 | 22.6488 | 4.4507 | 9.2873 | 4.4937 | 12.3983 | 4.4893 | 31.435 | -0.093 | 978.868 | 39.3779 | 6.6285
2019-12-12 00:15:00 | 2.9033 | 42.9547 | 3.9393 | 10.0683 | 3.985 | 36.2186 | 4.2347 | 54.9137 | -0.026 | 978.719 | 39.9932 | 4.3341
2019-12-12 00:30:00 | 3.9247 | 38.464 | 4.7063 | 39.8925 | 5.2567 | 51.448 | 5.2533 | 42.6862 | 0.606 | 978.719 | 33.8062 | 3.8131
2019-12-12 00:45:00 | 1.882 | 40.8558 | 4.4507 | 35.8899 | 4.2393 | 32.4113 | 4.4893 | 39.3426 | 1.063 | 978.719 | 35.7546 | 4.1382
2019-12-12 01:00:00 | 2.9033 | 40.1236 | 4.195 | 42.8701 | 4.748 | 50.1301 | 4.4893 | 40.9046 | 0.802 | 978.719 | 36.4382 | 4.2269
2019-12-12 01:15:00 | 1.882 | 42.4178 | 5.2177 | 37.037 | 5.2567 | 29.6046 | 5.2533 | 44.297 | 0.962 | 978.571 | 34.3189 | 4.4153
2019-12-12 01:30:00 | 3.414 | 40.3433 | 5.729 | 31.4968 | 5.511 | 0.51253 | 5.508 | 52.8392 | 0.956 | 978.422 | 31.1058 | 3.4658
2019-12-12 01:45:00 | 2.648 | 41.3195 | 3.6837 | 41.5521 | 3.985 | 47.7871 | 3.98 | 48.2752 | 0.949 | 978.719 | 29.7385 | 1.404
2019-12-12 02:00:00 | 1.882 | 40.2212 | 3.1723 | 28.324 | 4.748 | 35.8769 | 4.744 | 49.2027 | 1.68 | 978.719 | 26.3203 | 0.2882
2019-12-12 02:15:00 | 3.1587 | 43.2963 | 4.195 | 44.9689 | 3.985 | 82.6877 | 3.7253 | 46.9328 | 1.333 | 978.719 | 28.1661 | 0.081287
2019-12-12 02:30:00 | 3.414 | 42.2225 | 3.6837 | 41.4057 | 4.2393 | 42.7595 | 4.2347 | 49.4955 | 1.191 | 978.719 | 27.961 | 0.59487
2019-12-12 02:45:00 | 4.946 | 31.7767 | 6.7517 | 25.2001 | 7.037 | 22.6244 | 7.036 | 38.9277 | 0.986 | 978.422 | 30.2854 | 3.5951
2019-12-12 03:00:00 | 2.1373 | 34.9983 | 5.4733 | 32.7415 | 6.0197 | 47.4698 | 5.7627 | 38.8301 | 0.583 | 978.422 | 29.0207 | 7.9513
2019-12-12 03:15:00 | 3.9247 | 57.5007 | 4.962 | 52.7301 | 5.511 | 54.1327 | 5.7627 | 66.4333 | 1.128 | 978.422 | 20.9195 | 3.2515
2019-12-12 03:30:00 | 1.3713 | 135.625 | 2.1497 | 118.627 | 1.9503 | 127.351 | 1.9427 | 100.26 | 1.372 | 978.422 | 19.7573 | 0.11084
2019-12-12 03:45:00 | 2.3927 | 98.6004 | 2.1497 | 119.09 | 3.985 | 120.224 | 3.98 | 88.3254 | 1.063 | 978.422 | 22.0817 | -0.11454
2019-12-12 04:00:00 | 1.6267 | 78.4167 | 2.1497 | 67.6178 | 2.459 | 94.4027 | 2.1973 | 71.3878 | 0.721 | 978.422 | 14.4932 | 0.36579
2019-12-12 04:15:00 | 1.882 | 127.863 | 3.428 | 136.15 | 2.2047 | 148.34 | 2.1973 | 121.079 | 1.929 | 978.719 | 22.697 | 2.579
2019-12-12 04:30:00 | 1.116 | 121.786 | 3.428 | 139.152 | 3.7307 | 141.116 | 3.98 | 121.762 | 0.587 | 978.422 | 21.6031 | 2.6972
2019-12-12 04:45:00 | 2.1373 | 112.658 | 3.9393 | 114.746 | 4.2393 | 101.627 | 4.4893 | 124.056 | 1.53 | 978.422 | 14.6983 | 3.2958
2019-12-12 05:00:00 | 1.3713 | 111.829 | 1.894 | 100.81 | 2.2047 | 108.753 | 2.452 | 118.394 | 1.534 | 978.422 | 14.8351 | 2.9042
2019-12-12 05:15:00 | 2.3927 | 154.002 | 2.661 | 137.688 | 3.222 | 140.677 | 2.9613 | 156.052 | 1.959 | 978.422 | 18.2533 | 3.499
2019-12-12 05:30:00 | 3.414 | 149.607 | 3.6837 | 144.519 | 3.222 | 148.728 | 2.9613 | 154.781 | 1.859 | 978.422 | 23.8588 | 3.6357
2019-12-12 05:45:00 | 1.882 | 124.178 | 3.6837 | 120.847 | 3.4763 | 131.207 | 3.216 | 135.185 | 1.575 | 978.422 | 26.7305 | 2.7822
2019-12-12 06:00:00 | 3.6693 | 135.353 | 3.9393 | 121.454 | 3.7307 | 124.761 | 3.7253 | 138.892 | 1.956 | 978.422 | 19.6885 | 4.4153
2019-12-12 06:15:00 | 1.3713 | 145.021 | 2.4053 | 124.24 | 2.7133 | 134.965 | 2.7067 | 151.952 | 2.261 | 978.719 | 18.9369 | 6.0004
2019-12-12 06:30:00 | 2.3927 | 147.169 | 3.1723 | 127.559 | 1.9503 | 128.376 | 1.9427 | 156.565 | 2.636 | 978.719 | 17.1595 | 7.1015
2019-12-12 06:45:00 | 1.3713 | 126.716 | 2.1497 | 123.825 | 3.4763 | 133.794 | 3.4707 | 123.397 | 2.344 | 979.017 | 15.9289 | 11.1215
2019-12-12 07:00:00 | 5.2013 | 130.401 | 4.7063 | 127.51 | 6.274 | 127.375 | 5.508 | 142.946 | 1.823 | 979.017 | 14.5616 | 15.9248
2019-12-12 07:15:00 | 3.6693 | 106.264 | 3.9393 | 95.636 | 3.7307 | 91.5228 | 3.4707 | 133.452 | 1.935 | 979.017 | 15.1769 | 17.7131
2019-12-12 07:30:00 | 2.9033 | 115.636 | 2.9167 | 110.28 | 3.7307 | 128.156 | 4.2347 | 103.848 | 1.868 | 979.25 | 12.7841 | 20.4473
2019-12-12 07:45:00 | 4.6907 | 117.48 | 5.2177 | 116.002 | 6.0197 | 139.883 | 5.7627 | 126.363 | 2.156 | 979.338 | 12.2361 | 21.4634
2019-12-12 08:00:00 | 4.6907 | 131.138 | 5.729 | 124.874 | 7.037 | 147.509 | 7.5453 | 132.285 | 1.791 | 979.312 | 14.1125 | 24.1754
2019-12-12 08:15:00 | 5.712 | 132.87 | 6.496 | 129.095 | 7.2913 | 148.338 | 6.7813 | 142.898 | 2.037 | 979.758 | 13.5999 | 25.0104
2019-12-12 08:30:00 | 5.9673 | 130.392 | 6.2403 | 123.101 | 7.2913 | 127.781 | 7.2907 | 136.1 | 1.739 | 979.894 | 15.17 | 23.3366
2019-12-12 08:45:00 | 7.7547 | 126.858 | 7.5187 | 123.398 | 7.2913 | 122.93 | 7.036 | 142.446 | 2.525 | 980.051 | 12.9154 | 22.0878
2019-12-12 09:00:00 | 5.2013 | 121.974 | 4.4507 | 113.705 | 5.2567 | 117.462 | 5.508 | 129.486 | 2.79 | 980.306 | 13.7321 | 22.2799
2019-12-12 09:15:00 | 5.712 | 134.752 | 4.195 | 153.019 | 6.5283 | 133.044 | 6.0173 | 132.63 | 3.29 | 981.093 | 13.2536 | 24.6816
2019-12-12 09:30:00 | 5.712 | 137.605 | 5.2177 | 140.336 | 5.511 | 152.873 | 5.2533 | 138.117 | 3.384 | 981.39 | 15.918 | 18.3006
2019-12-12 09:45:00 | 5.9673 | 129.787 | 4.962 | 154.513 | 5.0023 | 151.613 | 4.9987 | 151.077 | 3.517 | 981.687 | 18.922 | 15.9691
2019-12-12 10:00:00 | 4.6907 | 147.434 | 6.2403 | 141.185 | 6.274 | 146.849 | 6.5267 | 173.522 | 3.635 | 981.835 | 24.3814 | 17.0185
2019-12-12 10:15:00 | 7.244 | 152.772 | 6.7517 | 146.377 | 8.8173 | 153.138 | 8.0547 | 163.719 | 3.671 | 981.687 | 26.6348 | 20.6985
2019-12-12 10:30:00 | 6.7333 | 138.29 | 8.5413 | 172.001 | 8.563 | 160.354 | 8.0547 | 142.727 | 3.555 | 981.681 | 27.5909 | 22.4055
2019-12-12 10:45:00 | 8.2653 | 158.209 | 8.03 | 146.133 | 7.8 | 148.627 | 7.8 | 166.962 | 3.419 | 981.516 | 31.0739 | 23.0484
2019-12-12 11:00:00 | 4.6907 | 138.265 | 6.496 | 131.65 | 7.5457 | 156.307 | 7.5453 | 145.823 | 3.245 | 981.389 | 36.0594 | 23.3182
2019-12-12 11:15:00 | 8.01 | 163.183 | 7.7743 | 148.839 | 7.8 | 135.193 | 8.0547 | 165.669 | 3.641 | 981.092 | 39.0644 | 25.0289
2019-12-12 11:30:00 | 7.7547 | 144.019 | 8.2857 | 135.112 | 7.037 | 144.141 | 6.7813 | 142.946 | 3.845 | 980.943 | 38.8595 | 26.1299
2019-12-12 11:45:00 | 4.6907 | 139.85 | 7.263 | 123.41 | 7.2913 | 141.118 | 7.5453 | 149.017 | 3.935 | 980.795 | 38.4497 | 26.0376
2019-12-12 12:00:00 | 7.4993 | 138.948 | 6.7517 | 136.722 | 7.5457 | 166.498 | 8.0547 | 140.533 | 4.352 | 980.453 | 37.9375 | 21.9474
2019-12-12 12:15:00 | 7.7547 | 131.975 | 7.7743 | 134.649 | 7.037 | 140.167 | 7.036 | 138.436 | 4.907 | 980.562 | 39.6107 | 19.4608
2019-12-12 12:30:00 | 6.7333 | 135.827 | 7.7743 | 129.919 | 7.8 | 153.991 | 7.5453 | 141.167 | 5 | 980.223 | 40.1571 | 17.2771
2019-12-12 12:45:00 | 5.4567 | 159.257 | 6.496 | 141.5 | 6.0197 | 145.555 | 6.0173 | 149.944 | 5.189 | 980.349 | 37.9717 | 18.707
2019-12-12 13:00:00 | 6.2227 | 134.754 | 7.7743 | 128.676 | 7.5457 | 152.772 | 7.036 | 140.069 | 5.542 | 979.901 | 38.1766 | 24.434
2019-12-12 13:15:00 | 8.2653 | 144.653 | 8.03 | 141.842 | 7.8 | 148.822 | 7.5453 | 149.432 | 5.605 | 979.901 | 40.6693 | 25.2875
2019-12-12 13:30:00 | 4.946 | 161.647 | 6.496 | 151.692 | 5.0023 | 165.133 | 4.9987 | 135.608 | 5.934 | 979.604 | 41.3181 | 24.785
2019-12-12 13:45:00 | 6.9887 | 145.141 | 8.2857 | 140.866 | 7.8 | 147.53 | 7.8 | 150.504 | 5.805 | 979.752 | 40.3278 | 26.7285
2019-12-12 14:00:00 | 6.9887 | 155.771 | 7.5187 | 143.89 | 6.274 | 145.384 | 5.7627 | 161.086 | 6.114 | 979.604 | 39.4741 | 25.2764
2019-12-12 14:15:00 | 6.478 | 130.244 | 6.496 | 134.649 | 6.0197 | 133.072 | 5.7627 | 145.994 | 6.321 | 979.752 | 38.7571 | 28.1769
2019-12-12 14:30:00 | 9.2867 | 152.065 | 7.263 | 147.693 | 6.0197 | 149.456 | 6.0173 | 155.405 | 6.39 | 979.455 | 38.6546 | 29.8691
2019-12-12 14:45:00 | 7.4993 | 141.41 | 8.5413 | 135.015 | 7.2913 | 136.973 | 7.036 | 145.36 | 6.373 | 979.604 | 38.04 | 26.747
2019-12-12 15:00:00 | 6.7333 | 143.019 | 7.7743 | 139.525 | 7.5457 | 142.483 | 7.2907 | 155.6 | 6.287 | 979.307 | 38.3814 | 29.4516
2019-12-12 15:15:00 | 6.9887 | 138.753 | 7.263 | 134.308 | 6.7827 | 142.922 | 6.7813 | 147.749 | 6.218 | 979.158 | 39.7473 | 35.6368
2019-12-12 15:30:00 | 8.01 | 155.698 | 8.03 | 148.351 | 8.0543 | 155.649 | 8.0547 | 146.872 | 6.172 | 978.775 | 41.2498 | 30.7153
2019-12-12 15:45:00 | 7.4993 | 149.017 | 7.5187 | 138.794 | 8.3087 | 148.7 | 7.8 | 143.848 | 6.05 | 978.068 | 41.7279 | 29.5366
2019-12-12 16:00:00 | 5.4567 | 144.952 | 5.9847 | 147.554 | 5.511 | 166.895 | 5.508 | 143.83 | 5.936 | 977.823 | 41.7979 | 31.8717
2019-12-12 16:15:00 | 8.01 | 138.743 | 8.5413 | 134.571 | 8.0543 | 143.181 | 7.8 | 142.133 | 5.906 | 977.526 | 41.5346 | 34.9237
2019-12-12 16:30:00 | 7.7547 | 136.629 | 10.0753 | 138.751 | 8.8173 | 142.337 | 8.8187 | 136.215 | 5.848 | 977.229 | 41.4005 | 37.0445
2019-12-12 16:45:00 | 7.4993 | 141.751 | 7.7743 | 132.239 | 7.5457 | 149.361 | 7.5453 | 148.214 | 5.709 | 977.229 | 42.9718 | 37.2625
2019-12-12 17:00:00 | 8.2653 | 142.629 | 10.5867 | 134.287 | 9.8347 | 132.361 | 9.328 | 147.678 | 5.675 | 976.932 | 44.1332 | 41.2049
2019-12-12 17:15:00 | 6.9887 | 151.361 | 7.0073 | 146.75 | 6.5283 | 161.336 | 6.5267 | 154.995 | 5.569 | 977.229 | 44.6798 | 46.6992
2019-12-12 17:30:00 | 9.0313 | 137.117 | 8.5413 | 132.507 | 8.8173 | 139.142 | 9.0733 | 145.971 | 5.52 | 976.635 | 44.8164 | 52.5445
2019-12-12 17:45:00 | 5.9673 | 133.264 | 7.5187 | 142.677 | 10.3433 | 134.703 | 9.8373 | 138.239 | 5.511 | 976.932 | 45.3629 | 54.1533
2019-12-12 18:00:00 | 9.542 | 136.093 | 6.7517 | 148.336 | 8.3087 | 150.897 | 8.3093 | 154.409 | 5.477 | 976.635 | 45.6362 | 58.264
2019-12-12 18:15:00 | 7.244 | 151.507 | 11.6093 | 147.775 | 11.8693 | 133.288 | 11.62 | 140.41 | 5.553 | 976.635 | 45.2605 | 67.3386
2019-12-12 18:30:00 | 10.8187 | 137.776 | 11.865 | 137.799 | 12.378 | 148.605 | 9.0733 | 145.971 | 5.362 | 976.04 | 45.9095 | 68.8793
2019-12-12 18:45:00 | 8.776 | 139.581 | 13.1433 | 141.555 | 12.378 | 153.702 | 11.62 | 158.434 | 5.533 | 976.04 | 45.2946 | 70.8102
2019-12-12 19:00:00 | 9.7973 | 146.312 | 9.8197 | 142.043 | 10.3433 | 151.361 | 10.092 | 149.019 | 5.371 | 976.04 | 46.456 | 72.2912
2019-12-12 19:15:00 | 10.8187 | 143.19 | 11.6093 | 138.117 | 11.3607 | 150.044 | 10.856 | 151.824 | 5.478 | 976.04 | 46.3194 | 71.4794
2019-12-12 19:30:00 | 12.0953 | 152.483 | 11.865 | 153.433 | 13.141 | 156.824 | 13.148 | 156.239 | 5.108 | 975.743 | 48.0273 | 70.7341
2019-12-12 19:45:00 | 9.7973 | 166.775 | 10.331 | 157.555 | 8.8173 | 171.506 | 9.8373 | 162.214 | 5.128 | 975.743 | 48.164 | 70.1335
2019-12-12 20:00:00 | 11.5847 | 135.386 | 11.6093 | 162.701 | 11.615 | 170.238 | 12.1293 | 146.849 | 4.834 | 975.485 | 50.0085 | 77.5068
2019-12-12 20:15:00 | 6.7333 | 131.362 | 6.7517 | 128.191 | 10.852 | 139.777 | 11.3653 | 140.703 | 4.847 | 975.854 | 50.897 | 73.4609
2019-12-12 20:30:00 | 7.7547 | 138.827 | 8.797 | 138.876 | 12.8867 | 147.022 | 12.8933 | 151.071 | 4.666 | 975.893 | 52.1957 | 74.4667
2019-12-12 20:45:00 | 8.5207 | 140.839 | 9.3083 | 139.084 | 12.6323 | 163.206 | 11.62 | 154.913 | 4.653 | 976.012 | 53.3615 | 65.0405
2019-12-12 21:00:00 | 10.5633 | 152.021 | 10.331 | 157.586 | 9.0717 | 151.606 | 9.5827 | 153.973 | 4.552 | 975.735 | 53.3653 | 69.4314
2019-12-12 21:15:00 | 11.5847 | 142.125 | 13.399 | 129.005 | 14.4127 | 149.419 | 13.912 | 149.737 | 4.075 | 975.258 | 54.3934 | 81.2053
2019-12-12 21:30:00 | 13.1167 | 146.159 | 14.166 | 131.794 | 11.8693 | 148.94 | 11.62 | 148.964 | 4.177 | 975.15 | 52.2096 | 81.294
2019-12-12 21:45:00 | 12.0953 | 144.033 | 12.1207 | 150.112 | 15.6843 | 160.403 | 14.9307 | 152.181 | 4.387 | 975.147 | 53.0969 | 80.1227
2019-12-12 22:00:00 | 11.84 | 141.398 | 15.9557 | 137.377 | 15.6843 | 155.23 | 15.6947 | 146.96 | 4.402 | 975.447 | 54.0534 | 81.8696
2019-12-12 22:15:00 | 11.074 | 142.936 | 11.865 | 140.306 | 11.8693 | 143.693 | 11.8747 | 142.449 | 4.346 | 975.15 | 53.9173 | 87.1134
2019-12-12 22:30:00 | 13.372 | 159.202 | 13.9103 | 146.789 | 11.8693 | 157.909 | 11.62 | 157.495 | 4.345 | 975.145 | 53.5052 | 85.7352
2019-12-12 22:45:00 | 10.8187 | 136.517 | 12.3763 | 145.279 | 15.6843 | 158.347 | 15.44 | 147.516 | 4.375 | 975.15 | 53.6426 | 86.7291
2019-12-12 23:00:00 | 13.1167 | 147.157 | 12.8877 | 138.014 | 13.3953 | 145.841 | 13.148 | 154.55 | 4.278 | 975.001 | 54.3275 | 87.2279
2019-12-12 23:15:00 | 11.84 | 154.644 | 10.331 | 150.038 | 14.1583 | 137.54 | 14.4213 | 149.957 | 4.325 | 975.298 | 54.9415 | 85.277
2019-12-12 23:30:00 | 12.8613 | 164.918 | 11.865 | 163.434 | 10.852 | 160.917 | 10.6013 | 135.789 | 4.122 | 975.149 | 55.0108 | 83.8915
2019-12-12 23:45:00 | 12.606 | 151.141 | 14.166 | 144.755 | 15.9387 | 161.754 | 15.44 | 147.433 | 3.978 | 974.525 | 55.4235 | 86.2709