## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-13 00:00:00 | 11.5847 | 146.425 | 14.4217 | 138.038 | 14.4127 | 171.066 | 14.1667 | 150.89 | 3.878 | 974.823 | 55.8308 | 85.9495
2019-12-13 00:15:00 | 11.074 | 149.302 | 13.1433 | 155.234 | 14.9213 | 165.257 | 14.9307 | 149.936 | 4.073 | 974.555 | 55.6249 | 87.4127
2019-12-13 00:30:00 | 13.372 | 155.473 | 11.6093 | 136.961 | 13.141 | 128.028 | 13.148 | 153.838 | 4.108 | 974.555 | 56.3079 | 88.5728
2019-12-13 00:45:00 | 9.0313 | 144.492 | 9.8197 | 134.25 | 11.1063 | 161.642 | 12.8933 | 160.349 | 4.297 | 974.555 | 56.8536 | 84.4014
2019-12-13 01:00:00 | 6.2227 | 134.271 | 6.496 | 134.421 | 8.8173 | 160.717 | 9.0733 | 154.009 | 4.153 | 975.447 | 57.4685 | 77.3109
2019-12-13 01:15:00 | 9.0313 | 150.741 | 11.865 | 143.207 | 13.3953 | 155.328 | 13.4027 | 147.57 | 4.058 | 974.852 | 58.085 | 84.1021
2019-12-13 01:30:00 | 7.244 | 145.496 | 10.0753 | 138.987 | 10.5977 | 131.81 | 10.856 | 148.4 | 4.087 | 974.998 | 58.7003 | 83.74
2019-12-13 01:45:00 | 11.84 | 144.569 | 12.8877 | 143.183 | 11.1063 | 146.057 | 12.1293 | 155.108 | 4.034 | 974.555 | 58.6316 | 83.5996
2019-12-13 02:00:00 | 9.7973 | 159.306 | 12.1207 | 141.452 | 12.1237 | 147.303 | 11.8747 | 155.207 | 4.224 | 974.852 | 59.2131 | 84.4753
2019-12-13 02:15:00 | 10.8187 | 136.079 | 10.5867 | 134.644 | 11.8693 | 163.231 | 11.8747 | 143.471 | 4.197 | 974.555 | 59.5882 | 85.58
2019-12-13 02:30:00 | 12.3507 | 139.249 | 12.1207 | 137.984 | 11.8693 | 141.688 | 12.1293 | 146.519 | 4.241 | 974.555 | 60.1342 | 82.3581
2019-12-13 02:45:00 | 10.8187 | 134.984 | 13.1433 | 141.112 | 13.6497 | 144.279 | 13.148 | 141.229 | 4.459 | 974.555 | 60.2045 | 84.5787
2019-12-13 03:00:00 | 12.0953 | 135.034 | 14.933 | 130.136 | 13.904 | 140.938 | 12.6387 | 150.795 | 4.352 | 974.258 | 60.8203 | 86.3522
2019-12-13 03:15:00 | 14.138 | 140.934 | 14.4217 | 138.109 | 14.9213 | 147.984 | 14.676 | 149.082 | 4.402 | 973.961 | 61.0576 | 89.0827
2019-12-13 03:30:00 | 16.436 | 137.154 | 14.6773 | 134.792 | 16.193 | 135.861 | 15.9493 | 149.791 | 4.493 | 973.366 | 61.3657 | 88.4287
2019-12-13 03:45:00 | 13.8827 | 150.637 | 13.9103 | 143.055 | 12.8867 | 147.126 | 12.384 | 159.494 | 4.5 | 973.479 | 61.7731 | 90.1136
2019-12-13 04:00:00 | 14.3933 | 127.872 | 14.166 | 131.58 | 14.667 | 137.139 | 14.9307 | 144.116 | 4.576 | 973.325 | 61.9409 | 92.0016
2019-12-13 04:15:00 | 11.5847 | 144.645 | 12.632 | 138.109 | 13.3953 | 149.035 | 13.148 | 159.914 | 4.509 | 973.044 | 62.5175 | 85.2285
2019-12-13 04:30:00 | 11.074 | 141.767 | 9.564 | 139.744 | 12.6323 | 174.453 | 13.148 | 153.207 | 4.496 | 973.298 | 63.0643 | 82.6241
2019-12-13 04:45:00 | 11.3293 | 152.985 | 10.8423 | 131.765 | 11.615 | 134.764 | 12.1293 | 144.058 | 4.55 | 973.307 | 63.0632 | 81.5748
2019-12-13 05:00:00 | 11.5847 | 135.058 | 12.8877 | 146.28 | 13.6497 | 144.522 | 13.4027 | 150.889 | 4.543 | 973.318 | 63.747 | 77.2592
2019-12-13 05:15:00 | 8.5207 | 146.451 | 9.3083 | 127.256 | 8.563 | 152.574 | 8.8187 | 152.793 | 4.578 | 973.628 | 64.0211 | 72.4715
2019-12-13 05:30:00 | 9.2867 | 141.431 | 8.5413 | 154.508 | 11.615 | 162.995 | 10.3467 | 134.552 | 4.558 | 973.634 | 64.16 | 70.5872
2019-12-13 05:45:00 | 9.0313 | 141.205 | 9.0527 | 134.621 | 10.5977 | 151.669 | 10.6013 | 126.472 | 4.571 | 973.606 | 64.7036 | 72.5778
2019-12-13 06:00:00 | 11.5847 | 135.939 | 12.3763 | 148.747 | 12.378 | 161.161 | 12.6387 | 147.33 | 4.436 | 973.321 | 65.0123 | 72.5824
2019-12-13 06:15:00 | 8.2653 | 145.162 | 8.03 | 142.456 | 11.3607 | 163.432 | 12.1293 | 148.284 | 4.456 | 973.781 | 65.1159 | 74.9684
2019-12-13 06:30:00 | 14.138 | 126.999 | 13.399 | 156.277 | 12.378 | 161.713 | 12.384 | 145.173 | 4.351 | 973.365 | 65.941 | 80.9504
2019-12-13 06:45:00 | 12.606 | 153.054 | 12.3763 | 151.838 | 12.6323 | 152.932 | 12.6387 | 159.055 | 4.309 | 973.366 | 66.4882 | 81.1388
2019-12-13 07:00:00 | 12.0953 | 147.713 | 10.5867 | 137.496 | 11.8693 | 145.445 | 11.3653 | 152.178 | 4.11 | 973.36 | 67.6166 | 80.64
2019-12-13 07:15:00 | 10.8187 | 145.347 | 9.8197 | 156.183 | 12.6323 | 146.884 | 12.8933 | 151.544 | 4.1 | 973.36 | 68.1976 | 80.9541
2019-12-13 07:30:00 | 10.8187 | 146.939 | 11.3537 | 140.869 | 12.6323 | 167.432 | 13.148 | 152.452 | 4.085 | 973.366 | 68.3369 | 81.2681
2019-12-13 07:45:00 | 11.5847 | 153.603 | 11.6093 | 143.02 | 11.1063 | 152.53 | 10.856 | 155.213 | 4.172 | 973.366 | 67.9971 | 77.4181
2019-12-13 08:00:00 | 11.074 | 148.766 | 12.632 | 142.208 | 12.378 | 147.912 | 12.1293 | 155.45 | 4.11 | 973.663 | 68.4723 | 72.1603
2019-12-13 08:15:00 | 10.0527 | 147.099 | 10.8423 | 144.931 | 12.1237 | 157.71 | 12.6387 | 156.857 | 4.202 | 973.961 | 68.3319 | 73.2281
2019-12-13 08:30:00 | 11.3293 | 151.004 | 10.0753 | 152.102 | 12.1237 | 155.394 | 11.8747 | 158.711 | 4.223 | 974.378 | 68.7317 | 68.6133
2019-12-13 08:45:00 | 9.7973 | 141.215 | 9.8197 | 140.58 | 10.5977 | 143.947 | 10.856 | 152.946 | 4.309 | 974.615 | 69.0694 | 65.9641
2019-12-13 09:00:00 | 11.074 | 148.336 | 9.8197 | 142.312 | 11.1063 | 153.434 | 11.1107 | 155.556 | 4.428 | 974.556 | 68.5227 | 62.9897
2019-12-13 09:15:00 | 9.2867 | 150.288 | 9.564 | 144.629 | 11.615 | 156.58 | 11.3653 | 156.117 | 4.56 | 974.852 | 68.6593 | 61.458
2019-12-13 09:30:00 | 6.9887 | 165.775 | 9.564 | 161.628 | 7.2913 | 151.653 | 7.5453 | 156.068 | 4.73 | 975.446 | 67.6345 | 53.5088
2019-12-13 09:45:00 | 7.7547 | 156.239 | 8.03 | 147.702 | 7.8 | 166.75 | 7.5453 | 166.994 | 5.116 | 976.041 | 66.9513 | 41.0128
2019-12-13 10:00:00 | 7.4993 | 161.062 | 6.7517 | 142.549 | 7.2913 | 161.696 | 7.5453 | 154.404 | 5.309 | 976.338 | 65.1726 | 34.665
2019-12-13 10:15:00 | 8.2653 | 162.322 | 7.7743 | 157.367 | 8.8173 | 169.32 | 8.564 | 168.077 | 5.835 | 976.635 | 62.291 | 17.6429
2019-12-13 10:30:00 | 7.7547 | 153.772 | 7.0073 | 154.106 | 7.037 | 165.231 | 7.2907 | 159.379 | 5.823 | 976.635 | 62.8309 | 21.9622
2019-12-13 10:45:00 | 7.4993 | 158.55 | 7.7743 | 147.425 | 6.7827 | 148.798 | 6.7813 | 161.939 | 6.247 | 976.901 | 60.3722 | 18.3966
2019-12-13 11:00:00 | 5.712 | 163.207 | 5.729 | 152.472 | 3.7307 | 153.942 | 3.98 | 158.404 | 6.15 | 976.421 | 58.9722 | 13.0798
2019-12-13 11:15:00 | 6.478 | 151.943 | 6.496 | 147.693 | 5.7653 | 153.26 | 5.508 | 157.965 | 5.881 | 976.421 | 63.4455 | 10.704
2019-12-13 11:30:00 | 3.6693 | 174.13 | 3.6837 | 172.781 | 2.7133 | 194.512 | 3.216 | 173.74 | 6.769 | 976.714 | 57.8112 | 5.8785
2019-12-13 11:45:00 | 4.6907 | 168.668 | 4.4507 | 156.08 | 3.985 | 160.964 | 3.7253 | 166.133 | 6.688 | 976.931 | 59.7576 | 4.201
2019-12-13 12:00:00 | 4.4353 | 214.084 | 4.195 | 189.111 | 4.4937 | 188.536 | 4.2347 | 202.48 | 7.863 | 976.93 | 54.9691 | 1.5334
2019-12-13 12:15:00 | 4.18 | 248.241 | 4.195 | 206.184 | 1.1873 | 192.11 | 2.452 | 131.079 | 8.05 | 976.788 | 54.2765 | 1.3966
2019-12-13 12:30:00 | 1.882 | 214.627 | 1.3827 | 192.579 | 2.2047 | 182.723 | 2.452 | 203.171 | 8.05 | 977.089 | 54.8217 | -0.35101
2019-12-13 12:45:00 | 2.3927 | 254.208 | 2.1497 | 221.242 | 0.933 | 227.3 | 0.924 | 278.483 | 8.51 | 977.374 | 53.4562 | -0.31037
2019-12-13 13:00:00 | 3.1587 | 253.282 | 3.9393 | 243.08 | 3.222 | 261.398 | 3.4707 | 257.766 | 8.01 | 977.671 | 57.0063 | -0.26972
2019-12-13 13:15:00 | 3.414 | 273.219 | 2.4053 | 274.764 | 2.459 | 278.288 | 2.452 | 273.219 | 8.12 | 977.671 | 55.6068 | -0.28081
2019-12-13 13:30:00 | 1.3713 | 269.461 | 2.661 | 240.053 | 1.1873 | 255.739 | 1.688 | 268.047 | 8.56 | 977.523 | 54.2063 | -0.25125
2019-12-13 13:45:00 | 2.648 | 308.565 | 2.9167 | 289.929 | 2.2047 | 301.936 | 1.9427 | 303.813 | 8.45 | 977.819 | 52.7661 | -0.28081
2019-12-13 14:00:00 | 0 | 260.647 | 0.37567 | 283.633 | 1.4417 | 290.961 | 1.4333 | 285.551 | 8.75 | 977.819 | 52.5597 | -0.28081
2019-12-13 14:15:00 | 2.3927 | 329.243 | 2.661 | 316.577 | 2.459 | 306.604 | 2.7067 | 302.413 | 9.05 | 978.116 | 51.7062 | -0.34731
2019-12-13 14:30:00 | 3.9247 | 42.62 | 2.661 | 331.731 | 2.459 | 331.895 | 2.452 | 32.0686 | 8.75 | 977.819 | 53.1732 | 3.3354
2019-12-13 14:45:00 | 1.882 | 11.5993 | 2.1497 | 14.7978 | 2.9677 | 342.69 | 2.452 | 23.6128 | 8.5 | 977.819 | 55.6305 | 5.3132
2019-12-13 15:00:00 | 3.414 | 19.2536 | 2.1497 | 336.63 | 0.87633 | 330.285 | 1.688 | 342.568 | 8.44 | 977.523 | 53.6245 | 14.7092
2019-12-13 15:15:00 | 2.1373 | 13.8925 | 4.4507 | 327.117 | 6.7827 | 7.4337 | 5.7627 | 32.0258 | 8.09 | 977.523 | 56.5967 | 19.3758
2019-12-13 15:30:00 | 2.1373 | 349.408 | 2.1497 | 6.01 | 4.4937 | 0.073118 | 5.2533 | 340.756 | 7.717 | 977.523 | 58.2011 | 17.4988
2019-12-13 15:45:00 | 1.6267 | 335.686 | 4.962 | 32.4989 | 3.7307 | 18.6695 | 2.9613 | 347.214 | 7.469 | 977.379 | 59.191 | 16.6859
2019-12-13 16:00:00 | 1.6267 | 9.3594 | 5.2177 | 19.3875 | 4.2393 | 1.4137 | 3.98 | 339.108 | 7.283 | 977.403 | 59.5681 | 19.4497
2019-12-13 16:15:00 | 4.4353 | 338.436 | 4.7063 | 4.6215 | 5.511 | 43.4411 | 6.272 | 353.94 | 7.162 | 977.507 | 59.7493 | 23.6692
2019-12-13 16:30:00 | 6.9887 | 356.207 | 5.4733 | 1.763 | 6.7827 | 36.279 | 7.2907 | 355.719 | 7.021 | 977.227 | 60.0988 | 26.4957
2019-12-13 16:45:00 | 5.4567 | 69.5105 | 6.496 | 4.2011 | 6.7827 | 4.5349 | 7.2907 | 356.793 | 6.83 | 977.631 | 61.6015 | 30.1315
2019-12-13 17:00:00 | 4.18 | 0.097527 | 7.263 | 38.7842 | 8.3087 | 25.0887 | 8.3093 | 0.41449 | 6.65 | 977.82 | 61.9786 | 32.2227
2019-12-13 17:15:00 | 6.478 | 7.78 | 9.3083 | 1.5841 | 7.8 | 4.2924 | 7.036 | 15.5113 | 6.398 | 977.526 | 62.031 | 36.5383
2019-12-13 17:30:00 | 7.244 | 69.9 | 6.496 | 3.9992 | 7.037 | 12.902 | 7.036 | 4.5364 | 6.182 | 977.526 | 62.5107 | 35.7033
2019-12-13 17:45:00 | 6.7333 | 9.5119 | 8.5413 | 4.2919 | 6.7827 | 15.8531 | 7.2907 | 11.7801 | 5.956 | 977.823 | 62.7839 | 26.0376
2019-12-13 18:00:00 | 4.18 | 10.7557 | 8.2857 | 5.6577 | 7.8 | 13.3166 | 7.2907 | 21.1456 | 5.896 | 978.12 | 62.1691 | 16.4568
2019-12-13 18:15:00 | 3.414 | 3.3901 | 7.7743 | 6.8284 | 5.511 | 46.2667 | 5.2533 | 11.3899 | 5.682 | 978.418 | 62.374 | 28.2545
2019-12-13 18:30:00 | 4.6907 | 17.3897 | 9.0527 | 11.3648 | 8.3087 | 34.3891 | 6.272 | 18.6579 | 5.423 | 978.269 | 62.0324 | 32.9469
2019-12-13 18:45:00 | 5.712 | 14.1946 | 8.5413 | 9.2673 | 9.0717 | 44.657 | 7.5453 | 19.7066 | 5.151 | 978.12 | 62.7839 | 30.5046
2019-12-13 19:00:00 | 5.4567 | 26.365 | 8.797 | 12.194 | 8.8173 | 35.4378 | 9.5827 | 24.6577 | 4.99 | 978.269 | 59.1289 | 28.2656
2019-12-13 19:15:00 | 5.2013 | 19.2434 | 7.5187 | 8.7797 | 9.326 | 1.8536 | 9.0733 | 25.4871 | 5.096 | 978.792 | 54.8594 | 26.1484
2019-12-13 19:30:00 | 7.244 | 17.2194 | 9.8197 | 6.2194 | 9.0717 | 47.7315 | 8.8187 | 28.195 | 5.163 | 978.885 | 52.5379 | 27.6892
2019-12-13 19:45:00 | 5.2013 | 14.4879 | 9.0527 | 12.2198 | 10.089 | 17.9758 | 9.8373 | 25.3417 | 5.051 | 979.032 | 50.6939 | 34.3658
2019-12-13 20:00:00 | 5.2013 | 19.5133 | 10.5867 | 0.48894 | 11.615 | 42.0999 | 11.1107 | 26.66 | 5.159 | 979.211 | 41.6092 | 47.9851
2019-12-13 20:15:00 | 4.4353 | 24.781 | 12.632 | 12.3177 | 10.089 | 0.31708 | 10.856 | 27.0981 | 5.709 | 979.185 | 33.8191 | 55.04
2019-12-13 20:30:00 | 6.9887 | 24.8536 | 10.331 | 3.1219 | 10.3433 | 12.0487 | 10.856 | 32.5853 | 5.744 | 979.446 | 32.3836 | 47.9443
2019-12-13 20:45:00 | 5.4567 | 33.8037 | 11.6093 | 23.7302 | 13.3953 | 59.559 | 12.8933 | 41.901 | 5.797 | 979.331 | 29.4449 | 52.7576
2019-12-13 21:00:00 | 4.946 | 15.6824 | 14.6773 | 8.6576 | 12.6323 | 41.2913 | 11.62 | 34.1208 | 5.72 | 979.185 | 26.2682 | 62.2365
2019-12-13 21:15:00 | 9.2867 | 15.7556 | 12.8877 | 12.0965 | 12.6323 | 54.4128 | 12.384 | 17.6579 | 5.739 | 979.012 | 26.234 | 59.1582
2019-12-13 21:30:00 | 3.9247 | 22.8773 | 11.865 | 12.8282 | 11.3607 | 81.607 | 11.62 | 30.999 | 5.835 | 979.309 | 25.2775 | 57.5832
2019-12-13 21:45:00 | 4.18 | 15.9751 | 9.3083 | 1.7554 | 11.615 | 20.4871 | 12.384 | 42.2669 | 5.631 | 979.755 | 25.9607 | 48.7055
2019-12-13 22:00:00 | 5.9673 | 9.9021 | 9.3083 | 7.4381 | 9.0717 | 51.3885 | 8.8187 | 28.121 | 5.434 | 980.082 | 25.7216 | 43.1299
2019-12-13 22:15:00 | 4.18 | 24.3894 | 9.564 | 15.4378 | 11.1063 | 84.0947 | 10.856 | 33.5354 | 5.272 | 980.26 | 26.0974 | 36.9965
2019-12-13 22:30:00 | 3.6693 | 23.9016 | 9.0527 | 16.389 | 12.8867 | 0.048779 | 13.6573 | 30.6575 | 5.172 | 980.431 | 25.9607 | 35.9176
2019-12-13 22:45:00 | 4.4353 | 10.3902 | 7.5187 | 11.1463 | 9.8347 | 329.829 | 9.0733 | 20.7561 | 5.038 | 980.331 | 25.415 | 25.0067
2019-12-13 23:00:00 | 4.6907 | 21.7575 | 11.098 | 21.8563 | 8.563 | 7.781 | 8.8187 | 19.7817 | 4.939 | 980.663 | 25.7924 | 24.9402
2019-12-13 23:15:00 | 5.2013 | 177.777 | 6.7517 | 9.2182 | 8.0543 | 4.7811 | 6.7813 | 13.5626 | 4.973 | 981.06 | 25.7597 | 20.4473
2019-12-13 23:30:00 | 7.7547 | 21.1985 | 7.0073 | 4.3877 | 7.037 | 46.7392 | 6.7813 | 30.1512 | 4.709 | 981.389 | 26.2391 | 14.1439
2019-12-13 23:45:00 | 2.3927 | 17.8819 | 8.797 | 15.3979 | 8.8173 | 41.7163 | 9.328 | 28.6159 | 4.644 | 981.392 | 26.9922 | 20.0889