## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-14 00:00:00 | 5.2013 | 6.5138 | 7.5187 | 9.6658 | 6.5283 | 52.7691 | 7.2907 | 21.7614 | 4.393 | 981.392 | 27.3347 | 22.5903
2019-12-14 00:15:00 | 4.6907 | 15.3696 | 7.7743 | 17.1554 | 8.563 | 34.9109 | 8.0547 | 20.7611 | 4.3 | 981.69 | 27.7447 | 17.5727
2019-12-14 00:30:00 | 5.2013 | 15.6376 | 10.5867 | 9.4212 | 10.852 | 347.443 | 9.5827 | 25.1031 | 4.293 | 981.392 | 27.8124 | 22.3908
2019-12-14 00:45:00 | 4.946 | 21.2728 | 8.03 | 14.983 | 9.5803 | 27.1277 | 9.328 | 27.8595 | 4.142 | 981.385 | 26.787 | 18.4373
2019-12-14 01:00:00 | 3.6693 | 16.3451 | 7.0073 | 8.4941 | 8.0543 | 33.3 | 6.7813 | 16.7354 | 3.914 | 981.69 | 26.924 | 14.6648
2019-12-14 01:15:00 | 4.946 | 14.6855 | 6.7517 | 28.838 | 8.563 | 32.1765 | 7.2907 | 13.6122 | 3.678 | 981.232 | 27.9479 | 21.0385
2019-12-14 01:30:00 | 4.946 | 22.7383 | 6.496 | 12.7412 | 8.3087 | 4.2695 | 8.3093 | 21.3232 | 3.301 | 981.39 | 29.3861 | 16.612
2019-12-14 01:45:00 | 3.414 | 17.7859 | 4.962 | 29.2345 | 7.037 | 5.2455 | 7.036 | 20.982 | 3.082 | 981.095 | 30.5483 | 18.6885
2019-12-14 02:00:00 | 5.2013 | 21.0309 | 7.0073 | 13.8641 | 7.2913 | 24.5441 | 7.036 | 27.4719 | 2.973 | 981.095 | 30.07 | 17.5949
2019-12-14 02:15:00 | 3.9247 | 9.0272 | 4.4507 | 4.5929 | 6.7827 | 7.8561 | 7.036 | 25.398 | 2.954 | 981.095 | 30.07 | 11.8087
2019-12-14 02:30:00 | 2.9033 | 17.7616 | 6.2403 | 10.7168 | 6.274 | 27.2035 | 6.0173 | 23.5194 | 2.858 | 981.392 | 30.4117 | 7.2234
2019-12-14 02:45:00 | 1.6267 | 11.9061 | 3.428 | 2.2507 | 4.748 | 5.5627 | 4.4893 | 17.0784 | 2.778 | 981.392 | 31.3002 | 5.5386
2019-12-14 03:00:00 | 2.3927 | 2.635 | 3.6837 | 2.5312 | 5.2567 | 354.548 | 5.508 | 8.1 | 2.51 | 981.244 | 32.3253 | 6.6064
2019-12-14 03:15:00 | 2.3927 | 13.9799 | 3.428 | 7.1303 | 4.748 | 36.3038 | 4.9987 | 18.0543 | 2.215 | 980.947 | 33.2137 | 7.8848
2019-12-14 03:30:00 | 1.3713 | 3.7576 | 5.4733 | 5.9944 | 5.2567 | 343.161 | 4.4893 | 14.2252 | 1.295 | 980.798 | 36.9759 | 10.1054
2019-12-14 03:45:00 | 1.882 | 9.6639 | 2.9167 | 11.92 | 4.2393 | 26.356 | 4.744 | 10.9084 | 1.378 | 980.808 | 38.2119 | 7.774
2019-12-14 04:00:00 | 3.6693 | 85.1033 | 2.4053 | 1.4772 | 3.985 | 13.1548 | 3.98 | 13.7649 | 1.283 | 980.705 | 37.7367 | 10.6412
2019-12-14 04:15:00 | 4.4353 | 9.6648 | 5.9847 | 4.8698 | 7.037 | 23.4054 | 6.272 | 18.3046 | 0.352 | 980.495 | 41.7365 | 15.4445
2019-12-14 04:30:00 | 4.18 | 17.7676 | 5.4733 | 3.137 | 7.037 | 38.0735 | 6.5267 | 18.2557 | 0.538 | 980.206 | 40.6768 | 16.2943
2019-12-14 04:45:00 | 4.946 | 17.011 | 6.7517 | 10.6784 | 7.5457 | 20.2326 | 7.8 | 20.5499 | 0.766 | 980.057 | 41.3604 | 19.01
2019-12-14 05:00:00 | 4.18 | 14.2043 | 5.9847 | 14.437 | 7.2913 | 15.4002 | 7.2907 | 22.8441 | 0.636 | 979.76 | 42.1808 | 15.7696
2019-12-14 05:15:00 | 2.3927 | 25.1871 | 4.195 | 22.9059 | 5.511 | 39.3426 | 5.508 | 35.3644 | 0.851 | 980.206 | 41.3604 | 6.8983
2019-12-14 05:30:00 | 1.3713 | 27.6275 | 2.9167 | 23.833 | 2.9677 | 20.7938 | 2.7067 | 37.9756 | 1.112 | 980.504 | 39.3093 | 0.66877
2019-12-14 05:45:00 | 1.116 | 24.4061 | 2.661 | 26.4692 | 2.7133 | 0.78099 | 2.7067 | 34.7299 | 1.47 | 980.801 | 39.1044 | -0.040643
2019-12-14 06:00:00 | 1.116 | 26.5538 | 2.9167 | 26.3716 | 3.222 | 7.4683 | 3.216 | 38.7325 | 0.9 | 980.801 | 43.3088 | 0.16257
2019-12-14 06:15:00 | 0 | 35.1692 | 1.3827 | 26.4204 | 1.4417 | 22.9905 | 1.688 | 44.9316 | 0.768 | 981.544 | 42.4543 | -0.18844
2019-12-14 06:30:00 | 0 | 41.051 | 0.75133 | 26.4692 | 1.4417 | 22.6 | 1.4333 | 32.997 | 1.429 | 981.99 | 38.1473 | -0.062812
2019-12-14 06:45:00 | 1.882 | 18.1581 | 3.1723 | 26.2739 | 2.9677 | 6.0039 | 3.216 | 26.1633 | 1.122 | 981.99 | 40.5401 | 0.218
2019-12-14 07:00:00 | 0 | 26.383 | 1.894 | 26.2739 | 1.9503 | 75.1219 | 2.1973 | 31.435 | 1.35 | 982.585 | 42.0441 | -0.28081
2019-12-14 07:15:00 | 2.648 | 35.8769 | 2.9167 | 26.3227 | 3.222 | 24.162 | 2.9613 | 52.6927 | 1.251 | 982.585 | 41.0186 | -0.26972
2019-12-14 07:30:00 | 0.744 | 64.8701 | 1.894 | 27.2493 | 1.9503 | 35.3393 | 2.1973 | 74.8032 | 1.479 | 983.18 | 42.4535 | -0.26972
2019-12-14 07:45:00 | 1.116 | 133.843 | 1.3827 | 27.5918 | 1.4417 | 51.2528 | 1.1787 | 130.914 | 1.712 | 983.18 | 38.6942 | -0.28081
2019-12-14 08:00:00 | 1.882 | 113.684 | 1.127 | 27.4454 | 0.622 | 22.7953 | 1.1787 | 140.994 | 1.917 | 983.775 | 40.4033 | -0.25125
2019-12-14 08:15:00 | 2.9033 | 63.3058 | 2.661 | 26.9058 | 1.9503 | 28.5047 | 1.688 | 112.799 | 1.23 | 982.964 | 45.6306 | -0.28081
2019-12-14 08:30:00 | 2.648 | 35.4792 | 2.661 | 26.9478 | 1.9503 | 29.4522 | 1.9427 | 62.3205 | 1.245 | 983.18 | 47.2302 | -0.29928
2019-12-14 08:45:00 | 1.882 | 85.7839 | 2.4053 | 39.5315 | 2.2047 | 43.5751 | 2.1973 | 94.5673 | 1.937 | 983.474 | 40.0827 | -0.23278
2019-12-14 09:00:00 | 1.3713 | 99.982 | 2.4053 | 75.5416 | 1.9503 | 52.5771 | 1.688 | 108.033 | 2.631 | 983.92 | 38.4077 | -0.23647
2019-12-14 09:15:00 | 1.6267 | 80.412 | 2.661 | 80.5149 | 2.459 | 42.5481 | 2.452 | 102.589 | 3.01 | 984.217 | 37.7228 | -0.29928
2019-12-14 09:30:00 | 0 | 61.5268 | 1.127 | 75.0469 | 2.459 | 26.7868 | 2.1973 | 89.7042 | 3.022 | 984.663 | 38.9516 | -0.059118
2019-12-14 09:45:00 | 0 | 87.7537 | 1.894 | 53.8029 | 1.1873 | 18.8776 | 2.7067 | 125.558 | 3.317 | 984.684 | 38.2582 | 0.25494
2019-12-14 10:00:00 | 3.414 | 113.582 | 3.9393 | 97.5082 | 4.2393 | 100.655 | 4.4893 | 113.972 | 3.83 | 984.807 | 38.3262 | 1.1048
2019-12-14 10:15:00 | 0.372 | 105.801 | 2.661 | 133.458 | 2.7133 | 168.726 | 2.9613 | 100.948 | 4.269 | 984.956 | 38.5995 | 3.3697
2019-12-14 10:30:00 | 3.414 | 90.0945 | 4.4507 | 81.2161 | 5.0023 | 112.703 | 4.744 | 94.8017 | 4.397 | 984.956 | 41.2639 | 3.9018
2019-12-14 10:45:00 | 3.414 | 55.681 | 3.1723 | 121.264 | 2.2047 | 130.483 | 2.452 | 94.0456 | 4.28 | 984.956 | 41.7421 | 2.2649
2019-12-14 11:00:00 | 1.6267 | 136.434 | 1.6383 | 136.043 | 1.9503 | 141.897 | 2.452 | 148.677 | 4.538 | 985.55 | 41.0587 | 0.48772
2019-12-14 11:15:00 | 3.6693 | 154.048 | 3.9393 | 155.602 | 2.459 | 180.82 | 2.7067 | 147.367 | 4.936 | 985.401 | 40.2959 | 0.051728
2019-12-14 11:30:00 | 2.3927 | 148.773 | 2.661 | 159.713 | 1.696 | 174.715 | 1.9427 | 134.73 | 4.876 | 984.798 | 39.5083 | -0.13301
2019-12-14 11:45:00 | 3.9247 | 139.021 | 2.661 | 141.476 | 2.9677 | 143.97 | 2.7067 | 145.604 | 4.744 | 984.187 | 40.2254 | -0.15518
2019-12-14 12:00:00 | 4.18 | 129.902 | 4.7063 | 115.608 | 4.2393 | 105.351 | 4.4893 | 129.293 | 4.554 | 983.998 | 40.362 | 0.52836
2019-12-14 12:15:00 | 1.882 | 94.428 | 3.1723 | 99.2967 | 3.985 | 103.108 | 3.7253 | 85.3094 | 4.592 | 983.766 | 41.0449 | 0.92002
2019-12-14 12:30:00 | 3.1587 | 72.9508 | 3.1723 | 43.8807 | 2.2047 | 53.8354 | 2.452 | 77.1689 | 5.117 | 983.618 | 41.2513 | 1.5112
2019-12-14 12:45:00 | 1.3713 | 18.7247 | 1.894 | 11.4029 | 1.9503 | 24.9175 | 1.688 | 64.9025 | 5.318 | 983.172 | 40.4986 | 1.3412
2019-12-14 13:00:00 | 1.116 | 79.458 | 0 | 13.8897 | 1.9503 | 309.103 | 1.1787 | 77.5562 | 5.764 | 983.042 | 38.5863 | 0.44708
2019-12-14 13:15:00 | 0 | 11.3128 | 1.3827 | 64.7487 | 0.311 | 99.2798 | 0.616 | 34.5968 | 5.435 | 982.607 | 37.1521 | -0.26233
2019-12-14 13:30:00 | 1.6267 | 289.989 | 1.3827 | 294.955 | 0 | 303.203 | 0 | 273.702 | 4.607 | 982.308 | 44.8694 | -0.29928
2019-12-14 13:45:00 | 3.1587 | 303.837 | 3.428 | 294.175 | 1.1873 | 280.383 | 1.1787 | 311.566 | 4.309 | 982.134 | 46.9182 | -0.26972
2019-12-14 14:00:00 | 2.3927 | 282.284 | 2.9167 | 282.862 | 2.2047 | 281.236 | 2.1973 | 286.088 | 4.229 | 981.977 | 50.5378 | -0.26233
2019-12-14 14:15:00 | 2.648 | 287.768 | 2.9167 | 280.081 | 1.4417 | 279.234 | 1.4333 | 292.035 | 4.194 | 981.984 | 49.3806 | -0.26233
2019-12-14 14:30:00 | 1.882 | 288.51 | 1.3827 | 259.462 | 1.4417 | 279.706 | 1.688 | 251.733 | 4.475 | 982.132 | 48.776 | -0.28081
2019-12-14 14:45:00 | 1.6267 | 324.661 | 1.127 | 286.491 | 1.4417 | 278.664 | 1.4333 | 304.467 | 4.401 | 981.984 | 48.9138 | -0.28081
2019-12-14 15:00:00 | 0 | 56.6803 | 0.75133 | 289.791 | 1.9503 | 290.474 | 2.1973 | 51.022 | 4.545 | 981.835 | 48.4367 | -0.28081
2019-12-14 15:15:00 | 1.3713 | 2.195 | 1.6383 | 4.5843 | 0.622 | 8.585 | 0.924 | 20.7552 | 4.801 | 981.984 | 48.8125 | -0.28081
2019-12-14 15:30:00 | 1.882 | 45.3155 | 1.3827 | 4.8772 | 0.622 | 27.3649 | 0.924 | 108.557 | 4.053 | 981.389 | 50.965 | -0.28081
2019-12-14 15:45:00 | 0 | 28.1454 | 0.75133 | 5.0723 | 0 | 52.4372 | 0 | 117.094 | 4.05 | 981.389 | 50.4526 | -0.26233
2019-12-14 16:00:00 | 1.6267 | 89.7043 | 1.127 | 5.365 | 1.1873 | 27.3161 | 1.4333 | 107.509 | 4.059 | 981.389 | 50.1452 | -0.28081
2019-12-14 16:15:00 | 0.372 | 71.7293 | 1.127 | 37.2663 | 0 | 7.4875 | 0 | 130.776 | 3.906 | 980.795 | 50.3501 | -0.25125
2019-12-14 16:30:00 | 2.1373 | 84.4118 | 2.4053 | 37.0224 | 1.9503 | 26.8284 | 2.1973 | 98.5576 | 3.549 | 980.201 | 51.2383 | -0.28081
2019-12-14 16:45:00 | 1.3713 | 98.4844 | 1.127 | 82.338 | 0.933 | 43.6083 | 1.688 | 93.1432 | 3.587 | 980.24 | 49.7694 | -0.084981
2019-12-14 17:00:00 | 0.372 | 112.791 | 0.75133 | 82.4971 | 1.696 | 70.982 | 1.688 | 114.791 | 3.766 | 980.441 | 47.8967 | -0.24386
2019-12-14 17:15:00 | 1.882 | 97.2393 | 1.894 | 61.7483 | 2.2047 | 56.8896 | 2.452 | 109.12 | 3.859 | 980.351 | 47.6971 | -0.22539
2019-12-14 17:30:00 | 0.372 | 108.071 | 1.6383 | 94.4629 | 1.1873 | 91.7264 | 1.688 | 115.097 | 3.804 | 980.501 | 46.6723 | -0.20691
2019-12-14 17:45:00 | 0.372 | 99.366 | 1.3827 | 93.9305 | 1.1873 | 86.8019 | 1.4333 | 105.929 | 3.765 | 980.469 | 46.9474 | -0.26233
2019-12-14 18:00:00 | 3.1587 | 102.466 | 2.661 | 95.6402 | 3.4763 | 97.4891 | 3.7253 | 105.93 | 3.737 | 980.189 | 48.1783 | -0.28081
2019-12-14 18:15:00 | 2.3927 | 121.718 | 2.9167 | 105.256 | 3.7307 | 111.837 | 3.7253 | 119.962 | 3.742 | 980.479 | 48.5897 | -0.062812
2019-12-14 18:30:00 | 0 | 91.418 | 2.1497 | 103.745 | 3.222 | 150.924 | 3.216 | 119.304 | 3.738 | 980.203 | 48.6586 | 0.49511
2019-12-14 18:45:00 | 1.3713 | 133.151 | 1.894 | 135.302 | 2.7133 | 131.883 | 2.7067 | 126.955 | 3.759 | 980.352 | 49.3379 | 0.90893
2019-12-14 19:00:00 | 2.1373 | 125.054 | 2.4053 | 133.988 | 2.7133 | 124.957 | 2.452 | 131.105 | 3.754 | 979.987 | 49.8172 | 1.0789
2019-12-14 19:15:00 | 2.1373 | 100.897 | 2.9167 | 87.1421 | 2.2047 | 130.903 | 2.452 | 105.849 | 3.736 | 980.052 | 49.5413 | 1.0752
2019-12-14 19:30:00 | 2.3927 | 93.874 | 3.1723 | 121.348 | 3.222 | 123.295 | 3.216 | 104.218 | 3.67 | 979.898 | 49.5427 | 1.8659
2019-12-14 19:45:00 | 1.3713 | 97.1918 | 2.4053 | 99.2209 | 2.7133 | 113.39 | 3.216 | 101.827 | 3.744 | 979.9 | 49.0644 | 2.6344
2019-12-14 20:00:00 | 2.648 | 93.7297 | 2.4053 | 124.62 | 1.696 | 147.108 | 1.9427 | 118.053 | 3.735 | 979.904 | 48.7922 | 1.5814
2019-12-14 20:15:00 | 3.1587 | 120.853 | 2.9167 | 124.565 | 3.222 | 139.784 | 3.7253 | 126.611 | 3.806 | 980.048 | 47.7652 | 1.1787
2019-12-14 20:30:00 | 1.882 | 127.103 | 2.661 | 135.109 | 2.2047 | 136.373 | 2.452 | 136.715 | 3.873 | 980.203 | 47.0151 | 0.77961
2019-12-14 20:45:00 | 2.9033 | 107.466 | 2.661 | 128.525 | 2.9677 | 133.79 | 3.4707 | 121.811 | 3.886 | 980.352 | 47.9726 | 1.0382
2019-12-14 21:00:00 | 3.1587 | 123.932 | 2.661 | 113.154 | 2.9677 | 134.032 | 3.216 | 130.593 | 3.824 | 980.203 | 48.5873 | 1.1011
2019-12-14 21:15:00 | 3.9247 | 128.272 | 3.6837 | 130.52 | 3.7307 | 142.421 | 3.7253 | 120.49 | 3.836 | 980.203 | 47.6977 | 2.8413
2019-12-14 21:30:00 | 2.3927 | 117.245 | 4.195 | 108.565 | 4.4937 | 115.928 | 4.2347 | 119.904 | 3.801 | 979.906 | 47.7661 | 3.0224
2019-12-14 21:45:00 | 3.1587 | 134.031 | 3.6837 | 122.936 | 5.0023 | 143.789 | 5.508 | 140.472 | 3.747 | 979.906 | 47.5617 | 4.0348
2019-12-14 22:00:00 | 3.1587 | 117.053 | 2.661 | 141.649 | 2.2047 | 134.545 | 2.9613 | 121.469 | 3.765 | 980.055 | 45.3756 | 3.7133
2019-12-14 22:15:00 | 2.648 | 121.44 | 2.9167 | 107.88 | 5.0023 | 122.708 | 5.2533 | 114.853 | 3.749 | 979.906 | 44.5539 | 3.1406
2019-12-14 22:30:00 | 2.9033 | 107.099 | 3.9393 | 123.499 | 3.985 | 111.93 | 4.4893 | 102.098 | 3.807 | 979.906 | 44.3505 | 3.4805
2019-12-14 22:45:00 | 4.6907 | 108.49 | 4.195 | 124.499 | 4.4937 | 135.277 | 4.4893 | 117.492 | 3.776 | 979.906 | 43.6671 | 5.1211
2019-12-14 23:00:00 | 4.4353 | 125.861 | 5.729 | 125.159 | 5.7653 | 122.348 | 5.508 | 125.495 | 3.771 | 979.906 | 42.9842 | 7.0867
2019-12-14 23:15:00 | 3.1587 | 113.853 | 4.7063 | 117.882 | 6.0197 | 131.1 | 6.272 | 126.733 | 3.727 | 979.757 | 43.3238 | 8.1989
2019-12-14 23:30:00 | 4.946 | 112.732 | 5.9847 | 113.127 | 5.7653 | 120.465 | 5.7627 | 126.125 | 3.743 | 979.312 | 42.9827 | 9.4292
2019-12-14 23:45:00 | 3.1587 | 111.582 | 3.6837 | 109 | 5.0023 | 134.976 | 4.9987 | 132.122 | 3.744 | 979.312 | 43.3913 | 11.9233