## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-15 00:00:00 | 4.946 | 136.104 | 6.7517 | 114.738 | 6.5283 | 126.175 | 7.036 | 140.593 | 3.67 | 979.312 | 43.0173 | 15.0971
2019-12-15 00:15:00 | 4.4353 | 131.249 | 5.2177 | 126.716 | 5.0023 | 127.15 | 4.744 | 142.593 | 3.679 | 979.312 | 43.1537 | 17.0665
2019-12-15 00:30:00 | 5.4567 | 108.561 | 5.729 | 131.692 | 7.2913 | 136.03 | 8.3093 | 123.418 | 3.667 | 979.014 | 42.5729 | 19.9411
2019-12-15 00:45:00 | 6.2227 | 124.809 | 6.7517 | 133.498 | 6.0197 | 137.251 | 6.0173 | 119.564 | 3.652 | 978.863 | 43.1197 | 18.5407
2019-12-15 01:00:00 | 5.9673 | 127.249 | 5.729 | 129.962 | 7.037 | 120.223 | 7.5453 | 142.838 | 3.614 | 979.013 | 44.4868 | 18.223
2019-12-15 01:15:00 | 8.2653 | 128.055 | 7.0073 | 124.864 | 7.5457 | 132.666 | 7.2907 | 134.252 | 3.599 | 978.717 | 45.2386 | 18.7329
2019-12-15 01:30:00 | 6.7333 | 131.392 | 7.5187 | 118.027 | 7.037 | 128.22 | 7.036 | 137.271 | 3.601 | 978.866 | 46.4668 | 18.0937
2019-12-15 01:45:00 | 5.4567 | 126.369 | 4.962 | 131.155 | 6.274 | 120.685 | 6.7813 | 132.615 | 3.503 | 978.717 | 47.0829 | 19.3462
2019-12-15 02:00:00 | 6.9887 | 125.538 | 7.0073 | 120.053 | 7.2913 | 122.342 | 7.036 | 134.882 | 3.567 | 978.693 | 47.4922 | 21.1345
2019-12-15 02:15:00 | 6.9887 | 123.245 | 8.03 | 114.174 | 7.2913 | 114.536 | 7.5453 | 132.076 | 3.53 | 978.248 | 48.8589 | 25.6348
2019-12-15 02:30:00 | 7.4993 | 121.926 | 7.7743 | 114.807 | 7.8 | 124.708 | 7.8 | 133.587 | 3.59 | 978.122 | 49.8151 | 26.2851
2019-12-15 02:45:00 | 7.7547 | 128.123 | 6.496 | 128.127 | 8.0543 | 125.611 | 7.8 | 136.881 | 3.701 | 978.122 | 51.6604 | 20.5101
2019-12-15 03:00:00 | 4.946 | 127.345 | 5.729 | 118.08 | 6.7827 | 131.2 | 6.7813 | 125.272 | 3.739 | 978.122 | 52.2764 | 20.5212
2019-12-15 03:15:00 | 5.9673 | 129.684 | 7.0073 | 124.467 | 7.8 | 140.028 | 8.0547 | 139.369 | 3.707 | 978.121 | 52.3434 | 22.0471
2019-12-15 03:30:00 | 6.2227 | 121.268 | 6.7517 | 131.274 | 6.7827 | 124.756 | 7.036 | 129.562 | 3.794 | 977.825 | 53.5393 | 22.5312
2019-12-15 03:45:00 | 7.7547 | 129.595 | 7.5187 | 123.184 | 7.037 | 117.47 | 7.036 | 134.743 | 3.784 | 977.825 | 55.0122 | 20.6985
2019-12-15 04:00:00 | 6.2227 | 125.737 | 7.0073 | 124.474 | 7.037 | 121.151 | 7.036 | 132.812 | 3.809 | 977.526 | 57.5392 | 19.2797
2019-12-15 04:15:00 | 6.478 | 126.566 | 7.0073 | 120.179 | 6.5283 | 122.516 | 6.272 | 132.592 | 3.726 | 977.379 | 56.958 | 20.8722
2019-12-15 04:30:00 | 5.4567 | 110.173 | 5.4733 | 106.884 | 5.511 | 121.615 | 5.2533 | 117.882 | 3.583 | 977.379 | 56.9926 | 18.0974
2019-12-15 04:45:00 | 4.4353 | 123.153 | 3.1723 | 107.471 | 5.0023 | 123.494 | 4.744 | 117.2 | 3.625 | 977.379 | 59.795 | 16.043
2019-12-15 05:00:00 | 4.4353 | 129.294 | 4.7063 | 103.879 | 4.4937 | 113.291 | 4.744 | 126.806 | 3.541 | 977.374 | 59.7237 | 15.6846
2019-12-15 05:15:00 | 3.1587 | 111.194 | 3.9393 | 103.441 | 4.4937 | 118.806 | 4.744 | 129.028 | 3.531 | 977.528 | 61.7061 | 16.9483
2019-12-15 05:30:00 | 4.946 | 118.39 | 4.962 | 121.517 | 4.748 | 126.465 | 4.9987 | 118.244 | 3.535 | 977.528 | 62.2523 | 14.6131
2019-12-15 05:45:00 | 3.6693 | 127.219 | 5.2177 | 109.122 | 5.7653 | 93.3349 | 5.508 | 122.267 | 3.529 | 977.525 | 63.0031 | 14.155
2019-12-15 06:00:00 | 3.1587 | 78.1135 | 3.1723 | 73.0434 | 4.2393 | 83.0414 | 4.744 | 82.5779 | 3.53 | 977.817 | 64.1656 | 12.3999
2019-12-15 06:15:00 | 2.9033 | 88.0718 | 3.1723 | 101.154 | 4.2393 | 129.351 | 4.4893 | 119.202 | 3.574 | 977.676 | 64.5793 | 12.7842
2019-12-15 06:30:00 | 4.18 | 108.175 | 4.962 | 100.984 | 5.2567 | 113.152 | 5.2533 | 117.251 | 3.746 | 977.527 | 66.3565 | 14.9272
2019-12-15 06:45:00 | 6.478 | 101.656 | 6.7517 | 90.4143 | 5.0023 | 90.1172 | 4.9987 | 106.169 | 3.714 | 977.528 | 65.9432 | 14.9124
2019-12-15 07:00:00 | 4.946 | 77.677 | 4.962 | 81.1216 | 5.511 | 99.5358 | 4.744 | 87.1182 | 3.811 | 977.825 | 66.7645 | 13.3827
2019-12-15 07:15:00 | 3.6693 | 119.784 | 5.9847 | 91.1724 | 5.2567 | 106.781 | 4.9987 | 129.762 | 3.896 | 977.825 | 67.926 | 12.6844
2019-12-15 07:30:00 | 3.1587 | 92.0474 | 4.962 | 98.615 | 4.748 | 103.05 | 5.508 | 106.612 | 3.891 | 978.122 | 68.4396 | 12.9911
2019-12-15 07:45:00 | 3.414 | 110.786 | 4.4507 | 99.8371 | 5.2567 | 117.934 | 5.508 | 117.861 | 3.944 | 978.122 | 69.0218 | 12.8728
2019-12-15 08:00:00 | 4.18 | 95.5587 | 5.9847 | 89.8303 | 6.274 | 104.122 | 6.272 | 101.292 | 4.062 | 978.122 | 69.6684 | 9.9502
2019-12-15 08:15:00 | 3.6693 | 101.218 | 3.428 | 96.6608 | 3.222 | 99.2422 | 3.216 | 116.88 | 4.084 | 978.122 | 70.6249 | 9.9983
2019-12-15 08:30:00 | 3.414 | 129.271 | 4.962 | 90.7065 | 3.4763 | 103.9 | 3.98 | 118.245 | 4.212 | 978.42 | 70.8629 | 11.273
2019-12-15 08:45:00 | 6.2227 | 97.3392 | 6.7517 | 90.1958 | 7.037 | 100.34 | 7.5453 | 106.805 | 4.228 | 978.408 | 72.5724 | 11.0069
2019-12-15 09:00:00 | 4.18 | 99.6788 | 5.729 | 93.7304 | 6.5283 | 74.9177 | 7.036 | 98.1907 | 4.186 | 978.561 | 73.3906 | 8.6607
2019-12-15 09:15:00 | 3.1587 | 95.8249 | 5.2177 | 85.9245 | 6.7827 | 96.2396 | 7.5453 | 98.0448 | 4.288 | 978.717 | 73.6643 | 7.9328
2019-12-15 09:30:00 | 2.9033 | 87.4343 | 5.4733 | 98.7584 | 4.4937 | 86.8244 | 5.508 | 105.56 | 4.334 | 978.713 | 73.6655 | 9.4773
2019-12-15 09:45:00 | 5.712 | 84.5279 | 5.729 | 88.3128 | 6.5283 | 92.5294 | 6.0173 | 105.337 | 4.339 | 978.667 | 72.6377 | 8.7679
2019-12-15 10:00:00 | 3.9247 | 91.8124 | 5.4733 | 87.9601 | 4.748 | 120.522 | 5.508 | 100.667 | 4.344 | 978.631 | 71.8786 | 10.5229
2019-12-15 10:15:00 | 3.6693 | 86.927 | 5.4733 | 98.4393 | 5.2567 | 83.6343 | 5.7627 | 100.049 | 4.343 | 978.645 | 71.9411 | 8.6275
2019-12-15 10:30:00 | 3.6693 | 83.6128 | 4.7063 | 95.8092 | 4.2393 | 104.662 | 4.4893 | 101.394 | 4.354 | 978.625 | 72.4902 | 9.5179
2019-12-15 10:45:00 | 2.9033 | 110.518 | 3.428 | 120.739 | 4.2393 | 124.299 | 4.2347 | 106.616 | 4.347 | 978.714 | 74.917 | 8.694
2019-12-15 11:00:00 | 4.6907 | 120.792 | 4.962 | 95.9375 | 2.9677 | 111.84 | 3.4707 | 111.157 | 4.122 | 978.052 | 76.4571 | 7.7924
2019-12-15 11:15:00 | 4.946 | 100.091 | 3.6837 | 82.3839 | 7.2913 | 98.7003 | 8.0547 | 98.2124 | 4.066 | 977.972 | 78.3085 | 5.9672
2019-12-15 11:30:00 | 4.946 | 85.0204 | 6.496 | 87.8064 | 6.274 | 89.0214 | 7.036 | 102.976 | 3.95 | 977.528 | 80.9103 | 5.9117
2019-12-15 11:45:00 | 5.4567 | 100.292 | 7.0073 | 88.8554 | 7.037 | 85.8743 | 7.5453 | 105.44 | 3.761 | 976.933 | 82.7554 | 6.1334
2019-12-15 12:00:00 | 2.648 | 81.4315 | 2.661 | 70.5554 | 2.7133 | 87.8719 | 2.7067 | 93.2145 | 3.71 | 977.082 | 84.5294 | 5.413
2019-12-15 12:15:00 | 1.3713 | 84.384 | 3.1723 | 82.5587 | 5.2567 | 83.2374 | 5.7627 | 91.9222 | 3.635 | 976.93 | 87.0584 | 2.5679
2019-12-15 12:30:00 | 1.3713 | 85.4324 | 2.4053 | 80.0696 | 3.7307 | 63.5742 | 3.7253 | 89.7504 | 3.669 | 976.777 | 89.4495 | 1.9546
2019-12-15 12:45:00 | 1.116 | 76.2105 | 2.4053 | 51.0631 | 3.4763 | 49.7173 | 3.7253 | 85.5782 | 3.741 | 976.636 | 89.4831 | 0.55053
2019-12-15 13:00:00 | 0.744 | 80.4085 | 0 | 38.745 | 3.222 | 31.7633 | 3.216 | 60.9407 | 3.755 | 976.339 | 90.8179 | 0.051728
2019-12-15 13:15:00 | 1.3713 | 30.7399 | 3.9393 | 16.0096 | 3.7307 | 355.339 | 3.7253 | 42.5236 | 3.405 | 976.339 | 96.357 | -0.24755
2019-12-15 13:30:00 | 5.4567 | 33.2764 | 6.2403 | 25.2793 | 4.4937 | 45.694 | 4.744 | 38.18 | 3.06 | 975.744 | 95.8421 | 0.47294
2019-12-15 13:45:00 | 3.414 | 19.5157 | 4.7063 | 11.9081 | 4.4937 | 20.0036 | 4.4893 | 30.1029 | 3.006 | 975.729 | 92.4193 | 1.3819
2019-12-15 14:00:00 | 3.6693 | 25.1033 | 4.962 | 23.2294 | 4.4937 | 27.6892 | 4.744 | 36.179 | 2.844 | 975.583 | 95.6015 | 3.0002
2019-12-15 14:15:00 | 4.4353 | 29.1282 | 4.7063 | 23.1312 | 4.4937 | 43.3507 | 4.744 | 38.3009 | 2.716 | 975.109 | 94.5751 | 4.6777
2019-12-15 14:30:00 | 4.6907 | 32.7414 | 4.7063 | 29.3805 | 5.2567 | 20.2011 | 4.9987 | 42.11 | 2.596 | 974.852 | 94.2412 | 5.7307
2019-12-15 14:45:00 | 4.4353 | 28.3746 | 4.962 | 17.3285 | 4.4937 | 16.3221 | 5.508 | 45.209 | 2.606 | 974.843 | 93.8322 | 5.8379
2019-12-15 15:00:00 | 3.414 | 28.8866 | 4.962 | 26.3552 | 5.511 | 35.1812 | 5.7627 | 32.9854 | 2.537 | 974.852 | 96.2914 | 7.3195
2019-12-15 15:15:00 | 3.6693 | 25.0809 | 4.195 | 26.9413 | 4.4937 | 21.714 | 4.4893 | 29.4237 | 2.507 | 974.555 | 98.0694 | 6.5214
2019-12-15 15:30:00 | 4.18 | 30.4484 | 4.4507 | 28.7955 | 3.985 | 22.1287 | 4.744 | 39.0852 | 2.45 | 974.555 | 98.3769 | 5.2134
2019-12-15 15:45:00 | 4.4353 | 35.8159 | 5.2177 | 29.0883 | 5.2567 | 24.2514 | 5.2533 | 42.0861 | 2.505 | 974.406 | 98.001 | 5.8379
2019-12-15 16:00:00 | 4.4353 | 28.8381 | 4.195 | 25.1358 | 4.4937 | 12.8576 | 4.2347 | 34.9376 | 2.548 | 974.258 | 98.0694 | 4.0606
2019-12-15 16:15:00 | 3.1587 | 30.7168 | 4.195 | 15.2303 | 4.4937 | 18.9326 | 4.4893 | 47.1608 | 2.408 | 974.258 | 98.9578 | 2.9374
2019-12-15 16:30:00 | 2.1373 | 41.1834 | 3.6837 | 38.9449 | 3.7307 | 40.3051 | 3.98 | 50.0642 | 2.283 | 973.961 | 99.2995 | 3.2773
2019-12-15 16:45:00 | 2.9033 | 40.8906 | 4.4507 | 36.1148 | 4.748 | 13.0772 | 4.9987 | 51.3084 | 2.508 | 973.961 | 99.5729 | 3.1554
2019-12-15 17:00:00 | 0 | 18.7375 | 3.428 | 22.9888 | 5.0023 | 316.731 | 4.9987 | 43.9159 | 2.577 | 973.961 | 99.7095 | 2.8081
2019-12-15 17:15:00 | 2.9033 | 24.2514 | 4.195 | 6.8863 | 4.748 | 351.718 | 4.744 | 38.5484 | 2.654 | 973.961 | 99.7437 | 2.2132
2019-12-15 17:30:00 | 1.116 | 22.7387 | 3.428 | 3.8122 | 3.222 | 15.0778 | 3.4707 | 36.1331 | 2.583 | 973.961 | 99.8462 | 1.1417
2019-12-15 17:45:00 | 2.3927 | 28.0086 | 2.661 | 9.0821 | 3.222 | 17.8591 | 3.216 | 34.0592 | 2.509 | 973.961 | 99.9146 | 0.90524
2019-12-15 18:00:00 | 1.6267 | 26.2276 | 2.9167 | 9.1797 | 3.222 | 40.549 | 2.9613 | 40.2075 | 2.485 | 973.663 | 99.8462 | 0.82026
2019-12-15 18:15:00 | 1.882 | 35.7183 | 2.4053 | 9.3749 | 2.9677 | 13.2236 | 3.4707 | 45.3798 | 2.364 | 973.663 | 100 | 1.1195
2019-12-15 18:30:00 | 1.3713 | 3.0497 | 1.894 | 16.0111 | 2.2047 | 8.1976 | 2.7067 | 24.8857 | 2.479 | 973.663 | 100 | 1.0493
2019-12-15 18:45:00 | 0.744 | 15.2242 | 0.75133 | 15.9867 | 0 | 0.097591 | 1.1787 | 24.7393 | 2.517 | 973.961 | 100 | 0.92741
2019-12-15 19:00:00 | 0.372 | 356.89 | 0 | 16.0843 | 0.311 | 6.8314 | 1.688 | 25.4956 | 2.517 | 973.961 | 99.9829 | 0.59857
2019-12-15 19:15:00 | 1.882 | 352.157 | 1.127 | 15.8647 | 0 | 340.69 | 0.924 | 25.2273 | 2.514 | 973.961 | 99.9829 | 0.60226
2019-12-15 19:30:00 | 1.116 | 12.7844 | 0 | 16.0599 | 1.4417 | 356.89 | 2.1973 | 51.528 | 2.434 | 973.961 | 100 | 0.53206
2019-12-15 19:45:00 | 0 | 121.745 | 0 | 16.499 | 1.1873 | 356.793 | 2.1973 | 82.7327 | 2.495 | 974.258 | 100 | 0.83873
2019-12-15 20:00:00 | 0 | 79.3415 | 0 | 16.6942 | 0 | 5.3675 | 1.1787 | 102.812 | 3.237 | 974.555 | 100 | 0.051728
2019-12-15 20:15:00 | 0 | 58.8469 | 0 | 78.3955 | 0 | 0.048795 | 0 | 87.929 | 3.256 | 974.406 | 99.8798 | 0.1441
2019-12-15 20:30:00 | 1.116 | 112.083 | 0 | 57.1455 | 0 | 16.2001 | 0.616 | 126.453 | 2.725 | 974.09 | 100 | 0.051728
2019-12-15 20:45:00 | 0 | 111.351 | 0 | 78.2253 | 2.9677 | 22.4459 | 3.98 | 104.666 | 2.885 | 974.109 | 100 | 0.45816
2019-12-15 21:00:00 | 0 | 103.617 | 2.9167 | 106.819 | 3.4763 | 58.5546 | 3.216 | 93.8093 | 3.325 | 974.098 | 99.9829 | 1.0678
2019-12-15 21:15:00 | 3.1587 | 100.713 | 4.962 | 133.948 | 4.748 | 135.577 | 5.508 | 102.372 | 3.609 | 973.959 | 100 | 1.4151
2019-12-15 21:30:00 | 2.9033 | 85.8228 | 2.9167 | 119.566 | 6.0197 | 116.073 | 5.7627 | 109.072 | 3.803 | 974.237 | 100 | 2.2317
2019-12-15 21:45:00 | 0.99933 | 110.609 | 4.962 | 101.489 | 4.748 | 232.805 | 4.9987 | 105.51 | 4.078 | 974.406 | 100 | 2.1763
2019-12-15 22:00:00 | 2.9033 | 103.077 | 3.1723 | 95.9827 | 3.4763 | 100.198 | 3.7253 | 111.347 | 4.119 | 974.555 | 100 | 1.308
2019-12-15 22:15:00 | 3.6693 | 105.538 | 3.428 | 96.9802 | 5.511 | 101.635 | 6.0173 | 115.199 | 4.077 | 974.555 | 100 | 1.6959
2019-12-15 22:30:00 | 2.648 | 97.7314 | 2.9167 | 89.7344 | 4.4937 | 122.738 | 4.744 | 107.27 | 4.061 | 974.555 | 99.9085 | 1.6405
2019-12-15 22:45:00 | 2.648 | 115.125 | 3.6837 | 95.6126 | 3.985 | 91.8753 | 4.2347 | 115.393 | 4.183 | 974.406 | 99.839 | 1.4188
2019-12-15 23:00:00 | 2.648 | 118.641 | 3.428 | 108.814 | 3.4763 | 115.103 | 3.98 | 130.766 | 4.277 | 974.258 | 99.4999 | 0.90154
2019-12-15 23:15:00 | 0.372 | 101.486 | 2.1497 | 124.373 | 4.748 | 77.4806 | 4.4893 | 112.708 | 4.255 | 974.258 | 99.496 | 1.5297
2019-12-15 23:30:00 | 2.1373 | 116.637 | 3.428 | 115.495 | 3.4763 | 134.641 | 3.4707 | 110.953 | 4.194 | 974.258 | 99.4971 | 1.1787
2019-12-15 23:45:00 | 2.648 | 105.389 | 3.6837 | 96.0982 | 3.7307 | 85.0915 | 3.98 | 106.413 | 4.222 | 974.258 | 99.5637 | 1.3449