## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-16 00:00:00 | 0.744 | 162.028 | 0.75133 | 113.267 | 2.7133 | 120.119 | 2.9613 | 122.314 | 4.325 | 973.961 | 99.5255 | 1.1971
2019-12-16 00:15:00 | 0.744 | 106.609 | 2.1497 | 93.5864 | 2.9677 | 112.659 | 3.7253 | 118.539 | 4.141 | 973.936 | 99.3595 | 0.45816
2019-12-16 00:30:00 | 2.1373 | 62.9887 | 0 | 101.903 | 0.622 | 45.2289 | 1.9427 | 65.9893 | 3.483 | 973.663 | 99.7337 | 0.12562
2019-12-16 00:45:00 | 2.1373 | 124.976 | 0.75133 | 99.6088 | 1.9503 | 76.6736 | 2.7067 | 119.877 | 3.434 | 973.366 | 99.9034 | 0.58748
2019-12-16 01:00:00 | 0 | 106.394 | 0 | 97.2502 | 2.7133 | 80.2161 | 2.9613 | 118.397 | 3.587 | 973.336 | 99.8417 | 0.7168
2019-12-16 01:15:00 | 0.372 | 111.171 | 2.661 | 111.2 | 4.4937 | 74.7486 | 4.4893 | 124.052 | 3.108 | 973.06 | 99.5989 | 0.95696
2019-12-16 01:30:00 | 1.6267 | 127.731 | 1.127 | 117.293 | 2.9677 | 92.7975 | 2.7067 | 111.167 | 3.616 | 973.366 | 100 | 0.84612
2019-12-16 01:45:00 | 0 | 96.7561 | 1.6383 | 70.3642 | 3.7307 | 82.5574 | 4.2347 | 102.343 | 3.677 | 973.214 | 100 | 1.1232
2019-12-16 02:00:00 | 2.1373 | 88.8973 | 3.428 | 83.7298 | 5.511 | 67.5268 | 5.508 | 103.144 | 3.707 | 973.069 | 100 | 2.7305
2019-12-16 02:15:00 | 2.9033 | 89.3149 | 4.195 | 87.4902 | 4.2393 | 97.9756 | 4.9987 | 104.197 | 4.222 | 972.92 | 100 | 2.5273
2019-12-16 02:30:00 | 5.2013 | 91.8511 | 4.962 | 107.128 | 7.8 | 101.268 | 8.0547 | 90.0702 | 4.482 | 972.771 | 100 | 3.2995
2019-12-16 02:45:00 | 2.1373 | 81.234 | 2.9167 | 85.0432 | 3.985 | 101.36 | 4.4893 | 93.0898 | 4.63 | 972.76 | 100 | 3.3327
2019-12-16 03:00:00 | 4.946 | 100.209 | 5.729 | 88.7713 | 5.511 | 83.3287 | 5.508 | 107.308 | 4.672 | 972.592 | 99.9662 | 3.4621
2019-12-16 03:15:00 | 1.882 | 107.806 | 1.6383 | 83.3673 | 3.7307 | 97.9526 | 3.98 | 130.197 | 4.803 | 972.386 | 100 | 1.8363
2019-12-16 03:30:00 | 3.414 | 108.826 | 2.9167 | 115.216 | 3.7307 | 93.8268 | 5.508 | 121.899 | 4.64 | 972.302 | 100 | 1.5851
2019-12-16 03:45:00 | 2.9033 | 104.923 | 3.1723 | 112.898 | 3.4763 | 117.362 | 3.98 | 103.606 | 4.867 | 971.942 | 99.949 | 0.99391
2019-12-16 04:00:00 | 1.6267 | 107.803 | 3.1723 | 121.095 | 3.7307 | 120.778 | 3.98 | 115.412 | 4.115 | 971.911 | 100 | 0.90154
2019-12-16 04:15:00 | 3.1587 | 125.192 | 1.894 | 107.143 | 2.7133 | 106.436 | 2.452 | 137.777 | 4.817 | 972.021 | 99.9837 | 0.60596
2019-12-16 04:30:00 | 1.116 | 116.095 | 2.4053 | 121.509 | 2.7133 | 84.9979 | 2.9613 | 117.534 | 4.679 | 971.802 | 100 | 0.45816
2019-12-16 04:45:00 | 2.648 | 116.606 | 2.9167 | 113.995 | 4.2393 | 93.7529 | 4.744 | 124.508 | 4.742 | 971.649 | 99.983 | 0.32884
2019-12-16 05:00:00 | 2.9033 | 97.3138 | 3.1723 | 105.996 | 3.4763 | 101.777 | 2.7067 | 140.946 | 5.025 | 971.346 | 99.983 | 0.80917
2019-12-16 05:15:00 | 1.116 | 125.02 | 2.9167 | 122.752 | 3.985 | 129.874 | 4.744 | 129.142 | 5.1 | 971.319 | 99.9832 | 0.73527
2019-12-16 05:30:00 | 1.3713 | 118.776 | 1.127 | 105.02 | 2.7133 | 97.3626 | 2.9613 | 129.313 | 5.076 | 970.991 | 100 | 0.10715
2019-12-16 05:45:00 | 1.6267 | 111.46 | 0.37567 | 124.117 | 2.7133 | 45.9497 | 2.9613 | 119.947 | 4.165 | 970.691 | 100 | 0.18105
2019-12-16 06:00:00 | 1.882 | 121.606 | 2.4053 | 113.8 | 2.459 | 97.3626 | 2.7067 | 130.166 | 4.853 | 970.711 | 100 | 0.51358
2019-12-16 06:15:00 | 2.3927 | 114.825 | 1.894 | 110.703 | 2.7133 | 127.215 | 3.216 | 101.85 | 5.307 | 970.698 | 100 | 1.5481
2019-12-16 06:30:00 | 3.1587 | 121.532 | 2.9167 | 140.799 | 3.985 | 119.142 | 3.7253 | 120.362 | 5.305 | 970.693 | 100 | 1.8622
2019-12-16 06:45:00 | 2.1373 | 116.191 | 3.1723 | 110.118 | 3.222 | 102.094 | 3.7253 | 116.752 | 5.371 | 970.691 | 99.983 | 0.58748
2019-12-16 07:00:00 | 1.6267 | 137.02 | 3.1723 | 137.873 | 3.985 | 130.532 | 3.98 | 147.897 | 5.31 | 970.543 | 100 | 1.2156
2019-12-16 07:15:00 | 1.882 | 108.655 | 1.6383 | 115.361 | 6.274 | 122.142 | 6.272 | 123.703 | 5.343 | 970.394 | 99.983 | 0.86459
2019-12-16 07:30:00 | 0.372 | 131.215 | 1.127 | 119.849 | 3.985 | 96.6309 | 4.4893 | 115.069 | 5.301 | 970.097 | 100 | 0.48772
2019-12-16 07:45:00 | 0 | 148.141 | 0 | 129.507 | 1.9503 | 98.5332 | 2.1973 | 143.995 | 5.011 | 970.394 | 99.8122 | -0.077592
2019-12-16 08:00:00 | 0.744 | 113.021 | 0 | 128.824 | 1.9503 | 94.9724 | 1.4333 | 128.044 | 3.458 | 970.097 | 100 | -0.26233
2019-12-16 08:15:00 | 1.116 | 113.021 | 0 | 128.849 | 0 | 94.8261 | 0 | 129.898 | 3.737 | 970.451 | 100 | -0.1404
2019-12-16 08:30:00 | 1.3713 | 327.57 | 2.4053 | 310.204 | 1.4417 | 330.667 | 1.1787 | 291.642 | 2.415 | 970.31 | 100 | 0.97913
2019-12-16 08:45:00 | 2.9033 | 88.4365 | 2.661 | 41.9665 | 3.985 | 31.4712 | 4.2347 | 112.272 | 2.355 | 969.799 | 100 | -0.26972
2019-12-16 09:00:00 | 3.414 | 188.041 | 0 | 131.399 | 1.696 | 299.163 | 1.9427 | 135.591 | 4.865 | 970.985 | 100 | 0.24755
2019-12-16 09:15:00 | 2.1373 | 3.3422 | 0 | 285.162 | 0 | 315.018 | 0 | 100.265 | 2.423 | 970.839 | 100 | 0.3547
2019-12-16 09:30:00 | 2.3927 | 20.5406 | 0.75133 | 288.183 | 0 | 355.778 | 0 | 99.7758 | 2.596 | 970.532 | 100 | -0.19952
2019-12-16 09:45:00 | 1.882 | 12.0032 | 0 | 287.936 | 0 | 354.436 | 0 | 99.7827 | 4.069 | 970.979 | 99.9788 | -0.048033
2019-12-16 10:00:00 | 0.744 | 12.1 | 0 | 287.94 | 0 | 354.706 | 0 | 100.02 | 4.618 | 971.28 | 100 | -0.25864
2019-12-16 10:15:00 | 0.744 | 106.03 | 0 | 287.99 | 0 | 354.784 | 0.308 | 100.956 | 4.546 | 971.285 | 100 | -0.19952
2019-12-16 10:30:00 | 5.712 | 303.164 | 4.962 | 288.482 | 3.222 | 305.701 | 2.9613 | 299.651 | 3.408 | 970.825 | 100 | 1.9693
2019-12-16 10:45:00 | 2.9033 | 332.858 | 2.4053 | 289.291 | 2.2047 | 331.833 | 2.452 | 335.981 | 1.9 | 970.243 | 100 | 1.8105
2019-12-16 11:00:00 | 2.9033 | 15.2717 | 2.1497 | 289.288 | 1.4417 | 338.123 | 1.9427 | 11.3196 | 2.028 | 970.245 | 100 | 1.5814
2019-12-16 11:15:00 | 1.882 | 9.4662 | 0.75133 | 289.311 | 1.696 | 348.103 | 1.9427 | 18.9324 | 1.993 | 969.929 | 99.9816 | 0.97544
2019-12-16 11:30:00 | 2.9033 | 32.4978 | 1.894 | 290.534 | 0 | 353.279 | 0 | 348.741 | 1.843 | 969.65 | 100 | 0.20322
2019-12-16 11:45:00 | 1.6267 | 32.5954 | 0 | 290.046 | 0 | 354.987 | 0 | 348.863 | 3.922 | 969.502 | 99.9829 | -0.15888
2019-12-16 12:00:00 | 2.1373 | 32.6916 | 0.75133 | 289.936 | 0 | 354.972 | 0 | 348.873 | 4.318 | 969.484 | 100 | -0.24755
2019-12-16 12:15:00 | 0 | 32.7865 | 0 | 289.91 | 0 | 354.894 | 0 | 348.844 | 4.393 | 969.353 | 100 | -0.27711
2019-12-16 12:30:00 | 2.1373 | 117.222 | 0 | 290.023 | 0 | 354.985 | 0 | 349.447 | 4.351 | 969.204 | 100 | -0.25125
2019-12-16 12:45:00 | 1.116 | 168.956 | 0 | 289.692 | 0 | 354.839 | 0 | 307.155 | 4.766 | 969.082 | 99.9891 | -0.29928
2019-12-16 13:00:00 | 1.3713 | 168.97 | 0 | 289.721 | 0 | 354.866 | 0 | 307.209 | 4.53 | 968.92 | 100 | -0.25125
2019-12-16 13:15:00 | 4.4353 | 205.627 | 2.1497 | 289.892 | 0 | 304.892 | 0.616 | 307.209 | 4.419 | 968.76 | 100 | -0.31037
2019-12-16 13:30:00 | 3.6693 | 308.038 | 5.2177 | 299.94 | 5.511 | 299.161 | 5.7627 | 321.209 | 1.773 | 968.017 | 100 | 6.2147
2019-12-16 13:45:00 | 3.1587 | 328.369 | 2.9167 | 325.249 | 2.9677 | 334.589 | 2.9613 | 324.564 | 1.834 | 967.781 | 100 | 5.7085
2019-12-16 14:00:00 | 3.1587 | 338.661 | 2.1497 | 335.201 | 0.311 | 323.731 | 1.4333 | 356.836 | 1.84 | 967.715 | 100 | 1.9915
2019-12-16 14:15:00 | 3.9247 | 26.3711 | 3.6837 | 34.4742 | 3.222 | 27.1029 | 3.216 | 31.3233 | 1.729 | 967.374 | 100 | 0.77592
2019-12-16 14:30:00 | 2.9033 | 7.2217 | 2.1497 | 9.0211 | 2.9677 | 328.293 | 2.7067 | 1.1711 | 1.726 | 967.569 | 100 | 7.1976
2019-12-16 14:45:00 | 2.648 | 331.905 | 3.9393 | 18.8289 | 3.7307 | 10.1006 | 3.98 | 330.442 | 1.757 | 967.421 | 99.9825 | 7.9033
2019-12-16 15:00:00 | 1.3713 | 356.89 | 1.127 | 336.89 | 4.4937 | 23.9098 | 4.4893 | 341.715 | 1.692 | 967.569 | 100 | 8.6275
2019-12-16 15:15:00 | 3.6693 | 2.7081 | 2.9167 | 7.2767 | 3.4763 | 331.053 | 3.4707 | 4.294 | 1.662 | 967.718 | 100 | 9.2888
2019-12-16 15:30:00 | 3.414 | 8.6856 | 3.428 | 5.8616 | 2.9677 | 23.1291 | 2.9613 | 7.3193 | 1.522 | 967.421 | 100 | 4.6666
2019-12-16 15:45:00 | 5.2013 | 353.06 | 4.195 | 24.3307 | 5.511 | 26.2764 | 5.508 | 339.251 | 1.482 | 967.421 | 100 | 5.4425
2019-12-16 16:00:00 | 3.9247 | 351.376 | 3.9393 | 1.1161 | 4.2393 | 5.1235 | 3.7253 | 2.3422 | 1.432 | 967.421 | 100 | 5.1617
2019-12-16 16:15:00 | 3.414 | 4.8796 | 4.7063 | 4.593 | 4.748 | 13.4432 | 5.508 | 0.19518 | 1.485 | 967.421 | 100 | 3.6172
2019-12-16 16:30:00 | 3.9247 | 354.655 | 3.9393 | 1.4218 | 4.4937 | 14.7122 | 4.744 | 39.2082 | 1.538 | 967.569 | 99.9856 | 2.1947
2019-12-16 16:45:00 | 3.6693 | 9.1736 | 3.6837 | 9.1799 | 3.985 | 24.8858 | 4.744 | 1.2687 | 1.607 | 967.569 | 100 | 1.0789
2019-12-16 17:00:00 | 3.414 | 348.699 | 3.1723 | 5.5693 | 3.4763 | 24.2518 | 3.216 | 310.272 | 1.615 | 967.569 | 99.9849 | 0.62443
2019-12-16 17:15:00 | 3.6693 | 352.402 | 2.9167 | 0.72571 | 5.0023 | 14.8339 | 4.9987 | 347.108 | 2.026 | 968.015 | 99.9833 | 1.8363
2019-12-16 17:30:00 | 2.648 | 329.955 | 4.4507 | 321.081 | 3.4763 | 324.612 | 3.7253 | 345.96 | 1.994 | 968.61 | 99.9829 | 4.589
2019-12-16 17:45:00 | 3.414 | 345.96 | 2.4053 | 13.803 | 4.4937 | 23.7878 | 4.9987 | 345.35 | 1.769 | 968.461 | 99.9829 | 3.6136
2019-12-16 18:00:00 | 1.882 | 0.097591 | 3.1723 | 8.7893 | 3.4763 | 20.5917 | 3.7253 | 342.886 | 1.621 | 968.61 | 100 | 3.983
2019-12-16 18:15:00 | 0 | 23.5194 | 0.75133 | 2.0676 | 4.4937 | 356.866 | 4.4893 | 343.13 | 1.572 | 968.61 | 100 | 2.9448
2019-12-16 18:30:00 | 1.116 | 20.3721 | 2.4053 | 17.6701 | 2.7133 | 320.904 | 3.7253 | 349.034 | 1.562 | 968.907 | 99.9829 | 3.7798
2019-12-16 18:45:00 | 2.3927 | 0.097593 | 1.2627 | 311.133 | 1.1873 | 307.564 | 1.1787 | 338.794 | 1.557 | 969.353 | 99.985 | 2.361
2019-12-16 19:00:00 | 1.6267 | 17.2248 | 1.894 | 11.7048 | 2.459 | 7.0266 | 2.9613 | 0.19518 | 1.548 | 969.502 | 100 | -0.066507
2019-12-16 19:15:00 | 1.6267 | 16.1026 | 2.661 | 15.938 | 2.2047 | 8.9296 | 2.7067 | 21.2261 | 1.498 | 969.353 | 99.9834 | -0.25125
2019-12-16 19:30:00 | 1.116 | 14.2483 | 1.6383 | 16.0111 | 1.9503 | 17.3712 | 2.1973 | 19.1034 | 1.484 | 969.65 | 100 | -0.20691
2019-12-16 19:45:00 | 0 | 17.9571 | 0 | 16.0117 | 0.622 | 18.8354 | 1.4333 | 19.1038 | 1.484 | 969.799 | 100 | -0.15518
2019-12-16 20:00:00 | 2.648 | 336.041 | 1.3827 | 15.2315 | 0.311 | 21.9587 | 1.688 | 3.489 | 1.461 | 969.799 | 100 | 0.32145
2019-12-16 20:15:00 | 2.9033 | 339.58 | 3.9393 | 323.874 | 3.7307 | 321.793 | 3.7253 | 335.09 | 1.456 | 969.799 | 99.9865 | 2.5753
2019-12-16 20:30:00 | 4.4353 | 331.039 | 4.4507 | 328.534 | 4.748 | 344.825 | 4.744 | 341.751 | 1.456 | 969.799 | 100 | 7.6225
2019-12-16 20:45:00 | 2.1373 | 353.995 | 2.661 | 4.4488 | 5.0023 | 7.5396 | 5.2533 | 344.625 | 1.423 | 969.799 | 99.992 | 10.704
2019-12-16 21:00:00 | 2.3927 | 339.175 | 3.1723 | 16.6327 | 2.459 | 14.7138 | 2.7067 | 319.459 | 1.353 | 970.096 | 99.9965 | 14.6796
2019-12-16 21:15:00 | 3.9247 | 185.347 | 1.894 | 10.1104 | 4.748 | 335.46 | 4.744 | 330.727 | 1.247 | 970.245 | 100 | 19.0358
2019-12-16 21:30:00 | 2.3927 | 4.8071 | 1.894 | 24.7033 | 4.2393 | 349.452 | 3.98 | 346.792 | 1.224 | 970.393 | 99.9978 | 14.857
2019-12-16 21:45:00 | 2.9033 | 0.31722 | 4.195 | 7.0184 | 5.0023 | 0.048803 | 4.2347 | 346.011 | 1.184 | 970.393 | 99.9981 | 14.7461
2019-12-16 22:00:00 | 3.414 | 316.385 | 4.962 | 319.176 | 3.4763 | 340.274 | 3.4707 | 312.896 | 1.165 | 970.693 | 100 | 14.4099
2019-12-16 22:15:00 | 3.9247 | 331.011 | 3.6837 | 313.183 | 3.7307 | 3.8799 | 3.98 | 306.096 | 1.014 | 970.84 | 100 | 16.5455
2019-12-16 22:30:00 | 3.1587 | 344.051 | 4.195 | 336.96 | 3.985 | 349.511 | 3.4707 | 338.604 | 0.915 | 970.844 | 100 | 17.6688
2019-12-16 22:45:00 | 2.648 | 339.973 | 5.2177 | 6.6717 | 3.985 | 3.5871 | 3.4707 | 323.551 | 0.794 | 971.029 | 100 | 20.2282
2019-12-16 23:00:00 | 3.414 | 353.271 | 4.962 | 327.219 | 3.4763 | 1.0494 | 3.4707 | 333.584 | 0.74 | 971.059 | 100 | 18.2599
2019-12-16 23:15:00 | 2.9033 | 8.2003 | 4.195 | 332.467 | 2.2047 | 342.898 | 2.9613 | 25.6015 | 0.679 | 971.102 | 100 | 18.6072
2019-12-16 23:30:00 | 0.372 | 340.119 | 0.37567 | 332.517 | 2.9677 | 10.6409 | 3.216 | 322.228 | 0.569 | 971.222 | 100 | 17.6022
2019-12-16 23:45:00 | 4.6907 | 347.25 | 5.2177 | 328.714 | 5.2567 | 356.548 | 5.2533 | 352.912 | 0.541 | 971.265 | 100 | 17.6614