## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-18 00:00:00 | 4.18 | 12.376 | 5.729 | 5.8749 | 6.274 | 5.9561 | 4.9987 | 16.9895 | -1.583 | 980.801 | 83.7265 | 8.258
2019-12-18 00:15:00 | 3.9247 | 7.1278 | 4.4507 | 4.0197 | 5.2567 | 12.6933 | 4.4893 | 14.2556 | -1.576 | 980.801 | 81.812 | 4.5521
2019-12-18 00:30:00 | 2.3927 | 14.9391 | 4.7063 | 4.1662 | 5.7653 | 3.6127 | 5.2533 | 21.9692 | -1.574 | 980.801 | 80.2051 | 3.2626
2019-12-18 00:45:00 | 2.3927 | 6.5419 | 3.9393 | 4.4591 | 4.4937 | 5.3459 | 3.98 | 14.7926 | -1.669 | 980.95 | 78.9402 | 2.579
2019-12-18 01:00:00 | 2.9033 | 12.6445 | 3.1723 | 5.8261 | 4.4937 | 10.3988 | 4.2347 | 19.1376 | -1.839 | 980.801 | 79.0427 | 2.01
2019-12-18 01:15:00 | 2.648 | 13.9138 | 2.9167 | 3.4338 | 4.748 | 16.1596 | 4.744 | 20.8952 | -1.791 | 980.801 | 77.4701 | 2.0211
2019-12-18 01:30:00 | 2.648 | 8.0066 | 3.6837 | 2.5551 | 2.9677 | 11.0334 | 3.216 | 13.7674 | -1.774 | 981.098 | 76.1026 | 2.9337
2019-12-18 01:45:00 | 2.9033 | 7.1766 | 4.195 | 1.4322 | 4.2393 | 4.223 | 3.7253 | 15.6226 | -2.046 | 980.95 | 77.0598 | 2.8561
2019-12-18 02:00:00 | 3.1587 | 18.503 | 4.195 | 5.0449 | 5.0023 | 12.5713 | 4.9987 | 24.8985 | -1.889 | 981.099 | 75.3504 | 2.6862
2019-12-18 02:15:00 | 2.648 | 23.5315 | 3.9393 | 5.8261 | 4.748 | 24.1173 | 4.744 | 28.4624 | -1.777 | 981.099 | 74.5299 | 2.5827
2019-12-18 02:30:00 | 2.9033 | 27.2418 | 4.195 | 7.2418 | 4.748 | 28.8529 | 4.9987 | 32.8562 | -1.504 | 981.396 | 67.282 | 2.2428
2019-12-18 02:45:00 | 3.414 | 28.1694 | 3.6837 | 4.8008 | 4.748 | 20.6999 | 4.9987 | 29.7317 | -1.404 | 981.396 | 65.5043 | 2.5162
2019-12-18 03:00:00 | 2.9033 | 27.9253 | 4.4507 | 6.7536 | 5.2567 | 15.3785 | 5.2533 | 32.905 | -1.335 | 981.398 | 65.2308 | 3.8352
2019-12-18 03:15:00 | 3.9247 | 25.0937 | 4.962 | 7.2418 | 5.0023 | 19.5282 | 5.2533 | 31.7822 | -1.487 | 981.545 | 65.7094 | 4.2934
2019-12-18 03:30:00 | 3.6693 | 29.5852 | 4.7063 | 7.6324 | 5.511 | 24.3126 | 5.2533 | 35.639 | -1.553 | 980.802 | 67.9658 | 4.2934
2019-12-18 03:45:00 | 2.648 | 33.7838 | 4.962 | 25.5984 | 5.511 | 47.5268 | 5.2533 | 34.5649 | -1.549 | 980.802 | 66.2564 | 4.9104
2019-12-18 04:00:00 | 3.1587 | 25.289 | 4.962 | 28.6252 | 5.0023 | 28.682 | 5.2533 | 29.3655 | -1.432 | 980.802 | 63.8632 | 3.8833
2019-12-18 04:15:00 | 2.3927 | 30.5128 | 3.428 | 30.1387 | 4.2393 | 35.8343 | 3.98 | 38.8611 | -1.508 | 980.802 | 58.4615 | 2.8524
2019-12-18 04:30:00 | 3.1587 | 28.2183 | 4.195 | 21.2045 | 4.748 | 24.8008 | 4.744 | 32.5145 | -1.351 | 980.802 | 55.8974 | 1.3745
2019-12-18 04:45:00 | 2.3927 | 10.3499 | 3.428 | 2.1157 | 4.2393 | 9.4224 | 3.98 | 18.7227 | -1.385 | 981.396 | 56.2051 | 0.26233
2019-12-18 05:00:00 | 2.1373 | 10.057 | 3.6837 | 0.21169 | 3.985 | 24.3614 | 3.7253 | 17.9659 | -1.852 | 980.802 | 67.2137 | 0.077592
2019-12-18 05:15:00 | 1.6267 | 15.0367 | 3.1723 | 2.3598 | 3.7307 | 10.6917 | 3.7253 | 26.9489 | -2.366 | 980.802 | 73.5385 | 0.18844
2019-12-18 05:30:00 | 2.3927 | 33.3932 | 2.9167 | 3.4338 | 2.9677 | 20.114 | 3.216 | 42.3274 | -2.286 | 980.802 | 68.5128 | 0.16257
2019-12-18 05:45:00 | 2.3927 | 29.097 | 2.9167 | 3.4827 | 3.4763 | 19.6258 | 3.7253 | 38.202 | -1.837 | 980.802 | 63.6581 | 0.17366
2019-12-18 06:00:00 | 2.3927 | 27.3395 | 2.9167 | 3.5315 | 2.7133 | 15.1832 | 2.7067 | 43.1573 | -1.609 | 980.805 | 56.547 | -0.040643
2019-12-18 06:15:00 | 1.882 | 25.9725 | 2.1497 | 3.385 | 1.9503 | 8.983 | 1.9427 | 40.3501 | -1.577 | 981.1 | 55.6581 | -0.22539
2019-12-18 06:30:00 | 1.6267 | 16.0619 | 2.661 | 3.385 | 2.9677 | 5.4679 | 2.9613 | 33.9791 | -1.775 | 981.101 | 63.2479 | -0.28081
2019-12-18 06:45:00 | 1.882 | 34.8823 | 2.661 | 3.385 | 2.7133 | 11.0578 | 2.9613 | 47.1118 | -1.802 | 981.248 | 59.8974 | -0.218
2019-12-18 07:00:00 | 1.882 | 36.591 | 2.1497 | 3.4094 | 2.7133 | 17.2825 | 2.9613 | 42.962 | -2.028 | 981.1 | 60.1026 | -0.11454
2019-12-18 07:15:00 | 1.3713 | 37.0548 | 2.4053 | 3.4338 | 3.222 | 4.3938 | 3.216 | 52.0182 | -1.687 | 981.404 | 57.1282 | -0.0036948
2019-12-18 07:30:00 | 1.116 | 37.25 | 2.661 | 3.4827 | 3.222 | 14.9391 | 3.216 | 46.648 | -1.531 | 981.398 | 54.2222 | -0.10346
2019-12-18 07:45:00 | 1.116 | 36.7618 | 2.1497 | 3.5315 | 2.9677 | 4.1497 | 2.9613 | 44.5243 | -1.393 | 981.991 | 53.5385 | -0.1404
2019-12-18 08:00:00 | 1.882 | 49.5528 | 2.1497 | 3.5315 | 2.7133 | 48.674 | 2.9613 | 55.7286 | -0.945 | 982.437 | 53.4017 | -0.17735
2019-12-18 08:15:00 | 1.3713 | 60.9931 | 1.6383 | 3.5284 | 2.9677 | 37.0987 | 2.9613 | 64.3369 | -0.446 | 983.181 | 53.463 | -0.19583
2019-12-18 08:30:00 | 1.882 | 55.6215 | 1.3827 | 3.6007 | 1.9503 | 72.1932 | 2.1973 | 73.1206 | -0.131 | 983.478 | 51.5126 | -0.15888
2019-12-18 08:45:00 | 1.6267 | 47.4788 | 1.894 | 3.715 | 2.459 | 32.6447 | 2.452 | 57.5309 | 0.096 | 983.479 | 52.3501 | -0.19583
2019-12-18 09:00:00 | 1.882 | 49.0383 | 2.4053 | 3.6653 | 2.9677 | 32.1067 | 2.9613 | 55.4304 | -0.444 | 983.474 | 53.6465 | -0.15888
2019-12-18 09:15:00 | 2.3927 | 36.9124 | 4.7063 | 29.0864 | 5.511 | 8.0022 | 5.508 | 46.7687 | -0.058 | 983.473 | 51.3221 | -0.12193
2019-12-18 09:30:00 | 1.6267 | 7.9045 | 1.894 | 20.4497 | 2.7133 | 10.4418 | 2.7067 | 28.9101 | -0.071 | 983.755 | 51.4927 | -0.25125
2019-12-18 09:45:00 | 0.744 | 28.0301 | 1.6383 | 24.936 | 2.459 | 25.859 | 2.1973 | 35.983 | 0.263 | 984.066 | 56.2389 | -0.2882
2019-12-18 10:00:00 | 0 | 23.3218 | 1.3827 | 24.204 | 3.4763 | 351.583 | 3.4707 | 40.8863 | 0.729 | 984.038 | 59.0745 | -0.31776
2019-12-18 10:15:00 | 1.116 | 15.2678 | 1.3827 | 21.9011 | 1.9503 | 354.671 | 1.9427 | 40.9987 | 1.522 | 984.364 | 46.0462 | -0.28081
2019-12-18 10:30:00 | 1.882 | 340.633 | 1.6383 | 311.902 | 2.2047 | 338.462 | 1.688 | 24.6811 | 1.498 | 984.361 | 62.8497 | -0.26972
2019-12-18 10:45:00 | 1.882 | 327.049 | 2.4053 | 308.024 | 1.696 | 282.236 | 1.4333 | 331.535 | 0.672 | 984.064 | 66.8603 | -0.26233
2019-12-18 11:00:00 | 1.882 | 28.9891 | 2.4053 | 331.965 | 2.7133 | 317.637 | 1.9427 | 22.0405 | 1.489 | 983.767 | 66.7236 | -0.26972
2019-12-18 11:15:00 | 0.372 | 34.5236 | 2.4053 | 22.2768 | 0.622 | 286.673 | 0 | 25.1613 | 1.482 | 983.753 | 61.6357 | -0.26233
2019-12-18 11:30:00 | 0 | 35.2551 | 1.6383 | 11.5004 | 0.933 | 16.506 | 0.924 | 28.8428 | 0.802 | 983.15 | 55.7282 | -0.28081
2019-12-18 11:45:00 | 1.6267 | 39.3023 | 1.6383 | 11.6467 | 1.4417 | 10.7277 | 1.1787 | 25.6001 | 1.366 | 983.172 | 51.972 | -0.28081
2019-12-18 12:00:00 | 2.9033 | 28.6478 | 2.661 | 4.0885 | 2.2047 | 23.8447 | 2.1973 | 34.7187 | 1.627 | 982.875 | 51.1525 | -0.26972
2019-12-18 12:15:00 | 2.1373 | 6.2416 | 2.4053 | 0.98275 | 1.696 | 6.4366 | 1.9427 | 28.4771 | 1.982 | 982.578 | 50.811 | -0.29928
2019-12-18 12:30:00 | 2.648 | 16.2866 | 2.661 | 1.6653 | 2.7133 | 355.868 | 2.452 | 23.8936 | 2.072 | 982.578 | 50.1966 | -0.29928
2019-12-18 12:45:00 | 0.744 | 10.6302 | 2.4053 | 10.4033 | 2.459 | 290.574 | 1.688 | 19.895 | 2.354 | 982.578 | 49.5135 | -0.29928
2019-12-18 13:00:00 | 1.6267 | 28.916 | 1.6383 | 20.7164 | 1.696 | 333.289 | 1.9427 | 27.7944 | 3.204 | 982.46 | 46.9182 | -0.26972
2019-12-18 13:15:00 | 2.3927 | 301.765 | 3.1723 | 290.859 | 2.2047 | 316.954 | 1.9427 | 18.6515 | 3.289 | 982.277 | 53.3379 | -0.24016
2019-12-18 13:30:00 | 1.116 | 4.291 | 1.007 | 14.9863 | 1.4417 | 310.659 | 1.4333 | 34.0355 | 3.065 | 981.98 | 50.1615 | -0.28081
2019-12-18 13:45:00 | 3.1587 | 348.747 | 3.6837 | 318.995 | 2.9677 | 291.671 | 2.7067 | 0.78019 | 2.836 | 981.683 | 54.6355 | -0.22169
2019-12-18 14:00:00 | 3.1587 | 348.747 | 3.6837 | 318.995 | 2.9677 | 291.671 | 2.7067 | 0.78019 | 2.836 | 981.683 | 54.6355 | -0.22169
2019-12-18 14:15:00 | 3.1587 | 348.747 | 3.6837 | 318.995 | 2.9677 | 291.671 | 2.7067 | 0.78019 | 2.836 | 981.683 | 54.6355 | -0.22169
2019-12-18 14:30:00 | 1.116 | 4.5852 | 1.3827 | 326.086 | 0.933 | 334.623 | 0.924 | 356.817 | 2.084 | 980.349 | 57.3185 | -0.27711
2019-12-18 14:45:00 | 1.116 | 4.5852 | 1.3827 | 326.086 | 0.933 | 334.623 | 0.924 | 356.817 | 2.084 | 980.349 | 57.3185 | -0.27711
2019-12-18 15:00:00 | 1.116 | 4.5852 | 1.3827 | 326.086 | 0.933 | 334.623 | 0.924 | 356.817 | 2.084 | 980.349 | 57.3185 | -0.27711
2019-12-18 15:15:00 | 1.116 | 324.965 | 2.661 | 289.989 | 1.696 | 291.746 | 1.9427 | 336.793 | 2.136 | 980.646 | 57.3868 | -0.25864
2019-12-18 15:30:00 | 1.6267 | 352.329 | 2.4053 | 324.281 | 0.622 | 302.429 | 0.616 | 338.476 | 1.987 | 980.795 | 56.8403 | -0.2882
2019-12-18 15:45:00 | 1.6267 | 315.258 | 1.6383 | 304.867 | 0.933 | 311.258 | 0.924 | 323.355 | 1.938 | 980.424 | 56.9086 | -0.24016
2019-12-18 16:00:00 | 0.372 | 315.326 | 1.127 | 304.913 | 0.311 | 325.67 | 0.924 | 323.45 | 1.656 | 980.303 | 57.6385 | -0.25864
2019-12-18 16:15:00 | 1.882 | 9.2704 | 1.6383 | 305.074 | 1.4417 | 344.81 | 1.1787 | 326.855 | 1.514 | 980.055 | 58.2902 | -0.25864
2019-12-18 16:30:00 | 1.3713 | 9.271 | 1.3827 | 305.073 | 0.933 | 334.783 | 0.616 | 326.879 | 1.299 | 979.905 | 57.6452 | -0.25125
2019-12-18 16:45:00 | 1.116 | 9.2711 | 1.3827 | 305.075 | 0.311 | 2.4886 | 0 | 326.881 | 1.279 | 979.906 | 56.1421 | -0.29928
2019-12-18 17:00:00 | 0.372 | 83.6355 | 1.127 | 305.051 | 0 | 15.4194 | 0 | 44.0623 | 1.216 | 979.609 | 56.4497 | -0.25125
2019-12-18 17:15:00 | 0 | 142.625 | 1.127 | 304.83 | 1.4417 | 38.554 | 1.4333 | 175.469 | 1.219 | 979.312 | 56.5262 | -0.26972
2019-12-18 17:30:00 | 0 | 156.586 | 0.75133 | 304.985 | 1.696 | 38.5608 | 1.9427 | 174.207 | 1.19 | 979.452 | 57.4933 | -0.29928
2019-12-18 17:45:00 | 1.3713 | 161.617 | 1.3827 | 228.698 | 1.9503 | 90.1073 | 1.9427 | 162.398 | 1.215 | 979.597 | 57.4261 | -0.26972
2019-12-18 18:00:00 | 2.3927 | 176.651 | 2.9167 | 159.677 | 2.459 | 166.01 | 2.452 | 188.268 | 1.152 | 979.611 | 60.3655 | -0.2882
2019-12-18 18:15:00 | 1.116 | 183.29 | 1.894 | 165.852 | 2.2047 | 168.353 | 2.452 | 193.052 | 0.981 | 979.611 | 60.8443 | -0.19583
2019-12-18 18:30:00 | 2.3927 | 174.381 | 2.1497 | 173.247 | 2.9677 | 171.379 | 2.9613 | 192.027 | 0.912 | 979.611 | 61.6304 | -0.13301
2019-12-18 18:45:00 | 3.6693 | 149.951 | 3.6837 | 149.622 | 3.7307 | 155.979 | 3.4707 | 160.055 | 0.768 | 979.611 | 62.485 | 0.014779
2019-12-18 19:00:00 | 3.414 | 159.372 | 3.9393 | 151.916 | 3.7307 | 157.126 | 3.98 | 176.261 | 0.513 | 979.611 | 66.2451 | 0.76483
2019-12-18 19:15:00 | 3.6693 | 173.551 | 4.4507 | 164.949 | 3.985 | 167.596 | 3.98 | 182.191 | 0.455 | 979.611 | 66.5868 | 0.60596
2019-12-18 19:30:00 | 3.1587 | 191.929 | 3.9393 | 172.417 | 3.985 | 181.923 | 3.7253 | 197.958 | 0.337 | 979.76 | 68.1593 | 0.97913
2019-12-18 19:45:00 | 2.9033 | 192.198 | 3.9393 | 172.466 | 3.7307 | 167.426 | 3.4707 | 200.911 | 0.309 | 979.909 | 67.3389 | 0.83873
2019-12-18 20:00:00 | 3.1587 | 190.221 | 2.9167 | 184.181 | 3.222 | 189.733 | 3.4707 | 202.424 | 0.402 | 980.206 | 65.0145 | 0.5764
2019-12-18 20:15:00 | 2.1373 | 171.868 | 2.4053 | 173.54 | 2.9677 | 164.643 | 2.9613 | 193.784 | 0.275 | 979.909 | 68.3644 | 0.54684
2019-12-18 20:30:00 | 1.882 | 182.191 | 3.1723 | 168.854 | 3.222 | 162.178 | 3.216 | 189.806 | 0.242 | 979.909 | 67.6124 | 0.56162
2019-12-18 20:45:00 | 1.882 | 188.635 | 2.4053 | 174.541 | 3.7307 | 175.48 | 3.98 | 192.588 | 0.28 | 979.909 | 66.6553 | 0.90524
2019-12-18 21:00:00 | 2.3927 | 191.49 | 3.1723 | 181.057 | 3.7307 | 181.581 | 3.7253 | 192.466 | 0.279 | 979.611 | 65.9716 | 0.7131
2019-12-18 21:15:00 | 2.3927 | 182.484 | 3.1723 | 168.586 | 4.2393 | 169.037 | 4.2347 | 185.242 | 0.215 | 979.76 | 67.6465 | 0.56901
2019-12-18 21:30:00 | 1.882 | 205.939 | 2.4053 | 165.73 | 2.459 | 199.202 | 2.452 | 201.741 | 0.187 | 979.611 | 66.9971 | -0.022169
2019-12-18 21:45:00 | 1.882 | 184.583 | 2.4053 | 165.145 | 2.2047 | 166.986 | 2.1973 | 184.754 | 0.191 | 979.611 | 67.2022 | -0.0036948
2019-12-18 22:00:00 | 1.882 | 179.092 | 2.1497 | 169.245 | 2.9677 | 154.686 | 2.9613 | 186.804 | 0.051 | 979.611 | 66.9971 | 0.1441
2019-12-18 22:15:00 | 2.9033 | 179.726 | 3.6837 | 164.656 | 4.2393 | 170.989 | 4.2347 | 184.974 | 0.028 | 979.611 | 65.6298 | 0.38426
2019-12-18 22:30:00 | 3.6693 | 173.845 | 3.6837 | 164.949 | 5.2567 | 164.839 | 5.508 | 186.999 | 0.192 | 979.611 | 64.5018 | 1.2156
2019-12-18 22:45:00 | 5.4567 | 171.965 | 5.9847 | 161.532 | 5.511 | 168.475 | 5.7627 | 178.872 | 0.391 | 979.611 | 63.3054 | 2.5753
2019-12-18 23:00:00 | 5.712 | 165.01 | 5.2177 | 163.778 | 3.985 | 172.234 | 3.98 | 173.82 | 0.546 | 979.611 | 61.1178 | 6.5953
2019-12-18 23:15:00 | 4.4353 | 163.399 | 4.962 | 158.36 | 5.511 | 153.563 | 5.2533 | 176.358 | 0.449 | 979.611 | 60.9127 | 7.2567
2019-12-18 23:30:00 | 5.9673 | 172.087 | 5.9847 | 159.604 | 5.7653 | 160.519 | 5.7627 | 176.065 | 0.354 | 979.611 | 61.2203 | 10.534
2019-12-18 23:45:00 | 6.2227 | 180.873 | 7.5187 | 169.733 | 6.7827 | 164.79 | 7.036 | 184.559 | 0.435 | 979.314 | 60.9127 | 13.0465