## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-19 00:00:00 | 5.4567 | 160.055 | 4.7063 | 165.681 | 6.5283 | 158.932 | 6.272 | 173.405 | 0.133 | 979.165 | 62.2116 | 11.3469
2019-12-19 00:15:00 | 5.9673 | 173.015 | 6.7517 | 159.995 | 6.5283 | 156.98 | 6.5267 | 185.242 | 0.193 | 979.017 | 61.5963 | 11.9122
2019-12-19 00:30:00 | 6.9887 | 159.518 | 5.4733 | 150.794 | 6.0197 | 152.172 | 6.272 | 183.607 | 0.276 | 978.719 | 61.2545 | 11.0032
2019-12-19 00:45:00 | 5.712 | 172.527 | 5.729 | 162.362 | 5.0023 | 159.176 | 5.508 | 184.071 | 0.379 | 978.719 | 61.2545 | 10.9737
2019-12-19 01:00:00 | 4.18 | 181.484 | 4.7063 | 160.41 | 4.748 | 151.83 | 4.9987 | 189.294 | 0.194 | 978.422 | 62.4167 | 10.1793
2019-12-19 01:15:00 | 5.2013 | 167.889 | 5.2177 | 156.846 | 5.2567 | 154.393 | 5.508 | 185.169 | 0.138 | 978.422 | 63.5105 | 11.1769
2019-12-19 01:30:00 | 5.712 | 156.345 | 5.729 | 171.515 | 6.5283 | 164.863 | 6.272 | 173.747 | -0.038 | 978.422 | 63.8865 | 11.8087
2019-12-19 01:45:00 | 5.2013 | 172.283 | 5.729 | 170.636 | 6.274 | 170.013 | 6.7813 | 173.82 | -0.143 | 978.571 | 65.4931 | 11.9972
2019-12-19 02:00:00 | 4.946 | 174.772 | 5.2177 | 156.944 | 6.5283 | 156.15 | 7.036 | 186.218 | -0.153 | 978.719 | 66.1084 | 10.6596
2019-12-19 02:15:00 | 4.946 | 157.151 | 6.2403 | 160.117 | 6.0197 | 151.171 | 6.0173 | 180.141 | -0.269 | 978.422 | 65.8349 | 12.7103
2019-12-19 02:30:00 | 5.712 | 165.717 | 6.2403 | 145.717 | 6.5283 | 152.343 | 7.036 | 183.924 | -0.106 | 978.422 | 65.9716 | 16.3903
2019-12-19 02:45:00 | 5.2013 | 160.299 | 5.9847 | 153.332 | 6.274 | 158.298 | 5.7627 | 179.019 | -0.394 | 978.422 | 66.5185 | 16.5455
2019-12-19 03:00:00 | 6.7333 | 158.444 | 6.496 | 153.698 | 6.5283 | 156.858 | 6.7813 | 175.626 | -0.383 | 978.273 | 66.2451 | 16.4864
2019-12-19 03:15:00 | 5.712 | 156.882 | 5.729 | 155.382 | 6.0197 | 157.736 | 7.2907 | 166.742 | -0.382 | 978.125 | 66.5869 | 14.3397
2019-12-19 03:30:00 | 6.478 | 180.167 | 7.0073 | 157.336 | 6.7827 | 144.729 | 7.036 | 178.507 | -0.382 | 977.678 | 67.4078 | 15.6292
2019-12-19 03:45:00 | 5.4567 | 168.793 | 5.4733 | 159.385 | 6.0197 | 156.248 | 6.0173 | 184.73 | -0.393 | 977.827 | 66.4503 | 12.9948
2019-12-19 04:00:00 | 5.712 | 173.384 | 5.729 | 164.757 | 5.2567 | 161.596 | 5.7627 | 186.222 | -0.341 | 977.678 | 65.7335 | 13.4788
2019-12-19 04:15:00 | 6.478 | 159.496 | 6.7517 | 153.408 | 5.2567 | 154.346 | 5.2533 | 188.637 | -0.209 | 977.827 | 65.6308 | 14.6833
2019-12-19 04:30:00 | 6.7333 | 183.586 | 7.0073 | 166.442 | 6.5283 | 168.967 | 7.036 | 180.535 | -0.028 | 977.53 | 64.127 | 18.84
2019-12-19 04:45:00 | 6.2227 | 177.725 | 6.7517 | 158.799 | 6.7827 | 165.498 | 7.036 | 182.948 | -0.019 | 977.678 | 64.9804 | 19.6418
2019-12-19 05:00:00 | 7.244 | 159.494 | 7.263 | 156.017 | 6.5283 | 169.012 | 4.9987 | 183.192 | -0.267 | 977.53 | 66.416 | 17.0887
2019-12-19 05:15:00 | 4.946 | 177.432 | 6.2403 | 163.827 | 6.5283 | 151.196 | 7.036 | 169.378 | -0.386 | 977.53 | 67.2022 | 15.2302
2019-12-19 05:30:00 | 3.9247 | 156.956 | 4.962 | 143.57 | 5.511 | 157.517 | 5.2533 | 170.745 | -0.741 | 977.232 | 68.5011 | 12.3851
2019-12-19 05:45:00 | 1.882 | 158.42 | 3.1723 | 146.108 | 4.748 | 142.581 | 4.9987 | 174.406 | -0.922 | 977.232 | 69.766 | 11.2286
2019-12-19 06:00:00 | 2.648 | 160.565 | 5.4733 | 154.039 | 5.2567 | 154.536 | 5.2533 | 163.958 | -0.816 | 977.232 | 69.2967 | 11.6979
2019-12-19 06:15:00 | 3.414 | 170.725 | 4.7063 | 163.614 | 4.4937 | 172.312 | 4.744 | 175.558 | -0.856 | 977.232 | 69.8803 | 11.8383
2019-12-19 06:30:00 | 3.414 | 166.307 | 3.9393 | 145.062 | 4.4937 | 148.61 | 4.4893 | 165.746 | -0.819 | 977.232 | 69.5043 | 12.496
2019-12-19 06:45:00 | 2.9033 | 154.468 | 4.4507 | 145.233 | 3.985 | 145.241 | 3.7253 | 161.083 | -0.752 | 977.381 | 70.6325 | 11.9344
2019-12-19 07:00:00 | 2.1373 | 163.353 | 3.9393 | 134.322 | 3.985 | 202.459 | 4.2347 | 165.111 | -0.944 | 977.827 | 71.2478 | 14.5392
2019-12-19 07:15:00 | 5.9673 | 161.059 | 7.5187 | 155.851 | 7.037 | 145.168 | 7.036 | 172.532 | -0.957 | 977.678 | 72.3761 | 19.8302
2019-12-19 07:30:00 | 4.6907 | 180.196 | 5.2177 | 153.85 | 5.7653 | 152.174 | 6.0173 | 174.802 | -0.796 | 978.125 | 71.3162 | 16.0245
2019-12-19 07:45:00 | 3.1587 | 172.825 | 4.7063 | 157.194 | 6.5283 | 170.725 | 6.5267 | 175.607 | -0.75 | 978.422 | 73.2308 | 11.9085
2019-12-19 08:00:00 | 2.9033 | 172.118 | 3.1723 | 159.977 | 3.4763 | 166.748 | 3.4707 | 184.858 | -0.69 | 978.422 | 72.332 | 8.7125
2019-12-19 08:15:00 | 5.4567 | 156.345 | 5.2177 | 149.33 | 5.0023 | 157.175 | 4.744 | 163.082 | -0.425 | 978.719 | 73.2867 | 14.1476
2019-12-19 08:30:00 | 6.2227 | 161.542 | 5.9847 | 158.113 | 6.274 | 156.441 | 5.7627 | 174.55 | -0.3 | 979.017 | 71.5082 | 15.9174
2019-12-19 08:45:00 | 5.2013 | 161.859 | 5.9847 | 151.524 | 6.0197 | 156.734 | 6.272 | 178.626 | -0.347 | 979.017 | 73.2173 | 11.3025
2019-12-19 09:00:00 | 5.2013 | 166.498 | 5.4733 | 160.214 | 5.2567 | 146.436 | 5.2533 | 182.704 | -0.232 | 979.314 | 72.4662 | 13.2682
2019-12-19 09:15:00 | 4.4353 | 164.248 | 4.7063 | 148.739 | 4.4937 | 161.076 | 4.4893 | 172.449 | -0.012 | 979.544 | 71.5072 | 9.4255
2019-12-19 09:30:00 | 2.9033 | 164.127 | 4.7063 | 157.741 | 4.748 | 173.813 | 4.9987 | 174.277 | 0.236 | 979.911 | 71.0078 | 8.1397
2019-12-19 09:45:00 | 5.2013 | 165.636 | 5.4733 | 153.81 | 3.4763 | 161.781 | 3.4707 | 170.491 | 0.559 | 980.204 | 71.348 | 6.78
2019-12-19 10:00:00 | 4.946 | 174.383 | 4.962 | 165.288 | 4.4937 | 166.82 | 4.4893 | 180.482 | 0.746 | 980.047 | 70.318 | 7.2678
2019-12-19 10:15:00 | 4.18 | 182.405 | 3.9393 | 161.6 | 4.748 | 163.669 | 4.744 | 197.921 | 1.227 | 980.35 | 69.1548 | 8.0215
2019-12-19 10:30:00 | 5.4567 | 172.926 | 4.7063 | 159.804 | 3.985 | 158.585 | 3.7253 | 161.072 | 1.346 | 980.306 | 70.1643 | 8.1767
2019-12-19 10:45:00 | 6.2227 | 168.019 | 3.1723 | 140.19 | 5.511 | 138.044 | 4.9987 | 194.628 | 1.547 | 980.351 | 70.2989 | 4.8365
2019-12-19 11:00:00 | 4.4353 | 160.97 | 3.1723 | 158.872 | 3.7307 | 156.629 | 3.7253 | 171.702 | 1.999 | 980.201 | 68.4543 | 4.7996
2019-12-19 11:15:00 | 2.1373 | 140.995 | 3.428 | 124.434 | 3.222 | 146.288 | 3.7253 | 130.288 | 2.098 | 980.349 | 67.3613 | 2.6677
2019-12-19 11:30:00 | 2.3927 | 130.698 | 3.428 | 140.739 | 2.459 | 140.647 | 3.216 | 147.767 | 2.706 | 980.795 | 65.8435 | 0.66138
2019-12-19 11:45:00 | 3.414 | 213.286 | 3.428 | 179.389 | 2.9677 | 198.803 | 2.1973 | 215.675 | 3.12 | 980.201 | 63.4455 | -0.30667
2019-12-19 12:00:00 | 4.18 | 200.656 | 4.195 | 184.655 | 3.222 | 181.2 | 3.4707 | 210.092 | 3.06 | 980.126 | 64.1284 | -0.15888
2019-12-19 12:15:00 | 2.819 | 178.1 | 2.176 | 201.8 | 1.182 | 185.9 | 1.235 | 190.5 | 3.142 | 979.816 | 64.6065 | -0.26603
2019-12-19 12:30:00 | 3.092 | 179.9 | 2.414 | 188.9 | 1.5 | 176.1 | 1.56 | 192.2 | 3.45 | 979.926 | 63.7869 | -0.25125
2019-12-19 12:45:00 | 3.445 | 173.7 | 2.871 | 190.6 | 1.482 | 178.2 | 1.427 | 189.1 | 4.197 | 979.939 | 61.5674 | -0.26972
2019-12-19 13:00:00 | 2.068 | 262.6 | 1.59 | 272.4 | 0.57 | 255.3 | 0.563 | 250.5 | 3.86 | 979.903 | 61.8747 | -0.28081
2019-12-19 13:15:00 | 2.949 | 191.4 | 2.937 | 193.5 | 2.016 | 172.9 | 1.922 | 208.1 | 4.126 | 979.901 | 60.8161 | -0.26972
2019-12-19 13:30:00 | 1.341 | 311.2 | 1.455 | 309.6 | 1.454 | 267.8 | 1.337 | 303.4 | 4.4 | 980.347 | 59.5185 | -0.26972
2019-12-19 13:45:00 | 2.716 | 289.5 | 2.835 | 299.5 | 2.459 | 278.4 | 2.391 | 297.3 | 4.047 | 980.495 | 61.6015 | -0.25864
2019-12-19 14:00:00 | 2.847 | 304.7 | 3.16 | 313.1 | 2.361 | 289.2 | 2.403 | 306.1 | 3.793 | 980.049 | 64.265 | -0.28081
2019-12-19 14:15:00 | 2.495 | 324.5 | 2.942 | 323.6 | 2.358 | 305.7 | 2.38 | 321.8 | 4.02 | 979.924 | 64.1967 | -0.21061
2019-12-19 14:30:00 | 2.176 | 332.7 | 2.565 | 349.1 | 2.543 | 339 | 2.679 | 326.4 | 3.644 | 980.109 | 65.6992 | -0.2845
2019-12-19 14:45:00 | 2.801 | 2.363 | 2.798 | 0.439 | 2.672 | 319.5 | 2.613 | 1.216 | 3.532 | 979.872 | 70.8213 | -0.25494
2019-12-19 15:00:00 | 2.092 | 21.33 | 2.98 | 30.82 | 3.321 | 356.5 | 3.262 | 11 | 3.513 | 980.201 | 74.7823 | -0.073897
2019-12-19 15:15:00 | 1.729 | 17.9 | 2.871 | 27.13 | 2.716 | 349.6 | 2.453 | 10.41 | 3.015 | 980.052 | 76.1573 | -0.033254
2019-12-19 15:30:00 | 3.031 | 10.72 | 3.645 | 25.46 | 3.225 | 17.75 | 3.331 | 357.6 | 2.299 | 979.606 | 77.9497 | 0.75005
2019-12-19 15:45:00 | 3.644 | 357.8 | 3.318 | 30.93 | 3.375 | 28.67 | 3.448 | 345.2 | 2.017 | 979.309 | 80.2049 | 4.4153
2019-12-19 16:00:00 | 2.817 | 5.477 | 3.285 | 19.45 | 3.008 | 8.1 | 3.135 | 354.7 | 1.747 | 979.161 | 82.801 | 4.4006
2019-12-19 16:15:00 | 2.6 | 345.3 | 3.096 | 9.39 | 3.326 | 10.73 | 3.359 | 343 | 1.551 | 979.432 | 83.0219 | 5.0582
2019-12-19 16:30:00 | 3.289 | 349.4 | 3.615 | 11.82 | 4.331 | 10.1 | 4.395 | 347.8 | 1.317 | 979.296 | 84.1875 | 9.3184
2019-12-19 16:45:00 | 3.394 | 357.6 | 4.024 | 14.8 | 4.466 | 8.04 | 4.65 | 358.1 | 1.06 | 979.16 | 84.982 | 13.7633
2019-12-19 17:00:00 | 4.371 | 357.9 | 4.947 | 11.42 | 6.017 | 9.32 | 6.29 | 357.1 | 0.985 | 979.014 | 84.8112 | 16.1206
2019-12-19 17:15:00 | 4.218 | 353.6 | 4.826 | 8.55 | 5.74 | 5.286 | 5.872 | 355.6 | 0.722 | 979.163 | 85.508 | 18.5814
2019-12-19 17:30:00 | 4.795 | 8.91 | 4.888 | 18.85 | 5.099 | 14.52 | 4.836 | 7.238 | 0.46 | 979.38 | 86.2754 | 19.8302
2019-12-19 17:45:00 | 4.726 | 10.78 | 6.757 | 25.98 | 6.477 | 12.57 | 5.849 | 15.73 | 0.207 | 979.611 | 86.0707 | 19.4201
2019-12-19 18:00:00 | 3.922 | 11.98 | 5.317 | 27.44 | 5.498 | 17.26 | 4.983 | 18.88 | 0.101 | 979.611 | 85.8657 | 14.7498
2019-12-19 18:15:00 | 4.096 | 18.11 | 5.223 | 31.24 | 5.234 | 18.62 | 5.149 | 22.79 | -0.054 | 979.611 | 85.6947 | 11.5021
2019-12-19 18:30:00 | 3.312 | 27.39 | 4.579 | 38.99 | 4.794 | 23.92 | 4.787 | 36.83 | -0.149 | 979.611 | 85.3529 | 10.05
2019-12-19 18:45:00 | 2.791 | 42.23 | 4.507 | 53.94 | 4.995 | 43.05 | 5.001 | 47.11 | -0.407 | 979.611 | 87.5064 | 10.353
2019-12-19 19:00:00 | 4.387 | 47.84 | 5.445 | 64.49 | 5.628 | 43.47 | 5.592 | 50.55 | 0.025 | 979.611 | 82.1056 | 9.9428
2019-12-19 19:15:00 | 2.329 | 28.12 | 5.174 | 38.42 | 5.313 | 3.877 | 5.236 | 37.27 | -0.063 | 979.611 | 82.6525 | 7.6262
2019-12-19 19:30:00 | 3.846 | 32.71 | 4.701 | 44.4 | 4.847 | 19.95 | 4.828 | 43.25 | 0.012 | 979.909 | 79.6445 | 4.0422
2019-12-19 19:45:00 | 2.431 | 34.98 | 3.264 | 43.08 | 3.23 | 27.37 | 3.145 | 41.57 | -0.044 | 980.206 | 79.918 | 3.3549
2019-12-19 20:00:00 | 2.99 | 41.7 | 3.206 | 54.64 | 3.415 | 26.25 | 3.468 | 46.6 | 0.011 | 980.206 | 80.4649 | 2.6344
2019-12-19 20:15:00 | 3.894 | 29.38 | 4.331 | 38.62 | 4.191 | 18.38 | 4.181 | 36.78 | -0.054 | 980.504 | 81.5587 | 3.2293
2019-12-19 20:30:00 | 3.307 | 13.82 | 4.07 | 34.35 | 3.82 | 11.89 | 3.914 | 22.53 | -0.305 | 980.801 | 82.2765 | 4.2786
2019-12-19 20:45:00 | 3.406 | 5.189 | 3.459 | 20.57 | 3.776 | 14.33 | 3.746 | 21.05 | -1.2 | 980.652 | 87.9849 | 6.7911
2019-12-19 21:00:00 | 3.475 | 5.979 | 4.602 | 15.53 | 3.98 | 0.402 | 3.555 | 12.84 | -1.529 | 980.801 | 81.9014 | 9.8837
2019-12-19 21:15:00 | 3.817 | 13.72 | 4.522 | 28.42 | 4.796 | 18.88 | 4.716 | 16.82 | -1.795 | 980.801 | 83.9293 | 7.6299
2019-12-19 21:30:00 | 3.927 | 13.77 | 4.571 | 24.94 | 4.336 | 17.08 | 4.232 | 23.28 | -1.714 | 980.801 | 80.5812 | 9.348
2019-12-19 21:45:00 | 4.142 | 22.38 | 4.717 | 37.7 | 4.959 | 17.11 | 4.991 | 28.8 | -1.75 | 980.801 | 83.1453 | 7.6668
2019-12-19 22:00:00 | 4.109 | 31.01 | 4.995 | 35.65 | 4.735 | 13.7 | 4.724 | 39.57 | -1.83 | 980.801 | 76.8889 | 5.7344
2019-12-19 22:15:00 | 3.674 | 30.66 | 4.668 | 44.98 | 4.916 | 11.9 | 4.851 | 35.85 | -1.557 | 980.801 | 77.1624 | 3.8722
2019-12-19 22:30:00 | 4.175 | 21.29 | 5.253 | 39.78 | 5.175 | 15.2 | 5.169 | 27.9 | -1.676 | 980.652 | 78.4274 | 4.1789
2019-12-19 22:45:00 | 4.047 | 20.92 | 4.967 | 39.89 | 5.811 | 20.22 | 5.801 | 28.75 | -1.873 | 980.355 | 77.8804 | 5.982
2019-12-19 23:00:00 | 3.899 | 31.49 | 5.021 | 42.37 | 5.478 | 20.14 | 5.671 | 37.03 | -2.014 | 980.057 | 78.0171 | 8.9859
2019-12-19 23:15:00 | 4.675 | 30.45 | 5.532 | 44.6 | 5.791 | 28.26 | 5.819 | 35.27 | -1.719 | 979.611 | 77.6069 | 12.7583
2019-12-19 23:30:00 | 4.453 | 32.38 | 5.151 | 45.42 | 6.241 | 25.6 | 6.29 | 37.21 | -1.306 | 979.76 | 76.171 | 12.2115
2019-12-19 23:45:00 | 3.577 | 35.22 | 4.417 | 57.48 | 4.99 | 36.81 | 5.047 | 37.14 | -1.248 | 979.764 | 72.3419 | 6.5583