## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-20 00:00:00 | 3.843 | 28.62 | 4.481 | 41.36 | 4.74 | 16.03 | 4.866 | 32 | -1.142 | 979.612 | 72.4787 | 5.4795
2019-12-20 00:15:00 | 3.881 | 26.22 | 4.195 | 37.59 | 4.125 | 18.17 | 4.199 | 36.27 | -1.543 | 979.612 | 69.812 | 4.2454
2019-12-20 00:30:00 | 3.687 | 28 | 4.185 | 36.13 | 4.598 | 14.07 | 4.726 | 36.72 | -1.83 | 979.612 | 68.3761 | 3.1923
2019-12-20 00:45:00 | 3.312 | 45.68 | 4.123 | 37.93 | 4.542 | 27.17 | 4.604 | 53.79 | -1.78 | 979.612 | 64.3761 | 1.707
2019-12-20 01:00:00 | 3.118 | 51.21 | 3.73 | 38.2 | 4.036 | 21.94 | 4.146 | 56.24 | -1.387 | 979.612 | 64.1026 | 1.0752
2019-12-20 01:15:00 | 2.883 | 44.26 | 3.696 | 55.35 | 3.932 | 17.97 | 3.998 | 54.29 | -1.44 | 979.612 | 65.7778 | 1.0641
2019-12-20 01:30:00 | 2.311 | 50.19 | 2.853 | 54.41 | 3.247 | 8.53 | 3.277 | 58.89 | -1.516 | 979.909 | 65.0257 | 0.25125
2019-12-20 01:45:00 | 2.181 | 55.85 | 2.727 | 72.33 | 2.007 | 8.91 | 2.126 | 61.66 | -1.343 | 979.909 | 65.4359 | 0.25125
2019-12-20 02:00:00 | 2.622 | 45.18 | 3.188 | 73.98 | 3.459 | 14.93 | 3.529 | 54.75 | -1.391 | 979.612 | 64.9573 | 0.58379
2019-12-20 02:15:00 | 2.965 | 51.9 | 3.712 | 74.07 | 3.362 | 28.52 | 3.331 | 58.77 | -1.676 | 979.315 | 65.4359 | 0.12932
2019-12-20 02:30:00 | 3.355 | 52.22 | 3.944 | 63.41 | 4.11 | 32.43 | 4.097 | 56.97 | -1.385 | 979.315 | 65.3675 | 0.41382
2019-12-20 02:45:00 | 2.939 | 68.32 | 2.143 | 82.6 | 2.167 | 60.64 | 2.228 | 73.82 | -0.932 | 979.315 | 60.2735 | -0.059118
2019-12-20 03:00:00 | 2.456 | 99.7 | 2.615 | 120.8 | 1.7 | 100 | 1.607 | 93.4 | -0.416 | 979.315 | 51.0769 | -0.32884
2019-12-20 03:15:00 | 1.209 | 101.4 | 1.934 | 127.4 | 2.764 | 134.7 | 2.826 | 100.5 | -0.19 | 979.166 | 54.2906 | 1.3264
2019-12-20 03:30:00 | 1.875 | 94.2 | 2.871 | 117.2 | 2.886 | 102.2 | 2.887 | 93.2 | 0.288 | 979.315 | 45.5385 | 2.7231
2019-12-20 03:45:00 | 0.216 | 101.1 | 2.525 | 122.4 | 3.611 | 119.8 | 3.743 | 104.2 | -0.272 | 979.017 | 48.547 | 4.1382
2019-12-20 04:00:00 | 0.24 | 110.9 | 2.832 | 129.3 | 3.649 | 122.2 | 3.639 | 114.5 | -0.312 | 978.72 | 49.2992 | 5.2393
2019-12-20 04:15:00 | 2.887 | 126.5 | 3.269 | 145.7 | 3.578 | 134.8 | 3.603 | 130.9 | 0.678 | 979.017 | 52.6838 | 5.1174
2019-12-20 04:30:00 | 0.423 | 137.8 | 1.637 | 129.4 | 1.899 | 154 | 2.121 | 144.3 | 0.297 | 979.017 | 57.2308 | 4.5484
2019-12-20 04:45:00 | 1.098 | 136.8 | 1.932 | 164.4 | 3.456 | 140.4 | 3.491 | 144 | 0.125 | 979.166 | 57.6738 | 5.9635
2019-12-20 05:00:00 | 1.979 | 134.4 | 2.973 | 145.9 | 4.168 | 127.6 | 4.222 | 142.9 | -0.844 | 979.017 | 64.0674 | 6.9463
2019-12-20 05:15:00 | 4.624 | 134 | 5.338 | 149.3 | 5.994 | 135.8 | 6.002 | 142.7 | -0.841 | 979.017 | 73.846 | 8.1028
2019-12-20 05:30:00 | 4.844 | 137.7 | 5.652 | 148.6 | 5.407 | 135 | 5.177 | 148.4 | -0.67 | 978.869 | 72.8205 | 7.8183
2019-12-20 05:45:00 | 2.456 | 136.5 | 4.236 | 149.9 | 4.84 | 143.3 | 4.734 | 146.1 | -0.825 | 978.869 | 76.2389 | 13.3051
2019-12-20 06:00:00 | 6.034 | 128.3 | 6.573 | 147.2 | 6.683 | 137.3 | 6.705 | 133.5 | -0.682 | 978.869 | 71.3162 | 20.0963
2019-12-20 06:15:00 | 5.842 | 134.5 | 6.197 | 150.5 | 6.104 | 137.2 | 6.14 | 137.6 | -0.896 | 979.017 | 70.8376 | 16.5381
2019-12-20 06:30:00 | 4.387 | 133.1 | 4.99 | 152.3 | 5.529 | 139.7 | 5.592 | 136.6 | -1.454 | 979.017 | 70.4273 | 13.8557
2019-12-20 06:45:00 | 4.354 | 129.8 | 4.786 | 145.5 | 4.84 | 133.2 | 4.856 | 135.8 | -1.032 | 979.166 | 70.9743 | 16.6305
2019-12-20 07:00:00 | 4.742 | 133.8 | 5.2 | 147.8 | 5.369 | 130.9 | 5.312 | 140.2 | -0.625 | 979.315 | 74.0513 | 13.1684
2019-12-20 07:15:00 | 5.117 | 131.1 | 5.358 | 145.1 | 5.216 | 128.9 | 5.151 | 139.2 | -0.374 | 979.315 | 76.9231 | 14.2399
2019-12-20 07:30:00 | 4.369 | 142.6 | 4.65 | 157 | 4.967 | 141 | 4.971 | 150.6 | -0.181 | 979.315 | 77.9455 | 16.9298
2019-12-20 07:45:00 | 5.452 | 140.5 | 5.547 | 154.8 | 5.737 | 135.9 | 5.737 | 147.9 | -0.015 | 979.612 | 78.5516 | 19.5753
2019-12-20 08:00:00 | 5.035 | 139.8 | 5.018 | 155.5 | 5.107 | 139.2 | 5.131 | 144.3 | -0.381 | 979.612 | 80.6016 | 23.9241
2019-12-20 08:15:00 | 5.712 | 134 | 5.813 | 150.7 | 6.015 | 133.7 | 6.033 | 138.6 | -0.67 | 979.909 | 80.9776 | 26.0856
2019-12-20 08:30:00 | 5.63 | 133 | 5.767 | 147.9 | 5.699 | 133.2 | 5.684 | 138.1 | -0.648 | 979.909 | 79.2343 | 21.2417
2019-12-20 08:45:00 | 6.7 | 131.6 | 6.509 | 145.5 | 6.376 | 128.4 | 6.392 | 137.4 | -0.588 | 979.909 | 78.0038 | 18.2858
2019-12-20 09:00:00 | 5.855 | 130.3 | 6.038 | 144.8 | 5.926 | 130.8 | 5.933 | 137.2 | -0.476 | 980.207 | 77.0466 | 18.4151
2019-12-20 09:15:00 | 6.401 | 134.3 | 6.348 | 150.1 | 5.923 | 135.6 | 5.834 | 140 | -0.294 | 980.355 | 77.5936 | 21.6998
2019-12-20 09:30:00 | 6.164 | 134 | 6.128 | 145.9 | 5.549 | 131.7 | 5.452 | 142.5 | -0.189 | 980.238 | 76.9378 | 22.0065
2019-12-20 09:45:00 | 5.577 | 142.3 | 5.65 | 163 | 5.002 | 150.4 | 4.973 | 141.7 | -0.159 | 980.353 | 79.3546 | 17.2291
2019-12-20 10:00:00 | 4.821 | 141.3 | 4.717 | 159.8 | 4.644 | 153 | 4.736 | 146.3 | -0.209 | 980.204 | 80.8573 | 12.6142
2019-12-20 10:15:00 | 5.735 | 146 | 6.079 | 160.9 | 6.025 | 150.7 | 6.05 | 152.6 | 0.147 | 980.222 | 80.2494 | 10.4749
2019-12-20 10:30:00 | 5.628 | 149.7 | 5.859 | 165.3 | 5.915 | 158 | 5.786 | 155.1 | 0.248 | 980.354 | 79.6302 | 7.9513
2019-12-20 10:45:00 | 5.771 | 146.9 | 5.816 | 164.7 | 5.989 | 153.7 | 6.017 | 152.6 | 0.395 | 980.204 | 78.5958 | 5.4942
2019-12-20 11:00:00 | 4.675 | 149.4 | 4.573 | 168.9 | 4.125 | 165.2 | 4.092 | 156.4 | 0.848 | 980.501 | 76.4736 | 3.5471
2019-12-20 11:15:00 | 6.491 | 147 | 6.539 | 161.3 | 5.681 | 143.2 | 5.679 | 154.1 | 0.534 | 980.174 | 79.0364 | 7.1348
2019-12-20 11:30:00 | 5.638 | 148.6 | 5.964 | 162.2 | 6.233 | 153.1 | 6.226 | 155.2 | 0.316 | 979.905 | 78.797 | 9.0265
2019-12-20 11:45:00 | 5.829 | 150 | 5.954 | 164.3 | 5.689 | 152.3 | 5.722 | 157.8 | 0.144 | 979.46 | 79.5489 | 11.4466
2019-12-20 12:00:00 | 5.812 | 152.4 | 5.877 | 167.1 | 5.92 | 155.3 | 6.02 | 159.2 | 0.326 | 979.312 | 79.8906 | 12.0821
2019-12-20 12:15:00 | 6.483 | 162.6 | 6.547 | 180.9 | 5.74 | 173 | 5.788 | 170.3 | 0.584 | 978.717 | 79.1389 | 13.1832
2019-12-20 12:30:00 | 6.46 | 173.4 | 6.465 | 185.3 | 5.592 | 171.1 | 5.633 | 181.3 | 0.638 | 978.717 | 79.5489 | 14.772
2019-12-20 12:45:00 | 7.469 | 186.1 | 7.197 | 202.4 | 5.903 | 188.9 | 6.035 | 182.9 | 0.731 | 978.568 | 79.6856 | 19.2649
2019-12-20 13:00:00 | 6.046 | 174.8 | 5.507 | 193.2 | 5.363 | 186.1 | 5.449 | 175 | 0.66 | 978.42 | 79.9259 | 16.1576
2019-12-20 13:15:00 | 6.031 | 178.4 | 5.803 | 192.9 | 5.302 | 181.4 | 5.36 | 179.3 | 0.806 | 978.122 | 79.4823 | 12.7657
2019-12-20 13:30:00 | 6.764 | 180.4 | 6.355 | 198.2 | 5.567 | 187.7 | 5.584 | 178 | 0.7 | 977.825 | 79.7565 | 11.7829
2019-12-20 13:45:00 | 6.228 | 171.3 | 5.783 | 192 | 5.198 | 185.5 | 5.195 | 169.8 | 0.711 | 977.677 | 79.5548 | 9.0709
2019-12-20 14:00:00 | 5.725 | 175.5 | 5.427 | 203.3 | 4.344 | 195.9 | 4.324 | 167.3 | 0.617 | 977.528 | 80.7213 | 7.4525
2019-12-20 14:15:00 | 5.288 | 157.8 | 5.123 | 174.6 | 4.936 | 160.3 | 4.922 | 164.9 | 0.61 | 977.538 | 81.7161 | 6.3662
2019-12-20 14:30:00 | 5.069 | 156.6 | 4.921 | 172.5 | 4.69 | 157.1 | 4.599 | 164.9 | 0.621 | 977.534 | 82.0927 | 5.376
2019-12-20 14:45:00 | 4.66 | 158.4 | 4.545 | 177.4 | 4.339 | 168 | 4.405 | 163.9 | 0.706 | 977.608 | 81.9589 | 6.9648
2019-12-20 15:00:00 | 5.423 | 160.1 | 5.289 | 170.5 | 4.557 | 153.5 | 4.479 | 165.2 | 0.687 | 977.254 | 82.369 | 11.1178
2019-12-20 15:15:00 | 5.395 | 152.4 | 5.632 | 166.4 | 5.397 | 149.2 | 5.49 | 159 | 0.74 | 976.958 | 83.8371 | 9.7544
2019-12-20 15:30:00 | 5.383 | 148 | 5.266 | 164.8 | 5.053 | 150 | 5.032 | 156.1 | 0.781 | 976.974 | 84.8964 | 8.6127
2019-12-20 15:45:00 | 5.942 | 151.1 | 6.279 | 164.6 | 6.124 | 150.1 | 6.089 | 157.7 | 0.815 | 976.97 | 84.2145 | 9.9835
2019-12-20 16:00:00 | 4.747 | 147.9 | 5.108 | 166.1 | 5.628 | 147.7 | 5.648 | 151.3 | 0.851 | 976.955 | 84.0763 | 10.4121
2019-12-20 16:15:00 | 4.716 | 147.5 | 5.115 | 165.8 | 5.811 | 156.7 | 5.88 | 150.3 | 1.076 | 976.704 | 83.2959 | 12.459
2019-12-20 16:30:00 | 5.794 | 149.9 | 5.724 | 170.5 | 6.498 | 165 | 6.504 | 154.3 | 1.134 | 976.822 | 83.1964 | 13.4529
2019-12-20 16:45:00 | 5.536 | 144 | 5.88 | 160.4 | 6.554 | 150.8 | 6.486 | 150.4 | 1.03 | 976.609 | 84.2923 | 16.952
2019-12-20 17:00:00 | 5.431 | 142.3 | 5.652 | 160 | 6.615 | 149 | 6.682 | 147.6 | 1.001 | 976.338 | 85.0111 | 23.8354
2019-12-20 17:15:00 | 6.414 | 142.4 | 6.895 | 159.5 | 7.212 | 143.3 | 7.212 | 147 | 0.985 | 976.638 | 85.182 | 26.4034
2019-12-20 17:30:00 | 5.235 | 144.8 | 5.591 | 163.2 | 6.193 | 157 | 6.41 | 149.3 | 1.024 | 976.638 | 84.6351 | 30.6229
2019-12-20 17:45:00 | 6.777 | 148.2 | 7.217 | 167.5 | 8.74 | 150.4 | 8.92 | 151.9 | 1.309 | 976.489 | 82.174 | 45.8419
2019-12-20 18:00:00 | 9.24 | 148.5 | 9.63 | 165.2 | 10.54 | 157.8 | 10.65 | 153.6 | 1.498 | 976.489 | 81.8322 | 66.2042
2019-12-20 18:15:00 | 10.38 | 149.7 | 10.99 | 165.5 | 12.29 | 154.4 | 12.29 | 153.2 | 1.651 | 976.34 | 77.0466 | 85.1704
2019-12-20 18:30:00 | 11.55 | 148.6 | 12.45 | 166.6 | 13.56 | 153.8 | 13.55 | 152.5 | 1.753 | 976.012 | 73.4917 | 90.0249
2019-12-20 18:45:00 | 11.92 | 149.2 | 12.58 | 167 | 12.94 | 154.4 | 12.89 | 154.1 | 1.807 | 975.983 | 72.1206 | 89.8402
2019-12-20 19:00:00 | 11.9 | 147.8 | 12.22 | 166.6 | 12.83 | 159.9 | 12.8 | 151.8 | 1.867 | 975.703 | 71.8813 | 86.0419
2019-12-20 19:15:00 | 10.55 | 147.8 | 11.34 | 164.7 | 12.61 | 155.3 | 12.63 | 151.5 | 1.747 | 975.78 | 71.9123 | 82.6685
2019-12-20 19:30:00 | 10.29 | 148.1 | 10.89 | 166.3 | 11.98 | 154.2 | 12.03 | 151.6 | 1.773 | 975.793 | 72.0145 | 80.0414
2019-12-20 19:45:00 | 10.73 | 151.1 | 11.17 | 168.7 | 11.55 | 155.8 | 11.58 | 154.2 | 1.758 | 975.771 | 71.0916 | 73.2946
2019-12-20 20:00:00 | 10.26 | 149 | 10.78 | 166.7 | 11.14 | 155.5 | 11.14 | 153.3 | 1.7 | 976.48 | 71.1582 | 65.9197
2019-12-20 20:15:00 | 8.18 | 149.4 | 8.67 | 168.9 | 10.11 | 160.5 | 10.2 | 153.4 | 1.65 | 976.454 | 71.6765 | 66.171
2019-12-20 20:30:00 | 8.6 | 146.9 | 9.44 | 166.2 | 10.45 | 159.6 | 10.5 | 149.7 | 1.522 | 976.72 | 71.5729 | 69.14
2019-12-20 20:45:00 | 9.49 | 147.1 | 10.03 | 165.5 | 10.99 | 159.5 | 11.12 | 152.6 | 1.49 | 976.492 | 72.9421 | 71.9682
2019-12-20 21:00:00 | 8.73 | 149.1 | 9.5 | 166.8 | 10.69 | 154.5 | 10.79 | 151.8 | 1.331 | 976.665 | 73.4907 | 73.3501
2019-12-20 21:15:00 | 9.65 | 150.6 | 9.86 | 167.6 | 10.96 | 162.5 | 11.1 | 154 | 1.23 | 976.605 | 73.6956 | 80.4388
2019-12-20 21:30:00 | 9.76 | 150.4 | 10.14 | 166.6 | 10.66 | 158.2 | 10.54 | 155.9 | 1.224 | 976.457 | 73.1499 | 74.2537
2019-12-20 21:45:00 | 9.53 | 155.5 | 9.7 | 169.6 | 10.29 | 156.4 | 10.21 | 159.2 | 1.183 | 976.638 | 72.8081 | 74.8334
2019-12-20 22:00:00 | 9.95 | 152.2 | 10.5 | 167.3 | 11.39 | 154.1 | 11.48 | 155.4 | 1.11 | 976.043 | 72.6703 | 79.1214
2019-12-20 22:15:00 | 9.94 | 152.2 | 10.36 | 169.3 | 10.94 | 162.2 | 10.88 | 156.5 | 1.054 | 976.638 | 72.4662 | 81.429
2019-12-20 22:30:00 | 9.11 | 151.4 | 9.75 | 166.1 | 10.41 | 161.3 | 10.59 | 159.7 | 0.962 | 976.935 | 73.3892 | 78.582
2019-12-20 22:45:00 | 9.87 | 158.9 | 10.32 | 169.5 | 10.03 | 157.2 | 10.01 | 165 | 0.852 | 976.786 | 76.5339 | 79.9712
2019-12-20 23:00:00 | 9.78 | 161.4 | 10.13 | 177.2 | 10.18 | 171.3 | 10.47 | 163.4 | 0.775 | 976.935 | 78.4139 | 78.4105
2019-12-20 23:15:00 | 8.7 | 160.7 | 8.3 | 181 | 8.51 | 172.3 | 8.69 | 163.1 | 0.672 | 976.935 | 79.576 | 77.6324
2019-12-20 23:30:00 | 8.9 | 169.5 | 8.61 | 185 | 7.836 | 176.6 | 7.716 | 171.3 | 0.922 | 976.638 | 79.5078 | 73.3205
2019-12-20 23:45:00 | 9.27 | 161.6 | 9.54 | 175.6 | 9.22 | 166.3 | 9.29 | 168.3 | 0.718 | 976.786 | 81.2848 | 76.2542