## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-21 00:00:00 | 9.26 | 157.4 | 9.5 | 172.3 | 9.17 | 159.8 | 9.2 | 165.2 | 0.38 | 976.34 | 83.1311 | 81.4512
2019-12-21 00:15:00 | 10.25 | 158 | 10.54 | 172.6 | 10.66 | 157.8 | 10.69 | 163.5 | 0.556 | 976.638 | 84.0193 | 78.0277
2019-12-21 00:30:00 | 9.51 | 155 | 10.05 | 169.6 | 10.49 | 162.6 | 10.58 | 160.7 | 0.375 | 976.043 | 85.5906 | 76.3872
2019-12-21 00:45:00 | 9.38 | 156 | 9.9 | 170.5 | 10.16 | 158.2 | 10.12 | 162 | 0.33 | 976.34 | 86.5484 | 76.2727
2019-12-21 01:00:00 | 8.77 | 163.7 | 8.9 | 179 | 9.08 | 167 | 9.07 | 166.7 | 0.421 | 976.043 | 87.5064 | 77.9021
2019-12-21 01:15:00 | 8.8 | 156.3 | 9.07 | 174.1 | 9.87 | 164.9 | 10.13 | 158.9 | 0.295 | 976.043 | 87.3697 | 79.7458
2019-12-21 01:30:00 | 9.08 | 156.1 | 9.26 | 176.6 | 10.41 | 168.4 | 10.47 | 158.1 | 0.426 | 976.043 | 86.8911 | 80.9487
2019-12-21 01:45:00 | 8.7 | 157.4 | 8.82 | 175.4 | 9.58 | 165.7 | 9.74 | 160.6 | 0.386 | 976.043 | 87.1646 | 71.6911
2019-12-21 02:00:00 | 8.3 | 154.2 | 8.32 | 173 | 8.59 | 158.9 | 8.77 | 158.5 | 0.208 | 976.043 | 86.9589 | 64.2809
2019-12-21 02:15:00 | 7.895 | 153.9 | 8.24 | 173.4 | 9.01 | 166.2 | 9.19 | 158.4 | 0.262 | 975.746 | 86.2075 | 62.0365
2019-12-21 02:30:00 | 8.9 | 154.7 | 9.14 | 173.5 | 9.86 | 159.4 | 9.95 | 159.4 | 0.386 | 975.3 | 84.9769 | 57.5435
2019-12-21 02:45:00 | 7.732 | 156.8 | 7.997 | 173.3 | 8.65 | 156.3 | 8.75 | 159.4 | 0.507 | 975.746 | 82.7209 | 48.5835
2019-12-21 03:00:00 | 7.821 | 154.8 | 8.36 | 172 | 8.99 | 159.9 | 9.04 | 161.8 | 0.353 | 975.002 | 83.0618 | 48.6611
2019-12-21 03:15:00 | 8.65 | 153.6 | 9.26 | 169.1 | 9.74 | 156.4 | 9.74 | 160.8 | 0.397 | 974.854 | 83.2678 | 53.98
2019-12-21 03:30:00 | 8.17 | 153.6 | 8.86 | 168.6 | 9.82 | 156.6 | 9.85 | 160.4 | 0.391 | 974.407 | 82.7893 | 48.8976
2019-12-21 03:45:00 | 7.596 | 151.9 | 7.971 | 168.6 | 8.96 | 156.5 | 9.11 | 158 | 0.296 | 974.556 | 83.1653 | 45.8863
2019-12-21 04:00:00 | 7.854 | 155.5 | 8.15 | 171.8 | 9.14 | 160.2 | 9.23 | 162.1 | 0.397 | 974.259 | 81.5587 | 41.7444
2019-12-21 04:15:00 | 7.762 | 155.6 | 8.68 | 171.1 | 9.52 | 160.2 | 9.52 | 165.3 | 0.464 | 974.259 | 78.8241 | 32.341
2019-12-21 04:30:00 | 8.06 | 156.9 | 8.45 | 175.1 | 9.22 | 165.7 | 9.24 | 160.9 | 0.602 | 974.259 | 80.2598 | 44.3825
2019-12-21 04:45:00 | 6.955 | 154.5 | 7.396 | 170.3 | 8.48 | 160.4 | 8.61 | 161.1 | 0.263 | 974.556 | 83.3704 | 35.8104
2019-12-21 05:00:00 | 7.773 | 152.5 | 8.02 | 171.9 | 8.16 | 161.9 | 8.27 | 158.4 | 0.353 | 974.259 | 82.2423 | 34.7352
2019-12-21 05:15:00 | 8.18 | 155.1 | 8.48 | 171 | 8.92 | 163.9 | 9.03 | 161.7 | 0.641 | 974.259 | 78.0721 | 43.3553
2019-12-21 05:30:00 | 7.783 | 150.3 | 8.08 | 166.4 | 8.96 | 157.5 | 9.12 | 156.4 | 0.2 | 974.259 | 83.6096 | 45.1067
2019-12-21 05:45:00 | 7.305 | 153 | 8.14 | 167.1 | 9.55 | 155.3 | 9.6 | 160.6 | 0.078 | 974.407 | 83.5071 | 43.3258
2019-12-21 06:00:00 | 6.764 | 150.8 | 7.621 | 168.4 | 8.74 | 155.5 | 8.95 | 157.7 | 0.206 | 974.556 | 83.1311 | 46.6992
2019-12-21 06:15:00 | 7.139 | 153.7 | 8.06 | 167.6 | 9.03 | 153.6 | 9.08 | 161.2 | 0.365 | 974.854 | 82.1056 | 40.0595
2019-12-21 06:30:00 | 6.024 | 153.1 | 7.038 | 169.8 | 8.07 | 162.5 | 8.19 | 160.3 | 0.204 | 974.854 | 81.7638 | 35.8141
2019-12-21 06:45:00 | 7.032 | 153 | 7.785 | 168.5 | 9.01 | 155.6 | 9.02 | 159.9 | 0.186 | 974.854 | 84.0882 | 39.7159
2019-12-21 07:00:00 | 7.188 | 150.3 | 7.652 | 164.6 | 8.27 | 152.9 | 8.36 | 157.7 | -0.005 | 975.151 | 84.7035 | 33.0134
2019-12-21 07:15:00 | 6.299 | 153.8 | 7.125 | 166.1 | 8.41 | 154.9 | 8.44 | 162.5 | 0.252 | 975.151 | 80.5332 | 26.8024
2019-12-21 07:30:00 | 7.017 | 153 | 7.544 | 165.3 | 7.169 | 151.3 | 7.194 | 160.9 | 0.631 | 975.3 | 79.3369 | 24.2973
2019-12-21 07:45:00 | 4.908 | 153 | 5.473 | 168.3 | 6.16 | 156.1 | 6.252 | 160 | 0.35 | 975.448 | 81.5587 | 25.1065
2019-12-21 08:00:00 | 6.417 | 149.4 | 7.058 | 162.4 | 7.149 | 144.3 | 7.061 | 159.3 | 0.624 | 975.448 | 81.2852 | 19.4423
2019-12-21 08:15:00 | 4.379 | 151.5 | 5.031 | 166.6 | 5.809 | 155.8 | 5.898 | 160.7 | 0.38 | 975.448 | 82.447 | 22.679
2019-12-21 08:30:00 | 5.697 | 153.3 | 5.985 | 169.2 | 5.976 | 158.2 | 6.18 | 160.5 | 0.666 | 975.894 | 79.8492 | 22.2097
2019-12-21 08:45:00 | 5.679 | 156.4 | 6.013 | 170.9 | 6.078 | 160 | 6.084 | 165 | 0.921 | 975.97 | 77.4213 | 15.8029
2019-12-21 09:00:00 | 5.962 | 161.3 | 6.407 | 170.7 | 6.022 | 156.7 | 6.188 | 174.9 | 1.509 | 976.341 | 75.2104 | 14.3693
2019-12-21 09:15:00 | 4.466 | 152.6 | 4.614 | 167.7 | 4.641 | 160.9 | 4.652 | 163 | 1.735 | 976.339 | 74.15 | 10.9885
2019-12-21 09:30:00 | 4.415 | 150.7 | 4.832 | 163.8 | 4.687 | 151.6 | 4.66 | 159.2 | 2.342 | 976.933 | 71.204 | 13.682
2019-12-21 09:45:00 | 5.329 | 150.1 | 5.282 | 168 | 4.834 | 158.4 | 4.813 | 155.6 | 2.515 | 976.643 | 71.6657 | 12.9209
2019-12-21 10:00:00 | 6.031 | 147.9 | 6.023 | 162.2 | 5.763 | 150 | 5.691 | 154.6 | 2.33 | 976.635 | 71.392 | 14.1106
2019-12-21 10:15:00 | 5.748 | 145.3 | 5.79 | 159.7 | 5.391 | 147.1 | 5.289 | 153.5 | 2.295 | 976.635 | 72.6217 | 13.6488
2019-12-21 10:30:00 | 6.215 | 147.6 | 6.041 | 163.1 | 5.915 | 150.3 | 5.898 | 154.4 | 2.595 | 976.932 | 72.246 | 18.526
2019-12-21 10:45:00 | 5.306 | 144.2 | 5.164 | 164 | 4.883 | 152.3 | 4.879 | 149.3 | 2.601 | 976.635 | 71.3919 | 12.0193
2019-12-21 11:00:00 | 5.937 | 143.4 | 5.798 | 161.1 | 5.473 | 153.1 | 5.411 | 151.5 | 2.67 | 976.635 | 70.3648 | 11.8457
2019-12-21 11:15:00 | 6.912 | 153.3 | 6.833 | 173.3 | 6.371 | 164.4 | 6.297 | 157.7 | 3.269 | 976.635 | 70.5679 | 16.3903
2019-12-21 11:30:00 | 7.568 | 146.3 | 7.439 | 161.2 | 6.953 | 146 | 6.761 | 153 | 2.598 | 976.189 | 74.0856 | 20.499
2019-12-21 11:45:00 | 6.45 | 143.3 | 6.637 | 160.2 | 6.541 | 149.1 | 6.458 | 150.2 | 2.699 | 976.041 | 73.7144 | 16.4901
2019-12-21 12:00:00 | 7.022 | 140.7 | 6.91 | 155.9 | 6.584 | 144.4 | 6.476 | 146.5 | 3.003 | 976.041 | 71.836 | 15.8361
2019-12-21 12:15:00 | 6.772 | 140.1 | 6.823 | 155.3 | 6.292 | 140.6 | 6.122 | 147.4 | 3.113 | 975.892 | 71.0504 | 13.8261
2019-12-21 12:30:00 | 6.828 | 136.7 | 6.724 | 152.1 | 5.524 | 137 | 5.261 | 144.9 | 3.263 | 975.743 | 67.7027 | 9.566
2019-12-21 12:45:00 | 6.092 | 137 | 6.22 | 152.4 | 5.885 | 139.4 | 5.765 | 142.8 | 3.465 | 975.743 | 68.862 | 12.0378
2019-12-21 13:00:00 | 5.319 | 141 | 5.361 | 152.7 | 4.636 | 141.6 | 4.487 | 147.6 | 3.711 | 975.743 | 67.8369 | 8.7494
2019-12-21 13:15:00 | 5.855 | 151.9 | 5.443 | 164.7 | 5.048 | 150.9 | 4.981 | 156.3 | 3.976 | 975.743 | 65.7134 | 6.8244
2019-12-21 13:30:00 | 5.551 | 136.2 | 5.581 | 150.8 | 4.89 | 139.6 | 4.741 | 143.6 | 4.13 | 975.743 | 65.5678 | 6.418
2019-12-21 13:45:00 | 4.869 | 135.7 | 4.977 | 149.3 | 4.257 | 135.1 | 4.1 | 144.9 | 4.345 | 975.743 | 65.7697 | 6.551
2019-12-21 14:00:00 | 4.315 | 138.8 | 4.274 | 153.1 | 3.68 | 137.1 | 3.593 | 145.4 | 4.424 | 975.743 | 66.4504 | 3.8316
2019-12-21 14:15:00 | 4.221 | 143.9 | 4.134 | 161.1 | 3.619 | 144.9 | 3.578 | 147.3 | 4.651 | 975.595 | 65.665 | 1.4632
2019-12-21 14:30:00 | 4.67 | 146.8 | 4.548 | 164.1 | 4.155 | 149.5 | 4.095 | 149.9 | 4.4 | 975.743 | 66.5187 | 2.0765
2019-12-21 14:45:00 | 4.374 | 147.6 | 4.374 | 165.5 | 3.967 | 155 | 3.949 | 150 | 4.761 | 975.443 | 65.3577 | 2.531
2019-12-21 15:00:00 | 4.826 | 140.5 | 4.747 | 158.2 | 4.331 | 148.4 | 4.252 | 148.1 | 4.559 | 975.594 | 65.2553 | 1.755
2019-12-21 15:15:00 | 3.432 | 144.6 | 3.193 | 163.1 | 2.726 | 154 | 2.801 | 149.3 | 4.709 | 975.446 | 65.5626 | 0.39904
2019-12-21 15:30:00 | 3.608 | 146.8 | 3.615 | 161.9 | 3.12 | 150.7 | 3.084 | 154.6 | 4.809 | 975.446 | 64.6748 | 0.17366
2019-12-21 15:45:00 | 4.162 | 144.9 | 4.123 | 158.7 | 3.631 | 148.5 | 3.575 | 150.7 | 4.594 | 975.446 | 65.6313 | 0.46186
2019-12-21 16:00:00 | 2.804 | 150.1 | 2.799 | 170.6 | 2.64 | 157.8 | 2.686 | 153.5 | 4.481 | 974.852 | 66.9391 | 0.055423
2019-12-21 16:15:00 | 2.331 | 173.7 | 2.262 | 186.1 | 1.378 | 166.8 | 1.458 | 173.2 | 4.318 | 974.257 | 68.2493 | -0.033254
2019-12-21 16:30:00 | 2.518 | 152.9 | 2.541 | 190.9 | 2.179 | 153.3 | 2.228 | 155.6 | 4.031 | 973.811 | 69.4108 | 0.26972
2019-12-21 16:45:00 | 3.166 | 163.3 | 3.183 | 190.8 | 2.985 | 163.5 | 2.977 | 162.5 | 3.845 | 973.723 | 70.1623 | 0.81656
2019-12-21 17:00:00 | 3.748 | 158.5 | 3.709 | 176.2 | 3.802 | 157.6 | 3.916 | 162.5 | 3.693 | 973.946 | 69.9087 | 3.8463
2019-12-21 17:15:00 | 4.116 | 153.5 | 4.221 | 170.3 | 4.199 | 153.5 | 4.202 | 158.8 | 3.577 | 973.663 | 71.2723 | 8.8898
2019-12-21 17:30:00 | 4.282 | 152.4 | 4.389 | 167 | 4.799 | 158.1 | 4.854 | 157.5 | 3.466 | 973.662 | 72.7102 | 15.1119
2019-12-21 17:45:00 | 4.933 | 144.4 | 5.389 | 157.7 | 5.689 | 142.4 | 5.763 | 152.2 | 3.489 | 973.342 | 73.0559 | 18.356
2019-12-21 18:00:00 | 4.573 | 145.9 | 5.121 | 161.7 | 5.473 | 143 | 5.569 | 150.9 | 3.4 | 973.365 | 71.4846 | 11.6942
2019-12-21 18:15:00 | 4.471 | 141.7 | 5.028 | 157.4 | 5.613 | 141.8 | 5.651 | 145.9 | 3.537 | 973.366 | 72.4414 | 9.3775
2019-12-21 18:30:00 | 3.82 | 140.3 | 4.3 | 155.6 | 5.407 | 140.6 | 5.559 | 144.4 | 3.579 | 973.366 | 69.2978 | 7.5523
2019-12-21 18:45:00 | 3.258 | 139.6 | 3.776 | 156.6 | 4.674 | 148.9 | 4.767 | 145.3 | 3.497 | 973.347 | 69.3661 | 5.1432
2019-12-21 19:00:00 | 3.284 | 152.1 | 3.921 | 167.5 | 4.873 | 153.7 | 4.978 | 156.1 | 3.734 | 973.366 | 69.1611 | 4.3858
2019-12-21 19:15:00 | 3.044 | 149.9 | 3.569 | 164.5 | 4.339 | 162.5 | 4.395 | 153 | 3.814 | 973.663 | 69.6737 | 3.0187
2019-12-21 19:30:00 | 2.76 | 150.3 | 3.456 | 169.2 | 3.81 | 156.3 | 3.799 | 156.6 | 3.811 | 973.961 | 69.9128 | 1.3634
2019-12-21 19:45:00 | 3.299 | 151.2 | 4.392 | 168.9 | 4.344 | 151.6 | 4.283 | 159.5 | 3.812 | 973.812 | 70.0495 | 2.1504
2019-12-21 20:00:00 | 4.239 | 152.9 | 5.205 | 165.7 | 5.099 | 150.9 | 5.004 | 161.4 | 3.828 | 973.638 | 69.1611 | 3.1923
2019-12-21 20:15:00 | 3.764 | 150.7 | 4.336 | 167.6 | 4.682 | 157.3 | 4.713 | 157.9 | 3.725 | 973.663 | 69.3652 | 2.3795
2019-12-21 20:30:00 | 3.238 | 151.2 | 3.74 | 170.8 | 4.328 | 162.4 | 4.39 | 158.5 | 3.727 | 973.663 | 69.7762 | 1.4484
2019-12-21 20:45:00 | 3.631 | 158.7 | 4.154 | 172.4 | 4.583 | 157.4 | 4.604 | 166.7 | 3.874 | 973.637 | 69.2966 | 1.5075
2019-12-21 21:00:00 | 4.129 | 154.4 | 4.737 | 168.6 | 4.911 | 155.8 | 4.889 | 161.5 | 3.979 | 973.663 | 69.4344 | 2.0211
2019-12-21 21:15:00 | 4.16 | 167 | 4.407 | 179.2 | 4.412 | 158.8 | 4.5 | 174.1 | 4.216 | 973.812 | 68.5119 | 1.962
2019-12-21 21:30:00 | 3.662 | 168.1 | 4.103 | 181.1 | 4.135 | 158.8 | 4.207 | 169.3 | 4.215 | 973.637 | 69.0578 | 2.7453
2019-12-21 21:45:00 | 3.71 | 160.4 | 3.934 | 171.6 | 3.659 | 154.9 | 3.774 | 169.5 | 4.124 | 973.601 | 69.2939 | 2.0987
2019-12-21 22:00:00 | 3.529 | 153.4 | 3.806 | 171.1 | 4.356 | 162.7 | 4.469 | 161.8 | 3.97 | 973.662 | 69.977 | 3.1665
2019-12-21 22:15:00 | 4.323 | 154.5 | 5.243 | 168.4 | 5.656 | 156.3 | 5.696 | 161.9 | 3.794 | 973.364 | 70.7304 | 4.4855
2019-12-21 22:30:00 | 4.532 | 158.9 | 4.52 | 174 | 4.534 | 159.4 | 4.571 | 164.7 | 4.02 | 973.359 | 70.5947 | 3.281
2019-12-21 22:45:00 | 4.244 | 157 | 4.213 | 173.6 | 4.194 | 163.9 | 4.186 | 161.9 | 4.173 | 973.365 | 69.16 | 0.79439
2019-12-21 23:00:00 | 3.685 | 149.3 | 4.228 | 165.7 | 4.832 | 159.1 | 4.82 | 156.2 | 3.867 | 973.027 | 70.5939 | 2.3388
2019-12-21 23:15:00 | 3.902 | 148.5 | 4.377 | 164.2 | 4.817 | 152.4 | 4.787 | 157 | 3.772 | 972.763 | 70.39 | 2.3093
2019-12-21 23:30:00 | 3.577 | 154.3 | 4.54 | 165.9 | 4.901 | 152.4 | 4.874 | 165.7 | 3.718 | 972.772 | 70.5621 | 1.6073
2019-12-21 23:45:00 | 3.644 | 162.2 | 4.057 | 177.8 | 4.715 | 162.4 | 4.861 | 167.1 | 3.668 | 972.326 | 71.4847 | 1.6257