## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-22 00:00:00 | 4.489 | 152.4 | 5.11 | 165.4 | 5.277 | 154.4 | 5.22 | 162.6 | 3.701 | 972.177 | 70.7329 | 2.5014
2019-12-22 00:15:00 | 4.366 | 148.8 | 5.095 | 161.4 | 5.75 | 151.6 | 5.699 | 157.6 | 3.262 | 972.177 | 71.2797 | 5.6051
2019-12-22 00:30:00 | 4.124 | 148.7 | 4.801 | 166.5 | 5.9 | 156.1 | 5.971 | 154.6 | 3.403 | 972.177 | 71.7239 | 9.4255
2019-12-22 00:45:00 | 4.545 | 153.5 | 5.463 | 170 | 6.75 | 161.9 | 6.735 | 158.4 | 3.282 | 971.88 | 73.1249 | 12.326
2019-12-22 01:00:00 | 5.107 | 161.9 | 5.013 | 179.9 | 5.61 | 160.4 | 5.814 | 164.5 | 3.261 | 971.583 | 73.5008 | 9.8061
2019-12-22 01:15:00 | 5.393 | 156.4 | 5.289 | 173.1 | 5.137 | 157.4 | 5.228 | 163.4 | 3.254 | 971.88 | 74.6284 | 9.359
2019-12-22 01:30:00 | 5.058 | 159.7 | 5.057 | 177.5 | 5.142 | 170 | 5.202 | 161.9 | 3.154 | 971.88 | 76.4053 | 10.8037
2019-12-22 01:45:00 | 4.752 | 168 | 4.525 | 174.8 | 4.504 | 150.1 | 4.665 | 172.1 | 2.89 | 971.583 | 77.6354 | 15.1267
2019-12-22 02:00:00 | 5.224 | 170.7 | 5.611 | 183.9 | 5.463 | 160 | 5.414 | 171.4 | 3.065 | 971.583 | 82.6584 | 19.5346
2019-12-22 02:15:00 | 5.469 | 175.6 | 5.524 | 194.7 | 5.488 | 184.8 | 5.623 | 180 | 3.039 | 971.434 | 87.4081 | 18.4114
2019-12-22 02:30:00 | 5.523 | 162.1 | 5.665 | 179.5 | 5.755 | 169.6 | 5.809 | 165.3 | 2.945 | 971.433 | 91.9187 | 16.7561
2019-12-22 02:45:00 | 4.772 | 179.2 | 4.486 | 199.2 | 4.333 | 188.8 | 4.357 | 177.8 | 2.85 | 971.285 | 95.0965 | 14.3212
2019-12-22 03:00:00 | 5.766 | 171.6 | 5.645 | 185.9 | 5.175 | 173.9 | 5.136 | 172.2 | 2.718 | 971.285 | 96.8384 | 14.724
2019-12-22 03:15:00 | 5.783 | 162.6 | 5.463 | 177.6 | 5.063 | 168 | 5.014 | 163.8 | 2.714 | 970.988 | 98.4794 | 17.1441
2019-12-22 03:30:00 | 6.049 | 153.9 | 6.24 | 170 | 5.659 | 156.5 | 5.745 | 159.2 | 2.558 | 970.988 | 98.8894 | 20.015
2019-12-22 03:45:00 | 7.433 | 150.9 | 7.061 | 165.9 | 6.854 | 149.6 | 6.886 | 155.6 | 2.335 | 970.096 | 99.2995 | 33.2943
2019-12-22 04:00:00 | 6.672 | 154 | 7.189 | 168.1 | 7.218 | 155.4 | 7.263 | 157.5 | 2.336 | 970.096 | 99.7779 | 27.2236
2019-12-22 04:15:00 | 7.453 | 158.7 | 7.34 | 175 | 6.902 | 160 | 7.1 | 162.7 | 2.43 | 970.096 | 100 | 27.8407
2019-12-22 04:30:00 | 6.94 | 157.4 | 6.81 | 172.9 | 6.129 | 156.6 | 6.053 | 161.4 | 2.303 | 970.393 | 100 | 29.7103
2019-12-22 04:45:00 | 6.792 | 157.9 | 7.447 | 173.3 | 7.274 | 158.8 | 7.275 | 160.9 | 2.2 | 970.245 | 100 | 25.6127
2019-12-22 05:00:00 | 7.581 | 153.8 | 7.608 | 165.9 | 7.276 | 151.4 | 7.387 | 157.6 | 2.021 | 969.799 | 100 | 28.7126
2019-12-22 05:15:00 | 7.173 | 150.8 | 7.368 | 168.5 | 8.16 | 154.5 | 8.21 | 152.4 | 1.842 | 969.799 | 100 | 34.7168
2019-12-22 05:30:00 | 7.257 | 150.2 | 7.866 | 166.3 | 8.27 | 156.4 | 8.33 | 154.4 | 1.846 | 969.799 | 99.9829 | 37.9719
2019-12-22 05:45:00 | 6.271 | 161.2 | 6.041 | 181 | 5.875 | 175.1 | 6.094 | 161.7 | 1.895 | 969.799 | 99.9829 | 36.1208
2019-12-22 06:00:00 | 5.561 | 159.8 | 5.99 | 170.2 | 6.015 | 163.6 | 6.058 | 167.2 | 1.968 | 970.245 | 99.9829 | 25.1028
2019-12-22 06:15:00 | 5.702 | 161.5 | 5.427 | 183 | 5.742 | 181.3 | 5.895 | 159.6 | 1.959 | 970.393 | 100 | 27.0019
2019-12-22 06:30:00 | 7.464 | 174.6 | 6.626 | 189.2 | 5.811 | 178.8 | 5.956 | 169.8 | 1.807 | 970.393 | 100 | 30.2682
2019-12-22 06:45:00 | 6.647 | 169.6 | 6.384 | 186.5 | 6.063 | 175.9 | 6.137 | 168 | 1.662 | 970.096 | 99.9829 | 32.5775
2019-12-22 07:00:00 | 7.203 | 156.4 | 6.877 | 171.1 | 6.889 | 153.2 | 6.949 | 158.8 | 1.5 | 970.096 | 100 | 25.9858
2019-12-22 07:15:00 | 7.047 | 154.6 | 6.977 | 171.1 | 6.859 | 159.6 | 6.881 | 157.5 | 1.486 | 970.096 | 100 | 27.3382
2019-12-22 07:30:00 | 6.182 | 166.3 | 6.199 | 184.2 | 6.004 | 169.8 | 6.101 | 165.6 | 1.443 | 970.393 | 99.9869 | 22.0324
2019-12-22 07:45:00 | 6.718 | 163.4 | 6.596 | 185.1 | 6.241 | 177.5 | 6.325 | 162.1 | 1.483 | 970.691 | 100 | 22.8046
2019-12-22 08:00:00 | 6.881 | 154.6 | 6.926 | 170.7 | 6.999 | 157.3 | 7.011 | 157.6 | 1.489 | 970.393 | 100 | 28.2619
2019-12-22 08:15:00 | 6.412 | 160.6 | 6.381 | 176.6 | 6.266 | 166.8 | 6.272 | 162.9 | 1.557 | 970.691 | 99.9872 | 26.2925
2019-12-22 08:30:00 | 5.551 | 168 | 5.691 | 182 | 5.304 | 172.1 | 5.411 | 169.2 | 1.624 | 970.988 | 100 | 21.7516
2019-12-22 08:45:00 | 5.112 | 168.5 | 4.942 | 187.1 | 4.71 | 182.4 | 4.769 | 166 | 1.628 | 971.285 | 100 | 15.9211
2019-12-22 09:00:00 | 6.039 | 170.4 | 5.734 | 187.6 | 5.837 | 180.2 | 5.915 | 168.2 | 1.757 | 971.583 | 99.983 | 15.9765
2019-12-22 09:15:00 | 5.957 | 170.1 | 5.859 | 183.7 | 5.664 | 170.1 | 5.732 | 171.1 | 1.893 | 971.583 | 100 | 19.3758
2019-12-22 09:30:00 | 4.984 | 162.1 | 4.798 | 181.2 | 5.198 | 167.8 | 5.373 | 164.5 | 2.003 | 971.583 | 100 | 14.9789
2019-12-22 09:45:00 | 5.893 | 156 | 6.018 | 170.1 | 6.213 | 154.3 | 6.315 | 163.7 | 2.031 | 971.583 | 100 | 14.8385
2019-12-22 10:00:00 | 5.127 | 167.5 | 4.719 | 176.8 | 4.476 | 155.9 | 4.65 | 175.8 | 2.167 | 971.583 | 100 | 10.8259
2019-12-22 10:15:00 | 5.663 | 161.9 | 5.471 | 169.7 | 5.068 | 153.1 | 5.129 | 169 | 2.301 | 971.583 | 100 | 15.3853
2019-12-22 10:30:00 | 5.342 | 162.4 | 5.307 | 174.9 | 5.506 | 159.2 | 5.684 | 171.8 | 2.514 | 971.731 | 100 | 13.9074
2019-12-22 10:45:00 | 5.222 | 167.3 | 4.982 | 189.8 | 4.941 | 187.5 | 5.139 | 169.4 | 2.591 | 971.55 | 100 | 15.1008
2019-12-22 11:00:00 | 5.326 | 167.1 | 4.944 | 181.3 | 5.287 | 168.2 | 5.388 | 174.8 | 2.727 | 971.868 | 100 | 9.0487
2019-12-22 11:15:00 | 6.343 | 178 | 6.069 | 191.2 | 5.809 | 179.3 | 5.837 | 180.1 | 2.745 | 971.285 | 100 | 9.7987
2019-12-22 11:30:00 | 5.531 | 181.4 | 5.473 | 192.3 | 5.745 | 179.5 | 5.872 | 184.1 | 2.809 | 971.279 | 100 | 7.4599
2019-12-22 11:45:00 | 5.416 | 175.9 | 5.069 | 187.5 | 5.109 | 170.5 | 5.258 | 180.4 | 2.859 | 971.285 | 98.9479 | 4.0717
2019-12-22 12:00:00 | 6.131 | 178.1 | 5.847 | 191.2 | 5.285 | 178.9 | 5.48 | 184.3 | 2.987 | 970.988 | 96.7627 | 4.1789
2019-12-22 12:15:00 | 5.515 | 174.6 | 5.555 | 187.2 | 5.778 | 169.6 | 5.913 | 182.3 | 3.323 | 970.964 | 93.8606 | 3.7059
2019-12-22 12:30:00 | 6.325 | 178.6 | 6.128 | 190.9 | 5.913 | 173.5 | 5.882 | 182.4 | 3.464 | 971.113 | 89.5108 | 1.8179
2019-12-22 12:45:00 | 4.698 | 179.2 | 4.435 | 190.9 | 4.224 | 178 | 4.209 | 187.9 | 4.034 | 970.857 | 88.4035 | 0.26233
2019-12-22 13:00:00 | 2.564 | 202.2 | 2.592 | 233.9 | 2.927 | 243 | 2.979 | 195.9 | 2.636 | 970.098 | 96.8403 | -0.20691
2019-12-22 13:15:00 | 2.315 | 198.9 | 2.114 | 229.2 | 2.604 | 265.1 | 2.719 | 192.2 | 2.79 | 970.097 | 96.9087 | -0.30667
2019-12-22 13:30:00 | 3.023 | 248.4 | 2.056 | 285.1 | 1.318 | 288.6 | 1.253 | 222.4 | 2.336 | 970.154 | 98.586 | -0.33254
2019-12-22 13:45:00 | 2.107 | 251.3 | 1.45 | 290.1 | 0.26 | 292.4 | 0.163 | 228.3 | 2.121 | 970.06 | 99.421 | -0.26972
2019-12-22 14:00:00 | 1.304 | 13.96 | 1.699 | 20.25 | 1.241 | 352.7 | 1.047 | 356.6 | 2.362 | 970.096 | 99.4996 | -0.29928
2019-12-22 14:15:00 | 2.187 | 10.68 | 1.9 | 45.53 | 1.122 | 16.16 | 0.947 | 5.351 | 1.853 | 970.096 | 99.6357 | -0.26972
2019-12-22 14:30:00 | 2.298 | 15.32 | 1.801 | 1.792 | 1.839 | 9.44 | 1.677 | 44.02 | 1.495 | 969.798 | 100 | -0.28081
2019-12-22 14:45:00 | 1.829 | 20.45 | 1.124 | 1.889 | 1.15 | 10.24 | 0.705 | 37.95 | 1.496 | 969.948 | 100 | -0.070202
2019-12-22 15:00:00 | 2.127 | 351 | 2.044 | 11.31 | 2.416 | 8.24 | 2.241 | 354.3 | 1.504 | 970.096 | 100 | 0.81656
2019-12-22 15:15:00 | 2.492 | 9.57 | 2.502 | 26.79 | 2.121 | 14.75 | 1.958 | 18.03 | 1.269 | 969.751 | 100 | 1.7107
2019-12-22 15:30:00 | 3.631 | 353 | 3.691 | 11.21 | 3.001 | 1.31 | 2.742 | 2.899 | 0.921 | 969.799 | 100 | 3.1
2019-12-22 15:45:00 | 3.363 | 345.2 | 3.566 | 9.07 | 3.927 | 7.726 | 3.797 | 351.5 | 0.637 | 969.799 | 100 | 4.7516
2019-12-22 16:00:00 | 4.504 | 4.232 | 4.292 | 15.05 | 3.957 | 5.772 | 3.916 | 18.29 | 0.315 | 969.799 | 100 | 5.5607
2019-12-22 16:15:00 | 3.884 | 7.868 | 4.039 | 15.27 | 3.52 | 7.469 | 3.384 | 14.86 | 0.231 | 969.948 | 100 | 4.2084
2019-12-22 16:30:00 | 3.365 | 9.96 | 3.666 | 22.28 | 3.387 | 8.02 | 3.295 | 17.38 | 0.194 | 970.146 | 100 | 2.4201
2019-12-22 16:45:00 | 3.756 | 8.68 | 3.676 | 27.68 | 3.031 | 12.9 | 2.806 | 22.11 | 0.206 | 970.38 | 100 | 2.6788
2019-12-22 17:00:00 | 3.968 | 18.28 | 4.067 | 35.64 | 3.657 | 18.3 | 3.547 | 26.7 | 0.154 | 970.542 | 100 | 2.3093
2019-12-22 17:15:00 | 4.535 | 17.12 | 4.855 | 32.76 | 4.328 | 14.1 | 4.224 | 22.05 | -0.012 | 970.393 | 100 | 5.5164
2019-12-22 17:30:00 | 5.783 | 14.32 | 6.097 | 30.36 | 5.33 | 15.34 | 5.233 | 19.09 | -0.084 | 970.393 | 100 | 11.103
2019-12-22 17:45:00 | 6.205 | 17.65 | 6.299 | 32.43 | 5.702 | 17.15 | 5.676 | 24.25 | -0.073 | 970.542 | 100 | 9.7655
2019-12-22 18:00:00 | 5.572 | 24.76 | 5.504 | 40.6 | 5.099 | 24.26 | 5.08 | 29.76 | -0.006 | 970.839 | 100 | 9.3073
2019-12-22 18:15:00 | 5.005 | 18.24 | 5.568 | 31.1 | 5.025 | 14.09 | 4.996 | 25.84 | 0.043 | 971.285 | 100 | 7.7111
2019-12-22 18:30:00 | 4.882 | 25.96 | 5.018 | 40.62 | 4.57 | 21.34 | 4.522 | 33.84 | 0.054 | 971.285 | 100 | 6.2591
2019-12-22 18:45:00 | 4.936 | 31.7 | 4.584 | 46.28 | 2.95 | 21.94 | 2.549 | 53.81 | -0.035 | 971.285 | 100 | 2.2797
2019-12-22 19:00:00 | 3.146 | 99.6 | 0.968 | 75.41 | 0.329 | 30.33 | 0.426 | 108.7 | -0.048 | 971.285 | 100 | 0.051728
2019-12-22 19:15:00 | 1.336 | 130.4 | 0 | 81.5 | 1.051 | 35.05 | 1.314 | 125.7 | 1.043 | 971.582 | 100 | -0.33254
2019-12-22 19:30:00 | 1.989 | 140.8 | 0.248 | 82.7 | 1.156 | 32.07 | 1.472 | 138 | -0.239 | 971.582 | 100 | -0.24755
2019-12-22 19:45:00 | 1.843 | 145 | 0 | 87.7 | 0 | 22.51 | 0.16 | 138 | -0.254 | 971.731 | 100 | -0.29928
2019-12-22 20:00:00 | 0.9 | 144.9 | 0 | 87.6 | 0.883 | 24.96 | 1.219 | 138 | -0.423 | 971.88 | 100 | -0.29928
2019-12-22 20:15:00 | 1.569 | 145 | 1.21 | 52.91 | 0 | 19.17 | 0 | 138 | -0.431 | 971.88 | 100 | -0.26972
2019-12-22 20:30:00 | 2.088 | 5.492 | 1.795 | 22.49 | 0.225 | 26.83 | 0.087 | 127.8 | -0.32 | 972.177 | 100 | -0.32884
2019-12-22 20:45:00 | 3.843 | 357.5 | 3.068 | 20.39 | 3.886 | 22.36 | 3.927 | 0.068 | -0.318 | 972.326 | 100 | 2.4718
2019-12-22 21:00:00 | 4.936 | 6.198 | 4.819 | 26.48 | 4.344 | 16.75 | 4.418 | 6.271 | -0.301 | 972.474 | 100 | 6.5066
2019-12-22 21:15:00 | 5.326 | 9.68 | 5.698 | 27.78 | 4.827 | 14.89 | 4.805 | 15.03 | -0.257 | 972.474 | 100 | 9.0856
2019-12-22 21:30:00 | 4.719 | 14.22 | 5.287 | 29.32 | 4.794 | 15.6 | 4.864 | 21.19 | -0.124 | 972.772 | 100 | 7.7813
2019-12-22 21:45:00 | 4.246 | 16.68 | 5.243 | 28.93 | 4.608 | 13.09 | 4.703 | 25.63 | -0.07 | 973.069 | 100 | 5.3427
2019-12-22 22:00:00 | 4.793 | 23.02 | 5.041 | 36.26 | 4.392 | 24.57 | 4.561 | 26.5 | -0.007 | 973.069 | 100 | 5.993
2019-12-22 22:15:00 | 4.259 | 23.89 | 4.336 | 36.08 | 3.949 | 17.38 | 4.235 | 31.88 | -0.007 | 973.515 | 100 | 3.2256
2019-12-22 22:30:00 | 3.718 | 14.63 | 3.454 | 35.58 | 2.586 | 22.28 | 2.974 | 17.41 | -0.07 | 973.664 | 100 | 3.4288
2019-12-22 22:45:00 | 3.394 | 8.15 | 3.888 | 24.91 | 3.026 | 14.43 | 3.478 | 12.07 | -0.06 | 973.664 | 100 | 4.7146
2019-12-22 23:00:00 | 2.289 | 17.13 | 4.279 | 28.85 | 3.362 | 13.69 | 3.825 | 24.29 | -0.064 | 973.664 | 100 | 4.6888
2019-12-22 23:15:00 | 3.385 | 18.14 | 5.136 | 32.61 | 4.379 | 17.55 | 4.843 | 27.31 | -0.091 | 973.367 | 100 | 4.589
2019-12-22 23:30:00 | 4.126 | 23.82 | 4.875 | 32.64 | 5.361 | 21.07 | 5.949 | 40.44 | -0.21 | 973.367 | 100 | 4.7848
2019-12-22 23:45:00 | 2.863 | 20.87 | 4.66 | 34.94 | 5.32 | 28.61 | 5.849 | 38.74 | -0.367 | 973.367 | 100 | 5.7824