## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-23 00:00:00 | 5.176 | 24.21 | 5.862 | 29.16 | 5.542 | 15.65 | 5.75 | 28.45 | -0.484 | 972.921 | 100 | 8.2875
2019-12-23 00:15:00 | 3.457 | 24.21 | 4.341 | 26.49 | 4.16 | 11.44 | 4.612 | 38.27 | -0.711 | 973.069 | 100 | 6.7024
2019-12-23 00:30:00 | 3.194 | 24.21 | 4.159 | 21.38 | 4.153 | 12.43 | 4.522 | 26.75 | -0.736 | 973.069 | 100 | 5.4868
2019-12-23 00:45:00 | 3.848 | 24.25 | 4.737 | 21.38 | 3.848 | 20.07 | 4.115 | 17.1 | -0.828 | 972.921 | 100 | 5.6051
2019-12-23 01:00:00 | 3.562 | 24.26 | 3.835 | 21.38 | 0 | 3.77 | 4.413 | 25.66 | -0.972 | 973.069 | 100 | 5.0065
2019-12-23 01:15:00 | 3.235 | 24.26 | 4.08 | 21.38 | 0 | 3.807 | 4.133 | 24.13 | -1.166 | 973.069 | 100 | 4.7664
2019-12-23 01:30:00 | 3.69 | 24.26 | 3.64 | 21.38 | 0 | 3.807 | 4.166 | 21.01 | -1.304 | 973.218 | 100 | 5.5053
2019-12-23 01:45:00 | 4.772 | 24.26 | 4.453 | 21.38 | 0 | 3.851 | 4.688 | 1.945 | -1.519 | 973.367 | 100 | 8.875
2019-12-23 02:00:00 | 4.749 | 24.26 | 4.65 | 21.38 | 0 | 3.859 | 5.108 | 2.342 | -1.711 | 973.367 | 100 | 12.2854
2019-12-23 02:15:00 | 4.507 | 24.26 | 5.42 | 21.38 | 0 | 3.861 | 4.25 | 12.6 | -1.637 | 973.367 | 100 | 11.8863
2019-12-23 02:30:00 | 4.175 | 24.26 | 5.604 | 21.38 | 0 | 3.857 | 4.828 | 16.81 | -1.524 | 973.367 | 100 | 9.2999
2019-12-23 02:45:00 | 5.158 | 24.26 | 5.527 | 21.38 | 0 | 3.857 | 3.929 | 13.94 | -1.734 | 973.515 | 100 | 8.391
2019-12-23 03:00:00 | 5.048 | 24.26 | 4.89 | 21.38 | 0 | 3.857 | 4.209 | 9.26 | -1.758 | 973.367 | 100 | 8.0326
2019-12-23 03:15:00 | 4.852 | 24.26 | 6.015 | 21.38 | 0 | 3.857 | 4.874 | 16.19 | -1.981 | 973.664 | 100 | 7.8996
2019-12-23 03:30:00 | 4.742 | 24.26 | 5.916 | 21.38 | 0 | 3.857 | 5.337 | 21.59 | -1.914 | 973.515 | 100 | 12.2595
2019-12-23 03:45:00 | 5.232 | 24.26 | 6.059 | 21.38 | 0 | 3.857 | 5.32 | 16.67 | -2 | 973.367 | 100 | 14.0035
2019-12-23 04:00:00 | 5.349 | 24.26 | 6.008 | 21.38 | 0 | 3.858 | 5.098 | 12.95 | -1.903 | 973.367 | 100 | 13.2867
2019-12-23 04:15:00 | 5.196 | 24.26 | 6.12 | 21.38 | 0 | 3.857 | 5.475 | 20.39 | -1.917 | 973.664 | 100 | 8.9674
2019-12-23 04:30:00 | 4.272 | 24.26 | 4.379 | 21.38 | 0 | 3.857 | 3.967 | 13.07 | -1.944 | 973.367 | 100 | 8.3393
2019-12-23 04:45:00 | 4.563 | 24.26 | 5.246 | 21.38 | 0 | 3.857 | 4.51 | 17.82 | -2.054 | 973.664 | 100 | 6.4549
2019-12-23 05:00:00 | 4.9 | 24.26 | 4.873 | 21.38 | 0 | 3.857 | 4.713 | 28.78 | -2.192 | 973.515 | 100 | 5.2393
2019-12-23 05:15:00 | 4.732 | 24.26 | 4.988 | 21.38 | 0 | 3.857 | 4.619 | 27.41 | -2.255 | 973.367 | 100 | 5.2947
2019-12-23 05:30:00 | 4.78 | 24.26 | 5.276 | 21.38 | 0 | 3.857 | 4.859 | 25.41 | -2.324 | 973.367 | 100 | 6.3736
2019-12-23 05:45:00 | 4.566 | 24.26 | 5.039 | 21.37 | 0 | 3.857 | 4.624 | 29.55 | -2.426 | 973.515 | 100 | 5.2873
2019-12-23 06:00:00 | 3.718 | 24.26 | 4.011 | 21.37 | 0 | 3.857 | 3.899 | 29.59 | -2.522 | 973.961 | 100 | 3.536
2019-12-23 06:15:00 | 2.855 | 24.26 | 3.085 | 21.37 | 0 | 3.857 | 3.613 | 18.2 | -2.538 | 974.556 | 100 | 3.7503
2019-12-23 06:30:00 | 3.115 | 24.26 | 2.932 | 21.37 | 0 | 3.857 | 3.32 | 9.67 | -2.56 | 974.556 | 100 | 3.281
2019-12-23 06:45:00 | 2.398 | 24.26 | 2.02 | 21.37 | 0 | 3.857 | 2.663 | 9.13 | -2.595 | 974.854 | 100 | 1.9213
2019-12-23 07:00:00 | 2.265 | 24.26 | 1.465 | 21.37 | 0 | 3.857 | 2.658 | 5.175 | -2.652 | 975.032 | 100 | 1.4225
2019-12-23 07:15:00 | 1.846 | 24.26 | 0.044 | 21.36 | 0 | 3.857 | 2.297 | 5.175 | -2.769 | 975.449 | 100 | 0.89415
2019-12-23 07:30:00 | 0.994 | 24.26 | 0 | 21.36 | 0 | 3.857 | 1.356 | 5.175 | -2.675 | 975.311 | 100 | 0.62073
2019-12-23 07:45:00 | 0.148 | 24.26 | 0 | 21.36 | 0 | 3.863 | 0.854 | 5.175 | -2.589 | 975.599 | 100 | 0.32145
2019-12-23 08:00:00 | 0.045 | 24.26 | 0 | 21.36 | 0 | 3.858 | 0.246 | 5.175 | -2.642 | 976.044 | 100 | -0.18474
2019-12-23 08:15:00 | 1.008 | 24.26 | 0.075 | 21.37 | 0 | 3.857 | 1.522 | 5.175 | -2.647 | 976.044 | 100 | -0.32145
2019-12-23 08:30:00 | 0 | 24.26 | 1.557 | 21.37 | 0 | 3.857 | 2.174 | 5.218 | -2.254 | 976.638 | 100 | -0.2882
2019-12-23 08:45:00 | 1.774 | 24.26 | 2.27 | 21.37 | 0 | 3.816 | 2.017 | 5.224 | -2.244 | 977.233 | 100 | -0.19583
2019-12-23 09:00:00 | 0.074 | 24.25 | 0.008 | 21.37 | 0 | 3.808 | 1.097 | 5.272 | -1.859 | 977.233 | 100 | -0.28081
2019-12-23 09:15:00 | 0.334 | 24.23 | 0.259 | 21.38 | 0 | 3.807 | 0.752 | 5.293 | -1.48 | 977.53 | 100 | -0.29928
2019-12-23 09:30:00 | 0.2 | 24.25 | 0 | 21.38 | 0 | 3.81 | 1.213 | 5.302 | -1.001 | 978.125 | 100 | -0.26972
2019-12-23 09:45:00 | 0.227 | 24.9 | 0 | 21.54 | 0 | 21.68 | 1.65 | 5.483 | -0.768 | 978.422 | 100 | -0.29928
2019-12-23 10:00:00 | 0.358 | 42.1 | 0.041 | 22.15 | 0 | 171.7 | 0 | 5.555 | -0.62 | 978.42 | 100 | -0.28081
2019-12-23 10:15:00 | 0.071 | 65.37 | 0.004 | 21.56 | 0 | 345 | 0 | 5.701 | -0.471 | 978.464 | 100 | -0.29928
2019-12-23 10:30:00 | 1.055 | 54.05 | 0.586 | 21.84 | 1.037 | 24.38 | 0.797 | 5.677 | -0.527 | 978.715 | 100 | -0.26972
2019-12-23 10:45:00 | 0.54 | 28.39 | 0.288 | 22.01 | 0.829 | 352.2 | 0.533 | 5.658 | -0.314 | 978.715 | 100 | -0.23647
2019-12-23 11:00:00 | 2.252 | 22.33 | 1.104 | 22.8 | 0.691 | 11.2 | 0.41 | 5.613 | -0.435 | 978.418 | 100 | -0.0036948
2019-12-23 11:15:00 | 0.867 | 29.38 | 0.627 | 22.62 | 0.485 | 359.9 | 0.121 | 63.09 | -0.29 | 978.211 | 100 | -0.2143
2019-12-23 11:30:00 | 0.202 | 24.03 | 0.386 | 74.76 | 0.851 | 319.7 | 0.729 | 347.2 | 0.4 | 978.416 | 100 | -0.18105
2019-12-23 11:45:00 | 1.857 | 1.007 | 1.491 | 358.3 | 0.865 | 342.9 | 0.676 | 23.82 | 0.582 | 978.433 | 100 | -0.19213
2019-12-23 12:00:00 | 2.409 | 297.1 | 2.331 | 307.2 | 1.935 | 279 | 1.89 | 316.2 | 0.582 | 978.333 | 100 | -0.26972
2019-12-23 12:15:00 | 0.866 | 21.76 | 0.948 | 350.1 | 1.204 | 351.1 | 0.953 | 25.29 | 1.194 | 978.325 | 100 | -0.23647
2019-12-23 12:30:00 | 1.271 | 14.78 | 1.244 | 27.24 | 1.225 | 6.011 | 0.949 | 23.2 | 1.422 | 978.458 | 100 | -0.29189
2019-12-23 12:45:00 | 0.653 | 21.21 | 1.443 | 48.39 | 0.814 | 15.81 | 0.47 | 31.95 | 1.409 | 978.413 | 100 | -0.18474
2019-12-23 13:00:00 | 1.436 | 344.7 | 2.075 | 348.9 | 1.85 | 323.6 | 1.612 | 352.8 | 2.3 | 978.48 | 98.6176 | -0.29189
2019-12-23 13:15:00 | 1.708 | 357.6 | 2.117 | 343.6 | 2.007 | 312.2 | 1.782 | 12.55 | 2.935 | 978.448 | 77.2828 | -0.26972
2019-12-23 13:30:00 | 1.34 | 13.87 | 2.065 | 8.9 | 2.401 | 9.48 | 2.353 | 16.29 | 3.097 | 978.468 | 71.8894 | -0.28081
2019-12-23 13:45:00 | 2.059 | 9.55 | 2.69 | 22.89 | 2.271 | 13.18 | 2.065 | 9.18 | 2.821 | 978.018 | 67.0422 | -0.23647
2019-12-23 14:00:00 | 2.666 | 13.31 | 3.073 | 30.54 | 2.573 | 18.7 | 2.643 | 3.561 | 3.284 | 978.188 | 62.5437 | -0.22539
2019-12-23 14:15:00 | 3.064 | 9.37 | 3.622 | 23.75 | 3.016 | 16.28 | 3.038 | 2.941 | 3.493 | 978.103 | 63.2992 | 0.49511
2019-12-23 14:30:00 | 4.017 | 13.57 | 4.123 | 26.04 | 3.387 | 18.98 | 3.509 | 1.951 | 3.319 | 977.821 | 66.177 | 2.6714
2019-12-23 14:45:00 | 4.2 | 358.3 | 4.456 | 20.15 | 4.595 | 13.83 | 4.619 | 357.7 | 3.177 | 977.59 | 68.3626 | 5.7048
2019-12-23 15:00:00 | 4.423 | 356.2 | 4.361 | 17.7 | 4.611 | 11.32 | 4.769 | 357.8 | 3.229 | 978.117 | 68.6358 | 5.8194
2019-12-23 15:15:00 | 3.886 | 353.5 | 3.796 | 15.44 | 4.204 | 15.45 | 4.357 | 354 | 3.191 | 978.12 | 69.9495 | 5.7307
2019-12-23 15:30:00 | 3.769 | 1.432 | 4.19 | 9.51 | 4.084 | 1.954 | 4.25 | 1.772 | 3.116 | 978.269 | 70.1622 | 5.4942
2019-12-23 15:45:00 | 3.041 | 11.19 | 3.957 | 24.54 | 3.601 | 9.23 | 3.359 | 8.21 | 3.017 | 977.823 | 69.7523 | 5.7159
2019-12-23 16:00:00 | 3.102 | 6.135 | 3.638 | 15.91 | 3.497 | 3.379 | 3.318 | 7.292 | 2.882 | 977.675 | 67.8736 | 6.8133
2019-12-23 16:15:00 | 3.202 | 11.38 | 4.632 | 23.2 | 4.112 | 7.173 | 3.705 | 16.49 | 2.825 | 977.229 | 68.2494 | 6.3514
2019-12-23 16:30:00 | 1.724 | 9.02 | 4.154 | 21.12 | 3.802 | 9.06 | 3.407 | 15.05 | 2.544 | 977.182 | 69.012 | 8.3356
2019-12-23 16:45:00 | 2.993 | 22.46 | 4.093 | 39.04 | 4.056 | 22.19 | 4.087 | 27.32 | 2.478 | 976.636 | 69.6312 | 4.4929
2019-12-23 17:00:00 | 3.092 | 15.24 | 4.816 | 32 | 5.096 | 16.58 | 4.601 | 18.57 | 2.156 | 976.933 | 69.2289 | 1.8733
2019-12-23 17:15:00 | 1.342 | 12.62 | 2.203 | 18.03 | 2.411 | 1.285 | 2.36 | 14.69 | 2.152 | 976.933 | 66.6325 | 0.61334
2019-12-23 17:30:00 | 2.209 | 12.14 | 1.943 | 22.39 | 2.126 | 351.9 | 2.164 | 32.19 | 2.093 | 976.933 | 66.0174 | 0.41013
2019-12-23 17:45:00 | 1.723 | 15.84 | 2.331 | 23.1 | 1.884 | 2.512 | 1.935 | 30.7 | 2.212 | 977.231 | 65.8144 | 0.3621
2019-12-23 18:00:00 | 2.365 | 36.54 | 2.487 | 29.91 | 2.642 | 11.52 | 2.783 | 51.8 | 2.036 | 977.082 | 65.82 | 0.37687
2019-12-23 18:15:00 | 2.822 | 45.14 | 3.044 | 30.96 | 2.716 | 21.66 | 2.722 | 48.96 | 1.764 | 977.231 | 66.882 | -0.040643
2019-12-23 18:30:00 | 1.655 | 50.79 | 2.16 | 31.38 | 2.197 | 42.31 | 2.294 | 63.98 | 1.867 | 977.545 | 67.5349 | -0.34362
2019-12-23 18:45:00 | 1.706 | 82.7 | 1.385 | 89.3 | 1.594 | 77.98 | 1.762 | 102.2 | 2.348 | 977.911 | 61.6257 | -0.28081
2019-12-23 19:00:00 | 0.145 | 145.2 | 0.962 | 91.5 | 1.874 | 91 | 1.889 | 146.2 | 2.433 | 977.929 | 63.7454 | -0.26972
2019-12-23 19:15:00 | 0.227 | 169.1 | 0.947 | 92.1 | 1.66 | 138.5 | 1.744 | 150.5 | 2.371 | 977.892 | 65.695 | -0.31776
2019-12-23 19:30:00 | 0.019 | 164.6 | 1.157 | 185.8 | 2.507 | 180.3 | 2.536 | 167.7 | 2.121 | 977.955 | 66.3793 | -0.29928
2019-12-23 19:45:00 | 2.148 | 155.2 | 2.684 | 174.8 | 3.245 | 150.5 | 3.308 | 159.1 | 2.169 | 978.026 | 64.91 | -0.31776
2019-12-23 20:00:00 | 3.174 | 151.6 | 3.379 | 171.3 | 3.919 | 152.3 | 3.906 | 157.8 | 2.315 | 978.058 | 64.8077 | -0.20691
2019-12-23 20:15:00 | 3.138 | 143.8 | 3.374 | 156.5 | 3.911 | 140.7 | 3.876 | 155.3 | 2.248 | 977.901 | 66.5121 | 0.39535
2019-12-23 20:30:00 | 4.208 | 131.6 | 3.914 | 149.5 | 4.29 | 132.5 | 4.331 | 136.2 | 2.358 | 977.691 | 66.0982 | 1.5555
2019-12-23 20:45:00 | 4.361 | 129.3 | 4.591 | 145.4 | 4.888 | 132.3 | 4.879 | 132.7 | 2.245 | 977.685 | 66.3708 | 3.8426
2019-12-23 21:00:00 | 5.084 | 129.3 | 5.238 | 145.2 | 5.679 | 131.6 | 5.727 | 129.5 | 2.027 | 977.826 | 65.273 | 8.9157
2019-12-23 21:15:00 | 4.693 | 127.6 | 4.614 | 147.5 | 5.219 | 137.4 | 5.337 | 126.7 | 1.705 | 977.974 | 66.5715 | 17.5727
2019-12-23 21:30:00 | 5.148 | 120.2 | 5.688 | 142.6 | 6.488 | 133.8 | 6.761 | 122.3 | 1.788 | 977.827 | 64.3542 | 20.7613
2019-12-23 21:45:00 | 6.358 | 121.3 | 6.578 | 140.1 | 7.268 | 129.2 | 7.329 | 125.9 | 1.771 | 978.124 | 64.2514 | 19.4681
2019-12-23 22:00:00 | 5.995 | 130.6 | 5.985 | 146 | 7.001 | 129.6 | 7.125 | 135.8 | 1.517 | 978.123 | 66.9156 | 20.8463
2019-12-23 22:15:00 | 6.2 | 127 | 6.01 | 149.1 | 6.396 | 142.3 | 6.672 | 130.2 | 1.448 | 978.131 | 68.1502 | 19.9374
2019-12-23 22:30:00 | 6.828 | 130.9 | 7.058 | 146.2 | 7.118 | 132.6 | 7.148 | 135.2 | 1.3 | 978.187 | 67.6727 | 20.9498
2019-12-23 22:45:00 | 7.147 | 129 | 7.056 | 146.2 | 7.174 | 128.3 | 7.146 | 133.3 | 1.577 | 978.357 | 66.3792 | 17.181
2019-12-23 23:00:00 | 6.593 | 123.3 | 6.752 | 141.7 | 6.676 | 134.9 | 6.674 | 125.8 | 1.146 | 978.29 | 67.5756 | 13.6303
2019-12-23 23:15:00 | 4.596 | 121.2 | 4.755 | 140.2 | 5.267 | 130 | 5.381 | 123.3 | 1.074 | 978.668 | 67.8165 | 8.7051
2019-12-23 23:30:00 | 3.46 | 123.7 | 3.817 | 141.7 | 4.445 | 132.3 | 4.535 | 126.1 | 1.079 | 978.719 | 66.04 | 6.9241
2019-12-23 23:45:00 | 2.573 | 124.9 | 2.246 | 156.1 | 3.425 | 137 | 3.486 | 128.8 | 0.742 | 978.422 | 67.8858 | 7.955