## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-24 00:00:00 | 5.633 | 133.2 | 5.632 | 157.4 | 5.999 | 148.7 | 6.134 | 139.8 | 0.815 | 978.422 | 67.9538 | 11.8715
2019-12-24 00:15:00 | 7.239 | 131 | 7.289 | 147.4 | 7.182 | 134.5 | 7.115 | 137.1 | 0.848 | 978.422 | 67.4061 | 21.5631
2019-12-24 00:30:00 | 5.891 | 134.1 | 5.834 | 149.2 | 6.099 | 133.1 | 6.112 | 137.9 | 0.97 | 978.422 | 67.3712 | 19.7822
2019-12-24 00:45:00 | 6.846 | 133.8 | 6.685 | 149.4 | 6.63 | 133.6 | 6.524 | 140 | 1.167 | 978.125 | 66.997 | 25.2986
2019-12-24 01:00:00 | 5.615 | 137.3 | 5.714 | 153.7 | 5.806 | 139.3 | 5.839 | 142.3 | 1.088 | 978.571 | 67.4073 | 18.877
2019-12-24 01:15:00 | 4.954 | 132.4 | 5.455 | 149.4 | 5.941 | 139.8 | 5.844 | 141.2 | 0.69 | 978.719 | 68.535 | 12.5809
2019-12-24 01:30:00 | 3.343 | 147.4 | 3.162 | 172.5 | 4.092 | 173.1 | 4.186 | 148 | 0.144 | 978.719 | 71.9192 | 10.6375
2019-12-24 01:45:00 | 4.313 | 125.8 | 4.857 | 136.7 | 5.076 | 121.2 | 5.029 | 134.1 | 0.457 | 978.422 | 69.048 | 11.7903
2019-12-24 02:00:00 | 4.987 | 123.6 | 5.098 | 135.8 | 5.165 | 113.2 | 5.205 | 132.2 | 0.731 | 978.571 | 69.1164 | 17.0665
2019-12-24 02:15:00 | 4.852 | 124.3 | 5.049 | 138 | 5.628 | 118.2 | 5.602 | 134.1 | 0.525 | 978.422 | 69.8683 | 20.3438
2019-12-24 02:30:00 | 5.046 | 133.8 | 5.473 | 146.5 | 5.615 | 133.5 | 5.579 | 140.7 | 0.469 | 978.422 | 69.9023 | 21.4523
2019-12-24 02:45:00 | 4.882 | 131.7 | 5.205 | 145.8 | 5.577 | 134 | 5.551 | 138.6 | 0.568 | 978.422 | 69.6633 | 22.5201
2019-12-24 03:00:00 | 4.131 | 136.7 | 4.213 | 160.5 | 4.913 | 149.4 | 5.095 | 138.4 | 0.386 | 978.125 | 71.851 | 27.6744
2019-12-24 03:15:00 | 4.732 | 134.3 | 4.543 | 153.5 | 5.608 | 140.6 | 5.76 | 138.8 | 0.348 | 978.125 | 70.552 | 34.2845
2019-12-24 03:30:00 | 4.872 | 132.4 | 5.374 | 151.6 | 6.483 | 143.4 | 6.499 | 139.4 | 0.236 | 977.827 | 70.7571 | 33.1945
2019-12-24 03:45:00 | 5.086 | 136.8 | 5.977 | 153.8 | 6.584 | 143 | 6.557 | 144.8 | 0.218 | 977.827 | 70.9622 | 31.2141
2019-12-24 04:00:00 | 4.379 | 135.9 | 5.182 | 151.5 | 5.964 | 144.5 | 6.066 | 142.8 | 0.136 | 977.53 | 71.304 | 36.9337
2019-12-24 04:15:00 | 4.938 | 135.5 | 5.614 | 154.2 | 6.406 | 146.1 | 6.422 | 139.9 | -0.117 | 977.232 | 72.1244 | 44.9626
2019-12-24 04:30:00 | 5.61 | 134.1 | 6.488 | 150.8 | 6.925 | 140.5 | 6.837 | 141.6 | 0.245 | 977.232 | 71.304 | 46.0156
2019-12-24 04:45:00 | 6.299 | 136.2 | 6.662 | 151.9 | 6.874 | 141.8 | 6.944 | 142.2 | 0.161 | 977.232 | 70.8939 | 48.3323
2019-12-24 05:00:00 | 6.095 | 135.6 | 6.685 | 153.9 | 7.502 | 149.8 | 7.446 | 143 | -0.153 | 977.084 | 72.3979 | 38.8402
2019-12-24 05:15:00 | 5.653 | 143.8 | 5.852 | 161.5 | 6.648 | 150 | 6.679 | 147.2 | -0.562 | 976.935 | 73.4917 | 42.0954
2019-12-24 05:30:00 | 6.123 | 140.5 | 6.634 | 157.7 | 6.854 | 148.1 | 6.827 | 146.9 | -0.675 | 976.786 | 73.6968 | 45.2397
2019-12-24 05:45:00 | 5.97 | 139.5 | 6.514 | 155.7 | 7.052 | 144.4 | 7.087 | 146.1 | -0.721 | 976.638 | 74.1412 | 37.1738
2019-12-24 06:00:00 | 6.56 | 137.4 | 7.335 | 151.9 | 7.902 | 139.8 | 7.813 | 146.7 | -0.631 | 976.638 | 74.2454 | 42.1877
2019-12-24 06:15:00 | 6.759 | 135.3 | 7.468 | 150 | 8.1 | 139.8 | 8.03 | 145.3 | -0.688 | 976.638 | 74.5529 | 46.9319
2019-12-24 06:30:00 | 5.127 | 134.5 | 6.176 | 152.8 | 7.357 | 142.4 | 7.479 | 143.3 | -0.805 | 976.638 | 75.9556 | 47.028
2019-12-24 06:45:00 | 6.692 | 139.1 | 7.12 | 156.2 | 7.914 | 143.6 | 7.907 | 147.1 | -0.969 | 976.638 | 75.6868 | 49.9174
2019-12-24 07:00:00 | 7.075 | 139.5 | 7.514 | 154 | 8.05 | 139.7 | 8.05 | 150.7 | -0.645 | 976.786 | 74.8982 | 44.2347
2019-12-24 07:15:00 | 6.432 | 140.8 | 6.879 | 156.6 | 7.556 | 145 | 7.578 | 148.3 | -0.565 | 976.638 | 74.5258 | 42.4944
2019-12-24 07:30:00 | 6.046 | 137 | 6.764 | 151.9 | 7.492 | 143 | 7.522 | 146.7 | -0.657 | 976.638 | 73.7715 | 37.1184
2019-12-24 07:45:00 | 7.351 | 145.7 | 8.1 | 156.5 | 8.06 | 142.5 | 7.935 | 154.8 | -0.131 | 976.786 | 72.7073 | 41.6779
2019-12-24 08:00:00 | 6.902 | 135.1 | 7.406 | 149.6 | 7.342 | 138.7 | 7.314 | 144.2 | 0.032 | 976.935 | 71.9194 | 44.6559
2019-12-24 08:15:00 | 6.473 | 136.9 | 6.798 | 152.2 | 7.182 | 141.6 | 7.204 | 143.4 | 0.263 | 977.232 | 71.7484 | 40.5583
2019-12-24 08:30:00 | 6.248 | 140.2 | 6.649 | 154.9 | 7.337 | 148.3 | 7.441 | 145.5 | 0.31 | 977.381 | 71.851 | 42.0732
2019-12-24 08:45:00 | 5.932 | 136.2 | 6.092 | 159.2 | 6.65 | 152.6 | 6.769 | 141 | 0.422 | 977.53 | 71.6117 | 36.6122
2019-12-24 09:00:00 | 6.154 | 142.4 | 6.276 | 157.9 | 6.882 | 147.6 | 6.909 | 150.3 | 0.518 | 977.53 | 71.2699 | 31.4062
2019-12-24 09:15:00 | 6.238 | 147.8 | 6.335 | 163.5 | 6.572 | 153.2 | 6.626 | 154.9 | 0.754 | 977.744 | 70.347 | 30.5748
2019-12-24 09:30:00 | 6.973 | 143.3 | 7.214 | 154.8 | 6.65 | 144.3 | 6.529 | 152.7 | 0.808 | 977.989 | 70.0028 | 28.0587
2019-12-24 09:45:00 | 6.427 | 148.4 | 6.437 | 169.2 | 6.371 | 164.7 | 6.303 | 153.4 | 0.731 | 978.204 | 69.9289 | 25.5314
2019-12-24 10:00:00 | 6.608 | 146.1 | 6.683 | 164.1 | 7.251 | 153.6 | 7.222 | 149.9 | 0.5 | 978.125 | 70.5754 | 18.0604
2019-12-24 10:15:00 | 6.128 | 144.6 | 6.859 | 162.8 | 7.373 | 152.9 | 7.334 | 152.7 | 0.395 | 978.147 | 71.0248 | 12.7103
2019-12-24 10:30:00 | 5.416 | 147.5 | 5.665 | 165.4 | 6.444 | 160.4 | 6.56 | 151.7 | 0.654 | 978.18 | 69.9312 | 14.0035
2019-12-24 10:45:00 | 6.246 | 153.3 | 6.059 | 173.8 | 6.518 | 168.8 | 6.669 | 158.3 | 0.631 | 978.165 | 69.5174 | 18.3671
2019-12-24 11:00:00 | 6.121 | 152.4 | 6.644 | 169.3 | 7.103 | 163.2 | 7.135 | 158.2 | 0.381 | 978.139 | 71.4981 | 16.5566
2019-12-24 11:15:00 | 6.312 | 154.8 | 6.417 | 172.7 | 7.416 | 166.3 | 7.459 | 159.7 | 0.325 | 977.832 | 71.4996 | 16.0393
2019-12-24 11:30:00 | 5.559 | 155.9 | 6.235 | 169.6 | 6.404 | 161.2 | 6.42 | 163.5 | 0.377 | 977.89 | 72.5915 | 10.1165
2019-12-24 11:45:00 | 5.561 | 164.4 | 5.591 | 175.5 | 5.463 | 156.5 | 5.569 | 172.3 | 0.358 | 977.562 | 73.3498 | 5.11
2019-12-24 12:00:00 | 4.979 | 157.8 | 4.53 | 171.3 | 3.565 | 153.6 | 3.616 | 169 | 0.557 | 977.713 | 72.4623 | 5.0102
2019-12-24 12:15:00 | 4.936 | 167.2 | 4.888 | 174.8 | 4.356 | 158.8 | 4.372 | 180.5 | 0.611 | 977.601 | 72.4589 | 5.1506
2019-12-24 12:30:00 | 5.265 | 150.7 | 5.039 | 166.2 | 4.656 | 156.6 | 4.655 | 156.7 | 0.695 | 977.167 | 71.0198 | 6.7837
2019-12-24 12:45:00 | 6.133 | 152.4 | 5.78 | 165.9 | 4.89 | 151.4 | 4.79 | 161.4 | 0.969 | 976.936 | 71.2202 | 7.5707
2019-12-24 13:00:00 | 5.801 | 155.5 | 5.407 | 166.4 | 4.664 | 151.8 | 4.573 | 165.2 | 1.287 | 976.934 | 70.4597 | 7.8368
2019-12-24 13:15:00 | 6.455 | 154.3 | 6.102 | 166.5 | 5.348 | 150.4 | 5.365 | 166.3 | 1.369 | 976.934 | 71.4847 | 10.3973
2019-12-24 13:30:00 | 5.806 | 167.4 | 5.614 | 177.1 | 4.682 | 164.6 | 4.67 | 180.2 | 1.621 | 976.934 | 72.1681 | 9.662
2019-12-24 13:45:00 | 6.279 | 158.9 | 6.164 | 172.8 | 5 | 158.5 | 4.971 | 167 | 1.619 | 976.637 | 73.3641 | 11.7311
2019-12-24 14:00:00 | 5.03 | 172.7 | 5.159 | 185.6 | 5.124 | 183.9 | 5.151 | 178.3 | 1.76 | 976.637 | 72.6465 | 11.1178
2019-12-24 14:15:00 | 6.1 | 164.1 | 5.76 | 183.4 | 5.343 | 176.8 | 5.457 | 170 | 1.789 | 976.637 | 73.74 | 9.5844
2019-12-24 14:30:00 | 6.008 | 158.6 | 5.923 | 175.5 | 5.498 | 162.7 | 5.493 | 166.8 | 1.936 | 976.333 | 74.2866 | 10.5525
2019-12-24 14:45:00 | 6.685 | 149.8 | 6.675 | 164.9 | 5.938 | 149.6 | 5.765 | 155.8 | 1.852 | 976.334 | 74.4575 | 11.7644
2019-12-24 15:00:00 | 6.703 | 141 | 6.826 | 155.1 | 6.862 | 140.8 | 6.799 | 149.4 | 2.048 | 976.312 | 74.831 | 17.6059
2019-12-24 15:15:00 | 6.634 | 141.9 | 6.557 | 160.8 | 6.373 | 154.1 | 6.343 | 147.6 | 2.226 | 975.731 | 74.0777 | 34.5468
2019-12-24 15:30:00 | 6.838 | 143.1 | 7.122 | 157.8 | 7.116 | 150.7 | 6.983 | 149.5 | 2.061 | 974.848 | 73.2586 | 21.3747
2019-12-24 15:45:00 | 6.348 | 149.9 | 6.276 | 170.2 | 6.706 | 162.5 | 6.746 | 152.8 | 2.278 | 974.554 | 73.7399 | 20.0889
2019-12-24 16:00:00 | 6.69 | 146.6 | 6.56 | 164.4 | 6.503 | 154.9 | 6.463 | 147.8 | 2.105 | 974.553 | 72.7832 | 15.0491
2019-12-24 16:15:00 | 5.812 | 143.4 | 6.089 | 160.8 | 6.218 | 144.6 | 6.117 | 146.1 | 2.168 | 974.555 | 73.5349 | 13.1906
2019-12-24 16:30:00 | 4.76 | 148.5 | 5.136 | 168.2 | 5.254 | 162.4 | 5.368 | 149.1 | 2.235 | 974.555 | 74.4575 | 12.8248
2019-12-24 16:45:00 | 6.79 | 144 | 6.918 | 161 | 6.996 | 143.3 | 6.888 | 149.4 | 2.202 | 974.555 | 73.6716 | 14.0182
2019-12-24 17:00:00 | 5.972 | 140.9 | 6.384 | 158.2 | 6.505 | 145.3 | 6.478 | 146 | 2.204 | 974.406 | 72.9882 | 13.4862
2019-12-24 17:15:00 | 5.012 | 148.9 | 5.565 | 166.2 | 5.709 | 149.5 | 5.694 | 153.4 | 2.173 | 974.555 | 73.5008 | 14.3323
2019-12-24 17:30:00 | 5.771 | 142.4 | 6.488 | 159.9 | 6.8 | 147.4 | 6.677 | 146.9 | 2.232 | 974.555 | 71.8264 | 12.5366
2019-12-24 17:45:00 | 4.931 | 139.7 | 5.279 | 158.3 | 5.793 | 146.9 | 5.793 | 144.5 | 2.415 | 974.555 | 70.7329 | 8.875
2019-12-24 18:00:00 | 4.943 | 131.3 | 5.036 | 149.8 | 4.72 | 135.8 | 4.805 | 136.5 | 2.543 | 974.258 | 70.1179 | 13.0169
2019-12-24 18:15:00 | 5.337 | 130.6 | 5.68 | 148 | 5.737 | 135.8 | 5.796 | 133.8 | 2.614 | 973.663 | 69.2294 | 23.4105
2019-12-24 18:30:00 | 5.824 | 122.4 | 6.056 | 138.9 | 6.287 | 123.7 | 6.343 | 128.8 | 2.779 | 973.812 | 67.0767 | 26.9835
2019-12-24 18:45:00 | 5.538 | 133.8 | 5.772 | 147.7 | 5.92 | 136 | 5.949 | 138 | 2.684 | 973.961 | 67.6576 | 29.3555
2019-12-24 19:00:00 | 3.948 | 127.2 | 4.29 | 145 | 4.712 | 139.9 | 4.808 | 137 | 2.597 | 974.406 | 67.931 | 23.0337
2019-12-24 19:15:00 | 5.278 | 127.9 | 5.68 | 145.4 | 6.236 | 130.9 | 6.252 | 134.6 | 2.725 | 974.406 | 68.2043 | 36.579
2019-12-24 19:30:00 | 6.031 | 132.5 | 6.115 | 148.6 | 6.561 | 132.1 | 6.565 | 135.9 | 2.59 | 974.555 | 68.4093 | 38.1049
2019-12-24 19:45:00 | 7.042 | 133 | 7.636 | 150.8 | 7.948 | 139 | 7.96 | 137.1 | 2.618 | 974.406 | 68.3752 | 36.4977
2019-12-24 20:00:00 | 7.469 | 131.4 | 7.746 | 150.2 | 8.04 | 141.7 | 8.02 | 136.3 | 2.565 | 973.961 | 69.0244 | 47.2238
2019-12-24 20:15:00 | 7.762 | 136.2 | 8.21 | 151.6 | 8.6 | 141.8 | 8.64 | 141.7 | 2.742 | 973.961 | 68.8877 | 53.276
2019-12-24 20:30:00 | 7.055 | 136 | 7.324 | 153.4 | 8.4 | 143.8 | 8.41 | 141.9 | 2.752 | 974.109 | 69.5028 | 60.0412
2019-12-24 20:45:00 | 7.982 | 136.8 | 8.21 | 154.5 | 8.37 | 141.3 | 8.4 | 142 | 2.77 | 973.961 | 69.1611 | 59.3688
2019-12-24 21:00:00 | 7.686 | 137.1 | 8.22 | 152.2 | 8.13 | 139.9 | 8.03 | 144.6 | 2.781 | 973.961 | 69.4345 | 56.4646
2019-12-24 21:15:00 | 6.621 | 134.5 | 7.133 | 149.6 | 7.8 | 138.4 | 7.79 | 138.8 | 2.688 | 974.258 | 70.1179 | 52.2451
2019-12-24 21:30:00 | 8.41 | 139.5 | 8.85 | 155.8 | 9.37 | 144.1 | 9.31 | 144 | 2.766 | 973.961 | 69.9812 | 50.527
2019-12-24 21:45:00 | 8.9 | 140.7 | 9.04 | 158.3 | 9.15 | 147.7 | 9.12 | 147.2 | 2.951 | 973.961 | 70.3912 | 54.4323
2019-12-24 22:00:00 | 8.92 | 140.8 | 9.38 | 158.8 | 9.75 | 147.2 | 9.73 | 146.2 | 3.008 | 974.258 | 70.1179 | 46.3297
2019-12-24 22:15:00 | 8.76 | 144.1 | 9.09 | 162.2 | 9.22 | 152.2 | 9.15 | 148.8 | 2.998 | 974.555 | 70.8355 | 44.8111
2019-12-24 22:30:00 | 7.813 | 144.4 | 8.26 | 160.5 | 8.81 | 152.9 | 8.78 | 150.4 | 2.869 | 974.555 | 71.143 | 35.7809
2019-12-24 22:45:00 | 7.198 | 147.3 | 7.508 | 166.8 | 8.26 | 158.1 | 8.24 | 151.1 | 2.701 | 974.555 | 72.6807 | 28.5722
2019-12-24 23:00:00 | 5.837 | 151.4 | 6.286 | 168.7 | 6.737 | 160.5 | 6.741 | 155.7 | 2.574 | 974.555 | 73.5008 | 20.2625
2019-12-24 23:15:00 | 6.93 | 149.4 | 7.056 | 166.9 | 8.04 | 159.8 | 8.06 | 155.7 | 2.577 | 974.406 | 75.3801 | 37.2736
2019-12-24 23:30:00 | 7.767 | 146.7 | 8.22 | 163.5 | 8.61 | 150.4 | 8.64 | 153.8 | 2.565 | 973.961 | 77.362 | 33.4199
2019-12-24 23:45:00 | 6.603 | 148.2 | 6.534 | 167.2 | 7.289 | 161.5 | 7.362 | 154 | 2.514 | 974.109 | 77.7379 | 15.1784