## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-25 00:00:00 | 5.025 | 155.2 | 5.279 | 171.6 | 5.732 | 163.9 | 5.809 | 158.2 | 2.447 | 974.258 | 78.2505 | 10.8518
2019-12-25 00:15:00 | 5.612 | 168.9 | 5.289 | 188.4 | 5.257 | 185.6 | 5.37 | 166.3 | 2.563 | 974.258 | 79.959 | 15.1452
2019-12-25 00:30:00 | 5.875 | 157.8 | 5.905 | 174.3 | 5.661 | 157.3 | 5.691 | 165.4 | 2.505 | 974.258 | 80.8474 | 16.9335
2019-12-25 00:45:00 | 5.794 | 156.6 | 5.532 | 173 | 5.274 | 161.8 | 5.281 | 162.1 | 2.484 | 974.109 | 81.4625 | 10.534
2019-12-25 01:00:00 | 5.804 | 167.5 | 5.913 | 180.9 | 5.862 | 164.7 | 5.994 | 170.5 | 2.528 | 974.109 | 83.0343 | 7.5375
2019-12-25 01:15:00 | 4.79 | 172.3 | 4.829 | 184.5 | 4.878 | 165.4 | 5.075 | 179.9 | 2.723 | 974.258 | 84.572 | 3.5397
2019-12-25 01:30:00 | 3.353 | 166.1 | 3.535 | 179.1 | 3.153 | 159.9 | 3.15 | 172.3 | 2.652 | 974.258 | 84.4011 | 1.1084
2019-12-25 01:45:00 | 3.884 | 149.1 | 4.088 | 161.8 | 4.021 | 145.5 | 4.023 | 160.6 | 2.526 | 974.258 | 83.4444 | 3.403
2019-12-25 02:00:00 | 5.812 | 145.1 | 5.755 | 160.4 | 5.979 | 143.9 | 5.941 | 152 | 2.489 | 973.663 | 84.7087 | 15.0306
2019-12-25 02:15:00 | 5.914 | 149 | 6.378 | 167.1 | 6.729 | 154.9 | 6.725 | 152.9 | 2.441 | 973.961 | 85.2554 | 20.3882
2019-12-25 02:30:00 | 6.698 | 147.1 | 6.954 | 162 | 7.167 | 145.5 | 7.179 | 149.3 | 2.403 | 973.663 | 86.8956 | 24.5449
2019-12-25 02:45:00 | 5.725 | 145.4 | 5.54 | 165 | 5.506 | 152.8 | 5.477 | 149.6 | 2.066 | 973.366 | 88.8433 | 18.8733
2019-12-25 03:00:00 | 5.526 | 143.3 | 5.386 | 162.3 | 4.733 | 150 | 4.721 | 143.8 | 1.739 | 973.366 | 95.8141 | 14.6353
2019-12-25 03:15:00 | 4.535 | 143.3 | 4.609 | 159.8 | 5.328 | 150.8 | 5.406 | 146.9 | 1.62 | 973.366 | 97.5226 | 10.8739
2019-12-25 03:30:00 | 5.089 | 142.7 | 5.228 | 158.6 | 5.328 | 146.3 | 5.309 | 146.6 | 1.553 | 973.217 | 99.4362 | 7.6114
2019-12-25 03:45:00 | 4.719 | 141.9 | 4.63 | 159 | 4.557 | 145.1 | 4.553 | 143 | 1.664 | 973.217 | 99.9829 | 7.3897
2019-12-25 04:00:00 | 4.32 | 134.8 | 4.637 | 152.5 | 4.644 | 139.8 | 4.645 | 138.7 | 1.689 | 972.92 | 99.9838 | 10.7187
2019-12-25 04:15:00 | 5.311 | 132.8 | 5.312 | 149.4 | 5.363 | 139.5 | 5.286 | 137.8 | 1.713 | 972.474 | 100 | 14.517
2019-12-25 04:30:00 | 4.065 | 120.7 | 4.136 | 135.2 | 4.333 | 119.6 | 4.362 | 124.7 | 1.69 | 972.177 | 100 | 12.2558
2019-12-25 04:45:00 | 3.125 | 120 | 3.359 | 138.7 | 3.695 | 128 | 3.769 | 124.5 | 1.691 | 972.177 | 99.9839 | 15.7474
2019-12-25 05:00:00 | 4.05 | 112.8 | 4.555 | 131.7 | 5.465 | 131.8 | 5.628 | 117.4 | 1.981 | 972.177 | 96.8392 | 17.3732
2019-12-25 05:15:00 | 4.124 | 115.2 | 5.88 | 123.5 | 6.709 | 113.2 | 6.746 | 131.4 | 2.153 | 972.177 | 95.5749 | 14.9493
2019-12-25 05:30:00 | 4.558 | 121 | 5.018 | 138.4 | 5.397 | 126.2 | 5.46 | 128.4 | 2.419 | 972.177 | 94.7207 | 18.6774
2019-12-25 05:45:00 | 5.62 | 120.3 | 6.233 | 134.3 | 6.607 | 125.4 | 6.585 | 128.4 | 2.641 | 972.326 | 93.9006 | 25.4205
2019-12-25 06:00:00 | 4.109 | 115.1 | 4.134 | 131.7 | 4.545 | 125.7 | 4.624 | 124.8 | 2.562 | 972.623 | 93.9006 | 22.0582
2019-12-25 06:15:00 | 4.349 | 115.5 | 4.696 | 128.9 | 5.155 | 109.7 | 5.33 | 123.2 | 2.882 | 973.069 | 92.2262 | 20.4621
2019-12-25 06:30:00 | 5.145 | 117.2 | 5.913 | 129.2 | 6.704 | 114.5 | 6.774 | 126.6 | 3.091 | 973.069 | 91.2353 | 21.7737
2019-12-25 06:45:00 | 6.496 | 125.3 | 7.138 | 138.7 | 7.055 | 123.9 | 7.005 | 132.1 | 3.338 | 973.366 | 89.2192 | 19.2428
2019-12-25 07:00:00 | 5.584 | 134.1 | 5.778 | 147.6 | 5.559 | 133.4 | 5.488 | 141.2 | 3.591 | 973.663 | 88.6024 | 10.8518
2019-12-25 07:15:00 | 3.141 | 140.8 | 3.418 | 160.9 | 4.255 | 154.4 | 4.303 | 144.3 | 3.713 | 974.401 | 88.7353 | 4.7257
2019-12-25 07:30:00 | 1.718 | 158.7 | 1.155 | 194.9 | 2.664 | 258 | 2.811 | 141.9 | 2.983 | 974.553 | 91.9133 | 1.223
2019-12-25 07:45:00 | 3.044 | 230.7 | 1.542 | 285 | 0.349 | 295.2 | 0.286 | 170.3 | 2.512 | 974.555 | 94.6462 | -0.2882
2019-12-25 08:00:00 | 3.276 | 296.2 | 3.144 | 307.3 | 0.752 | 303 | 0.378 | 302 | 1.949 | 974.842 | 97.8642 | -0.16257
2019-12-25 08:15:00 | 3.381 | 309.3 | 3.387 | 316.5 | 1.715 | 308.2 | 1.368 | 320.9 | 1.802 | 974.852 | 98.8211 | -0.26233
2019-12-25 08:30:00 | 2.607 | 322.8 | 3.114 | 335.5 | 2.525 | 327.3 | 2.335 | 329.4 | 1.761 | 974.852 | 99.5045 | -0.25125
2019-12-25 08:45:00 | 1.659 | 15.33 | 1.95 | 21 | 1.788 | 340.5 | 1.668 | 13.59 | 1.821 | 974.852 | 99.8462 | -0.26972
2019-12-25 09:00:00 | 2.15 | 44.94 | 2.257 | 24.55 | 2.395 | 356.4 | 2.531 | 68.59 | 1.819 | 975.15 | 100 | -0.26972
2019-12-25 09:15:00 | 1.425 | 70.2 | 1.237 | 24.59 | 1.884 | 356.9 | 1.917 | 96.8 | 2.082 | 975.298 | 99.9829 | -0.25864
2019-12-25 09:30:00 | 0.842 | 11.45 | 0.525 | 23.81 | 0.143 | 328.7 | 0.2 | 73.53 | 2.229 | 975.744 | 99.9829 | -0.27711
2019-12-25 09:45:00 | 0.742 | 20.65 | 0.192 | 23.03 | 0.251 | 352.4 | 0.386 | 73.63 | 2.304 | 975.596 | 99.9487 | -0.26972
2019-12-25 10:00:00 | 2.52 | 46.2 | 2.597 | 24.55 | 2.403 | 28 | 2.424 | 60.8 | 2.237 | 975.15 | 100 | -0.32145
2019-12-25 10:15:00 | 2.231 | 16.96 | 2.597 | 23.65 | 2.523 | 4.387 | 2.551 | 22.98 | 2.251 | 975.15 | 100 | -0.096066
2019-12-25 10:30:00 | 2.903 | 31.72 | 3.088 | 24.83 | 3.242 | 26.88 | 3.277 | 40.61 | 2.205 | 975.15 | 100 | -0.22908
2019-12-25 10:45:00 | 2.344 | 53.86 | 1.989 | 24.65 | 1.33 | 15.25 | 1.285 | 65.71 | 2.306 | 975.15 | 100 | -0.26972
2019-12-25 11:00:00 | 2.827 | 5.835 | 2.339 | 17.51 | 1.968 | 355.9 | 1.943 | 18.2 | 2.566 | 974.852 | 100 | -0.070202
2019-12-25 11:15:00 | 2.712 | 352.1 | 2.733 | 19.59 | 3.265 | 12 | 3.341 | 348.4 | 2.486 | 974.542 | 100 | 0.073897
2019-12-25 11:30:00 | 2.914 | 8.07 | 3.929 | 23.48 | 3.375 | 7.01 | 3.369 | 10.32 | 2.293 | 974.244 | 100 | 0.26972
2019-12-25 11:45:00 | 2.31 | 23.44 | 2.988 | 32.37 | 3.067 | 20.56 | 3.048 | 28.28 | 2.303 | 973.955 | 100 | 0.073897
2019-12-25 12:00:00 | 2.436 | 26.02 | 2.341 | 32.43 | 2.421 | 20.88 | 2.434 | 32.27 | 2.372 | 973.961 | 100 | 0.059118
2019-12-25 12:15:00 | 1.732 | 15.46 | 2.758 | 31.2 | 2.754 | 5.324 | 2.783 | 25.55 | 2.515 | 973.514 | 100 | 0.096066
2019-12-25 12:30:00 | 2.714 | 2.342 | 3.287 | 22.12 | 3.156 | 1.403 | 2.885 | 5.582 | 2.575 | 973.339 | 100 | 1.1824
2019-12-25 12:45:00 | 3.105 | 6.035 | 3.74 | 17.8 | 4.041 | 359.7 | 3.672 | 10.05 | 2.726 | 973.069 | 99.9818 | 1.7329
2019-12-25 13:00:00 | 2.239 | 12.5 | 3.617 | 20.35 | 4.669 | 5.173 | 4.331 | 19.43 | 2.712 | 972.76 | 100 | 1.8031
2019-12-25 13:15:00 | 2.034 | 17.29 | 3.425 | 25.78 | 3.98 | 3.006 | 4.077 | 24.86 | 2.575 | 972.603 | 100 | 1.3264
2019-12-25 13:30:00 | 1.721 | 348.8 | 1.766 | 356.5 | 2.235 | 335.5 | 2.419 | 351.2 | 2.476 | 972.919 | 100 | 0.72419
2019-12-25 13:45:00 | 1.973 | 7.965 | 2.269 | 6.666 | 2.792 | 352.7 | 2.63 | 16.04 | 2.411 | 972.613 | 100 | 1.8991
2019-12-25 14:00:00 | 2.739 | 354 | 3.083 | 4.697 | 3.568 | 348.7 | 3.634 | 4.563 | 2.035 | 972.176 | 100 | 2.7046
2019-12-25 14:15:00 | 2.797 | 352.3 | 2.89 | 10.4 | 3.837 | 9.75 | 3.865 | 5.972 | 1.73 | 972.176 | 100 | 4.6223
2019-12-25 14:30:00 | 3.381 | 350.2 | 3.679 | 12.32 | 4.344 | 12.29 | 4.489 | 355.8 | 1.487 | 972.028 | 100 | 4.7922
2019-12-25 14:45:00 | 2.287 | 355.7 | 2.559 | 25 | 3.143 | 354.7 | 3.376 | 341.6 | 1.484 | 972.177 | 100 | 5.3169
2019-12-25 15:00:00 | 3.726 | 358.9 | 3.952 | 11.92 | 4.321 | 11.56 | 4.655 | 358 | 1.425 | 972.177 | 100 | 4.2269
2019-12-25 15:15:00 | 3.682 | 352.8 | 3.817 | 13.83 | 4.923 | 10.22 | 4.988 | 353.8 | 1.417 | 972.326 | 99.9829 | 7.4599
2019-12-25 15:30:00 | 3.794 | 0.121 | 4.149 | 20.65 | 5.018 | 17.26 | 5.439 | 359.6 | 1.421 | 972.326 | 100 | 8.9563
2019-12-25 15:45:00 | 3.831 | 353 | 4.489 | 20.25 | 5.567 | 10.31 | 5.793 | 349.7 | 1.522 | 972.474 | 99.9843 | 14.7498
2019-12-25 16:00:00 | 5.858 | 355.2 | 5.458 | 15.98 | 6.162 | 15.45 | 6.44 | 356.1 | 1.553 | 972.326 | 99.9849 | 16.309
2019-12-25 16:15:00 | 4.831 | 353.6 | 5.317 | 15.91 | 6.422 | 13.75 | 6.629 | 355.4 | 1.552 | 972.772 | 100 | 17.5357
2019-12-25 16:30:00 | 6.256 | 358.9 | 6.171 | 18.97 | 7.017 | 14.15 | 7.499 | 358.4 | 1.547 | 972.623 | 100 | 29.2004
2019-12-25 16:45:00 | 5.485 | 4.736 | 6.266 | 26.39 | 6.261 | 16.25 | 6.634 | 0.041 | 1.495 | 972.92 | 100 | 29.6216
2019-12-25 17:00:00 | 6.534 | 358.4 | 6.793 | 23.06 | 7.363 | 18.39 | 7.808 | 359.5 | 1.479 | 972.772 | 99.9838 | 37.7346
2019-12-25 17:15:00 | 6.608 | 2.247 | 7.107 | 24.68 | 6.892 | 16.2 | 7.013 | 3.233 | 1.418 | 973.217 | 100 | 32.7363
2019-12-25 17:30:00 | 6.588 | 5.092 | 7.278 | 26.45 | 7.36 | 19.41 | 7.561 | 1.616 | 1.354 | 973.217 | 99.9941 | 34.4027
2019-12-25 17:45:00 | 7.213 | 5.372 | 7.81 | 28.8 | 7.35 | 17.39 | 7.443 | 5.165 | 1.285 | 973.366 | 99.998 | 33.7007
2019-12-25 18:00:00 | 6.537 | 2.356 | 6.949 | 20.76 | 7.062 | 17.56 | 7.176 | 3.257 | 1.219 | 973.515 | 100 | 37.1575
2019-12-25 18:15:00 | 6.09 | 0.816 | 6.969 | 25.61 | 7.502 | 16.26 | 7.925 | 358.5 | 0.928 | 973.695 | 100 | 43.1484
2019-12-25 18:30:00 | 6.915 | 3.14 | 7.629 | 23.3 | 7.869 | 15.06 | 8.24 | 3.551 | 0.567 | 973.525 | 100 | 50.0689
2019-12-25 18:45:00 | 8.14 | 3.616 | 8.45 | 24.48 | 8.46 | 16.6 | 8.66 | 3.903 | 0.308 | 973.651 | 100 | 59.7087
2019-12-25 19:00:00 | 8.27 | 7.539 | 9.18 | 25.17 | 8.05 | 15.4 | 7.833 | 10.41 | 0.216 | 973.664 | 100 | 57.2822
2019-12-25 19:15:00 | 7.872 | 3.259 | 8.19 | 22.43 | 7.599 | 13.72 | 7.471 | 7.228 | 0.078 | 973.961 | 100 | 52.7365
2019-12-25 19:30:00 | 7.811 | 2.889 | 8.15 | 21.82 | 8.3 | 14.67 | 8.5 | 5.355 | -0.195 | 973.961 | 100 | 55.9273
2019-12-25 19:45:00 | 7.52 | 5.478 | 8.15 | 23.58 | 7.093 | 13.63 | 6.955 | 7.25 | -0.28 | 973.961 | 100 | 60.8636
2019-12-25 20:00:00 | 7.39 | 5.467 | 7.933 | 22.95 | 7.864 | 16.18 | 8.15 | 3.153 | -0.404 | 974.259 | 100 | 61.9019
2019-12-25 20:15:00 | 7.407 | 5.467 | 8.16 | 23.88 | 7.373 | 14.5 | 7.044 | 8.42 | -0.43 | 974.556 | 100 | 57.8756
2019-12-25 20:30:00 | 7.183 | 5.467 | 7.434 | 21.56 | 7.686 | 13.22 | 7.711 | 4.521 | -0.511 | 974.259 | 100 | 60.4366
2019-12-25 20:45:00 | 7.418 | 5.467 | 8.92 | 26.46 | 7.78 | 13.76 | 7.339 | 9.69 | -0.645 | 974.556 | 100 | 61.5524
2019-12-25 21:00:00 | 7.591 | 5.467 | 8.74 | 22.23 | 8.34 | 12.67 | 8.12 | 6.861 | -0.862 | 974.556 | 100 | 65.6205
2019-12-25 21:15:00 | 8.18 | 5.467 | 9.18 | 25.56 | 8.39 | 14.77 | 7.994 | 10.89 | -0.972 | 974.556 | 100 | 65.8902
2019-12-25 21:30:00 | 8.5 | 5.467 | 10.25 | 23.98 | 9.16 | 13.55 | 8.68 | 10.61 | -1.031 | 974.854 | 100 | 65.5429
2019-12-25 21:45:00 | 8.5 | 5.467 | 9.63 | 23.31 | 8.79 | 10.75 | 8.57 | 7.738 | -1.143 | 974.854 | 100 | 67.3955
2019-12-25 22:00:00 | 9.27 | 5.467 | 11.11 | 25.55 | 9.53 | 13.75 | 9.03 | 10.48 | -1.229 | 974.854 | 100 | 66.7696
2019-12-25 22:15:00 | 7.939 | 5.467 | 10.32 | 23.94 | 9.63 | 12.59 | 8.93 | 11.12 | -1.229 | 974.854 | 100 | 62.6129
2019-12-25 22:30:00 | 8.91 | 5.467 | 9.25 | 20.2 | 9.06 | 12.64 | 8.7 | 6.705 | -1.232 | 975.151 | 100 | 67.9186
2019-12-25 22:45:00 | 8.6 | 5.467 | 8.85 | 22.37 | 9.9 | 16.49 | 10.47 | 2.149 | -1.235 | 974.854 | 100 | 71.5971
2019-12-25 23:00:00 | 9.03 | 5.467 | 10.62 | 24.95 | 9.55 | 14.67 | 9.1 | 10.7 | -1.334 | 974.854 | 100 | 64.7594
2019-12-25 23:15:00 | 8.35 | 5.467 | 8.31 | 18.99 | 9.68 | 14.95 | 10.18 | 1.882 | -1.369 | 975.448 | 100 | 62.4288
2019-12-25 23:30:00 | 8.56 | 5.468 | 10.64 | 26.4 | 9.88 | 14.81 | 9.02 | 11.43 | -1.411 | 975.448 | 100 | 57.636
2019-12-25 23:45:00 | 8.1 | 5.468 | 10.68 | 27.62 | 10.3 | 15.64 | 9.62 | 16.89 | -1.37 | 975.3 | 100 | 55.8782