## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-26 00:00:00 | 6.396 | 5.468 | 10.14 | 30.83 | 10.03 | 16.31 | 9.41 | 21.73 | -1.368 | 975.151 | 100 | 49.0786
2019-12-26 00:15:00 | 7.129 | 5.468 | 10.25 | 32.97 | 10.36 | 20.6 | 9.96 | 24.72 | -1.367 | 975.151 | 100 | 41.3195
2019-12-26 00:30:00 | 6.029 | 5.468 | 9.57 | 35.38 | 9.67 | 22.88 | 9.51 | 31.42 | -1.497 | 974.854 | 100 | 32.8472
2019-12-26 00:45:00 | 6.841 | 5.468 | 6.938 | 10.64 | 8.27 | 8.51 | 8.53 | 351.3 | -1.449 | 976.043 | 100 | 51.8253
2019-12-26 01:00:00 | 6.537 | 5.468 | 6.537 | 21.79 | 7.998 | 16.2 | 8.24 | 348.7 | -1.306 | 976.043 | 100 | 48.2969
2019-12-26 01:15:00 | 4.458 | 5.468 | 4.627 | 13.87 | 6.416 | 359.6 | 6.43 | 340.8 | -1.51 | 976.192 | 100 | 44.4379
2019-12-26 01:30:00 | 4.07 | 5.468 | 4.578 | 27.84 | 5.463 | 0.653 | 5.931 | 348.5 | -1.485 | 976.043 | 100 | 34.0369
2019-12-26 01:45:00 | 6.069 | 5.468 | 6.831 | 18.41 | 7.055 | 14.28 | 7.278 | 356.2 | -1.45 | 976.043 | 100 | 33.9298
2019-12-26 02:00:00 | 5.715 | 5.468 | 6.258 | 23.08 | 6.859 | 20.06 | 7.082 | 352.9 | -1.486 | 975.894 | 100 | 20.4621
2019-12-26 02:15:00 | 4.41 | 5.468 | 5.118 | 28.19 | 4.692 | 17.53 | 4.591 | 3.826 | -1.503 | 975.597 | 100 | 10.6227
2019-12-26 02:30:00 | 4.714 | 5.468 | 4.888 | 14.85 | 5.356 | 10.08 | 5.455 | 351.5 | -1.545 | 975.746 | 100 | 14.7979
2019-12-26 02:45:00 | 5.209 | 5.468 | 5.33 | 19.99 | 6.02 | 16.69 | 6.29 | 357.3 | -1.635 | 975.448 | 100 | 15.426
2019-12-26 03:00:00 | 5.748 | 5.468 | 5.678 | 23.08 | 5.674 | 16.04 | 5.694 | 4.383 | -1.777 | 975.002 | 100 | 16.7709
2019-12-26 03:15:00 | 5.194 | 5.468 | 8.05 | 30.93 | 7.892 | 17.33 | 7.102 | 20.26 | -1.823 | 974.854 | 100 | 15.7068
2019-12-26 03:30:00 | 4.557 | 5.468 | 6.003 | 23.96 | 5.887 | 13.76 | 5.378 | 8.74 | -1.841 | 975.002 | 100 | 9.3738
2019-12-26 03:45:00 | 4.349 | 5.468 | 4.609 | 12.85 | 5.33 | 6.473 | 5.628 | 2.745 | -1.861 | 975.151 | 100 | 7.0572
2019-12-26 04:00:00 | 3.463 | 5.468 | 3.492 | 13.51 | 4.346 | 358.7 | 4.502 | 344.1 | -1.833 | 975.448 | 100 | 8.742
2019-12-26 04:15:00 | 1.73 | 5.468 | 1.902 | 29.21 | 2.564 | 17.41 | 2.977 | 339 | -1.924 | 975.448 | 100 | 10.1497
2019-12-26 04:30:00 | 3.251 | 5.468 | 2.956 | 5.443 | 3.621 | 347.9 | 3.631 | 338.4 | -2.061 | 975.448 | 100 | 14.9087
2019-12-26 04:45:00 | 3.83 | 5.468 | 3.868 | 32.7 | 4.026 | 25.83 | 4.061 | 359.3 | -2.627 | 975.151 | 100 | 9.1484
2019-12-26 05:00:00 | 4.56 | 5.468 | 3.911 | 29.07 | 4.428 | 24.81 | 4.629 | 0.605 | -3.052 | 975.151 | 99.9658 | 8.2838
2019-12-26 05:15:00 | 4.461 | 5.468 | 4.617 | 21.13 | 4.751 | 12.97 | 4.586 | 6.925 | -3.144 | 974.855 | 99.7607 | 10.0943
2019-12-26 05:30:00 | 4.675 | 5.468 | 4.857 | 22.85 | 5.13 | 15.2 | 4.726 | 10.29 | -3.36 | 974.723 | 99.6239 | 10.5229
2019-12-26 05:45:00 | 4.177 | 5.468 | 4.486 | 20.21 | 4.842 | 10.3 | 4.461 | 8.85 | -3.451 | 974.854 | 99.4962 | 10.364
2019-12-26 06:00:00 | 4.507 | 5.468 | 4.742 | 21.4 | 5.152 | 13.98 | 4.815 | 355.4 | -3.548 | 974.859 | 99.4332 | 8.6681
2019-12-26 06:15:00 | 3.515 | 5.469 | 5.322 | 22.16 | 5.773 | 9.93 | 4.596 | 355.4 | -3.55 | 974.899 | 99.4358 | 7.4894
2019-12-26 06:30:00 | 3.427 | 5.469 | 4.479 | 28.19 | 5.292 | 21.57 | 4.922 | 355.4 | -3.623 | 975.292 | 99.3674 | 5.1247
2019-12-26 06:45:00 | 2.934 | 5.469 | 4.108 | 27.15 | 5.15 | 25.07 | 5.154 | 355.4 | -3.685 | 975.239 | 99.3704 | 4.153
2019-12-26 07:00:00 | 3.667 | 5.469 | 4.724 | 27.15 | 5.969 | 28.55 | 5.974 | 27.34 | -3.49 | 975.568 | 99.5759 | 2.7896
2019-12-26 07:15:00 | 4.251 | 5.469 | 4.177 | 1.035 | 3.832 | 305.8 | 4.011 | 350.8 | -3.594 | 975.684 | 99.168 | 1.6738
2019-12-26 07:30:00 | 3.368 | 5.469 | 3.783 | 7.215 | 4.089 | 353.8 | 3.804 | 360 | -3.499 | 976.332 | 99.1704 | 5.6605
2019-12-26 07:45:00 | 3.092 | 5.469 | 3.735 | 308.8 | 3.56 | 298.2 | 3.453 | 306 | -3.986 | 976.46 | 98.9628 | 5.0435
2019-12-26 08:00:00 | 2.786 | 5.469 | 2.993 | 325.3 | 2.299 | 316.4 | 2.376 | 350.7 | -4.094 | 976.446 | 98.8903 | 3.7133
2019-12-26 08:15:00 | 1.696 | 5.469 | 2.295 | 330.7 | 1.91 | 326 | 2.213 | 328.6 | -4.076 | 977.081 | 98.8905 | 1.9657
2019-12-26 08:30:00 | 0 | 5.469 | 0.103 | 335.9 | 0.177 | 326.1 | 0.997 | 352.7 | -3.661 | 977.263 | 98.6127 | 2.2317
2019-12-26 08:45:00 | 0.253 | 5.468 | 0.99 | 333.7 | 1.487 | 326 | 1.902 | 323.1 | -3.362 | 977.53 | 98.7355 | 1.8326
2019-12-26 09:00:00 | 0.447 | 5.468 | 0.938 | 353.4 | 1.749 | 326.2 | 2.006 | 324 | -3.188 | 977.828 | 98.3248 | 0.52467
2019-12-26 09:15:00 | 0.612 | 5.467 | 0.66 | 18.84 | 1.293 | 326.4 | 1.889 | 354.4 | -3.372 | 978.125 | 98.9576 | 0.86459
2019-12-26 09:30:00 | 0.273 | 5.467 | 0.5 | 18.79 | 1.157 | 326.6 | 1.583 | 359.1 | -3.014 | 978.571 | 98.5811 | 0.65399
2019-12-26 09:45:00 | 0.014 | 5.467 | 1.246 | 18.79 | 2.103 | 326.6 | 2.202 | 317.2 | -2.63 | 978.75 | 99.0483 | 0.75005
2019-12-26 10:00:00 | 0.101 | 5.465 | 1.349 | 18.79 | 1.597 | 326.4 | 1.703 | 337 | -2.509 | 978.718 | 99.2314 | 0.45447
2019-12-26 10:15:00 | 0 | 5.465 | 1.361 | 18.79 | 2.014 | 326.4 | 1.994 | 319.2 | -2.381 | 979.015 | 99.6412 | 0.58379
2019-12-26 10:30:00 | 0 | 5.465 | 1.678 | 18.78 | 2.278 | 326.5 | 2.34 | 298.8 | -2.374 | 979.311 | 99.7005 | 0.27342
2019-12-26 10:45:00 | 0 | 5.465 | 1.063 | 18.78 | 1.932 | 326.4 | 1.927 | 275.9 | -2.195 | 979.566 | 99.9604 | 0.3547
2019-12-26 11:00:00 | 0 | 5.463 | 1.158 | 18.76 | 1.682 | 326.3 | 1.499 | 268.4 | -2.068 | 979.311 | 100 | 0.18844
2019-12-26 11:15:00 | 0 | 5.463 | 0.745 | 18.74 | 1.493 | 325.9 | 1.265 | 267.1 | -1.465 | 979.012 | 100 | 0.19583
2019-12-26 11:30:00 | 0 | 5.463 | 1.859 | 18.73 | 1.639 | 325.9 | 1.494 | 255.2 | -1.593 | 979.012 | 100 | 0.088676
2019-12-26 11:45:00 | 1.056 | 5.406 | 3.264 | 18.71 | 3.082 | 316.8 | 2.946 | 236.1 | -1.575 | 979.012 | 100 | 0.56531
2019-12-26 12:00:00 | 3.108 | 5.366 | 3.254 | 18.62 | 3.108 | 313.8 | 3.053 | 250 | -1.54 | 978.418 | 100 | 1.3338
2019-12-26 12:15:00 | 3.128 | 5.366 | 3.282 | 18.49 | 3.657 | 310.6 | 3.618 | 265.1 | -1.047 | 978.419 | 100 | 1.0198
2019-12-26 12:30:00 | 3.445 | 5.364 | 3.377 | 18.22 | 3.443 | 271.4 | 3.287 | 258.9 | -0.886 | 978.449 | 100 | 1.2378
2019-12-26 12:45:00 | 4.057 | 5.253 | 4.044 | 311.1 | 3.741 | 255.3 | 3.57 | 265.2 | -0.57 | 978.744 | 100 | 3.935
2019-12-26 13:00:00 | 3.414 | 5.142 | 4.244 | 303 | 3.998 | 281.6 | 3.86 | 286.8 | -0.768 | 978.418 | 100 | 7.7001
2019-12-26 13:15:00 | 3.751 | 5.075 | 4.067 | 285.9 | 4.384 | 268.2 | 4.275 | 277.3 | -0.615 | 978.269 | 99.129 | 8.088
2019-12-26 13:30:00 | 4.979 | 5.073 | 4.934 | 276.7 | 5.211 | 261.6 | 5.108 | 266.7 | -0.414 | 978.023 | 95.4868 | 5.8379
2019-12-26 13:45:00 | 3.542 | 4.978 | 3.512 | 295.1 | 3.792 | 272.2 | 3.83 | 286.9 | -0.219 | 977.813 | 91.9107 | 7.7777
2019-12-26 14:00:00 | 4.361 | 4.755 | 4.254 | 284.7 | 4.873 | 256.7 | 4.889 | 279.8 | 0.275 | 978.39 | 84.432 | 15.256
2019-12-26 14:15:00 | 5.288 | 4.501 | 5.665 | 302.3 | 5.684 | 286.4 | 5.745 | 290.4 | 0.505 | 978.702 | 79.3411 | 11.757
2019-12-26 14:30:00 | 4.808 | 4.177 | 5.228 | 280.6 | 5.425 | 262.8 | 5.337 | 266.3 | 0.816 | 978.715 | 72.504 | 16.176
2019-12-26 14:45:00 | 5.196 | 289.2 | 6.023 | 302.3 | 6.147 | 283 | 6.137 | 288.9 | 1.029 | 978.716 | 67.2771 | 17.8831
2019-12-26 15:00:00 | 5.355 | 287.9 | 6.23 | 300.7 | 6.126 | 287.3 | 6.157 | 288.5 | 0.714 | 978.717 | 52.4134 | 23.6359
2019-12-26 15:15:00 | 5.569 | 293.8 | 6.394 | 306.1 | 6.19 | 288.6 | 6.252 | 295.4 | 0.876 | 978.247 | 44.1455 | 20.8168
2019-12-26 15:30:00 | 5.01 | 300.4 | 5.747 | 313.1 | 5.585 | 301.1 | 5.64 | 302.3 | 0.787 | 978.122 | 43.3241 | 14.033
2019-12-26 15:45:00 | 5.017 | 304.7 | 5.57 | 316.1 | 5.099 | 302.9 | 5.085 | 304.4 | 0.965 | 978.122 | 42.2991 | 13.3864
2019-12-26 16:00:00 | 4.371 | 296.7 | 5.696 | 310.8 | 5.656 | 303.6 | 5.714 | 296.7 | 0.738 | 977.974 | 39.976 | 15.8841
2019-12-26 16:15:00 | 2.291 | 310.6 | 3.277 | 325.9 | 3.044 | 329.1 | 2.961 | 314.4 | 0.739 | 977.804 | 41.0718 | 8.7679
2019-12-26 16:30:00 | 2.215 | 303.6 | 3.231 | 314.4 | 3.214 | 305.8 | 3.297 | 302.4 | 0.553 | 977.379 | 39.9795 | 4.4523
2019-12-26 16:45:00 | 1.809 | 312.7 | 2.711 | 328.1 | 2.622 | 323.7 | 2.54 | 314.6 | 0.264 | 976.933 | 41.4146 | 0.88307
2019-12-26 17:00:00 | 2.382 | 321.3 | 2.843 | 343.3 | 2.874 | 333.6 | 2.903 | 321.4 | 0.141 | 976.636 | 41.4929 | 1.4262
2019-12-26 17:15:00 | 0.885 | 301.2 | 1.943 | 340.7 | 2.652 | 311.2 | 2.699 | 304.3 | 0.157 | 977.081 | 41.6339 | -0.040643
2019-12-26 17:30:00 | 0.03 | 288.9 | 1.599 | 337.7 | 2.294 | 297.2 | 2.33 | 293.6 | 0.081 | 976.935 | 40.2666 | 0.040643
2019-12-26 17:45:00 | 2.178 | 274.5 | 2.975 | 288.4 | 3.392 | 271.8 | 3.364 | 277.2 | 0.157 | 977.232 | 38.6259 | -0.12193
2019-12-26 18:00:00 | 0.649 | 260.9 | 2.178 | 275.1 | 2.896 | 238.9 | 2.997 | 270.1 | 0.098 | 977.232 | 38.0106 | 0.099761
2019-12-26 18:15:00 | 2.16 | 265.4 | 3.096 | 271.4 | 4.13 | 248.7 | 4.151 | 268.5 | 0.135 | 977.232 | 35.6876 | 1.005
2019-12-26 18:30:00 | 1.754 | 263.9 | 2.733 | 276.7 | 3.746 | 240.9 | 3.83 | 272.3 | 0.024 | 977.232 | 37.0566 | 0.62073
2019-12-26 18:45:00 | 1.521 | 231.9 | 1.543 | 257.1 | 2.268 | 167.3 | 2.258 | 248.8 | -0.137 | 977.232 | 38.5623 | 0.76853
2019-12-26 19:00:00 | 0.533 | 284.1 | 1.877 | 303.4 | 2.899 | 279.4 | 2.954 | 285.9 | 0.013 | 977.232 | 34.7342 | -0.23278
2019-12-26 19:15:00 | 1.698 | 265.2 | 2.533 | 283.2 | 3.23 | 242.7 | 3.188 | 269.1 | 0.066 | 977.232 | 31.1795 | -0.084981
2019-12-26 19:30:00 | 1.543 | 237.4 | 1.807 | 253.8 | 2.311 | 171.8 | 2.236 | 251.5 | -0.005 | 977.232 | 31.1111 | -0.22539
2019-12-26 19:45:00 | 2.071 | 268.2 | 2.748 | 262.3 | 2.619 | 253 | 2.551 | 264 | 0.299 | 977.232 | 26.9402 | -0.3547
2019-12-26 20:00:00 | 2.434 | 239.1 | 2.689 | 261.9 | 2.945 | 202.8 | 2.847 | 256.9 | 0.228 | 977.232 | 30.9744 | -0.28081
2019-12-26 20:15:00 | 2.791 | 224.9 | 3.162 | 261.7 | 3.108 | 196 | 3.073 | 240.3 | -0.027 | 977.084 | 30.7004 | -0.2882
2019-12-26 20:30:00 | 2.395 | 207.8 | 2.881 | 261.4 | 2.922 | 181 | 2.994 | 219.4 | 0.001 | 976.935 | 30.495 | -0.28081
2019-12-26 20:45:00 | 2.569 | 208.4 | 3.29 | 261.3 | 2.851 | 187.1 | 2.905 | 212.2 | 0.067 | 976.935 | 30.5634 | -0.31776
2019-12-26 21:00:00 | 2.531 | 188.1 | 2.692 | 261 | 2.675 | 166.9 | 2.872 | 199.3 | -0.529 | 976.638 | 35.0067 | 0.084982
2019-12-26 21:15:00 | 2.495 | 158.7 | 3.517 | 178.1 | 3.746 | 166.3 | 3.746 | 168.7 | -0.931 | 976.638 | 38.6318 | 0.56531
2019-12-26 21:30:00 | 3.618 | 165.6 | 4.814 | 175.6 | 5.239 | 159 | 5.159 | 174.4 | -0.968 | 976.638 | 37.6067 | 4.0385
2019-12-26 21:45:00 | 3.279 | 174.5 | 4.402 | 184 | 4.372 | 159.1 | 4.354 | 181.6 | -0.478 | 976.34 | 33.8461 | 2.4645
2019-12-26 22:00:00 | 2.428 | 169.7 | 3.525 | 178.4 | 3.624 | 149.8 | 3.611 | 178 | 0.03 | 976.34 | 32.7521 | 2.1393
2019-12-26 22:15:00 | 2.63 | 163.5 | 3.896 | 171 | 4.534 | 160.1 | 4.512 | 166.3 | -0.198 | 976.34 | 34.0513 | 6.296
2019-12-26 22:30:00 | 4.576 | 160 | 4.793 | 170.1 | 5.173 | 148.8 | 5.233 | 163.2 | -0.536 | 976.34 | 34.8718 | 8.5314
2019-12-26 22:45:00 | 3.774 | 159.3 | 4.893 | 172.4 | 5.699 | 159.1 | 5.747 | 165.5 | -0.688 | 976.043 | 37.0256 | 15.0159
2019-12-26 23:00:00 | 5.988 | 158 | 6.118 | 171.2 | 6.729 | 150.8 | 6.771 | 163.8 | -0.517 | 976.043 | 36.4444 | 18.6109
2019-12-26 23:15:00 | 6.353 | 156.1 | 6.575 | 167.5 | 6.602 | 149.6 | 6.733 | 161.5 | -0.826 | 976.043 | 40.7179 | 22.5423
2019-12-26 23:30:00 | 6.787 | 152 | 7.358 | 165.4 | 7.953 | 151.7 | 7.884 | 158.8 | -0.845 | 976.043 | 41.3675 | 26.5068
2019-12-26 23:45:00 | 4.984 | 152.5 | 6.343 | 166 | 6.625 | 151.6 | 6.57 | 162.9 | -0.845 | 975.894 | 41.0256 | 22.3723