## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-27 00:00:00 | 4.903 | 157 | 5.934 | 170.6 | 6.305 | 159.8 | 6.32 | 167.6 | -0.517 | 975.894 | 40.6838 | 23.1039
2019-12-27 00:15:00 | 5.817 | 154.9 | 6.33 | 169.2 | 6.739 | 154.8 | 6.87 | 166.2 | -0.452 | 975.746 | 39.6239 | 31.4838
2019-12-27 00:30:00 | 6.572 | 160.1 | 6.833 | 174.5 | 6.719 | 156.5 | 6.881 | 166.8 | -0.06 | 975.746 | 39.8632 | 33.3053
2019-12-27 00:45:00 | 8.65 | 159.2 | 9.45 | 173 | 9.69 | 157.4 | 9.76 | 171.7 | 0.208 | 975.746 | 39.929 | 39.1358
2019-12-27 01:00:00 | 7.287 | 160.1 | 8.11 | 172.5 | 9.12 | 162.8 | 9.14 | 168.2 | -0.243 | 975.3 | 39.96 | 44.9626
2019-12-27 01:15:00 | 7.936 | 156.7 | 8.64 | 170 | 9.73 | 153.3 | 9.81 | 166.6 | -0.098 | 975.597 | 39.1044 | 49.5146
2019-12-27 01:30:00 | 7.479 | 153.6 | 7.767 | 172 | 8.61 | 160.8 | 8.74 | 160.3 | -0.799 | 975.151 | 40.335 | 52.9361
2019-12-27 01:45:00 | 7.581 | 151.8 | 8.51 | 168 | 9.43 | 154.4 | 9.48 | 159.4 | -0.813 | 974.854 | 40.5414 | 53.0063
2019-12-27 02:00:00 | 6.869 | 152.4 | 7.222 | 174.1 | 8.78 | 167.8 | 9.07 | 157.6 | -1.012 | 974.854 | 41.3655 | 61.8
2019-12-27 02:15:00 | 7.341 | 152.4 | 7.744 | 172.1 | 9.04 | 166.5 | 9.25 | 155.2 | -0.876 | 974.854 | 41.1623 | 69.9693
2019-12-27 02:30:00 | 7.502 | 150.4 | 8.08 | 168.8 | 9.57 | 162.3 | 9.63 | 155.6 | -0.974 | 974.854 | 41.3674 | 70.5473
2019-12-27 02:45:00 | 7.946 | 150.2 | 8.4 | 169.2 | 9.37 | 159 | 9.46 | 153.5 | -0.843 | 974.854 | 42.5983 | 73.9819
2019-12-27 03:00:00 | 8.57 | 149 | 8.98 | 163.9 | 10 | 153.7 | 10.07 | 153.5 | -0.815 | 974.556 | 42.3248 | 74.4786
2019-12-27 03:15:00 | 8.83 | 148 | 9.15 | 164.5 | 10.34 | 150.3 | 10.33 | 153.1 | -0.89 | 974.259 | 42.8718 | 76.2431
2019-12-27 03:30:00 | 9 | 147.2 | 9.16 | 163.4 | 9.7 | 149.3 | 9.76 | 153.4 | -0.797 | 974.259 | 43.2137 | 78.0388
2019-12-27 03:45:00 | 8.89 | 147.3 | 9.27 | 162.7 | 9.78 | 148.9 | 9.84 | 154.5 | -0.783 | 973.961 | 43.8974 | 74.3772
2019-12-27 04:00:00 | 8.35 | 146.5 | 8.7 | 166.9 | 9.41 | 152.9 | 9.39 | 151.7 | -0.765 | 973.961 | 45.9487 | 79.0052
2019-12-27 04:15:00 | 8.41 | 147.1 | 8.8 | 163.9 | 9.25 | 157.3 | 9.33 | 153.9 | -0.815 | 973.664 | 47.0427 | 80.2373
2019-12-27 04:30:00 | 9.61 | 147.4 | 10.13 | 163.9 | 10.5 | 152.3 | 10.62 | 154.3 | -0.694 | 973.664 | 47.3162 | 81.5178
2019-12-27 04:45:00 | 8.71 | 147.4 | 9.17 | 164 | 10.29 | 153.3 | 10.37 | 154.6 | -0.811 | 973.664 | 50.3932 | 81.0095
2019-12-27 05:00:00 | 10.38 | 146.1 | 10.99 | 162.4 | 11.4 | 152 | 11.31 | 151.5 | -0.922 | 973.515 | 53.8119 | 78.1312
2019-12-27 05:15:00 | 9.76 | 145.2 | 10.35 | 162.5 | 10.72 | 154 | 10.72 | 150.4 | -1.002 | 973.218 | 54.8371 | 79.3985
2019-12-27 05:30:00 | 8.49 | 145.4 | 9.06 | 163.4 | 10.1 | 150.1 | 10.08 | 149.8 | -1.157 | 973.069 | 55.6581 | 80.4183
2019-12-27 05:45:00 | 9.73 | 144.4 | 10.06 | 160.6 | 10.41 | 147.7 | 10.32 | 151 | -1.071 | 973.218 | 57.3675 | 79.1731
2019-12-27 06:00:00 | 10.3 | 144.5 | 10.9 | 161 | 11.17 | 149.5 | 11.01 | 149.4 | -1.23 | 973.367 | 60.9231 | 82.0071
2019-12-27 06:15:00 | 10.53 | 143.1 | 10.87 | 158.8 | 11.25 | 145.8 | 11.15 | 148.7 | -1.297 | 973.367 | 62.6325 | 79.9528
2019-12-27 06:30:00 | 10.32 | 142 | 11.35 | 158.2 | 11.68 | 146.7 | 11.42 | 149 | -1.391 | 973.218 | 62.906 | 77.9317
2019-12-27 06:45:00 | 10.8 | 142.9 | 11.28 | 157.1 | 11.53 | 146.5 | 11.33 | 152 | -1.391 | 973.218 | 63.2479 | 75.9993
2019-12-27 07:00:00 | 11.26 | 144.9 | 11.52 | 159.4 | 11.5 | 146 | 11.23 | 152.9 | -1.393 | 973.069 | 63.1111 | 76.886
2019-12-27 07:15:00 | 11 | 144.4 | 11.31 | 159.3 | 11.27 | 147 | 11.11 | 153.1 | -1.493 | 973.069 | 62.359 | 74.3809
2019-12-27 07:30:00 | 10.22 | 144.2 | 10.96 | 158.1 | 10.68 | 150.2 | 10.48 | 153.9 | -1.481 | 973.367 | 62.2222 | 71.8389
2019-12-27 07:45:00 | 7.382 | 145.7 | 7.795 | 164.4 | 8.65 | 152.4 | 8.79 | 150.5 | -1.723 | 973.664 | 61.8803 | 68.2068
2019-12-27 08:00:00 | 9.94 | 143.9 | 10.49 | 157.7 | 10.54 | 145.8 | 10.44 | 153.3 | -1.358 | 973.664 | 60.1709 | 66.7953
2019-12-27 08:15:00 | 9.72 | 142.7 | 9.94 | 158.6 | 9.76 | 146.6 | 9.71 | 149.6 | -1.326 | 973.961 | 59.1701 | 68.2179
2019-12-27 08:30:00 | 9.49 | 139.2 | 9.91 | 153.4 | 9.96 | 140.9 | 9.76 | 149.9 | -1.036 | 974.259 | 58.5541 | 70.7378
2019-12-27 08:45:00 | 9.88 | 137.2 | 10.34 | 152.2 | 10.14 | 137 | 10.05 | 145.5 | -0.936 | 974.556 | 56.4005 | 68.7812
2019-12-27 09:00:00 | 8.19 | 139 | 8.35 | 155.2 | 8.41 | 146.9 | 8.5 | 147.3 | -0.524 | 974.789 | 55.6486 | 70.6713
2019-12-27 09:15:00 | 9.28 | 141.4 | 9.72 | 155.3 | 9.64 | 147.8 | 9.74 | 147.5 | -0.498 | 974.557 | 55.2907 | 71.547
2019-12-27 09:30:00 | 10.12 | 143.1 | 10.04 | 163.4 | 10.4 | 153.7 | 10.39 | 147.5 | -0.431 | 974.556 | 54.6045 | 68.6909
2019-12-27 09:45:00 | 9.06 | 142.1 | 9.76 | 160.5 | 10.24 | 150.6 | 10.28 | 149.2 | -0.207 | 974.556 | 53.7844 | 67.9482
2019-12-27 10:00:00 | 9.53 | 145.4 | 9.62 | 160 | 9.99 | 144.8 | 9.9 | 151.5 | 0.058 | 974.853 | 53.2377 | 67.9371
2019-12-27 10:15:00 | 9.66 | 147.3 | 9.83 | 163.5 | 10.13 | 152.9 | 10.14 | 154.3 | 0.3 | 974.853 | 53.8479 | 66.7437
2019-12-27 10:30:00 | 10.32 | 148.3 | 10.14 | 165.6 | 10.03 | 155.4 | 10.04 | 154.3 | 0.471 | 974.704 | 55.149 | 69.053
2019-12-27 10:45:00 | 10.36 | 149.5 | 10.38 | 164.4 | 10.85 | 151.6 | 10.86 | 156.8 | 0.691 | 974.555 | 55.969 | 63.7139
2019-12-27 11:00:00 | 9.18 | 147.5 | 9.52 | 163.7 | 9.46 | 152 | 9.4 | 154 | 1.004 | 974.555 | 52.3459 | 66.5842
2019-12-27 11:15:00 | 10.68 | 150.2 | 10.84 | 164.5 | 10.61 | 154.2 | 10.48 | 156.3 | 1.5 | 974.388 | 50.2891 | 63.7952
2019-12-27 11:30:00 | 9.45 | 147 | 9.21 | 164 | 9.04 | 153.6 | 8.9 | 151.9 | 2.145 | 974.313 | 50.6919 | 52.7698
2019-12-27 11:45:00 | 8.86 | 144.4 | 8.96 | 158.6 | 8.95 | 146.4 | 8.93 | 150.5 | 2.353 | 974.258 | 49.1204 | 49.9486
2019-12-27 12:00:00 | 7.607 | 149 | 8.01 | 165.5 | 8.82 | 156.2 | 8.81 | 153.4 | 2.944 | 974.257 | 43.4501 | 46.0599
2019-12-27 12:15:00 | 9.41 | 149 | 9.11 | 167.5 | 8.66 | 159.9 | 8.6 | 153 | 2.613 | 973.663 | 49.2571 | 50.261
2019-12-27 12:30:00 | 8.96 | 149.3 | 8.95 | 166.5 | 8.7 | 159.7 | 8.67 | 154.5 | 2.852 | 973.515 | 47.6174 | 47.0021
2019-12-27 12:45:00 | 8.37 | 147.9 | 8.02 | 165.8 | 7.742 | 160.4 | 7.721 | 153.9 | 3.679 | 973.663 | 45.8412 | 43.0265
2019-12-27 13:00:00 | 9.16 | 143.5 | 9.16 | 161.1 | 9.13 | 150.2 | 9.03 | 148.9 | 3.64 | 973.663 | 47.9932 | 45.3505
2019-12-27 13:15:00 | 9.13 | 148 | 9.08 | 163.2 | 8.41 | 150.1 | 8.29 | 155.8 | 3.597 | 973.663 | 50.0769 | 42.1619
2019-12-27 13:30:00 | 9.24 | 152.8 | 9.1 | 168.7 | 8.55 | 154.7 | 8.45 | 157.7 | 3.89 | 973.663 | 49.5983 | 42.391
2019-12-27 13:45:00 | 9.09 | 151.3 | 9.13 | 167.3 | 8.95 | 151.8 | 8.92 | 157.4 | 4.445 | 973.663 | 44.1998 | 46.507
2019-12-27 14:00:00 | 9.48 | 153.6 | 9.12 | 170.6 | 9.09 | 161.4 | 8.96 | 158.8 | 4.45 | 973.366 | 44.2994 | 53.9353
2019-12-27 14:15:00 | 7.773 | 163 | 7.332 | 179.1 | 7.017 | 165 | 6.985 | 165.1 | 4.556 | 973.663 | 47.1682 | 58.4598
2019-12-27 14:30:00 | 10.9 | 145.4 | 11.01 | 160.8 | 10.5 | 146.8 | 10.3 | 151.4 | 4.492 | 973.96 | 48.2946 | 61.3012
2019-12-27 14:45:00 | 9.98 | 146.4 | 10.12 | 162 | 10.06 | 147.9 | 9.96 | 151.6 | 4.775 | 973.663 | 49.2194 | 65.8791
2019-12-27 15:00:00 | 10.07 | 146.7 | 10.11 | 161.9 | 9.26 | 148.7 | 9.02 | 155.3 | 4.833 | 973.663 | 49.4558 | 64.2607
2019-12-27 15:15:00 | 10.33 | 144.6 | 10.32 | 159.9 | 10.07 | 148.7 | 9.96 | 150.9 | 4.985 | 973.366 | 47.4056 | 70.1936
2019-12-27 15:30:00 | 10.61 | 156.3 | 10.55 | 174.6 | 10.45 | 160.8 | 10.47 | 159.5 | 5.04 | 973.515 | 46.6533 | 61.885
2019-12-27 15:45:00 | 9.52 | 150.9 | 9.37 | 169.4 | 9.31 | 157.6 | 9.33 | 154.8 | 5.09 | 973.217 | 47.8832 | 67.7413
2019-12-27 16:00:00 | 8.77 | 151 | 8.77 | 170.6 | 9.3 | 162.6 | 9.37 | 156 | 5.112 | 973.069 | 47.7506 | 61.1397
2019-12-27 16:15:00 | 8.42 | 149 | 8.92 | 165.5 | 8.93 | 155 | 8.94 | 154.2 | 5.117 | 973.217 | 50.2475 | 51.229
2019-12-27 16:30:00 | 7.755 | 150 | 8.07 | 167.3 | 8.55 | 158.9 | 8.6 | 155.3 | 4.906 | 973.069 | 50.8967 | 47.8482
2019-12-27 16:45:00 | 6.435 | 150.8 | 6.77 | 170.9 | 7.418 | 167.2 | 7.515 | 153.1 | 4.818 | 973.069 | 52.0581 | 46.0341
2019-12-27 17:00:00 | 7.295 | 150.1 | 7.432 | 168.4 | 8.28 | 160 | 8.46 | 155.5 | 4.662 | 972.474 | 51.5115 | 54.1849
2019-12-27 17:15:00 | 8 | 156.9 | 8.02 | 175.4 | 8.41 | 162.2 | 8.48 | 156.7 | 4.751 | 972.481 | 50.6917 | 59.9821
2019-12-27 17:30:00 | 7.004 | 147.9 | 7.424 | 168.4 | 8.9 | 164.7 | 8.96 | 151.2 | 4.633 | 972.869 | 51.6145 | 58.4968
2019-12-27 17:45:00 | 6.746 | 147.8 | 7.171 | 166.3 | 8.46 | 161.3 | 8.69 | 152.1 | 4.548 | 973.201 | 50.9077 | 61.8702
2019-12-27 18:00:00 | 7.512 | 151.4 | 7.71 | 169.4 | 8.86 | 158.7 | 8.99 | 151.8 | 4.651 | 973.037 | 49.747 | 57.3184
2019-12-27 18:15:00 | 6.782 | 149.6 | 7.319 | 170.1 | 7.978 | 167.1 | 8.04 | 155.1 | 4.663 | 972.772 | 49.2703 | 66.3077
2019-12-27 18:30:00 | 7.392 | 148.7 | 8.05 | 169.8 | 8.74 | 159.5 | 8.93 | 152.8 | 4.719 | 973.069 | 48.93 | 66.7178
2019-12-27 18:45:00 | 6.802 | 153.8 | 6.974 | 173.9 | 7.716 | 163.1 | 7.899 | 154.9 | 4.705 | 973.069 | 49.3388 | 65.3655
2019-12-27 19:00:00 | 8.24 | 151.4 | 8.25 | 174.1 | 8.93 | 166.1 | 9.1 | 154.4 | 4.625 | 972.772 | 50.0223 | 65.8089
2019-12-27 19:15:00 | 8.68 | 155.6 | 9.01 | 174 | 9.23 | 162.6 | 9.31 | 158.2 | 4.622 | 972.92 | 50.2963 | 63.9652
2019-12-27 19:30:00 | 7.318 | 156.5 | 8.14 | 176 | 8.21 | 166.8 | 8.24 | 159.8 | 4.632 | 972.908 | 50.364 | 64.4677
2019-12-27 19:45:00 | 7.655 | 157.6 | 7.956 | 174.9 | 8.66 | 164 | 8.85 | 162 | 4.567 | 972.772 | 50.9122 | 66.1266
2019-12-27 20:00:00 | 7.065 | 152.7 | 7.301 | 175.3 | 8.07 | 171.5 | 8.15 | 153.7 | 4.501 | 973.069 | 51.2531 | 64.8556
2019-12-27 20:15:00 | 7.614 | 153.2 | 7.823 | 175.4 | 8.45 | 171.1 | 8.52 | 154 | 4.55 | 973.069 | 51.9354 | 61.5081
2019-12-27 20:30:00 | 8.25 | 146.3 | 8.74 | 162.7 | 9.25 | 148.5 | 9.36 | 151.9 | 4.546 | 972.772 | 51.3894 | 69.6589
2019-12-27 20:45:00 | 8.47 | 145.6 | 9.22 | 162.7 | 9.62 | 154.5 | 9.69 | 151 | 4.605 | 973.069 | 52.0043 | 66.6337
2019-12-27 21:00:00 | 8.4 | 148.9 | 8.76 | 163.6 | 8.75 | 151.6 | 8.77 | 154 | 4.379 | 972.92 | 53.0944 | 73.5052
2019-12-27 21:15:00 | 7.599 | 149.2 | 8.04 | 165.3 | 8.79 | 160.8 | 8.89 | 153.7 | 4.182 | 973.069 | 54.6005 | 75.5153
2019-12-27 21:30:00 | 9.01 | 147.6 | 9.61 | 165.3 | 10.22 | 149.4 | 10.29 | 152.6 | 4.143 | 972.772 | 53.7114 | 79.066
2019-12-27 21:45:00 | 9.93 | 148.9 | 10.05 | 163.8 | 10.35 | 151 | 10.38 | 151.7 | 4.224 | 972.918 | 54.3247 | 80.0525
2019-12-27 22:00:00 | 10.94 | 146.5 | 10.91 | 161.4 | 10.62 | 151.2 | 10.56 | 152.1 | 4.261 | 972.762 | 54.6674 | 79.9417
2019-12-27 22:15:00 | 11.27 | 145.5 | 12 | 161.5 | 12.49 | 148.6 | 12.41 | 152 | 4.178 | 972.589 | 54.8032 | 79.9786
2019-12-27 22:30:00 | 10 | 143.9 | 10.61 | 159.2 | 11.25 | 146.7 | 11.36 | 149.2 | 4.18 | 972.772 | 55.9655 | 77.8726
2019-12-27 22:45:00 | 9.68 | 143.2 | 10.43 | 158.4 | 11.23 | 146.4 | 11.25 | 148 | 3.998 | 972.759 | 56.7854 | 78.5672
2019-12-27 23:00:00 | 9.85 | 143.1 | 10.37 | 157.8 | 10.96 | 149.1 | 11.02 | 149.1 | 3.815 | 972.764 | 57.4688 | 80.6733
2019-12-27 23:15:00 | 11.11 | 143.1 | 11.63 | 158.5 | 12.2 | 146.7 | 12.11 | 148.9 | 3.954 | 972.588 | 57.742 | 81.1277
2019-12-27 23:30:00 | 9.28 | 141.5 | 9.76 | 157.1 | 9.89 | 147.6 | 9.94 | 150.7 | 3.793 | 972.471 | 59.077 | 81.7152
2019-12-27 23:45:00 | 10.53 | 142.6 | 11.06 | 157.8 | 11.72 | 149.1 | 11.66 | 148.4 | 3.717 | 972.458 | 59.2497 | 82.5318