## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-28 00:00:00 | 9.44 | 145 | 9.88 | 160.8 | 10.64 | 150.5 | 10.58 | 151.8 | 3.7 | 972.145 | 59.5904 | 83.8804
2019-12-28 00:15:00 | 10 | 142.9 | 10.49 | 160.4 | 10.88 | 151.3 | 10.87 | 148.9 | 3.406 | 972.167 | 60.6176 | 80.8395
2019-12-28 00:30:00 | 9.73 | 144.9 | 10.49 | 163.5 | 11.04 | 151.3 | 11.02 | 148.4 | 3.435 | 972.311 | 61.6434 | 83.2264
2019-12-28 00:45:00 | 11.97 | 143.8 | 12.04 | 159.7 | 12.16 | 144.7 | 12.04 | 148.4 | 3.407 | 972.177 | 61.131 | 86.6995
2019-12-28 01:00:00 | 11.5 | 145.5 | 11.76 | 160.1 | 12.08 | 148.5 | 11.99 | 149.8 | 3.43 | 972.177 | 60.4135 | 85.2142
2019-12-28 01:15:00 | 10.46 | 145.7 | 10.66 | 162.8 | 10.87 | 149.8 | 10.78 | 150.1 | 3.499 | 972.177 | 61.3702 | 85.9569
2019-12-28 01:30:00 | 10.75 | 142.2 | 11.33 | 157.9 | 11.8 | 144.8 | 11.74 | 147.7 | 3.349 | 972.177 | 60.5501 | 85.5172
2019-12-28 01:45:00 | 10.46 | 144 | 10.7 | 160.5 | 11.15 | 147.4 | 11.22 | 148.5 | 3.354 | 971.731 | 60.4135 | 86.633
2019-12-28 02:00:00 | 11.25 | 143.5 | 11.92 | 158.9 | 12.15 | 145.3 | 12.05 | 149 | 3.404 | 971.88 | 60.0034 | 89.8328
2019-12-28 02:15:00 | 11.53 | 141.2 | 11.75 | 157.4 | 12.06 | 143.2 | 12.01 | 146.9 | 3.338 | 971.583 | 60.5501 | 88.5728
2019-12-28 02:30:00 | 11.99 | 139.9 | 12.45 | 154.6 | 12.69 | 142 | 12.6 | 145.8 | 3.269 | 971.579 | 60.6868 | 89.7847
2019-12-28 02:45:00 | 11.49 | 140.6 | 12.28 | 157.2 | 12.41 | 140.6 | 12.28 | 146.9 | 3.126 | 971.583 | 61.0285 | 90.8267
2019-12-28 03:00:00 | 11.48 | 141.9 | 11.81 | 158.2 | 12 | 139.9 | 11.91 | 147.6 | 3.052 | 971.583 | 60.7893 | 89.6
2019-12-28 03:15:00 | 12.56 | 142 | 12.72 | 156.9 | 12.52 | 139.4 | 12.29 | 147.9 | 3.116 | 971.434 | 60.0034 | 87.7452
2019-12-28 03:30:00 | 12.01 | 139.9 | 12.7 | 157.2 | 13.09 | 145 | 13.02 | 145.9 | 3.054 | 971.285 | 60.0717 | 88.728
2019-12-28 03:45:00 | 12.13 | 141.6 | 12.92 | 157.9 | 13.2 | 141.1 | 13 | 147.3 | 3.04 | 970.988 | 59.73 | 88.9608
2019-12-28 04:00:00 | 12.61 | 142.4 | 12.7 | 157.2 | 12.7 | 145.7 | 12.57 | 147.7 | 2.92 | 970.839 | 60.6868 | 89.988
2019-12-28 04:15:00 | 12.43 | 141.7 | 12.54 | 156.8 | 12.81 | 143.1 | 12.69 | 147.7 | 2.818 | 970.988 | 60.9944 | 87.0173
2019-12-28 04:30:00 | 11.01 | 143.9 | 11.11 | 159.4 | 11.37 | 143 | 11.38 | 148.5 | 2.748 | 970.393 | 61.2335 | 85.2512
2019-12-28 04:45:00 | 11.07 | 145.5 | 11.43 | 162.1 | 11.67 | 145.4 | 11.61 | 150.2 | 2.631 | 970.691 | 61.5069 | 86.2451
2019-12-28 05:00:00 | 10.31 | 142.8 | 10.56 | 160.6 | 11.1 | 150.3 | 11.11 | 149.3 | 2.532 | 970.393 | 62.327 | 85.2844
2019-12-28 05:15:00 | 10.83 | 143.6 | 11.27 | 161.9 | 12.03 | 150.1 | 11.96 | 146.3 | 2.442 | 970.393 | 62.6687 | 86.8326
2019-12-28 05:30:00 | 11.76 | 144.1 | 12.23 | 160.2 | 12.46 | 144.9 | 12.35 | 149.4 | 2.363 | 970.245 | 63.0788 | 87.1282
2019-12-28 05:45:00 | 12.16 | 143.6 | 12.21 | 160.7 | 12.61 | 150.1 | 12.53 | 148.8 | 2.304 | 970.393 | 63.728 | 89.4522
2019-12-28 06:00:00 | 10.81 | 145.3 | 11.38 | 162.8 | 11.68 | 148 | 11.64 | 147.9 | 2.312 | 970.691 | 63.5572 | 87.372
2019-12-28 06:15:00 | 11.27 | 144.8 | 11.97 | 159.7 | 11.76 | 146.1 | 11.73 | 148.7 | 2.285 | 970.393 | 63.4906 | 91.4252
2019-12-28 06:30:00 | 11.88 | 144.7 | 12.5 | 160.8 | 12.79 | 146.8 | 12.52 | 149.8 | 2.239 | 970.245 | 63.4913 | 89.5124
2019-12-28 06:45:00 | 11.59 | 142.8 | 11.83 | 161.1 | 12.34 | 148.4 | 12.35 | 146.3 | 2.131 | 970.542 | 64.4474 | 89.7737
2019-12-28 07:00:00 | 11.47 | 141.6 | 11.79 | 158.3 | 12.56 | 142.7 | 12.49 | 146.6 | 2.026 | 970.096 | 65.2003 | 90.5015
2019-12-28 07:15:00 | 11.4 | 143.3 | 12.13 | 159.7 | 12.65 | 149.2 | 12.51 | 148.6 | 1.898 | 970.393 | 65.9213 | 91.6506
2019-12-28 07:30:00 | 11.33 | 143 | 11.92 | 160.2 | 12.5 | 149 | 12.44 | 148.4 | 1.848 | 971.012 | 66.3997 | 90.2983
2019-12-28 07:45:00 | 12.5 | 147 | 12.71 | 163.8 | 12.51 | 151.7 | 12.4 | 152.2 | 1.872 | 970.543 | 66.4684 | 88.7243
2019-12-28 08:00:00 | 12.33 | 146.6 | 13.23 | 163.9 | 13.33 | 152.2 | 13.26 | 150.7 | 1.891 | 970.989 | 66.8386 | 90.217
2019-12-28 08:15:00 | 13.6 | 147.5 | 13.71 | 162.3 | 13.19 | 149.7 | 13.05 | 153.1 | 2.014 | 970.989 | 66.9059 | 89.4707
2019-12-28 08:30:00 | 13.84 | 145.4 | 13.58 | 160.5 | 12.7 | 146.6 | 12.59 | 151.3 | 2.031 | 971.583 | 66.8375 | 90.8452
2019-12-28 08:45:00 | 13.72 | 145.3 | 13.91 | 161.1 | 13.53 | 147.7 | 13.33 | 151.7 | 2.078 | 972.148 | 66.9742 | 90.0914
2019-12-28 09:00:00 | 12.81 | 145.4 | 12.57 | 159.5 | 12.02 | 142.6 | 11.83 | 151.2 | 2.136 | 972.731 | 66.5551 | 88.8795
2019-12-28 09:15:00 | 12.1 | 143.6 | 12.42 | 158.3 | 12.26 | 144.6 | 12.17 | 148.9 | 2.303 | 973.069 | 66.4237 | 89.4263
2019-12-28 09:30:00 | 12.64 | 142 | 13.04 | 157.9 | 13.08 | 141.6 | 12.87 | 148.2 | 2.3 | 973.343 | 66.8967 | 90.1875
2019-12-28 09:45:00 | 12.99 | 141.8 | 13.21 | 158.1 | 13.16 | 144.8 | 13.06 | 145.2 | 2.265 | 973.119 | 67.4984 | 90.2614
2019-12-28 10:00:00 | 11.16 | 143.5 | 11.78 | 160.3 | 12.32 | 146 | 12.13 | 148.4 | 2.414 | 973.232 | 67.088 | 85.5135
2019-12-28 10:15:00 | 10.86 | 146.3 | 10.47 | 161.5 | 10.33 | 149.6 | 10.34 | 151.5 | 2.786 | 973.366 | 66.9855 | 77.2666
2019-12-28 10:30:00 | 9.82 | 140.4 | 9.61 | 158.8 | 9.28 | 147.5 | 9.31 | 146.7 | 3.043 | 973.217 | 65.6533 | 69.1232
2019-12-28 10:45:00 | 8.66 | 146.7 | 8.75 | 164.3 | 9.13 | 152.6 | 9.09 | 151.6 | 3.936 | 973.366 | 64.287 | 63.3297
2019-12-28 11:00:00 | 8.76 | 143.9 | 9.32 | 160.6 | 9.4 | 149.8 | 9.34 | 151.6 | 4.176 | 973.069 | 63.2615 | 61.9182
2019-12-28 11:15:00 | 9.07 | 142.1 | 9.2 | 157.8 | 9.29 | 143.1 | 9.31 | 149.4 | 4.455 | 973.069 | 62.7652 | 64.9073
2019-12-28 11:30:00 | 9.89 | 139.2 | 10.04 | 156.8 | 9.71 | 143.3 | 9.55 | 146.7 | 4.59 | 973.069 | 62.865 | 68.7478
2019-12-28 11:45:00 | 10.09 | 139.7 | 10.33 | 157.1 | 9.91 | 144.8 | 9.76 | 145.6 | 4.758 | 972.655 | 63.0357 | 71.2847
2019-12-28 12:00:00 | 10.05 | 141.9 | 10.2 | 159.7 | 9.77 | 146.8 | 9.75 | 146.6 | 4.987 | 972.186 | 63.6845 | 76.2848
2019-12-28 12:15:00 | 9.35 | 139.8 | 9.53 | 157.4 | 9.43 | 144 | 9.49 | 144.3 | 5.368 | 972.359 | 62.4552 | 70.8597
2019-12-28 12:30:00 | 8.55 | 135.2 | 8.61 | 153 | 8.33 | 142.7 | 8.38 | 141.6 | 5.717 | 972.24 | 60.543 | 63.2188
2019-12-28 12:45:00 | 9.42 | 139.9 | 9.44 | 159.2 | 9.07 | 146.8 | 9.01 | 144.8 | 6.048 | 972.178 | 60.7478 | 63.7509
2019-12-28 13:00:00 | 10.06 | 141 | 9.65 | 162.5 | 9.13 | 153.3 | 9.14 | 145.5 | 6.134 | 972.177 | 60.782 | 68.7352
2019-12-28 13:15:00 | 10.7 | 145.8 | 11.01 | 161.9 | 11.27 | 147.4 | 11.17 | 151.8 | 6.09 | 972.177 | 61.5332 | 69.4963
2019-12-28 13:30:00 | 11.8 | 148.7 | 11.88 | 163.6 | 11.25 | 149.3 | 11.18 | 156 | 6.27 | 972.177 | 59.4161 | 71.5137
2019-12-28 13:45:00 | 10.93 | 148.1 | 11.29 | 164.9 | 11.29 | 152.9 | 11.11 | 152.9 | 6.801 | 972.177 | 57.6746 | 73.6384
2019-12-28 14:00:00 | 11.86 | 143.3 | 12.19 | 159.2 | 12.19 | 143.6 | 11.97 | 148.2 | 7.164 | 972.177 | 56.2726 | 75.5707
2019-12-28 14:15:00 | 11.02 | 144.3 | 11 | 161.4 | 10.18 | 148.2 | 10.03 | 148 | 7.046 | 972.029 | 56.3765 | 70.3319
2019-12-28 14:30:00 | 10.74 | 142.1 | 10.94 | 158.6 | 10.48 | 145 | 10.28 | 147.2 | 7.193 | 971.88 | 55.6599 | 63.1117
2019-12-28 14:45:00 | 10.41 | 140 | 10.52 | 158.5 | 10.03 | 145.2 | 9.89 | 144.1 | 7.343 | 971.88 | 54.2257 | 64.1869
2019-12-28 15:00:00 | 12.09 | 142.3 | 12.31 | 158.6 | 12.13 | 144.2 | 11.89 | 148.3 | 7.428 | 971.88 | 52.9281 | 68.2512
2019-12-28 15:15:00 | 11.1 | 143.4 | 11.34 | 161.2 | 10.75 | 149.4 | 10.5 | 148.1 | 7.399 | 971.583 | 50.6061 | 72.1928
2019-12-28 15:30:00 | 10.33 | 138.6 | 10.63 | 157.3 | 10.23 | 148.3 | 10.15 | 145.8 | 7.464 | 970.989 | 50.3329 | 78.2568
2019-12-28 15:45:00 | 13.42 | 144.5 | 13.47 | 161.5 | 12.99 | 149.3 | 12.73 | 148 | 7.44 | 971.065 | 51.0842 | 87.5124
2019-12-28 16:00:00 | 12.52 | 139.8 | 12.48 | 158.7 | 11.86 | 152.5 | 11.72 | 145 | 7.41 | 971.504 | 51.3573 | 88.6911
2019-12-28 16:15:00 | 13.96 | 142.9 | 14.08 | 161.8 | 13.38 | 152.6 | 13.05 | 145.4 | 7.386 | 970.985 | 51.9037 | 92.3785
2019-12-28 16:30:00 | 13.59 | 137.4 | 13.82 | 156.1 | 13.38 | 147.5 | 13.12 | 143.1 | 7.207 | 970.988 | 52.6549 | 93.0916
2019-12-28 16:45:00 | 14.12 | 146.3 | 13.86 | 163.9 | 13.33 | 154.4 | 13 | 149.3 | 6.971 | 970.691 | 54.0273 | 93.3651
2019-12-28 17:00:00 | 13.03 | 138.3 | 13.34 | 154.3 | 13.84 | 141.8 | 13.69 | 144.7 | 6.794 | 970.988 | 55.1967 | 91.355
2019-12-28 17:15:00 | 13.02 | 137.1 | 13.88 | 152 | 14.15 | 139.4 | 13.99 | 141.7 | 6.799 | 970.691 | 55.4738 | 92.6187
2019-12-28 17:30:00 | 12.01 | 135.9 | 12.67 | 152.6 | 12.83 | 142.5 | 12.76 | 140.8 | 6.774 | 970.988 | 57.2502 | 91.6543
2019-12-28 17:45:00 | 12.89 | 133.9 | 13.32 | 150.5 | 13.42 | 137.5 | 13.33 | 138.1 | 6.721 | 970.691 | 56.3621 | 91.6
2019-12-28 18:00:00 | 12.51 | 134.8 | 13.14 | 150.1 | 13.54 | 138 | 13.31 | 140.4 | 6.761 | 970.988 | 57.4552 | 91.3292
2019-12-28 18:15:00 | 12.45 | 135.8 | 12.79 | 152.2 | 12.79 | 138.5 | 12.57 | 141.9 | 6.694 | 970.691 | 57.3185 | 92.482
2019-12-28 18:30:00 | 13.63 | 135.1 | 13.95 | 151.4 | 14.21 | 139.2 | 14.13 | 140.8 | 6.717 | 970.691 | 57.1819 | 90.2308
2019-12-28 18:45:00 | 12.9 | 136.9 | 13.06 | 152.3 | 13.7 | 137.6 | 13.65 | 142 | 6.64 | 970.691 | 57.5918 | 91.4807
2019-12-28 19:00:00 | 13.86 | 134.4 | 14.37 | 151 | 14.64 | 138.7 | 14.55 | 139.2 | 6.576 | 970.691 | 56.772 | 92.4007
2019-12-28 19:15:00 | 12.88 | 139.3 | 13.21 | 155.8 | 12.72 | 141.4 | 12.44 | 143.2 | 6.468 | 970.691 | 55.7472 | 92.8293
2019-12-28 19:30:00 | 13.33 | 138.2 | 14.01 | 155.2 | 14.33 | 144.2 | 14.17 | 143.5 | 6.502 | 970.691 | 53.2878 | 91.8982
2019-12-28 19:45:00 | 14.45 | 134.8 | 14.89 | 150.9 | 14.6 | 136.3 | 14.55 | 139.3 | 6.703 | 970.691 | 52.5363 | 93.1618
2019-12-28 20:00:00 | 13.45 | 136.3 | 14.1 | 153.4 | 14.13 | 138.7 | 14.06 | 139.6 | 6.673 | 970.988 | 52.468 | 91.9943
2019-12-28 20:15:00 | 10.76 | 135.3 | 11.13 | 153.5 | 11.57 | 138.4 | 11.71 | 141.3 | 6.674 | 971.286 | 52.468 | 91.0964
2019-12-28 20:30:00 | 11.35 | 135.9 | 11.67 | 152 | 12.29 | 137.3 | 12.35 | 141.3 | 6.593 | 970.988 | 52.6388 | 89.4781
2019-12-28 20:45:00 | 11.36 | 140.1 | 11.46 | 158.1 | 11.65 | 146.5 | 11.54 | 144.9 | 6.454 | 971.286 | 53.1511 | 90.8813
2019-12-28 21:00:00 | 12.94 | 139.5 | 13.17 | 158.2 | 13.55 | 146.5 | 13.58 | 144.7 | 6.472 | 971.137 | 53.8343 | 87.9078
2019-12-28 21:15:00 | 11.55 | 139.1 | 12.22 | 157 | 11.94 | 144.3 | 11.81 | 145.2 | 6.36 | 970.988 | 52.263 | 85.6945
2019-12-28 21:30:00 | 10.1 | 138.1 | 10.57 | 155.9 | 11.07 | 146.9 | 10.97 | 144 | 6.268 | 970.988 | 52.7412 | 81.9775
2019-12-28 21:45:00 | 13 | 142 | 13.56 | 158.1 | 13.25 | 147.3 | 13.21 | 148.1 | 6.442 | 970.691 | 52.7754 | 81.3642
2019-12-28 22:00:00 | 10.92 | 140.7 | 11.4 | 157.8 | 11.83 | 142.5 | 11.74 | 145.6 | 6.335 | 970.691 | 52.5363 | 81.2386
2019-12-28 22:15:00 | 11.88 | 138.1 | 12.01 | 153.5 | 12.77 | 141.7 | 12.76 | 143.5 | 6.298 | 971.137 | 53.0828 | 82.2583
2019-12-28 22:30:00 | 12.14 | 138.5 | 12.74 | 155.1 | 13.39 | 142.7 | 13.35 | 144.2 | 6.194 | 970.691 | 52.3997 | 79.417
2019-12-28 22:45:00 | 12.6 | 138.9 | 13.07 | 155.2 | 13.18 | 143.4 | 13.1 | 144 | 6.073 | 971.137 | 53.5611 | 80.7849
2019-12-28 23:00:00 | 11.63 | 139.5 | 12.38 | 157.6 | 12.4 | 146.5 | 12.36 | 145.2 | 5.924 | 971.137 | 54.8249 | 73.1358
2019-12-28 23:15:00 | 11.93 | 139.8 | 12.46 | 155.8 | 13.14 | 145.3 | 13.07 | 144.7 | 5.863 | 970.691 | 54.8591 | 70.6068
2019-12-28 23:30:00 | 11.19 | 137.6 | 11.35 | 151.2 | 11.61 | 137.2 | 11.54 | 145.3 | 5.949 | 971.137 | 54.7225 | 66.6513
2019-12-28 23:45:00 | 11.02 | 140.3 | 11.23 | 155.7 | 11.68 | 139.7 | 11.62 | 146.7 | 5.907 | 970.543 | 55.3373 | 63.9097