## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-29 00:00:00 | 10.53 | 141.8 | 11.52 | 157 | 11.84 | 145.5 | 11.87 | 147.7 | 5.763 | 970.691 | 56.0205 | 67.2388
2019-12-29 00:15:00 | 11.37 | 144.6 | 11.57 | 159.8 | 11.86 | 144.2 | 11.91 | 149 | 5.624 | 970.543 | 56.4987 | 67.4346
2019-12-29 00:30:00 | 9.23 | 147.4 | 9.48 | 164.8 | 10.35 | 149.7 | 10.53 | 150.8 | 5.418 | 970.691 | 56.772 | 61.2147
2019-12-29 00:45:00 | 7.964 | 151.4 | 8.49 | 169.9 | 9.76 | 155.6 | 10.02 | 154.6 | 5.222 | 970.543 | 57.5918 | 66.389
2019-12-29 01:00:00 | 7.681 | 149.5 | 8.32 | 165.5 | 9.2 | 156.5 | 9.32 | 153.2 | 5.116 | 970.691 | 59.4364 | 66.1119
2019-12-29 01:15:00 | 7.224 | 146.9 | 7.848 | 168.4 | 8.17 | 159.4 | 8.42 | 149.8 | 4.889 | 970.154 | 60.3587 | 66.9026
2019-12-29 01:30:00 | 8.7 | 147.9 | 9.12 | 164 | 10.03 | 148.4 | 10.12 | 153.3 | 4.815 | 970.158 | 60.3934 | 69.5103
2019-12-29 01:45:00 | 8.18 | 145.6 | 8.58 | 162.9 | 9.79 | 150.3 | 9.86 | 151.3 | 4.71 | 970.288 | 61.9649 | 75.9985
2019-12-29 02:00:00 | 8.84 | 148.6 | 9.24 | 169.7 | 9.19 | 164 | 9.27 | 152.7 | 4.575 | 970.314 | 62.5881 | 77.2888
2019-12-29 02:15:00 | 10.28 | 154.8 | 10.38 | 168.3 | 10.75 | 157.7 | 10.96 | 159.8 | 4.597 | 970.036 | 63.2708 | 80.8543
2019-12-29 02:30:00 | 11.01 | 155.4 | 11.57 | 171.5 | 11.81 | 155.3 | 11.79 | 161.4 | 4.723 | 970.029 | 64.7074 | 80.2225
2019-12-29 02:45:00 | 11.07 | 154.3 | 11.39 | 171.4 | 11.75 | 159.8 | 11.86 | 158 | 4.684 | 969.757 | 66.9605 | 77.5216
2019-12-29 03:00:00 | 11.29 | 157.7 | 11.06 | 171.7 | 10.47 | 156.6 | 10.52 | 163.5 | 4.687 | 970.051 | 68.4949 | 78.9256
2019-12-29 03:15:00 | 10.16 | 153.4 | 10.37 | 171 | 10.84 | 159.5 | 10.82 | 157.1 | 4.472 | 970.073 | 71.5761 | 78.2995
2019-12-29 03:30:00 | 9.24 | 164.6 | 9.36 | 179 | 8.56 | 167.6 | 8.59 | 171.1 | 4.139 | 969.787 | 76.4652 | 68.0443
2019-12-29 03:45:00 | 9.98 | 148.6 | 9.87 | 167.3 | 10.27 | 159.3 | 10.35 | 156.5 | 3.842 | 969.65 | 77.391 | 66.6439
2019-12-29 04:00:00 | 8.51 | 144 | 9.04 | 167.1 | 9.66 | 160.5 | 9.73 | 148.7 | 3.756 | 969.5 | 78.4497 | 61.9515
2019-12-29 04:15:00 | 7.275 | 146.3 | 7.447 | 165.5 | 7.513 | 153.8 | 7.591 | 150.1 | 3.75 | 969.204 | 79.5793 | 55.0015
2019-12-29 04:30:00 | 9.54 | 140.7 | 9.96 | 158.2 | 10.4 | 144.9 | 10.44 | 144.8 | 3.752 | 968.907 | 79.6089 | 61.5783
2019-12-29 04:45:00 | 9.44 | 139.2 | 9.79 | 155.9 | 10.1 | 144.1 | 10.06 | 145.5 | 3.643 | 968.61 | 83.5746 | 68.2833
2019-12-29 05:00:00 | 11.91 | 141 | 12.41 | 157.9 | 12.48 | 141.5 | 12.4 | 147.4 | 3.749 | 968.312 | 85.3493 | 65.0107
2019-12-29 05:15:00 | 10.39 | 143.2 | 10.71 | 161.1 | 11.08 | 148.2 | 11.06 | 148.2 | 3.683 | 968.61 | 85.7225 | 58.0514
2019-12-29 05:30:00 | 9.14 | 140.3 | 9.46 | 158.7 | 10.29 | 148.5 | 10.38 | 145.7 | 3.535 | 969.2 | 86.3093 | 53.3499
2019-12-29 05:45:00 | 11.27 | 138.7 | 11.87 | 154.3 | 11.79 | 140.3 | 11.67 | 144.6 | 3.674 | 968.585 | 85.8333 | 64.5879
2019-12-29 06:00:00 | 10.79 | 141.7 | 11.06 | 158.1 | 11.89 | 146.6 | 11.92 | 146.4 | 3.628 | 968.608 | 86.0383 | 72.3567
2019-12-29 06:15:00 | 11.71 | 137.1 | 11.96 | 155.7 | 12.62 | 144.2 | 12.64 | 141.8 | 3.803 | 968.609 | 85.6282 | 73.3242
2019-12-29 06:30:00 | 11.55 | 142.3 | 12.31 | 159.6 | 13.18 | 151.7 | 13.18 | 148 | 3.813 | 968.568 | 84.2623 | 61.896
2019-12-29 06:45:00 | 10.82 | 146 | 11.56 | 163.9 | 12.31 | 151.1 | 12.33 | 150.3 | 3.919 | 968.592 | 82.8884 | 59.9193
2019-12-29 07:00:00 | 11.98 | 143 | 12.67 | 158.3 | 13.26 | 146.4 | 13.25 | 149.2 | 4.123 | 968.011 | 81.3885 | 74.8982
2019-12-29 07:15:00 | 13.03 | 143.8 | 14.03 | 160.6 | 14.74 | 148.7 | 14.65 | 150 | 4.226 | 968.015 | 79.8813 | 80.1264
2019-12-29 07:30:00 | 13.31 | 145.2 | 13.66 | 161.2 | 13.99 | 149.6 | 13.91 | 149.6 | 4.154 | 968.61 | 80.1539 | 69.7476
2019-12-29 07:45:00 | 12.49 | 145.1 | 12.32 | 162.7 | 12.95 | 150.1 | 13.07 | 149.6 | 4.289 | 969.204 | 79.8845 | 64.4307
2019-12-29 08:00:00 | 11.01 | 145.4 | 11.43 | 163.7 | 11.95 | 150.8 | 11.98 | 150.7 | 4.422 | 969.799 | 80.7751 | 64.4751
2019-12-29 08:15:00 | 9.44 | 147.5 | 10.15 | 165.4 | 10.56 | 153.1 | 10.67 | 151.4 | 4.356 | 970.253 | 80.8257 | 54.4821
2019-12-29 08:30:00 | 7.367 | 147.2 | 7.549 | 166.2 | 7.502 | 157.9 | 7.645 | 151.4 | 4.352 | 970.702 | 79.8292 | 49.5553
2019-12-29 08:45:00 | 8.04 | 141.8 | 8.53 | 161 | 9.05 | 151 | 9.15 | 145.7 | 4.675 | 970.989 | 78.0188 | 47.246
2019-12-29 09:00:00 | 8.27 | 141.8 | 8.81 | 158.2 | 8.73 | 146.1 | 8.78 | 147.4 | 4.851 | 971.286 | 76.3109 | 42.9526
2019-12-29 09:15:00 | 8.52 | 146.8 | 8.85 | 163.5 | 8.81 | 149.2 | 8.82 | 152.4 | 4.907 | 971.88 | 77.4018 | 40.5065
2019-12-29 09:30:00 | 7.729 | 146.9 | 8.12 | 164.7 | 8.68 | 151.7 | 8.71 | 154.5 | 5.097 | 972.177 | 76.1524 | 36.7896
2019-12-29 09:45:00 | 7.058 | 149.8 | 7.181 | 165.6 | 6.795 | 154.8 | 6.929 | 156.4 | 5.268 | 972.368 | 74.6458 | 33.5751
2019-12-29 10:00:00 | 7.99 | 141.4 | 8.17 | 158.6 | 7.851 | 145.4 | 7.833 | 150.2 | 5.698 | 972.182 | 74.5775 | 42.0354
2019-12-29 10:15:00 | 9.15 | 146.6 | 9.33 | 159.9 | 8.43 | 145.9 | 8.39 | 154.8 | 5.718 | 972.177 | 73.2116 | 37.2699
2019-12-29 10:30:00 | 8.79 | 154.1 | 8.27 | 169.6 | 7.831 | 154.5 | 7.876 | 160.2 | 6.192 | 972.177 | 70.1383 | 34.0443
2019-12-29 10:45:00 | 8.18 | 151.6 | 8.22 | 164.3 | 7.683 | 150.3 | 7.573 | 163.8 | 6.826 | 972.177 | 65.4504 | 41.1806
2019-12-29 11:00:00 | 6.881 | 169.4 | 6.754 | 187.1 | 6.297 | 183.1 | 6.565 | 171.4 | 7.228 | 971.923 | 65.0734 | 43.9058
2019-12-29 11:15:00 | 7.211 | 166 | 6.841 | 185.4 | 6.488 | 178.9 | 6.59 | 167.8 | 7.064 | 971.679 | 66.3016 | 43.4699
2019-12-29 11:30:00 | 7.617 | 157.9 | 7.695 | 172.4 | 6.856 | 164.4 | 6.814 | 167 | 7.308 | 971.327 | 64.2449 | 37.0815
2019-12-29 11:45:00 | 7.336 | 172.9 | 7.243 | 185.6 | 7.111 | 174.4 | 7.143 | 177.9 | 7.238 | 971.323 | 65.3366 | 31.3434
2019-12-29 12:00:00 | 7.418 | 187.7 | 6.588 | 204.9 | 5.679 | 193.2 | 5.732 | 184.3 | 7.167 | 971.358 | 66.7008 | 31.9235
2019-12-29 12:15:00 | 7.032 | 164.9 | 7.122 | 187.3 | 6.523 | 178.6 | 6.611 | 168.6 | 7.456 | 971.049 | 64.8234 | 39.5438
2019-12-29 12:30:00 | 8.55 | 180.3 | 8.27 | 192.9 | 7.014 | 180 | 7.135 | 181.9 | 7.704 | 971.077 | 63.1849 | 33.4952
2019-12-29 12:45:00 | 7.773 | 156.8 | 7.373 | 172.9 | 6.836 | 159.6 | 6.881 | 162.7 | 7.662 | 971.078 | 64.5162 | 27.8824
2019-12-29 13:00:00 | 7.188 | 160.3 | 6.718 | 171.8 | 5.727 | 155.5 | 5.717 | 164.7 | 7.592 | 971.332 | 63.9017 | 19.7868
2019-12-29 13:15:00 | 6.412 | 157.7 | 6.644 | 173.2 | 6.142 | 164.4 | 6.084 | 160.8 | 8.09 | 971.384 | 62.6046 | 21.6038
2019-12-29 13:30:00 | 5.61 | 175.3 | 5.164 | 192.2 | 4.595 | 189.8 | 4.831 | 176.3 | 8.43 | 971.138 | 61.5805 | 21.0939
2019-12-29 13:45:00 | 6.938 | 161.8 | 6.844 | 177.9 | 6.233 | 165.5 | 6.31 | 166 | 8.19 | 971.286 | 61.6488 | 22.993
2019-12-29 14:00:00 | 6.846 | 145.1 | 6.874 | 161.3 | 6.142 | 148.3 | 6.084 | 150.7 | 8.11 | 971.435 | 62.1608 | 19.8044
2019-12-29 14:15:00 | 7.893 | 147 | 7.884 | 158.3 | 7.017 | 144.2 | 6.98 | 155.6 | 8.34 | 971.631 | 60.4199 | 23.8428
2019-12-29 14:30:00 | 7.867 | 154 | 7.649 | 169.1 | 6.994 | 156 | 7.087 | 157.5 | 8.31 | 971.893 | 59.191 | 20.6209
2019-12-29 14:45:00 | 6.452 | 151.9 | 6.575 | 166.3 | 6.02 | 156.1 | 6.068 | 159.3 | 8.59 | 972.048 | 58.7131 | 25.439
2019-12-29 15:00:00 | 7.098 | 143.4 | 6.92 | 163.1 | 6.683 | 155.4 | 6.659 | 146.8 | 8.46 | 971.896 | 58.8497 | 21.5594
2019-12-29 15:15:00 | 6.874 | 143.8 | 7.125 | 158.9 | 6.79 | 146.7 | 6.748 | 150.1 | 8.38 | 971.907 | 58.3035 | 21.8328
2019-12-29 15:30:00 | 6.94 | 148.4 | 6.938 | 165 | 6.706 | 152.8 | 6.797 | 152.5 | 8.53 | 971.964 | 58.7814 | 24.9882
2019-12-29 15:45:00 | 7.607 | 156.4 | 7.539 | 171.3 | 6.826 | 156.6 | 6.842 | 160.7 | 8.27 | 971.942 | 59.0203 | 21.3266
2019-12-29 16:00:00 | 6.072 | 163.6 | 6.22 | 181.4 | 5.849 | 169.3 | 5.862 | 162.1 | 8.31 | 971.959 | 58.5141 | 17.5062
2019-12-29 16:15:00 | 4.55 | 166 | 4.584 | 187 | 4.372 | 184.1 | 4.522 | 165.1 | 8.21 | 971.812 | 58.5184 | 21.6998
2019-12-29 16:30:00 | 6.491 | 147.9 | 6.642 | 163.1 | 6.325 | 150 | 6.478 | 154.5 | 8 | 971.88 | 60.1626 | 21.2638
2019-12-29 16:45:00 | 5.786 | 158 | 5.921 | 177.5 | 5.552 | 168.7 | 5.689 | 162.8 | 7.848 | 971.88 | 60.8502 | 19.6122
2019-12-29 17:00:00 | 5.385 | 168 | 5.276 | 175.3 | 4.328 | 160.2 | 4.5 | 169.7 | 7.712 | 972.522 | 61.3966 | 12.1006
2019-12-29 17:15:00 | 3.353 | 150.1 | 3.671 | 167.1 | 3.214 | 151 | 3.387 | 158.3 | 7.596 | 972.76 | 62.8991 | 4.5484
2019-12-29 17:30:00 | 2.911 | 141 | 3.147 | 155.5 | 3.113 | 142.3 | 3.407 | 145 | 7.47 | 972.771 | 64.2675 | 3.9018
2019-12-29 17:45:00 | 1.982 | 139.9 | 2.556 | 161.6 | 3.481 | 146.9 | 3.832 | 143.6 | 7.3 | 972.771 | 64.4848 | 2.2502
2019-12-29 18:00:00 | 2.697 | 138.4 | 3.316 | 153.1 | 4.054 | 136.6 | 4.291 | 143.2 | 7.266 | 973.068 | 64.3551 | 3.4362
2019-12-29 18:15:00 | 2.87 | 137 | 3.313 | 149.3 | 4.054 | 135.2 | 4.306 | 142.8 | 7.322 | 973.068 | 63.0231 | 2.7933
2019-12-29 18:30:00 | 2.898 | 136.9 | 3.561 | 150.9 | 3.916 | 137.1 | 4.194 | 143.9 | 7.316 | 973.217 | 62.2374 | 2.6307
2019-12-29 18:45:00 | 3.12 | 138.5 | 3.535 | 151.5 | 3.476 | 137.4 | 3.786 | 143.7 | 7.514 | 973.663 | 61.5201 | 0.90154
2019-12-29 19:00:00 | 1.775 | 149.7 | 2.625 | 159.4 | 3.003 | 146.9 | 3.338 | 155.1 | 7.414 | 973.96 | 61.6225 | 0.29928
2019-12-29 19:15:00 | 2.334 | 144 | 3.124 | 158.6 | 3.647 | 139.4 | 3.802 | 149.6 | 7.412 | 974.257 | 61.6909 | 0.21061
2019-12-29 19:30:00 | 2.245 | 141.5 | 2.853 | 153.3 | 3.164 | 135.3 | 3.417 | 145.1 | 7.389 | 974.257 | 61.2126 | 0.14779
2019-12-29 19:45:00 | 2.354 | 150.4 | 3.08 | 154.6 | 3.227 | 148.8 | 3.435 | 154.6 | 7.441 | 974.554 | 61.9641 | 0.48402
2019-12-29 20:00:00 | 3.011 | 160.6 | 3.482 | 155.3 | 3.319 | 161.4 | 3.573 | 164.8 | 7.373 | 975.149 | 62.3057 | 0.21061
2019-12-29 20:15:00 | 2.628 | 148.3 | 3.4 | 155.2 | 3.428 | 139.7 | 3.56 | 156.2 | 7.305 | 975 | 63.1255 | -0.014779
2019-12-29 20:30:00 | 1.982 | 151.2 | 2.641 | 155.4 | 2.805 | 140.3 | 3.033 | 157.1 | 7.193 | 975.297 | 63.4671 | -0.051728
2019-12-29 20:45:00 | 1.752 | 161.5 | 2.766 | 155.5 | 2.642 | 152.6 | 2.829 | 162.1 | 7.208 | 975.446 | 63.7404 | -0.34731
2019-12-29 21:00:00 | 2.086 | 171.7 | 2.459 | 155.6 | 1.955 | 164 | 2.243 | 177.6 | 7.326 | 976.04 | 64.082 | -0.26972
2019-12-29 21:15:00 | 0.988 | 185.5 | 1.613 | 155.5 | 1.154 | 161.4 | 1.586 | 191.2 | 7.411 | 976.04 | 64.4919 | -0.25125
2019-12-29 21:30:00 | 1.007 | 200.2 | 1.528 | 155.5 | 0.351 | 164 | 0.968 | 192 | 7.482 | 976.189 | 64.9701 | -0.25125
2019-12-29 21:45:00 | 0 | 200.3 | 0.744 | 155.5 | 0.289 | 163.8 | 0.932 | 192.1 | 7.479 | 976.337 | 64.082 | -0.25125
2019-12-29 22:00:00 | 0 | 247.4 | 1.085 | 155.5 | 0.905 | 169.9 | 1.365 | 197.3 | 7.727 | 976.635 | 64.4224 | -0.26972
2019-12-29 22:15:00 | 1.326 | 302.2 | 1.715 | 155.5 | 1.2 | 279.3 | 1.533 | 297.5 | 7.745 | 976.783 | 65.4419 | -0.32515
2019-12-29 22:30:00 | 5.053 | 322.1 | 5.159 | 336.6 | 5.198 | 328.1 | 5.335 | 320.4 | 6.553 | 976.783 | 73.297 | 16.2313
2019-12-29 22:45:00 | 4.269 | 358.8 | 4.755 | 22.89 | 5.773 | 20.28 | 5.994 | 354.9 | 4.711 | 976.337 | 80.8188 | 27.013
2019-12-29 23:00:00 | 4.183 | 6.798 | 5.351 | 21.26 | 5.203 | 9.17 | 5.157 | 10.45 | 4.445 | 976.04 | 81.1956 | 27.0848
2019-12-29 23:15:00 | 5.196 | 10.12 | 7.002 | 24.7 | 6.864 | 11.38 | 6.585 | 16.45 | 4.311 | 976.04 | 83.2109 | 22.0028
2019-12-29 23:30:00 | 4.9 | 11.45 | 5.977 | 27.74 | 5.77 | 16.83 | 5.633 | 18.19 | 4.1 | 976.04 | 84.9189 | 21.2712
2019-12-29 23:45:00 | 4.892 | 9.35 | 5.443 | 24.38 | 4.903 | 13.75 | 4.859 | 15.32 | 4.066 | 975.971 | 85.0897 | 13.5859